## Cover Page
The Bishop of Hereford's Bluecoat School
Summary Report
Contents
|  | Section | Page | No. of pages
The Bishop of Hereford's Bluecoat School |  | Summary Data | 3 | 1
|  | General Information and Asset Summary | 4 | 1
Summary Report |  | Maintenance and Condition Summary | 5 | 2
|  | Education Funding Agency Condition Survey Data | 7 | 1
Schools Capital Investment Strategy |  | Suitability and Compliance Summary | 8 | 2
|  | School Occupancy Summary | 10 | 1
|  | School Statistics | 11 | 1
|  | Environmental Sustainability Condition | 12 | 1
|  | Parental Preference | 13 | 1
|  | Distribution of Children Attending School or Resident in its Catchmnet Area | 14 | 2
|  | Distribution of Children Attending School or Where it is the Nearest School | 16 | 2
|  | Key Services Within 2 Mile Radius of School | 18 | 1
|  | Key Services Adjacent to School | 19 | 1
|  | Disability Access | 20 | 1
Children's Wellbeing
Herefordshire Council
Plough Lane Offices
Plough Lane
HEREFORD
HR4 0LE

## Summary Info
The Bishop of Hereford's Bluecoat School
Summary Report
Summary of Headline Information
Asset Summary | [5 empty] | Occupancy Summary
Gross Site Area (M2)(whole site including building):- |  | 79636 |  |  |  | Current Capacity (incl post 16):- |  |  | 1180
Insurance Asset Value (£000):- |  | 105000 |  |  |  | Current Capacity (excl post 16):- |  |  | 1180
Land Asset Value (£000):- |  | Not Known |  |  |  | Current Planned Admission No.:- |  |  | 235
Land Ownership:- | Owned by the Local Authority |  |  |  |  | Current Occupancy (incl post 16):- |  |  | 1116
[6 empty] | Current Occupancy (excl post 16):- |  |  | 1115
[6 empty] | Current Total Number Over Capacity:- |  |  | 0
[6 empty] | Current Total Number Under Capacity:- |  |  | 64
Maintenance Expenditure Required on the School over a 5 Year Period Summary
Survey Date:- |  |  |  | 2012-02-15
Backlog Maintenance Total (£000):- | [6 empty] | 241.6995
Total Forecast Expenditure (5 years) (£000):- | [6 empty] | 721.9309
Total Potential Local Authority Forecast Expenditure (£000):- | [6 empty] | 892.3877
Total Potential School Forecast Expenditure (£000):- | [6 empty] | 71.2428
Suitability and Compliance
Compliance Percentage of Recommended Basic Teaching Spaces:- | [6 empty] | 103.4321 | Required Building Footprint (M2):- | 9034.82
Compliance Percentage of Recommended Hall Size:- | [6 empty] | 107.8814 | Current Building Area (M2):- | 9637.37
Compliance Percentage of Recommended Storage Space:- | [6 empty] | 81.4284 | Area Shortfall (M2):- | 0
Compliance Percentage of Recommended Staff and Admin Space:- | [6 empty] | 147.6196 | Area Surplus (M2):- | 602.55
Compliance Percentage of Recommended Learning Resource Space:- | [6 empty] | 266.394 | Total Percentage Compliance:- | 106.6692
Number of Temporary Buildings on Site:- | [6 empty] | 0 | Required Net Site Area (M2):- | 67094.555
Number of Classrooms in Temporary Buildings:- | [6 empty] | 0 | Current Net Site Area (M2):- | 69998.63
Compliance Percentage of Recommended Pupil Toilets:- | [6 empty] | 76.6667 | Area Shortfall (M2):- | 0
[8 empty] | Area Surplus (M2):- | 2904.075
[8 empty] | Total Percentage Compliance:- | 104.3283
Disability Access
Rating:- | 3 |  | Details:- |  |  |  | Fully accessible
Environmental Sustainability Condition
DEC Rating:- |  |  |  |  | No data held
Electric Consumption 2014/Child:- |  |  |  |  | 340.5726
Gas Consumption 2014/Child:- |  |  |  |  | 715.2691
School Statistics
Ofsted Results:- | [8 empty] | Good
Percentage of Children Achieving KS4 5+ A*-C GCSEs (or equivalent) including English and maths GCSEs in 2014:- | [8 empty] | 65
Parental Preference (2014)
Percentage of Parental First Preference Applications:- | [6 empty] | 90.2128
Total Number of Children within Catchment:- | [6 empty] | 554
Total Number of Children at School from Catchment:- | [6 empty] | 410
Percentage of Catchment at School:- | [6 empty] | 36.0598
Percentage of Catchment Going to School:- | [6 empty] | 74.0072

## Report
|  |  |  | The Bishop of Hereford's Bluecoat School | [6 empty] | The Bishop of Hereford's Bluecoat School | [14 empty] | The Bishop of Hereford's Bluecoat School | [7 empty] | The Bishop of Hereford's Bluecoat School |  |  |  |  | The Bishop of Hereford's Bluecoat School |  | The Bishop of Hereford's Bluecoat School | [12 empty] | The Bishop of Hereford's Bluecoat School | [5 empty] | The Bishop of Hereford's Bluecoat School |  |  | The Bishop of Hereford's Bluecoat School | [8 empty] | The Bishop of Hereford's Bluecoat School |  | The Bishop of Hereford's Bluecoat School |  | The Bishop of Hereford's Bluecoat School |  | The Bishop of Hereford's Bluecoat School |  | The Bishop of Hereford's Bluecoat School |  | The Bishop of Hereford's Bluecoat School |  | The Bishop of Hereford's Bluecoat School |  |  | The Bishop of Hereford's Bluecoat School
|  |  |  | Summary Report | [6 empty] | Summary Report | [14 empty] | Summary Report | [7 empty] | Summary Report |  |  |  |  | Summary Report |  | Summary Report | [12 empty] | Summary Report | [5 empty] | Summary Report |  |  | Summary Report | [8 empty] | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  |  | Summary Report
General Information |  |  |  |  | Maintenance and Condition Summary | [21 empty] | Education Funding Agency Condition Survey Data | [7 empty] | Suitability and Compliance Summary |  |  |  |  | Suitability and Compliance Summary (continued) |  | School Occupancy Summary | [12 empty] | School Statistics | [5 empty] | Environmental Sustainability Condition |  |  | Parental Preference | [8 empty] | Distribution of Children Attending School or Resident in its Catchment Area |  | Distribution of Children Attending School or Resident in its Catchment Area (continued) |  | Distribution of Children Attending School or Where it is the Nearest School |  | Distribution of Children Attending School or Where it is the Nearest School (continued) |  | Key Services Within 2 Mile Radius of School |  | Key Services Adjacent to School |  | Disability Access
Maintenance and Condition Summary (continued)
School Name:- | The Bishop of Hereford's Bluecoat School |  |  |  | Survey Date:- | 2012-02-15 |  | Survey Company:- |  | Amey |  | Key Elements and Annual Forecast Maintenance Costs and Responsibilities | [14 empty] | Date of Survey:- |  | Not Available | [5 empty] | Areas | Standard Criteria (M2) (PAN ) | Schools Compliance (M2) | Compliance Percentage |  |  |  | Current Planned Admission No. (PAN) | Post 16 Planned Admission No. (PAN) |  |  | Current School Capacity |  |  | Maximum PAN |  |  | Maximum Capacity Based on PAN |  |  | Year | KS4 Year on Year Results |  |  |  |  | Electric Consumption 2014/Child:- | 340.5726 |  |  | Parental First Preference Applications | [19 empty] | Physical Accessibility Rating
Head Teacher:- | Mrs S Catlow-Hawkins |  | DFE Number:- | 4600 | Year | Forecast Maintenance Costs (£ 000) | [5 empty] | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows and Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | Number of Occurences Identified Within the Report | [7 empty] | Basic Teaching Space | 3666.88 | 3792.73 | 103.4321 |  |  |  | 235 | - |  |  | 1180 |  |  | 243 |  |  | 1215 |  |  |  | School - Percentage achieving 5+ A*-C GCSEs (or equivalent) including English and maths GCSEs | LA - Percentage achieving 5+ A*-C GCSEs (or equivalent) including English and maths GCSEs | All Schools in England - Percentage achieving 5+ A*-C GCSEs (or equivalent) including English and maths GCSEs |  |  | Gas Consumption 2014/Child:- | 715.2691 |  |  | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | [14 empty] | Rating: | 3
Leadership:- | Stand Alone | [25 empty] | Rating (see key below) | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other | Hall and Studio | 1213.75 | 1309.41 | 107.8814 | [25 empty] | PAN | 236 | 236 | 236 | 236 | 236 | 236
Address:- | The Bishop of Hereford's Bluecoat School, Hampton Dene Road, Hereford HR1 1UU |  | Email:- | info@bhbs.hereford.sch.uk | Backlog | 241.6995 | [5 empty] | £ 000 | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | [8 empty] | Storage | 544.38 | 443.28 | 81.4284 |  |  |  | Historical Numbers on Roll Data (Spring Census) | [21 empty] | Number | 233.876 | 281.076 | 225.852 | 225.852 | 192.812 | 212.9021 | [14 empty] | Details: | Fully accessible
[5 empty] | 2015 | 160.2963 |  |  | 241.6995 |  |  | Backlog | 1.0758 | 0 | 1.2551 | 25.1023 | 2.9884 | 20.3209 | 0 | 63.3535 | 2.3907 | 35.8605 | 23.907 | 65.4453 | 0 | 0 | C1 | [7 empty] | Staff and Admin | 460.63 | 679.98 | 147.6196 |  |  |  | Year | NOR |  |  | Capacity Based on PAN |  |  | Shortfall |  |  | Surplus |  |  | 2011 | 68 | 57.5 | 59 | [5 empty] | Percentage | 99.1 | 119.1 | 95.7 | 95.7 | 81.7 | 90.2128
[5 empty] | 2016 | 182.9481 |  |  | 160.2963 |  |  | 2015 | 0 | 0 | 0 | 11.9535 | 0 | 0 | 0 | 81.2837 | 0.11953 | 19.1256 | 5.8572 | 41.9567 | 0 | 0 | C2 | [7 empty] | Learning Resource | 335 | 892.42 | 266.394 |  |  |  |  | 11-16 | Post 16 | Total | 11-16 | Post 16 | Total | 11-16 | Post 16 | Total | 11-16 | Post 16 | Total | 2012 | 71 | 56.5 | 59.4 | [26 empty] | Description: | Will meet the needs of all disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling); Has a full hygiene room and special educational needs or therapy room for pupils who need more assistance with personal care (including hoisting) and regular physio or other treatment
[5 empty] | 2017 | 378.6865 |  |  | 182.9481 |  |  | 2016 | 0 | 0 | 0 | 5.9767 | 0.89651 | 0 | 0 | 105.1907 | 0.11953 | 15.5395 | 14.9419 | 40.2833 | 0 | 0 | D1 | [7 empty] | Supplementary Area | 114.38 | 231.26 | 202.1857 |  |  |  | 2008 / 2009 | 1181 | 0 | 1181 | 1180 | 0 | 1180 | 1 | 0 | 1 | 0 | 0 | 0 | 2013 | 52 | 56.1 | 59.2 | [5 empty] | Historical Catchment Analysis (Spring Census)
Telephone No.:- | T: 01432 347500 F: 01432 347566 |  | School Cluster:- | Hereford District- Bishops of Hereford's Bluecoat School | 2018 | Not Available |  |  | 378.6865 |  |  | 2017 | 0 | 0 | 0 | 203.2093 | 0 | 0 | 0 | 83.6744 | 0 | 37.0558 | 17.6912 | 37.0558 | 0 | 0 | D2 | [7 empty] | Non Net Area | 2699.8 | 2288.29 | 84.7578 |  |  |  | 2009 / 2010 | 1182 | 0 | 1182 | 1180 | 0 | 1180 | 2 | 0 | 2 | 0 | 0 | 0 | 2014 | 65 | 58.7 | 53.4 | [5 empty] | Catchment Analysis |  |  |  | 2010 | 2011 | 2012 | 2013 | 2014
[5 empty] | 2019 | Not Available |  |  | Not Available |  |  | 2018 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | D3 | [7 empty] | Total Gross Building Area | 9034.82 | 9637.37 | 106.6692 |  |  |  | 2010 / 2011 | 1180 | 0 | 1180 | 1180 | 0 | 1180 | 0 | 0 | 0 | 0 | 0 | 0 | [12 empty] | Total in Catchment | 576 | 586 | 598 | 571 | 554
[9 empty] | Not Available |  |  | 2019 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | [15 empty] | 2011 / 2012 | 1168 | 0 | 1168 | 1180 | 0 | 1180 | 0 | 0 | 0 | 12 | 0 | 12 | KS4 Exam Results and Progress (2014) | [11 empty] | Number at School from Catchment | 482 | 487 | 476 | 444 | 410
School Type:- | Voluntary Aided |  | Building Number:- | FKAK | Total | 963.6305 | [5 empty] | Totals | 1.0758 | 0 | 1.2551 | 246.2419 | 3.8849 | 20.3209 | 0 | 333.5023 | 2.6298 | 107.5814 | 62.3972 | 184.7412 | 0 | 0 | *Note the information noted above has been extracted from the EFA survey focusing on elements that are C & D rated. Items with an A or B rating have been excluded. The numbers reference the quantity of elements that the survey has picked up within the relevant category | [7 empty] | Total Gross Site Area | 76129.375 | 79636 | 104.6061 |  |  |  | 2012 / 2013 | 1163 | 0 | 1163 | 1180 | 0 | 1180 | 0 | 0 | 0 | 17 | 0 | 17 | [12 empty] | Percentage at School from Catchment | 40.7783 | 41.2712 | 40.7534 | 38.1771 | 36.0598
Current Capacity (11-16):- | 1180 |  | Site Area:- | 79636 | [30 empty] | Net Site Area (less the building area) | 67094.555 | 69998.63 | 104.3283 |  |  |  | 2013 / 2014 | 1137 | 0 | 1137 | 1180 | 0 | 1180 | 0 | 0 | 0 | 43 | 0 | 43 | Number of pupils at end of KS4 |  |  |  | 234 | [7 empty] | Percentage of Catchment Going to School | 83.6806 | 83.1058 | 79.5987 | 77.7583 | 74.0072
Current Capacity (Post 16):- | 0 | [10 empty] | Total Potential Expenditure - Local Authority (£000) | [6 empty] | 892.3877 | [22 empty] | Current Occupancy | 1115 | 1 | 1116 | 1180 | 0 | 1180 | 0 | 1 | 0 | 65 | 0 | 64 | Percentage achieving 5 A*-C GCSEs (or equivalents) including English and maths GCSEs |  |  |  | 65
Current Capacity (Total):- | 1180 |  |  |  | Key Elements of Forecast Maintenance | [29 empty] | Key Information (based on Building Bulletin 103) | [19 empty] | Percentage achieving A*-C in English and maths GCSEs |  |  |  | 68 |  |  |  |  | Catchment and Nearest School Comparison (Autumn Census 2014)
[5 empty] | Categories |  | Totals (£ 000) | [19 empty] | Key | [7 empty] | Number of Temporary Buildings on Site |  |  |  | 0 |  |  | Current Occupancy Summary (Autumn Census 2014) | [12 empty] | Percentage of pupils achieving the Ebacc |  |  |  | 37 | [7 empty] | Catchment vs Nearest School | Catchment | Nearest
[5 empty] | External Grounds |  | 1.0758 |  |  |  |  | Total Potential Expenditure - School (£000) | [6 empty] | 71.2428 | [7 empty] | Condition grade | Definition |  |  |  | Priority rating | Definition |  | Number of Classrooms in Temporary Buildings |  |  |  | 0 |  |  | Year Group | NOR |  |  | Shortfall |  |  | Surplus | [5 empty] | Percentage of pupils achieving 5+ A*-C grade GCSEs (or equivalent) |  |  |  | 77 | [7 empty] | NOR | 1116 | 1116
[5 empty] | Roof Works |  | 247.497 | [27 empty] | Percentage of Recommended Pupil Toilets |  |  |  | 76.6667 |  |  | Seven | 213 |  |  | 0 |  |  | 22 | [5 empty] | Percentage of pupils achieving 5+ A*-G grade GCSEs (or equivalent) |  |  |  | 96 | [7 empty] | Total in Area | 545 | 565
[5 empty] | External Walls |  | 24.2058 | [19 empty] | A Good | Performing as intended and operating efficiently |  |  |  | 1 | Immediate or year 1 remedial action required | [8 empty] | Eight | 210 |  |  | 0 |  |  | 25 | [5 empty] | Percentage of pupils making expected progress in English |  |  |  | 73 | [7 empty] | Number at School from Area | 392 | 387
[5 empty] | Windows and Doors |  | 333.5023 | [34 empty] | Nine | 231 |  |  | 0 |  |  | 4 | [5 empty] | Percentage of pupils making expected progress in maths |  |  |  | 76 | [7 empty] | Percentage at School | 35.1254 | 34.6774
[5 empty] | Internal Works |  | 110.2112 | [19 empty] | B Satisfactory | Performing as intended but exhibiting minor deterioration |  |  |  | 2 | Year 1-2 remedial action required | [8 empty] | Ten | 232 |  |  | 0 |  |  | 3 | [5 empty] | Average point score |  |  |  | 333.8 | [7 empty] | Percentage of area going to School | 71.9266 | 68.4956
Asset Summary |  |  |  |  | Mechanical and Electrical |  | 247.1384 | [34 empty] | Eleven | 229 |  |  | 0 |  |  | 6
[5 empty] | Other (e.g. ancillary buildings) |  | 0 | [19 empty] | C Poor | Exhibiting major defects and/or not operating as intended |  |  |  | 3 | Year 3-5 remedial action required | [8 empty] | Twelve | 1 |  |  | 0 |  |  | 0 | [5 empty] | Latest Ofsted Report Date:- |  | 2012-09-12
Asset Value - Insurance (£000):- |  | 105 | [39 empty] | Thirteen | 0 |  |  | 0 |  |  | 0 | [5 empty] | Ofsted Result:- |  | Good
Asset Value - Land (£000):- |  | Not Known | [24 empty] | D Bad | Life-expired and/or at serious risk of imminent failure | [13 empty] | Total | 1116 |  |  | 0 |  |  | 64
Land Owner:- |  | Owned by the Local Authority | [37 empty] | Category | Areas Included
[40 empty] | Basic Teaching Spaces | General Classrooms, ICT Rooms, Art Rooms, Science Laboratories, DT Rooms, Music Rooms
[40 empty] | Hall and Studio | Halls, Dining Areas, Stage
Lease Agreement / Notes:- |  | Not Known | [37 empty] | Storage | Coats and Bags, Teaching, Specialist, PE Equipment, Bulk Stock, Cleaning, Caretakers and Maintenance, Tables and Chairs, Staging, Mobility Equipment, Science Prep Room
[40 empty] | Staff and Admin | Heads and Staff Offices, Staff Room, Staff PPA,Reprographics Room, Sick Bay, Interview and Meeting Rooms, Secure Entrance
[40 empty] | Learning Resource | Library, Small Group Rooms, SENCO Office, Medical Inspection Room, Music Practise Room, SEN Classrooms, Kiln
[40 empty] | Supplementary Area | Any other specialist area at the school e.g. Swimming Pool
[40 empty] | Non Net Area | Pupil and Staff Toilets, Accessible Toilets, Hygiene Room, Kitchen, Corridors, Server Room, Boilers
Land ownership queried by school and being investigated by Herefordshire councils estates team.

## Feedback
|  | The Bishop of Hereford's Bluecoat School |  |  | The Bishop of Hereford's Bluecoat School |  |  | The Bishop of Hereford's Bluecoat School
|  | Feedback Form |  |  | Feedback Form |  |  | Feedback Form
General Information and Asset Summary |  |  | School Occupancy Summary |  |  | Parental Preference
Do you believe the data to be accurate? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Maintenance and Condition Summary |  |  | School Statistics |  |  | Disability Access
Do you believe the data to be a fair reflection of the maintenance and condition of the school? | [5 empty] | Do you believe the data to be a fair reflection of the environmental condition of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Suitability and Compliance Summary |  |  | Environmental Sustainability Condition |  |  | Any Other Comments
Do you believe the data to be a fair reflection of the suitability and compliance issues faced by the school? | [5 empty] | Additional comments about the information provided:
Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments:
If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920
Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015

## Asset summary
Building ref number:- | FKAK
Site Area:- | 79636
Building Type:- | Not Known
Asset Value (Insurance):- | 105000
Asset Value (Land):- | Not Known
Land owner:- | Owned by the Local Authority
Lease agreement / notes:- | Not Known
DEC rating:- | No data held
Electric consumption 2014/child:- | 340.5726
Gas consumption 2014/child:- | 715.2691

## Maintenance
Maintenance and Condition Summary | [5 empty] | BCIS Quarter | 1Q2012 | [11 empty] | Check | Main year totals | Summary year totals | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows & Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | BCIS quarter | BCIS uplift
Year survey undertaken |  | 2012-02-15 |  |  |  | BCIS Uplift | 1.1953 | [15 empty] | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | 1Q2009 | 1.1525
Survey company:- |  | Amey | [17 empty] | 241699.5349 | 241699.5349 | Backlog | 1075.814 | 0 | 1255.1163 | 25102.3256 | 2988.3721 | 20320.9302 | 0 | 63353.4884 | 2390.6977 | 35860.4651 | 23906.9767 | 65445.3488 | 0 | 0 | 2Q2009 | 1.1898
[20 empty] | 160296.2791 | 160296.2791 | 2015 | 0 | 0 | 0 | 11953.4884 | 0 | 0 | 0 | 81283.7209 | 119.5349 | 19125.5814 | 5857.2093 | 41956.7442 | 0 | 0 | 3Q2009 | 1.1898
[20 empty] | 182948.1395 | 182948.1395 | 2016 | 0 | 0 | 0 | 5976.7442 | 896.5116 | 0 | 0 | 105190.6977 | 119.5349 | 15539.5349 | 14941.8605 | 40283.2558 | 0 | 0 | 4Q2009 | 1.2123
[6 empty] | Year covered? | Y | Y | Y | Y | N | N | School Costs | [6 empty] | 378686.5116 | 378686.5116 | 2017 | 0 | 0 | 0 | 203209.3023 | 0 | 0 | 0 | 83674.4186 | 0 | 37055.814 | 17691.1628 | 37055.814 | 0 | 0 | 1Q2010 | 1.2297
Category | Ref | Element | Recommended Works |  |  | Estimated Work Cost | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 |  | 0 | 0 | 2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2Q2010 | 1.1789
[20 empty] | 0 | 0 | 2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3Q2010 | 1.1735
|  | EXTERNAL GROUNDS & FEATURES- FKAK | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2010 | 1.1682
g | 2.0.3 | Paths Concrete Pavings | Steps to rear of Block FKAK/AC uneaven and trip hazard, RE BED | KD | 2 | 250 | 250 | [5 empty] | 250 | 0 | 0 | 0 | 0 | 0 |  |  |  | Individual Category totals | 1075.814 | 0 | 1255.1163 | 246241.8605 | 3884.8837 | 20320.9302 | 0 | 333502.3256 | 2629.7674 | 107581.3953 | 62397.2093 | 184741.1628 | 0 | 0 | 1Q2011 | 1.1735
g | 2.0.5 | Paths Concrete Pavings | Concrete paving slabs to courtyard and raised area rear of building, some un eaveness creating trip hazards | KD | 2 | 150 | 150 | [5 empty] | 150 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2011 | 1.1525
g | 2..0.6 | Bike Shed | Domed polycarbonate roof to bike shed with sections missing and rusting structral steel work | AB | 3 | 250 | 250 | [5 empty] | 250 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Summary category totals | Main category totals | Check | [11 empty] | 3Q2011 | 1.1682
|  | FENCES & BOUNDARIES |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2011 | 1.1525
g | 2.0.8 | Chainlink Fence | section of chain link opposite swimming pool needs replacing | KF | 3 | 250 | 250 | [5 empty] | 250 | 0 | 0 | 0 | 0 | 0 |  |  | External Grounds |  | 1075.814 | 1075.814 | [12 empty] | 1Q2012 | 1.1953
|  | ROOFS FKAK/AA |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Roof Works |  | 247496.9767 | 247496.9767 | [12 empty] | 2Q2012 | 1.1174
r | 2.1.2 | Flat Roof Recovering Works | Flat roof LH side covered in Mineral felt, been patched many times but probably laid over original Asphalt underneath as on RH side . RH side covered in original Asphalt. Much water ponding evedant. | AA | 3 | 120000 | 0 |  |  | 120000 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | External Walls |  | 24205.814 | 24205.814 | [12 empty] | 3Q2012 | 1.1525
r | 2.1.5 | External Fascia / Soffits etc Redecorations | Cyclical re decorating works | 1A | 3 | 5000 | 0 |  | 5000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Windows & Doors |  | 333502.3256 | 333502.3256 | [12 empty] | 4Q2012 | 1.1473
r | 2.1.6 | Roof Light Replacement | Replace the existing smaller roof windows with 3 ply dome roof lights. The larger pitched roof light to dinning room 56A requires replacing with tripple laminated roof. | AD | 2 | 30000 | 0 |  |  | 30000 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Internal Works |  | 110211.1628 | 110211.1628 | [12 empty] | 1Q2013 | 1.0983
|  | EXTERNAL ELEVATIONS FKAK/AA |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Mechanical & Electrical |  | 247138.3721 | 247138.3721 | [12 empty] | 2Q2013 | 1.089
e | 2.2.1 | External walls | Rake out and re point where necessary | DA | 3 | 5000 | 5000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Other |  | 0 | 0 | [12 empty] | 3Q2013 | 1.0983
w | 2.2.3 | Windows | Sections of front elevations ground and first floor windows have been replaced with aluminuim double glazed windows, the remaining ones are of single glazed metal crittal type windows. | DC | 3 | 160000 | 40000 | 40000 | 40000 | 40000 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2013 | 1.0798
w | 2.2.4 | Window Cills | Concrete cills with some spalling | DA | 3 | 5000 | 5000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Total |  | 963630.4651 | 963630.4651 | [12 empty] | 1Q2014 | 1.0447
r | 2.2.5 | Gutters & Down Pipes | Carry out some re corking to joints. Annual cleaning out and cyclical re decorating every 3 years | AE | 3 | 6000 | 6000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2014 | 1.0198
w | 2.2.6 | Windows | Renew when possible with powder coated double glazed Aluminium as others. | DA | 3 | 20000 | 0 |  |  | 20000 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 3Q2014 | 1.028
|  | INTERNAL FKAK/AA |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2014 | 1.0078
i | 2.3.1 | Ceiling | Investiga water penetration to window light ceiling juction dinning room AA and replace damaged tiles | CA | 3 | 2000 | 2000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 1Q2015 | 1
i | 2.3.4 | Walls | Requires some plasterwork repairs and cyclical decorations every 5 years | DA | 3 | 2000 | 2000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | 2.3.6 | Tower Walls | Requires further investigation to RH tower water ingress. Suspect blockesd gutters and hoppers as shown in photos to LH tower area. Requires hacking off old render and water proof render applied . | DA | 2 | 10000 | 10000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 2.3.8 | Floors | Make repairs to damaged areas causing trip hazards ground floor and 2nd floor. Monitor cracks in ground floor and repair and or vinyle cover. | BA | 2 | 6000 | 6000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 2.3.9 | Floor Covering | Floors in communal areas mostly covered in vinyl, tiled or carpeted. Some classrooms As 2nd floor 89 &100 worn and required rebnewal | BA | 3 | 6000 | 0 | 6000 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
i | 2.3.11 | Decorations | Requires cyclical decorations every 5 years in stages | 1B | 3 | 20000 | 8000 | 4000 | 4000 | 4000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
|  | EXTERNAL FKAK/AD |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | 2.4.1 | Roof | Re cover roof within 8 years | AA | 3 | 20000 | 0 |  |  | 20000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
r | 2.4.3 | Rain Water Goods | Black aluminium gutters & down pipes, reasonable condition | AE | 2 | 100 | 100 | [5 empty] | 100 | 0 | 0 | 0 | 0 | 0
w | 2.4.4 | Windows | Consider replacing with double glazed Aluminium | DC | 3 | 8000 | 0 |  | 8000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
e | 2.4.5 | External Decorations | Cyclical redecorations to porch timber work every 3 years as with fascia | 1A | 3 | 750 | 0 |  | 750 |  |  |  | 0 | 0 | 750 | 0 | 0 | 0
|  | INTERNAL FKAK/AD |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 2.5.7 | Internal Decorations | Cyclical edecoratations every 5 years | 1B | 3 | 8000 | 0 |  |  | 8000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
|  | EXTERNAL FKAK/BA |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | 2.6.3 | Rain Water Goods | Annual cleaning out of all rain water goods | AE | 2 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
r | 2.6.5 | Roof Lights Replacement | Large panel roof lights fitted into front elevation of sloping roof are mostly holed or cracked and require replacing. | AD | 2 | 15000 | 15000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | 2.6.6 | Doors | Main entrance door in powder coated Aluminium in reasonable condition other timber external doors require replacing of repair and decoration. | EB | 3 | 2000 | 0 | 2000 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
|  | INTERNAL FKAK/BA |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 2.7.5 | Corridor Floor | Cracks in floor- Monitor in view to repairing and possible covering with vinyl | BA | 3 | 3000 | 0 |  | 3000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
i | 2.7.6 | Decorations high level windows | Timber stanined and or painted window surrounds to have cyclical decorations on 5 yearly cycles. Roof window lights to sports hall entered in external report. | 1B | 3 | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
i | 2.7.8 | Decorations | Cyclical decorations on 5 yearly cycles. | 1B | 3 | 8000 | 0 |  |  | 8000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
i | 2.7.9 | Doors | Internal doors of timber construction most have vision panels and in reasonable condition., requires some maintenace. | DC | 3 | 200 | 0 | 100 | 100 |  |  |  | 0 | 100 | 100 | 0 | 0 | 0
|  | EXTERNAL FKAK/BA Gym |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | 2.8.1 | Flat Roof Leak | Make repairs to leak in roof light | AA | 2 | 250 | 250 | [5 empty] | 250 | 0 | 0 | 0 | 0 | 0
e | 2.8.2 | External Walls | Monitor the movement crack in the outside wall and repair movement crack | DA | 3 | 1000 | 1000 | [5 empty] | 1000 | 0 | 0 | 0 | 0 | 0
|  | INTERNAL FKAK/BA Gym |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 2.9.2 | Internal Walls | Monitor movement cracks in both wall locations and make repairs | DA | 3 | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
i | 2.9.6 | Decorations | Cyclical redecorations every 5 years | 1B | 3 | 2000 | 0 |  |  | 2000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
|  | EXTERNAL FKAK/AC |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | 2.10.3 | Rain Water Goods | Clear out the domed Aluminium clad mid section gutters & down pipes on annual basis. | AE | 3 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
e | 2.10.4 | Walls | Concrete sils to windows have spalled and require concrete repair works | DA | 2 | 1500 | 1500 | [5 empty] | 1500 | 0 | 0 | 0 | 0 | 0
w | 2.10.5 | Windows | Most windows are of the original aluminium single glazed within timber surrounds and panels These will require replacing within 5 Years. | DC | 3 | 50000 | 0 | 20000 | 20000 | 10000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
w | 2.10.6 | Doors | Replace timber plant room and side doors within 5 Years | DC | 3 | 8000 | 8000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  | INTERNAL FKAK/AC |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 2.11.7 | Decorations | Cyclical redecorations every 5 years in stages | 1B | 3 | 20000 | 8000 | 4000 | 4000 | 4000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
i | 2.11.8 | Doors | Carry out repairs where necessary with cyclical re decorations | DC | 3 | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
|  | EXTERNAL FKAK/AE |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | 2.12.2 | Fascia Decorations | Timber works will require cyclical re deciorations every 3 years. | 1A | 3 | 2000 | 0 | 2000 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
r | 2.12.3 | Rainwater Goods | Clean out all gutters and flush down pipes on annual basis. | AE | 2 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
|  | INTERNAL FKAK/AE |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 2.13.6 | Internal Decorations | Re decorate on cyclical basis every 5 years in stages | 1B | 3 | 10000 | 4000 | 2000 | 2000 | 2000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
|  | EXTERNAL FKAK/AB |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | 2.14.1 | Roof Lights | Replace roof covering within 5 years. Replace the sIngle glazed roof lights with tripple Polycarbonate. | AD | 2 | 8000 | 0 | 8000 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
r | 2.14.3 | Rain Water Goods | Annual maintenance and cleaning required | AE | 2 | 100 | 100 | [5 empty] | 100 | 0 | 0 | 0 | 0 | 0
e | 2.14.4 | Walls | Carry out replacement of spalled brickwork and re pointing to high level parapet part of brickwork | DA | 3 | 2000 | 2000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | 2.14.5 | Windows | Replace the old crittal windows | DC | 3 | 20000 | 0 |  | 20000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
w | 2.14.6 | Doors | Replace the remaining timber doors | DC | 3 | 6000 | 0 | 6000 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
|  | INTERNAL FKAK/AB |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 2.15.3 | Floor Repairs | Carry out repairs to damaged elements of floor. | BA | 2 | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
i | 2.15.6 | Internal Decorations | Cyclical re decorations every 5 years | 1B | 2 | 3000 | 0 |  |  | 3000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
| 3.1.1 | Ventilation - FKAK/AA |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.1.1.a | Boys WC - Extract Ventilation | The unit is not working and requires further investigation and repair. | GE | 1 | 300 | 0 |  | 300 |  |  |  | 0 | 0 | 300 | 0 | 0 | 0
m | 3.1.1.c | Room 55 - Extract Ventilation | The unit is not working and requires further investigation and repair. | GE | 1 | 300 | 0 |  | 300 |  |  |  | 0 | 0 | 300 | 0 | 0 | 0
m | 3.1.1.e | WC's - Extract Ventilation | The unit is in operating order but will required replacement in a few years as it nears the end of its expected operational life. Replace individual units as necessary. Allowance made for an annual expenditure. | GE | 3 | 400 | 0 |  |  | 400 |  |  | 0 | 0 | 0 | 400 | 0 | 0
m | 3.1.1.f | Gents WC's - Extract Ventilation | The unit is in operating order but will required replacement in a few years as it nears the end of its expected operational life. Replace individual units as necessary. Allowance made for an annual expenditure. | GE | 3 | 300 | 0 | 300 |  |  |  |  | 0 | 300 | 0 | 0 | 0 | 0
m | 3.1.1.g | Ladies WC's - Extract Ventilation | The unit is in operating order but will required replacement in a few years as it nears the end of its expected operational life. Replace individual units as necessary. Allowance made for an annual expenditure. | GE | 3 | 300 | 0 | 300 |  |  |  |  | 0 | 300 | 0 | 0 | 0 | 0
m | 3.1.1.i | Classroom 36A - Extract Ventilation | The unit is in operating order but will required replacement in a few years as it nears the end of its expected operational life. Replace individual units as necessary. Allowance made for an annual expenditure. | GE | 3 | 1200 | 0 | 1200 |  |  |  |  | 0 | 1200 | 0 | 0 | 0 | 0
m | 3.1.1.j | Corridor 252 - Ventilation | There is currently no extract ventilation, however exhaust air from the adjacent room 36A (cooking room) is been dumped into the corridor. This needs to be extracted to the atmosphere via ductwork or a new extract system from the corridor. | GE | 1 | 1000 | 1000 | [5 empty] | 1000 | 0 | 0 | 0 | 0 | 0
m | 3.1.1.k | Corridor 33 - Ventilation | The unit is in operating order but will required replacement in a few years as it nears the end of its expected operational life. Replace individual units as necessary. Allowance made for an annual expenditure. | GE | 3 | 800 | 0 |  | 800 |  |  |  | 0 | 0 | 800 | 0 | 0 | 0
m | 3.1.1.l | Womens WC 77 - Extract Ventilation | There is no extract ventilation and requires improvement to meet building regulations. | GE | 1 | 400 | 400 | [5 empty] | 400 | 0 | 0 | 0 | 0 | 0
m | 3.1.1.m | Room 84 - Ventilation | There is no ventilation and requires improvement to meet building regulations. | GE | 1 | 400 | 400 | [5 empty] | 400 | 0 | 0 | 0 | 0 | 0
m | 3.1.1.n | Staff WC 81, 82 - Ventilation | There is no ventilation and requires improvement to meet building regulations. | GE | 1 | 400 | 400 | [5 empty] | 400 | 0 | 0 | 0 | 0 | 0
m | 3.1.2 | Heating - FKAK/AA |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.1.2.a | Entrance - LTHW Heating | Radiators are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 400 | 0 |  | 400 |  |  |  | 0 | 0 | 400 | 0 | 0 | 0
m | 3.1.2.b | Corridor 13 - LTHW Heating | Radiators are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 400 | 0 |  | 400 |  |  |  | 0 | 0 | 400 | 0 | 0 | 0
m | 3.1.2.c | Corridor 27 - LTHW Heating | Radiators are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 400 | 0 |  | 400 |  |  |  | 0 | 0 | 400 | 0 | 0 | 0
m | 3.1.2.d | Hall 231 - LTHW Heating | Fan convectors are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 1800 | 0 |  | 1800 |  |  |  | 0 | 0 | 1800 | 0 | 0 | 0
m | 3.1.2.e | Boys WC 229 - LTHW Heating | Radiators are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 400 | 0 |  | 400 |  |  |  | 0 | 0 | 400 | 0 | 0 | 0
m | 3.1.2.f | Girls WC 230 - LTHW Heating | Radiators are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 400 | 0 |  | 400 |  |  |  | 0 | 0 | 400 | 0 | 0 | 0
m | 3.1.2.g | Room 55 - LTHW Heating | Radiators are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 400 | 0 |  | 400 |  |  |  | 0 | 0 | 400 | 0 | 0 | 0
m | 3.1.2.h | Kitchen 56 - LTHW Heating | Radiators are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 400 | 0 |  | 400 |  |  |  | 0 | 0 | 400 | 0 | 0 | 0
m | 3.1.2.i | Classroom 60 - LTHW Heating | Radiators are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 400 | 0 |  | 400 |  |  |  | 0 | 0 | 400 | 0 | 0 | 0
m | 3.1.2.j | Classroom 59 - LTHW Heating | Radiators are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 400 | 0 |  | 400 |  |  |  | 0 | 0 | 400 | 0 | 0 | 0
m | 3.1.2.k | Room 14, 15, 16, 17, 21 - LTHW Heating | Radiators are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 2000 | 0 |  | 2000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | 3.1.2.l | Gents WC - LTHW Heating | Radiators are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 400 | 0 |  | 400 |  |  |  | 0 | 0 | 400 | 0 | 0 | 0
m | 3.1.2.m | Ladies WC - LTHW Heating | Radiators are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 400 | 0 |  | 400 |  |  |  | 0 | 0 | 400 | 0 | 0 | 0
m | 3.1.2.n | Room 23 - LTHW Heating | Radiators are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 400 | 0 |  | 400 |  |  |  | 0 | 0 | 400 | 0 | 0 | 0
m | 3.1.2.o | Corridor 41 - LTHW Heating | Radiators are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 400 | 0 |  | 400 |  |  |  | 0 | 0 | 400 | 0 | 0 | 0
m | 3.1.2.p | Corridor 39 - LTHW Heating | Radiators are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 400 | 0 |  | 400 |  |  |  | 0 | 0 | 400 | 0 | 0 | 0
m | 3.1.2.q | Corridor 36A - LTHW Heating | Fan convectors are old fittings, currently noisey in operation, will require further investigation or repair. however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 1000 | 1000 | [5 empty] | 1000 | 0 | 0 | 0 | 0 | 0
m | 3.1.2.r | Corridor 252 - LTHW Heating | Radiator requires general improvement and repair to the LST cover. | GB | 2 | 300 | 300 | [5 empty] | 300 | 0 | 0 | 0 | 0 | 0
m | 3.1.2.s | Classroom 33 - LTHW Heating | Fan convectors are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 700 | 0 |  | 700 |  |  |  | 0 | 0 | 700 | 0 | 0 | 0
m | 3.1.2.u | Classrooms 1st Floor - LTHW Heating Generally | Radiators are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 4700 | 0 |  | 4700 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | 3.1.2.w | 2nd Floor IT Classroom 98 - LTHW Heating | Radiators are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 400 | 0 |  | 400 |  |  |  | 0 | 0 | 400 | 0 | 0 | 0
m | 3.1.2.x | 2nd Floor Classroom - LTHW Heating | Radiators are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 400 | 0 |  | 400 |  |  |  | 0 | 0 | 400 | 0 | 0 | 0
m | 3.1.2.y | Room 84 Classroom - LTHW Heating | Radiators are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 400 | 0 |  | 400 |  |  |  | 0 | 0 | 400 | 0 | 0 | 0
m | 3.1.3 | Domestic Water & Drainage - FKAK/AA |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.1.3.a | Ladies & Gents WC - Hot Water Pipework | The unit is in good working order and should be for the next few years, however an allowance should be made for mainantence over the next few years. | GD | 2 | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
m | 3.1.3.b | Ladies & Gents WC - Hot Water Tap | The unit is in good working order and should be for the next several years. | GD | 1 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
m | 3.1.4 | HVAC Plantroom - FKAK/AA |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.1.4.f | Plantroom - LTHW Pipework | The pipework is generally insulated however require upgrade on parts of the pipework within the plantroom. | GB | 2 | 1000 | 1000 | [5 empty] | 1000 | 0 | 0 | 0 | 0 | 0
m | 3.1.4.g | Plantroom - Gas Soleniod Valve | There is none and required for improvement. | GG | 1 | 1000 | 1000 | [5 empty] | 1000 | 0 | 0 | 0 | 0 | 0
m | 3.2.1 | Ventilation - FKAK/AB |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.2.1.a | Womens WC 77 - Extract Ventilation | There is no extract ventilation and requires improvement to meet building regulations. | GE | 1 | 400 | 400 | [5 empty] | 400 | 0 | 0 | 0 | 0 | 0
m | 3.3.1 | Ventilation - FKAK/AC |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.3.1.a | Boys & Girls WC - Extract Ventilation | There is no extract ventilation and requires one to meet building regulations. | GE | 1 | 400 | 400 | [5 empty] | 400 | 0 | 0 | 0 | 0 | 0
m | 3.3.1.b | Area 116 - Extract Ventilation | There is no extract ventilation and requires one to meet building regulations. | GE | 1 | 400 | 400 | [5 empty] | 400 | 0 | 0 | 0 | 0 | 0
m | 3.3.1.c | Room 128C - Extract Ventilation | There is no extract ventilation and requires one to meet building regulations. | GE | 1 | 400 | 400 | [5 empty] | 400 | 0 | 0 | 0 | 0 | 0
m | 3.3.1.d | Room 128C - Extract Ventilation | There is no extract ventilation and requires one to meet building regulations. | GE | 1 | 400 | 400 | [5 empty] | 400 | 0 | 0 | 0 | 0 | 0
m | 3.3.2 | Heating - FKAK/AC |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.3.2.a | Science Room 112 - LTHW Heating | Fan convectors are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 800 | 0 |  |  | 800 |  |  | 0 | 0 | 0 | 800 | 0 | 0
m | 3.3.2.c | Classroom 241 - LTHW Heating | Fan convectors are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 600 | 0 |  |  | 600 |  |  | 0 | 0 | 0 | 600 | 0 | 0
m | 3.3.2.d | Classroom 113 - LTHW Heating | Fan convectors are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 800 | 0 |  |  | 800 |  |  | 0 | 0 | 0 | 800 | 0 | 0
m | 3.3.2.e | Classroom 114 - LTHW Heating | Fan convectors are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 800 | 0 |  |  | 800 |  |  | 0 | 0 | 0 | 800 | 0 | 0
m | 3.3.2.f | Area 116 - LTHW Heating | Fan convectors are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 400 | 400 | [5 empty] | 400 | 0 | 0 | 0 | 0 | 0
m | 3.3.2.h | Rooms 123, 121 - LTHW Heating | Fan convectors are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 1200 | 0 |  |  | 1200 |  |  | 0 | 0 | 0 | 1200 | 0 | 0
m | 3.3.2.i | Rooms 120, 241, 153 - LTHW Heating | Fan convectors are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 1400 | 0 |  |  | 1400 |  |  | 0 | 0 | 0 | 1400 | 0 | 0
m | 3.3.2.j | Corridor 127 - LTHW Heating | Th radiator is operating at an extremly high temperature which could cause scalding when touched, requires further investigation. | GB | 1 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
m | 3.3.2.k | Rooms 122 IT Lab - LTHW Heating | Fan convectors are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 600 | 0 |  |  | 600 |  |  | 0 | 0 | 0 | 600 | 0 | 0
m | 3.3.2.l | Rooms 123, 124, - LTHW Heating | Fan convectors are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 1200 | 0 |  |  | 1200 |  |  | 0 | 0 | 0 | 1200 | 0 | 0
m | 3.3.2.m | Rooms 126 - LTHW Heating | Fan convectors are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 600 | 0 |  |  | 600 |  |  | 0 | 0 | 0 | 600 | 0 | 0
m | 3.3.2.n | Rooms 128C - LTHW Heating | Fan convectors are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 600 | 0 |  |  | 600 |  |  | 0 | 0 | 0 | 600 | 0 | 0
m | 3.3.2.o | Rooms 128 (woodwork), 142 - LTHW Heating | Fan convectors are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 1200 | 0 |  |  | 1200 |  |  | 0 | 0 | 0 | 1200 | 0 | 0
m | 3.3.2.p | Rooms 142A - LTHW Heating | Fan convectors are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 600 | 0 |  |  | 600 |  |  | 0 | 0 | 0 | 600 | 0 | 0
m | 3..3.2.q | Rooms 161, 156, 167, 243 - LTHW Heating | Fan convectors are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 1800 | 0 |  | 1800 |  |  |  | 0 | 0 | 1800 | 0 | 0 | 0
m | 3..3.2.r | Rooms 175, 176, 171 - LTHW Heating | The rads are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 800 | 800 | [5 empty] | 800 | 0 | 0 | 0 | 0 | 0
m | 3.3.2.s | Rooms 1st Floor Room 180 - LTHW Heating | Fan convectors are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 800 | 0 |  |  | 800 |  |  | 0 | 0 | 0 | 800 | 0 | 0
m | 3.3.1.t | 1st Floor Office - LTHW Heating | There is no Heating and requires one to meet building regulations. | GB | 1 | 300 | 300 | [5 empty] | 300 | 0 | 0 | 0 | 0 | 0
m | 3.3.3 | Domestic Water & Drainage - FKAK/AC |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.3.3.a | Boys & Girls WC - Hot Water Pipework | The pipework is currently working, however an allowance should be made for mainantence over the next few years. | GD | 2 | 600 | 600 | [5 empty] | 600 | 0 | 0 | 0 | 0 | 0
m | 3.3.4 | HVAC Plantroom - FKAK/AC |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.3.4.d | Plantroom - Heat Exchanger | The HX is currently operating and servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 3 | 4000 | 0 |  |  | 4000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | 3.3.5 | Air Conditioning - FKAK/AC |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.3.5.a | IT Lab - Cooling | There is currnelty no cooling within the IT room and some form is required as the room temperatures are high. | GF | 2 | 2000 | 2000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.3.5.b | Room 128C - Cooling | There is currnelty no cooling within the IT room and some form is required as the room temperatures are high. | GF | 2 | 3500 | 3500 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.3.5.c | Room 142A - Cooling | There is currnelty no cooling within the IT room and some form is required as the room temperatures are high. | GF | 2 | 3500 | 3500 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.4.2 | Heating - FKAK/AD |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.4.2.b | Rooms 5, 3, 2, 19, 10 - LTHW Heating | Radiators are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 2000 | 0 |  |  | 2000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | 3.5.1 | Ventilation - FKAK/AE |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.5.1.c | Room un284 - Ventilation | There is no ventilation within the space and required to meet building regulations. | GE | 1 | 400 | 400 | [5 empty] | 400 | 0 | 0 | 0 | 0 | 0
m | 3.5.4 | HVAC Plantroom - FKAK/AE |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.1.4.a | Plantroom - Boiler | The boilers are currently operating however nearing the the end of the expected plant operational life expectancy and will require replacement. Replace as necessary. | GA | 2 | 3100 | 1000 | 2100 |  |  |  |  | 1000 | 0 | 0 | 0 | 0 | 0
m | 3.1.4.b | Plantroom - HWS | The HWS water heaters are currently operating however nearing the the end of the expected plant operational life expectancy and will require replacement. Replace as necessary. | GD | 2 | 1000 | 0 | 1000 |  |  |  |  | 0 | 1000 | 0 | 0 | 0 | 0
m | 3.1.4.d | Plantroom - LTHW Pumps | The pumps are currently operating however nearing the the end of the expected plant operational life expectancy and will require replacement. Replace as necessary. | GB | 2 | 800 | 0 | 800 |  |  |  |  | 0 | 800 | 0 | 0 | 0 | 0
m | 3.1.4.e | Plantroom - Gas Soleniod Valve | The valve is currently in good order however will require upgrading when boilers are renewed. | GG | 2 | 800 | 0 | 800 |  |  |  |  | 0 | 800 | 0 | 0 | 0 | 0
m | 3.6.2 | Heating - FKAK/AF |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.6.2.a | Corridor 252 - LTHW Heating | Radiator requires general improvement and repair to the LST cover. | GB | 2 | 800 | 800 | [5 empty] | 800 | 0 | 0 | 0 | 0 | 0
m | 3.6.4 | HVAC Plantroom - FKAK/AF |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.6.4.b | Cold Water Tank Room - Pipework | The cold water pipework insulation is lacking and requires replacement/improvement within the plantroom | GD | 2 | 1000 | 1000 | [5 empty] | 1000 | 0 | 0 | 0 | 0 | 0
m | 3.7.1 | Ventilation - FKAK/BA |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.7.1.a | Sports Hall - Extract Ventilation | The unit is in operating order but will required replacement in a few years as it nears the end of its expected operational life. Replace individual units as necessary. Allowance made for an annual expenditure. | GE | 3 | 1000 | 0 |  |  | 1000 |  |  | 0 | 0 | 0 | 1000 | 0 | 0
m | 3.7.1.b | Changing Room 192 - Extract Ventilation | The unit is in operating order but will required replacement in a few years as it nears the end of its expected operational life. Replace individual units as necessary. Allowance made for an annual expenditure. | GE | 3 | 400 | 0 |  |  | 400 |  |  | 0 | 0 | 0 | 400 | 0 | 0
m | 3.7.1.c | Changing Room 194, 193 - Extract Ventilation | The extract fans have PIR sensors and were not working and require further investigation. | GE | 1 | 400 | 400 | [5 empty] | 400 | 0 | 0 | 0 | 0 | 0
m | 3.7.1.d | Womens WC 204 - Extract Ventilation | The extract fan was not working and require further investigation. | GE | 1 | 400 | 400 | [5 empty] | 400 | 0 | 0 | 0 | 0 | 0
m | 3.7.1.e | 1st Floor Sports Hall - Extract Ventilation | The unit is in operating order but will required replacement in a few years as it nears the end of its expected operational life. Replace individual units as necessary. Allowance made for an annual expenditure. | GE | 3 | 1000 | 0 |  |  | 1000 |  |  | 0 | 0 | 0 | 1000 | 0 | 0
m | 3.7.2 | Heating - FKAK/BA |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.7.2.b | Changing Room 192, 191, 190, 189 - LTHW Heating | The units are in good operating order and should be for the next few years but willl require improvoing/painting over the next couple of years. | GB | 2 | 800 | 0 |  |  | 800 |  |  | 0 | 0 | 0 | 800 | 0 | 0
m | 3.7.2.c | Corridor & WC's - LTHW Heating | The units are on operating order and should be for the next few years but willl require improvoing/painting over the next couple of years. | GB | 2 | 500 | 0 | 500 |  |  |  |  | 0 | 500 | 0 | 0 | 0 | 0
m | 3.8.1 | Ventilation - FKAK/BA |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.8.1.a | Boys WC - Extract Ventilation | The unit is not working and requires further investigation and repair. | GE | 1 | 800 | 800 | [5 empty] | 800 | 0 | 0 | 0 | 0 | 0
m | 3.8.2 | Heating - FKAK/BB |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.8.2.a | Gym Extension - LTHW Heating | Radiators are currently servicable, however there are signs of minor defects which require repairing. | GB | 2 | 300 | 300 | [5 empty] | 300 | 0 | 0 | 0 | 0 | 0
m | [6 empty] | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  | SITEWIDE FKAK |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.2.2 | Fire Alarms | Tann DF4000 main control panel in reception System will need renewing/ updating in due time |  |  | 25000 | 0 | 5000 | 5000 | 15000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | 3.2.3 | Fire Activation | Fit smash glass units adjacent all final exit doors |  |  | 5000 | 5000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.2.4 | Lightnig Protection | Refix rod as soon as possible |  |  | 1000 | 1000 | [5 empty] | 1000 | 0 | 0 | 0 | 0 | 0
m | 3.2.5 | External Lighting | Repairs |  |  | 1000 | 1000 | [5 empty] | 1000 | 0 | 0 | 0 | 0 | 0
m | 3.2.6 | Access Control | Repairs |  |  | 6000 | 0 | 6000 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | 3.2.7 | Security | Repairs |  |  | 2000 | 0 |  | 2000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
m |  | SWITCH ROOMS |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.3.2 | Switchgear | Up grade older mains switchgear & wiring in 5 years |  |  | 33400 | 17400 | 8000 | 8000 |  |  |  | 1400 | 0 | 0 | 0 | 0 | 0
m | 3.3.3 | Switchgear Enclosures | Renew & upgrade |  |  | 2000 | 2000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m |  | LIGHTING |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.4.2 | Lighting | Renew & upgrade |  |  | 30000 | 0 | 10000 | 10000 | 10000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | 3.3.3 | Emergency Lighting | Renew & upgrade |  |  | 18250 | 18250 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m |  | POWER |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.5.2 | Small Power | Renew & upgrade |  |  | 4000 | 0 | 4000 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | 3.5.3 | Mechanical | Extract fans renewal |  |  | 2000 | 0 |  | 2000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
m |  | CONTAINMENT |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.6.2 | Enclosures | Renew & upgrade |  |  | 4500 | 4500 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m |  | COMMS |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.7.2 | Data Points | Renew & upgrade |  |  | 1000 | 1000 | [5 empty] | 1000 | 0 | 0 | 0 | 0 | 0

## EFA Property
|  |  | EFA survey data | [6 empty] | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other
DFE | School | School Type | Date received | Condition rating C or D | Priority rating 1 or 2 | Element | Category | CCP rating
[9 empty] | C1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | C2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D3 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Suitability and Compliance
Space |  | BB103 suggested sizes
|  |  |  | Suitability Data |  |  |  | Compliance Comparison
Basic Teaching Spaces |  | No. of spaces | Total m2 | Actual no. of spaces | Plan ref | Space |  | Total area | Shortfall | Surplus | 2016 | Date of last assessment
| General Classroom | - |  | 26 | 31,69,71,72,74,149,69A,74A,88,92,100,102,104,141,147,148,148A,30,62,63,79,80,85,80A,83,58,60,64,65,67,67A | General classrooms | 1352.27 | 1352.27
| Art Classroom | - |  | 3 | 156,161,161A | Art Classrooms | 184.1 | 184.1 |  |  | 0 | No. Temp Buildings on Site
| Drama Classroom | - |  | 2 | 75D,232,75E | Drama Classrooms | 254.63 | 254.63
| Science Laboratory | - |  | 9 | 112,113,114,120,121,122,123,124,153,UN26 | Science Classrooms | 688.86 | 688.86 |  |  | 0 | No. of Classrooms in Temporary Buildings
| Music Classroom | - |  | 2 | 180184 | Music Classrooms | 126.27 | 126.27
| IT Classroom | - |  | 4 | 48,49,98,144 | IT Classrooms | 322.95 | 322.95
| DT Classroom | - |  | 10 | 128A,128C,33,35,36,35B,36A,128,128E,128B,129,142A,157,241,142,145 | DT Classrooms | 863.65 | 863.65
| Total | - | 3666.88 |  |  |  |  | 3792.73 | 0 | 125.85 | 103.4% | of the recommended basic teaching space required
Halls and Studios |  | - | 1213.75 |  | 55,243,211,263,264,265,231,195,197 | Dining area, Gym, Hall, Sports hall | 1309.41 | 1309.41 | 0 | 95.66 | 107.9% | of the recommended hall size
Storage |  | - | 544.38 |  | 28,19,35A,76A,111,138,172,208,UN12,UN69,116,116A,8,70,73,82,89,108,115,118,119,139,140,146,152A,154,158,159,160,162,164,187,196,201,202,210,212,242,244,258,267,268,271,273,275,277,UN5,UN7,UN8,UN14,UN18,UN27,UN28,UN30,UN32,UN33,UN43,UN46,UN68,UN70,UN72,UN78,UN79,UN82,139A |  | 443.28 | 443.28 | 101.1 | 0 | 81.43% | of the recommended storage space required
Staff and admin |  | - | 460.63 |  | 15,66,74B,75C,84,99,105,117,150,169,183,9,1,2,5,10,16,17,37,37A,38A,38C,39,52A,53,56G,96,256C,259,260,UN1,UN3,UN4,UN83,3,38D,6,7,21,23,56F,101,103,126,203,21A,22 |  | 679.98 | 679.98 | 0 | 219.35 | 147.6% | of the recommended staff and admin space required
Learning resource area |  | - | 335 |  | 256B,46,278,45,278B,171,175,176,177,181,182,107,107A,266,269,270,272,274,276,UN84,266A,269A,269B,270A,270B,272A,272B,52B,52C,52D,52E,257,UN85,UN87 |  | 892.42 | 892.42 | 0 | 557.42 | 266.4% | of the recommended learning resource areas
Supplementary area |  | - | 114.38 |  | 251 |  | 231.26 | 231.26 | 0 | 116.88 | 202.2% | of the recommended supplementary areas
Non net areas |  | - | 2699.8 |  | 213,233,261,234,4,11,11A,14,14A,29,34,40,40A,41,44,44A,48A,50A,51,61,61A,68,68A,68B,68C,68D,75,75B,76,76B,78,83A,90,94,94A,97,106,127,128D,130,130A,130B,143A,148B,149A,152,155,166,167,170,171A,178A,179,179A,188,197A,198,200A,209,227,252,256,262A,278A,UN19,UN20,UN21,UN25,27,253,255,13,13a,20,125,133,151,12,38B,57,131,186,200,189,190,191,54,38,52,56,67B,56A,56B,56C,56E,56H,248,249,13C,47A,49A,61C,76C,78A,78C,178B, 199A,UN22,UN39,UN49,UN50,UN55,UN56,UN61,UN63,UN64,UN66,26,50,UN31,UN71,168,228,228A,262,UN76,192,193,194,UN42,24,134,173,25,135,174,205,25A,87,245,246,247,56D,81,204,13B,47,47B,58,61B,75A,78B,86,93,94B,95,132,143,178,199,UN6,UN15,UN16,UN17,UN23,UN37,UN40,UN44,UN45,UN47,UN48,UN52,UN53,UN57,UN60,UN62,UN65,UN67,UN77,256A,UN2,40B | Corridors, landings, stairs, lift, toilets, changing areas, kitchen, lockers | 2143.24 | 2288.29 | 411.51 | 0 | 84.76% | of the recommended non net area
| Pupils toilets | 60 |  | 46 | 42,77,109,137,207,230,254B,43,110,136,206,229,254A,UN86 | Pupil toilets | 145.05 |  |  |  | 76.67% | % of recommended pupil toilets
Total Net area |  |  | 6335.02 |  |  |  |  | 7349.08
Total Non-Net area |  |  | 2699.8 |  |  |  |  | 2288.29
Gross (total build) area |  |  | 9034.82 |  |  |  |  | 9637.37 |  |  | 106.7% | of the recommended Gross area
Net Area Range |  |  | 6037.5 - 6632.5
Mid Range |  |  | 6335
Total Site Area Range |  |  | 67571.25 - 84687.5
Mid Range |  |  | 76129.375

## Occupancy
Sufficiency Data
Planned Admission Number | Post 16 Planned Admission Number | Current Capacity | Maximum PAN | Capacity based on max PAN
235 | - | 1180 | 243 | 1215
NOR Spring Census
| 2008 / 2009 | 2009 / 2010 | 2010 / 2011 | 2011 / 2012 | 2012 / 2013 | 2013 / 2014
NOR Jan (11-16) | 1181 | 1182 | 1180 | 1168 | 1163 | 1137
NOR Jan (Post 16) | 0 | 0 | 0 | 0 | 0 | 0
Total NOR Jan | 1181 | 1182 | 1180 | 1168 | 1163 | 1137
Capacity (11-16) | 1180 | 1180 | 1180 | 1180 | 1180 | 1180
Capacity (Post 16) | 0 | 0 | 0 | 0 | 0 | 0
Total capacity | 1180 | 1180 | 1180 | 1180 | 1180 | 1180
Number of surplus places (11-16) | 0 | 0 | 0 | 12 | 17 | 43
Number of surplus places (Post 16) | 0 | 0 | 0 | 0 | 0 | 0
Total number of surplus places | 0 | 0 | 0 | 12 | 17 | 43
% of surplus places (11-16) | 0 | 0 | 0 | 1.0169 | 1.4407 | 3.6441
% of surplus places (Post 16) | 0 | 0 | 0 | 0 | 0 | 0
Total % of surplus places | 0 | 0 | 0 | 1.0169 | 1.4407 | 3.6441
Current Numbers on Roll (from Autumn Census)
Year group | 7 | 8 | 9 | 10 | 11 | 12 | 13 | Total
Number | 213 | 210 | 231 | 232 | 229 | 1 | 0 | 1116

## School stats
Current Ofsted | Year
Good | 2012-09-12
2014 KS4 Performance Tables last update : (29 Jan 2015)
Cohort information
Number of pupils at the end of KS4 | 234
Key Stage 2 APS of cohort | 28.6
| Number in cohort | Percentage of cohort
Low attainers | 25 | 11%
Middle attainers | 105 | 47%
High attainers | 94 | 42%
Pupils for whom English is not their first language | 9 | 4%
Pupils with statements or supported at school action plus | 22 | 9%
Year on year comparisons
Percentage achieving 5+ A*-C GCSEs (or equivalent) including English and maths GCSEs | 2011 | 2012 | 2013 | 2014
School | 68% | 71% | 52% | 65%
LA | 57.5% | 56.5% | 56.1% | 58.7%
England - All Schools | 59% | 59.4% | 59.2% | 53.4%
KS4 exam results
| All pupils | Low attainers | Middle attainers | High attainers
Percentage achieving 5 A*-C GCSEs (or equivalents) including English and maths GCSEs | 65% | 4% | 56% | 91%
Percentage achieving A*-C in English and maths GCSEs | 68% | 4% | 60% | 94%
Percentage of pupils achieving the EBacc | 37% | 4% | 26% | 59%
Percentage of pupils achieving 5+ A*-C grade GCSEs (or equivalent) | 77%
Percentage of pupils achieving 5+ A*-G grade GCSEs (or equivalent) | 96%
% of pupils achieving any qualifications | 98%
Number of KS4 pupils with entries in all EBacc subject areas | 140 | 2 | 59 | 71
Percentage of pupils with entries in all EBacc subject areas | 60% | 8% | 56% | 76%
KS4 pupil progress
| All pupils | Low attainers | Middle attainers | High attainers
Percentage of pupils making expected progress in English | 73% | 32% | 71% | 85%
Percentage of pupils making expected progress in maths | 76% | 24% | 80% | 83%
Best 8 value added | 1002.5 | 960.6 | 1010.7 | 1004.6
Lower confidence limit | 992.9 | 931.9 | 996.7 | 989.8
Upper confidence limit | 1012.1 | 989.3 | 1024.7 | 1019.4
Percentage of pupils included in VA measure | 96%
KS4 Average Point Scores
| All pupils | Low attainers | Middle attainers | High attainers
Total average (capped) point score per pupil | 333.8 | 164.7 | 322.1 | 389.3
Average grade per qualification |  | F+ | C | B+
KS4 Exam entries
| All pupils | Low attainers | Middle attainers | High attainers
Average entries per pupil - all qualifications | 9.3 | 5.7 | 9.3 | 10.2
Disadvantaged Pupils
| Disadvantaged pupils | Other pupils
Number of Pupils | 17 | 217
Percentage of Pupils | 7% | 93%
Percentage achieving grades A*-C in English and maths GCSEs | 35% | 70%
Percentage achieving 5+ A*-C GCSEs (or equivalent) including English and maths GCSEs | 35% | 67%
Percentage of pupils making expected progress in English | 35% | 76%
Percentage of pupils making expected progress in maths | 65% | 76%
Best 8 VA measure | 975.3 | 1004.8
Best 8 VA lower 95% confidence limit for disadvantaged pupils | 940.5 | 994.8
Best 8 VA upper 95% confidence limit for disadvantaged pupils | 1010.1 | 1014.7
Average entries per pupil - all qualifications | 8.3 | 9.4
Average point score per pupil (best 8) - all qualifications | 274.8 | 338.5
For the purposes of the table Disadvantaged pupils are considered as those eligible for free school meals and children
looked after (ie, In the care of the Local Authority for at least 6 months)
Pupil Absence last update : (11 Dec 2013)
| School | England - national (secondary state-funded)
Overall absence: percentage | 6.4% | 5.8%
Persistent absence: around 15% + | 7.2% | 6.5%
Please note - this year the Department will publish full year 2013/14 absence data in the performance tables in March 2015 rather than just the autumn and spring term data in December as in previous years, and we will continue to do so in future years. This is because the full year data provides the most robust indication of school absence rates.
School level information for the 2013/14 autumn and spring term only is available in our Statistical First Release here
2013-14 Finance last update : (29 Jan 2015)
Contextual information
Number of pupils (FTE) | 1136
Percentage of pupils eligible for Free School Meals (FSM) | 4%
Free school meals eligibility band | LOW
Spend per pupil data as £ per pupil (in brackets percentage of total income or expenditure)
| School | LA Median | Non-London LAs Median | National Median
Grant funding | 5044 (98%) | 5205 | 5267 | 5720
Self generated income | 93 (2%) | 143 | 146 | 141
Total income | 5137 | 5312 | 5467 | 5904
Teaching staff | 2838 (61%) | 3079 | 3010 | 3159
Supply Staff | 77 (2%) | 77 | 96 | 114
Education support staff | 475 (10%) | 475 | 556 | 606
Learning resources (not ICT equipment) | 141 (3%) | 232 | 220 | 242
ICT learning resources | 74 (2%) | 67 | 77 | 82
Bought in professional services - curriculum | 53 (1%) | 33 | 58 | 66
Back office (incl. Staff costs) | 401 (9%) | 431 | 480 | 531
Catering (incl. Staff costs) | 18 (0%) | 25 | 42 | 62
Premises (incl. Staff costs) | 270 (6%) | 363 | 349 | 381
Other staff costs | 73 (2%) | 87 | 85 | 95
Energy | 69 (2%) | 84 | 98 | 103
Other expenditure | 141 (3%) | 257 | 209 | 219
Total expenditure | 4630 | 5223 | 5385 | 5856
Spend per pupil data as £ per pupil : Comparisons over time
| 2010-11 | 2011-12 | 2012-13 | 2013-14
Teaching staff and Education support staff expenditure | 3310 | 3317 | 3222 | 3313
Supply staff | 21 | 59 | 37 | 77
Back office (incl. Staff costs) | 308 | 384 | 405 | 401
Energy | 63 | 53 | 65 | 69
Total expenditure | 4689 | 4608 | 4513 | 4630
School Workforce last update : (29 Jan 2015)
This data is based upon the November 2013 School Workforce Census
| School | England - national (secondary state-funded)
Headcount of all teachers in a school | 71 | 227957
Headcount of all teaching assistants in a school | 61 | 68901
Headcount of all support (exc. auxiliary) staff in a school | 24 | 89346
Full-time equivalent number of all teachers in a school | 65.1 | 211533
Full-time equivalent number of all teaching assistants in a school | 24.8 | 53876.9
Full-time equivalent number of all support (exc. auxiliary) staff in a school | 19.6 | 74423.5
Ratio of pupils to teachers in a school | 17.4 | 15
Average gross salary of all teachers in a school | 38755 | 38521
Ofsted Inspection last update : (31 Jan 2015)
Inspection date | 2012-09-12
Inspection outcome | 2
Web link | Link to Ofsted inspection report
Education Destination Measure for 2011/12 cohort last update : (29 Jan 2015)
| School | England - national (secondary state-funded)
Number of pupils | 230 | 561800
Total in a sustained education destination | 96% | 88%
Further Education College | 31% | 34%
Independent School | 3% | SP
Other Further Education Provider | 3% | 3%
School Sixth Form | 2% | 37%
Sixth Form College | 56% | 12%
Specialist post-16 institution | 0% | SP
Pupil Referral Unit or Other Alternative Provision | 0% | SP
Special School | SUPP | 1%
Apprenticeships | 4% | 4%
UK Higher Education Institution | 0% | SP
Education combination | 0% | SP
Education destination not sustained | 2% | 7%
Activity not captured in data | 2% | 4%

## Parental Preference
Popularity Data | [10 empty] | Children at School From School Catchment
Parental First Preference Applications | [11 empty] | 2010 | 2011 | 2012 | 2013 | 2014 | Catchment vs Nearest School | Catchment | Nearest
Year | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  |  | NOR | 1182 | 1180 | 1168 | 1163 | 1137 | NOR | 1116 | 1116
PAN | 236 | 236 | 236 | 236 | 236 | 236 |  |  |  |  | Number | 482 | 487 | 476 | 444 | 410 | Total in area | 545 | 565
No. | 233.876 | 281.076 | 225.852 | 225.852 | 192.812 | 212.9021 |  |  |  |  | % | 40.7783 | 41.2712 | 40.7534 | 38.1771 | 36.0598 | Number at School from area | 392 | 387
% | 99.1 | 119.1 | 95.7 | 95.7 | 81.7 | 90.2128 | [10 empty] | % at School | 35.1254 | 34.6774
[11 empty] | Total number in Catchment | [5 empty] | % of area going to School | 71.9266 | 68.4956
[12 empty] | 2010 | 2011 | 2012 | 2013 | 2014
[11 empty] | Number | 576 | 586 | 598 | 571 | 554
[11 empty] | % | 100 | 100 | 100 | 100 | 100
Where children at School are coming from (from Spring Census 2014)
DCSF No | School |  | Queen Elizabeth | Whitecross | Aylestone | Kingstone | Lady Hawkins | The Minster | Weobley | Wigmore | The John Masefield | The John Kyrle | Bishops | Hereford Academy | Out of County | Grand Total
4600 | Bishops | Number | 49 | 77 | 320 | 16 | 8 | 22 | 15 | 2 | 53 | 31 | 410 | 131 | 3 | 1137
4600 | Bishops | % | 4.3096 | 6.7722 | 28.1442 | 1.4072 | 0.70361 | 1.9349 | 1.3193 | 0.1759 | 4.6614 | 2.7265 | 36.0598 | 11.5215 | 0.26385 | 100
Where school children in the Schools Catchment area are going to (from Spring Census 2014)
DCSF | School |  | Robert Owen | Whitecross | Aylestone | Kingstone | The John Masefield | The John Kyrle | Bishops | St Marys RC | Hereford Academy | Grand Total
4600 | Bishops | Number | 3 | 6 | 10 | 2 | 1 | 5 | 410 | 114 | 3 | 554
4600 | Bishops | % | 0.54152 | 1.083 | 1.8051 | 0.36101 | 0.18051 | 0.90253 | 74.0072 | 20.5776 | 0.54152 | 100

## Disability access
Physical Accessibility Rating | 3
Information from https://www.herefordshire.gov.uk/education-and-learning/schools/directory
Ratings and descriptions
Rating | Details | Description
3 | Fully accessible | Will meet the needs of all disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling); Has a full hygiene room and special educational needs or therapy room for pupils who need more assistance with personal care (including hoisting) and regular physio or other treatment
2 | Mainly accessible | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
1 | Partly accessible | Some standards met but some areas not accessible
0 | Inaccessible | No level access into building and/or no disabled toilet
Summary of physical accessibility standards
Level access into building(s): Main and pupil entrance(s) level, with ramps and hand rails as required
Level access to all curriculum and social areas (not necessarily entire building/site): including assembly hall, canteen (may be achieved by sensitive organisation and timetabling)
Access to upper floors: if required - lift(s) as alternative to steps or stairs
Toilet facilities: small disabled toilet(s) as specified by building regulations - suitable for most disabled pupils. A small number of pupils will require enhanced facilities (hygiene room) to provide greater assistance, including hoisting.
Medical, therapy or SEN room: multi-purpose or flexible use - usually required in addition to a hygiene room, for regular physio and other physical programmes
Emergency evacuation: routes should be level and unobstructed. Evacuation must be documented (using Personal Emergency Evacuation Plans - PEEPs) and practised regularly