## Cover Page
Brampton Abbotts CE Primary School
Summary Report
Contents
|  | Section | Page | No. of pages
Brampton Abbotts CE Primary School |  | Summary Data | 3 | 1
Summary Report |  | General Information and Asset Summary | 4 | 1
|  | Maintenance and Condition Summary | 5 | 2
|  | Education Funding Agency Condition Survey Data | 7 | 1
Schools Capital Investment Strategy |  | Suitability and Compliance Summary | 8 | 2
|  | School Occupancy Summary | 10 | 1
|  | School Statistics | 11 | 1
|  | Environmental Sustainability Condition | 12 | 1
|  | Parental Preference | 13 | 1
|  | Distribution of Children Attending School or Resident in its Catchmnet Area | 14 | 1
|  | Distribution of Children Attending School or Where it is the Nearest School | 15 | 1
|  | Key Services Within 2 Mile Radius of School | 16 | 1
|  | Key Services Adjacent to School | 17 | 1
|  | Disability Access | 18 | 1
Children's Wellbeing
Herefordshire Council
Plough Lane Offices
Plough Lane
HEREFORD
HR4 0LE

## Summary Info
Brampton Abbotts CE Primary School
Summary Report
Summary of Headline Information
Asset Summary | [5 empty] | Occupancy Summary
Gross Site Area (M2)(whole site including building):- |  | 6326.63 |  |  |  | Current Capacity (PAN 20):- |  |  |  | 140
Insurance Asset Value (£000):- |  | 992394.5822 |  |  |  | Allocated Capacity Size (PAN 20):- |  |  |  | 140
Land Asset Value (£000):- |  | 10548 |  |  |  | Current Occupancy:- |  |  |  | 112
Land Ownership:- | Part buildings/land owned by trustees, part land council owned |  |  |  |  | Current Planned Admission No.:- |  |  |  | 20
[6 empty] | Current Number Over Capacity:- |  |  |  | 0
[6 empty] | Current Number Under Capacity:- |  |  |  | 28
Maintenance Expenditure Required on the School over a 5 Year Period Summary
Survey Date:- |  |  |  | 2012-01-23
Backlog Maintenance Total (£000):- | [6 empty] | 74.7452
Total Forecast Expenditure (5 years) (£000):- | [6 empty] | 44.3474
Total Potential Local Authority Forecast Expenditure (£000):- | [6 empty] | 103.3977
Total Potential School Forecast Expenditure (£000):- | [6 empty] | 15.6949
Suitability and Compliance
Required Number of Classrooms:- | [6 empty] | 5 | Required Building Footprint (M2):- |  | 974.92
Actual Number of Classrooms:- | [6 empty] | 5 | Current Building Area (M2):- |  | 891.4104
Percentage of Classrooms that are the Recommended Size:- | [6 empty] | 60 | Area Shortfall (M2):- |  | 83.5096
Compliance Percentage of Recommended Hall Size:- | [6 empty] | 66.2556 | Area Surplus (M2):- |  | 0
Number of Temporary Buildings on Site:- |  |  |  |  | 0 |  |  | Total Percentage Compliance:- |  | 91.4342
Number of Classrooms in Temporary Buildings:- |  |  |  |  | 0
Compliance Percentage of Recommended Reception Toilets:- | [6 empty] | 100 | Required Net Site Area (M2):- |  | 6518.88
Compliance Percentage of Recommended Other Pupil Toilets:- | [6 empty] | 116.6667 | Current Net Site Area (M2):- |  | 5435.2196
Nursery on Site:- | Yes | [6 empty] | Area Shortfall (M2):- |  | 1083.6604
[8 empty] | Area Surplus (M2):- |  | 0
[8 empty] | Total Percentage Compliance:- |  | 83.3766
Disability Access
Rating:- | 2 |  | Details:- |  |  |  | Mainly accessible
Environmental Sustainability Condition
DEC Rating:- |  |  |  |  | No data held
Electric Consumption 2014/Child:- |  |  |  |  | 462.02 (Includes Nursery usage - which is approximately 22% of this figure)
Gas Consumption 2014/Child:- |  |  |  |  | 556.2 (Includes Nursery usage - which is approximately 22% of this figure)
School Statistics
Ofsted Results:- | [8 empty] | Good
Percentage of Children Achieving KS2 Level 4 or Above in Reading, Writing and Maths in 2014:- | [8 empty] | 89
Parental Preference (2014)
Percentage of Parental First Preference Applications:- | [6 empty] | 65
Total Number of Children within Catchment:- | [6 empty] | 57
Total Number of Children at School from Catchment:- | [6 empty] | 8
Percentage of Catchment at School:- | [6 empty] | 7.2072
Percentage of Catchment Going to School:- | [6 empty] | 14.0351

## Report
|  |  | Brampton Abbotts CE Primary School | [6 empty] | Brampton Abbotts CE Primary School | [14 empty] | Brampton Abbotts CE Primary School | [7 empty] | Brampton Abbotts CE Primary School |  |  |  |  | Brampton Abbotts CE Primary School |  | Brampton Abbotts CE Primary School |  |  |  |  | Brampton Abbotts CE Primary School | [5 empty] | Brampton Abbotts CE Primary School |  |  | Brampton Abbotts CE Primary School | [8 empty] | Brampton Abbotts CE Primary School |  | Brampton Abbotts CE Primary School |  | Brampton Abbotts CE Primary School |  | Brampton Abbotts CE Primary School |  | Brampton Abbotts CE Primary School |  |  | Brampton Abbotts CE Primary School
|  |  | Summary Report | [6 empty] | Summary Report | [14 empty] | Summary Report | [7 empty] | Summary Report |  |  |  |  | Summary Report |  | Summary Report |  |  |  |  | Summary Report | [5 empty] | Summary Report |  |  | Summary Report | [8 empty] | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  |  | Summary Report
General Information |  |  |  | Maintenance and Condition Summary | [21 empty] | Education Funding Agency Condition Survey Data | [7 empty] | Suitability and Compliance Summary |  |  |  |  | Suitability and Compliance Summary (continued) |  | School Occupancy Summary |  |  |  |  | School Statistics | [5 empty] | Environmental Sustainability Condition |  |  | Parental Preference | [8 empty] | Distribution of Children Attending School or Resident in its Catchment Area |  | Distribution of Children Attending School or Where it is the Nearest School |  | Key Services Within 2 Mile Radius of School |  | Key Services Adjacent to School |  | Disability Access
Maintenance and Condition Summary (continued)
School Name:- | Brampton Abbotts CE Primary School |  |  | Survey Date:- | 2012-01-23 |  | Survey Company:- |  | Amey |  | Key Elements and Annual Forecast Maintenance Costs and Responsibilities | [14 empty] | Date of Survey:- |  | Not Available | [5 empty] | Areas | Standard Criteria (M2) (PAN 20) | Schools Compliance (M2) | Compliance Percentage |  |  |  | Current Planned Admission No. (PAN) | Current School Capacity | Maximum PAN | Maximum Capacity Based on PAN |  | Year | KS2 Year on Year Results |  |  |  |  | Electric Consumption 2014/Child:- | 462.02 (Includes Nursery usage - which is approximately 22% of this figure) |  |  | Parental First Preference Applications | [15 empty] | Physical Accessibility Rating
Head Teacher:- | Mr D Brearey | DFE Number:- | 3305 | Year | Forecast Maintenance Costs (£ 000) | [5 empty] | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows and Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | Number of Occurences Identified Within the Report | [7 empty] | Basic Teaching Space | 310 | 355.948 | 114.8219 |  |  |  | 20 | 140 | 21 | 147 |  |  | School - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | LA - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | All Schools in England - Percentage Achieving Level 4 or Above in Reading, Writing and Maths |  |  | Gas Consumption 2014/Child:- | 556.2 (Includes Nursery usage - which is approximately 22% of this figure) |  |  | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | [10 empty] | Rating: | 2
Leadership:- | Stand Alone | [24 empty] | Rating (see key below) | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other | Hall and Studio | 180 | 119.26 | 66.2556 | [17 empty] | PAN | 20 | 20 | 20 | 20 | 20 | 20
Address:- | Brampton Abbotts C E Primary School, Brampton Road, Ross-on-Wye, Herefordshire HR9 7FX | Email:- | admin@bramptonabbotts.hereford.sch.uk | Backlog | 74.7452 | [5 empty] | £ 000 | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | [8 empty] | Storage | 76 | 82.24 | 108.2105 |  |  |  | Historical Numbers on Roll Data (Spring Census) | [13 empty] | Number | 8 | 12 | 16 | 19 | 14 | 13 | [10 empty] | Details: | Mainly accessible
|  |  |  | 2015 | 25.2219 |  |  | 74.7452 |  |  | Backlog | 2.57 | 4.7814 | 4.3989 | 10.1605 | 0.23907 | 14.9419 | 0 | 0 | 0 | 23.907 | 4.1837 | 9.5628 | 0 | 0 | C1 | [7 empty] | Staff and Admin | 78 | 68.89 | 88.3205 |  |  |  | Year | Total NOR | Capacity Based on PAN | Shortfall | Surplus | 2012 | 88 | 71 | 75 | [5 empty] | Percentage | 40 | 60 | 80 | 95 | 70 | 65
|  |  |  | 2016 | 11.9535 |  |  | 25.2219 |  |  | 2015 | 1.1953 | 0 | 0 | 0 | 0 | 14.9419 | 0 | 0 | 0 | 8.3674 | 0.71721 | 0 | 0 | 0 | C2 | [7 empty] | Learning Resource | 70 | 53.69 | 76.7 |  |  |  | 2008 / 2009 | 116 | 140 | 0 | 24 | 2013 | 86 | 71 | 75 | [22 empty] | Description: | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
|  |  |  | 2017 | 7.1721 |  |  | 11.9535 |  |  | 2016 | 1.1953 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.7581 | 0 | 0 | 0 | 0 | D1 | [7 empty] | Supplementary Area | 0 | 18.857 | - |  |  |  | 2009 / 2010 | 107 | 140 | 0 | 33 | 2014 | 89 | 76 | 79 | [5 empty] | Historical Catchment Analysis (Spring Census)
Telephone No.:- | T: 01989 562256 F: 01989 567632 | School Cluster:- | Ross-on-Wye District- John Kyrle High School and Sixth Form Centre | 2018 | Not Available |  |  | 7.1721 |  |  | 2017 | 1.1953 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9767 | 0 | 0 | 0 | 0 | D2 | [7 empty] | Non Net Area | 260.92 | 192.5254 | 73.7871 |  |  |  | 2010 / 2011 | 106 | 140 | 0 | 34 | [9 empty] | Catchment Analysis | Parental First Preference Applications 2012: 2010; Parental First Preference Applications 2013: 2011; Parental First Preference Applications 2014: 2012 | 2013 | 2014
|  |  |  | 2019 | Not Available |  |  | Not Available |  |  | 2018 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | D3 | [7 empty] | Total Gross Building Area | 974.92 | 891.4104 | 91.4342 |  |  |  | 2011 / 2012 | 106 | 140 | 0 | 34 | KS2 Test Results and Progress (2014) | [11 empty] | Total in Catchment | 41 | 41 | 53 | 49 | 57
[8 empty] | Not Available |  |  | 2019 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | [15 empty] | 2012 / 2013 | 110 | 140 | 0 | 30 | [12 empty] | Number at School from Catchment | 4 | 4 | 7 | 7 | 8
School Type:- | Voluntary Aided | Building Number:- | XGAU | Total | 119.0926 | [5 empty] | Totals | 6.156 | 4.7814 | 4.3989 | 10.1605 | 0.23907 | 29.8837 | 0 | 0 | 0 | 49.0093 | 4.9009 | 9.5628 | 0 | 0 | *Note the information noted above has been extracted from the EFA survey focusing on elements that are C & D rated. Items with an A or B rating have been excluded. The numbers reference the quantity of elements that the survey has picked up within the relevant category | [7 empty] | Total Gross Site Area | 7493.8 | 6326.63 | 84.4249 |  |  |  | 2013 / 2014 | 111 | 140 | 0 | 29 | Pupils eligible for KS2 assessment |  |  |  | 18 | [7 empty] | Percentage at School from Catchment | 3.7383 | 3.7736 | 6.6038 | 6.3636 | 7.2072
Current Capacity:- | 140 | Site Area:- | 6326.63 | [30 empty] | Net Site Area (less the building area) | 6518.88 | 5435.2196 | 83.3766 |  |  |  | Current Occupancy | 112 | 140 | 0 | 28 | Percentage achieving level 3 or below in reading, writing and maths |  |  |  | 6 | [7 empty] | Percentage of Catchment Going to School | 9.7561 | 9.7561 | 13.2075 | 14.2857 | 14.0351
[11 empty] | Total Potential Expenditure - Local Authority (£000) | [6 empty] | 103.3977 | [27 empty] | Percentage achieving level 4 or above in reading, writing and maths |  |  |  | 89
|  |  |  | Key Elements of Forecast Maintenance | [29 empty] | Key Information (based on Building Bulletin 103) | [6 empty] | Current Occupancy Summary (Autumn Census 2014) |  |  |  |  | Percentage achieving level 4B or above in reading and maths and level 4 or above in writing |  |  |  | 72 |  |  |  |  | Catchment and Nearest School Comparison (Autumn Census 2014)
|  |  |  | Categories |  | Totals (£ 000) | [19 empty] | Key | [7 empty] | Required Number of Classrooms |  |  |  | 5 |  |  | Year Group | NOR | Shortfall | Surplus |  | Percentage achieving level 5 or above in reading, writing and maths |  |  |  | 17 | [5 empty] | Parental First Preference Applications 2011: Catchment vs Nearest School; Parental First Preference Applications 2012: Catchment; Parental First Preference Applications 2013: Nearest
|  |  |  | External Grounds |  | 10.9374 |  |  |  |  | Total Potential Expenditure - School (£000) | [6 empty] | 15.6949 | [7 empty] | Condition grade | Definition |  |  |  | Priority rating | Definition |  | Number of Classrooms |  |  |  | 5 |  |  | Reception | 13 | 0 | 7 |  | Percentage making expected progress in reading |  |  |  | 100 | [5 empty] | Parental First Preference Applications 2011: NOR; Parental First Preference Applications 2012: 112; Parental First Preference Applications 2013: 112
|  |  |  | Roof Works |  | 14.5593 | [27 empty] | Percentage of Classrooms that are the Recommended Size |  |  |  | 60 |  |  | One | 17 | 0 | 3 |  | Percentage making expected progress in writing |  |  |  | 100 | [5 empty] | Parental First Preference Applications 2011: Total in Area; Parental First Preference Applications 2012: 51; Parental First Preference Applications 2013: 317
|  |  |  | External Walls |  | 30.1228 | [19 empty] | A Good | Performing as intended and operating efficiently |  |  |  | 1 | Immediate or year 1 remedial action required |  | Percentage of Classrooms that are Classed as Small |  |  |  | 40 |  |  | Two | 21 | 1 | 0 |  | Percentage making expected progress in maths |  |  |  | 100 | [5 empty] | Parental First Preference Applications 2011: Number at School from Area; Parental First Preference Applications 2012: 9; Parental First Preference Applications 2013: 90
|  |  |  | Windows and Doors |  | 0 | [27 empty] | Number of Temporary Buildings on Site |  |  |  | 0 |  |  | Three | 19 | 0 | 1 |  | Average point score |  |  |  | 29.3 | [5 empty] | Parental First Preference Applications 2011: Percentage at School; Parental First Preference Applications 2012: 8.0357; Parental First Preference Applications 2013: 80.3571
|  |  |  | Internal Works |  | 49.0093 | [19 empty] | B Satisfactory | Performing as intended but exhibiting minor deterioration |  |  |  | 2 | Year 1-2 remedial action required |  | Number of Classrooms in Temporary Buildings |  |  |  | 0 |  |  | Four | 12 | 0 | 8 | [11 empty] | Parental First Preference Applications 2011: Percentage of area going to School; Parental First Preference Applications 2012: 17.6471; Parental First Preference Applications 2013: 28.3912
Asset Summary |  |  |  | Mechanical and Electrical |  | 14.4637 | [27 empty] | Percentage of Recommended Reception Toilets |  |  |  | 100 |  |  | Five | 9 | 0 | 11 |  | Latest Ofsted Report Date:- |  | 2013-09-26
|  |  |  | Other (e.g. ancillary buildings) |  | 0 | [19 empty] | C Poor | Exhibiting major defects and/or not operating as intended |  |  |  | 3 | Year 3-5 remedial action required |  | Percentage of Recommended Other Pupil Toilets |  |  |  | 116.6667 |  |  | Six | 21 | 1 | 0 |  | Ofsted Result:- |  | Good
Asset Value - Insurance (£000):- |  | 992.3946 | [38 empty] | Total | 112 | 0 | 28
Asset Value - Land (£000):- |  | 10.548 | [23 empty] | D Bad | Life-expired and/or at serious risk of imminent failure
Land Owner:- |  | Part buildings/land owned by trustees, part land council owned | [36 empty] | Category | Areas Included
[39 empty] | Basic Teaching Spaces | General Classrooms, ICT Rooms, Practical Areas
[39 empty] | Hall and Studio | Halls, Dining Areas
Lease Agreement / Notes:- |  | Not Known | [36 empty] | Storage | Coats and Bags, Teaching, Specialist, PE Equipment, Bulk Stock, Cleaning, Caretakers and Maintenance, Tables and Chairs, Staging, Mobility Equipment
Nursery Provision:- |  | PVI Nursery in building | [36 empty] | Staff and Admin | Heads and Staff Offices, Staff Room, Staff PPA,Reprographics Room, Sick Bay, Interview and Meeting Rooms, Secure Entrance
[39 empty] | Learning Resource | Library, Small Group Rooms, SENCO Office, Medical Inspection Room
[39 empty] | Supplementary Area | Any other specialist area at the school e.g. Music Classroom, Swimming Pool, SEN Classrooms
[39 empty] | Non Net Area | Pupil and Staff Toilets, Accessible Toilets, Hygiene Room, Kitchen, Corridors, Server Room, Boilers
[39 empty] | Additional Area | Nursery provision

## Feedback
|  | Brampton Abbotts CE Primary School |  |  | Brampton Abbotts CE Primary School |  |  | Brampton Abbotts CE Primary School
|  | Feedback Form |  |  | Feedback Form |  |  | Feedback Form
General Information and Asset Summary |  |  | School Occupancy Summary |  |  | Parental Preference
Do you believe the data to be accurate? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Maintenance and Condition Summary |  |  | School Statistics |  |  | Disability Access
Do you believe the data to be a fair reflection of the maintenance and condition of the school? | [5 empty] | Do you believe the data to be a fair reflection of the environmental condition of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Suitability and Compliance Summary |  |  | Environmental Sustainability Condition |  |  | Any Other Comments
Do you believe the data to be a fair reflection of the suitability and compliance issues faced by the school? | [5 empty] | Additional comments about the information provided:
Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments:
If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920
Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015

## Asset summary
Building ref number:- | XGAU
Site Area:- | 6326.63
Asset Value (Insurance):- | 992394.5822
Asset Value (Land):- | 10548
Land owner:- | Part buildings/land owned by trustees, part land council owned
Lease agreement / notes:- | Not Known
DEC rating:- | No data held
Electric consumption 2014/child:- | 462.02 (Includes Nursery usage - which is approximately 22% of this figure)
Gas consumption 2014/child:- | 556.2 (Includes Nursery usage - which is approximately 22% of this figure)
462.02 (Includes Nursery usage - which is approximately 22% of this figure)
556.2 (Includes Nursery usage - which is approximately 22% of this figure)

## Maintenance
Maintenance and Condition Summary | [5 empty] | BCIS Quarter | 1Q2012 | [11 empty] | Check | Main year totals | Summary year totals | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows & Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | BCIS quarter | BCIS uplift
Year survey undertaken |  | 2012-01-23 |  |  |  | BCIS Uplift | 1.1953 | [15 empty] | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | 1Q2009 | 1.1525
Survey company:- |  | Amey | [17 empty] | 74745.1628 | 74745.1628 | Backlog | 2570 | 4781.3953 | 4398.8837 | 10160.4651 | 239.0698 | 14941.8605 | 0 | 0 | 0 | 23906.9767 | 4183.7209 | 9562.7907 | 0 | 0 | 2Q2009 | 1.1898
[20 empty] | 25221.8605 | 25221.8605 | 2015 | 1195.3488 | 0 | 0 | 0 | 0 | 14941.8605 | 0 | 0 | 0 | 8367.4419 | 717.2093 | 0 | 0 | 0 | 3Q2009 | 1.1898
[20 empty] | 11953.4884 | 11953.4884 | 2016 | 1195.3488 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10758.1395 | 0 | 0 | 0 | 0 | 4Q2009 | 1.2123
[6 empty] | Year covered? | Y | Y | Y | Y | N | N | School Costs | [6 empty] | 7172.093 | 7172.093 | 2017 | 1195.3488 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5976.7442 | 0 | 0 | 0 | 0 | 1Q2010 | 1.2297
Category | Ref | Element | Recommended Works |  |  | Estimated Work Cost | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 |  | 0 | 0 | 2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2Q2010 | 1.1789
[20 empty] | 0 | 0 | 2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3Q2010 | 1.1735
|  | 2.0 EXTERNAL GROUNDS | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2010 | 1.1682
g |  | Mcadam Sufaces | Macadam surfaces serving childrens play ground and carparking. Some pot holes require repairs | KA | 3 | 150 | 150 | [5 empty] | 150 | 0 | 0 | 0 | 0 | 0 |  |  |  | Individual Category totals | 6156.0465 | 4781.3953 | 4398.8837 | 10160.4651 | 239.0698 | 29883.7209 | 0 | 0 | 0 | 49009.3023 | 4900.9302 | 9562.7907 | 0 | 0 | 1Q2011 | 1.1735
g |  | Childrens play ground | Annual ROSPA inspection x 5. | KG | 3 | 5000 | 2000 | 1000 | 1000 | 1000 |  |  | 2000 | 1000 | 1000 | 1000 | 0 | 0 | [18 empty] | 2Q2011 | 1.1525
g |  | Decorations | Redecorate previous decorated surfaces. | IA | 3 | 4000 | 4000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Summary category totals | Main category totals | Check | [11 empty] | 3Q2011 | 1.1682
|  | 2.1 ROOFS AND FEATURES - XGAU |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2011 | 1.1525
r |  | Main roof | Inspection was taken from ground level. There were signs of lichen build up on the roof tiles. Clean / Remove | AB | 3 | 1800 | 1800 | [5 empty] | 1800 | 0 | 0 | 0 | 0 | 0 |  |  | External Grounds |  | 10937.4419 | 10937.4419 | [12 empty] | 1Q2012 | 1.1953
r |  | Roof lights | A number of window panes were cracked and require replacing. Rubber seals were defective allowing debris/leaves to enter into the classroom. Remove and replace rubber seals as necessary. | AD | 1 | 6000 | 6000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Roof Works |  | 14559.3488 | 14559.3488 | [12 empty] | 2Q2012 | 1.1174
r |  | Fascia and Soffits | Paint work is flaking and re-decoration is required. | AF | 2 | 1500 | 1500 | [5 empty] | 1500 | 0 | 0 | 0 | 0 | 0 |  |  | External Walls |  | 30122.7907 | 30122.7907 | [12 empty] | 3Q2012 | 1.1525
r |  | Gutters | Gutters are twisted and no longer serve there purpose. Remove and replace with new fittings. | AF | 1 | 380 | 380 | [5 empty] | 380 | 0 | 0 | 0 | 0 | 0 |  |  | Windows & Doors |  | 0 | 0 | [12 empty] | 4Q2012 | 1.1473
|  | 2.2 EXTERNAL ELEVATIONS - XGAU |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Internal Works |  | 49009.3023 | 49009.3023 | [12 empty] | 1Q2013 | 1.0983
e |  | Old Windows | Remaining aluminium single glazed windows within full height timber frames and suspected Asbestol infill panel below and soffits above., | DC | 3 | 25000 | 12500 | 12500 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Mechanical & Electrical |  | 14463.7209 | 14463.7209 | [12 empty] | 2Q2013 | 1.089
e |  | Downpipes | Pipe joints are leaking in parts and connections are broken. Remove and replace with new. | AF | 1 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0 |  |  | Other |  | 0 | 0 | [12 empty] | 3Q2013 | 1.0983
[7 empty] | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2013 | 1.0798
|  | 2.3 INTERNAL - XGAU |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Total |  | 119092.6047 | 119092.6047 | [12 empty] | 1Q2014 | 1.0447
i |  | Hall Ceilings | High level Hall ceilings covered in accoustic ceiling tiles within a grid system. Some are starting to look a little grubby and should be replaced within 5 years. |  |  | 4000 | 0 |  | 4000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2014 | 1.0198
r |  | Roof Lights | Remove and replace cracked roof light panes & Repair the leak to the Velox rroof light. | CA | 3 | 2500 | 2500 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 3Q2014 | 1.028
i |  | Walls | Fair faced block work Resources centre Room shows water ingress staining requires investigations and repairs / redecorations. See Photo | CA | 2 | 5000 | 5000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2014 | 1.0078
m |  | Walls Toilet | Wall tiles are cracked in parts. Remove and replace tiling behind urinals and to other locations. | DA | 2 | 1500 | 1500 | [5 empty] | 1500 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 1Q2015 | 1
i |  | Toilet Cubicles | Some older type Cubicles are old and loos and requires replacing | FA | 3 | 2000 | 0 | 2000 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
i |  | Floors | Solid construction covered in carpets or Vinyl. Some carpets badly stained and require replacing | BA | 3 | 5000 | 5000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
i |  | Decorations | Cyclical Internal Redecoratations every 5 Years in swtages | DC | 2 | 25000 | 10000 | 5000 | 5000 | 5000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | 3.02.3b | Domestic Hot & Cold Water Provision to KS2 and Infants Children's Toilets | A review of the amount of stored DHWS and CWS provision to children's toilets is suggested with view to reducing energy and water hygiene sterilisation works and making maintenance easier. | GD |  | 5000 | 5000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.02.4c | Ventilation | Local extract fan in Staff Toilet | GE |  | 600 | 0 | 600 |  |  |  |  | 0 | 600 | 0 | 0 | 0 | 0
m |  | Small Power | Check earth bonding to sinks and provide as necessary. | HB |  | 400 | 400 | [5 empty] | 400 | 0 | 0 | 0 | 0 | 0
m |  | Small Power | Check wiring above main service cupboard and tidy as necessary. | HB |  | 3000 | 3000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m |  | General Lighting | Replace damaged GLS light fitting above false ceiling over KS2 Boys Toilets i.e. access way to HWS Cylinders and CWS Tanks. | HC |  | 100 | 100 | [5 empty] | 100 | 0 | 0 | 0 | 0 | 0
m |  | Emergency Lighting | Generally improve emergency lighting provision throughout the school. | HH |  | 1500 | 1500 | [5 empty] | 1500 | 0 | 0 | 0 | 0 | 0
[13 empty] | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 0 | 0 | 0 | 0 | 0 | 0

## EFA Property
|  |  | EFA survey data | [6 empty] | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other
DFE | School | School Type | Date received | Condition rating C or D | Priority rating 1 or 2 | Element | Category | CCP rating
[9 empty] | C1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | C2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D3 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Suitability and Compliance
Space |  |  | BB103 suggested sizes
[6 empty] | Suitability Data | [11 empty] | Compliance Comparison |  |  | 2/3 | Form of entry | PAN | 20
Basic Teaching Spaces |  |  | No. of spaces | m2 | Total m2 | Plan ref | Space | [10 empty] | Total area | Shortfall | Surplus | 2011 | Date of last assessment
|  | Classroom - Year R | 1 | 62 | 62 | 23, 23a, 23b | General classroom | 26.17 | 14.07 | 22.09 | [7 empty] | 62.33 | 0 | 0.33
|  | Classroom - Year 1 | 1 | 62 | 62 | 18, 18a | General classroom | 48.41 | 14.3 | [8 empty] | 62.71 | 0 | 0.71 | 0 | No. Temp Buildings on Site
|  | Classroom - Year 2 | 0 | 62 | 0 | [12 empty] | 0 | 0 | 0 | 0 | No. of Classrooms in Temporary Buildings
|  | Classroom - Year 3 | 1 | 62 | 62 | 13, 13a, 13b, UNA | General classroom | 32.97 | 20.48 | 2.88 | 2 | [6 empty] | 58.33 | 3.67 | 0 | 5 | No. of Classrooms
|  | Classroom - Year 4 | 0 | 62 | 0 | [12 empty] | 0 | 0 | 0 | 5 | Required No. of Classroooms
|  | Classroom - Year 5 | 1 | 62 | 62 | 11, 11a, 37 | General classroom | 32.87 | 24.47 | 2.15 | [7 empty] | 59.49 | 2.51 | 0
|  | Classroom - Year 6 | 1 | 62 | 62 | UNI | General classroom | 62.148 | [9 empty] | 62.148 | 0 | 0.148
|  | Practical area / food bay | 0 | 0 | 0 | [12 empty] | 0 | 0 | 0 | 60% | of classrooms are the recommended size
|  | ICT base | 0 | 0 | 0 | 1b, 1 | IT room | 39.52 | 11.42 | [8 empty] | 50.94 | 0 | 50.94 | 40% | of classrooms are small
[5 empty] | 310 | [12 empty] | 355.948 | 6.18 | 52.128 | 114.8% | of the recommended basic teaching space required
[20 empty] | 303.82 | 98.01% | of the recommended basic teaching space required ignoring surplus
Halls and Studios | [20 empty] | 1.994% | shortfall in basic teaching space
| 1 | Main hall | 1 | 180 | 180 | 26 | Hall | 119.26 | [9 empty] | 119.26 | 60.74 | 0
[5 empty] | 180 | [12 empty] | 119.26 | 60.74 | 0 | 66.26% | of the recommended hall size
Storage | [20 empty] | 33.74% | shortfall in hall size
| 1 | Coat and bag storage - Year R | 1 | 3 | 3 | [12 empty] | 0 | 3 | 0
| 2 | Coat and bag storage - Year 1 | 1 | 3 | 3 | [12 empty] | 0 | 3 | 0
| 3 | Coat and bag storage - Year 2 | 0 | 3 | 0 | [12 empty] | 0 | 0 | 0
| 4 | Coat and bag storage - Year 3 | 1 | 3 | 3 | 14 | Cloakroom | 5.42 | [9 empty] | 5.42 | 0 | 2.42
| 5 | Coat and bag storage - Year 4 | 0 | 3 | 0 | [12 empty] | 0 | 0 | 0
| 6 | Coat and bag storage - Year 5 | 1 | 3 | 3 | 8 | Cloakroom | 6.58 | [9 empty] | 6.58 | 0 | 3.58
| 7 | Coat and bag storage - Year 6 | 1 | 3 | 3 | 8b | Cloakroom | 6.53 | [9 empty] | 6.53 | 0 | 3.53
| 8 | Teaching storage - Year R | 1 | 2 | 2 | 24 | Store room | 1.17 | [9 empty] | 1.17 | 0.83 | 0
| 9 | Teaching storage - Year 1 | 1 | 2 | 2 | 19 | Store room | 1.29 | [9 empty] | 1.29 | 0.71 | 0
| 10 | Teaching storage - Year 2 | 0 | 2 | 0 | [12 empty] | 0 | 0 | 0
| 11 | Teaching storage - Year 3 | 1 | 2 | 2 | UNB | Store room | 2 | [9 empty] | 2 | 0 | 0
| 12 | Teaching storage - Year 4 | 0 | 2 | 0 | [12 empty] | 0 | 0 | 0
| 13 | Teaching storage - Year 5 | 1 | 2 | 2 | 15 | Store room | 8.76 | [9 empty] | 8.76 | 0 | 6.76
| 14 | Teaching storage - Year 6 | 1 | 2 | 2 | UNJ | Store room | 2 | [9 empty] | 2 | 0 | 0
| 15 | Specialist walk in stores | 2 | 5 | 10 | 21, 12 | Store room | 5.46 | 10.11 | [8 empty] | 15.57 | 0 | 5.57
| 18 | Indoor PE equipment storage | 1 | 18 | 18 | 29 | Store room | 12.24 | [9 empty] | 12.24 | 5.76 | 0
| 19 | Outdoor PE equipment storage | 0 | 0 | 0 | UNK | Store room | 8 | [9 empty] | 8 | 0 | 8
|  | Bulk stock store | 1 | 4 | 4 | 2 | Store room | 2.23 | [9 empty] | 2.23 | 1.77 | 0
| 21 | Caretakers and maintenance store | 1 | 4 | 4 | [12 empty] | 0 | 4 | 0
| 22 | Cleaning store | 1 | 3 | 3 | 8a | Cleaners store room | 2.45 | [9 empty] | 2.45 | 0.55 | 0
| 23 | Table and chair store | 1 | 6 | 6 | UNP | Store room | 4 | [9 empty] | 4 | 2 | 0
| 25 | Staging/ appliance store | 1 | 4 | 4 | UNQ | Store room | 4 | [9 empty] | 4 | 0 | 0
|  | Mobility equipment store | 1 | 2 | 2 | [12 empty] | 0 | 2 | 0
| 24 | Store for community | 0 | 0 | 0 | [12 empty] | 0 | 0 | 0
[5 empty] | 76 | [12 empty] | 82.24 | 23.62 | 29.86 | 108.2% | of the recommended storage space required
Staff and admin | [20 empty] | 31.08% | shortfall
| 1 | Heads office | 1 | 12 | 12 | UNH | Heads office | 11.38 | [9 empty] | 11.38 | 0.62 | 0
| 3 | Staff room work and social | 1 | 25 | 25 | 7, 7a, 7b, 6a | Staffroom | 18.84 | 1.77 | 0.73 | 1.15 | [6 empty] | 22.49 | 2.51 | 0
|  | Staff PPA | 1 | 10 | 10 | [12 empty] | 0 | 10 | 0
| 4 | Senior management office | 0 | 10 | 0 | [12 empty] | 0 | 0 | 0
| 7 | General office (reception) | 1 | 8 | 8 | UNG | Reception (office) | 19.33 | [9 empty] | 19.33 | 0 | 11.33
| 8 | Secure reception | 1 | 4 | 4 | 32 | Entrance | 6 | [9 empty] | 6 | 0 | 2
| 9 | Reprographics room | 1 | 8 | 8 | 33 | Photocopying room | 9.69 | [9 empty] | 9.69 | 0 | 1.69
| 10 | Meeting room | in head | 0 | 0 | [12 empty] | 0 | 0 | 0
| 11 | Sick bay | 1 | 3 | 3 | [12 empty] | 0 | 3 | 0
| 13 | Interview room | 1 | 8 | 8 | [12 empty] | 0 | 8 | 0
[5 empty] | 78 | [12 empty] | 68.89 | 24.13 | 15.02 | 88.32% | of the recommended staff and admin space required
Learning resource area | [20 empty] | 30.94% | shortfall
| 1 | Library (learning resource centre) | 1 | 24 | 24 | 3, 3b | Library | 24.02 | 6.77 | [8 empty] | 30.79 | 0 | 6.79
| 3 | Small group room | 2 | 11 | 22 | 16, 25 | Small group room x 2 | 11.52 | 11.38 | [8 empty] | 22.9 | 0 | 0.9
| 5 | SENco office (SEN resource) | 1 | 12 | 12 | [12 empty] | 0 | 12 | 0
| 2 | Medical inspection room/ Therapy room | 1 | 12 | 12 | [12 empty] | 0 | 12 | 0
[5 empty] | 70 | [12 empty] | 53.69 | 24 | 7.69 | 76.7% | of the recommended learning resource areas
Supplementary area | [20 empty] | 34.29% | shortfall
| 1 |  | 0 | 0 | 0 | UNM, UNL | Parent room | 14.754 | 4.103 | [8 empty] | 18.857 | 0 | 18.857
|  |  | 0 | 0 | 0 | [12 empty] | 0 | 0 | 0
[5 empty] | 0 | [12 empty] | 18.857 | 0 | 18.857 | - | of the recommended supplementary areas
Non net areas | [20 empty] | - | shortfall
| 1 | Reception toilets | 3 | 2 | 6 | 22 | Pupil wc multi-sex ( 3wc's) | 12.35 | [9 empty] | 12.35 | 0 | 6.35 | 3 | Number of reception toilets
| 1 | Pupils toilets | 6 | 2 | 12 | 20, 9, 10 | Pupil wc multi-sex 6 WC's 1 urinal | 12.06 | 9.84 | 9.67 | [7 empty] | 31.57 | 0 | 19.57 | 7 | Number of other pupil toilets
| 2 | Staff toilets | 2 | 2 | 4 | 17 | Staff wc (multi-sex) 1 wc | 2.71 | [9 empty] | 2.71 | 1.29 | 0 | 100% | % of recommended reception toilets
| 3 | Accessible toilet | 1 | 3 | 3 | 5, UNN | Disabled w.c. (2 separate spaces, one has a bed etc but is not a full hygiene room ) | 3.52 | 2 | [8 empty] | 5.52 | 0 | 2.52 | 116.7% | % of recommended other pupil toilets
| 9 | Hygiene room | 1 | 12 | 12 | [12 empty] | 0 | 12 | 0
| 4 | Kitchen facilities (servery) | 1 | 24 | 24 | 27, 27a | Kitchen | 3.53 | 5.53 | [8 empty] | 9.06 | 14.94 | 0
| 5 | Corridors | - | 22.5% | 160.65 | 1a, 4, 4a, 4b, 6, 28, 28a, UNF, UNR, UNE | Corridor | 6.55 | 1.35 | 8.33 | 11.55 | 5.49 | 3.86 | 21.52 | 10 | 2 | 16 | 86.65 | 74 | 0
| 6 | Boiler room | 1 | 1.5% | 10.71 | 30, 3a, 36, 38 | Boiler room | 1.61 | 9.1 | 4 | 2 | [6 empty] | 16.71 | 0 | 6
| 7 | Server | in boiler | [14 empty] | 0 | 0 | 0
|  | Walls | - | 4% | 28.56 |  |  | 27.9554 | [9 empty] | 27.9554 | 0.6046 | 0
[5 empty] | 260.92 | [12 empty] | 192.5254 | 102.8346 | 34.44 | 73.79% | of the recommended non net area
Additional area | [20 empty] | 39.41% | shortfall
|  | Nursery class | 1 | 62 | 62 | 34 | Community use | 60 | [9 empty] | 60 | 2 | 0
|  | Quiet room | 1 | 8 | 8 | UNO | Community use | 8 | [9 empty] | 8 | 0 | 0
|  | Nursery store room | 1 | 2 | 2 | 39 | Community use | 2 | [9 empty] | 2 | 0 | 0
|  | Nursery office | 1 | 8 | 8 | [12 empty] | 0 | 8 | 0
|  | Nursery cloakroom | 1 | 3 | 3 | [12 empty] | 0 | 3 | 0
|  | Nursery pupils toilets | 3 | 2 | 6 | 35 | Community use | 5.56 | [9 empty] | 5.56 | 0.44 | 0
|  | Nursery staff toilets | 1 | 2 | 2 | 34a | Community use | 2.55 | [9 empty] | 2.55 | 0 | 0.55
|  | Nursery entrance | 1 | 22.5% | 1.8675 | [12 empty] | 0 | 1.8675 | 0
[5 empty] | 92.8675 | [12 empty] | 78.11 | 15.3075 | 0.55 | 84.11% | of the recommended additional area
[21 empty] | 16.48% | shortfall
Total Net area |  |  |  |  | 714 | [12 empty] | 698.885
Total Non-Net area |  |  |  |  | 260.92 | [12 empty] | 192.5254
Gross (total build) area - excluding nursery |  |  |  |  | 974.92 | [12 empty] | 891.4104 |  |  | 91.43% | of the recommended Gross area
Gross (total build) area - including nursery |  |  |  |  | 1067.7875 | [12 empty] | 969.5204
Net Area Range |  |  |  |  | 924.0-1030.0
Mid Range |  |  |  |  | 977
Total Site Area Range |  |  |  |  | 6660.0-8327.5
Mid Range |  |  |  |  | 7493.8
2
3
4

## Occupancy
Sufficiency Data
Planned Admission Number | Current Capacity | Maximum PAN | Capacity based on max PAN
20 | 140 | 21 | 147
NOR Spring Census
| 2008 / 2009 | 2009 / 2010 | 2010 / 2011 | 2011 / 2012 | 2012 / 2013 | 2013 / 2014
NOR Jan | 116 | 107 | 106 | 106 | 110 | 111
Maximum Capacity | 140 | 140 | 140 | 140 | 140 | 140
Number of Surplus Places | 24 | 33 | 34 | 34 | 30 | 29
% of surplus places | 17.1 | 23.6 | 24.3 | 24.3 | 21.4 | 20.7143
Current Numbers on Roll (from Autumn Census)
Year group | R | 1 | 2 | 3 | 4 | 5 | 6 | Total
Number | 13 | 17 | 21 | 19 | 12 | 9 | 21 | 112

## School stats
Current Ofsted | Year
Good | 2013-09-26
2014 KS2 Performance Tables last update : (15 Sep 2014)
Year on year comparisons
Percentage achieving Level 4 or above in reading, writing and maths | 2012 | 2013 | 2014
School | 88% | 86% | 89%
LA | 71% | 71% | 76%
England - All Schools | 75% | 75% | 79%
KS2 test results and progress
| All pupils | Low attainers | Middle attainers | High attainers
Pupils eligible for KS2 assessment | 18
Percentage of pupils achieving 3 or below in reading and maths test and writing TA | 6% | SUPP | 0% | SUPP
Percentage of pupils achieving level 4 or above in reading and maths test and writing TA | 89% | SUPP | 90% | SUPP
Percentage of pupils achieved level 4B or above in reading and maths test and level 4 in writing TA | 72% | SUPP | 60% | SUPP
Percentage of pupils achieving level 5 or above in reading and maths test and writing TA | 17% | SUPP | 0% | SUPP
Percentage of pupils making at least 2 levels of progress in reading | 100% | SUPP | 100% | SUPP
Percentage of pupils making at least 2 levels of progress in writing TA | 100% | SUPP | 100% | SUPP
Percentage of pupils making at least 2 levels of progress in maths | 100% | SUPP | 100% | SUPP
Average point score | 29.3
Closing the Gap
| Disadvantaged pupils | Other pupils
Percentage of disadvantaged pupils achieving level 3 or below in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4B or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 5 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in reading | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in maths | SUPP | SUPP
Value Added measures
| Measure | Lower CI | Upper CI | Coverage
Overall value added measure | 99.7 | 98.6 | 100.8 | 72%
Reading value added measure | 99.2 | 98 | 100.5 | 72%
Writing TA value added measure | 100.3 | 99 | 101.6 | 72%
Maths value added measure | 99.8 | 98.3 | 101.2 | 72%
Subject level results
| Reading test | Maths test | Grammar, punctuation and spelling test | Writing TA
Percentage achieving level 3 or below | 6% | 6% | 17% | 6%
Percentage achieving Level 4 or above | 89% | 89% | 78% | 94%
Percentage achieving Level 4b or above | 83% | 78% | 78% | NA
Percentage achieving Level 5 or above | 44% | 39% | 50% | 44%
Pupil Absence last update : (11 Dec 2013)
| School | England - national (primary state-funded)
Overall absence: percentage | 5.3% | 4.8%
Persistent absence: around 15% + | 6.4% | 3.6%
2013-14 Finance last update : (10 Dec 2014)
Contextual information
Number of pupils (FTE) | 111
Percentage of pupils eligible for Free School Meals (FSM) | 19.8%
Free school meals eligibility band | LOW
Spend per pupil data as £ per pupil (in brackets percentage of total income or expenditure)
| School | LA Median | Non-London LAs Median | National Median
Grant funding | 5078 (98%) | 4525 | 4016 | 4325
Self generated income | 102 (2%) | 144 | 142 | 127
Total income | 5180 | 4723 | 4183 | 4479
Teaching staff | SUPP | 2277 | 2045 | 2106
Supply Staff | 242 (5%) | 87 | 118 | 127
Education support staff | SUPP | 689 | 650 | 733
Learning resources (not ICT equipment) | 178 (4%) | 181 | 174 | 184
ICT learning resources | 170 (3%) | 81 | 62 | 66
Bought in professional services - curriculum | 128 (3%) | 88 | 59 | 67
Back office (incl. Staff costs) | 408 (8%) | 406 | 334 | 351
Catering (incl. Staff costs) | 70 (1%) | 35 | 53 | 75
Premises (incl. Staff costs) | 284 (6%) | 259 | 275 | 301
Other staff costs | 147 (3%) | 153 | 133 | 142
Energy | 99 (2%) | 68 | 62 | 65
Other expenditure | 52 (1%) | 94 | 85 | 88
Total expenditure | 4895 | 4562 | 4143 | 4431
Spend per pupil data as £ per pupil : Comparisons over time
| 2010-11 | 2011-12 | 2012-13 | 2013-14
Teaching staff and Education support staff expenditure | 3153 | 3254 | 3166 | 3118
Supply staff | 276 | 242 | 190 | 242
Back office (incl. Staff costs) | 324 | 373 | 384 | 408
Energy | 71 | 86 | 95 | 99
Total expenditure | 4663 | 4766 | 4738 | 4895
School Workforce last update : (10 Dec 2014)
This data is based upon the November 2013 School Workforce Census
| School | England - national (primary state-funded)
Headcount of all teachers in a school | 7 | 236728
Headcount of all teaching assistants in a school | 7 | 239340
Headcount of all support (exc. auxillary) staff in a school | 3 | 77335
Full-time equivalent number of all teachers in a school | 5.6 | 207827.7
Full-time equivalent number of all teaching assistants in a school | 3.8 | 154245.3
Full-time equivalent number of all support (exc. auxillary) staff in a school | 0.8 | 51728.3
Ratio of pupils to teachers in a school | 19.8 | 20.5
Average gross salary of all teachers in a school | 39037 | 36559

## Parental Preference
Popularity Data | [10 empty] | Children at School From School Catchment
Parental First Preference Applications | [11 empty] | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  | Catchment vs Nearest School |  |  |  |  | Catchment | Nearest
Year | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  |  | NOR | 107 | 106 | 106 | 110 | 111 |  |  |  | NOR |  |  |  |  | 112 | 112
PAN | 20 | 20 | 20 | 20 | 20 | 20 |  |  |  |  | Number | 4 | 4 | 7 | 7 | 8 |  |  |  | Total in area |  |  |  |  | 51 | 317
No. | 8 | 12 | 16 | 19 | 14 | 13 |  |  |  |  | % | 3.7383 | 3.7736 | 6.6038 | 6.3636 | 7.2072 |  |  |  | Number at School from area |  |  |  |  | 9 | 90
% | 40 | 60 | 80 | 95 | 70 | 65 | [13 empty] | % at School |  |  |  |  | 8.0357 | 80.3571
[11 empty] | Total number in Catchment | [8 empty] | % of area going to School |  |  |  |  | 17.6471 | 28.3912
[12 empty] | 2010 | 2011 | 2012 | 2013 | 2014
[11 empty] | Number | 41 | 41 | 53 | 49 | 57
[11 empty] | % | 100 | 100 | 100 | 100 | 100
Where children at School are coming from (from Spring Census 2014)
DCSF No. | School |  | Garway | Marlbrook | St Martin’s | Holme Lacy | Kings Caple | Kingstone & Thruxton | Ledbury | Ashfield Park | St Weonards | Walford | Goodrich C E | Gorsley Goffs Endowed | Little Dewchurch CE | Mordiford C E | Much Birch C E | Brampton Abbotts CE | Bridstow CE | St Mary’s C E, Fownhope | Lea C E | Llangrove C E | Much Marcle C E | Weston-under-Penyard C E | Whitchurch C E | Out of County | Grand Total
2094 | Kings Caple | Number | 1 | 0 | 8 | 2 | 5 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 8 | 1 | 2 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 38
2094 | Kings Caple | % | 2.6316 | 0 | 21.0526 | 5.2632 | 13.1579 | 0 | 2.6316 | 0 | 0 | 0 | 0 | 0 | 5.2632 | 2.6316 | 21.0526 | 2.6316 | 5.2632 | 18.4211 | 0 | 0 | 0 | 0 | 0 | 0 | 100
2138 | Ashfield Park | Number | 0 | 0 | 0 | 1 | 4 | 0 | 0 | 265 | 3 | 9 | 3 | 1 | 0 | 0 | 1 | 8 | 4 | 0 | 1 | 3 | 0 | 2 | 0 | 2 | 307
2138 | Ashfield Park | % | 0 | 0 | 0 | 0.32573 | 1.3029 | 0 | 0 | 86.3192 | 0.9772 | 2.9316 | 0.9772 | 0.32573 | 0 | 0 | 0.32573 | 2.6059 | 1.3029 | 0 | 0.32573 | 0.9772 | 0 | 0.65147 | 0 | 0.65147 | 100
2152 | St Weonards | Number | 4 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 1 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 35
2152 | St Weonards | % | 11.4286 | 5.7143 | 2.8571 | 0 | 0 | 0 | 0 | 0 | 65.7143 | 0 | 2.8571 | 0 | 0 | 0 | 5.7143 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.7143 | 100
2155 | Walford | Number | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 107 | 3 | 54 | 0 | 2 | 0 | 0 | 0 | 2 | 2 | 1 | 2 | 2 | 0 | 9 | 0 | 8 | 194
2155 | Walford | % | 0 | 0 | 0 | 0 | 0 | 0 | 1.0309 | 55.1546 | 1.5464 | 27.8351 | 0 | 1.0309 | 0 | 0 | 0 | 1.0309 | 1.0309 | 0.51546 | 1.0309 | 1.0309 | 0 | 4.6392 | 0 | 4.1237 | 100
3046 | Goodrich C E | Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 1 | 13 | 64 | 1 | 0 | 0 | 2 | 3 | 2 | 0 | 0 | 5 | 0 | 1 | 6 | 5 | 115
3046 | Goodrich C E | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.4348 | 0.86957 | 11.3043 | 55.6522 | 0.86957 | 0 | 0 | 1.7391 | 2.6087 | 1.7391 | 0 | 0 | 4.3478 | 0 | 0.86957 | 5.2174 | 4.3478 | 100
3047 | Gorsley Goffs Endowed | Number | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 38 | 0 | 1 | 1 | 62 | 0 | 0 | 2 | 14 | 3 | 0 | 6 | 0 | 4 | 6 | 0 | 56 | 197
3047 | Gorsley Goffs Endowed | % | 0 | 0 | 0 | 0 | 2.0305 | 0 | 0 | 19.2893 | 0 | 0.50761 | 0.50761 | 31.4721 | 0 | 0 | 1.0152 | 7.1066 | 1.5228 | 0 | 3.0457 | 0 | 2.0305 | 3.0457 | 0 | 28.4264 | 100
3305 | Brampton Abbotts CE | Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 101 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 111
3305 | Brampton Abbotts CE | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90.991 | 0.9009 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2072 | 0.9009 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100
3307 | Bridstow CE | Number | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 27 | 3 | 1 | 1 | 0 | 0 | 1 | 1 | 5 | 40 | 0 | 0 | 1 | 0 | 1 | 2 | 2 | 89
3307 | Bridstow CE | % | 0 | 0 | 0 | 0 | 3.3708 | 1.1236 | 0 | 30.3371 | 3.3708 | 1.1236 | 1.1236 | 0 | 0 | 1.1236 | 1.1236 | 5.618 | 44.9438 | 0 | 0 | 1.1236 | 0 | 1.1236 | 2.2472 | 2.2472 | 100
3347 | Lea C E | Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 2 | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 59 | 0 | 0 | 9 | 0 | 22 | 99
3347 | Lea C E | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.0303 | 0 | 2.0202 | 2.0202 | 1.0101 | 0 | 0 | 0 | 0 | 1.0101 | 0 | 59.596 | 0 | 0 | 9.0909 | 0 | 22.2222 | 100
3351 | Llangrove C E | Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 1 | 0 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 33 | 0 | 0 | 1 | 3 | 45
3351 | Llangrove C E | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.6667 | 0 | 2.2222 | 0 | 0 | 0 | 0 | 4.4444 | 4.4444 | 0 | 0 | 73.3333 | 0 | 0 | 2.2222 | 6.6667 | 100
3384 | Weston-under-Penyard C E | Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 2 | 1 | 2 | 0 | 0 | 0 | 1 | 2 | 0 | 2 | 0 | 0 | 19 | 0 | 4 | 45
3384 | Weston-under-Penyard C E | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26.6667 | 0 | 4.4444 | 2.2222 | 4.4444 | 0 | 0 | 0 | 2.2222 | 4.4444 | 0 | 4.4444 | 0 | 0 | 42.2222 | 0 | 8.8889 | 100
3385 | Whitchurch C E | Number | 0 | 1 | 0 | 2 | 0 | 0 | 0 | 15 | 2 | 6 | 6 | 3 | 0 | 0 | 0 | 3 | 5 | 0 | 0 | 11 | 0 | 0 | 46 | 36 | 136
3385 | Whitchurch C E | % | 0 | 0.73529 | 0 | 1.4706 | 0 | 0 | 0 | 11.0294 | 1.4706 | 4.4118 | 4.4118 | 2.2059 | 0 | 0 | 0 | 2.2059 | 3.6765 | 0 | 0 | 8.0882 | 0 | 0 | 33.8235 | 26.4706 | 100
Where school children in the Schools Catchment area are going to (from Spring Census 2014)
DCSF No. | School |  | Ashperton | Garway | Kings Caple | Kingstone & Thruxton | Ashfield Park | St Weonards | Walford | Colwall C E | Goodrich C E | Gorsley Goffs Endowed | Holmer C E | Little Dewchurch CE | Much Birch C E | Brampton Abbotts CE | Bridstow CE | St Mary’s C E, Fownhope | St Pauls CE | Lea C E | Llangrove C E | Much Marcle C E | St Josephs RC | Weston-under-Penyard C E | Whitchurch C E | Grand Total
2094 | Kings Caple | Number | 0 | 0 | 5 | 0 | 4 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 6 | 0 | 3 | 5 | 1 | 0 | 0 | 4 | 0 | 0 | 0 | 32
2094 | Kings Caple | % | 0 | 0 | 15.625 | 0 | 12.5 | 0 | 0 | 0 | 0 | 12.5 | 0 | 0 | 18.75 | 0 | 9.375 | 15.625 | 3.125 | 0 | 0 | 12.5 | 0 | 0 | 0 | 100
2138 | Ashfield Park | Number | 0 | 0 | 0 | 2 | 265 | 0 | 107 | 0 | 12 | 38 | 0 | 0 | 0 | 101 | 27 | 0 | 0 | 3 | 0 | 4 | 60 | 12 | 15 | 646
2138 | Ashfield Park | % | 0 | 0 | 0 | 0.3096 | 41.0217 | 0 | 16.5635 | 0 | 1.8576 | 5.8824 | 0 | 0 | 0 | 15.6347 | 4.1796 | 0 | 0 | 0.4644 | 0 | 0.6192 | 9.2879 | 1.8576 | 2.322 | 100
2152 | St Weonards | Number | 0 | 7 | 0 | 0 | 3 | 23 | 3 | 0 | 1 | 0 | 0 | 0 | 15 | 1 | 3 | 0 | 0 | 0 | 3 | 0 | 1 | 0 | 2 | 62
2152 | St Weonards | % | 0 | 11.2903 | 0 | 0 | 4.8387 | 37.0968 | 4.8387 | 0 | 1.6129 | 0 | 0 | 0 | 24.1935 | 1.6129 | 4.8387 | 0 | 0 | 0 | 4.8387 | 0 | 1.6129 | 0 | 3.2258 | 100
2155 | Walford | Number | 0 | 0 | 0 | 0 | 9 | 0 | 54 | 0 | 13 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 0 | 0 | 1 | 2 | 6 | 89
2155 | Walford | % | 0 | 0 | 0 | 0 | 10.1124 | 0 | 60.6742 | 0 | 14.6067 | 1.1236 | 0 | 0 | 0 | 0 | 1.1236 | 0 | 0 | 2.2472 | 0 | 0 | 1.1236 | 2.2472 | 6.7416 | 100
3046 | Goodrich C E | Number | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 64 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 1 | 0 | 0 | 1 | 6 | 80
3046 | Goodrich C E | % | 0 | 0 | 0 | 0 | 3.75 | 1.25 | 0 | 0 | 80 | 1.25 | 0 | 0 | 0 | 0 | 1.25 | 0 | 0 | 2.5 | 1.25 | 0 | 0 | 1.25 | 7.5 | 100
3047 | Gorsley Goffs Endowed | Number | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 2 | 3 | 74
3047 | Gorsley Goffs Endowed | % | 0 | 0 | 0 | 0 | 1.3514 | 0 | 2.7027 | 1.3514 | 1.3514 | 83.7838 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3514 | 0 | 0 | 1.3514 | 2.7027 | 4.0541 | 100
3305 | Brampton Abbotts CE | Number | 4 | 0 | 1 | 0 | 8 | 0 | 2 | 0 | 3 | 14 | 1 | 0 | 0 | 8 | 5 | 1 | 0 | 0 | 2 | 1 | 3 | 1 | 3 | 57
3305 | Brampton Abbotts CE | % | 7.0175 | 0 | 1.7544 | 0 | 14.0351 | 0 | 3.5088 | 0 | 5.2632 | 24.5614 | 1.7544 | 0 | 0 | 14.0351 | 8.7719 | 1.7544 | 0 | 0 | 3.5088 | 1.7544 | 5.2632 | 1.7544 | 5.2632 | 100
3307 | Bridstow CE | Number | 0 | 0 | 2 | 0 | 4 | 0 | 2 | 0 | 2 | 3 | 0 | 2 | 2 | 1 | 40 | 0 | 0 | 1 | 2 | 0 | 2 | 2 | 5 | 70
3307 | Bridstow CE | % | 0 | 0 | 2.8571 | 0 | 5.7143 | 0 | 2.8571 | 0 | 2.8571 | 4.2857 | 0 | 2.8571 | 2.8571 | 1.4286 | 57.1429 | 0 | 0 | 1.4286 | 2.8571 | 0 | 2.8571 | 2.8571 | 7.1429 | 100
3347 | Lea C E | Number | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 59 | 0 | 0 | 0 | 2 | 0 | 72
3347 | Lea C E | % | 0 | 0 | 0 | 0 | 1.3889 | 0 | 2.7778 | 0 | 0 | 8.3333 | 0 | 0 | 0 | 0 | 0 | 2.7778 | 0 | 81.9444 | 0 | 0 | 0 | 2.7778 | 0 | 100
3351 | Llangrove C E | Number | 0 | 0 | 0 | 0 | 3 | 0 | 2 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 33 | 0 | 0 | 0 | 11 | 55
3351 | Llangrove C E | % | 0 | 0 | 0 | 0 | 5.4545 | 0 | 3.6364 | 0 | 9.0909 | 0 | 0 | 0 | 0 | 0 | 1.8182 | 0 | 0 | 0 | 60 | 0 | 0 | 0 | 20 | 100
3384 | Weston-under-Penyard C E | Number | 0 | 0 | 0 | 0 | 2 | 0 | 9 | 0 | 1 | 6 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 0 | 0 | 6 | 19 | 0 | 53
3384 | Weston-under-Penyard C E | % | 0 | 0 | 0 | 0 | 3.7736 | 0 | 16.9811 | 0 | 1.8868 | 11.3208 | 0 | 0 | 0 | 0 | 1.8868 | 0 | 0 | 16.9811 | 0 | 0 | 11.3208 | 35.8491 | 0 | 100
3385 | Whitchurch C E | Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 46 | 55
3385 | Whitchurch C E | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.9091 | 0 | 0 | 0 | 0 | 0 | 3.6364 | 0 | 0 | 0 | 1.8182 | 0 | 0 | 0 | 83.6364 | 100

## Disability access
Physical Accessibility Rating | 2
Information from https://www.herefordshire.gov.uk/education-and-learning/schools/directory
Ratings and descriptions
Rating | Details | Description
3 | Fully accessible | Will meet the needs of all disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling); Has a full hygiene room and special educational needs or therapy room for pupils who need more assistance with personal care (including hoisting) and regular physio or other treatment
2 | Mainly accessible | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
1 | Partly accessible | Some standards met but some areas not accessible
0 | Inaccessible | No level access into building and/or no disabled toilet
Summary of physical accessibility standards
Level access into building(s): Main and pupil entrance(s) level, with ramps and hand rails as required
Level access to all curriculum and social areas (not necessarily entire building/site): including assembly hall, canteen (may be achieved by sensitive organisation and timetabling)
Access to upper floors: if required - lift(s) as alternative to steps or stairs
Toilet facilities: small disabled toilet(s) as specified by building regulations - suitable for most disabled pupils. A small number of pupils will require enhanced facilities (hygiene room) to provide greater assistance, including hoisting.
Medical, therapy or SEN room: multi-purpose or flexible use - usually required in addition to a hygiene room, for regular physio and other physical programmes
Emergency evacuation: routes should be level and unobstructed. Evacuation must be documented (using Personal Emergency Evacuation Plans - PEEPs) and practised regularly