## Cover Page
Bredenbury Primary School
Summary Report
Contents
|  | Section | Page | No. of pages
Bredenbury Primary School |  | Summary Data | 3 | 1
Summary Report |  | General Information and Asset Summary | 4 | 1
|  | Maintenance and Condition Summary | 5 | 2
|  | Education Funding Agency Condition Survey Data | 7 | 1
Schools Capital Investment Strategy |  | Suitability and Compliance Summary | 8 | 2
|  | School Occupancy Summary | 10 | 1
|  | School Statistics | 11 | 1
|  | Environmental Sustainability Condition | 12 | 1
|  | Parental Preference | 13 | 1
|  | Distribution of Children Attending School or Resident in its Catchmnet Area | 14 | 1
|  | Distribution of Children Attending School or Where it is the Nearest School | 15 | 1
|  | Key Services Within 2 Mile Radius of School | 16 | 1
|  | Key Services Adjacent to School | 17 | 1
|  | Disability Access | 18 | 1
Children's Wellbeing
Herefordshire Council
Plough Lane Offices
Plough Lane
HEREFORD
HR4 0LE

## Summary Info
Bredenbury Primary School
Summary Report
Summary of Headline Information
Asset Summary | [5 empty] | Occupancy Summary
Gross Site Area (M2)(whole site including building):- |  | 10150 |  |  |  | Current Capacity (PAN 10):- |  |  |  | 70
Insurance Asset Value (£000):- |  | Not Known |  |  |  | Allocated Capacity Size (PAN 10):- |  |  |  | 70
Land Asset Value (£000):- |  | Not Known |  |  |  | Current Occupancy:- |  |  |  | 60
Land Ownership:- | School owns - transferred under statute 2010 |  |  |  |  | Current Planned Admission No.:- |  |  |  | 10
[6 empty] | Current Number Over Capacity:- |  |  |  | 0
[6 empty] | Current Number Under Capacity:- |  |  |  | 10
Maintenance Expenditure Required on the School over a 5 Year Period Summary
Survey Date:- |  |  |  | 2014-09-19
Backlog Maintenance Total (£000):- | [6 empty] | Not Available
Total Forecast Expenditure (5 years) (£000):- | [6 empty] | 133.5886
Total Potential Local Authority Forecast Expenditure (£000):- | [6 empty] | 115.65
Total Potential School Forecast Expenditure (£000):- | [6 empty] | 17.9386
Suitability and Compliance
Required Number of Classrooms:- | [6 empty] | 3 | Required Building Footprint (M2):- |  | 694.28
Actual Number of Classrooms:- | [6 empty] | 3 | Current Building Area (M2):- |  | 651.8029
Percentage of Classrooms that are the Recommended Size:- | [6 empty] | 33.3333 | Area Shortfall (M2):- |  | 42.4771
Compliance Percentage of Recommended Hall Size:- | [6 empty] | 64.0143 | Area Surplus (M2):- |  | 0
Number of Temporary Buildings on Site:- |  |  |  |  | 0 |  |  | Total Percentage Compliance:- |  | 93.8818
Number of Classrooms in Temporary Buildings:- |  |  |  |  | 0
Compliance Percentage of Recommended Reception Toilets:- | [6 empty] | 0 | Required Net Site Area (M2):- |  | 4177.12
Compliance Percentage of Recommended Other Pupil Toilets:- | [6 empty] | 250 | Current Net Site Area (M2):- |  | 9498.1971
Nursery on Site:- | No | [6 empty] | Area Shortfall (M2):- |  | 0
[8 empty] | Area Surplus (M2):- |  | 5321.0771
[8 empty] | Total Percentage Compliance:- |  | 227.3863
Disability Access
Rating:- | 2 |  | Details:- |  |  |  | Mainly accessible
Environmental Sustainability Condition
DEC Rating:- |  |  |  |  | No data held
Electric Consumption 2014/Child:- |  |  |  |  | 390.8113
Gas Consumption 2014/Child:- |  |  |  |  | 892.6143
School Statistics
Ofsted Results:- | [8 empty] | Requires Improvement
Percentage of Children Achieving KS2 Level 4 or Above in Reading, Writing and Maths in 2014:- | [8 empty] | SUPP
Parental Preference (2014)
Percentage of Parental First Preference Applications:- | [6 empty] | 90
Total Number of Children within Catchment:- | [6 empty] | 29
Total Number of Children at School from Catchment:- | [6 empty] | 19
Percentage of Catchment at School:- | [6 empty] | 35.8491
Percentage of Catchment Going to School:- | [6 empty] | 65.5172

## Report
|  |  | Bredenbury Primary School | [6 empty] | Bredenbury Primary School | [14 empty] | Bredenbury Primary School | [7 empty] | Bredenbury Primary School |  |  |  |  | Bredenbury Primary School |  | Bredenbury Primary School |  |  |  |  | Bredenbury Primary School | [5 empty] | Bredenbury Primary School |  |  | Bredenbury Primary School | [8 empty] | Bredenbury Primary School |  | Bredenbury Primary School |  | Bredenbury Primary School |  | Bredenbury Primary School |  | Bredenbury Primary School |  |  | Bredenbury Primary School
|  |  | Summary Report | [6 empty] | Summary Report | [14 empty] | Summary Report | [7 empty] | Summary Report |  |  |  |  | Summary Report |  | Summary Report |  |  |  |  | Summary Report | [5 empty] | Summary Report |  |  | Summary Report | [8 empty] | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  |  | Summary Report
General Information |  |  |  | Maintenance and Condition Summary | [21 empty] | Education Funding Agency Condition Survey Data | [7 empty] | Suitability and Compliance Summary |  |  |  |  | Suitability and Compliance Summary (continued) |  | School Occupancy Summary |  |  |  |  | School Statistics | [5 empty] | Environmental Sustainability Condition |  |  | Parental Preference | [8 empty] | Distribution of Children Attending School or Resident in its Catchment Area |  | Distribution of Children Attending School or Where it is the Nearest School |  | Key Services Within 2 Mile Radius of School |  | Key Services Adjacent to School |  | Disability Access
Maintenance and Condition Summary (continued)
School Name:- | Bredenbury Primary School |  |  | Survey Date:- | 2014-09-19 |  | Survey Company:- |  | Hub |  | Key Elements and Annual Forecast Maintenance Costs and Responsibilities | [14 empty] | Date of Survey:- |  | Not Available | [5 empty] | Areas | Standard Criteria (M2) (PAN 10) | Schools Compliance (M2) | Compliance Percentage |  |  |  | Current Planned Admission No. (PAN) | Current School Capacity | Maximum PAN | Maximum Capacity Based on PAN |  | Year | KS2 Year on Year Results |  |  |  |  | Electric Consumption 2014/Child:- | 390.8113 |  |  | Parental First Preference Applications | [15 empty] | Physical Accessibility Rating
Head Teacher:- | Mrs D Wilson | DFE Number:- | 2011 | Year | Forecast Maintenance Costs (£ 000) | [5 empty] | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows and Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | Number of Occurences Identified Within the Report | [7 empty] | Basic Teaching Space | 186 | 184.002 | 98.9258 |  |  |  | 10 | 70 | 12 | 84 |  |  | School - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | LA - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | All Schools in England - Percentage Achieving Level 4 or Above in Reading, Writing and Maths |  |  | Gas Consumption 2014/Child:- | 892.6143 |  |  | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | [10 empty] | Rating: | 2
Leadership:- | Stand Alone | [24 empty] | Rating (see key below) | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other | Hall and Studio | 140 | 89.62 | 64.0143 | [17 empty] | PAN | 10 | 10 | 10 | 10 | 10 | 10
Address:- | Bredenbury Primary School, Bromyard, Herefordshire HR7 4TF | Email:- | admin@bredenbury.hereford.sch.uk | Backlog | Not Available | [5 empty] | £ 000 | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | [8 empty] | Storage | 56 | 66.19 | 118.1964 |  |  |  | Historical Numbers on Roll Data (Spring Census) | [13 empty] | Number | 16 | 9 | 10 | 5 | 1 | 9 | [10 empty] | Details: | Mainly accessible
|  |  |  | 2015 | 81.1606 |  |  | Not Available |  |  | Backlog | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | C1 | [7 empty] | Staff and Admin | 66 | 65.07 | 98.5909 |  |  |  | Year | Total NOR | Capacity Based on PAN | Shortfall | Surplus | 2012 | 58 | 71 | 75 | [5 empty] | Percentage | 160 | 90 | 100 | 50 | 10 | 90
|  |  |  | 2016 | 5.0372 |  |  | 81.1606 |  |  | 2015 | 1.8504 | 0 | 0.8224 | 0 | 0.2056 | 49.344 | 2.5186 | 0 | 1.9532 | 23.13 | 1.3364 | 0 | 0 | 0 | C2 |  |  |  | 2 |  |  |  | Learning Resource | 53 | 68.39 | 129.0377 |  |  |  | 2008 / 2009 | 77 | 70 | 7 | 0 | 2013 | SUPP | 71 | 75 | [22 empty] | Description: | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
|  |  |  | 2017 | 21.9992 |  |  | 5.0372 |  |  | 2016 | 0.9252 | 3.084 | 0.4112 | 0 | 0.2056 | 0 | 0 | 0 | 0 | 0 | 0.4112 | 0 | 0 | 0 | D1 | [7 empty] | Supplementary Area | 0 | 0 | - |  |  |  | 2009 / 2010 | 81 | 70 | 11 | 0 | 2014 | SUPP | 76 | 79 | [5 empty] | Historical Catchment Analysis (Spring Census)
Telephone No.:- | T: 01885 483253 F: 01885 483253 | School Cluster:- | Bromyard District - Queen Elizabeth Humanities College | 2018 | 0.7196 |  |  | 21.9992 |  |  | 2017 | 0.0514 | 0 | 0.8224 | 7.196 | 1.799 | 10.28 | 0 | 0 | 1.542 | 0 | 0.3084 | 0 | 0 | 0 | D2 | [7 empty] | Non Net Area | 193.28 | 178.5309 | 92.369 |  |  |  | 2010 / 2011 | 76 | 70 | 6 | 0 | [9 empty] | Catchment Analysis |  |  |  | 2010 | 2011 | 2012 | 2013 | 2014
|  |  |  | 2019 | 24.672 |  |  | 0.7196 |  |  | 2018 | 0.0514 | 0 | 0.257 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.4112 | 0 | 0 | 0 | D3 | [7 empty] | Total Gross Building Area | 694.28 | 651.8029 | 93.8818 |  |  |  | 2011 / 2012 | 66 | 70 | 0 | 4 | KS2 Test Results and Progress (2014) | [11 empty] | Total in Catchment | 39 | 39 | 37 | 33 | 29
[8 empty] | 24.672 |  |  | 2019 | 1.3364 | 2.056 | 0.5654 | 0 | 0 | 0 | 0 | 0 | 0 | 20.56 | 0.1542 | 0 | 0 | 0 | [15 empty] | 2012 / 2013 | 56 | 70 | 0 | 14 | [12 empty] | Number at School from Catchment | 21 | 25 | 19 | 17 | 19
School Type:- | Trust | Building Number:- | 8AAF | Total | 133.5886 | [5 empty] | Totals | 4.2148 | 5.14 | 2.8784 | 7.196 | 2.2102 | 59.624 | 2.5186 | 0 | 3.4952 | 43.69 | 2.6214 | 0 | 0 | 0 | *Note the information noted above has been extracted from the EFA survey focusing on elements that are C & D rated. Items with an A or B rating have been excluded. The numbers reference the quantity of elements that the survey has picked up within the relevant category | [7 empty] | Total Gross Site Area | 4871.4 | 10150 | 208.359 |  |  |  | 2013 / 2014 | 53 | 70 | 0 | 17 | Pupils eligible for KS2 assessment |  |  |  | 5 | [7 empty] | Percentage at School from Catchment | 25.9259 | 32.8947 | 28.7879 | 30.3571 | 35.8491
Current Capacity:- | 70 | Site Area:- | 10150 | [30 empty] | Net Site Area (less the building area) | 4177.12 | 9498.1971 | 227.3863 |  |  |  | Current Occupancy | 60 | 70 | 0 | 10 | Percentage achieving level 3 or below in reading, writing and maths |  |  |  | SUPP | [7 empty] | Percentage of Catchment Going to School | 53.8462 | 64.1026 | 51.3514 | 51.5152 | 65.5172
[11 empty] | Total Potential Expenditure - Local Authority (£000) | [6 empty] | 115.65 | [27 empty] | Percentage achieving level 4 or above in reading, writing and maths |  |  |  | SUPP
|  |  |  | Key Elements of Forecast Maintenance | [29 empty] | Key Information (based on Building Bulletin 103) | [6 empty] | Current Occupancy Summary (Autumn Census 2014) |  |  |  |  | Percentage achieving level 4B or above in reading and maths and level 4 or above in writing |  |  |  | SUPP |  |  |  |  | Catchment and Nearest School Comparison (Autumn Census 2014)
|  |  |  | Categories |  | Totals (£ 000) | [19 empty] | Key | [7 empty] | Required Number of Classrooms |  |  |  | 3 |  |  | Year Group | NOR | Shortfall | Surplus |  | Percentage achieving level 5 or above in reading, writing and maths |  |  |  | SUPP | [7 empty] | Catchment vs Nearest School | Catchment | Nearest
|  |  |  | External Grounds |  | 9.3548 |  |  |  |  | Total Potential Expenditure - School (£000) | [6 empty] | 17.9386 | [7 empty] | Condition grade | Definition |  |  |  | Priority rating | Definition |  | Number of Classrooms |  |  |  | 3 |  |  | Reception | 10 | 0 | 0 |  | Percentage making expected progress in reading |  |  |  | SUPP | [7 empty] | NOR | 60 | 60
|  |  |  | Roof Works |  | 10.0744 | [27 empty] | Percentage of Classrooms that are the Recommended Size |  |  |  | 33.3333 |  |  | One | 2 | 0 | 8 |  | Percentage making expected progress in writing |  |  |  | SUPP | [7 empty] | Total in Area | 36 | 30
|  |  |  | External Walls |  | 61.8342 | [19 empty] | A Good | Performing as intended and operating efficiently |  |  |  | 1 | Immediate or year 1 remedial action required |  | Percentage of Classrooms that are Classed as Small |  |  |  | 66.6667 |  |  | Two | 7 | 0 | 3 |  | Percentage making expected progress in maths |  |  |  | SUPP | [7 empty] | Number at School from Area | 21 | 20
|  |  |  | Windows and Doors |  | 2.5186 | [27 empty] | Number of Temporary Buildings on Site |  |  |  | 0 |  |  | Three | 11 | 1 | 0 |  | Average point score |  |  |  | SUPP | [7 empty] | Percentage at School | 35 | 33.3333
|  |  |  | Internal Works |  | 47.1852 | [19 empty] | B Satisfactory | Performing as intended but exhibiting minor deterioration |  |  |  | 2 | Year 1-2 remedial action required |  | Number of Classrooms in Temporary Buildings |  |  |  | 0 |  |  | Four | 11 | 1 | 0 | [13 empty] | Percentage of area going to School | 58.3333 | 66.6667
Asset Summary |  |  |  | Mechanical and Electrical |  | 2.6214 | [27 empty] | Percentage of Recommended Reception Toilets |  |  |  | 0 |  |  | Five | 9 | 0 | 1 |  | Latest Ofsted Report Date:- |  | 2013-05-08
|  |  |  | Other (e.g. ancillary buildings) |  | 0 | [19 empty] | C Poor | Exhibiting major defects and/or not operating as intended |  |  |  | 3 | Year 3-5 remedial action required |  | Percentage of Recommended Other Pupil Toilets |  |  |  | 250 |  |  | Six | 10 | 0 | 0 |  | Ofsted Result:- |  | Requires Improvement
Asset Value - Insurance (£000):- |  | Not Known | [38 empty] | Total | 60 | 0 | 10
Asset Value - Land (£000):- |  | Not Known | [23 empty] | D Bad | Life-expired and/or at serious risk of imminent failure
Land Owner:- |  | School owns - transferred under statute 2010 | [36 empty] | Category | Areas Included
[39 empty] | Basic Teaching Spaces | General Classrooms, ICT Rooms, Practical Areas
[39 empty] | Hall and Studio | Halls, Dining Areas
Lease Agreement / Notes:- |  | Not Known | [36 empty] | Storage | Coats and Bags, Teaching, Specialist, PE Equipment, Bulk Stock, Cleaning, Caretakers and Maintenance, Tables and Chairs, Staging, Mobility Equipment
Nursery Provision:- |  | None | [36 empty] | Staff and Admin | Heads and Staff Offices, Staff Room, Staff PPA,Reprographics Room, Sick Bay, Interview and Meeting Rooms, Secure Entrance
[39 empty] | Learning Resource | Library, Small Group Rooms, SENCO Office, Medical Inspection Room
[39 empty] | Supplementary Area | Any other specialist area at the school e.g. Music Classroom, Swimming Pool, SEN Classrooms
[39 empty] | Non Net Area | Pupil and Staff Toilets, Accessible Toilets, Hygiene Room, Kitchen, Corridors, Server Room, Boilers
[39 empty] | Additional Area | Nursery provision

## Feedback
|  | Bredenbury Primary School |  |  | Bredenbury Primary School |  |  | Bredenbury Primary School
|  | Feedback Form |  |  | Feedback Form |  |  | Feedback Form
General Information and Asset Summary |  |  | School Occupancy Summary |  |  | Parental Preference
Do you believe the data to be accurate? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Maintenance and Condition Summary |  |  | School Statistics |  |  | Disability Access
Do you believe the data to be a fair reflection of the maintenance and condition of the school? | [5 empty] | Do you believe the data to be a fair reflection of the environmental condition of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Suitability and Compliance Summary |  |  | Environmental Sustainability Condition |  |  | Any Other Comments
Do you believe the data to be a fair reflection of the suitability and compliance issues faced by the school? | [5 empty] | Additional comments about the information provided:
Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments:
If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920
Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015

## Asset summary
Building ref number:- | 8AAF
Site Area:- | 10150
Asset Value (Insurance):- | Not Known
Asset Value (Land):- | Not Known
Land owner:- | School owns - transferred under statute 2010
Lease agreement / notes:- | Not Known
DEC rating:- | No data held
Electric consumption 2014/child:- | 390.8113
Gas consumption 2014/child:- | 892.6143

## Maintenance
Maintenance & Condition Summary |  |  |  | BCIS Quarter | 3Q2014 | [11 empty] | Check | Main year totals | Summary year totals | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows & Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | BCIS quarter | BCIS uplift
Year survey undertaken |  | 2014-09-19 |  | BCIS Uplift | 1.028 | [15 empty] | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | 1Q2009 | 1.1525
Survey company:- |  | Hub | [15 empty] | 0 | 0 | Backlog | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2Q2009 | 1.1898
[18 empty] | 81160.6 | 81160.6 | 2015 | 1850.4 | 0 | 822.4 | 0 | 205.6 | 49344 | 2518.6 | 0 | 1953.2 | 23130 | 1336.4 | 0 | 0 | 0 | 3Q2009 | 1.1898
[18 empty] | 5037.2 | 5037.2 | 2016 | 925.2 | 3084 | 411.2 | 0 | 205.6 | 0 | 0 | 0 | 0 | 0 | 411.2 | 0 | 0 | 0 | 4Q2009 | 1.2123
|  |  |  | Year covered? | N | Y | Y | Y | Y | Y | School Costs | [6 empty] | 21999.2 | 21999.2 | 2017 | 51.4 | 0 | 822.4 | 7196 | 1799 | 10280 | 0 | 0 | 1542 | 0 | 308.4 | 0 | 0 | 0 | 1Q2010 | 1.2297
Category | Ref | Element | Recommended Works | Estimated Work Cost | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 |  | 719.6 | 719.6 | 2018 | 51.4 | 0 | 257 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 411.2 | 0 | 0 | 0 | 2Q2010 | 1.1789
[18 empty] | 24672 | 24672 | 2019 | 1336.4 | 2056 | 565.4 | 0 | 0 | 0 | 0 | 0 | 0 | 20560 | 154.2 | 0 | 0 | 0 | 3Q2010 | 1.1735
r | 1132292 | Pitched Roofs | Pitched roof to original section of building dates back to 1874. Roof covered with plain clay tile and plain clay tile with rounded leading edge in banded pattern with clay hip and valley tiles. Ornate clay ridge tiles with clay finials at head of hips. Leaded valley gutters between main pitched roofs. Ornate bell tower to front of central section of roof with dual pitched tiled covering. Valleys between roofs formed in lead work with stepped falls. At junctions between lower sections of roofs and main walls code 4 stepped lead flashings provided. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2010 | 1.1682
r | 1132292 | Pitched Roofs | Pitched roof to original section of building dates back to 1874. Two low level sections of roofing, one over the right hand side entrance and one to the front right hand bay window. Roofs formed with similar coverings to those to the main roof, with clay hip tiles and code 4 stepped lead flashings at junctions with the main property. Generally in fair order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Individual Category totals | 4214.8 | 5140 | 2878.4 | 7196 | 2210.2 | 59624 | 2518.6 | 0 | 3495.2 | 43690 | 2621.4 | 0 | 0 | 0 | 1Q2011 | 1.1735
r | 1132292 | Pitched Roofs | Pitched roof to original section of building dates back to 1874. Loose and missing pointing to ridge tiles to roofs. Rake out and repoint approx. 25m of ridge tiles. | 2500 |  |  |  | 2500 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2011 | 1.1525
r | 1132292 | Pitched Roofs | Pitched roof to original section of building dates back to 1874. Various loose and missing plain clay tiles to roof surfaces. Roof requires overhaul. | 2500 |  |  |  | 2500 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Summary category totals | Main category totals | Check | [11 empty] | 3Q2011 | 1.1682
r | 1132292 | Pitched Roofs | Pitched roof to original section of building dates back to 1874. Moss growth to rear roof surfaces. Thoroughly clear. | 150 |  | 50 |  | 50 |  | 50 | 0 | 50 | 0 | 50 | 0 | 50 | [18 empty] | 4Q2011 | 1.1525
r | 1132292 | Pitched Roofs | Pitch roof extensions to rear single story sections of building. Roof covered with composite states with clay ridge tiles. Lead valley gutters at junctions between roof. Lead flashing provided at head of roofs to lower sections of building at abutment with higher section walls. Numerous broken slates. Roof requires overhaul. | 2000 |  |  |  | 2000 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | External Grounds |  | 9354.8 | 9354.8 | [12 empty] | 1Q2012 | 1.1953
r | 1132292 | Flat | Central Flat roof between old and new building. Covered with rubberised flat roof product with central gutter and two integral outlets. Gutter with single outlet over main entrance to school. At the junction with the two story section of the original building code 4 lead cover flashings are provided to the roof. These are of some age and have been subject to bitumen repairs and are likely to require future repairs. | 250 | [5 empty] | 250 | 0 | 0 | 0 | 0 | 0 | 250 |  |  | Roof Works |  | 10074.4 | 10074.4 | [12 empty] | 2Q2012 | 1.1174
r | 1132292 | Flat | Central Flat roof between old and new building. Four powder coated aluminium roof lights. One has a mechanical ventilation extract fan. All in good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | External Walls |  | 61834.2 | 61834.2 | [12 empty] | 3Q2012 | 1.1525
r | 1132292 | Flat | Central Flat roof between old and new building. Four plastic mechanical ventilation extract cowls to the roof. In good order | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Windows & Doors |  | 2518.6 | 2518.6 | [12 empty] | 4Q2012 | 1.1473
r | 1132293 | Chimneystack | Chimneystack 1 (Front left hand side). Built in brick work and appearing to be capped with concrete slabs to the head. Brickwork is well pointed to the stack. Code 4 lead flashings and lead back gutter are provided at junctions with the main roof. Slight damage to the concrete capping slab. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Internal Works |  | 47185.2 | 47185.2 | [12 empty] | 1Q2013 | 1.0983
r | 1132293 | Chimneystack | Chimneystack 2 (Front right hand side). Chimneystack constructed in brickwork with corbelled sections of brickwork to the head and two clay pots. Code 4 lead flashings and lead back gutter provided at junctions with roof. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Mechanical & Electrical |  | 2621.4 | 2621.4 | [12 empty] | 2Q2013 | 1.089
r | 1132293 | Chimneystack | Chimneystack 3 (Right hand elevation). Brickwork stack with upper courses corbelled with four clay chimney pots. Code 4 lead back gutter and lead flashings at junction with roof. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Other |  | 0 | 0 | [12 empty] | 3Q2013 | 1.0983
r | 1132293 | Chimneystack | Chimneystack 4 (Rear left hand). Constructed in brickwork with upper stone corbelled section with one clay pot. Pointing to chimneystack is fair. The stonework at the head of the stack is cracked and requires replacement. Code 4 lead flashings are provided at junctions with the main roof with leaded back gutter. | 250 |  |  |  | 250 |  |  | 0 | 0 | 0 | 250 | 0 | 0 | [18 empty] | 4Q2013 | 1.0798
r | 1132293 | Chimneystack | Chimneystack 4 (Rear left hand). Sections of frost damaged brickwork requiring replacement. | 250 |  |  |  | 250 |  |  | 0 | 0 | 0 | 250 | 0 | 0 |  |  | Total |  | 133588.6 | 133588.6 | [12 empty] | 1Q2014 | 1.0447
r | 1132293 | Chimneystack | Chimneystack 5. Rendered chimneystack in pebble dash render with upper corbelled sections. Single clay pot to head of stack. Code 4 lead flashings at junction with main roof. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2014 | 1.0198
r | 1132294 | Gutters and Downpipes | UPVC gutters and downpipes to original section of building. A mix of cast iron and cast aluminium downpipes to the new single story extensions to the rear of the property. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 3Q2014 | 1.028
r | 1132294 | Gutters and Downpipes | Gutters filled with vegetation growth. Thoroughly clear all gutters and leave free flowing. | 1250 |  | 250 | 250 | 250 | 250 | 250 | 0 | 250 | 250 | 250 | 250 | 250 | [18 empty] | 4Q2014 | 1.0078
r | 1132294 | Gutters and Downpipes | Various loose sections of guttering with minor missing sections of guttering to rear right hand higher section extension. Overhaul all gutters replacing missing sections and re-fixing all loose sections. | 500 |  | 500 |  |  |  |  | 0 | 500 | 0 | 0 | 0 | 0 | [18 empty] | 1Q2015 | 1
r | 1137864 | Fascias, Barges & Soffits | Original section of building dates back to 1874. Fascia boards and soffit boards are all formed in timber. Some rot evident to the rear left hand lean to single story roof requiring repair. | 75 |  |  | 75 |  |  |  | 0 | 0 | 75 | 0 | 0 | 0
r | 1137864 | Fascias, Barges & Soffits | Original section of building dates back to 1874. Rear access to the school reception is formed with a V-jointed board fascia and soffit which is in fair order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | 1137864 | Fascias, Barges & Soffits | Later rear single story extensions. Barge boards to the rear single story extensions. Section of missing barge board to the elevation over the main reception entrance requires repair. | 75 |  |  | 75 |  |  |  | 0 | 0 | 75 | 0 | 0 | 0
e | 1132296 | Walls | Original section of building dates back to 1874. Walls constructed in coarse stone with stepped sandstone quoins to corners of building and to window reveals. Further sandstone lintels over window and door openings. Pointing to stonework in fair order. No damp proof course evident to original section of building. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | 1132296 | Walls | Original section of building dates back to 1874. Timber screen wall and glazing forming the reception entrance. V-jointed boarding fixed to timber work below window level. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | 1132296 | Walls | Original section of building dates back to 1874. Weathering to sandstone quoins to original section of building. Isolated repair of poorly worn stonework required. A number of stonework sills are cracked and will suffer further damaged in future years due to frost penetration requiring repair/replacement. | 10000 |  |  |  | 10000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
e | 1132296 | Walls | Original section of building dates back to 1874. Dropped sandstone lintel over front left hand entrance door. Reset stonework and repoint. | 750 |  |  |  | 750 |  |  | 0 | 0 | 0 | 750 | 0 | 0
e | 1132296 | Walls | Original section of building dates back to 1874. Rear second floor right hand window to the original section of the building has a sandstone lintel above which has dropped leaving an open gap above the lintel. Rebuild lintel and repoint. | 750 |  |  |  | 750 |  |  | 0 | 0 | 0 | 750 | 0 | 0
e | 1132296 | Walls | Original section of building dates back to 1874. The sandstone lintel above the left hand window to the original section of the building has dropped and requires resetting. | 250 |  |  |  | 250 |  |  | 0 | 0 | 0 | 250 | 0 | 0
e | 1132296 | Walls | Later rear single story extensions. Constructed in blockwork cavity, rendered externally with reconstituted stone quoins. Walls up to damp proof course level formed in brickwork with bell cast drip formed over brickwork at junction with rendered surfaces. Walls to the rear single story extensions have expansion joints vertically to allow for thermal movement in blockwork and render. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | 1132296 | Walls | Later rear single story extensions. Two buffer rails fixed to rear walls to single story extensions adjacent to the playground. Rot evident to rails and fixings. | 400 |  | 200 | 200 |  |  |  | 0 | 200 | 200 | 0 | 0 | 0
w | 1132298 | Windows | Original section of building dates back to 1874. Single glazed timber casement windows. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | 1132298 | Windows | Original section of building dates back to 1874. To the rear left hand section of the original property there are a small number of metal casement windows set within timber frames. All windows are single glazed. In fair order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | 1132298 | Windows | Original section of building dates back to 1874. The front elevation – two large central windows have rot in the sills requiring repair. | 300 |  | 300 |  |  |  |  | 0 | 300 | 0 | 0 | 0 | 0
w | 1132298 | Windows | Original section of building dates back to 1874. First floor right hand window to the front section of the building has cracked glazing requiring replacement. | 50 |  | 50 |  |  |  |  | 0 | 50 | 0 | 0 | 0 | 0
w | 1132298 | Windows | Original section of building dates back to 1874. Front elevation central circular window appears to be fixed in a slightly open position and requires easing and adjusting for proper closure. | 50 |  | 50 |  |  |  |  | 0 | 50 | 0 | 0 | 0 | 0
w | 1132298 | Windows | Later rear single story extensions. Windows to the newer rear single story sections of the building are formed with metal crittal style windows set in timber sub-sills. Windows are single glazed. Windows to the rear single story extensions have reconstituted stone sub-sills. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | 1132298 | Doors | Original section of building dates back to 1874. Original section of the property has 3 timber doors with v-jointed timber boarding with ornate iron hinges and door furniture. Doors set in timber frames. In fair repair although poorly decorated. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | 1132298 | Doors | The original section of the property has a small store to the rear left side. There is a v-jointed timber boarded door on a pair of 'T' hinges. There is rot to the bottom of the door requiring repair. | 50 |  | 50 |  |  |  |  | 0 | 50 | 0 | 0 | 0 | 0
w | 1132298 | Doors | There are a pair of fully glazed 2XG style doors to the rear reception area entrance. Safety glass installed. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | 1132298 | Doors | There are a pair of doors similar to those to the main reception entrance to the right hand side of the reception entrance. The right hand door is rotting in the mid rail and requires replacement. Safety glass installed. | 500 |  | 500 |  |  |  |  | 0 | 500 | 0 | 0 | 0 | 0
w | 1132298 | Doors | Similar pair of fully glazed 2XG style doors to the right hand side of the rear elevation. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | 1132298 | Doors | Pair of flush timber doors set within timber frame to rear right hand store room. In order. Drainage channel placed in front of door to restrict flooding. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | 1132298 | Doors | V-jointed timber door with ventilation grills to rear elevation accessing plant room. Door set within frame. Similar half height door at first floor level to boiler room. In fair order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | 1132298 | Doors | Spray painted aluminium double glazed entrance door and side light to the front entrance to the new extension. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | 1132298 | Doors | Pair of original timber doors to front section of new extension. Doors in poor order requiring replacement with spray coated aluminium double glazed units. | 1500 |  | 1500 |  |  |  |  | 0 | 1500 | 0 | 0 | 0 | 0
w | 1132298 | Doors | Pair of spray coated aluminium doors to front left hand side of new extension. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | No Previous Ref. | Decoration | The property is suffering from deterioration to decorations which is causing the initial onset of rot to timbers and the building should be redecorated during the next twelve months. | 3000 |  | 3000 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
e | 1132315 | Walls | Walls to the original section of the premises are formed in solid stonework. Damp meter readings registered up to 70% moisture content and damp staining evident to internal surfaces of external walls. No damp proof course is provided to this section of the premises and in areas plaster is beginning to fail. it is advised that all fittings should be removed, plaster hacked off to 1m height. a chemical injection course inserted to the external and internal walls, walls re-plastered, skirtings and door architraves replaced and new floor coverings provided throughout. all dado boarding should be removed to rooms 11 and 12 to facilitate works (there will be no necessity to reinstate upon completion). | 45000 |  | 45000 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
e | 1132315 | Walls | Room 8 is suffering from damp conditions to internal parts of the chimneystack. The stack has been vented within the room although this is not resolving the issue of damp. Further investigation of the stack is required to establish exact cause and further venting is likely to be required. Cost included in damp proofing works. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 1132315 | Walls | The chimneystack to classroom (11) is suffering similarly and requires further ventilation. Costs included as part of damp proofing works. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 1132315 | Walls | The stack to classroom (11) shows signs of damp penetration thought the flashings and back gutter to the chimneystack above and remedial repairs are required. | 250 |  | 250 |  |  |  |  | 0 | 250 | 0 | 0 | 0 | 0
i | 1132315 | Walls | Walls throughout the newer rear extensions are formed with blockwork construction with a mix of exposed blockwork and plaster finishes. There are some minor areas of plasterboard partitioning clad with plasterboard and board finish plaster. All wall surfaces appear in good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 1132315 | Walls | Glazed wall tiling splash back behind urinals to boys toilet. In fair order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 1132315 | Walls | Tiled splash backs to classroom (21) to wet area. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 1132315 | Walls | Tiling to shower to staff toilet (30). In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 1132315 | Walls | Damaged plasterwork to kitchen on outside wall. Repair plaster. | 50 |  | 50 |  |  |  |  | 0 | 50 | 0 | 0 | 0 | 0
i | 1132315 | Walls | First floor walls are formed in solid construction with plastered finishes, lined in part with woodchip paper. Generally in sound condition. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 1132315 | Walls | Evidence of damp penetration through chimneystack above first floor rooms 7 and 8. Damp meter readings registered up to 70% moisture content. Investigation and repair of flashings and back gutters to chimneystack required. | 500 |  | 500 |  |  |  |  | 0 | 500 | 0 | 0 | 0 | 0
i | 1132315 | Walls | Evidence of damp penetration through chimneystack above first floor room 5. Damp meter readings registered up to 25% moisture content. Investigation and repair of flashings and back gutters to chimneystack required. | 500 |  | 500 |  |  |  |  | 0 | 500 | 0 | 0 | 0 | 0
i | 1132315 | Walls | Within the hall it can be seen that the building has been constructed with a steel frame supporting the external walls and roof. The steel frame is in good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 1132316 | Floors | Floors to the original section of the property have largely been replaced with concrete floors. There remains a single suspended timber floor to room 11. Whilst this floor (11) is vented extensive smells are evident suggesting there are problems in the sub floor. Whilst the floor remains sound underfoot there may be issues of rot and it is understood the floor is built directly off the earth with is causing some of the smell problems. The floor requires with a new concrete floor. Area 9m x 6m approx.. The adjoining room 12 (staff room) has a similar suspended timber floor and covered with vinyl and will require similar works 5m x 4m approx. Re-fix fixtures and fittings. | 15000 |  | 15000 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
i | 1132316 | Floors | Floors to the rear single storey extension of the building are formed in solid concrete construction. Floors to the hall (22) are covered with vinyl floor covers which are in order. The store room (not shown on plan) adjoining the hall is covered with no slip vinyl floor covers with coved up stands. The kitchen (23) is covered with vinyl safety flooring with coved up stands. There is some deterioration to up stands requiring repair and overhaul. Classroom (21) has part carpet and part vinyl safety flooring with coved up stands. In fair order. classroom (20) has a carpet finish. Classroom (26) has part carpet and part non slip vinyl flooring finish. All toilets and cloakrooms have vinyl safety flooring finish. The main corridor and entrance has vinyl safety flooring finish. The rear staff areas have carpeted finishes excepting the toilet area which has vinyl safety flooring with coved up stands. | 200 |  | 200 |  |  |  |  | 0 | 200 | 0 | 0 | 0 | 0
i | 1132316 | Floors | First floor floors are formed in suspended timber and covered with carpets excepting the kitchen which has vinyl safety flooring. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 1132316 | Floors | There is a small section of quarry tile flooring to the small room (13) it is not expected that a damp proof course exists below the floor tiles. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 1132316 | Floors | The kitchen (23) is covered with vinyl safety flooring with coved up stands. There is some deterioration to up stands requiring repair and overhaul. | 200 |  | 200 |  |  |  |  | 0 | 200 | 0 | 0 | 0 | 0
i | 1132316 | Floors | The vinyl floor covering to the boys toilet is cracked and blistering and in time will require replacement. | 1500 |  |  |  | 1500 |  |  | 0 | 0 | 0 | 1500 | 0 | 0
i | 1132316 | Staircase | The staircase accessing the first floor accommodation is a timber staircase with timber balustrade and newel post. safety nosings are provided to treads to staircase. In order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 1132318 | Ceilings | Ground floor ceilings to the original section of the property are formed in lath and plaster wit some areas of ceiling replaced with plasterboard and board finish plaster. Generally in sound condition. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 1132318 | Ceilings | Ceilings to first floor areas are formed in lath and plaster and are generally in a fair condition although repairs will be required to plasterwork around the two chimneystacks once damp issues have been resolved this will include some repair to wall plaster. | 200 |  | 200 |  |  |  |  | 0 | 200 | 0 | 0 | 0 | 0
i | 1132318 | Ceilings | Ceilings to the newer rear single storey extensions are plasterboard with board finish plaster. In class room (26) some cold bridging is noted to the skilling ceiling which has resulted in condensation growth to the ceiling surface. This is likely to be a result of poor insulation to the roof void. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 1132318 | Ceilings | Class room (11) has a suspended grid system ceiling with inset tiles and integral diffuser lighting. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 1132318 | Ceilings | Grid system suspended ceiling with integral lighting to room (12). | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | No Previous Ref. | Doors | Half hour fire doors provided throughout the ground floor areas of the original section of the premises. All doors are fitted with intumescent smoke/heat seals and have overhead door closers. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | No Previous Ref. | Doors | First floor doors to the original section of the building have half hour doors with intumescent smoke seals and overhead door closers. The doors accessing room (7) and (8) are original doors which have been over-clad to meet fire integrity. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | No Previous Ref. | Doors | Doors throughout the rear single storey extensions are half fire hour doors. Only those that are marked as fire doors are provided with intumescent smoke seals and where necessary either 'keep locked' signage or overhead door closers. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | No Previous Ref. | Doors | Doors accessing the children's cloakrooms, toilets and cubicle doors to toilets have finger guards fitted to doors. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 1132319 | Staff Room | Small range of basic base units to staff room with inset stainless steel sink and glazed wall tiles splash backs. In fair order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 1132319 | Kitchen Adjoining Main Hall | Basic range of base kitchen units and wall hung units with one inset single drainer stainless steel sink and one inset stainless steel sink. All in good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 1132319 | First Floor Kitchen | Range of kitchen base units and wall hung units with inset stainless steel single drainer sink with glazed tile splash backs to first floor kitchen. All in good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 1132319 | Reception Room | Various fixed units. In fair order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 1132319 | Photocopy Room | Various fixed units. In fair order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 1132319 | Classrooms | Various low level shelving units to classrooms. All in fair order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 1132319 | Classrooms | Stainless steel sink to wet area to classroom (26). In fair order | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 1132319 | Classrooms | Stainless steel sink to wet area to classroom (21). Tiled splash back. In fair order | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 1132319 | Lighting | Mix of fluorescent light fittings, vapour proof light fittings and louvre diffuser fluorescent fittings throughout premises. Generally in fair order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 1132320 | Decoration | Cyclical decoration of site is required. Immediate decoration of the older sections of the school will be required on completion of identified repair works. | 27500 |  | 7500 |  |  |  | 20000 | 0 | 0 | 0 | 0 | 0 | 0
m | 1132321 | Fixtures | Four vitreous china wash hand basins and four WC suites with concealed cisterns behind PVC boarded claddings to girls toilet. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 1132321 | Fixtures | Four vitreous china wash hand basins and two WC suites with concealed cisterns behind Formica faced boarded to boys toilet. One broken toilet seat requires replacement and one loose wash hand basin requires re-fixing and reforming of silicon seals. | 150 |  | 150 |  |  |  |  | 0 | 150 | 0 | 0 | 0 | 0
m | 1132321 | Fixtures | The disabled toilet is of recent installation and has a Doc m disabled toilet pack in vitreous china. All in good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 1132321 | Fixtures | Vitreous china close coupled WC suite and vitreous china wash hand basin to staff toilet. In good order | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 1132321 | Fixtures | Electric shower to staff wet room. In good order. Adequate floor drainage to shower. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | No Previous Ref. | Electric | Main switch gear located in room 29. Three phase supply. Distribution board located in boiler room. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | No Previous Ref. | Electric | Distribution board located in room 29 serving old school. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | No Previous Ref. | Electric | Electrical certification for statutory compliance. Current certificate out of date. | 1000 |  | 1000 |  |  |  |  | 0 | 1000 | 0 | 0 | 0 | 0
m | No Previous Ref. | Electric Appliances | Portable Appliance Testing certification for statutory compliance. Current certificate dated March 2014. | 500 |  |  | 250 |  | 250 |  | 0 | 0 | 250 | 0 | 250 | 0
m | No Previous Ref. | Fire Alarm | Main fire alarm panel located in corridor 18. Gent 3260-04. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | No Previous Ref. | Fire Alarm | Fire alarm isolator to main panel located in boiler room. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | No Previous Ref. | Fire Alarm | Quarterly certification for statutory compliance by Tann Synchronome. Current certificate dated 26/6/14. | 250 |  | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50
m | No Previous Ref. | Emergency Lighting | Adequate emergency lighting provided through premises. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | No Previous Ref. | Gas | Gas certification for statutory compliance. Current certificate dated 29/1/14. | 500 |  | 100 | 100 | 100 | 100 | 100 | 0 | 100 | 100 | 100 | 100 | 100
m | No Previous Ref. | Ventilation | Mechanical ventilation extract to staff toilet, disabled toilet, boys toilet and girls toilet. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | No Previous Ref. | Security Alarm | Control panel for intruder alarm located in room 29. Unit maintained by 24/7 Security Systems Ltd. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | No Previous Ref. | CCTV | No CCTV system to premises. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | No Previous Ref. | Communication Systems | Telephone communication system. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | No Previous Ref. | Boilers | Heating - Controlled by two Hamworthy boilers located in plant room. Combined standard stainless steel flue to boilers. Boilers floor mounted. No information on boilers. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | No Previous Ref. | Boilers | Boilers controlled by wall hung control panel. Sangamo time clock system. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | No Previous Ref. | Boilers | Four number Grundfos pumps located to heating pipework in boiler room. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | No Previous Ref. | Water tanks | No access to upper section of plant room to inspect water tanks. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | No Previous Ref. | Hot Water Distribution | Zip RCH water heaters are located to the girls and boys toilet. In operating order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | No Previous Ref. | Hot Water Distribution | Santon electronic water heater to kitchen. In working order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | No Previous Ref. | Hot Water Distribution | Solectra RCX water heater to classroom (21). In working order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | 1075377 | Car Park | Small car parking area in front of gates accessing playground. Gravel surface in poor condition. Take up and replace with tarmac surface. 9m x 9m. | 3000 |  |  | 3000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
g | 1049324 | Paths & Pedestrian Paved Areas | Tarmac surface to main roadside entrance now largely disused (front section of property). Wearing course shows some minor signs of deterioration and moss growth. No immediate works required but wearing course will require replacement in future years. The area is 9m x 6m. | 2000 | [5 empty] | 2000 | 0 | 0 | 0 | 0 | 0 | 0
g | 1049324 | Paths & Pedestrian Paved Areas | Pathway formed in paving slabs surrounding frontage of original section of building. One slab is damaged requiring replacement. | 50 |  | 50 |  |  |  |  | 0 | 50 | 0 | 0 | 0 | 0
g | 1049324 | Paths & Pedestrian Paved Areas | Pathway to the right hand elevation leading to the original section of the property is formed in tarmac and has largely been disturbed by tree roots. The tree has now been removed but roots require removal and the tarmac pathway requires relaying. | 1000 |  | 1000 |  |  |  |  | 0 | 1000 | 0 | 0 | 0 | 0
g | 1049324 | Paths & Pedestrian Paved Areas | Concrete pathways to the right hand elevation of the original section of the building. In fair order, although there is some slight cracking to the raised plinth to the canopy entrance to the property. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | 1049324 | Paths & Pedestrian Paved Areas | Concrete path to rear northeast corner of original building largely broken up. Carry out repairs to concrete path. | 200 |  | 200 |  |  |  |  | 0 | 200 | 0 | 0 | 0 | 0
g | 1049324 | Paths & Pedestrian Paved Areas | Pathway to left hand side of new extension to premises (right hand side when viewed from playground). Paving in good order. One cracked slab. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | 1049324 | Paths & Pedestrian Paved Areas | Ramped access to rear reception area formed in concrete with low brick retaining wall and steel raining. Slight cracking to concrete ramp evident. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | 1049324 | Paths & Pedestrian Paved Areas | Astro turf and rubber safety flooring to seated area adjacent to covered seating area. In good condition. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | 1049324 | Paths & Pedestrian Paved Areas | Raised concrete patio surrounded with galvanised steel railing to classrooms on property frontage. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | 1075379 | Playing Fields | Playing fields lawned with raised area to form sports area sloping off to the south side of the field. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | No Previous Ref. | Hard Play Areas | Playground formed with wearing course tarmac. Some slight wear evident to wearing course although generally in fair order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | No Previous Ref. | Hard Play Areas | Play equipment formed in area with rubber safety floor. Play equipment will require annual ROSPA certification. | 250 |  | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50
g | 1075380 | Boundaries | Various boundary fencing to playing field area with mix of post and rail fencing with steel mesh, timber post with steel mesh and a five bar gate. All fencing is in fair order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | 1075380 | Boundaries | North boundary with adjoining residential property formed with larch lap panel fencing. In fair order although some posts are beginning to lean and will require resetting. Ownership of the fencing is not known. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | 1075380 | Boundaries | 2 no. six bar steel gates with steel posts clad with steel mesh to main road entrance to playground. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | 1075380 | Boundaries | Galvanised steel fencing with bow heads to main pedestrian access to playground. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | 1075380 | Boundaries | Concrete post and steel mesh fencing between pedestrian and vehicle access. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | 1075380 | Boundaries | Cultivated hedges around main garden area to original section of property with steel rail fencing within hedging showing signs of rusting and leaning. 2 no. Three bar gates at main and side roadside entrances, largely disused. Fencing requires overhaul prior to redecoration. Level and reset. | 500 |  | 500 |  |  |  |  | 0 | 500 | 0 | 0 | 0 | 0
g | 1075380 | Boundaries | Front west boundary to the sight is formed with concrete posts and steel mesh. In fair order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | 1075381 | Internal Fencing | Various fencing formed to internal parts of the property with post and rail palisade fencing. Generally in fair order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | 1075381 | Internal Fencing | Areas of timber post and steel mesh fencing and various galvanised steel gates clad with steel mesh. All in fair order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | No Previous Ref. | Canopy | Steel framed canopy covered with transparent Perspex decking with UPVC gutter and downpipes to front garden area to classrooms. Generally in fair condition. Suffering from some lichen growth requiring cleaning. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | 1075386 | Covered Shelter to Playground | Formed in timber frame construction and clad in timber boarding. Roof formed with felt appearing as slate on sterling board decking. Additional strengthening provided to structure with collars. Bench seating internally. UPVC gutters and downpipes. Timber frame built off of half brick thick plinth. Constructed on concrete base. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | 1075386 | Playhouse | Playhouse to front garden area to classrooms – playhouse constructed in timber with dual pitch felted roof. Felt is rotten and requires replacement | 100 |  |  | 100 |  |  |  | 0 | 0 | 100 | 0 | 0 | 0
g | 1075386 | Shed | Shed adjoining play area – shed formed in timber construction with dual pitch felted roof. In fair order although lock has been removed and children have access to shed. Provide new lock. Perspex dinosaur attached to the side of the shed is damaged. It causes a health and safety risk to children and should be removed. | 25 |  |  | 25 |  |  |  | 0 | 0 | 25 | 0 | 0 | 0
g | 1075386 | Shed | Shed adjoining entrance to playing fields – Shed formed in timber with dual pitch shiplap timber boarded roof. Section of roof missing and rotting to left side requiring repair. | 100 |  |  | 100 |  |  |  | 0 | 0 | 100 | 0 | 0 | 0
g | 1075386 | Shed | Shed behind covered shelter – shed formed in timber with dual pitched felted roof. Felt and decking boards are defective requiring replacement. Furthermore glazing to windows is missing and covered in the polythene currently. Replace roof covering and decking and board in window. | 125 |  |  | 125 |  |  |  | 0 | 0 | 125 | 0 | 0 | 0
g | 1075386 | Shed | Shed to front garden to classrooms – formed in timber with dual pitch felt covered roof set on concrete paving slabs. Shed of some age with some signs of rot and will require replacement in the future. | 1750 |  |  | 500 |  |  | 1250 | 0 | 0 | 500 | 0 | 0 | 1250
m | 1075387 | Drainage | 100mm and 150mm clay and plastic drainage to septic tank, which is located on the opposite side of the main road (A44) towards the southwest. It is reported that the tank is emptied annually and no problems have been experienced with the system. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 1075387 | Drainage | Two gullies to downpipe to front elevation of original section of building have damaged and missing brickwork and require reconstruction. | 100 |  |  |  | 100 |  |  | 0 | 0 | 0 | 100 | 0 | 0
m | 1075387 | Drainage | Right hand elevation to the original section of property. There is a gully which is formed in concrete which is badly damaged and require reconstruction. | 50 |  |  |  | 50 |  |  | 0 | 0 | 0 | 50 | 0 | 0

## EFA Property
|  |  | EFA survey data | [6 empty] | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other
DFE | School | School Type | Date received | Condition rating C or D | Priority rating 1 or 2 | Element | Category | CCP rating
|  |  |  | c | 2 | Redecorations, External windows doors etc, Timber, Old school | w | wc2 | C1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | c | 2 | Redecorations, External windows and doors, Timber, Main school | w | wc2 | C2 | 0 | 0 | 0 | 2 | 0 | 0 | 0
[9 empty] | D1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D3 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Suitability and Compliance
Space |  |  | BB103 suggested sizes |  |  | BREDENBURY
[6 empty] | Suitability Data | [12 empty] | Compliance Comparison |  |  | 1/3 | Form of entry | PAN | 10
Basic Teaching Spaces |  |  | No. of spaces | m2 | Total m2 | Plan ref | Space | [11 empty] | Total area | Shortfall | Surplus | 2012 | Date of last assessment
|  | Classroom - Year R | 1 | 62 | 62 | 26, 27 | General classroom | 49.94 | 7.18 | [9 empty] | 57.12 | 4.88 | 0
|  | Classroom - Year 1 | 0 | 62 | 0 | [13 empty] | 0 | 0 | 0 | 0 | No. Temp Buildings on Site
|  | Classroom - Year 2 | 0 | 62 | 0 | [13 empty] | 0 | 0 | 0 | 0 | No. of Classrooms in Temporary Buildings
|  | Classroom - Year 3 | 1 | 62 | 62 | 11 | General classroom | 43.62 | [10 empty] | 43.62 | 18.38 | 0 | 3 | No. of Classrooms
|  | Classroom - Year 4 | 0 | 62 | 0 | [13 empty] | 0 | 0 | 0 | 3 | Required No. of Classroooms
|  | Classroom - Year 5 | 1 | 62 | 62 | 21, UN2, UN10 | General classroom | 47.502 | inc | 15.31 | [8 empty] | 62.812 | 0 | 0.812
|  | Classroom - Year 6 | 0 | 62 | 0 | [13 empty] | 0 | 0 | 0
|  | Practical area / food bay | 0 | 0 | 0 | 12 | Practical area | 20.45 | [10 empty] | 20.45 | 0 | 20.45 | 33.33% | of classrooms are the recommended size
|  | ICT base | 0 | 0 | 0 | [13 empty] | 0 | 0 | 0 | 66.67% | of classrooms are small
[5 empty] | 186 | [13 empty] | 184.002 | 23.26 | 21.262 | 98.93% | of the recommended basic teaching space required
[21 empty] | 162.74 | 87.49% | of the recommended basic teaching space required ignoring surplus
Halls and Studios | [21 empty] | 12.51% | shortfall in basic teaching space
| 1 | Main hall | 1 | 140 | 140 | 22 | Hall | 89.62 | [10 empty] | 89.62 | 50.38 | 0
[5 empty] | 140 | [13 empty] | 89.62 | 50.38 | 0 | 64.01% | of the recommended hall size
Storage | [21 empty] | 35.99% | shortfall in hall size
| 1 | Coat and bag storage - Year R | 1 | 3 | 3 | UN4 | Store room | 2 | [10 empty] | 2 | 1 | 0
| 2 | Coat and bag storage - Year 1 | 0 | 3 | 0 | [13 empty] | 0 | 0 | 0
| 3 | Coat and bag storage - Year 2 | 0 | 3 | 0 | [13 empty] | 0 | 0 | 0
| 4 | Coat and bag storage - Year 3 | 1 | 3 | 3 | UN8 | Cloakroom | 10.12 | [10 empty] | 10.12 | 0 | 7.12
| 5 | Coat and bag storage - Year 4 | 0 | 3 | 0 | [13 empty] | 0 | 0 | 0
| 6 | Coat and bag storage - Year 5 | 1 | 3 | 3 | UN9 | Cloakroom | 9.81 | [10 empty] | 9.81 | 0 | 6.81
| 7 | Coat and bag storage - Year 6 | 0 | 3 | 0 | [13 empty] | 0 | 0 | 0
| 8 | Teaching storage - Year R | 1 | 2 | 2 | [13 empty] | 0 | 2 | 0
| 9 | Teaching storage - Year 1 | 0 | 2 | 0 | [13 empty] | 0 | 0 | 0
| 10 | Teaching storage - Year 2 | 0 | 2 | 0 | [13 empty] | 0 | 0 | 0
| 11 | Teaching storage - Year 3 | 1 | 2 | 2 | 13 | Store room | 5.58 | [10 empty] | 5.58 | 0 | 3.58
| 12 | Teaching storage - Year 4 | 0 | 2 | 0 | [13 empty] | 0 | 0 | 0
| 13 | Teaching storage - Year 5 | 1 | 2 | 2 | [13 empty] | 0 | 2 | 0
| 14 | Teaching storage - Year 6 | 0 | 2 | 0 | [13 empty] | 0 | 0 | 0
| 15 | Specialist walk in stores | 1 | 5 | 5 | [13 empty] | 0 | 5 | 0
| 18 | Indoor PE equipment storage | 1 | 14 | 14 | UN12 | Store room | [11 empty] | 0 | 14 | 0
| 19 | Outdoor PE equipment storage | 0 | 0 | 0 | 33 | Store room (pavilion) | 26.9 | [10 empty] | 26.9 | 0 | 26.9
|  | Bulk stock store | 1 | 4 | 4 | UN11 | Store room | 6.24 | [10 empty] | 6.24 | 0 | 2.24
| 21 | Caretakers and maintenance store | 1 | 4 | 4 | [13 empty] | 0 | 4 | 0
| 22 | Cleaning store | 1 | 3 | 3 | 2, 29, UN5 | Cleaners store room | 1.53 | 2.01 | 2 | [8 empty] | 5.54 | 0 | 2.54
| 23 | Table and chair store | 1 | 5 | 5 | UN13 | Store room | [11 empty] | 0 | 5 | 0
| 25 | Staging/ appliance store | 1 | 4 | 4 | [13 empty] | 0 | 4 | 0
|  | Mobility equipment store | 1 | 2 | 2 | [13 empty] | 0 | 2 | 0
| 24 | Store for community | 0 | 0 | 0 | [13 empty] | 0 | 0 | 0
[5 empty] | 56 | [13 empty] | 66.19 | 39 | 49.19 | 118.2% | of the recommended storage space required
Staff and admin | [21 empty] | 69.64% | shortfall
| 1 | Heads office | 1 | 12 | 12 | 7 | Heads office | 11.74 | [10 empty] | 11.74 | 0.26 | 0
| 3 | Staff room work and social | 1 | 17 | 17 | 5, 6 | Staffroom | 16.31 | 8.17 | [9 empty] | 24.48 | 0 | 7.48
|  | Staff PPA | 1 | 8 | 8 | [13 empty] | 0 | 8 | 0
| 4 | Senior management office | 0 | 10 | 0 | [13 empty] | 0 | 0 | 0
| 7 | General office (reception) | 1 | 8 | 8 | 14a | Reception (office) | 10.64 | [10 empty] | 10.64 | 0 | 2.64
| 8 | Secure reception | 1 | 4 | 4 | 14b | Entrance | 10.73 | [10 empty] | 10.73 | 0 | 6.73
| 9 | Reprographics room | 1 | 6 | 6 | 9 | Photocopying room | 4.81 | [10 empty] | 4.81 | 1.19 | 0
| 10 | Meeting room | in head | 0 | 0 | [13 empty] | 0 | 0 | 0
| 11 | Sick bay | 1 | 3 | 3 | 14c | MI room | 2.67 | [10 empty] | 2.67 | 0.33 | 0
| 13 | Interview room | 1 | 8 | 8 | [13 empty] | 0 | 8 | 0
[5 empty] | 66 | [13 empty] | 65.07 | 17.78 | 16.85 | 98.59% | of the recommended staff and admin space required
Learning resource area | [21 empty] | 26.94% | shortfall
| 1 | Library (learning resource centre) | 1 | 18 | 18 | 8 | Library | 21.45 | [10 empty] | 21.45 | 0 | 3.45
| 3 | Small group room | 1 | 11 | 11 | 20 | Small group room | 46.94 | [10 empty] | 46.94 | 0 | 35.94
| 5 | SENco office (SEN resource) | 1 | 12 | 12 | [13 empty] | 0 | 12 | 0
| 2 | Medical inspection room/ Therapy room | 1 | 12 | 12 | [13 empty] | 0 | 12 | 0
[5 empty] | 53 | [13 empty] | 68.39 | 24 | 39.39 | 129% | of the recommended learning resource areas
Supplementary area | [21 empty] | 45.28% | shortfall
| 1 |  | 0 | 0 | 0 | [13 empty] | 0 | 0 | 0
|  |  | 0 | 0 | 0 | [13 empty] | 0 | 0 | 0
[5 empty] | 0 | [13 empty] | 0 | 0 | 0 | - | of the recommended supplementary areas
Non net areas | [21 empty] | - | shortfall
| 1 | Reception toilets | 3 | 2 | 6 | [13 empty] | 0 | 6 | 0 | 0 | Number of reception toilets
| 1 | Pupils toilets | 4 | 2 | 8 | 24,25 | Pupil toilets (6 wc's, 4 urinals) | 12.8 | 12.77 | [9 empty] | 25.57 | 0 | 17.57 | 10 | Number of other pupil toilets
| 2 | Staff toilets | 2 | 2 | 4 |  | Staff use hygiene room | [11 empty] | 0 | 4 | 0 | 0% | % of recommended reception toilets
| 3 | Accessible toilet | 1 | 3 | 3 | UN14 | Disabled w.c. | 3.32 | [10 empty] | 3.32 | 0 | 0.32 | 250% | % of recommended other pupil toilets
| 9 | Hygiene room | 1 | 12 | 12 | 30, 30a, 31 | Hygiene room | 5.09 | 1.28 | 2.1 | ??check sizes | [7 empty] | 8.47 | 3.53 | 0
| 4 | Kitchen facilities (servery) | 1 | 20 | 20 | 23 | Kitchen | 12.62 | [10 empty] | 12.62 | 7.38 | 0
| 5 | Corridors | - | 22.5% | 112.725 | 4,10,14, 18, 19, 19a, 28, UN6, UN7, 1, 3 | Corridor | 4.42 | 12.26 | 4.83 | 2.57 | 51.19 | 6.81 | 5.88 | 4 | 2 | 5.44 | 3.08 | 102.48 | 10.245 | 0
| 6 | Boiler room | 1 | 1.5% | 7.515 | 34, 32 | Boiler room | 5.81 | 1.33 | [9 empty] | 7.14 | 0.375 | 0
| 7 | Server | in boiler | [15 empty] | 0 | 0 | 0
|  | Walls | - | 4% | 20.04 |  |  | 18.9309 | [10 empty] | 18.9309 | 1.1091 | 0
[5 empty] | 193.28 | [13 empty] | 178.5309 | 32.6391 | 17.89 | 92.37% | of the recommended non net area
Additional area | [21 empty] | 16.89% | shortfall
|  | Nursery class | 1 | 62 | 62 | [13 empty] | 0 | 62 | 0
|  | Quiet room | 1 | 8 | 8 | [13 empty] | 0 | 8 | 0
|  | Nursery store room | 1 | 2 | 2 | [13 empty] | 0 | 2 | 0
|  | Nursery office | 1 | 8 | 8 | [13 empty] | 0 | 8 | 0
|  | Nursery cloakroom | 1 | 3 | 3 | [13 empty] | 0 | 3 | 0
|  | Nursery pupils toilets | 3 | 2 | 6 | [13 empty] | 0 | 6 | 0
|  | Nursery staff toilets | 1 | 2 | 2 | [13 empty] | 0 | 2 | 0
|  | Nursery entrance | 1 | 22.5% | 1.8675 | [13 empty] | 0 | 1.8675 | 0
[5 empty] | 92.8675 | [13 empty] | 0 | 92.8675 | 0 | 0% | of the recommended additional area
[22 empty] | 100% | shortfall
Total Net area |  |  |  |  | 501 | [13 empty] | 473.272
Total Non-Net area |  |  |  |  | 193.28 | [13 empty] | 178.5309
Gross (total build) area - excluding nursery |  |  |  |  | 694.28 | [13 empty] | 651.8029 |  |  | 93.88% | of the recommended Gross area
Gross (total build) area - including nursery |  |  |  |  | 787.1475 | [13 empty] | 651.8029
Net Area Range |  |  |  |  | 637.0-715.0
Mid Range |  |  |  |  | 676
Total Site Area Range |  |  |  |  | 4329.0-5413.8
Mid Range |  |  |  |  | 4871.4
2
3
4

## Occupancy
Sufficiency Data
Planned Admission Number | Current Capacity | Maximum PAN | Capacity based on max PAN
10 | 70 | 12 | 84
NOR Spring Census
| 2008 / 2009 | 2009 / 2010 | 2010 / 2011 | 2011 / 2012 | 2012 / 2013 | 2013 / 2014
NOR Jan | 77 | 81 | 76 | 66 | 56 | 53
Maximum Capacity | 70 | 70 | 70 | 70 | 70 | 70
Number of Surplus Places | 0 | 0 | 0 | 4 | 14 | 17
% of surplus places | 0 | 0 | 0 | 5.7 | 20 | 24.2857
Current Numbers on Roll (from Autumn Census)
Year group | R | 1 | 2 | 3 | 4 | 5 | 6 | Total
Number | 10 | 2 | 7 | 11 | 11 | 9 | 10 | 60

## School stats
Current Ofsted | Year
Requires Improvement | 2013-05-08
2014 KS2 Performance Tables last update : (15 Sep 2014)
Year on year comparisons
Percentage achieving Level 4 or above in reading, writing and maths | 2012 | 2013 | 2014
School | 58% | SUPP | SUPP
LA | 71% | 71% | 76%
England - All Schools | 75% | 75% | 79%
KS2 test results and progress
| All pupils | Low attainers | Middle attainers | High attainers
Pupils eligible for KS2 assessment | 5
Percentage of pupils achieving 3 or below in reading and maths test and writing TA | SUPP | SUPP | SUPP | SUPP
Percentage of pupils achieving level 4 or above in reading and maths test and writing TA | SUPP | SUPP | SUPP | SUPP
Percentage of pupils achieved level 4B or above in reading and maths test and level 4 in writing TA | SUPP | SUPP | SUPP | SUPP
Percentage of pupils achieving level 5 or above in reading and maths test and writing TA | SUPP | SUPP | SUPP | SUPP
Percentage of pupils making at least 2 levels of progress in reading | SUPP | SUPP | SUPP | SUPP
Percentage of pupils making at least 2 levels of progress in writing TA | SUPP | SUPP | SUPP | SUPP
Percentage of pupils making at least 2 levels of progress in maths | SUPP | SUPP | SUPP | SUPP
Average point score | SUPP
Closing the Gap
| Disadvantaged pupils | Other pupils
Percentage of disadvantaged pupils achieving level 3 or below in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4B or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 5 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in reading | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in maths | SUPP | SUPP
Value Added measures
| Measure | Lower CI | Upper CI | Coverage
Overall value added measure | SUPP | SUPP | SUPP | SUPP
Reading value added measure | SUPP | SUPP | SUPP | SUPP
Writing TA value added measure | SUPP | SUPP | SUPP | SUPP
Maths value added measure | SUPP | SUPP | SUPP | SUPP
Subject level results
| Reading test | Maths test | Grammar, punctuation and spelling test | Writing TA
Percentage achieving level 3 or below | SUPP | SUPP | SUPP | SUPP
Percentage achieving Level 4 or above | SUPP | SUPP | SUPP | SUPP
Percentage achieving Level 4b or above | SUPP | SUPP | SUPP | NA
Percentage achieving Level 5 or above | SUPP | SUPP | SUPP | SUPP
Pupil Absence last update : (11 Dec 2013)
| School | England - national (primary state-funded)
Overall absence: percentage | 6.8% | 4.8%
Persistent absence: around 15% + | 5.9% | 3.6%
2013-14 Finance last update : (10 Dec 2014)
Contextual information
Number of pupils (FTE) | 53
Percentage of pupils eligible for Free School Meals (FSM) | 5.7%
Free school meals eligibility band | LOW
Spend per pupil data as £ per pupil (in brackets percentage of total income or expenditure)
| School | LA Median | Non-London LAs Median | National Median
Grant funding | 6087 (97%) | 4525 | 4016 | 4325
Self generated income | 194 (3%) | 144 | 142 | 127
Total income | 6280 | 4723 | 4183 | 4479
Teaching staff | SUPP | 2277 | 2045 | 2106
Supply Staff | 332 (5%) | 87 | 118 | 127
Education support staff | SUPP | 689 | 650 | 733
Learning resources (not ICT equipment) | 278 (4%) | 181 | 174 | 184
ICT learning resources | 120 (2%) | 81 | 62 | 66
Bought in professional services - curriculum | 178 (3%) | 88 | 59 | 67
Back office (incl. Staff costs) | 773 (12%) | 406 | 334 | 351
Catering (incl. Staff costs) | 60 (1%) | 35 | 53 | 75
Premises (incl. Staff costs) | 372 (6%) | 259 | 275 | 301
Other staff costs | 240 (4%) | 153 | 133 | 142
Energy | 96 (2%) | 68 | 62 | 65
Other expenditure | 96 (2%) | 94 | 85 | 88
Total expenditure | 6299 | 4562 | 4143 | 4431
Spend per pupil data as £ per pupil : Comparisons over time
| 2010-11 | 2011-12 | 2012-13 | 2013-14
Teaching staff and Education support staff expenditure | 3169 | 3761 | SUPP | SUPP
Supply staff | 171 | 342 | 211 | 332
Back office (incl. Staff costs) | 412 | 577 | 662 | 773
Energy | 82 | 51 | 96 | 96
Total expenditure | 5149 | 5703 | 5903 | 6299
School Workforce last update : (10 Dec 2014)
This data is based upon the November 2013 School Workforce Census
| School | England - national (primary state-funded)
Headcount of all teachers in a school | 4 | 236728
Headcount of all teaching assistants in a school | 4 | 239340
Headcount of all support (exc. auxillary) staff in a school | 1 | 77335
Full-time equivalent number of all teachers in a school | 4 | 207827.7
Full-time equivalent number of all teaching assistants in a school | 2.5 | 154245.3
Full-time equivalent number of all support (exc. auxillary) staff in a school | 1 | 51728.3
Ratio of pupils to teachers in a school | 13.3 | 20.5
Average gross salary of all teachers in a school | 33175 | 36559

## Parental Preference
Popularity Data | [10 empty] | Children at School From School Catchment
Parental First Preference Applications | [11 empty] | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  | Catchment vs Nearest School |  |  |  | Catchment | Nearest
Year | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  |  | NOR | 81 | 76 | 66 | 56 | 53 |  |  |  | NOR |  |  |  | 60 | 60
PAN | 10 | 10 | 10 | 10 | 10 | 10 |  |  |  |  | Number | 21 | 25 | 19 | 17 | 19 |  |  |  | Total in area |  |  |  | 36 | 30
No. | 16 | 9 | 10 | 5 | 1 | 9 |  |  |  |  | % | 25.9259 | 32.8947 | 28.7879 | 30.3571 | 35.8491 |  |  |  | Number at School from area |  |  |  | 21 | 20
% | 160 | 90 | 100 | 50 | 10 | 90 | [13 empty] | % at School |  |  |  | 35 | 33.3333
[11 empty] | Total number in Catchment | [8 empty] | % of area going to School |  |  |  | 58.3333 | 66.6667
[12 empty] | 2010 | 2011 | 2012 | 2013 | 2014
[11 empty] | Number | 39 | 39 | 37 | 33 | 29
[11 empty] | % | 100 | 100 | 100 | 100 | 100
Where children at School are coming from (from Spring Census 2014)
DCSF No. | School |  | Ashperton | Bredenbury | Brockhampton | St Peter's, Bromyard | Broadlands | Marlbrook | St Martin’s | Leominster Infants’ School | Lugwardine | Marden | Stoke Prior | Sutton | Wellington | Withington | Burley Gate C E | Cradley C E | St James’ C E, Kimbolton | Pencombe C E | Riverside Primary | Out of County | Grand Total
2011 | Bredenbury | Number | 0 | 19 | 1 | 18 | 0 | 0 | 0 | 2 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 2 | 53
2011 | Bredenbury | % | 0 | 35.8491 | 1.8868 | 33.9623 | 0 | 0 | 0 | 3.7736 | 0 | 0 | 15.0943 | 0 | 0 | 0 | 0 | 1.8868 | 3.7736 | 0 | 0 | 3.7736 | 100
2014 | Brockhampton | Number | 0 | 5 | 47 | 76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 1 | 2 | 1 | 5 | 140
2014 | Brockhampton | % | 0 | 3.5714 | 33.5714 | 54.2857 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4286 | 0.71429 | 0.71429 | 1.4286 | 0.71429 | 3.5714 | 100
2024 | St Peter's, Bromyard | Number | 0 | 0 | 6 | 174 | 0 | 3 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 189
2024 | St Peter's, Bromyard | % | 0 | 0 | 3.1746 | 92.0635 | 0 | 1.5873 | 0 | 0 | 0 | 0 | 1.0582 | 0 | 0 | 0 | 2.1164 | 0 | 0 | 0 | 0 | 0 | 100
3010 | Burley Gate C E | Number | 2 | 0 | 0 | 5 | 1 | 0 | 0 | 0 | 3 | 1 | 0 | 3 | 5 | 9 | 64 | 0 | 0 | 0 | 0 | 1 | 94
3010 | Burley Gate C E | % | 2.1277 | 0 | 0 | 5.3191 | 1.0638 | 0 | 0 | 0 | 3.1915 | 1.0638 | 0 | 3.1915 | 5.3191 | 9.5745 | 68.0851 | 0 | 0 | 0 | 0 | 1.0638 | 100
3367 | Pencombe C E | Number | 0 | 2 | 1 | 8 | 0 | 0 | 2 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 14 | 0 | 0 | 21 | 0 | 0 | 53
3367 | Pencombe C E | % | 0 | 3.7736 | 1.8868 | 15.0943 | 0 | 0 | 3.7736 | 0 | 0 | 0 | 9.434 | 0 | 0 | 0 | 26.4151 | 0 | 0 | 39.6226 | 0 | 0 | 100
Where school children in the Schools Catchment area are going to (from Spring Census 2014)
DCSF No. | School |  | Ashperton | Bredenbury | Brockhampton | St Peter's, Bromyard | Hampton Dene | Marlbrook | Lugwardine | Marden | Sutton | Withington | Bosbury C E | Burley Gate C E | Colwall C E | Mordiford C E | St Michael's C E, Bodenham | Cradley C E | St Francis Xaviers RC | Pencombe C E | Grand Total
2011 | Bredenbury | Number | 0 | 19 | 5 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 29
2011 | Bredenbury | % | 0 | 65.5172 | 17.2414 | 0 | 0 | 0 | 0 | 3.4483 | 0 | 0 | 6.8966 | 0 | 0 | 0 | 0 | 0 | 0 | 6.8966 | 100
2014 | Brockhampton | Number | 0 | 1 | 47 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 2 | 0 | 1 | 60
2014 | Brockhampton | % | 0 | 1.6667 | 78.3333 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 3.3333 | 0 | 1.6667 | 100
2024 | St Peter's, Bromyard | Number | 3 | 18 | 76 | 174 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 2 | 8 | 287
2024 | St Peter's, Bromyard | % | 1.0453 | 6.2718 | 26.4808 | 60.6272 | 0 | 0.34843 | 0 | 0 | 0 | 0 | 0 | 1.7422 | 0 | 0 | 0 | 0 | 0.69686 | 2.7875 | 100
3010 | Burley Gate C E | Number | 6 | 0 | 2 | 4 | 1 | 0 | 2 | 0 | 2 | 4 | 22 | 64 | 1 | 2 | 6 | 4 | 1 | 14 | 135
3010 | Burley Gate C E | % | 4.4444 | 0 | 1.4815 | 2.963 | 0.74074 | 0 | 1.4815 | 0 | 1.4815 | 2.963 | 16.2963 | 47.4074 | 0.74074 | 1.4815 | 4.4444 | 2.963 | 0.74074 | 10.3704 | 100
3367 | Pencombe C E | Number | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21 | 23
3367 | Pencombe C E | % | 0 | 0 | 8.6957 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 91.3043 | 100

## Disability access
Physical Accessibility Rating | 2
Information from https://www.herefordshire.gov.uk/education-and-learning/schools/directory
Ratings and descriptions
Rating | Details | Description
3 | Fully accessible | Will meet the needs of all disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling); Has a full hygiene room and special educational needs or therapy room for pupils who need more assistance with personal care (including hoisting) and regular physio or other treatment
2 | Mainly accessible | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
1 | Partly accessible | Some standards met but some areas not accessible
0 | Inaccessible | No level access into building and/or no disabled toilet
Summary of physical accessibility standards
Level access into building(s): Main and pupil entrance(s) level, with ramps and hand rails as required
Level access to all curriculum and social areas (not necessarily entire building/site): including assembly hall, canteen (may be achieved by sensitive organisation and timetabling)
Access to upper floors: if required - lift(s) as alternative to steps or stairs
Toilet facilities: small disabled toilet(s) as specified by building regulations - suitable for most disabled pupils. A small number of pupils will require enhanced facilities (hygiene room) to provide greater assistance, including hoisting.
Medical, therapy or SEN room: multi-purpose or flexible use - usually required in addition to a hygiene room, for regular physio and other physical programmes
Emergency evacuation: routes should be level and unobstructed. Evacuation must be documented (using Personal Emergency Evacuation Plans - PEEPs) and practised regularly