## Cover Page
Cradley CE Primary School
Summary Report
Contents
|  | Section | Page | No. of pages
Cradley CE Primary School |  | Summary Data | 3 | 1
Summary Report |  | General Information and Asset Summary | 4 | 1
|  | Maintenance and Condition Summary | 5 | 2
|  | Education Funding Agency Condition Survey Data | 7 | 1
Schools Capital Investment Strategy |  | Suitability and Compliance Summary | 8 | 2
|  | School Occupancy Summary | 10 | 1
|  | School Statistics | 11 | 1
|  | Environmental Sustainability Condition | 12 | 1
|  | Parental Preference | 13 | 1
|  | Distribution of Children Attending School or Resident in its Catchmnet Area | 14 | 1
|  | Distribution of Children Attending School or Where it is the Nearest School | 15 | 1
|  | Key Services Within 2 Mile Radius of School | 16 | 1
|  | Key Services Adjacent to School | 17 | 1
|  | Disability Access | 18 | 1
Children's Wellbeing
Herefordshire Council
Plough Lane Offices
Plough Lane
HEREFORD
HR4 0LE

## Summary Info
Cradley CE Primary School
Summary Report
Summary of Headline Information
Asset Summary | [5 empty] | Occupancy Summary
Gross Site Area (M2)(whole site including building):- |  | 20637.84 |  |  |  | Current Capacity (PAN 20):- |  |  |  | 140
Insurance Asset Value (£000):- |  | 1315838.1069 |  |  |  | Allocated Capacity Size (PAN 20):- |  |  |  | 140
Land Asset Value (£000):- |  | 56754 |  |  |  | Current Occupancy:- |  |  |  | 108
Land Ownership:- | Field council owned, buildings school owned |  |  |  |  | Current Planned Admission No.:- |  |  |  | 20
[6 empty] | Current Number Over Capacity:- |  |  |  | 0
[6 empty] | Current Number Under Capacity:- |  |  |  | 32
Maintenance Expenditure Required on the School over a 5 Year Period Summary
Survey Date:- |  |  |  | 2013-02-12
Backlog Maintenance Total (£000):- | [6 empty] | 3.7891
Total Forecast Expenditure (5 years) (£000):- | [6 empty] | 64.0578
Total Potential Local Authority Forecast Expenditure (£000):- | [6 empty] | 54.3654
Total Potential School Forecast Expenditure (£000):- | [6 empty] | 13.4815
Suitability and Compliance
Required Number of Classrooms:- | [6 empty] | 5 | Required Building Footprint (M2):- |  | 974.92
Actual Number of Classrooms:- | [6 empty] | 4 | Current Building Area (M2):- |  | 812.6464
Percentage of Classrooms that are the Recommended Size:- | [6 empty] | 0 | Area Shortfall (M2):- |  | 162.2736
Compliance Percentage of Recommended Hall Size:- | [6 empty] | 58.6889 | Area Surplus (M2):- |  | 0
Number of Temporary Buildings on Site:- |  |  |  |  | 0 |  |  | Total Percentage Compliance:- |  | 83.3552
Number of Classrooms in Temporary Buildings:- |  |  |  |  | 0
Compliance Percentage of Recommended Reception Toilets:- | [6 empty] | 0 | Required Net Site Area (M2):- |  | 6518.88
Compliance Percentage of Recommended Other Pupil Toilets:- | [6 empty] | 250 | Current Net Site Area (M2):- |  | 19825.1936
Nursery on Site:- | Yes | [6 empty] | Area Shortfall (M2):- |  | 0
[8 empty] | Area Surplus (M2):- |  | 13306.3136
[8 empty] | Total Percentage Compliance:- |  | 304.1196
Disability Access
Rating:- | 2 |  | Details:- |  |  |  | Mainly accessible
Environmental Sustainability Condition
DEC Rating:- |  |  |  |  | No data held
Electric Consumption 2014/Child:- |  |  |  |  | 326.0702
Gas Consumption 2014/Child:- |  |  |  |  | 459.8286
School Statistics
Ofsted Results:- | [8 empty] | Good
Percentage of Children Achieving KS2 Level 4 or Above in Reading, Writing and Maths in 2014:- | [8 empty] | 89
Parental Preference (2014)
Percentage of Parental First Preference Applications:- | [6 empty] | 50
Total Number of Children within Catchment:- | [6 empty] | 113
Total Number of Children at School from Catchment:- | [6 empty] | 87
Percentage of Catchment at School:- | [6 empty] | 76.3158
Percentage of Catchment Going to School:- | [6 empty] | 76.9912

## Report
|  |  | Cradley CE Primary School | [6 empty] | Cradley CE Primary School | [14 empty] | Cradley CE Primary School | [7 empty] | Cradley CE Primary School |  |  |  |  | Cradley CE Primary School |  | Cradley CE Primary School |  |  |  |  | Cradley CE Primary School | [5 empty] | Cradley CE Primary School |  |  | Cradley CE Primary School | [8 empty] | Cradley CE Primary School |  | Cradley CE Primary School |  | Cradley CE Primary School |  | Cradley CE Primary School |  | Cradley CE Primary School |  |  | Cradley CE Primary School
|  |  | Summary Report | [6 empty] | Summary Report | [14 empty] | Summary Report | [7 empty] | Summary Report |  |  |  |  | Summary Report |  | Summary Report |  |  |  |  | Summary Report | [5 empty] | Summary Report |  |  | Summary Report | [8 empty] | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  |  | Summary Report
General Information |  |  |  | Maintenance and Condition Summary | [21 empty] | Education Funding Agency Condition Survey Data | [7 empty] | Suitability and Compliance Summary |  |  |  |  | Suitability and Compliance Summary (continued) |  | School Occupancy Summary |  |  |  |  | School Statistics | [5 empty] | Environmental Sustainability Condition |  |  | Parental Preference | [8 empty] | Distribution of Children Attending School or Resident in its Catchment Area |  | Distribution of Children Attending School or Where it is the Nearest School |  | Key Services Within 2 Mile Radius of School |  | Key Services Adjacent to School |  | Disability Access
Maintenance and Condition Summary (continued)
School Name:- | Cradley CE Primary School |  |  | Survey Date:- | 2013-02-12 |  | Survey Company:- |  | Amey |  | Key Elements and Annual Forecast Maintenance Costs and Responsibilities | [14 empty] | Date of Survey:- |  | Not Available | [5 empty] | Areas | Standard Criteria (M2) (PAN 20) | Schools Compliance (M2) | Compliance Percentage |  |  |  | Current Planned Admission No. (PAN) | Current School Capacity | Maximum PAN | Maximum Capacity Based on PAN |  | Year | KS2 Year on Year Results |  |  |  |  | Electric Consumption 2014/Child:- | 326.0702 |  |  | Parental First Preference Applications | [15 empty] | Physical Accessibility Rating
Head Teacher:- | Mr A Greaves | DFE Number:- | 3315 | Year | Forecast Maintenance Costs (£ 000) | [5 empty] | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows and Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | Number of Occurences Identified Within the Report | [7 empty] | Basic Teaching Space | 310 | 274.22 | 88.4581 |  |  |  | 20 | 140 | 17 | 119 |  |  | School - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | LA - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | All Schools in England - Percentage Achieving Level 4 or Above in Reading, Writing and Maths |  |  | Gas Consumption 2014/Child:- | 459.8286 |  |  | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | [10 empty] | Rating: | 2
Leadership:- | Stand Alone | [24 empty] | Rating (see key below) | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other | Hall and Studio | 180 | 105.64 | 58.6889 | [17 empty] | PAN | 20 | 20 | 20 | 20 | 20 | 20
Address:- | Cradley C E Primary School, Malvern, Worcestershire WR13 5NG | Email:- | admin@cradley.hereford.sch.uk | Backlog | 3.7891 | [5 empty] | £ 000 | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | [8 empty] | Storage | 76 | 56.97 | 74.9605 |  |  |  | Historical Numbers on Roll Data (Spring Census) | [13 empty] | Number | 16 | 7 | 14 | 8 | 14 | 10 | [10 empty] | Details: | Mainly accessible
|  |  |  | 2015 | 7.8802 |  |  | 3.7891 |  |  | Backlog | 0.7688 | 0 | 0.21966 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8006 | 0 | 0 | 0 | C1 | [7 empty] | Staff and Admin | 78 | 47.15 | 60.4487 |  |  |  | Year | Total NOR | Capacity Based on PAN | Shortfall | Surplus | 2012 | 93 | 71 | 75 | [5 empty] | Percentage | 80 | 35 | 70 | 40 | 70 | 50
|  |  |  | 2016 | 13.2344 |  |  | 7.8802 |  |  | 2015 | 0.21966 | 0 | 0.21966 | 0 | 0 | 0 | 0 | 0 | 0 | 3.844 | 3.5969 | 0 | 0 | 0 | C2 | [7 empty] | Learning Resource | 70 | 65.68 | 93.8286 |  |  |  | 2008 / 2009 | 107 | 140 | 0 | 33 | 2013 | 90 | 71 | 75 | [22 empty] | Description: | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
|  |  |  | 2017 | 17.1333 |  |  | 13.2344 |  |  | 2016 | 0.21966 | 0 | 0.21966 | 0 | 0 | 10.9829 | 0.27457 | 0 | 0 | 0 | 1.5376 | 0 | 0 | 0 | D1 | [7 empty] | Supplementary Area | 0 | 0 | - |  |  |  | 2009 / 2010 | 111 | 140 | 0 | 29 | 2014 | 89 | 76 | 79 | [5 empty] | Historical Catchment Analysis (Spring Census)
Telephone No.:- | T: 01886 880315 F: 01886 880913 | School Cluster:- | Ledbury District- John Masefield High School and Sixth Form Centre | 2018 | 25.8098 |  |  | 17.1333 |  |  | 2017 | 0.21966 | 0 | 0.21966 | 0 | 0 | 8.7863 | 0 | 0 | 0 | 6.5897 | 1.3179 | 0 | 0 | 0 | D2 | [7 empty] | Non Net Area | 260.92 | 262.9864 | 100.792 |  |  |  | 2010 / 2011 | 100 | 140 | 0 | 40 | [9 empty] | Catchment Analysis |  |  |  | 2010 | 2011 | 2012 | 2013 | 2014
|  |  |  | 2019 | Not Available |  |  | 25.8098 |  |  | 2018 | 0.21966 | 10.9829 | 0.21966 | 0 | 0 | 0 | 0 | 0 | 0 | 13.1795 | 1.2081 | 0 | 0 | 0 | D3 | [7 empty] | Total Gross Building Area | 974.92 | 812.6464 | 83.3552 |  |  |  | 2011 / 2012 | 102 | 140 | 0 | 38 | KS2 Test Results and Progress (2014) | [11 empty] | Total in Catchment | 101 | 104 | 105 | 116 | 113
[8 empty] | Not Available |  |  | 2019 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | [15 empty] | 2012 / 2013 | 114 | 140 | 0 | 26 | [12 empty] | Number at School from Catchment | 84 | 79 | 81 | 94 | 87
School Type:- | Voluntary Aided | Building Number:- | 8JP6 | Total | 67.8469 | [5 empty] | Totals | 1.6474 | 10.9829 | 1.0983 | 0 | 0 | 19.7692 | 0.27457 | 0 | 0 | 23.6132 | 10.4612 | 0 | 0 | 0 | *Note the information noted above has been extracted from the EFA survey focusing on elements that are C & D rated. Items with an A or B rating have been excluded. The numbers reference the quantity of elements that the survey has picked up within the relevant category | [7 empty] | Total Gross Site Area | 7493.8 | 20637.84 | 275.3989 |  |  |  | 2013 / 2014 | 114 | 140 | 0 | 26 | Pupils eligible for KS2 assessment |  |  |  | 18 | [7 empty] | Percentage at School from Catchment | 75.6757 | 79 | 79.4118 | 82.4561 | 76.3158
Current Capacity:- | 140 | Site Area:- | 20637.84 | [30 empty] | Net Site Area (less the building area) | 6518.88 | 19825.1936 | 304.1196 |  |  |  | Current Occupancy | 108 | 140 | 0 | 32 | Percentage achieving level 3 or below in reading, writing and maths |  |  |  | 0 | [7 empty] | Percentage of Catchment Going to School | 83.1683 | 75.9615 | 77.1429 | 81.0345 | 76.9912
[11 empty] | Total Potential Expenditure - Local Authority (£000) | [6 empty] | 54.3654 | [27 empty] | Percentage achieving level 4 or above in reading, writing and maths |  |  |  | 89
|  |  |  | Key Elements of Forecast Maintenance | [29 empty] | Key Information (based on Building Bulletin 103) | [6 empty] | Current Occupancy Summary (Autumn Census 2014) |  |  |  |  | Percentage achieving level 4B or above in reading and maths and level 4 or above in writing |  |  |  | 89 |  |  |  |  | Catchment and Nearest School Comparison (Autumn Census 2014)
|  |  |  | Categories |  | Totals (£ 000) | [19 empty] | Key | [7 empty] | Required Number of Classrooms |  |  |  | 5 |  |  | Year Group | NOR | Shortfall | Surplus |  | Percentage achieving level 5 or above in reading, writing and maths |  |  |  | 28 | [7 empty] | Catchment vs Nearest School | Catchment | Nearest
|  |  |  | External Grounds |  | 12.6303 |  |  |  |  | Total Potential Expenditure - School (£000) | [6 empty] | 13.4815 | [7 empty] | Condition grade | Definition |  |  |  | Priority rating | Definition |  | Number of Classrooms |  |  |  | 4 |  |  | Reception | 10 | 0 | 10 |  | Percentage making expected progress in reading |  |  |  | 100 | [7 empty] | NOR | 108 | 108
|  |  |  | Roof Works |  | 1.0983 | [27 empty] | Percentage of Classrooms that are the Recommended Size |  |  |  | 0 |  |  | One | 20 | 0 | 0 |  | Percentage making expected progress in writing |  |  |  | 100 | [7 empty] | Total in Area | 96 | 89
|  |  |  | External Walls |  | 19.7692 | [19 empty] | A Good | Performing as intended and operating efficiently |  |  |  | 1 | Immediate or year 1 remedial action required |  | Percentage of Classrooms that are Classed as Small |  |  |  | 100 |  |  | Two | 11 | 0 | 9 |  | Percentage making expected progress in maths |  |  |  | 94 | [7 empty] | Number at School from Area | 76 | 73
|  |  |  | Windows and Doors |  | 0.27457 | [27 empty] | Number of Temporary Buildings on Site |  |  |  | 0 |  |  | Three | 20 | 0 | 0 |  | Average point score |  |  |  | 30.9 | [7 empty] | Percentage at School | 70.3704 | 67.5926
|  |  |  | Internal Works |  | 23.6132 | [19 empty] | B Satisfactory | Performing as intended but exhibiting minor deterioration |  |  |  | 2 | Year 1-2 remedial action required |  | Number of Classrooms in Temporary Buildings |  |  |  | 0 |  |  | Four | 15 | 0 | 5 | [13 empty] | Percentage of area going to School | 79.1667 | 82.0225
Asset Summary |  |  |  | Mechanical and Electrical |  | 10.4612 | [27 empty] | Percentage of Recommended Reception Toilets |  |  |  | 0 |  |  | Five | 20 | 0 | 0 |  | Latest Ofsted Report Date:- |  | 2011-09-15
|  |  |  | Other (e.g. ancillary buildings) |  | 0 | [19 empty] | C Poor | Exhibiting major defects and/or not operating as intended |  |  |  | 3 | Year 3-5 remedial action required |  | Percentage of Recommended Other Pupil Toilets |  |  |  | 250 | Category | Areas Included | Six | 12 | 0 | 8 |  | Ofsted Result:- |  | Good
Asset Value - Insurance (£000):- |  | 1315.8381 | [36 empty] | Basic Teaching Spaces | General Classrooms, ICT Rooms, Practical Areas | Total | 108 | 0 | 32
Asset Value - Land (£000):- |  | 56.754 | [23 empty] | D Bad | Life-expired and/or at serious risk of imminent failure | [11 empty] | Hall and Studio | Halls, Dining Areas
[39 empty] | Storage | Coats and Bags, Teaching, Specialist, PE Equipment, Bulk Stock, Cleaning, Caretakers and Maintenance, Tables and Chairs, Staging, Mobility Equipment
Land Owner:- |  | Field council owned, buildings school owned
[39 empty] | Staff and Admin | Heads and Staff Offices, Staff Room, Staff PPA,Reprographics Room, Sick Bay, Interview and Meeting Rooms, Secure Entrance
Lease Agreement / Notes:- |  | Not Known | [36 empty] | Learning Resource | Library, Small Group Rooms, SENCO Office, Medical Inspection Room
Nursery Provision:- |  | PVI Nursery in building | [36 empty] | Supplementary Area | Any other specialist area at the school e.g. Music Classroom, Swimming Pool, SEN Classrooms
[39 empty] | Non Net Area | Pupil and Staff Toilets, Accessible Toilets, Hygiene Room, Kitchen, Corridors, Server Room, Boilers
[39 empty] | Additional Area | Nursery provision

## Feedback
|  | Cradley CE Primary School |  |  | Cradley CE Primary School |  |  | Cradley CE Primary School
|  | Feedback Form |  |  | Feedback Form |  |  | Feedback Form
General Information and Asset Summary |  |  | School Occupancy Summary |  |  | Parental Preference
Do you believe the data to be accurate? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Maintenance and Condition Summary |  |  | School Statistics |  |  | Disability Access
Do you believe the data to be a fair reflection of the maintenance and condition of the school? | [5 empty] | Do you believe the data to be a fair reflection of the environmental condition of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Suitability and Compliance Summary |  |  | Environmental Sustainability Condition |  |  | Any Other Comments
Do you believe the data to be a fair reflection of the suitability and compliance issues faced by the school? | [5 empty] | Additional comments about the information provided:
Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments:
If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920
Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015

## Asset summary
Building ref number:- | 8JP6
Site Area:- | 20637.84
Asset Value (Insurance):- | 1315838.1069
Asset Value (Land):- | 56754
Land owner:- | Field council owned, buildings school owned
Lease agreement / notes:- | Not Known
DEC rating:- | No data held
Electric consumption 2014/child:- | 326.0702
Gas consumption 2014/child:- | 459.8286

## Maintenance
Maintenance & Condition Summary | [5 empty] | BCIS Quarter | 1Q2013 | [11 empty] | Check | Main year totals | Summary year totals | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows & Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | BCIS quarter | BCIS uplift
Year survey undertaken |  | 2013-02-12 |  |  |  | BCIS Uplift | 1.0983 | [15 empty] | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | 1Q2009 | 1.1525
Survey company:- |  | Amey | [17 empty] | 3789.1026 | 3789.1026 | Backlog | 768.8034 | 0 | 219.6581 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2800.641 | 0 | 0 | 0 | 2Q2009 | 1.1898
[20 empty] | 7880.235 | 7880.235 | 2015 | 219.6581 | 0 | 219.6581 | 0 | 0 | 0 | 0 | 0 | 0 | 3844.0171 | 3596.9017 | 0 | 0 | 0 | 3Q2009 | 1.1898
[20 empty] | 13234.4017 | 13234.4017 | 2016 | 219.6581 | 0 | 219.6581 | 0 | 0 | 10982.906 | 274.5726 | 0 | 0 | 0 | 1537.6068 | 0 | 0 | 0 | 4Q2009 | 1.2123
[6 empty] | Year covered? | Y | Y | Y | Y | Y | N | School Costs | [6 empty] | 17133.3333 | 17133.3333 | 2017 | 219.6581 | 0 | 219.6581 | 0 | 0 | 8786.3248 | 0 | 0 | 0 | 6589.7436 | 1317.9487 | 0 | 0 | 0 | 1Q2010 | 1.2297
Category | Ref | Element | Recommended Works |  |  | Estimated Work Cost | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 |  | 25809.8291 | 25809.8291 | 2018 | 219.6581 | 10982.906 | 219.6581 | 0 | 0 | 0 | 0 | 0 | 0 | 13179.4872 | 1208.1197 | 0 | 0 | 0 | 2Q2010 | 1.1789
[20 empty] | 0 | 0 | 2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3Q2010 | 1.1735
| 2.O | EXTERNAL GROUNDS | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2010 | 1.1682
g | 2.0.2 | OTHER SURFACES | Paved areas court yard areas used for hard play some are loose and required re bedding to prevent a tripping hazard. | KD | 3 | 250 | 250 | [5 empty] | 250 | 0 | 0 | 0 | 0 | 0 |  |  |  | Individual Category totals | 1647.4359 | 10982.906 | 1098.2906 | 0 | 0 | 19769.2308 | 274.5726 | 0 | 0 | 23613.2479 | 10461.2179 | 0 | 0 | 0 | 1Q2011 | 1.1735
g | 2.0.4 | PLAY EQUIPMENT | Climbing frames, play equipment, seating etc in a satisfactory condition. ROSPA annual inspaction to be carried out. | KB | 2 | 1000 | 200 | 200 | 200 | 200 | 200 |  | 200 | 200 | 200 | 200 | 200 | 0 | [18 empty] | 2Q2011 | 1.1525
g | 2.0.5 | PATHS | Pedestrian paths are predominately of concrete paviours, some are loose and required re bedding to prevent a tripping hazard. | KD | 3 | 250 | 250 | [5 empty] | 250 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Summary category totals | Main category totals | Check | [11 empty] | 3Q2011 | 1.1682
g | 2.0.9 | STEPS & RAMPS | Two sets of 13No concrete steps with metal handrails, one at each end of the school leading down to the playing field below. Would benefit by a central 1.5Mtr width additional set of steps or preferably a ramped path. | AF | 3 | 10000 | 0 |  |  |  | 10000 |  | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2011 | 1.1525
| 2.1 | ROOF & FEATURES | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | External Grounds |  | 12630.3419 | 12630.3419 | [12 empty] | 1Q2012 | 1.1953
r | 2.1.6 | GUTTERS & DOWN PIPES | Down pipes and gutters are Galvanised and in good condition. Will require annual cleaning of all rain water goods. | AE | 3 | 1000 | 200 | 200 | 200 | 200 | 200 |  | 200 | 200 | 200 | 200 | 200 | 0 |  |  | Roof Works |  | 1098.2906 | 1098.2906 | [12 empty] | 2Q2012 | 1.1174
| 2.2 | EXTERNAL ELEVATIONS | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | External Walls |  | 19769.2308 | 19769.2308 | [12 empty] | 3Q2012 | 1.1525
e | 2.2.2 | WALLS RENDERED | The external walls of the school Hall is rendered and painted. There is some damage to the bottom rendered edge and many shrinkage cracks with some hollow areas in the rendering. Requires hacking off and re applying a render using a suitable mix. | DA | 3 | 8000 | 0 |  |  | 8000 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Windows & Doors |  | 274.5726 | 274.5726 | [12 empty] | 4Q2012 | 1.1473
w | 2.2.3 | WINDOWS TIMBER | Windows are predominately constructed in timber with double glazing. In reasonable condition but some of the joints have shrunk with gaps that require sealing and subsequent redecorations | DC | 2 | 250 | 0 |  | 250 |  |  |  | 0 | 0 | 250 | 0 | 0 | 0 |  |  | Internal Works |  | 23613.2479 | 23613.2479 | [12 empty] | 1Q2013 | 1.0983
e | 2.2.6 | DECORATIONS | All previously decorated surfaces require redecorating within 3 years. | IA | 2 | 10000 | 0 |  | 10000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Mechanical & Electrical |  | 10461.2179 | 10461.2179 | CHECK | Accepted OK KK 09/03/2015 | [10 empty] | 2Q2013 | 1.089
| 2.3 | INTERNAL | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Other |  | 0 | 0 | [12 empty] | 3Q2013 | 1.0983
i | 2.3.3 | WALLS SOLID | Solid plastered walls, curved walls to corridor area. This new building is suffering from extensive shrinkage cracks particularly to the wall and ceiling junctions but there are also isolated cracks to the lowed walls in some classrooms See photos. Most of these shrinkage cracks can be dealt with during the next decoration cycle but others require monitoring with subsequent plaster removal and repairs. | EA | 2 | 3500 | 0 | 3500 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2013 | 1.0798
i | 2.3.9 | FLOOR COVERING CARPETS | Classrooms partly covered in carpet with Vinyl to other parts including the Hall, communal areas and offices also covered in carpet. Some damaged and staining to classrooms and communal areas. See photos. Allow for some renewal costs within next 5 years. | BA | 3 | 6000 | 0 |  |  | 6000 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Total |  | 67846.9017 | 67846.9017 | [12 empty] | 1Q2014 | 1.0447
i | 2.3.10 | DECORATIONS | Recommend that all previously decorated surfaces be re decorated within 5 Years in stages after repairs to cracks | IB | 3 | 12000 | 0 |  |  |  | 12000 |  | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2014 | 1.0198
m | 3.3.1 | Ventilation - 8JP6 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 3Q2014 | 1.028
m | 3.3.1.a | Boys WC - Extaract Fan | The unit is in good woarking order and should be for the next few years, however an allowance should be made for mainantence over the next few years. | GE | 3 | 100 | 0 |  |  |  | 100 |  | 0 | 0 | 0 | 0 | 100 | 0 | [18 empty] | 4Q2014 | 1.0078
m | 3.3.1.b | Girls WC - Extract Fan | The unit is in good woarking order and should be for the next few years, however an allowance should be made for mainantence over the next few years. | GE | 3 | 100 | 0 |  |  |  | 100 |  | 0 | 0 | 0 | 0 | 100 | 0 | [18 empty] | 1Q2015 | 1
m | 3.3.1.c | Ladies WC - Extract Fan | The unit is in good woarking order and should be for the next few years, however an allowance should be made for mainantence over the next few years. | GE | 3 | 100 | 0 |  |  |  | 100 |  | 0 | 0 | 0 | 0 | 100 | 0
m | 3.3.1.d | Mens WC - Extract Fan | The unit is in good woarking order and should be for the next few years, however an allowance should be made for mainantence over the next few years. | GE | 3 | 100 | 0 |  |  |  | 100 |  | 0 | 0 | 0 | 0 | 100 | 0
m | 3.3.1.e | Medical room WC - Extract Fan | The unit is in good woarking order and should be for the next few years, however an allowance should be made for mainantence over the next few years. | GE | 3 | 100 | 0 |  |  |  | 100 |  | 0 | 0 | 0 | 0 | 100 | 0
m | 3.3.1.f | Disabled WC - Extract Fan | The unit is in good woarking order and should be for the next few years, however an allowance should be made for mainantence over the next few years. | GE | 3 | 100 | 0 | 100 |  |  |  |  | 0 | 100 | 0 | 0 | 0 | 0
m | 3.3.1.g | Cookery - Cooker Hood Extract | The unit is in good woarking order and should be for the next few years, however an allowance should be made for mainantence over the next few years. | GE | 3 | 100 | 0 |  | 100 |  |  |  | 0 | 0 | 100 | 0 | 0 | 0
m | 3.3.1.i | Sports Hall - Natural Ventilation System | 1 of the 4 opening needs further investigation/repair, as flaps sticking when opening and other chimney requires further investigation/ repair. | GE | 2 | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
m | 3.3.1.j | Boys & Girls WC - Extract Fan | The unit is in good woarking order and should be for the next few years, however an allowance should be made for mainantence over the next few years. | GE | 3 | 100 | 0 |  |  |  | 100 |  | 0 | 0 | 0 | 0 | 100 | 0
m | 3.3.1.k | Outside roof - Natural Ventilation | The wind catchers are in good condition, however 1 no. requires cleaning. | GE | 3 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
[13 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.3.2 | Heating - 8JP6 |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.3.2.b | Classroom - Heating Manifold | The unit is in good woarking order and should be for the next few years, however an allowance should be made for mainantence over the next few years. | GB | 3 | 600 | 0 | 300 |  | 300 |  |  | 0 | 300 | 0 | 300 | 0 | 0
m | 3.3.2.c | Office - Heating Manifold | The unit is in good woarking order and should be for the next few years, however an allowance should be made for mainantence over the next few years. | GB | 3 | 600 | 0 | 300 |  | 300 |  |  | 0 | 300 | 0 | 300 | 0 | 0
m | 3.3.2.d | Staff room - Heating | The unit is in good woarking order and should be for the next few years, however an allowance should be made for mainantence/painting over the next few years. | GB | 3 | 100 | 0 | 100 |  |  | 100 |  | 0 | 100 | 0 | 0 | 100 | 0
m | 3.3.2.e | Computer room - Heating manifold | The unit is in good woarking order and should be for the next few years, however an allowance should be made for mainantence over the next few years. | GB | 3 | 600 | 0 | 300 |  | 300 |  |  | 0 | 300 | 0 | 300 | 0 | 0
m | 3.3.3 | Domestic Water & Drainage - 8JP6 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.3.3.a | Girls WC - Hot Water Heater | Unit is not working and and requires further investigation/repair. | GD | 1 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
m | 3.3.3.b | Classroom 21 - Hot Water Heater | The unit is in good woarking order and should be for the next few years, however an allowance should be made for mainantence over the next few years. | GD | 3 | 200 | 0 |  | 200 |  |  |  | 0 | 0 | 200 | 0 | 0 | 0
m | 3.3.3.c | Staffroom - Hot Water Heater | The unit is in good woarking order and should be for the next few years, however an allowance should be made for mainantence over the next few years. | GD | 3 | 300 | 0 |  | 300 |  |  |  | 0 | 0 | 300 | 0 | 0 | 0
m | 3.3.3.d | Medical room - Hot Water Heater | The unit is not working and requires further investigation/repairing. | GD | 2 | 300 | 0 |  | 300 |  |  |  | 0 | 0 | 300 | 0 | 0 | 0
m | 3.3.3.e | Disabled WC - Hot Water Heater | The unit is not working and requires further investigation/repairing. | GD | 2 | 300 | 0 | 300 |  |  |  |  | 0 | 300 | 0 | 0 | 0 | 0
m | 3.3.3.f | Coorkery - Hot Water Heater | The unit is in good woarking order and should be for the next few years, however an allowance should be made for mainantence over the next few years. | GD | 2 | 200 | 0 |  | 100 |  |  |  | 0 | 0 | 100 | 0 | 0 | 0
m | 3.3.3.g | Boys & Girls WC - Hot Water Heater | The unit is not working and requires further investigation/repairing. | GD | 2 | 300 | 300 | [5 empty] | 300 | 0 | 0 | 0 | 0 | 0
m | 3.3.4 | HVAC Plant - 8JP6 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.3.4.a | Plantroom - Boilers | Boilers are generally in good condition and should be servicable for the next few years, however one of the boiler was showing a fault condition, further investigatiion required. | GA | 2 | 300 | 300 | [5 empty] | 300 | 0 | 0 | 0 | 0 | 0
m | 3.3.4.c | Plantroom - Pressurisation unit | The pressure unit is in good woarking order and should be for the next few years, however an allowance should be made for mainantence over the next few years. | GI | 3 | 400 | 0 | 200 |  |  | 200 |  | 0 | 200 | 0 | 0 | 200 | 0
m | 3.3.4.d | Plantroom - LTHW Pumps | The pumps are in good woarking order and should be for the next few years, however an allowance should be made for mainantence over the next few years. | GB | 3 | 400 | 0 | 200 |  |  | 200 |  | 0 | 200 | 0 | 0 | 200 | 0
m | 3.3.4.e | Plantroom - HWS | The HWS vessel is in good woarking order and should be for the next few years, however an allowance should be made for mainantence over the next few years. | GI | 3 | 200 | 0 |  | 200 |  |  |  | 0 | 0 | 200 | 0 | 0 | 0
m | 3.3.5 | Air Conditioning - 8JP6 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.3.5.a | Computer Room - Air conditioning | The indoor fan coil unit & outdoor condenser are in good woarking order and should be for the next few years, however an allowance should be made for mainantence over the next few years. | GF | 3 | 600 | 0 | 300 |  | 300 |  |  | 0 | 300 | 0 | 300 | 0 | 0
m | 3.2.2.A | LIGHTING | Replace circular 2D luminaire within WC, lobby, , diffusers blackening and some not working. | HC | 3 | 1850 | 1050 | 800 |  |  |  |  | 1050 | 800 | 0 | 0 | 0 | 0
m | 3.2.2.D | STAGE LIGHTING | General tidy up of cables needed. | HK | 4 | 200 | 0 |  | 200 |  |  |  | 0 | 0 | 200 | 0 | 0 | 0
m | 3.2.4.B | WHITE SURFACE MOUNTED CONDUIT | conduit in some places missing lids and generally installed badly needs replacing. | HB | 3 | 375 | 0 | 375 |  |  |  |  | 0 | 375 | 0 | 0 | 0 | 0

## EFA Property
|  |  | EFA survey data | [6 empty] | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other
DFE | School | School Type | Date received | Condition rating C or D | Priority rating 1 or 2 | Element | Category | CCP rating
[9 empty] | C1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | C2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D3 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Suitability and Compliance
Space |  |  | BB103 suggested sizes |  |  | Cradley CE Primary School
[6 empty] | Suitability Data | [16 empty] | Compliance Comparison |  |  | 2/THIRD | Form of entry | PAN | 20
Basic Teaching Spaces |  |  | No. of spaces | m2 | Total m2 | Plan ref | Space | [15 empty] | Total area | Shortfall | Surplus | 2012 | Date of last assessment
|  | Classroom - Year R | 1 | 62 | 62 | 22, 22a | General classroom | 54.01 | 1.3 | [13 empty] | 55.31 | 6.69 | 0
|  | Classroom - Year 1 | 1 | 62 | 62 | 27, 27a | General classroom | 51.5 | 1.3 | [13 empty] | 52.8 | 9.2 | 0 | 0 | No. Temp Buildings on Site
|  | Classroom - Year 2 | 0 | 62 | 0 | [17 empty] | 0 | 0 | 0 | 0 | No. of Classrooms in Temporary Buildings
|  | Classroom - Year 3 | 1 | 62 | 62 | 29, 29a | General classroom | 53.16 | 1.3 | [13 empty] | 54.46 | 7.54 | 0 | 4 | No. of Classrooms
|  | Classroom - Year 4 | 0 | 62 | 0 | [17 empty] | 0 | 0 | 0 | 5 | Required No. of Classroooms
|  | Classroom - Year 5 | 1 | 62 | 62 | 32, 32a | General classroom | 52.73 | 1.32 | [13 empty] | 54.05 | 7.95 | 0
|  | Classroom - Year 6 | 1 | 62 | 62 | [17 empty] | 0 | 62 | 0 | ** Moved Nursery into one classroom in 2012, would like to create new classroom rather than reduce numbers
|  | Practical area / food bay | 0 | 0 | 0 | 19, 31, 31a, 26, 26a | Practical area x 3 | 5.68 | 17.73 | 12.04 | 5.65 | 4.35 | 12.15 | [9 empty] | 57.6 | 0 | 57.6 | 0% | of classrooms are the recommended size
|  | ICT base | 0 | 0 | 0 | [17 empty] | 0 | 0 | 0 | 100% | of classrooms are small
[5 empty] | 310 | [17 empty] | 274.22 | 93.38 | 57.6 | 88.46% | of the recommended basic teaching space required
[25 empty] | 216.62 | 69.88% | of the recommended basic teaching space required ignoring surplus
Halls and Studios | [25 empty] | 30.12% | shortfall in basic teaching space
| 1 | Main hall | 1 | 180 | 180 | 45, 45a, 45b | Hall | 85.34 | 20.3 | inc | [12 empty] | 105.64 | 74.36 | 0
[5 empty] | 180 | [17 empty] | 105.64 | 74.36 | 0 | 58.69% | of the recommended hall size
Storage | [25 empty] | 41.31% | shortfall in hall size
| 1 | Coat and bag storage - Year R | 1 | 3 | 3 | [17 empty] | 0 | 3 | 0
| 2 | Coat and bag storage - Year 1 | 1 | 3 | 3 | [17 empty] | 0 | 3 | 0
| 3 | Coat and bag storage - Year 2 | 0 | 3 | 0 | [17 empty] | 0 | 0 | 0
| 4 | Coat and bag storage - Year 3 | 1 | 3 | 3 | [17 empty] | 0 | 3 | 0
| 5 | Coat and bag storage - Year 4 | 0 | 3 | 0 | [17 empty] | 0 | 0 | 0
| 6 | Coat and bag storage - Year 5 | 1 | 3 | 3 | [17 empty] | 0 | 3 | 0
| 7 | Coat and bag storage - Year 6 | 1 | 3 | 3 | [17 empty] | 0 | 3 | 0
| 8 | Teaching storage - Year R | 1 | 2 | 2 | 23 | Store room | 2.26 | [14 empty] | 2.26 | 0 | 0.26
| 9 | Teaching storage - Year 1 | 1 | 2 | 2 | 28 | Store room | 2.28 | [14 empty] | 2.28 | 0 | 0.28
| 10 | Teaching storage - Year 2 | 0 | 2 | 0 | [17 empty] | 0 | 0 | 0
| 11 | Teaching storage - Year 3 | 1 | 2 | 2 | 30 | Store room | 2.39 | [14 empty] | 2.39 | 0 | 0.39
| 12 | Teaching storage - Year 4 | 0 | 2 | 0 | [17 empty] | 0 | 0 | 0
| 13 | Teaching storage - Year 5 | 1 | 2 | 2 | 33 | Store room | 2.26 | [14 empty] | 2.26 | 0 | 0.26
| 14 | Teaching storage - Year 6 | 1 | 2 | 2 | [17 empty] | 0 | 2 | 0
| 15 | Specialist walk in stores | 2 | 5 | 10 | UN1, UN5 | Store room | 10 | 10 | [13 empty] | 20 | 0 | 10
| 18 | Indoor PE equipment storage | 1 | 18 | 18 | 41a | Store room additional area | 16.2 | [14 empty] | 16.2 | 1.8 | 0
| 19 | Outdoor PE equipment storage | 0 | 0 | 0 | [17 empty] | 0 | 0 | 0
|  | Bulk stock store | 1 | 4 | 4 | [17 empty] | 0 | 4 | 0
| 21 | Caretakers and maintenance store | 1 | 4 | 4 | [17 empty] | 0 | 4 | 0
| 22 | Cleaning store | 1 | 3 | 3 | 13 | Cleaners store room | 2.9 | [14 empty] | 2.9 | 0.1 | 0
| 23 | Table and chair store | 1 | 6 | 6 | 41, 41b | Store room | 3.69 | 1.98 | [13 empty] | 5.67 | 0.33 | 0
| 25 | Staging/ appliance store | 1 | 4 | 4 | 44 | Store room | 3.01 | [14 empty] | 3.01 | 0.99 | 0
|  | Mobility equipment store | 1 | 2 | 2 | [17 empty] | 0 | 2 | 0
| 24 | Store for community | 0 | 0 | 0 | [17 empty] | 0 | 0 | 0
[5 empty] | 76 | [17 empty] | 56.97 | 30.22 | 11.19 | 74.96% | of the recommended storage space required
Staff and admin | [25 empty] | 39.76% | shortfall
| 1 | Heads office | 1 | 12 | 12 | 8 | Heads office | 10.42 | [14 empty] | 10.42 | 1.58 | 0
| 3 | Staff room work and social | 1 | 25 | 25 | 9, 9a, 9b | Staffroom | 12 | 5.32 | 2.25 | [12 empty] | 19.57 | 5.43 | 0
|  | Staff PPA | 1 | 10 | 10 | [17 empty] | 0 | 10 | 0
| 4 | Senior management office | 0 | 10 | 0 | [17 empty] | 0 | 0 | 0
| 7 | General office (reception) | 1 | 8 | 8 | 7, 7a, 7b | Reception (office) | 9.5 | 0.53 | 1.92 | [12 empty] | 11.95 | 0 | 3.95
| 8 | Secure reception | 1 | 4 | 4 | 1, 1a | Entrance | 4.17 | 1.04 | [13 empty] | 5.21 | 0 | 1.21
| 9 | Reprographics room | 1 | 8 | 8 | [17 empty] | 0 | 8 | 0
| 10 | Meeting room | in head | 0 | 0 | [17 empty] | 0 | 0 | 0
| 11 | Sick bay | 1 | 3 | 3 | [17 empty] | 0 | 3 | 0
| 13 | Interview room | 1 | 8 | 8 | [17 empty] | 0 | 8 | 0
[5 empty] | 78 | [17 empty] | 47.15 | 36.01 | 5.16 | 60.45% | of the recommended staff and admin space required
Learning resource area | [25 empty] | 46.17% | shortfall
| 1 | Library (learning resource centre) | 1 | 24 | 24 | UN4 | Library | 10 | [14 empty] | 10 | 14 | 0
| 3 | Small group room | 2 | 11 | 22 | 24, UNA | Small group room x 2 | 29.55 | 21.12 | [13 empty] | 50.67 | 0 | 28.67
| 5 | SENco office (SEN resource) | 1 | 12 | 12 | [17 empty] | 0 | 12 | 0
| 2 | Medical inspection room/ Therapy room | 1 | 12 | 12 | 6 | MI room | 5.01 | [14 empty] | 5.01 | 6.99 | 0
[5 empty] | 70 | [17 empty] | 65.68 | 32.99 | 28.67 | 93.83% | of the recommended learning resource areas
Supplementary area | [25 empty] | 47.13% | shortfall
| 1 |  | 0 | 0 | 0 | [17 empty] | 0 | 0 | 0
|  |  | 0 | 0 | 0 | [17 empty] | 0 | 0 | 0
[5 empty] | 0 | [17 empty] | 0 | 0 | 0 | - | of the recommended supplementary areas
Non net areas | [25 empty] | - | shortfall
| 1 | Reception toilets | 3 | 2 | 6 | [17 empty] | 0 | 6 | 0 | 0 | Number of reception toilets
| 1 | Pupils toilets | 6 | 2 | 12 | 14,17, 36, 36a, 37, 37a | Pupil wc's (9 wc's 6 urinals) | 11.26 | 7.87 | 8.06 | 1.83 | 11.4 | 2.11 | [9 empty] | 42.53 | 0 | 30.53 | 15 | Number of other pupil toilets
| 2 | Staff toilets | 2 | 2 | 4 | 10,11 | Staff wc's (2 wc's) | 1.82 | 2.74 | [13 empty] | 4.56 | 0 | 0.56 | 0% | % of recommended reception toilets
| 3 | Accessible toilet | 1 | 3 | 3 | 42 | Disabled w.c. | 3.44 | [14 empty] | 3.44 | 0 | 0.44 | 250% | % of recommended other pupil toilets
| 9 | Hygiene room | 1 | 12 | 12 | [17 empty] | 0 | 12 | 0
| 4 | Kitchen facilities (servery) | 1 | 24 | 24 | 43 | Servery/Food technology area | 20.91 | [14 empty] | 20.91 | 3.09 | 0
| 5 | Corridors | - | 22.5% | 160.65 | 3,4,5,5a,12,18,18a,25,25a,25b,25c,34,35,40, 2 |  | 16.66 | 38.9 | 5.9 | 2.49 | 3.14 | 2.87 | 0.52 | 27.49 | 13.92 | 4.76 | 15.73 | 4.66 | 3.4 | 8.1 | 1.73 | 150.27 | 10.38 | 0
| 6 | Boiler room | 1 | 1.5% | 10.71 | 39, 39a, 38, 38a | Boiler room | 6.58 | 4 | 4.71 | 4 | [11 empty] | 19.29 | 0 | 8.58
| 7 | Server | in boiler | [19 empty] | 0 | 0 | 0
|  | Walls | - | 4% | 28.56 |  |  | 21.9864 | [14 empty] | 21.9864 | 6.5736 | 0
[5 empty] | 260.92 | [17 empty] | 262.9864 | 38.0436 | 40.11 | 100.8% | of the recommended non net area
Additional area | [25 empty] | 14.58% | shortfall
|  | Nursery class | 1 | 62 | 62 | 20, 20a | Nursery Classroom | 9.78 | 51.44 | [13 empty] | 61.22 | 0.78 | 0
|  | Quiet room | 1 | 8 | 8 | [17 empty] | 0 | 8 | 0
|  | Nursery store room | 1 | 2 | 2 | 21 | Store room | 2.82 | [14 empty] | 2.82 | 0 | 0.82
|  | Nursery office | 1 | 8 | 8 | [17 empty] | 0 | 8 | 0
|  | Nursery cloakroom | 1 | 3 | 3 | [17 empty] | 0 | 3 | 0
|  | Nursery pupils toilets | 3 | 2 | 6 | [17 empty] | 0 | 6 | 0
|  | Nursery staff toilets | 1 | 2 | 2 | [17 empty] | 0 | 2 | 0
|  | Nursery entrance | 1 | 22.5% | 1.8675 | [17 empty] | 0 | 1.8675 | 0
[5 empty] | 92.8675 | [17 empty] | 64.04 | 29.6475 | 0.82 | 68.96% | of the recommended additional area
[26 empty] | 31.92% | shortfall
Total Net area |  |  |  |  | 714 | [17 empty] | 549.66
Total Non-Net area |  |  |  |  | 260.92 | [17 empty] | 262.9864
Gross (total build) area - excluding nursery |  |  |  |  | 974.92 | [17 empty] | 812.6464 |  |  | 83.36% | of the recommended Gross area
Gross (total build) area - including nursery |  |  |  |  | 1067.7875 | [17 empty] | 876.6864
Net Area Range |  |  |  |  | 924.0-1030.0
Mid Range |  |  |  |  | 977
Total Site Area Range |  |  |  |  | 6660.0-8327.5
Mid Range |  |  |  |  | 7493.8
2
3
4

## Occupancy
Sufficiency Data
Planned Admission Number | Current Capacity | Maximum PAN | Capacity based on max PAN
20 | 140 | 17 | 119
NOR Spring Census
| 2008 / 2009 | 2009 / 2010 | 2010 / 2011 | 2011 / 2012 | 2012 / 2013 | 2013 / 2014
NOR Jan | 107 | 111 | 100 | 102 | 114 | 114
Maximum Capacity | 140 | 140 | 140 | 140 | 140 | 140
Number of Surplus Places | 33 | 29 | 40 | 38 | 26 | 26
% of surplus places | 23.6 | 20.7 | 28.6 | 27.1 | 18.6 | 18.5714
Current Numbers on Roll (from Autumn Census)
Year group | R | 1 | 2 | 3 | 4 | 5 | 6 | Total
Number | 10 | 20 | 11 | 20 | 15 | 20 | 12 | 108

## School stats
Current Ofsted | Year
Good | 2011-09-15
2014 KS2 Performance Tables last update : (15 Sep 2014)
Year on year comparisons
Percentage achieving Level 4 or above in reading, writing and maths | 2012 | 2013 | 2014
School | 93% | 90% | 89%
LA | 71% | 71% | 76%
England - All Schools | 75% | 75% | 79%
KS2 test results and progress
| All pupils | Low attainers | Middle attainers | High attainers
Pupils eligible for KS2 assessment | 18
Percentage of pupils achieving 3 or below in reading and maths test and writing TA | 0% | SUPP | 0% | SUPP
Percentage of pupils achieving level 4 or above in reading and maths test and writing TA | 89% | SUPP | 100% | SUPP
Percentage of pupils achieved level 4B or above in reading and maths test and level 4 in writing TA | 89% | SUPP | 100% | SUPP
Percentage of pupils achieving level 5 or above in reading and maths test and writing TA | 28% | SUPP | 18% | SUPP
Percentage of pupils making at least 2 levels of progress in reading | 100% | SUPP | 100% | SUPP
Percentage of pupils making at least 2 levels of progress in writing TA | 100% | SUPP | 100% | SUPP
Percentage of pupils making at least 2 levels of progress in maths | 94% | SUPP | 100% | SUPP
Average point score | 30.9
Closing the Gap
| Disadvantaged pupils | Other pupils
Percentage of disadvantaged pupils achieving level 3 or below in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4B or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 5 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in reading | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in maths | SUPP | SUPP
Value Added measures
| Measure | Lower CI | Upper CI | Coverage
Overall value added measure | 100.6 | 99.6 | 101.5 | 100%
Reading value added measure | 101.2 | 100.1 | 102.3 | 100%
Writing TA value added measure | 100.8 | 99.7 | 102 | 100%
Maths value added measure | 100 | 98.7 | 101.3 | 100%
Subject level results
| Reading test | Maths test | Grammar, punctuation and spelling test | Writing TA
Percentage achieving level 3 or below | 0% | 6% | 6% | 0%
Percentage achieving Level 4 or above | 94% | 94% | 94% | 100%
Percentage achieving Level 4b or above | 89% | 89% | 89% | NA
Percentage achieving Level 5 or above | 89% | 61% | 78% | 44%
Pupil Absence last update : (11 Dec 2013)
| School | England - national (primary state-funded)
Overall absence: percentage | 4.1% | 4.8%
Persistent absence: around 15% + | 2.9% | 3.6%
2013-14 Finance last update : (10 Dec 2014)
Contextual information
Number of pupils (FTE) | 114
Percentage of pupils eligible for Free School Meals (FSM) | 6.1%
Free school meals eligibility band | LOW
Spend per pupil data as £ per pupil (in brackets percentage of total income or expenditure)
| School | LA Median | Non-London LAs Median | National Median
Grant funding | 4243 (85%) | 4525 | 4016 | 4325
Self generated income | 762 (15%) | 144 | 142 | 127
Total income | 5006 | 4723 | 4183 | 4479
Teaching staff | SUPP | 2277 | 2045 | 2106
Supply Staff | 64 (1%) | 87 | 118 | 127
Education support staff | SUPP | 689 | 650 | 733
Learning resources (not ICT equipment) | 180 (4%) | 181 | 174 | 184
ICT learning resources | 166 (4%) | 81 | 62 | 66
Bought in professional services - curriculum | 65 (1%) | 88 | 59 | 67
Back office (incl. Staff costs) | 352 (7%) | 406 | 334 | 351
Catering (incl. Staff costs) | 59 (1%) | 35 | 53 | 75
Premises (incl. Staff costs) | 292 (6%) | 259 | 275 | 301
Other staff costs | 266 (6%) | 153 | 133 | 142
Energy | 68 (1%) | 68 | 62 | 65
Other expenditure | 106 (2%) | 94 | 85 | 88
Total expenditure | 4738 | 4562 | 4143 | 4431
Spend per pupil data as £ per pupil : Comparisons over time
| 2010-11 | 2011-12 | 2012-13 | 2013-14
Teaching staff and Education support staff expenditure | 3418 | 3062 | 2901 | SUPP
Supply staff | 44 | 32 | 32 | 64
Back office (incl. Staff costs) | 299 | 345 | 312 | 352
Energy | 77 | 57 | 59 | 68
Total expenditure | 4864 | 4385 | 4242 | 4738
School Workforce last update : (10 Dec 2014)
This data is based upon the November 2013 School Workforce Census
| School | England - national (primary state-funded)
Headcount of all teachers in a school | 7 | 236728
Headcount of all teaching assistants in a school | 8 | 239340
Headcount of all support (exc. auxillary) staff in a school | 3 | 77335
Full-time equivalent number of all teachers in a school | 6 | 207827.7
Full-time equivalent number of all teaching assistants in a school | 4.3 | 154245.3
Full-time equivalent number of all support (exc. auxillary) staff in a school | 1.1 | 51728.3
Ratio of pupils to teachers in a school | 19.1 | 20.5
Average gross salary of all teachers in a school | 35677 | 36559

## Parental Preference
Popularity Data | [10 empty] | Children at School From School Catchment
Parental First Preference Applications | [11 empty] | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  | Catchment vs Nearest School |  |  |  |  | Catchment | Nearest
Year | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  |  | NOR | 111 | 100 | 102 | 114 | 114 |  |  |  | NOR |  |  |  |  | 108 | 108
PAN | 20 | 20 | 20 | 20 | 20 | 20 |  |  |  |  | Number | 84 | 79 | 81 | 94 | 87 |  |  |  | Total in area |  |  |  |  | 96 | 89
No. | 16 | 7 | 14 | 8 | 14 | 10 |  |  |  |  | % | 75.6757 | 79 | 79.4118 | 82.4561 | 76.3158 |  |  |  | Number at School from area |  |  |  |  | 76 | 73
% | 80 | 35 | 70 | 40 | 70 | 50 | [13 empty] | % at School |  |  |  |  | 70.3704 | 67.5926
[11 empty] | Total number in Catchment | [8 empty] | % of area going to School |  |  |  |  | 79.1667 | 82.0225
[12 empty] | 2010 | 2011 | 2012 | 2013 | 2014
[11 empty] | Number | 101 | 104 | 105 | 116 | 113
[11 empty] | % | 100 | 100 | 100 | 100 | 100
Where children at School are coming from (from Spring Census 2014)
DCSF No. | School |  | Ashperton | Bredenbury | Brockhampton | St Peter's, Bromyard | Broadlands | St Martin’s | Kings Caple | Kingstone & Thruxton | Ledbury | Lugwardine | Marden | Ashfield Park | Withington | Bosbury C E | Burley Gate C E | Colwall C E | Eastnor Parochial | Gorsley Goffs Endowed | Holmer C E | Mordiford C E | Brampton Abbotts CE | Cradley C E | St Mary’s C E, Fownhope | Much Marcle C E | St Thomas Cantilupe C E | Out of County | Grand Total
2005 | Ashperton | Number | 82 | 0 | 0 | 3 | 2 | 4 | 0 | 0 | 32 | 2 | 2 | 0 | 16 | 4 | 6 | 0 | 0 | 0 | 0 | 3 | 4 | 1 | 2 | 6 | 1 | 5 | 175
2005 | Ashperton | % | 46.8571 | 0 | 0 | 1.7143 | 1.1429 | 2.2857 | 0 | 0 | 18.2857 | 1.1429 | 1.1429 | 0 | 9.1429 | 2.2857 | 3.4286 | 0 | 0 | 0 | 0 | 1.7143 | 2.2857 | 0.57143 | 1.1429 | 3.4286 | 0.57143 | 2.8571 | 100
2098 | Ledbury | Number | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 392 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 5 | 409
2098 | Ledbury | % | 0.978 | 0 | 0 | 0 | 0 | 0 | 0 | 0.489 | 95.8435 | 0 | 0 | 0 | 0 | 0 | 0 | 0.978 | 0 | 0 | 0.2445 | 0 | 0 | 0 | 0 | 0.2445 | 0 | 1.2225 | 100
3006 | Bosbury C E | Number | 3 | 2 | 3 | 0 | 0 | 0 | 0 | 0 | 34 | 0 | 0 | 0 | 0 | 43 | 22 | 11 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 0 | 5 | 140
3006 | Bosbury C E | % | 2.1429 | 1.4286 | 2.1429 | 0 | 0 | 0 | 0 | 0 | 24.2857 | 0 | 0 | 0 | 0 | 30.7143 | 15.7143 | 7.8571 | 0 | 0 | 0 | 0 | 0 | 12.1429 | 0 | 0 | 0 | 3.5714 | 100
3023 | Colwall C E | Number | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37 | 0 | 0 | 0 | 0 | 1 | 1 | 96 | 2 | 1 | 0 | 0 | 0 | 5 | 0 | 1 | 0 | 41 | 186
3023 | Colwall C E | % | 0.53763 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.8925 | 0 | 0 | 0 | 0 | 0.53763 | 0.53763 | 51.6129 | 1.0753 | 0.53763 | 0 | 0 | 0 | 2.6882 | 0 | 0.53763 | 0 | 22.043 | 100
3037 | Eastnor Parochial | Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 0 | 0 | 0 | 0 | 2 | 0 | 7 | 14 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 5 | 80
3037 | Eastnor Parochial | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 62.5 | 0 | 0 | 0 | 0 | 2.5 | 0 | 8.75 | 17.5 | 0 | 0 | 0 | 0 | 1.25 | 0 | 1.25 | 0 | 6.25 | 100
3315 | Cradley C E | Number | 1 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 3 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 87 | 0 | 1 | 0 | 13 | 114
3315 | Cradley C E | % | 0.87719 | 0 | 1.7544 | 0 | 0 | 0 | 0 | 0 | 2.6316 | 0 | 0 | 0 | 0 | 2.6316 | 3.5088 | 0 | 0 | 0 | 0 | 0 | 0 | 76.3158 | 0 | 0.87719 | 0 | 11.4035 | 100
3363 | Much Marcle C E | Number | 3 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 40 | 0 | 0 | 4 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 27 | 0 | 7 | 89
3363 | Much Marcle C E | % | 3.3708 | 0 | 0 | 0 | 0 | 0 | 4.4944 | 0 | 44.9438 | 0 | 0 | 4.4944 | 0 | 1.1236 | 0 | 0 | 0 | 0 | 0 | 1.1236 | 1.1236 | 0 | 1.1236 | 30.3371 | 0 | 7.8652 | 100
Where school children in the Schools Catchment area are going to (from Spring Census 2014)
DCSF No. | School |  | Ashperton | Bredenbury | Brockhampton | Hampton Dene | St Martin’s | Kings Caple | Ledbury | Lugwardine | Walford | Withington | Bosbury C E | Burley Gate C E | Colwall C E | Eastnor Parochial | Gorsley Goffs Endowed | Holmer C E | Mordiford C E | Cradley C E | St Mary’s C E, Fownhope | St Francis Xaviers RC | St James’ C E, Hereford | St Pauls CE | Much Marcle C E | St Josephs RC | St Thomas Cantilupe C E | Grand Total
2005 | Ashperton | Number | 82 | 0 | 0 | 0 | 0 | 0 | 4 | 2 | 0 | 4 | 3 | 2 | 1 | 0 | 0 | 1 | 5 | 1 | 1 | 1 | 0 | 2 | 3 | 0 | 1 | 113
2005 | Ashperton | % | 72.5664 | 0 | 0 | 0 | 0 | 0 | 3.5398 | 1.7699 | 0 | 3.5398 | 2.6549 | 1.7699 | 0.88496 | 0 | 0 | 0.88496 | 4.4248 | 0.88496 | 0.88496 | 0.88496 | 0 | 1.7699 | 2.6549 | 0 | 0.88496 | 100
2098 | Ledbury | Number | 32 | 0 | 0 | 3 | 1 | 1 | 392 | 4 | 2 | 0 | 34 | 0 | 37 | 50 | 0 | 0 | 0 | 3 | 2 | 2 | 0 | 2 | 40 | 3 | 0 | 608
2098 | Ledbury | % | 5.2632 | 0 | 0 | 0.49342 | 0.16447 | 0.16447 | 64.4737 | 0.65789 | 0.32895 | 0 | 5.5921 | 0 | 6.0855 | 8.2237 | 0 | 0 | 0 | 0.49342 | 0.32895 | 0.32895 | 0 | 0.32895 | 6.5789 | 0.49342 | 0 | 100
3006 | Bosbury C E | Number | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 43 | 0 | 1 | 2 | 0 | 0 | 0 | 3 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 55
3006 | Bosbury C E | % | 7.2727 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 78.1818 | 0 | 1.8182 | 3.6364 | 0 | 0 | 0 | 5.4545 | 0 | 0 | 1.8182 | 0 | 1.8182 | 0 | 0 | 100
3023 | Colwall C E | Number | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 11 | 0 | 96 | 7 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 119
3023 | Colwall C E | % | 0 | 0 | 0 | 0 | 0 | 0 | 3.3613 | 0 | 0 | 0 | 9.2437 | 0 | 80.6723 | 5.8824 | 0 | 0 | 0 | 0 | 0.84034 | 0 | 0 | 0 | 0 | 0 | 0 | 100
3037 | Eastnor Parochial | Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16
3037 | Eastnor Parochial | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.5 | 87.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100
3315 | Cradley C E | Number | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 5 | 1 | 0 | 0 | 0 | 87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 113
3315 | Cradley C E | % | 0.88496 | 0.88496 | 0.88496 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.0442 | 0 | 4.4248 | 0.88496 | 0 | 0 | 0 | 76.9912 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100
3363 | Much Marcle C E | Number | 6 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 4 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 27 | 0 | 0 | 42
3363 | Much Marcle C E | % | 14.2857 | 0 | 0 | 0 | 0 | 0 | 2.381 | 0 | 0 | 0 | 0 | 0 | 2.381 | 2.381 | 9.5238 | 0 | 0 | 2.381 | 2.381 | 0 | 0 | 0 | 64.2857 | 0 | 0 | 100

## Disability access
Physical Accessibility Rating | 2
Information from https://www.herefordshire.gov.uk/education-and-learning/schools/directory
Ratings and descriptions
Rating | Details | Description
3 | Fully accessible | Will meet the needs of all disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling); Has a full hygiene room and special educational needs or therapy room for pupils who need more assistance with personal care (including hoisting) and regular physio or other treatment
2 | Mainly accessible | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
1 | Partly accessible | Some standards met but some areas not accessible
0 | Inaccessible | No level access into building and/or no disabled toilet
Summary of physical accessibility standards
Level access into building(s): Main and pupil entrance(s) level, with ramps and hand rails as required
Level access to all curriculum and social areas (not necessarily entire building/site): including assembly hall, canteen (may be achieved by sensitive organisation and timetabling)
Access to upper floors: if required - lift(s) as alternative to steps or stairs
Toilet facilities: small disabled toilet(s) as specified by building regulations - suitable for most disabled pupils. A small number of pupils will require enhanced facilities (hygiene room) to provide greater assistance, including hoisting.
Medical, therapy or SEN room: multi-purpose or flexible use - usually required in addition to a hygiene room, for regular physio and other physical programmes
Emergency evacuation: routes should be level and unobstructed. Evacuation must be documented (using Personal Emergency Evacuation Plans - PEEPs) and practised regularly