## Cover Page
Ewyas Harold Primary School
Summary Report
Contents
|  | Section | Page | No. of pages
Ewyas Harold Primary School |  | Summary Data | 3 | 1
Summary Report |  | General Information and Asset Summary | 4 | 1
|  | Maintenance and Condition Summary | 5 | 2
|  | Education Funding Agency Condition Survey Data | 7 | 1
Schools Capital Investment Strategy |  | Suitability and Compliance Summary | 8 | 2
|  | School Occupancy Summary | 10 | 1
|  | School Statistics | 11 | 1
|  | Environmental Sustainability Condition | 12 | 1
|  | Parental Preference | 13 | 1
|  | Distribution of Children Attending School or Resident in its Catchmnet Area | 14 | 1
|  | Distribution of Children Attending School or Where it is the Nearest School | 15 | 1
|  | Key Services Within 2 Mile Radius of School | 16 | 1
|  | Key Services Adjacent to School | 17 | 1
|  | Disability Access | 18 | 1
Children's Wellbeing
Herefordshire Council
Plough Lane Offices
Plough Lane
HEREFORD
HR4 0LE

## Summary Info
Ewyas Harold Primary School
Summary Report
Summary of Headline Information
Asset Summary | [5 empty] | Occupancy Summary
Gross Site Area (M2)(whole site including building):- |  | 8579.94 |  |  |  | Current Capacity (PAN 20):- |  |  |  | 140
Insurance Asset Value (£000):- |  | 854683.3097 |  |  |  | Allocated Capacity Size (PAN 20):- |  |  |  | 140
Land Asset Value (£000):- |  | 196414 |  |  |  | Current Occupancy:- |  |  |  | 125
Land Ownership:- | Owned by the Local Authority |  |  |  |  | Current Planned Admission No.:- |  |  |  | 20
[6 empty] | Current Number Over Capacity:- |  |  |  | 0
[6 empty] | Current Number Under Capacity:- |  |  |  | 15
Maintenance Expenditure Required on the School over a 5 Year Period Summary
Survey Date:- |  |  |  | 2014-06-30
Backlog Maintenance Total (£000):- | [6 empty] | Not Available
Total Forecast Expenditure (5 years) (£000):- | [6 empty] | 146.0668
Total Potential Local Authority Forecast Expenditure (£000):- | [6 empty] | 134.874
Total Potential School Forecast Expenditure (£000):- | [6 empty] | 11.1928
Suitability and Compliance
Required Number of Classrooms:- | [6 empty] | 5 | Required Building Footprint (M2):- |  | 974.92
Actual Number of Classrooms:- | [6 empty] | 6 | Current Building Area (M2):- |  | 625.676
Percentage of Classrooms that are the Recommended Size:- | [6 empty] | 0 | Area Shortfall (M2):- |  | 349.244
Compliance Percentage of Recommended Hall Size:- | [6 empty] | 44 | Area Surplus (M2):- |  | 0
Number of Temporary Buildings on Site:- |  |  |  |  | 1 |  |  | Total Percentage Compliance:- |  | 64.1772
Number of Classrooms in Temporary Buildings:- |  |  |  |  | 1
Compliance Percentage of Recommended Reception Toilets:- | [6 empty] | 66.6667 | Required Net Site Area (M2):- |  | 6518.88
Compliance Percentage of Recommended Other Pupil Toilets:- | [6 empty] | 200 | Current Net Site Area (M2):- |  | 7954.264
Nursery on Site:- | Yes | [6 empty] | Area Shortfall (M2):- |  | 0
[8 empty] | Area Surplus (M2):- |  | 1435.384
[8 empty] | Total Percentage Compliance:- |  | 122.0189
Disability Access
Rating:- | 2 |  | Details:- |  |  |  | Mainly accessible
Environmental Sustainability Condition
DEC Rating:- |  |  |  |  | C
Electric Consumption 2014/Child:- |  |  |  |  | 226.9474
Gas Consumption 2014/Child:- |  |  |  |  | Not Available
School Statistics
Ofsted Results:- | [8 empty] | Good
Percentage of Children Achieving KS2 Level 4 or Above in Reading, Writing and Maths in 2014:- | [8 empty] | 100
Parental Preference (2014)
Percentage of Parental First Preference Applications:- | [6 empty] | 110
Total Number of Children within Catchment:- | [6 empty] | 124
Total Number of Children at School from Catchment:- | [6 empty] | 88
Percentage of Catchment at School:- | [6 empty] | 77.193
Percentage of Catchment Going to School:- | [6 empty] | 70.9677

## Report
|  |  | Ewyas Harold Primary School | [6 empty] | Ewyas Harold Primary School | [14 empty] | Ewyas Harold Primary School | [7 empty] | Ewyas Harold Primary School |  |  |  |  | Ewyas Harold Primary School |  | Ewyas Harold Primary School |  |  |  |  | Ewyas Harold Primary School | [5 empty] | Ewyas Harold Primary School |  |  | Ewyas Harold Primary School | [8 empty] | Ewyas Harold Primary School |  | Ewyas Harold Primary School |  | Ewyas Harold Primary School |  | Ewyas Harold Primary School |  | Ewyas Harold Primary School |  |  | Ewyas Harold Primary School
|  |  | Summary Report | [6 empty] | Summary Report | [14 empty] | Summary Report | [7 empty] | Summary Report |  |  |  |  | Summary Report |  | Summary Report |  |  |  |  | Summary Report | [5 empty] | Summary Report |  |  | Summary Report | [8 empty] | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  |  | Summary Report
General Information |  |  |  | Maintenance and Condition Summary | [21 empty] | Education Funding Agency Condition Survey Data | [7 empty] | Suitability and Compliance Summary |  |  |  |  | Suitability and Compliance Summary (continued) |  | School Occupancy Summary |  |  |  |  | School Statistics | [5 empty] | Environmental Sustainability Condition |  |  | Parental Preference | [8 empty] | Distribution of Children Attending School or Resident in its Catchment Area |  | Distribution of Children Attending School or Where it is the Nearest School |  | Key Services Within 2 Mile Radius of School |  | Key Services Adjacent to School |  | Disability Access
Maintenance and Condition Summary (continued)
School Name:- | Ewyas Harold Primary School |  |  | Survey Date:- | 2014-06-30 |  | Survey Company:- |  | Hub |  | Key Elements and Annual Forecast Maintenance Costs and Responsibilities | [14 empty] | Date of Survey:- |  | 2013-06-10 | [5 empty] | Areas | Standard Criteria (M2) (PAN 20) | Schools Compliance (M2) | Compliance Percentage |  |  |  | Current Planned Admission No. (PAN) | Current School Capacity | Maximum PAN | Maximum Capacity Based on PAN |  | Year | KS2 Year on Year Results |  |  |  |  | Electric Consumption 2014/Child:- | 226.9474 |  |  | Parental First Preference Applications | [15 empty] | Physical Accessibility Rating
Head Teacher:- | Ms T Kneale | DFE Number:- | 2046 | Year | Forecast Maintenance Costs (£ 000) | [5 empty] | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows and Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | Number of Occurences Identified Within the Report | [7 empty] | Basic Teaching Space | 310 | 324.57 | 104.7 |  |  |  | 20 | 140 | 22 | 154 |  |  | School - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | LA - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | All Schools in England - Percentage Achieving Level 4 or Above in Reading, Writing and Maths |  |  | Gas Consumption 2014/Child:- | Not Available |  |  | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | [10 empty] | Rating: | 2
Leadership:- | Ms T Kneale Executive Head and Mrs A Priday Assistant Head. Shared head with Marlbrook and Little Dewchurch. | [24 empty] | Rating (see key below) | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other | Hall and Studio | 180 | 79.2 | 44 | [17 empty] | PAN | 20 | 20 | 20 | 20 | 20 | 20
Address:- | Ewyas Harold Primary School, Hereford HR2 0EY | Email:- | admin@ewyas-harold.hereford.sch.uk | Backlog | Not Available | [5 empty] | £ 000 | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | [8 empty] | Storage | 76 | 54.7 | 71.9737 |  |  |  | Historical Numbers on Roll Data (Spring Census) | [13 empty] | Number | 18 | 17 | 17 | 31 | 12 | 22 | [10 empty] | Details: | Mainly accessible
|  |  |  | 2015 | 26.4904 |  |  | Not Available |  |  | Backlog | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | C1 | [7 empty] | Staff and Admin | 78 | 47.18 | 60.4872 |  |  |  | Year | Total NOR | Capacity Based on PAN | Shortfall | Surplus | 2012 | 59 | 71 | 75 | [5 empty] | Percentage | 90 | 85 | 85 | 155 | 60 | 110
|  |  |  | 2016 | 34.2412 |  |  | 26.4904 |  |  | 2015 | 0.35694 | 2.8046 | 0.6629 | 9.1786 | 0 | 3.0595 | 0.50992 | 0 | 1.3768 | 7.1389 | 1.4023 | 0 | 0 | 0 | C2 | 1 |  |  | 4 | 1 |  |  | Learning Resource | 70 | 14.5 | 20.7143 |  |  |  | 2008 / 2009 | 132 | 140 | 0 | 8 | 2013 | 90 | 71 | 75 | [22 empty] | Description: | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
|  |  |  | 2017 | 80.185 |  |  | 34.2412 |  |  | 2016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3258 | 32.6349 | 0.28046 | 0 | 0 | 0 | D1 | [7 empty] | Supplementary Area | 0 | 0 | - |  |  |  | 2009 / 2010 | 119 | 140 | 0 | 21 | 2014 | 100 | 76 | 79 | [5 empty] | Historical Catchment Analysis (Spring Census)
Telephone No.:- | T: 01981 240432 F: 01981 241106 | School Cluster:- | Kingstone District- Kingstone High School | 2018 | 0.28046 |  |  | 80.185 |  |  | 2017 | 1.9887 | 21.4167 | 1.9377 | 0 | 0.50992 | 0 | 0 | 28.5556 | 0 | 0 | 0.28046 | 25.496 | 0 | 0 | D2 | [7 empty] | Non Net Area | 260.92 | 105.526 | 40.4438 |  |  |  | 2010 / 2011 | 121 | 140 | 0 | 19 | [9 empty] | Catchment Analysis |  |  |  | 2010 | 2011 | 2012 | 2013 | 2014
|  |  |  | 2019 | 4.8697 |  |  | 0.28046 |  |  | 2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.28046 | 0 | 0 | 0 | D3 | [7 empty] | Total Gross Building Area | 974.92 | 625.676 | 64.1772 |  |  |  | 2011 / 2012 | 118 | 140 | 0 | 22 | KS2 Test Results and Progress (2014) | [11 empty] | Total in Catchment | 109 | 111 | 116 | 129 | 124
[8 empty] | 4.8697 |  |  | 2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.5893 | 0.28046 | 0 | 0 | 0 | [15 empty] | 2012 / 2013 | 131 | 140 | 0 | 9 | [12 empty] | Number at School from Catchment | 80 | 80 | 83 | 96 | 88
School Type:- | Community | Building Number:- | PCAY | Total | 146.0668 | [5 empty] | Totals | 2.3456 | 24.2212 | 2.6006 | 9.1786 | 0.50992 | 3.0595 | 0.50992 | 28.5556 | 2.7026 | 44.3631 | 2.5241 | 25.496 | 0 | 0 | *Note the information noted above has been extracted from the EFA survey focusing on elements that are C & D rated. Items with an A or B rating have been excluded. The numbers reference the quantity of elements that the survey has picked up within the relevant category | [7 empty] | Total Gross Site Area | 7493.8 | 8579.94 | 114.4938 |  |  |  | 2013 / 2014 | 114 | 140 | 0 | 26 | Pupils eligible for KS2 assessment |  |  |  | 6 | [7 empty] | Percentage at School from Catchment | 67.2269 | 66.1157 | 70.339 | 73.2824 | 77.193
Current Capacity:- | 140 | Site Area:- | 8579.94 | [30 empty] | Net Site Area (less the building area) | 6518.88 | 7954.264 | 122.0189 |  |  |  | Current Occupancy | 125 | 140 | 0 | 15 | Percentage achieving level 3 or below in reading, writing and maths |  |  |  | 0 | [7 empty] | Percentage of Catchment Going to School | 73.3945 | 72.0721 | 71.5517 | 74.4186 | 70.9677
[11 empty] | Total Potential Expenditure - Local Authority (£000) | [6 empty] | 134.874 | [27 empty] | Percentage achieving level 4 or above in reading, writing and maths |  |  |  | 100
|  |  |  | Key Elements of Forecast Maintenance | [29 empty] | Key Information (based on Building Bulletin 103) | [6 empty] | Current Occupancy Summary (Autumn Census 2014) |  |  |  |  | Percentage achieving level 4B or above in reading and maths and level 4 or above in writing |  |  |  | 83 |  |  |  |  | Catchment and Nearest School Comparison (Autumn Census 2014)
|  |  |  | Categories |  | Totals (£ 000) | [19 empty] | Key | [7 empty] | Required Number of Classrooms |  |  |  | 5 |  |  | Year Group | NOR | Shortfall | Surplus |  | Percentage achieving level 5 or above in reading, writing and maths |  |  |  | 33 | [7 empty] | Catchment vs Nearest School | Catchment | Nearest
|  |  |  | External Grounds |  | 26.5669 |  |  |  |  | Total Potential Expenditure - School (£000) | [6 empty] | 11.1928 | [7 empty] | Condition grade | Definition |  |  |  | Priority rating | Definition |  | Number of Classrooms |  |  |  | 6 |  |  | Reception | 21 | 1 | 0 |  | Percentage making expected progress in reading |  |  |  | 100 | [7 empty] | NOR | 125 | 125
|  |  |  | Roof Works |  | 11.7792 | [27 empty] | Percentage of Classrooms that are the Recommended Size |  |  |  | 0 |  |  | One | 14 | 0 | 6 |  | Percentage making expected progress in writing |  |  |  | 100 | [7 empty] | Total in Area | 135 | 137
|  |  |  | External Walls |  | 3.5694 | [19 empty] | A Good | Performing as intended and operating efficiently |  |  |  | 1 | Immediate or year 1 remedial action required |  | Percentage of Classrooms that are Classed as Small |  |  |  | 100 |  |  | Two | 27 | 7 | 0 |  | Percentage making expected progress in maths |  |  |  | 100 | [7 empty] | Number at School from Area | 93 | 89
|  |  |  | Windows and Doors |  | 29.0655 | [27 empty] | Number of Temporary Buildings on Site |  |  |  | 1 |  |  | Three | 18 | 0 | 2 |  | Average point score |  |  |  | 31 | [7 empty] | Percentage at School | 74.4 | 71.2
|  |  |  | Internal Works |  | 47.0657 | [19 empty] | B Satisfactory | Performing as intended but exhibiting minor deterioration |  |  |  | 2 | Year 1-2 remedial action required |  | Number of Classrooms in Temporary Buildings |  |  |  | 1 |  |  | Four | 13 | 0 | 7 | [13 empty] | Percentage of area going to School | 68.8889 | 64.9635
Asset Summary |  |  |  | Mechanical and Electrical |  | 28.0201 | [27 empty] | Percentage of Recommended Reception Toilets |  |  |  | 66.6667 |  |  | Five | 16 | 0 | 4 |  | Latest Ofsted Report Date:- |  | 2014-07-02
|  |  |  | Other (e.g. ancillary buildings) |  | 0 | [19 empty] | C Poor | Exhibiting major defects and/or not operating as intended |  |  |  | 3 | Year 3-5 remedial action required |  | Percentage of Recommended Other Pupil Toilets |  |  |  | 200 |  |  | Six | 16 | 0 | 4 |  | Ofsted Result:- |  | Good
Asset Value - Insurance (£000):- |  | 854.6833 | [38 empty] | Total | 125 | 0 | 15
Asset Value - Land (£000):- |  | 196.414 | [23 empty] | D Bad | Life-expired and/or at serious risk of imminent failure
Land Owner:- |  | Owned by the Local Authority | [36 empty] | Category | Areas Included
[39 empty] | Basic Teaching Spaces | General Classrooms, ICT Rooms, Practical Areas
[39 empty] | Hall and Studio | Halls, Dining Areas
Lease Agreement / Notes:- |  | Not Known | [36 empty] | Storage | Coats and Bags, Teaching, Specialist, PE Equipment, Bulk Stock, Cleaning, Caretakers and Maintenance, Tables and Chairs, Staging, Mobility Equipment
Nursery Provision:- |  | PVI Nursery in building | [36 empty] | Staff and Admin | Heads and Staff Offices, Staff Room, Staff PPA,Reprographics Room, Sick Bay, Interview and Meeting Rooms, Secure Entrance
[39 empty] | Learning Resource | Library, Small Group Rooms, SENCO Office, Medical Inspection Room
[39 empty] | Supplementary Area | Any other specialist area at the school e.g. Music Classroom, Swimming Pool, SEN Classrooms
[39 empty] | Non Net Area | Pupil and Staff Toilets, Accessible Toilets, Hygiene Room, Kitchen, Corridors, Server Room, Boilers
[39 empty] | Additional Area | Nursery provision

## Feedback
|  | Ewyas Harold Primary School |  |  | Ewyas Harold Primary School |  |  | Ewyas Harold Primary School
|  | Feedback Form |  |  | Feedback Form |  |  | Feedback Form
General Information and Asset Summary |  |  | School Occupancy Summary |  |  | Parental Preference
Do you believe the data to be accurate? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Maintenance and Condition Summary |  |  | School Statistics |  |  | Disability Access
Do you believe the data to be a fair reflection of the maintenance and condition of the school? | [5 empty] | Do you believe the data to be a fair reflection of the environmental condition of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Suitability and Compliance Summary |  |  | Environmental Sustainability Condition |  |  | Any Other Comments
Do you believe the data to be a fair reflection of the suitability and compliance issues faced by the school? | [5 empty] | Additional comments about the information provided:
Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments:
If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920
Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015

## Asset summary
Building ref number:- | PCAY
Site Area:- | 8579.94
Asset Value (Insurance):- | 854683.3097
Asset Value (Land):- | 196414
Land owner:- | Owned by the Local Authority
Lease agreement / notes:- | Not Known
DEC rating:- | C
Electric consumption 2014/child:- | 226.9474
Gas consumption 2014/child:- | Not Available

## Maintenance
Maintenance & Condition Summary |  |  |  | BCIS Quarter | 2Q2014 | [11 empty] | Check | Main year totals | Summary year totals | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows & Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | BCIS quarter | BCIS uplift
Year survey undertaken |  | 2014-06-30 |  | BCIS Uplift | 1.0198 | [15 empty] | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | 1Q2009 | 1.1525
Survey company:- |  | Hub | [15 empty] | 0 | 0 | Backlog | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2Q2009 | 1.1898
[18 empty] | 26490.377 | 26490.377 | 2015 | 356.9444 | 2804.5635 | 662.8968 | 9178.5714 | 0 | 3059.5238 | 509.9206 | 0 | 1376.7857 | 7138.8889 | 1402.2817 | 0 | 0 | 0 | 3Q2009 | 1.1898
[18 empty] | 34241.1706 | 34241.1706 | 2016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1325.7937 | 32634.9206 | 280.4563 | 0 | 0 | 0 | 4Q2009 | 1.2123
|  |  |  | Year covered? | N | Y | Y | Y | Y | Y | School Costs | [6 empty] | 80185.0198 | 80185.0198 | 2017 | 1988.6905 | 21416.6667 | 1937.6984 | 0 | 509.9206 | 0 | 0 | 28555.5556 | 0 | 0 | 280.4563 | 25496.0317 | 0 | 0 | 1Q2010 | 1.2297
Category | Ref | Element | Recommended Works | Estimated Work Cost | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 |  | 280.4563 | 280.4563 | 2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 280.4563 | 0 | 0 | 0 | 2Q2010 | 1.1789
[18 empty] | 4869.7421 | 4869.7421 | 2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4589.2857 | 280.4563 | 0 | 0 | 0 | 3Q2010 | 1.1735
r | Roofs | Pitched Roofs | Composite roof slates with a mix of concrete ridge tiles and proprietary ridge tiles. There is a large amount of moss growth on joints to slates. Newer slated roof to roof pitches 7 to 10 inclusive and roof pitches 12 and 13. Newer roofs are provided with ridge ventilation and some ventilators at low level to slate surfaces. Verges to roofs pointed with newer roofs also having verge clips. Some isolated aluminium trims to roof verges. Lead valley gutters between various sections of pitched roofs. Leaded valleys at changes in roof direction. Stepped lead flashings at junctions between pitched roofs and upper brickwork walls. Two large dormer windows with single glazed aluminium windows with timber sub sills. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2010 | 1.1682
r | Roofs | Pitched Roofs | Leakage through lead valley gutter between roof pitches 13/15 and 16. Poor flash band and bitumen repairs evident. Water staining to surfaces internally. Carry out repairs to valley gutter (possible renewal of complete valley gutter). | 3000 |  | 3000 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Individual Category totals | 2345.6349 | 24221.2302 | 2600.5952 | 9178.5714 | 509.9206 | 3059.5238 | 509.9206 | 28555.5556 | 2702.5794 | 44363.0952 | 2524.1071 | 25496.0317 | 0 | 0 | 1Q2011 | 1.1735
r | Roofs | Pitched Roofs | Missing and damaged slates in a number of areas to pitched roofs. Not all roofs were fully visible. Overhaul and repair of pitched roofs required. | 2000 |  | 2000 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2011 | 1.1525
r | Roofs | Pitched Roofs | Missing pointing to verges to under side of slates requiring repair. | 500 |  |  |  | 500 |  |  | 0 | 0 | 0 | 500 | 0 | 0 |  |  |  |  | Summary category totals | Main category totals | Check | [11 empty] | 3Q2011 | 1.1682
r | Roofs | Pitched Roofs | Rot to sub sills to dormer windows to Roof Pitch 6. Furthermore roof leakage is occurring on a regular basis around the dormer windows and further investigation and remedial works are required. | 2000 |  | 2000 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2011 | 1.1525
r | Roofs | Flat | All flat roofs are covered with three layer high tensile roofing felt with up stands at abutments with upper walls and felt style flashings over up stands which are in poor order (see below). Large felt down stand to fascia with moss growth to felt above reception office (5). Felt flashings to flat roofs are in poor order requiring attention as identified below. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | External Grounds |  | 26566.8651 | 26566.8651 | [12 empty] | 1Q2012 | 1.1953
r | Roofs | Flat | Three powder coated aluminium framed dome roof lights to Flat Roof 1. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Roof Works |  | 11779.1667 | 11779.1667 | [12 empty] | 2Q2012 | 1.1174
r | Roofs | Flat | Leakage through flashings to perimeter of Flat Roof 1 at junction with pitched roofs due to defective flashings (evidence of damp ingress in classroom [10] on hall wall). Remove flashings and fix new code 4 lead flashings. Furthermore flashings to Flat Roof 2 are in a similar condition and likely to cause problems and should be replaced with lead flashings. | 2000 |  | 2000 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | External Walls |  | 3569.4444 | 3569.4444 | [12 empty] | 3Q2012 | 1.1525
r | Roofs | Flat | Flat roof 3 appears of some age and appears to have a limited life expectancy with patch repairs having been made to roof previously. Felt flashings to up stands in poor order. Two boiler flues to roof protrude through roof surface. | 1400 |  |  |  | 1400 |  |  | 0 | 0 | 0 | 1400 | 0 | 0 |  |  | Windows & Doors |  | 29065.4762 | 29065.4762 | [12 empty] | 4Q2012 | 1.1473
e | External | Walls | All external walls are formed in cavity brickwork construction with stretcher bond brickwork. Damp proof course to all external walls although breached at the ramped entrances to property. Weep holes provided over windows to newer extensions. Small amount of ivy growth to on front west corner of brickwork. | 500 |  |  |  | 500 |  |  | 0 | 0 | 0 | 500 | 0 | 0 |  |  | Internal Works |  | 47065.6746 | 47065.6746 | [12 empty] | 1Q2013 | 1.0983
e | External | Walls | On Elevation 20 the old screen and doors have been replaced with new double glazed powder coated aluminium screen with integral door and window. Steel lintels can be seen above patio doors and appear in order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Mechanical & Electrical |  | 28020.1389 | 28020.1389 | [12 empty] | 2Q2013 | 1.089
r | External | Fascias | Softwood fascias with no overhang excepting open areas in front of classrooms (31 and 32) where soffits are boarded to the underside of the rafters. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Other |  | 0 | 0 | [12 empty] | 3Q2013 | 1.0983
r | External | Rainwater Goods | UPVC gutters and downpipes throughout. Single water barrel to one downpipe. Of some age although functional. Allow for clearing. | 300 |  | 300 |  |  |  |  | 0 | 300 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2013 | 1.0798
r | External | Rainwater Goods | General vegetation growth to gutters and dowpipes requires cyclical clearing. | 300 |  | 300 |  |  |  |  | 0 | 300 | 0 | 0 | 0 | 0 |  |  | Total |  | 146066.7659 | 146066.7659 | [12 empty] | 1Q2014 | 1.0447
w | External | Windows | Single glazed and un-coated aluminium sliding windows to older sections of property. Similar constructed patio sliding doors to classrooms and office (9, 11 and 15). More recent extensions to the property have double glazed un-coated aluminium sliding windows. Sills to windows formed with quarry tiles. Windows to dormers to Roof 6 appear to be metal casements with single glazing which are in very poor order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2014 | 1.0198
w | External | Windows | Consideration should be given to upgrading or single glazed external windows to double glazed units. | 25000 |  |  |  | 25000 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 3Q2014 | 1.028
w | External | Doors | Aluminium powder coated doors with upper and lower glazed panels in various locations to the building. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2014 | 1.0078
w | External | Doors | Louvered timber door to boiler room (Elevation 5). Rotten requiring replacement. | 500 |  | 500 |  |  |  |  | 0 | 500 | 0 | 0 | 0 | 0 | [18 empty] | 1Q2015 | 1
w | External | Doors | Four entrance doors are softwood set in softwood doorframes with upper and lower panels fully glazed with single glazing. Of age and consideration should be given to replace units with powder coated aluminium double glazed units. | 3000 |  |  |  | 3000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
e | External | Decoration | Decorations to joinery to the main building and the walls to the external classroom are all in poor order and require immediate decoration and then need to be on a cyclical programme. | 3000 |  | 3000 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Walls | External walls in solid construction with board finished plaster. Internal walls are a mix of solid brickwork with board finished plaster and large areas of exposed brickwork with painted finishes. Lesser areas of timber studwork clad with plasterboard and board finish plaster. Exposed brick walls to plant room undecorated (35). Softwood timber skirtings. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Walls | Repairs to plasterwork and making good of decorations required to rooms (3, 31 and 32) once works to leaking valley gutter above have been completed. | 300 |  |  | 300 |  |  |  | 0 | 0 | 300 | 0 | 0 | 0
i | Internal | Walls | Walls to room (26) tiled up to door head height. Wall tiling beginning to fail to outside wall. Remove wall tiling and provide plaster finish, make good decorations. | 500 |  |  | 500 |  |  |  | 0 | 0 | 500 | 0 | 0 | 0
i | Internal | Walls | Dated cubicle partition systems to toilets (excepting the girls toilet [14] where partitions have been upgradeed in recent years. See comments below on the possibility of capital investment to improve toilet facilities for children. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Walls | Tiling behind urinals to boys toilet (13) with some loose and missing tiling. Tiled splashbacks to wash hand basins outside boys and girls toilets (28 and 29). Poor quality plastic sheet splashbacks to wash hand basins outside boys and girls toilets (13 and 14). See comments on capital improvements to toilets. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Floors | Solid concrete throughout covered with either vinyl floor coverings (thermoplastic floor tiles to gents toilet [8]) or carpet. Exposed concrete floor to plant room (35). | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Floors | Vinyl floor coverings Room (3) missing in areas. Floor requires replacement. | 2000 |  |  | 2000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Ceilings | Exposed grid system suspended ceilings with fibreous panels to rooms (1, 7, 8, 9, 30, 31 and 32). Remaining areas have plasterboard ceilings with board finish plaster (excepting office [5] which has an artex finish). Suspended ceilings follow the line of the roof pitch. Three exposed steel beams under ceiling to main hall (1) [one ridge beam and two purlins]. Plasterboard ceiling to plant room (35). | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Ceilings | Suspended ceiling in poor order throughout with extensive damp staining due to roof leakages (current and historic) and ceilings dropping to rooms (7, 8 and 9). Further damaged tiles in various locations. Ceiling tiles require replacement following external roofing works. | 15000 |  |  | 15000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Ceilings | Water stained ceiling to room (3) due to leakage through valley gutter will require either stain blocking and decoration or if unsuccessful replacement and decoration. | 300 |  |  | 300 |  |  |  | 0 | 0 | 300 | 0 | 0 | 0
i | Internal | Ceilings | Aged ceiling to office with poor artex finish. Cracked on joints due to previous historic water leakage through roof coverings. Over skim. | 200 |  |  | 200 |  |  |  | 0 | 0 | 200 | 0 | 0 | 0
i | Internal | Ceilings | Cracking to plasterboard ceiling to classroom (15). Ceiling has dropped requiring re-fixing and repair. | 100 |  | 100 |  |  |  |  | 0 | 100 | 0 | 0 | 0 | 0
i | Internal | Ceilings | Evidence of leakage around soil stack to boys toilet (13). Requires further investigation and rectification. Repair surfaces internally on completion. | 250 |  | 250 |  |  |  |  | 0 | 250 | 0 | 0 | 0 | 0
i | Internal | Doors | Mix of solid core timber doors with glazed vision panels and timber doors with upper and lower glazed panels. Some hollow core timber veneer doors noted particularly in entrance foyer (6). Softwood timber doorframes and architraves. Some missing SAA cover plates to door furniture. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Doors | Doors on fire compartmented routes do not have overhead door closers or intumescent smoke / heat seals and require upgrading. Doors which are fully glazed do not comply with requirements for doors on fire escape routes and require replacement with new half hour fire doors. | 7000 |  | 7000 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Doors | Finger guards have not been provided to all doors and should be installed on safety grounds. | 1000 |  | 1000 |  |  |  |  | 0 | 1000 | 0 | 0 | 0 | 0
i | Internal | Doors | Doors to toilets (13 and 14) have vision panels. It is possible to see throught he vision panels obscured film has worn off. See comments under capital improvement for toilets. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Decoration | Decorations are tire through most areas of the school and cyclical redecoration needs to be considered. | 15000 |  |  | 15000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | Capital Works | Toilets | Childrens toilet facilities throughout main building in poor condition. Expose brickwork surfaces to walls (13 and 14). Wash hand basins poorly located outside of toilets. No easy access toilet within the main building. Capital investment should be considered to upgrade toilet facilities including provision of easy access toilet. | 25000 |  |  |  | 25000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
i | Fixtures and Fittings | Classrooms | Inset sink to fixed formica worktop to classroom (10). Kitchen base units with formica worktop with inset stainless steel sink / drainer and wall hung kitchen units to staff room (33). | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Fixtures and Fittings | Lighting | Mix of flourescent lighting ceiling standard surface mounted flourecent light fittings and surface mounted polished specular louvres. Some fittings where ceilings are formed in to roof space are supported on framework suspended from the ceiling. Further surface fixed 2D fittings in various locations. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Fixtures and Fittings | Sanitary Ware | Vitreous china WC suites with concealed cisterns behind panelling (28 and 29) with exposed low level WC's (13 and 14) and wash hand basins to each set of toilets to classrooms. Vitreous china wash hand basins located out side of toilets (3 and 10). Stainless steel urinal trough (29) and vitreous china urinal bowls and high level cistern with sparge pipe (13). See costs identified under capital works. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Fixtures and Fittings | Sanitary Ware | Belfast sink to store room (26). | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Services | Electric | Incoming located in office (9). Three phase supply. Various distribution boards located throughout school. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Services | Electric | Quoted works by CF Roberts on current Electrical Installation Condition Report. | 300 |  | 300 |  |  |  |  | 0 | 300 | 0 | 0 | 0 | 0
m | Services | Electric | Mix of recessed and surface mounted electrics with PVC lighting and power points. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Services | Fire Alarm | Fire alarm and smoke detecion provided to the school extending in to rear external classroom. Fire alarm panel located in classroom (10) immediately adjacent to the door tot he reception area (5). Fire alarm supply located in office (9). Regular servicing and testing of fire alarm system. No defects noted in the latest test certitication. | 375 |  | 75 | 75 | 75 | 75 | 75 | 0 | 75 | 75 | 75 | 75 | 75
m | Services | Emergency Lighting | Emergency lighting provided to the school extending in to rear external classroom. No certification for emergency lighting viewed on site. Annual certification required. | 500 |  | 500 |  |  |  |  | 0 | 500 | 0 | 0 | 0 | 0
m | Services | Ventilation | Localised ventilation extract to toilets. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Services | Security Alarm | Intruder alarm with infra red detection. Alarm panel located by main from door in the entrance lobby (6). Cyclical testing and servicing required. | 250 |  | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50
m | Services | CCTV | None noted. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Services | Communication Systems | Telephone system. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Services | Boilers | Two Remeha Quinta-Pro boilers which appear to be of recent installation. Located in plant room (35). Mikrafill FED pressure connector. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Services | Boilers | Boiler and heating control panel and heating time controls / frost stat. Located in plant room (35). | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Services | Heating | Mix of convector emmiters and steel panel radiators. Mild steel distribution pipework. No reported issues. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Services | Hot Water Distribution | Santon water heater to room (26). | 125 |  | 25 | 25 | 25 | 25 | 25 | 0 | 25 | 25 | 25 | 25 | 25
m | Services | Hot Water Distribution | Electric water heater located to WC (8) appearing to serve toilets (8 and 9). | 125 |  | 25 | 25 | 25 | 25 | 25 | 0 | 25 | 25 | 25 | 25 | 25
m | Services | Hot Water Distribution | Hot water heater (not fully visible due to stored items) in base cupboard under sink to staff room (33) probably serving both the staff room (33) and sink to classroom (10). | 250 |  | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50
m | Services | Hot Water Distribution | It is understood that two water heaters are located in the roof spaces above toilets (13 and 14) and toilets (28 and 29). Not inspected. | 250 |  | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50
m | Services | Plumbing | 40mm and 32mm wastes and traps. Largely surface mounted to toilets. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Services | Gas | LPG gas. Tanks are located beside the enclosed play garden to the external classroom. The LPG storage tanks are adequately fenced with concrete post and chain link fencing and close boarded fencing with a secure galvanised steel mesh covered gate. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Services | Below Ground Drainage. | Not inspected as part of this schedule. There are visible internal double sealed inspection covers to classroom (10). No reported drainage issues. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
| General | General | Constructed in 2009 after the completion of the previous survey. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | Roof | Flat | Flat roof covered with three layer felt with felt cover strips over raised ridges. Timer joists below roof surface. One powder coated aluminium framed dome rooflight which is in fair although with slight damage to the edge of the rooflight. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | Roof | Canopy | Shallow pitched lean to canopy constructed on southeast side of external classroom. Constructed with timber posts with timber rafters supporting a polycarbonate roof. Aluminium trims between polycarbonate panels. uPVC gutter and downpipe. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | External | Walls | Prefabricated wall panels with timber cover strips on joints. Finished with stipple finish render. Lower sections of wall formed with timber rails enclosing space under suspended floor. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | External | Rainwater Goods | uPVC gutters and downpipes throughout. General vegetation growth to gutters and dowpipes requires clearing. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | External | Rainwater Goods | General vegetation growth to gutters and dowpipes requires cyclical clearing. | 50 |  | 50 |  |  |  |  | 0 | 50 | 0 | 0 | 0 | 0
w | External | Doors | Four entrance doors are softwood set in softwood doorframes with upper glazed panels and lower timber panels. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | External | Windows | uPVC double galzed units. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | External | Decoration | External decoration included with comments and costs included under main building. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Steps and Ramps | Ramped access to frontage of building formed in timber. Two stepped accesses to rear of building formed in timber. Accesses have non slip coverings applied. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Floor | Suspended timber floor. Floors part vinyl sheet covering and part carpet to classrooms. All other areas have vinyl sheet floor coverings. Coved up stands to toilet areas. Access for storage under suspended floor but it should be noted that nothing should be stored under the building due to the fire risk. | 2000 | [5 empty] | 2000 | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Walls | External formed in timber frame with 'V' jointed boarding. Internal walls all in timber frame construction clad with plasterboard and board finish plaster. Timber skirtings. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Walls | Proprietary toilet cubicle partitions to the toilets to both classrooms. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Ceilings | Ceilings formed with plasterboard with taped joints and painted finish. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Doors | Solid core timber doors painted some with glazed vision panels set in timber doorframes with timber architraves, overhead door closers and SAA door furniture and kick plates. Finger guards fitted to doors. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Decoration | Painted surfaces. Generally in good order although cyclical decoration will need to be carried out. | 2500 | [5 empty] | 2500 | 0 | 0 | 0 | 0 | 0 | 0
i | Fixtures and Fittings | Classrooms | Three kitchen base units with inset stainless steel sink drainer to each classroom set if formica worktops (2 to one classroom and 1 to the other. Tiled splashbacks to wall. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Fixtures and Fittings | Classrooms and Easy Access Toilet | Various fixed cupboard units. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Fixtures and Fittings | Lighting | Flourescent lighting ceiling fixed with polished specular louvres. Standard flourescent lighting to toilets. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Fixtures and Fittings | Sanitary Ware | Vitreous china WC suites and wash hand basins to each set of toilets to classrooms. Doc M disabled toilet faciliteis to easy access toilet. Tiled splashbacks to wash hand basins. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Services | Electric | Distribution board to west classroom. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Services | Electric Heating | Electric wall heaters with heat guards. One to each classroom. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Services | Electric Heating | Dimplex electric heater to entrnce cloakroom. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Services | Ventilation | Mechanical ventilation extract to toilets. Extract fans to two toilets inoperable. | 300 |  | 300 |  |  |  |  | 0 | 300 | 0 | 0 | 0 | 0
m | Services | Fire Alarm | Connected to main building although noted that there is no smoke detection to the building. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Services | Intruder Alarm | Separate intruder alarm with PIR detection. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Car Park | Tarmac to car park and driveway Wearing course to car park surface and entrance driveway loose with uneven areas wearing course tarmac. Replacement of wearing course will be required in future years. | 10500 |  |  |  | 10500 |  |  | 0 | 0 | 0 | 0 | 0 | 0
g | External | Ramped Access | Ramped access to Elevation 10 with ridged concrete slabs. Tubular steel handrail. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Paved Entrance | Paved with concrete paving slabs. Generally slightly uneven with vegetation growth to pointing joints. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Front Steps | Two sets of steps to entrance. The main set of steps has concrete slabs with white painted nosings on concrete base with low brick walls to either side and a painted tubular handrail. Recessed lighting to right hand wall. The steps are poorly pointed with vegetation growth and pointing is loose and missing to the side walls. Repairs required. The second set of steps is formed in concrete to the left hand side of the entrance with no handrail | 200 |  |  |  | 200 |  |  | 0 | 0 | 0 | 200 | 0 | 0
g | External | Playground | Tarmac surface to main playground. Low spots to tarmac and it is evident that ponding occurs as residue dirt is visible on low spots. Inherent defect. It is not considered cost effective to renew the surface. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Playground | Playground to enclosed fenced area to external classroom covered with tarmac. Generally in good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Paths | Various tarmac paths. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Bin Store | Walls enclosing bin store in 225mm thick brickwork with gate in steel section covered with steel mesh. Decorations to gate deteriorating. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Access to Boiler Room | Pair of gates in tubular steel section covered with steel mesh. Decorations to gate deteriorating. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | External Classroom Garden | Hexagonal covered seating area. Timber base with timber posts and timber roof structure clad with timber boarding. Roof timbers are deteriorating and will require replacement at some future point in time. | 1000 |  |  |  | 1000 |  |  | 0 | 0 | 0 | 1000 | 0 | 0
g | External | External Classroom Garden | Set of steps formed with concrete slabs between lower enclosed playground and the classroom garden. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Other Structures | Shed to enclosed play garden to external classroom. Formed in timber with pitched felt roof. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Other Structures | Two wendy house structures to the external classroom. The structure to the wendy house to the frontage is out of plumb with the frame to the house deteriorating. Replacement of the unit will have to be considered as the unit may well become a health and safety risk. | 500 |  |  |  | 500 |  |  | 0 | 0 | 0 | 500 | 0 | 0
g | External | Other Structures | Shed unit to edge of main playground formed on concrete base with timber structure and timber cladding with shallow mono pitched corrugated asbestos roof and pair of doors. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Other Structures | Shed unit behind unit above on concrete base with timber structure and timber cladding with dual pitch felted roof and pair of doors. Small lean to opensided timber structure with perspex roofing for storage. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Other Structures | Greenhouse located adjacent to main playground. Aluminium framed and perspex glazing. One missing pane of perspex. | 50 |  | 50 |  |  |  |  | 0 | 50 | 0 | 0 | 0 | 0
g | External | Other Structures | Shed unit beside greenhouse on timber base with timber structure and timber cladding with dual pitch felted roof and single door. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Boundaries | To the front right hand side of the school is a post and rail timber fence and part timber lattice fence with integral gate which is leaning and is poor order requiring replacement along a length of approx. 12m | 2750 |  | 2750 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
g | External | Boundaries | The southwest boundary is formed with a post and wire fence along approx. 50% of the length of the boundary appearing to be in the school ownership. In poor condition requiring replacement. | 2500 |  |  |  | 2500 |  |  | 0 | 0 | 0 | 0 | 0 | 0
g | External | Boundaries | The southwest boundary to the forward section is formed with a mix of closeboarded fencing and closeboarded fencing with lower concrete panels and concrete posts. Fencing loose and leaning requiring overhaul and re-fixing (it is not known if these fences are in the ownership of the school). | 250 |  |  |  | 250 |  |  | 0 | 0 | 0 | 250 | 0 | 0
g | External | Boundaries | The southeast boundary is formed with a post and wire fence appearing to be in the school ownership. In poor condition requiring replacement. | 8000 |  |  |  | 8000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
g | External | Boundaries | The northeast boundary is formed along the majority of the length with a post and rail timber fence covered with mesh in the school ownership. Generally in fair order. Six bar tubular steel gate to boundary. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Boundaries | The northeast boundary is formed with a powder coated steel mesh fence 2.5m along the section of boundary enclosing the play garden to the external classroom. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Internal Fencing | Palisade style timber fencing with integral gates similarly formed surrounding the play area to the garden play area adjacent to external classroom. Fencing extends to enclose the hard standing area of the external classroom. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Play Equipment | Area to end of play ground with surface made up of reconstituted tyre rubber with timber play equipment, plastic slide and rope nets. Equipment requires ROSPA certification. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Disused Play Area | Adjacent to the above play area is a disused play area. All equipment has been removed but the raised edgings and reconsituted tyre rubber surface remains. The area has been taped off but should be removed and re-layed to grass as it creates a trip hazard. | 300 |  | 300 |  |  |  |  | 0 | 300 | 0 | 0 | 0 | 0

## EFA Property
|  |  | EFA survey data | [6 empty] | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other
DFE | School | School Type | Date received | Condition rating C or D | Priority rating 1 or 2 | Element | Category | CCP rating
|  |  |  | C | 2 | External walls windows and doors, Windows and doors, Timber, Main School | W | WC2 | C1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | C | 2 | External walls windows and doors, Windows and doors, Metal, Main school | W | WC2 | C2 | 1 | 0 | 0 | 4 | 1 | 0 | 0
|  |  |  | C | 2 | Floors and stairs, Floors Screed and finish, VInyl, Rubber, sheet, Main school | I | IC2 | D1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | C | 2 | Redecoration, External windows doors, Timber, Main school | W | WC2 | D2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | C | 2 | Redecoration, External windows and doors, Metal/Plastic- Unpainted, Main school | W | WC2 | D3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | C | 2 | External areas, Roads and car parks, Tarmac | G | GC2

## Suitability and Compliance
Space |  |  | BB103 suggested sizes |  |  | EWYAS HAROLD Primary school
[6 empty] | Suitability Data | [6 empty] | Compliance Comparison |  |  | 2/THIRD | Form of entry | PAN | 20
Basic Teaching Spaces |  |  | No. of spaces | m2 | Total m2 | Plan ref | Space | [5 empty] | Total area | Shortfall | Surplus | 2011 | Date of last assessment
|  | Classroom - Year R | 1 | 62 | 62 | UN23 | General classroom | 43.9 |  |  |  |  | 43.9 | 18.1 | 0
|  | Classroom - Year 1 | 1 | 62 | 62 | 11, 11a | General classroom | 36.94 | 4.4 |  |  |  | 41.34 | 20.66 | 0 | 1 | No. Temp Buildings on Site
|  | Classroom - Year 2 | 0 | 62 | 0 | [7 empty] | 0 | 0 | 0 | 1 | No. of Classrooms in Temporary Buildings
|  | Classroom - Year 3 | 1 | 62 | 62 | 15, 15a | General classroom | 36.24 | 3.67 |  |  |  | 39.91 | 22.09 | 0 | 6 | No. of Classrooms
|  | Classroom - Year 4 | 0 | 62 | 0 | UN9 | General classroom | 47.72 |  |  |  |  | 47.72 | 0 | 47.72 | 5 | Required No. of Classroooms
|  | Classroom - Year 5 | 1 | 62 | 62 | 31 | General classroom | 54.77 |  |  |  |  | 54.77 | 7.23 | 0
|  | Classroom - Year 6 | 1 | 62 | 62 | 32 | General classroom | 57.42 |  |  |  |  | 57.42 | 4.58 | 0
|  | Practical area / food bay | 0 | 0 | 0 | 3 | Practical area | 16.6 |  |  |  |  | 16.6 | 0 | 16.6 | 0% | of classrooms are the recommended size
|  | ICT base | 0 | 0 | 0 | 10 | Practical area | 22.91 |  |  |  |  | 22.91 | 0 | 22.91 | 100% | of classrooms are small
[5 empty] | 310 | [7 empty] | 324.57 | 72.66 | 87.23 | 104.7% | of the recommended basic teaching space required
[15 empty] | 237.34 | 76.56% | of the recommended basic teaching space required ignoring surplus
Halls and Studios | [15 empty] | 23.44% | shortfall in basic teaching space
| 1 | Main hall | 1 | 180 | 180 | 1 | Hall | 79.2 |  |  |  |  | 79.2 | 100.8 | 0
[5 empty] | 180 | [7 empty] | 79.2 | 100.8 | 0 | 44% | of the recommended hall size
Storage | [15 empty] | 56% | shortfall in hall size
| 1 | Coat and bag storage - Year R | 1 | 3 | 3 | [7 empty] | 0 | 3 | 0
| 2 | Coat and bag storage - Year 1 | 1 | 3 | 3 | 10a | Cloakroom | 3 |  |  |  |  | 3 | 0 | 0
| 3 | Coat and bag storage - Year 2 | 0 | 3 | 0 | [7 empty] | 0 | 0 | 0
| 4 | Coat and bag storage - Year 3 | 1 | 3 | 3 | 10a | Cloakroom | 2.98 |  |  |  |  | 2.98 | 0.02 | 0
| 5 | Coat and bag storage - Year 4 | 0 | 3 | 0 | 24 | Cloakroom | 13.98 |  |  |  |  | 13.98 | 0 | 13.98
| 6 | Coat and bag storage - Year 5 | 1 | 3 | 3 | 27 | Cloakroom | 5.98 |  |  |  |  | 5.98 | 0 | 2.98
| 7 | Coat and bag storage - Year 6 | 1 | 3 | 3 | 30a | Cloakroom | 5.43 |  |  |  |  | 5.43 | 0 | 2.43
| 8 | Teaching storage - Year R | 1 | 2 | 2 | UN21 | Store room | [5 empty] | 0 | 2 | 0
| 9 | Teaching storage - Year 1 | 1 | 2 | 2 | 12 | Store room | 0.84 |  |  |  |  | 0.84 | 1.16 | 0
| 10 | Teaching storage - Year 2 | 0 | 2 | 0 | [7 empty] | 0 | 0 | 0
| 11 | Teaching storage - Year 3 | 1 | 2 | 2 | 16 | Store room | 0.85 |  |  |  |  | 0.85 | 1.15 | 0
| 12 | Teaching storage - Year 4 | 0 | 2 | 0 | [7 empty] | 0 | 0 | 0
| 13 | Teaching storage - Year 5 | 1 | 2 | 2 | [7 empty] | 0 | 2 | 0
| 14 | Teaching storage - Year 6 | 1 | 2 | 2 | [7 empty] | 0 | 2 | 0
| 15 | Specialist walk in stores | 2 | 5 | 10 | UN14 | Store room | 2 |  |  |  |  | 2 | 8 | 0
| 18 | Indoor PE equipment storage | 1 | 18 | 18 | 36 | Store room | 6.35 |  |  |  |  | 6.35 | 11.65 | 0
| 19 | Outdoor PE equipment storage | 0 | 0 | 0 | [7 empty] | 0 | 0 | 0
|  | Bulk stock store | 1 | 4 | 4 | 5a, 9a, 25 | Store room | 1.15 | 0.29 | 1.7 |  |  | 3.14 | 0.86 | 0
| 21 | Caretakers and maintenance store | 1 | 4 | 4 | [7 empty] | 0 | 4 | 0
| 22 | Cleaning store | 1 | 3 | 3 | 26 | Cleaners store room | 4.29 |  |  |  |  | 4.29 | 0 | 1.29
| 23 | Table and chair store | 1 | 6 | 6 | 2 | Store room | 5.86 |  |  |  |  | 5.86 | 0.14 | 0
| 25 | Staging/ appliance store | 1 | 4 | 4 | [7 empty] | 0 | 4 | 0
|  | Mobility equipment store | 1 | 2 | 2 | [7 empty] | 0 | 2 | 0
| 24 | Store for community | 0 | 0 | 0 | [7 empty] | 0 | 0 | 0
[5 empty] | 76 | [7 empty] | 54.7 | 41.98 | 20.68 | 71.97% | of the recommended storage space required
Staff and admin | [15 empty] | 55.24% | shortfall
| 1 | Heads office | 1 | 12 | 12 | 9 | Heads office | 12.62 |  |  |  |  | 12.62 | 0 | 0.62
| 3 | Staff room work and social | 1 | 25 | 25 | 33 | Staffroom | 19.82 |  |  |  |  | 19.82 | 5.18 | 0
|  | Staff PPA | 1 | 10 | 10 | [7 empty] | 0 | 10 | 0
| 4 | Senior management office | 0 | 10 | 0 | [7 empty] | 0 | 0 | 0
| 7 | General office (reception) | 1 | 8 | 8 | 5 | Reception (office) | 7.63 |  |  |  |  | 7.63 | 0.37 | 0
| 8 | Secure reception | 1 | 4 | 4 | 6 | Entrance | 7.11 |  |  |  |  | 7.11 | 0 | 3.11
| 9 | Reprographics room | 1 | 8 | 8 | [7 empty] | 0 | 8 | 0
| 10 | Meeting room | in head | 0 | 0 | [7 empty] | 0 | 0 | 0
| 11 | Sick bay | 1 | 3 | 3 | [7 empty] | 0 | 3 | 0
| 13 | Interview room | 1 | 8 | 8 | [7 empty] | 0 | 8 | 0
[5 empty] | 78 | [7 empty] | 47.18 | 34.55 | 3.73 | 60.49% | of the recommended staff and admin space required
Learning resource area | [15 empty] | 44.29% | shortfall
| 1 | Library (learning resource centre) | 1 | 24 | 24 | UN12 | Library | 14.5 |  |  |  |  | 14.5 | 9.5 | 0
| 3 | Small group room | 2 | 11 | 22 | [7 empty] | 0 | 22 | 0
| 5 | SENco office (SEN resource) | 1 | 12 | 12 | [7 empty] | 0 | 12 | 0
| 2 | Medical inspection room/ Therapy room | 1 | 12 | 12 | [7 empty] | 0 | 12 | 0
[5 empty] | 70 | [7 empty] | 14.5 | 55.5 | 0 | 20.71% | of the recommended learning resource areas
Supplementary area | [15 empty] | 79.29% | shortfall
| 1 |  | 0 | 0 | 0 | [7 empty] | 0 | 0 | 0
0
[13 empty] | 0 | 0 | 0 | - | of the recommended supplementary areas
Non net areas | [15 empty] | - | shortfall
| 1 | Reception toilets | 3 | 2 | 6 | UN22 | Pupil wc multi-sex (2 wc's) | [5 empty] | 0 | 6 | 0 | 2 | Number of reception toilets
| 1 | Pupils toilets | 6 | 2 | 12 | 13,14,28,29 | Pupil wc's (7 WC's, 5 urinals) | 5.29 | 5.09 | 4.46 | 4.43 |  | 19.27 | 0 | 7.27 | 12 | Number of other pupil toilets
| 2 | Staff toilets | 2 | 2 | 4 | 7,8 | Staff WC's (2 wc's) | 1.74 | 1.68 |  |  |  | 3.42 | 0.58 | 0 | 66.67% | % of recommended reception toilets
| 3 | Accessible toilet | 1 | 3 | 3 | UN20 | Disabled w.c. | [5 empty] | 0 | 3 | 0 | 200% | % of recommended other pupil toilets
| 9 | Hygiene room | 1 | 12 | 12 | [7 empty] | 0 | 12 | 0
| 4 | Kitchen facilities (servery) | 1 | 24 | 24 | [7 empty] | 0 | 24 | 0
| 5 | Corridors | - | 22.5% | 160.65 | 3a, 4, 30, UN11, UN19 |  | 3.59 | 2.61 | 9.22 | 10 | 15 | 40.42 | 120.23 | 0
| 6 | Boiler room | 1 | 1.5% | 10.71 | 35, 37, 9b | Boiler room | 5.01 | 16 | 0.6 |  |  | 21.61 | 0 | 10.9
| 7 | Server | in boiler | [9 empty] | 0 | 0 | 0
|  | Walls | - | 4% | 28.56 |  |  | 20.806 |  |  |  |  | 20.806 | 7.754 | 0
[5 empty] | 260.92 | [7 empty] | 105.526 | 173.564 | 18.17 | 40.44% | of the recommended non net area
Additional area | [15 empty] | 66.52% | shortfall
|  | Nursery class | 1 | 62 | 62 | UN26 | Community use | 35.76 |  |  |  |  | 35.76 | 26.24 | 0
|  | Quiet room | 1 | 8 | 8 | [7 empty] | 0 | 8 | 0
|  | Nursery store room | 1 | 2 | 2 | UN25 | Community use | 2 |  |  |  |  | 2 | 0 | 0
|  | Nursery office | 1 | 8 | 8 | [7 empty] | 0 | 8 | 0
|  | Nursery cloakroom | 1 | 3 | 3 | [7 empty] | 0 | 3 | 0
|  | Nursery pupils toilets | 3 | 2 | 6 | UN24 | Community use | 6 |  |  |  |  | 6 | 0 | 0
|  | Nursery staff toilets | 1 | 2 | 2 | [7 empty] | 0 | 2 | 0
|  | Nursery entrance | 1 | 22.5% | 1.8675 | [7 empty] | 0 | 1.8675 | 0
[5 empty] | 92.8675 | [7 empty] | 43.76 | 49.1075 | 0 | 47.12% | of the recommended additional area
[16 empty] | 52.88% | shortfall
Total Net area |  |  |  |  | 714 | [7 empty] | 520.15
Total Non-Net area |  |  |  |  | 260.92 | [7 empty] | 105.526
Gross (total build) area - excluding nursery |  |  |  |  | 974.92 | [7 empty] | 625.676 |  |  | 64.18% | of the recommended Gross area
Gross (total build) area - including nursery |  |  |  |  | 1067.7875 | [7 empty] | 669.436
Net Area Range |  |  |  |  | 924.0-1030.0
Mid Range |  |  |  |  | 977
Total Site Area Range |  |  |  |  | 6660.0-8327.5
Mid Range |  |  |  |  | 7493.8
2
3
4

## Occupancy
Sufficiency Data
Planned Admission Number | Current Capacity | Maximum PAN | Capacity based on max PAN
20 | 140 | 22 | 154
NOR Spring Census
| 2008 / 2009 | 2009 / 2010 | 2010 / 2011 | 2011 / 2012 | 2012 / 2013 | 2013 / 2014
NOR Jan | 132 | 119 | 121 | 118 | 131 | 114
Maximum Capacity | 140 | 140 | 140 | 140 | 140 | 140
Number of Surplus Places | 8 | 21 | 19 | 22 | 9 | 26
% of surplus places | 5.7 | 15 | 13.6 | 15.7 | 6.4 | 18.5714
Current Numbers on Roll (from Autumn Census)
Year group | R | 1 | 2 | 3 | 4 | 5 | 6 | Total
Number | 21 | 14 | 27 | 18 | 13 | 16 | 16 | 125

## School stats
Current Ofsted | Year
Good | 2014-07-02
2014 KS2 Performance Tables last update : (15 Sep 2014)
Year on year comparisons
Percentage achieving Level 4 or above in reading, writing and maths | 2012 | 2013 | 2014
School | 59% | 90% | 100%
LA | 71% | 71% | 76%
England - All Schools | 75% | 75% | 79%
KS2 test results and progress
| All pupils | Low attainers | Middle attainers | High attainers
Pupils eligible for KS2 assessment | 6
Percentage of pupils achieving 3 or below in reading and maths test and writing TA | 0% | SUPP | SUPP | SUPP
Percentage of pupils achieving level 4 or above in reading and maths test and writing TA | 100% | SUPP | SUPP | SUPP
Percentage of pupils achieved level 4B or above in reading and maths test and level 4 in writing TA | 83% | SUPP | SUPP | SUPP
Percentage of pupils achieving level 5 or above in reading and maths test and writing TA | 33% | SUPP | SUPP | SUPP
Percentage of pupils making at least 2 levels of progress in reading | 100% | SUPP | SUPP | SUPP
Percentage of pupils making at least 2 levels of progress in writing TA | 100% | SUPP | SUPP | SUPP
Percentage of pupils making at least 2 levels of progress in maths | 100% | SUPP | SUPP | SUPP
Average point score | 31
Closing the Gap
| Disadvantaged pupils | Other pupils
Percentage of disadvantaged pupils achieving level 3 or below in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4B or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 5 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in reading | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in maths | SUPP | SUPP
Value Added measures
| Measure | Lower CI | Upper CI | Coverage
Overall value added measure | 102 | 100.6 | 103.4 | 100%
Reading value added measure | 101.8 | 100.3 | 103.3 | 100%
Writing TA value added measure | 101.9 | 100.2 | 103.5 | 100%
Maths value added measure | 101.7 | 99.8 | 103.5 | 100%
Subject level results
| Reading test | Maths test | Grammar, punctuation and spelling test | Writing TA
Percentage achieving level 3 or below | 0% | 0% | 0% | 0%
Percentage achieving Level 4 or above | 100% | 100% | 100% | 100%
Percentage achieving Level 4b or above | 100% | 83% | 50% | NA
Percentage achieving Level 5 or above | 83% | 50% | 33% | 50%
Pupil Absence last update : (11 Dec 2013)
| School | England - national (primary state-funded)
Overall absence: percentage | 3.9% | 4.8%
Persistent absence: around 15% + | SUPP | 3.6%
2013-14 Finance last update : (10 Dec 2014)
Contextual information
Number of pupils (FTE) | 114
Percentage of pupils eligible for Free School Meals (FSM) | 8.8%
Free school meals eligibility band | LOW
Spend per pupil data as £ per pupil (in brackets percentage of total income or expenditure)
| School | LA Median | Non-London LAs Median | National Median
Grant funding | 4745 (98%) | 4525 | 4016 | 4325
Self generated income | 74 (2%) | 144 | 142 | 127
Total income | 4820 | 4723 | 4183 | 4479
Teaching staff | 2350 (51%) | 2277 | 2045 | 2106
Supply Staff | 61 (1%) | 87 | 118 | 127
Education support staff | 654 (14%) | 689 | 650 | 733
Learning resources (not ICT equipment) | 161 (3%) | 181 | 174 | 184
ICT learning resources | 53 (1%) | 81 | 62 | 66
Bought in professional services - curriculum | 42 (1%) | 88 | 59 | 67
Back office (incl. Staff costs) | 696 (15%) | 406 | 334 | 351
Catering (incl. Staff costs) | 1 (0%) | 35 | 53 | 75
Premises (incl. Staff costs) | 298 (6%) | 259 | 275 | 301
Other staff costs | 115 (2%) | 153 | 133 | 142
Energy | 54 (1%) | 68 | 62 | 65
Other expenditure | 123 (3%) | 94 | 85 | 88
Total expenditure | 4608 | 4562 | 4143 | 4431
Spend per pupil data as £ per pupil : Comparisons over time
| 2010-11 | 2011-12 | 2012-13 | 2013-14
Teaching staff and Education support staff expenditure | 3206 | 3110 | 2522 | 3004
Supply staff | 51 | 33 | 108 | 61
Back office (incl. Staff costs) | 309 | 404 | 508 | 696
Energy | 56 | 51 | 50 | 54
Total expenditure | 4326 | 4293 | 3888 | 4608
School Workforce last update : (10 Dec 2014)
This data is based upon the November 2013 School Workforce Census
| School | England - national (primary state-funded)
Headcount of all teachers in a school | 9 | 236728
Headcount of all teaching assistants in a school | 7 | 239340
Headcount of all support (exc. auxillary) staff in a school | 2 | 77335
Full-time equivalent number of all teachers in a school | 7 | 207827.7
Full-time equivalent number of all teaching assistants in a school | 3.5 | 154245.3
Full-time equivalent number of all support (exc. auxillary) staff in a school | 2.3 | 51728.3
Ratio of pupils to teachers in a school | 16.4 | 20.5
Average gross salary of all teachers in a school | 33554 | 36559

## Parental Preference
Popularity Data | [10 empty] | Children at School From School Catchment
Parental First Preference Applications | [11 empty] | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  | Catchment vs Nearest School |  |  |  |  | Catchment | Nearest
Year | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  |  | NOR | 119 | 121 | 118 | 131 | 114 |  |  |  | NOR |  |  |  |  | 125 | 125
PAN | 20 | 20 | 20 | 20 | 20 | 20 |  |  |  |  | Number | 80 | 80 | 83 | 96 | 88 |  |  |  | Total in area |  |  |  |  | 135 | 137
No. | 18 | 17 | 17 | 31 | 12 | 22 |  |  |  |  | % | 67.2269 | 66.1157 | 70.339 | 73.2824 | 77.193 |  |  |  | Number at School from area |  |  |  |  | 93 | 89
% | 90 | 85 | 85 | 155 | 60 | 110 | [13 empty] | % at School |  |  |  |  | 74.4 | 71.2
[11 empty] | Total number in Catchment | [8 empty] | % of area going to School |  |  |  |  | 68.8889 | 64.9635
[12 empty] | 2010 | 2011 | 2012 | 2013 | 2014
[11 empty] | Number | 109 | 111 | 116 | 129 | 124
[11 empty] | % | 100 | 100 | 100 | 100 | 100
Where children at School are coming from (from Spring Census 2014)
DCSF No. | School |  | Clifford | Ewyas Harold | Garway | Broadlands | Lord Scudamore | Marlbrook | St Martin’s | Holme Lacy | Kings Caple | Kingstone & Thruxton | Longtown | Lugwardine | Madley | Michaelchurch Escley | Peterchurch | Ashfield Park | St Weonards | Clehonger C E | Holmer C E | Little Dewchurch CE | Much Birch C E | Stretton Sugwas C E | Bridstow CE | St James’ C E | St Thomas Cantilupe C E | Riverside Primary | Out of County | Grand Total
2046 | Ewyas Harold | Number | 0 | 88 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 12 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 4 | 114
2046 | Ewyas Harold | % | 0 | 77.193 | 1.7544 | 0 | 0 | 0.87719 | 0 | 0 | 0 | 10.5263 | 0.87719 | 0 | 0.87719 | 1.7544 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6316 | 0 | 0 | 0 | 0 | 0 | 3.5088 | 100
2053 | Garway | Number | 0 | 11 | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 48
2053 | Garway | % | 0 | 22.9167 | 56.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.5833 | 0 | 0 | 0 | 4.1667 | 0 | 0 | 0 | 0 | 0 | 2.0833 | 100
2095 | Kingstone & Thruxton | Number | 0 | 1 | 2 | 0 | 0 | 8 | 9 | 0 | 0 | 111 | 0 | 0 | 12 | 1 | 4 | 2 | 0 | 3 | 0 | 0 | 2 | 1 | 0 | 0 | 1 | 20 | 0 | 177
2095 | Kingstone & Thruxton | % | 0 | 0.56497 | 1.1299 | 0 | 0 | 4.5198 | 5.0847 | 0 | 0 | 62.7119 | 0 | 0 | 6.7797 | 0.56497 | 2.2599 | 1.1299 | 0 | 1.6949 | 0 | 0 | 1.1299 | 0.56497 | 0 | 0 | 0.56497 | 11.2994 | 0 | 100
2104 | Madley | Number | 3 | 2 | 0 | 0 | 1 | 16 | 1 | 1 | 0 | 40 | 0 | 1 | 99 | 1 | 7 | 0 | 0 | 17 | 1 | 0 | 2 | 3 | 0 | 0 | 0 | 17 | 0 | 212
2104 | Madley | % | 1.4151 | 0.9434 | 0 | 0 | 0.4717 | 7.5472 | 0.4717 | 0.4717 | 0 | 18.8679 | 0 | 0.4717 | 46.6981 | 0.4717 | 3.3019 | 0 | 0 | 8.0189 | 0.4717 | 0 | 0.9434 | 1.4151 | 0 | 0 | 0 | 8.0189 | 0 | 100
3021 | Clehonger C E | Number | 0 | 1 | 0 | 0 | 0 | 16 | 4 | 2 | 0 | 16 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 43 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 31 | 0 | 119
3021 | Clehonger C E | % | 0 | 0.84034 | 0 | 0 | 0 | 13.4454 | 3.3613 | 1.6807 | 0 | 13.4454 | 0 | 0 | 4.2017 | 0 | 0 | 0 | 0 | 36.1345 | 0.84034 | 0 | 0 | 0 | 0 | 0 | 0 | 26.0504 | 0 | 100
3079 | Much Birch C E | Number | 0 | 1 | 0 | 1 | 1 | 22 | 35 | 4 | 6 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 1 | 1 | 1 | 81 | 1 | 2 | 1 | 0 | 15 | 0 | 196
3079 | Much Birch C E | % | 0 | 0.5102 | 0 | 0.5102 | 0.5102 | 11.2245 | 17.8571 | 2.0408 | 3.0612 | 4.0816 | 0 | 0 | 0 | 0 | 0 | 0 | 7.6531 | 0.5102 | 0.5102 | 0.5102 | 41.3265 | 0.5102 | 1.0204 | 0.5102 | 0 | 7.6531 | 0 | 100
Where school children in the Schools Catchment area are going to (from Spring Census 2014)
DCSF No. | School |  | Burghill Community | Ewyas Harold | Garway | Hampton Dene | Lord Scudamore | Marlbrook | St Martin’s | Trinity | Kings Caple | Kingstone & Thruxton | Ledbury | Longtown | Madley | Michaelchurch Escley | Peterchurch | Ashfield Park | St Weonards | Canon Pyon C E | Clehonger C E | Goodrich C E | Gorsley Goffs Endowed | Little Dewchurch CE | Mordiford C E | Much Birch C E | Bridstow CE | St Mary’s C E, Fownhope | Our Lady's RC | St Francis Xaviers RC | St Josephs RC | Staunton-on-Wye Endowed | St Thomas Cantilupe C E | Riverside | Grand Total
2046 | Ewyas Harold | Number | 1 | 88 | 11 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 9 | 2 | 0 | 7 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 124
2046 | Ewyas Harold | % | 0.80645 | 70.9677 | 8.871 | 0.80645 | 0 | 0 | 0 | 0 | 0 | 0.80645 | 0 | 7.2581 | 1.6129 | 0 | 5.6452 | 0 | 0 | 0 | 0.80645 | 0 | 0 | 0 | 0 | 0.80645 | 0 | 0 | 0 | 1.6129 | 0 | 0 | 0 | 0 | 100
2053 | Garway | Number | 0 | 2 | 27 | 0 | 0 | 2 | 1 | 0 | 1 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 42
2053 | Garway | % | 0 | 4.7619 | 64.2857 | 0 | 0 | 4.7619 | 2.381 | 0 | 2.381 | 4.7619 | 0 | 4.7619 | 0 | 0 | 0 | 0 | 9.5238 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.381 | 100
2095 | Kingstone & Thruxton | Number | 0 | 12 | 0 | 1 | 1 | 6 | 3 | 2 | 0 | 111 | 2 | 1 | 40 | 1 | 5 | 0 | 0 | 0 | 16 | 0 | 0 | 1 | 0 | 8 | 1 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 214
2095 | Kingstone & Thruxton | % | 0 | 5.6075 | 0 | 0.46729 | 0.46729 | 2.8037 | 1.4019 | 0.93458 | 0 | 51.8692 | 0.93458 | 0.46729 | 18.6916 | 0.46729 | 2.3364 | 0 | 0 | 0 | 7.4766 | 0 | 0 | 0.46729 | 0 | 3.7383 | 0.46729 | 0 | 0.93458 | 0 | 0 | 0 | 0.46729 | 0 | 100
2104 | Madley | Number | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 12 | 0 | 0 | 99 | 0 | 1 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 126
2104 | Madley | % | 0 | 0.79365 | 0 | 0 | 0.79365 | 0 | 0 | 0.79365 | 0 | 9.5238 | 0 | 0 | 78.5714 | 0 | 0.79365 | 0 | 0 | 0 | 3.9683 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7619 | 0 | 0 | 100
3021 | Clehonger C E | Number | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 17 | 1 | 1 | 0 | 0 | 1 | 43 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 0 | 0 | 2 | 0 | 2 | 75
3021 | Clehonger C E | % | 0 | 0 | 0 | 0 | 2.6667 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 22.6667 | 1.3333 | 1.3333 | 0 | 0 | 1.3333 | 57.3333 | 0 | 0 | 0 | 0 | 1.3333 | 0 | 0 | 2.6667 | 0 | 0 | 2.6667 | 0 | 2.6667 | 100
3079 | Much Birch C E | Number | 0 | 3 | 2 | 0 | 0 | 0 | 1 | 1 | 8 | 2 | 0 | 0 | 2 | 0 | 0 | 1 | 2 | 0 | 0 | 2 | 2 | 5 | 1 | 81 | 1 | 2 | 0 | 0 | 1 | 0 | 0 | 1 | 118
3079 | Much Birch C E | % | 0 | 2.5424 | 1.6949 | 0 | 0 | 0 | 0.84746 | 0.84746 | 6.7797 | 1.6949 | 0 | 0 | 1.6949 | 0 | 0 | 0.84746 | 1.6949 | 0 | 0 | 1.6949 | 1.6949 | 4.2373 | 0.84746 | 68.6441 | 0.84746 | 1.6949 | 0 | 0 | 0.84746 | 0 | 0 | 0.84746 | 100

## Disability access
Physical Accessibility Rating | 2
Information from https://www.herefordshire.gov.uk/education-and-learning/schools/directory
Ratings and descriptions
Rating | Details | Description
3 | Fully accessible | Will meet the needs of all disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling); Has a full hygiene room and special educational needs or therapy room for pupils who need more assistance with personal care (including hoisting) and regular physio or other treatment
2 | Mainly accessible | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
1 | Partly accessible | Some standards met but some areas not accessible
0 | Inaccessible | No level access into building and/or no disabled toilet
Summary of physical accessibility standards
Level access into building(s): Main and pupil entrance(s) level, with ramps and hand rails as required
Level access to all curriculum and social areas (not necessarily entire building/site): including assembly hall, canteen (may be achieved by sensitive organisation and timetabling)
Access to upper floors: if required - lift(s) as alternative to steps or stairs
Toilet facilities: small disabled toilet(s) as specified by building regulations - suitable for most disabled pupils. A small number of pupils will require enhanced facilities (hygiene room) to provide greater assistance, including hoisting.
Medical, therapy or SEN room: multi-purpose or flexible use - usually required in addition to a hygiene room, for regular physio and other physical programmes
Emergency evacuation: routes should be level and unobstructed. Evacuation must be documented (using Personal Emergency Evacuation Plans - PEEPs) and practised regularly