## Cover Page
Garway Primary School
Summary Report
Contents
|  | Section | Page | No. of pages
Garway Primary School |  | Summary Data | 3 | 1
Summary Report |  | General Information and Asset Summary | 4 | 1
|  | Maintenance and Condition Summary | 5 | 2
|  | Education Funding Agency Condition Survey Data | 7 | 1
Schools Capital Investment Strategy |  | Suitability and Compliance Summary | 8 | 2
|  | School Occupancy Summary | 10 | 1
|  | School Statistics | 11 | 1
|  | Environmental Sustainability Condition | 12 | 1
|  | Parental Preference | 13 | 1
|  | Distribution of Children Attending School or Resident in its Catchmnet Area | 14 | 1
|  | Distribution of Children Attending School or Where it is the Nearest School | 15 | 1
|  | Key Services Within 2 Mile Radius of School | 16 | 1
|  | Key Services Adjacent to School | 17 | 1
|  | Disability Access | 18 | 1
Children's Wellbeing
Herefordshire Council
Plough Lane Offices
Plough Lane
HEREFORD
HR4 0LE

## Summary Info
Garway Primary School
Summary Report
Summary of Headline Information
Asset Summary | [5 empty] | Occupancy Summary
Gross Site Area (M2)(whole site including building):- |  | 8910.95 |  |  |  | Current Capacity (PAN 15):- |  |  |  | 105
Insurance Asset Value (£000):- |  | 591917.964 |  |  |  | Allocated Capacity Size (PAN 15):- |  |  |  | 105
Land Asset Value (£000):- |  | 36428 |  |  |  | Current Occupancy:- |  |  |  | 42
Land Ownership:- | Owned by the Local Authority |  |  |  |  | Current Planned Admission No.:- |  |  |  | 15
[6 empty] | Current Number Over Capacity:- |  |  |  | 0
[6 empty] | Current Number Under Capacity:- |  |  |  | 63
Maintenance Expenditure Required on the School over a 5 Year Period Summary
Survey Date:- |  |  |  | 2012-03-20
Backlog Maintenance Total (£000):- | [6 empty] | 24.1676
Total Forecast Expenditure (5 years) (£000):- | [6 empty] | 112.3628
Total Potential Local Authority Forecast Expenditure (£000):- | [6 empty] | 103.3977
Total Potential School Forecast Expenditure (£000):- | [6 empty] | 33.1327
Suitability and Compliance
Required Number of Classrooms:- | [6 empty] | 4 | Required Building Footprint (M2):- |  | 816.76
Actual Number of Classrooms:- | [6 empty] | 3 | Current Building Area (M2):- |  | 561.9748
Percentage of Classrooms that are the Recommended Size:- | [6 empty] | 66.6667 | Area Shortfall (M2):- |  | 254.7852
Compliance Percentage of Recommended Hall Size:- | [6 empty] | 81.0429 | Area Surplus (M2):- |  | 0
Number of Temporary Buildings on Site:- |  |  |  |  | 1 |  |  | Total Percentage Compliance:- |  | 68.8054
Number of Classrooms in Temporary Buildings:- |  |  |  |  | 0
Compliance Percentage of Recommended Reception Toilets:- | [6 empty] | 0 | Required Net Site Area (M2):- |  | 5365.84
Compliance Percentage of Recommended Other Pupil Toilets:- | [6 empty] | 133.3333 | Current Net Site Area (M2):- |  | 8348.9752
Nursery on Site:- | Yes | [6 empty] | Area Shortfall (M2):- |  | 0
[8 empty] | Area Surplus (M2):- |  | 2983.1352
[8 empty] | Total Percentage Compliance:- |  | 155.5949
Disability Access
Rating:- | 1 |  | Details:- |  |  |  | Partly accessible
Environmental Sustainability Condition
DEC Rating:- |  |  |  |  | C
Electric Consumption 2014/Child:- |  |  |  |  | 478.8125
Gas Consumption 2014/Child:- |  |  |  |  | Not Available
School Statistics
Ofsted Results:- | [8 empty] | Requires Improvement
Percentage of Children Achieving KS2 Level 4 or Above in Reading, Writing and Maths in 2014:- | [8 empty] | 67
Parental Preference (2014)
Percentage of Parental First Preference Applications:- | [6 empty] | 13.3333
Total Number of Children within Catchment:- | [6 empty] | 42
Total Number of Children at School from Catchment:- | [6 empty] | 27
Percentage of Catchment at School:- | [6 empty] | 56.25
Percentage of Catchment Going to School:- | [6 empty] | 64.2857

## Report
|  |  | Garway Primary School | [6 empty] | Garway Primary School | [14 empty] | Garway Primary School | [7 empty] | Garway Primary School |  |  |  |  | Garway Primary School |  | Garway Primary School |  |  |  |  | Garway Primary School | [5 empty] | Garway Primary School |  |  | Garway Primary School | [8 empty] | Garway Primary School |  | Garway Primary School |  | Garway Primary School |  | Garway Primary School |  | Garway Primary School |  |  | Garway Primary School
|  |  | Summary Report | [6 empty] | Summary Report | [14 empty] | Summary Report | [7 empty] | Summary Report |  |  |  |  | Summary Report |  | Summary Report |  |  |  |  | Summary Report | [5 empty] | Summary Report |  |  | Summary Report | [8 empty] | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  |  | Summary Report
General Information |  |  |  | Maintenance and Condition Summary | [21 empty] | Education Funding Agency Condition Survey Data | [7 empty] | Suitability and Compliance Summary |  |  |  |  | Suitability and Compliance Summary (continued) |  | School Occupancy Summary |  |  |  |  | School Statistics | [5 empty] | Environmental Sustainability Condition |  |  | Parental Preference | [8 empty] | Distribution of Children Attending School or Resident in its Catchment Area |  | Distribution of Children Attending School or Where it is the Nearest School |  | Key Services Within 2 Mile Radius of School |  | Key Services Adjacent to School |  | Disability Access
Maintenance and Condition Summary (continued)
School Name:- | Garway Primary School |  |  | Survey Date:- | 2012-03-20 |  | Survey Company:- |  | Amey |  | Key Elements and Annual Forecast Maintenance Costs and Responsibilities | [14 empty] | Date of Survey:- |  | 2013-05-24 | [5 empty] | Areas | Standard Criteria (M2) (PAN 15) | Schools Compliance (M2) | Compliance Percentage |  |  |  | Current Planned Admission No. (PAN) | Current School Capacity | Maximum PAN | Maximum Capacity Based on PAN |  | Year | KS2 Year on Year Results |  |  |  |  | Electric Consumption 2014/Child:- | 478.8125 |  |  | Parental First Preference Applications | [15 empty] | Physical Accessibility Rating
Head Teacher:- | Mrs J Jones | DFE Number:- | 2053 | Year | Forecast Maintenance Costs (£ 000) | [5 empty] | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows and Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | Number of Occurences Identified Within the Report | [7 empty] | Basic Teaching Space | 248 | 178.61 | 72.0202 |  |  |  | 15 | 105 | 12 | 84 |  |  | School - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | LA - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | All Schools in England - Percentage Achieving Level 4 or Above in Reading, Writing and Maths |  |  | Gas Consumption 2014/Child:- | Not Available |  |  | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | [10 empty] | Rating: | 1
Leadership:- | Stand Alone | [24 empty] | Rating (see key below) | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other | Hall and Studio | 140 | 113.46 | 81.0429 | [17 empty] | PAN | 15 | 15 | 15 | 15 | 15 | 15
Address:- | Garway Primary School, Hereford HR2 8RQ | Email:- | admin@garway.hereford.sch.uk | Backlog | 24.1676 | [5 empty] | £ 000 | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | [8 empty] | Storage | 67 | 55.05 | 82.1642 |  |  |  | Historical Numbers on Roll Data (Spring Census) | [13 empty] | Number | 6 | 3.9 | 4.95 | 6 | 6 | 2 | [10 empty] | Details: | Partly accessible
|  |  |  | 2015 | 3.586 |  |  | 24.1676 |  |  | Backlog | 5.5584 | 0 | 3.586 | 0 | 3.1079 | 0 | 0 | 0 | 2.5915 | 0 | 4.5423 | 4.7814 | 0 | 0 | C1 | [7 empty] | Staff and Admin | 70 | 53.29 | 76.1286 |  |  |  | Year | Total NOR | Capacity Based on PAN | Shortfall | Surplus | 2012 | 63 | 71 | 75 | [5 empty] | Percentage | 40 | 26 | 33 | 40 | 40 | 13.3333
|  |  |  | 2016 | 20.3209 |  |  | 3.586 |  |  | 2015 | 1.793 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.793 | 0 | 0 | 0 | C2 | 2 | [6 empty] | Learning Resource | 67 | 70.46 | 105.1642 |  |  |  | 2008 / 2009 | 65 | 105 | 0 | 40 | 2013 | 57 | 71 | 75 | [22 empty] | Description: | Some standards met but some areas not accessible
|  |  |  | 2017 | 88.4558 |  |  | 20.3209 |  |  | 2016 | 1.1953 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.3442 | 2.3907 | 2.3907 | 0 | 0 | D1 | [7 empty] | Supplementary Area | 0 | 0 | - |  |  |  | 2009 / 2010 | 53 | 105 | 0 | 52 | 2014 | 67 | 76 | 79 | [5 empty] | Historical Catchment Analysis (Spring Census)
Telephone No.:- | T: 01600 750273 F: 01600 750605 | School Cluster:- | Kingstone District- Kingstone High School | 2018 | Not Available |  |  | 88.4558 |  |  | 2017 | 1.1953 | 0 | 3.586 | 47.814 | 0 | 0 | 0 | 0 | 0 | 22.114 | 1.793 | 11.9535 | 0 | 0 | D2 | [7 empty] | Non Net Area | 224.76 | 91.1048 | 40.5343 |  |  |  | 2010 / 2011 | 47 | 105 | 0 | 58 | [9 empty] | Catchment Analysis | Parental First Preference Applications 2012: 2010; Parental First Preference Applications 2013: 2011; Parental First Preference Applications 2014: 2012 | 2013 | 2014
|  |  |  | 2019 | Not Available |  |  | Not Available |  |  | 2018 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | D3 | [7 empty] | Total Gross Building Area | 816.76 | 561.9748 | 68.8054 |  |  |  | 2011 / 2012 | 44 | 105 | 0 | 61 | KS2 Test Results and Progress (2014) | [11 empty] | Total in Catchment | 33 | 41 | 39 | 37 | 42
[8 empty] | Not Available |  |  | 2019 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | [15 empty] | 2012 / 2013 | 45 | 105 | 0 | 60 | [12 empty] | Number at School from Catchment | 25 | 30 | 30 | 24 | 27
School Type:- | Community | Building Number:- | XCAM | Total | 136.5304 | [5 empty] | Totals | 9.7421 | 0 | 7.1721 | 47.814 | 3.1079 | 0 | 0 | 0 | 2.5915 | 36.4581 | 10.5191 | 19.1256 | 0 | 0 | *Note the information noted above has been extracted from the EFA survey focusing on elements that are C & D rated. Items with an A or B rating have been excluded. The numbers reference the quantity of elements that the survey has picked up within the relevant category | [7 empty] | Total Gross Site Area | 6182.6 | 8910.95 | 144.1295 |  |  |  | 2013 / 2014 | 48 | 105 | 0 | 57 | Pupils eligible for KS2 assessment |  |  |  | 6 | [7 empty] | Percentage at School from Catchment | 47.1698 | 63.8298 | 68.1818 | 53.3333 | 56.25
Current Capacity:- | 105 | Site Area:- | 8910.95 | [30 empty] | Net Site Area (less the building area) | 5365.84 | 8348.9752 | 155.5949 |  |  |  | Current Occupancy | 42 | 105 | 0 | 63 | Percentage achieving level 3 or below in reading, writing and maths |  |  |  | 0 | [7 empty] | Percentage of Catchment Going to School | 75.7576 | 73.1707 | 76.9231 | 64.8649 | 64.2857
[11 empty] | Total Potential Expenditure - Local Authority (£000) | [6 empty] | 103.3977 | [27 empty] | Percentage achieving level 4 or above in reading, writing and maths |  |  |  | 67
|  |  |  | Key Elements of Forecast Maintenance | [29 empty] | Key Information (based on Building Bulletin 103) | [6 empty] | Current Occupancy Summary (Autumn Census 2014) |  |  |  |  | Percentage achieving level 4B or above in reading and maths and level 4 or above in writing |  |  |  | 33 |  |  |  |  | Catchment and Nearest School Comparison (Autumn Census 2014)
|  |  |  | Categories |  | Totals (£ 000) | [19 empty] | Key | [7 empty] | Required Number of Classrooms |  |  |  | 4 |  |  | Year Group | NOR | Shortfall | Surplus |  | Percentage achieving level 5 or above in reading, writing and maths |  |  |  | 17 | [5 empty] | Parental First Preference Applications 2011: Catchment vs Nearest School; Parental First Preference Applications 2012: Catchment; Parental First Preference Applications 2013: Nearest
|  |  |  | External Grounds |  | 9.7421 |  |  |  |  | Total Potential Expenditure - School (£000) | [6 empty] | 33.1327 | [7 empty] | Condition grade | Definition |  |  |  | Priority rating | Definition |  | Number of Classrooms |  |  |  | 3 |  |  | Reception | 2 | 0 | 13 |  | Percentage making expected progress in reading |  |  |  | SUPP | [5 empty] | Parental First Preference Applications 2011: NOR; Parental First Preference Applications 2012: 42; Parental First Preference Applications 2013: 42
|  |  |  | Roof Works |  | 54.986 | [27 empty] | Percentage of Classrooms that are the Recommended Size |  |  |  | 66.6667 |  |  | One | 6 | 0 | 9 |  | Percentage making expected progress in writing |  |  |  | SUPP | [5 empty] | Parental First Preference Applications 2011: Total in Area; Parental First Preference Applications 2012: 42; Parental First Preference Applications 2013: 38
|  |  |  | External Walls |  | 3.1079 | [19 empty] | A Good | Performing as intended and operating efficiently |  |  |  | 1 | Immediate or year 1 remedial action required |  | Percentage of Classrooms that are Classed as Small |  |  |  | 33.3333 |  |  | Two | 7 | 0 | 8 |  | Percentage making expected progress in maths |  |  |  | SUPP | [5 empty] | Parental First Preference Applications 2011: Number at School from Area; Parental First Preference Applications 2012: 26; Parental First Preference Applications 2013: 25
|  |  |  | Windows and Doors |  | 0 | [27 empty] | Number of Temporary Buildings on Site |  |  |  | 1 | Category | Areas Included | Three | 4 | 0 | 11 |  | Average point score |  |  |  | 27.5 | [5 empty] | Parental First Preference Applications 2011: Percentage at School; Parental First Preference Applications 2012: 61.9048; Parental First Preference Applications 2013: 59.5238
|  |  |  | Internal Works |  | 39.0497 | [19 empty] | B Satisfactory | Performing as intended but exhibiting minor deterioration |  |  |  | 2 | Year 1-2 remedial action required |  | Number of Classrooms in Temporary Buildings |  |  |  | 0 | Basic Teaching Spaces | General Classrooms, ICT Rooms, Practical Areas | Four | 9 | 0 | 6 | [11 empty] | Parental First Preference Applications 2011: Percentage of area going to School; Parental First Preference Applications 2012: 61.9048; Parental First Preference Applications 2013: 65.7895
Asset Summary |  |  |  | Mechanical and Electrical |  | 29.6447 | [27 empty] | Percentage of Recommended Reception Toilets |  |  |  | 0 | Hall and Studio | Halls, Dining Areas | Five | 8 | 0 | 7 |  | Latest Ofsted Report Date:- |  | 2014-05-08
|  |  |  | Other (e.g. ancillary buildings) |  | 0 | [19 empty] | C Poor | Exhibiting major defects and/or not operating as intended |  |  |  | 3 | Year 3-5 remedial action required |  | Percentage of Recommended Other Pupil Toilets |  |  |  | 133.3333 | Storage | Coats and Bags, Teaching, Specialist, PE Equipment, Bulk Stock, Cleaning, Caretakers and Maintenance, Tables and Chairs, Staging, Mobility Equipment | Six | 6 | 0 | 9 |  | Ofsted Result:- |  | Requires Improvement
Asset Value - Insurance (£000):- |  | 591.918 | [38 empty] | Total | 42 | 0 | 63
Asset Value - Land (£000):- |  | 36.428 | [23 empty] | D Bad | Life-expired and/or at serious risk of imminent failure | [11 empty] | Staff and Admin | Heads and Staff Offices, Staff Room, Staff PPA,Reprographics Room, Sick Bay, Interview and Meeting Rooms, Secure Entrance
Land Owner:- |  | Owned by the Local Authority | [36 empty] | Learning Resource | Library, Small Group Rooms, SENCO Office, Medical Inspection Room
[39 empty] | Supplementary Area | Any other specialist area at the school e.g. Music Classroom, Swimming Pool, SEN Classrooms
Lease Agreement / Notes:- |  | Not Known
[39 empty] | Non Net Area | Pupil and Staff Toilets, Accessible Toilets, Hygiene Room, Kitchen, Corridors, Server Room, Boilers
Nursery Provision:- |  | PVI Nursery in building
[39 empty] | Additional Area | Nursery provision
Updated Suitability assessment to be undertaken
Updated Suitability assessment to be undertaken

## Feedback
|  | Garway Primary School |  |  | Garway Primary School |  |  | Garway Primary School
|  | Feedback Form |  |  | Feedback Form |  |  | Feedback Form
General Information and Asset Summary |  |  | School Occupancy Summary |  |  | Parental Preference
Do you believe the data to be accurate? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Maintenance and Condition Summary |  |  | School Statistics |  |  | Disability Access
Do you believe the data to be a fair reflection of the maintenance and condition of the school? | [5 empty] | Do you believe the data to be a fair reflection of the environmental condition of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Suitability and Compliance Summary |  |  | Environmental Sustainability Condition |  |  | Any Other Comments
Do you believe the data to be a fair reflection of the suitability and compliance issues faced by the school? | [5 empty] | Additional comments about the information provided:
Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments:
If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920
Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015

## Asset summary
Building ref number:- | XCAM
Site Area:- | 8910.95
Asset Value (Insurance):- | 591917.964
Asset Value (Land):- | 36428
Land owner:- | Owned by the Local Authority
Lease agreement / notes:- | Not Known
DEC rating:- | C
Electric consumption 2014/child:- | 478.8125
Gas consumption 2014/child:- | Not Available

## Maintenance
Maintenance & Condition Summary | [5 empty] | BCIS Quarter | 1Q2012 | [11 empty] | Check | Main year totals | Summary year totals | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows & Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | BCIS quarter | BCIS uplift
Year survey undertaken |  | 2012-03-20 |  |  |  | BCIS Uplift | 1.1953 | [15 empty] | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | 1Q2009 | 1.1525
Survey company:- |  | Amey | [17 empty] | 24167.5628 | 24167.5628 | Backlog | 5558.3721 | 0 | 3586.0465 | 0 | 3107.907 | 0 | 0 | 0 | 2591.5163 | 0 | 4542.3256 | 4781.3953 | 0 | 0 | 2Q2009 | 1.1898
[20 empty] | 3586.0465 | 3586.0465 | 2015 | 1793.0233 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1793.0233 | 0 | 0 | 0 | 3Q2009 | 1.1898
[20 empty] | 20320.9302 | 20320.9302 | 2016 | 1195.3488 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14344.186 | 2390.6977 | 2390.6977 | 0 | 0 | 4Q2009 | 1.2123
[6 empty] | Year covered? | Y | Y | Y | Y | N | N | School Costs | [6 empty] | 88455.814 | 88455.814 | 2017 | 1195.3488 | 0 | 3586.0465 | 47813.9535 | 0 | 0 | 0 | 0 | 0 | 22113.9535 | 1793.0233 | 11953.4884 | 0 | 0 | 1Q2010 | 1.2297
Category | Ref | Element | Recommended Works |  |  | Estimated Work Cost | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 |  | 0 | 0 | 2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2Q2010 | 1.1789
[20 empty] | 0 | 0 | 2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3Q2010 | 1.1735
|  | XCAM | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2010 | 1.1682
g | 2.1.2.g | DECORATING | Paint and wood stain all timber fences and gates and repair where necessary replacing any rotten timber. |  |  | 500 | 0 | 500 |  |  |  |  | 0 | 500 | 0 | 0 | 0 | 0 |  |  |  | Individual Category totals | 9742.093 | 0 | 7172.093 | 47813.9535 | 3107.907 | 0 | 0 | 0 | 2591.5163 | 36458.1395 | 10519.0698 | 19125.5814 | 0 | 0 | 1Q2011 | 1.1735
g | 2.1.3.a | SHEDS AND STORAGE | Wood stain timber surfaces and carry out necessary repairs |  |  | 800 | 800 | [5 empty] | 800 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2011 | 1.1525
g | 2.1.3.b | PERGOLA | Wood stain timber surfaces and carry out necessary repairs |  |  | 1850 | 1850 | [5 empty] | 1850 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Summary category totals | Main category totals | Check | [11 empty] | 3Q2011 | 1.1682
g | 2.1.4.a | CLIMBING FRAMES | Carry out annual ROSPA inspection on all play equipment and carry out necessary repairs to be carried out annually - £1000 per year x 5 |  |  | 5000 | 2000 | 1000 | 1000 | 1000 |  |  | 2000 | 1000 | 1000 | 1000 | 0 | 0 | [18 empty] | 4Q2011 | 1.1525
|  | XCAM/AA - MAIN BUILDING ORIGINAL PART |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | External Grounds |  | 9742.093 | 9742.093 | [12 empty] | 1Q2012 | 1.1953
r | 2.02.a | MAIN ROOF - FLAT | Roof generally is in good condition. Completely replace felt coverings and dressings to roof lights and abutments |  |  | 38000 | 0 |  |  | 38000 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Roof Works |  | 54986.0465 | 54986.0465 | [12 empty] | 2Q2012 | 1.1174
r | 2.02.d | MAIN ROOF - GUTTERS | Clean out gutters, check for leaks and carry out necessary repairs as such replacing defective sections, sealing joints, replacing joints and securing loose brackets. |  |  | 3000 | 1500 |  |  | 1500 |  |  | 1500 | 0 | 0 | 1500 | 0 | 0 |  |  | External Walls |  | 3107.907 | 3107.907 | [12 empty] | 3Q2012 | 1.1525
r | 2.02.e | MAIN ROOF - FASCIAS & BARGE BOARDS | Generally these are in fair condition and only require cleaning to remove algae. Small section of timber facia board still remains and should be replaced to match exiting UPVC. |  |  | 2000 | 0 |  |  | 2000 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Windows & Doors |  | 0 | 0 | [12 empty] | 4Q2012 | 1.1473
r | 2.03.i | DECORATIONS | Decorate timber fascia board and timber canopy |  |  | 3000 | 1500 |  |  | 1500 |  |  | 1500 | 0 | 0 | 1500 | 0 | 0 |  |  | Internal Works |  | 39049.6558 | 39049.6558 | [12 empty] | 1Q2013 | 1.0983
i | 2.4.i | FLOOR FINISHES | Sand and varnish |  |  | 6500 | 0 |  |  | 6500 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Mechanical & Electrical |  | 29644.6512 | 29644.6512 | [12 empty] | 2Q2013 | 1.089
i | 2.4.j | DOORS AND IRONMONGERY | Fire doors do not comply with current standards, recommend replace doors with 1/2 hour fire resisting self closing doors complete with vision panels to lobby entrance and main hall |  |  | 1800 | 1800 | [5 empty] | 1800 | 0 | 0 | 0 | 0 | 0 |  |  | Other |  | 0 | 0 | [12 empty] | 3Q2013 | 1.0983
i | 2.4.k | DOORS AND IRONMONGERY | Fire doors do not comply with current standards, recommend fire/smoke seal and finger traps to the following rooms: Classrooms 12, 17 & Library (2nr). Ease and adjust doors to storage area and room 1 |  |  | 350 | 350 | [5 empty] | 350 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2013 | 1.0798
i | 2.4.m | DECORATIONS | Implement a painting programme to be carried out during summer holidays |  |  | 24000 | 0 |  | 12000 | 12000 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Total |  | 136530.3535 | 136530.3535 | [12 empty] | 1Q2014 | 1.0447
i | 2.4.n |  | Mastics sealant to basin in Staff WC |  |  | 18 | 18 | [5 empty] | 18 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2014 | 1.0198
|  | XCAM/AB - Classroom extension 2001 |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 3Q2014 | 1.028
r | 2.05.c | MAIN ROOF - GUTTERS | Clean out gutters, check for leaks and carry out necessary repairs as such replacing defective sections, sealing joints, replacing joints and securing loose brackets. Cost included in item 2.02.d |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2014 | 1.0078
r | 2.06.d | RAIN WATER PIPES | Overhaul and clean out, works included in roof drainage section 2.02.d |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 1Q2015 | 1
e | 2.07.e | DECORATIONS | Implement a painting programme to be carried out during summer holidays - cost included intom 2.04.m |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  | XCAM/AC - Main school extension |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | 2.08.c | MAIN ROOF - GUTTERS | Clean out gutters, check for leaks and carry out necessary repairs as such replacing defective sections, sealing joints, replacing joints and securing loose brackets. Cost included in item 2.02.d |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | 2.09.c | RAIN WATER PIPES | Overhaul and clean out, works included in roof drainage section 2.02.d |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | 2.10.g | DECORATIONS | Implement a painting programme to be carried out during summer holidays - cost included intom 2.04.m |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  | XCAM - new extension circa 2006 |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | 2.11.c | MAIN ROOF - GUTTERS | Clean out gutters, check for leaks and carry out necessary repairs as such replacing defective sections, sealing joints, replacing joints and securing loose brackets. Cost included in item 2.02.d |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | 2.12.d | RAIN WATER PIPES | Overhaul and clean out, works included in roof drainage section 2.02.d |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  | ZZVA (Pre fab building) |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | 2.14.a | PRE-FABRICATED BUILDING | The building is in relative good condition with minor maintenance works required - In specific the timber skirt around the base of the building requires replacement in places and the front entrance door needs to be replaced. Also located on the site is a gas meter pipe which onto the path, this needs to be boxed in with feathered sides to prevent persons walking in to it - plan view trapezium shaped. |  |  | 1800 | 1800 | [5 empty] | 1800 | 0 | 0 | 0 | 0 | 0
|  | ZZVB (Pre fab building) |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | 2.16.a | PRE-FABRICATED BUILDING | The building is in relative good condition with minor maintenance works required - In specific the timber skirt around the base of the building requires replacement in places and the front entrance door needs to be replaced. |  |  | 800 | 800 | [5 empty] | 800 | 0 | 0 | 0 | 0 | 0
|  | XCAM / AA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.7.2.a | Heating - Hall | The existing hall fan convectors are coming to the end of their recommended serviceable life expectancy | GB | 3 | 10000 | 0 |  |  | 10000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | 3.7.2.c | Heating - Toilet radiators | Coming to the end of their recommended serviceable life expectancy | GB | 3 | 1000 | 0 |  |  | 1000 |  |  | 0 | 0 | 0 | 1000 | 0 | 0
m | 3.7.2.d | Heating - classroom 12 | Replace existing provisions with new LST radiators. | GB | 3 | 500 | 0 |  |  | 500 |  |  | 0 | 0 | 0 | 500 | 0 | 0
m | 3.7.3.a | Domestic Hot water - loacl storage units | Coming to the end of their recommended serviceable life expectancy | GD | 3 | 2000 | 0 |  | 2000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | 3.7.4.b | No ventilation within toilets | Install new extract provision within toilets | GE | 3 | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
|  | XCAM / AB |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.8.1.a | Heatiing | Existing fan convectors is reaching the end of its servicable life expectamcy, and therefore requires replacement. | GB | 3 | 500 | 0 | 500 |  |  |  |  | 0 | 500 | 0 | 0 | 0 | 0
m | 3.8.1.b | Heating pipework | Coming to the end of their recommended serviceable life expectancy | GB | 3 | 1000 | 0 | 1000 |  |  |  |  | 0 | 1000 | 0 | 0 | 0 | 0
m |  | ZZVA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.11.1.a | Heatiing - main classroom | Existing heater reaching the end of their recommended servicable lift expectancy. | GB | 3 | 500 | 0 |  | 500 |  |  |  | 0 | 0 | 500 | 0 | 0 | 0
m | 3.11.1.b | Heating - Toilets | Existing heater reaching the end of their recommended servicable lift expectancy. | GB | 3 | 250 | 0 |  | 250 |  |  |  | 0 | 0 | 250 | 0 | 0 | 0
|  | ZZVB |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.12.1.a | Heatiing - Main classroom | Existing heater reaching the end of their recommended servicable lift expectancy. | GB | 3 | 500 | 0 |  | 500 |  |  |  | 0 | 0 | 500 | 0 | 0 | 0
m | 3.12.1.b | Heating - Tooilets | Existing heater reaching the end of their recommended servicable lift expectancy. | GB | 3 | 250 | 0 |  | 250 |  |  |  | 0 | 0 | 250 | 0 | 0 | 0
m | 3.12.2.a | Domestic Hot water pipwwork | Existing storage heater reaching the end of their recommended servicable lift expectancy. | GD | 3 | 250 | 0 |  | 250 |  |  |  | 0 | 0 | 250 | 0 | 0 | 0
m | 3.12.3.a | Ventilation | Existingextraxt fans reaching the end of their recommended servicable lift expectancy. | GE | 3 | 250 | 0 |  | 250 |  |  |  | 0 | 0 | 250 | 0 | 0 | 0
|  | XCAM / AA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.1.3.e | Lighting | Remove and clean all existing diffusers of dead flys.within Corridor (ref 11 and 11 a | HC | 3 | 250 | 250 | [5 empty] | 250 | 0 | 0 | 0 | 0 | 0
m | 3.1.3.g | Lighting | Investigate / replace 3 no. fitting not operational (Classroom 12) | HC | 2 | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
m | 3.1.3.h | Lighting | Remove and clean all existing diffusers of dead flys. Replace existing fitting that is not operational. (Classroom 17) | HC | 2 | 250 | 250 | [5 empty] | 250 | 0 | 0 | 0 | 0 | 0
m | 3.1.3.i | Emergency lighting | Carry out a review of existing emergency provisions if any, and Install new emergency lighting provisions through out the school. | HH | 2 | 4000 | 4000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  | XCAM / AB |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.2.2.b | Emergency lighting | Carry out a review of existing emergency provisions if any, and Install new emergency lighting provisions within Classroom 32 | HH | 2 | 250 | 250 | [5 empty] | 250 | 0 | 0 | 0 | 0 | 0
m | 3.2.3.c | Bonding | Install bond to stainless steel sink | HL | 2 | 100 | 100 | [5 empty] | 100 | 0 | 0 | 0 | 0 | 0
|  | XCAM / AC |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.3.2.b | General Lighting | Replace damaged fitting, consideration to replacement with a vandel / impact resistant type fitting as per main hall. | HC | 2 | 250 | 250 | [5 empty] | 250 | 0 | 0 | 0 | 0 | 0
m | 3.3.2.c | Emergency lighting | Carry out a review of existing emergency provisions if any, and Install new emergency lighting provisions | HH | 3 | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
|  | XCAM / New extension |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.4.2.b | Emergency lighting | Carry out a review of existing emergency provisions if any, and Install new emergency lighting provisions within the area. | HH | 3 | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
|  | ZZVA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.5.2.a | General lighting | Repare damaged fittings / diffusers. (Lighting main classroom area0 | HC | 2 | 250 | 250 | [5 empty] | 250 | 0 | 0 | 0 | 0 | 0
m | 3.5.2.c | Lighting | Refix light switch before it becomes a heath and safety issue. | HC | 1 | 100 | 100 | [5 empty] | 100 | 0 | 0 | 0 | 0 | 0
|  | ZZVB |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.6.2.a | General lighting | Replace the existing luminaire that is not operational.(Main classroom area) | HC | 2 | 100 | 100 | [5 empty] | 100 | 0 | 0 | 0 | 0 | 0
m | 3.6.2.c | Emergency lighting | Carry out a review of existing emergency provisions if any, and Install new emergency lighting provisions through out. | HH | 2 | 250 | 250 | [5 empty] | 250 | 0 | 0 | 0 | 0 | 0

## EFA Property
|  |  | EFA survey data | [6 empty] | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other
DFE | School | School Type | Date received | Condition rating C or D | Priority rating 1 or 2 | Element | Category | CCP rating
|  |  |  | C | 2 | External areas, Pathes, Pedestrian paved areas, Play areas, Tarmac | G | GC2 | C1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | C | 2 | External areas, Soft landscapes, Generally | G | GC2 | C2 | 2 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D3 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Suitability and Compliance
Space |  |  | BB103 suggested sizes |  |  | Garway Primary School
[6 empty] | Suitability Data | [9 empty] | Compliance Comparison |  |  | 1/HALF | Form of entry | PAN | 15
Basic Teaching Spaces |  |  | No. of spaces | m2 | Total m2 | Plan ref | Space | [8 empty] | Total area | Shortfall | Surplus | 2010 | Date of last assessment
|  | Classroom - Year R | 1 | 62 | 62 | [10 empty] | 0 | 62 | 0
|  | Classroom - Year 1 | 1 | 62 | 62 | 12 | General classroom | 46.36 | [7 empty] | 46.36 | 15.64 | 0 | 1 | No. Temp Buildings on Site
|  | Classroom - Year 2 | 0 | 62 | 0 | [10 empty] | 0 | 0 | 0 | 0 | No. of Classrooms in Temporary Buildings
|  | Classroom - Year 3 | 1 | 62 | 62 | 17, 17a | General classroom | 48.6 | 18 | [6 empty] | 66.6 | 0 | 4.6 | 3 | No. of Classrooms
|  | Classroom - Year 4 | 0 | 62 | 0 | [10 empty] | 0 | 0 | 0 | 4 | Required No. of Classroooms
|  | Classroom - Year 5 | 1 | 62 | 62 | 32 | General classroom | 65.65 | [7 empty] | 65.65 | 0 | 3.65
|  | Classroom - Year 6 | 0 | 62 | 0 | [10 empty] | 0 | 0 | 0
|  | Practical area / food bay | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0 | 66.67% | of classrooms are the recommended size
|  | ICT base | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0 | 33.33% | of classrooms are small
[5 empty] | 248 | [10 empty] | 178.61 | 77.64 | 8.25 | 72.02% | of the recommended basic teaching space required
[18 empty] | 170.36 | 68.69% | of the recommended basic teaching space required ignoring surplus
Halls and Studios | [18 empty] | 31.31% | shortfall in basic teaching space
| 1 | Main hall | 1 | 140 | 140 | 9 | Hall | 113.46 | [7 empty] | 113.46 | 26.54 | 0
[5 empty] | 140 | [10 empty] | 113.46 | 26.54 | 0 | 81.04% | of the recommended hall size
Storage | [18 empty] | 18.96% | shortfall in hall size
| 1 | Coat and bag storage - Year R | 1 | 3 | 3 | [10 empty] | 0 | 3 | 0
| 2 | Coat and bag storage - Year 1 | 1 | 3 | 3 | 11a | Cloakroom | 15.79 | [7 empty] | 15.79 | 0 | 12.79
| 3 | Coat and bag storage - Year 2 | 0 | 3 | 0 | [10 empty] | 0 | 0 | 0
| 4 | Coat and bag storage - Year 3 | 1 | 3 | 3 | [10 empty] | 0 | 3 | 0
| 5 | Coat and bag storage - Year 4 | 0 | 3 | 0 | [10 empty] | 0 | 0 | 0
| 6 | Coat and bag storage - Year 5 | 1 | 3 | 3 | [10 empty] | 0 | 3 | 0
| 7 | Coat and bag storage - Year 6 | 0 | 3 | 0 | [10 empty] | 0 | 0 | 0
| 8 | Teaching storage - Year R | 1 | 2 | 2 | [10 empty] | 0 | 2 | 0
| 9 | Teaching storage - Year 1 | 1 | 2 | 2 | [10 empty] | 0 | 2 | 0
| 10 | Teaching storage - Year 2 | 0 | 2 | 0 | [10 empty] | 0 | 0 | 0
| 11 | Teaching storage - Year 3 | 1 | 2 | 2 | [10 empty] | 0 | 2 | 0
| 12 | Teaching storage - Year 4 | 0 | 2 | 0 | [10 empty] | 0 | 0 | 0
| 13 | Teaching storage - Year 5 | 1 | 2 | 2 | [10 empty] | 0 | 2 | 0
| 14 | Teaching storage - Year 6 | 0 | 2 | 0 | [10 empty] | 0 | 0 | 0
| 15 | Specialist walk in stores | 2 | 5 | 10 | 1b, 3a, 5, 13, 29, 17b, 26 | Store room | 3.24 | 0.68 | 2.55 | 1.22 | 4.73 | 3.7 | 0.71 |  | 16.83 | 0 | 6.83
| 18 | Indoor PE equipment storage | 1 | 14 | 14 | 6 | Store room | 14 | [7 empty] | 14 | 0 | 0
| 19 | Outdoor PE equipment storage | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0
|  | Bulk stock store | 1 | 4 | 4 | [10 empty] | 0 | 4 | 0
| 21 | Caretakers and maintenance store | 1 | 4 | 4 | [10 empty] | 0 | 4 | 0
| 22 | Cleaning store | 1 | 3 | 3 | UN10, 19a | Cleaners store room | 2.13 | 0.3 | [6 empty] | 2.43 | 0.57 | 0
| 23 | Table and chair store | 1 | 6 | 6 | 6 | Store room | 6 | [7 empty] | 6 | 0 | 0
| 25 | Staging/ appliance store | 1 | 4 | 4 | [10 empty] | 0 | 4 | 0
|  | Mobility equipment store | 1 | 2 | 2 | [10 empty] | 0 | 2 | 0
| 24 | Store for community | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0
[5 empty] | 67 | [10 empty] | 55.05 | 31.57 | 19.62 | 82.16% | of the recommended storage space required
Staff and admin | [18 empty] | 47.12% | shortfall
| 1 | Heads office | 1 | 12 | 12 | 7 | Heads office | 17.64 | [7 empty] | 17.64 | 0 | 5.64
| 3 | Staff room work and social | 1 | 21 | 21 | 1 | Staffroom | 16.97 | [7 empty] | 16.97 | 4.03 | 0
|  | Staff PPA | 1 | 8 | 8 | [10 empty] | 0 | 8 | 0
| 4 | Senior management office | 0 | 10 | 0 | [10 empty] | 0 | 0 | 0
| 7 | General office (reception) | 1 | 8 | 8 | 21 | Reception (office) | 13.78 | [7 empty] | 13.78 | 0 | 5.78
| 8 | Secure reception | 1 | 4 | 4 | 20a | Entrance | 4.9 | [7 empty] | 4.9 | 0 | 0.9
| 9 | Reprographics room | 1 | 6 | 6 | [10 empty] | 0 | 6 | 0
| 10 | Meeting room | in head | 0 | 0 | [10 empty] | 0 | 0 | 0
| 11 | Sick bay | 1 | 3 | 3 | [10 empty] | 0 | 3 | 0
| 13 | Interview room | 1 | 8 | 8 | [10 empty] | 0 | 8 | 0
[5 empty] | 70 | [10 empty] | 53.29 | 29.03 | 12.32 | 76.13% | of the recommended staff and admin space required
Learning resource area | [18 empty] | 41.47% | shortfall
| 1 | Library (learning resource centre) | 1 | 21 | 21 | UN9, 1a | Library | 14.52 | 7.16 | [6 empty] | 21.68 | 0 | 0.68
| 3 | Small group room | 2 | 11 | 22 | 28 | Small group room | 48.78 | [7 empty] | 48.78 | 0 | 26.78
| 5 | SENco office (SEN resource) | 1 | 12 | 12 | [10 empty] | 0 | 12 | 0
| 2 | Medical inspection room/ Therapy room | 1 | 12 | 12 | [10 empty] | 0 | 12 | 0
[5 empty] | 67 | [10 empty] | 70.46 | 24 | 27.46 | 105.2% | of the recommended learning resource areas
Supplementary area | [18 empty] | 35.82% | shortfall
| 1 |  | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0
|  |  | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0
[5 empty] | 0 | [10 empty] | 0 | 0 | 0 | - | of the recommended supplementary areas
Non net areas | [18 empty] | - | shortfall
| 1 | Reception toilets | 3 | 2 | 6 | [10 empty] | 0 | 6 | 0 | 0 | Number of reception toilets
| 1 | Pupils toilets | 6 | 2 | 12 | 15,19, 25, 27a, 27b | Pupil wcs (6 wc's 2 urinals) | 6.46 | 7.13 | 0.68 | 3.02 | 1.61 | 1.71 |  |  | 20.61 | 0 | 8.61 | 8 | Number of other pupil toilets
| 2 | Staff toilets | 2 | 2 | 4 | 10 | Staff wc (multi-sex (1 wc) | 2.13 | [7 empty] | 2.13 | 1.87 | 0 | 0% | % of recommended reception toilets
| 3 | Accessible toilet | 1 | 3 | 3 | 18 | Disabled w.c. | 6.46 | [7 empty] | 6.46 | 0 | 3.46 | 133.3% | % of recommended other pupil toilets
| 9 | Hygiene room | 1 | 12 | 12 | [10 empty] | 0 | 12 | 0
| 4 | Kitchen facilities (servery) | 1 | 22 | 22 | [10 empty] | 0 | 22 | 0
| 5 | Corridors | - | 22.5% | 133.2 | 3, 11, 20, 27, 37, 37a, UN11 | Corridor | 2.8 | 8.28 | 8.09 | 4.9 | 4.62 | 2.29 | 2.99 | 4 | 37.97 | 95.23 | 0
| 6 | Boiler room | 1 | 1.5% | 8.88 | 4, 22 | Meter room | 1.5 | 3.6 | [6 empty] | 5.1 | 3.78 | 0
| 7 | Server | in boiler | [12 empty] | 0 | 0 | 0
|  | Walls | - | 4% | 23.68 |  |  | 18.8348 | [7 empty] | 18.8348 | 4.8452 | 0
[5 empty] | 224.76 | [10 empty] | 91.1048 | 145.7252 | 12.07 | 40.53% | of the recommended non net area
Additional area | [18 empty] | 64.84% | shortfall
|  | Nursery class | 1 | 62 | 62 | 42 | Community use | 40.91 | [7 empty] | 40.91 | 21.09 | 0
|  | Quiet room | 1 | 8 | 8 | 42A | Community use | 29.22 | [7 empty] | 29.22 | 0 | 21.22
|  | Nursery store room | 1 | 2 | 2 | 39 | Community use | 4.79 | [7 empty] | 4.79 | 0 | 2.79
|  | Nursery office | 1 | 8 | 8 | [10 empty] | 0 | 8 | 0
|  | Nursery cloakroom | 1 | 3 | 3 | 40 | Community use | 3.68 | [7 empty] | 3.68 | 0 | 0.68
|  | Nursery pupils toilets | 3 | 2 | 6 | 41 | Community use | 3.13 | [7 empty] | 3.13 | 2.87 | 0
|  | Nursery staff toilets | 1 | 2 | 2 | [10 empty] | 0 | 2 | 0
|  | Nursery entrance | 1 | 22.5% | 1.8675 | 38 | Community use | 4.66 | [7 empty] | 4.66 | 0 | 2.7925
[5 empty] | 92.8675 | [10 empty] | 86.39 | 33.96 | 27.4825 | 93.03% | of the recommended additional area
[19 empty] | 36.57% | shortfall
Total Net area |  |  |  |  | 592 | [10 empty] | 470.87
Total Non-Net area |  |  |  |  | 224.76 | [10 empty] | 91.1048
Gross (total build) area - excluding nursery |  |  |  |  | 816.76 | [10 empty] | 561.9748 |  |  | 68.81% | of the recommended Gross area
Gross (total build) area - including nursery |  |  |  |  | 909.6275 | [10 empty] | 648.3648
Net Area Range |  |  |  |  | 780.5-872.5
Mid Range |  |  |  |  | 826.5
Total Site Area Range |  |  |  |  | 5494.5-6870.6
Mid Range |  |  |  |  | 6182.6
2
3
4

## Occupancy
Sufficiency Data
Planned Admission Number | Current Capacity | Maximum PAN | Capacity based on max PAN
15 | 105 | 12 | 84
NOR Spring Census
| 2008 / 2009 | 2009 / 2010 | 2010 / 2011 | 2011 / 2012 | 2012 / 2013 | 2013 / 2014
NOR Jan | 65 | 53 | 47 | 44 | 45 | 48
Maximum Capacity | 105 | 105 | 105 | 105 | 105 | 105
Number of Surplus Places | 40 | 52 | 58 | 61 | 60 | 57
% of surplus places | 38.1 | 49.5 | 55.2 | 58.1 | 57.1 | 54.2857
Current Numbers on Roll (from Autumn Census)
Year group | R | 1 | 2 | 3 | 4 | 5 | 6 | Total
Number | 2 | 6 | 7 | 4 | 9 | 8 | 6 | 42

## School stats
Current Ofsted | Year
Requires Improvement | 2014-05-08
2014 KS2 Performance Tables last update : (15 Sep 2014)
Year on year comparisons
Percentage achieving Level 4 or above in reading, writing and maths | 2012 | 2013 | 2014
School | 63% | 57% | 67%
LA | 71% | 71% | 76%
England - All Schools | 75% | 75% | 79%
KS2 test results and progress
| All pupils | Low attainers | Middle attainers | High attainers
Pupils eligible for KS2 assessment | 6
Percentage of pupils achieving 3 or below in reading and maths test and writing TA | 0% | NA | SUPP | NA
Percentage of pupils achieving level 4 or above in reading and maths test and writing TA | 67% | NA | SUPP | NA
Percentage of pupils achieved level 4B or above in reading and maths test and level 4 in writing TA | 33% | NA | SUPP | NA
Percentage of pupils achieving level 5 or above in reading and maths test and writing TA | 17% | NA | SUPP | NA
Percentage of pupils making at least 2 levels of progress in reading | SUPP | NA | SUPP | NA
Percentage of pupils making at least 2 levels of progress in writing TA | SUPP | NA | SUPP | NA
Percentage of pupils making at least 2 levels of progress in maths | SUPP | NA | SUPP | NA
Average point score | 27.5
Closing the Gap
| Disadvantaged pupils | Other pupils
Percentage of disadvantaged pupils achieving level 3 or below in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4B or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 5 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in reading | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in maths | SUPP | SUPP
Value Added measures
| Measure | Lower CI | Upper CI | Coverage
Overall value added measure | SUPP | SUPP | SUPP | SUPP
Reading value added measure | SUPP | SUPP | SUPP | SUPP
Writing TA value added measure | SUPP | SUPP | SUPP | SUPP
Maths value added measure | SUPP | SUPP | SUPP | SUPP
Subject level results
| Reading test | Maths test | Grammar, punctuation and spelling test | Writing TA
Percentage achieving level 3 or below | 0% | 33% | 17% | 0%
Percentage achieving Level 4 or above | 100% | 67% | 83% | 100%
Percentage achieving Level 4b or above | 83% | 33% | 50% | NA
Percentage achieving Level 5 or above | 33% | 17% | 33% | 33%
Pupil Absence last update : (11 Dec 2013)
| School | England - national (primary state-funded)
Overall absence: percentage | 5% | 4.8%
Persistent absence: around 15% + | SUPP | 3.6%
2013-14 Finance last update : (10 Dec 2014)
Contextual information
Number of pupils (FTE) | 48
Percentage of pupils eligible for Free School Meals (FSM) | 12.5%
Free school meals eligibility band | LOW
Spend per pupil data as £ per pupil (in brackets percentage of total income or expenditure)
| School | LA Median | Non-London LAs Median | National Median
Grant funding | 5654 (97%) | 4525 | 4016 | 4325
Self generated income | 167 (3%) | 144 | 142 | 127
Total income | 5821 | 4723 | 4183 | 4479
Teaching staff | SUPP | 2277 | 2045 | 2106
Supply Staff | 7 (0%) | 87 | 118 | 127
Education support staff | SUPP | 689 | 650 | 733
Learning resources (not ICT equipment) | 222 (4%) | 181 | 174 | 184
ICT learning resources | 105 (2%) | 81 | 62 | 66
Bought in professional services - curriculum | 215 (4%) | 88 | 59 | 67
Back office (incl. Staff costs) | 626 (10%) | 406 | 334 | 351
Catering (incl. Staff costs) | 54 (1%) | 35 | 53 | 75
Premises (incl. Staff costs) | 350 (6%) | 259 | 275 | 301
Other staff costs | 316 (5%) | 153 | 133 | 142
Energy | 100 (2%) | 68 | 62 | 65
Other expenditure | 161 (3%) | 94 | 85 | 88
Total expenditure | 5977 | 4562 | 4143 | 4431
Spend per pupil data as £ per pupil : Comparisons over time
| 2010-11 | 2011-12 | 2012-13 | 2013-14
Teaching staff and Education support staff expenditure | SUPP | 4371 | SUPP | 3821
Supply staff | 88 | 227 | 127 | 7
Back office (incl. Staff costs) | 565 | 559 | 677 | 626
Energy | 120 | 124 | 132 | 100
Total expenditure | 6937 | 6803 | 5831 | 5977
School Workforce last update : (10 Dec 2014)
This data is based upon the November 2013 School Workforce Census
| School | England - national (primary state-funded)
Headcount of all teachers in a school | 6 | 236728
Headcount of all teaching assistants in a school | 5 | 239340
Headcount of all support (exc. auxillary) staff in a school | 4 | 77335
Full-time equivalent number of all teachers in a school | 5 | 207827.7
Full-time equivalent number of all teaching assistants in a school | 2.1 | 154245.3
Full-time equivalent number of all support (exc. auxillary) staff in a school | 0.7 | 51728.3
Ratio of pupils to teachers in a school | 9.6 | 20.5
Average gross salary of all teachers in a school | 35899 | 36559

## Parental Preference
Popularity Data | [10 empty] | Children at School From School Catchment
Parental First Preference Applications | [11 empty] | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  | Catchment vs Nearest School |  |  |  |  | Catchment | Nearest
Year | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  |  | NOR | 53 | 47 | 44 | 45 | 48 |  |  |  | NOR |  |  |  |  | 42 | 42
PAN | 15 | 15 | 15 | 15 | 15 | 15 |  |  |  |  | Number | 25 | 30 | 30 | 24 | 27 |  |  |  | Total in area |  |  |  |  | 42 | 38
No. | 6 | 3.9 | 4.95 | 6 | 6 | 2 |  |  |  |  | % | 47.1698 | 63.8298 | 68.1818 | 53.3333 | 56.25 |  |  |  | Number at School from area |  |  |  |  | 26 | 25
% | 40 | 26 | 33 | 40 | 40 | 13.3333 | [13 empty] | % at School |  |  |  |  | 61.9048 | 59.5238
[11 empty] | Total number in Catchment | [8 empty] | % of area going to School |  |  |  |  | 61.9048 | 65.7895
[12 empty] | 2010 | 2011 | 2012 | 2013 | 2014
[11 empty] | Number | 33 | 41 | 39 | 37 | 42
[11 empty] | % | 100 | 100 | 100 | 100 | 100
Where children at School are coming from (from Spring Census 2014)
DCSF No. | School |  | Clifford | Ewyas Harold | Garway | Broadlands | Lord Scudamore | Marlbrook | St Martin’s | Holme Lacy | Kings Caple | Kingstone & Thruxton | Longtown | Lugwardine | Madley | Michaelchurch Escley | Peterchurch | Ashfield Park | St Weonards | Clehonger C E | Holmer C E | Little Dewchurch CE | Much Birch C E | Stretton Sugwas C E | Bridstow CE | St James’ C E | St Thomas Cantilupe C E | Riverside Primary | Out of County | Grand Total
2046 | Ewyas Harold | Number | 0 | 88 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 12 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 4 | 114
2046 | Ewyas Harold | % | 0 | 77.193 | 1.7544 | 0 | 0 | 0.87719 | 0 | 0 | 0 | 10.5263 | 0.87719 | 0 | 0.87719 | 1.7544 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6316 | 0 | 0 | 0 | 0 | 0 | 3.5088 | 100
2053 | Garway | Number | 0 | 11 | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 48
2053 | Garway | % | 0 | 22.9167 | 56.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.5833 | 0 | 0 | 0 | 4.1667 | 0 | 0 | 0 | 0 | 0 | 2.0833 | 100
2095 | Kingstone & Thruxton | Number | 0 | 1 | 2 | 0 | 0 | 8 | 9 | 0 | 0 | 111 | 0 | 0 | 12 | 1 | 4 | 2 | 0 | 3 | 0 | 0 | 2 | 1 | 0 | 0 | 1 | 20 | 0 | 177
2095 | Kingstone & Thruxton | % | 0 | 0.56497 | 1.1299 | 0 | 0 | 4.5198 | 5.0847 | 0 | 0 | 62.7119 | 0 | 0 | 6.7797 | 0.56497 | 2.2599 | 1.1299 | 0 | 1.6949 | 0 | 0 | 1.1299 | 0.56497 | 0 | 0 | 0.56497 | 11.2994 | 0 | 100
2104 | Madley | Number | 3 | 2 | 0 | 0 | 1 | 16 | 1 | 1 | 0 | 40 | 0 | 1 | 99 | 1 | 7 | 0 | 0 | 17 | 1 | 0 | 2 | 3 | 0 | 0 | 0 | 17 | 0 | 212
2104 | Madley | % | 1.4151 | 0.9434 | 0 | 0 | 0.4717 | 7.5472 | 0.4717 | 0.4717 | 0 | 18.8679 | 0 | 0.4717 | 46.6981 | 0.4717 | 3.3019 | 0 | 0 | 8.0189 | 0.4717 | 0 | 0.9434 | 1.4151 | 0 | 0 | 0 | 8.0189 | 0 | 100
3021 | Clehonger C E | Number | 0 | 1 | 0 | 0 | 0 | 16 | 4 | 2 | 0 | 16 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 43 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 31 | 0 | 119
3021 | Clehonger C E | % | 0 | 0.84034 | 0 | 0 | 0 | 13.4454 | 3.3613 | 1.6807 | 0 | 13.4454 | 0 | 0 | 4.2017 | 0 | 0 | 0 | 0 | 36.1345 | 0.84034 | 0 | 0 | 0 | 0 | 0 | 0 | 26.0504 | 0 | 100
3079 | Much Birch C E | Number | 0 | 1 | 0 | 1 | 1 | 22 | 35 | 4 | 6 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 1 | 1 | 1 | 81 | 1 | 2 | 1 | 0 | 15 | 0 | 196
3079 | Much Birch C E | % | 0 | 0.5102 | 0 | 0.5102 | 0.5102 | 11.2245 | 17.8571 | 2.0408 | 3.0612 | 4.0816 | 0 | 0 | 0 | 0 | 0 | 0 | 7.6531 | 0.5102 | 0.5102 | 0.5102 | 41.3265 | 0.5102 | 1.0204 | 0.5102 | 0 | 7.6531 | 0 | 100
Where school children in the Schools Catchment area are going to (from Spring Census 2014)
DCSF No. | School |  | Burghill Community | Ewyas Harold | Garway | Hampton Dene | Lord Scudamore | Marlbrook | St Martin’s | Trinity | Kings Caple | Kingstone & Thruxton | Ledbury | Longtown | Madley | Michaelchurch Escley | Peterchurch | Ashfield Park | St Weonards | Canon Pyon C E | Clehonger C E | Goodrich C E | Gorsley Goffs Endowed | Little Dewchurch CE | Mordiford C E | Much Birch C E | Bridstow CE | St Mary’s C E, Fownhope | Our Lady's RC | St Francis Xaviers RC | St Josephs RC | Staunton-on-Wye Endowed | St Thomas Cantilupe C E | Riverside | Grand Total
2046 | Ewyas Harold | Number | 1 | 88 | 11 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 9 | 2 | 0 | 7 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 124
2046 | Ewyas Harold | % | 0.80645 | 70.9677 | 8.871 | 0.80645 | 0 | 0 | 0 | 0 | 0 | 0.80645 | 0 | 7.2581 | 1.6129 | 0 | 5.6452 | 0 | 0 | 0 | 0.80645 | 0 | 0 | 0 | 0 | 0.80645 | 0 | 0 | 0 | 1.6129 | 0 | 0 | 0 | 0 | 100
2053 | Garway | Number | 0 | 2 | 27 | 0 | 0 | 2 | 1 | 0 | 1 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 42
2053 | Garway | % | 0 | 4.7619 | 64.2857 | 0 | 0 | 4.7619 | 2.381 | 0 | 2.381 | 4.7619 | 0 | 4.7619 | 0 | 0 | 0 | 0 | 9.5238 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.381 | 100
2095 | Kingstone & Thruxton | Number | 0 | 12 | 0 | 1 | 1 | 6 | 3 | 2 | 0 | 111 | 2 | 1 | 40 | 1 | 5 | 0 | 0 | 0 | 16 | 0 | 0 | 1 | 0 | 8 | 1 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 214
2095 | Kingstone & Thruxton | % | 0 | 5.6075 | 0 | 0.46729 | 0.46729 | 2.8037 | 1.4019 | 0.93458 | 0 | 51.8692 | 0.93458 | 0.46729 | 18.6916 | 0.46729 | 2.3364 | 0 | 0 | 0 | 7.4766 | 0 | 0 | 0.46729 | 0 | 3.7383 | 0.46729 | 0 | 0.93458 | 0 | 0 | 0 | 0.46729 | 0 | 100
2104 | Madley | Number | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 12 | 0 | 0 | 99 | 0 | 1 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 126
2104 | Madley | % | 0 | 0.79365 | 0 | 0 | 0.79365 | 0 | 0 | 0.79365 | 0 | 9.5238 | 0 | 0 | 78.5714 | 0 | 0.79365 | 0 | 0 | 0 | 3.9683 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7619 | 0 | 0 | 100
3021 | Clehonger C E | Number | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 17 | 1 | 1 | 0 | 0 | 1 | 43 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 0 | 0 | 2 | 0 | 2 | 75
3021 | Clehonger C E | % | 0 | 0 | 0 | 0 | 2.6667 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 22.6667 | 1.3333 | 1.3333 | 0 | 0 | 1.3333 | 57.3333 | 0 | 0 | 0 | 0 | 1.3333 | 0 | 0 | 2.6667 | 0 | 0 | 2.6667 | 0 | 2.6667 | 100
3079 | Much Birch C E | Number | 0 | 3 | 2 | 0 | 0 | 0 | 1 | 1 | 8 | 2 | 0 | 0 | 2 | 0 | 0 | 1 | 2 | 0 | 0 | 2 | 2 | 5 | 1 | 81 | 1 | 2 | 0 | 0 | 1 | 0 | 0 | 1 | 118
3079 | Much Birch C E | % | 0 | 2.5424 | 1.6949 | 0 | 0 | 0 | 0.84746 | 0.84746 | 6.7797 | 1.6949 | 0 | 0 | 1.6949 | 0 | 0 | 0.84746 | 1.6949 | 0 | 0 | 1.6949 | 1.6949 | 4.2373 | 0.84746 | 68.6441 | 0.84746 | 1.6949 | 0 | 0 | 0.84746 | 0 | 0 | 0.84746 | 100

## Disability access
Physical Accessibility Rating | 1
Information from https://www.herefordshire.gov.uk/education-and-learning/schools/directory
Ratings and descriptions
Rating | Details | Description
3 | Fully accessible | Will meet the needs of all disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling); Has a full hygiene room and special educational needs or therapy room for pupils who need more assistance with personal care (including hoisting) and regular physio or other treatment
2 | Mainly accessible | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
1 | Partly accessible | Some standards met but some areas not accessible
0 | Inaccessible | No level access into building and/or no disabled toilet
Summary of physical accessibility standards
Level access into building(s): Main and pupil entrance(s) level, with ramps and hand rails as required
Level access to all curriculum and social areas (not necessarily entire building/site): including assembly hall, canteen (may be achieved by sensitive organisation and timetabling)
Access to upper floors: if required - lift(s) as alternative to steps or stairs
Toilet facilities: small disabled toilet(s) as specified by building regulations - suitable for most disabled pupils. A small number of pupils will require enhanced facilities (hygiene room) to provide greater assistance, including hoisting.
Medical, therapy or SEN room: multi-purpose or flexible use - usually required in addition to a hygiene room, for regular physio and other physical programmes
Emergency evacuation: routes should be level and unobstructed. Evacuation must be documented (using Personal Emergency Evacuation Plans - PEEPs) and practised regularly