## Cover Page
Kington Primary School
Summary Report
Contents
|  | Section | Page | No. of pages
Kington Primary School |  | Summary Data | 3 | 1
Summary Report |  | General Information and Asset Summary | 4 | 1
|  | Maintenance and Condition Summary | 5 | 2
|  | Education Funding Agency Condition Survey Data | 7 | 1
Schools Capital Investment Strategy |  | Suitability and Compliance Summary | 8 | 2
|  | School Occupancy Summary | 10 | 1
|  | School Statistics | 11 | 1
|  | Environmental Sustainability Condition | 12 | 1
|  | Parental Preference | 13 | 1
|  | Distribution of Children Attending School or Resident in its Catchmnet Area | 14 | 1
|  | Distribution of Children Attending School or Where it is the Nearest School | 15 | 1
|  | Key Services Within 2 Mile Radius of School | 16 | 1
|  | Key Services Adjacent to School | 17 | 1
|  | Disability Access | 18 | 1
Children's Wellbeing
Herefordshire Council
Plough Lane Offices
Plough Lane
HEREFORD
HR4 0LE

## Summary Info
Kington Primary School
Summary Report
Summary of Headline Information
Asset Summary | [5 empty] | Occupancy Summary
Gross Site Area (M2)(whole site including building):- |  | 4234.29 |  |  |  | Current Capacity (PAN 30):- |  |  |  | 210
Insurance Asset Value (£000):- |  | 1672199.8966 |  |  |  | Allocated Capacity Size (PAN 30):- |  |  |  | 210
Land Asset Value (£000):- |  | 423429 |  |  |  | Current Occupancy:- |  |  |  | 204
Land Ownership:- | Owned by the Local Authority |  |  |  |  | Current Planned Admission No.:- |  |  |  | 30
[6 empty] | Current Number Over Capacity:- |  |  |  | 0
[6 empty] | Current Number Under Capacity:- |  |  |  | 6
Maintenance Expenditure Required on the School over a 5 Year Period Summary
Survey Date:- |  |  |  | 2014-09-12
Backlog Maintenance Total (£000):- | [6 empty] | Not Available
Total Forecast Expenditure (5 years) (£000):- | [6 empty] | 406.5483
Total Potential Local Authority Forecast Expenditure (£000):- | [6 empty] | 359.4916
Total Potential School Forecast Expenditure (£000):- | [6 empty] | 47.0567
Suitability and Compliance
Required Number of Classrooms:- | [6 empty] | 7 | Required Building Footprint (M2):- |  | 1225
Actual Number of Classrooms:- | [6 empty] | 8 | Current Building Area (M2):- |  | 1375.0796
Percentage of Classrooms that are the Recommended Size:- | [6 empty] | 12.5 | Area Shortfall (M2):- |  | 0
Compliance Percentage of Recommended Hall Size:- | [6 empty] | 47.2333 | Area Surplus (M2):- |  | 150.0796
Number of Temporary Buildings on Site:- |  |  |  |  | 0 |  |  | Total Percentage Compliance:- |  | 112.2514
Number of Classrooms in Temporary Buildings:- |  |  |  |  | 0
Compliance Percentage of Recommended Reception Toilets:- | [6 empty] | 0 | Required Net Site Area (M2):- |  | 8891
Compliance Percentage of Recommended Other Pupil Toilets:- | [6 empty] | 130 | Current Net Site Area (M2):- |  | 2859.2104
Nursery on Site:- | Yes | [6 empty] | Area Shortfall (M2):- |  | 6031.7896
[8 empty] | Area Surplus (M2):- |  | 0
[8 empty] | Total Percentage Compliance:- |  | 32.1585
Disability Access
Rating:- | 1 |  | Details:- |  |  |  | Partly accessible
Environmental Sustainability Condition
DEC Rating:- |  |  |  |  | D
Electric Consumption 2014/Child:- |  |  |  |  | 248.7961
Gas Consumption 2014/Child:- |  |  |  |  | 995.1667
School Statistics
Ofsted Results:- | [8 empty] | Requires Improvement
Percentage of Children Achieving KS2 Level 4 or Above in Reading, Writing and Maths in 2014:- | [8 empty] | 67
Parental Preference (2014)
Percentage of Parental First Preference Applications:- | [6 empty] | 90
Total Number of Children within Catchment:- | [6 empty] | 252
Total Number of Children at School from Catchment:- | [6 empty] | 192
Percentage of Catchment at School:- | [6 empty] | 93.2039
Percentage of Catchment Going to School:- | [6 empty] | 76.1905

## Report
|  |  | Kington Primary School | [6 empty] | Kington Primary School | [14 empty] | Kington Primary School | [7 empty] | Kington Primary School |  |  |  |  | Kington Primary School |  | Kington Primary School |  |  |  |  | Kington Primary School | [5 empty] | Kington Primary School |  |  | Kington Primary School | [8 empty] | Kington Primary School |  | Kington Primary School |  | Kington Primary School |  | Kington Primary School |  | Kington Primary School |  |  | Kington Primary School
|  |  | Summary Report | [6 empty] | Summary Report | [14 empty] | Summary Report | [7 empty] | Summary Report |  |  |  |  | Summary Report |  | Summary Report |  |  |  |  | Summary Report | [5 empty] | Summary Report |  |  | Summary Report | [8 empty] | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  |  | Summary Report
General Information |  |  |  | Maintenance and Condition Summary | [21 empty] | Education Funding Agency Condition Survey Data | [7 empty] | Suitability and Compliance Summary |  |  |  |  | Suitability and Compliance Summary (continued) |  | School Occupancy Summary |  |  |  |  | School Statistics | [5 empty] | Environmental Sustainability Condition |  |  | Parental Preference | [8 empty] | Distribution of Children Attending School or Resident in its Catchment Area |  | Distribution of Children Attending School or Where it is the Nearest School |  | Key Services Within 2 Mile Radius of School |  | Key Services Adjacent to School |  | Disability Access
Maintenance and Condition Summary (continued)
School Name:- | Kington Primary School |  |  | Survey Date:- | 2014-09-12 |  | Survey Company:- |  | Hub |  | Key Elements and Annual Forecast Maintenance Costs and Responsibilities | [14 empty] | Date of Survey:- |  | 2013-05-21 | [5 empty] | Areas | Standard Criteria (M2) (PAN 30) | Schools Compliance (M2) | Compliance Percentage |  |  |  | Current Planned Admission No. (PAN) | Current School Capacity | Maximum PAN | Maximum Capacity Based on PAN |  | Year | KS2 Year on Year Results |  |  |  |  | Electric Consumption 2014/Child:- | 248.7961 |  |  | Parental First Preference Applications | [15 empty] | Physical Accessibility Rating
Head Teacher:- | Mrs A C Phillips | DFE Number:- | 2096 | Year | Forecast Maintenance Costs (£ 000) | [5 empty] | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows and Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | Number of Occurences Identified Within the Report | [7 empty] | Basic Teaching Space | 434 | 507.84 | 117.0138 |  |  |  | 30 | 210 | 34 | 238 |  |  | School - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | LA - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | All Schools in England - Percentage Achieving Level 4 or Above in Reading, Writing and Maths |  |  | Gas Consumption 2014/Child:- | 995.1667 |  |  | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | [10 empty] | Rating: | 1
Leadership:- | Stand Alone | [24 empty] | Rating (see key below) | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other | Hall and Studio | 180 | 85.02 | 47.2333 | [17 empty] | PAN | 30 | 30 | 30 | 30 | 30 | 30
Address:- | Kington Primary School, Mill Street, Kington, Herefordshire HR5 3AL | Email:- | admin@kington.hereford.sch.uk | Backlog | Not Available | [5 empty] | £ 000 | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | [8 empty] | Storage | 98 | 118.79 | 121.2143 |  |  |  | Historical Numbers on Roll Data (Spring Census) | [13 empty] | Number | 21.9 | 19.8 | 33.9 | 37.8 | 21 | 27 | [10 empty] | Details: | Partly accessible
|  |  |  | 2015 | 3.0069 |  |  | Not Available |  |  | Backlog | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | C1 | [7 empty] | Staff and Admin | 101 | 14.5 | 14.3564 |  |  |  | Year | Total NOR | Capacity Based on PAN | Shortfall | Surplus | 2012 | 67 | 71 | 75 | [5 empty] | Percentage | 73 | 66 | 113 | 126 | 70 | 90
|  |  |  | 2016 | 256.7687 |  |  | 3.0069 |  |  | 2015 | 0 | 0 | 0.6682 | 0 | 0.4369 | 0 | 0 | 0 | 0 | 0 | 1.9018 | 0 | 0 | 0 | C2 |  | 1 | 1 | 4 | 1 | 5 |  | Learning Resource | 87 | 31.29 | 35.9655 |  |  |  | 2008 / 2009 | 195 | 210 | 0 | 15 | 2013 | 46 | 71 | 75 | [22 empty] | Description: | Some standards met but some areas not accessible
|  |  |  | 2017 | 117.4233 |  |  | 256.7687 |  |  | 2016 | 0 | 2.056 | 0.514 | 0 | 0.9766 | 0 | 0 | 5.14 | 0.257 | 2.57 | 1.6191 | 243.636 | 0 | 0 | D1 | [7 empty] | Supplementary Area | 0 | 51.55 | - |  |  |  | 2009 / 2010 | 191 | 210 | 0 | 19 | 2014 | 67 | 76 | 79 | [5 empty] | Historical Catchment Analysis (Spring Census)
Telephone No.:- | T: 01544 230363 F: 01544 230521 | School Cluster:- | Kington District- Lady Hawkins' Academy and Sixth Form Centre | 2018 | 10.6141 |  |  | 117.4233 |  |  | 2017 | 0 | 0 | 1.1822 | 7.71 | 3.6751 | 56.2316 | 0 | 10.28 | 14.135 | 12.336 | 1.5934 | 10.28 | 0 | 0 | D2 | [7 empty] | Non Net Area | 325 | 566.0896 | 174.1814 |  |  |  | 2010 / 2011 | 195 | 210 | 0 | 15 | [9 empty] | Catchment Analysis | Parental First Preference Applications 2012: 2010; Parental First Preference Applications 2013: 2011; Parental First Preference Applications 2014: 2012 | 2013 | 2014
|  |  |  | 2019 | 18.7353 |  |  | 10.6141 |  |  | 2018 | 0 | 0 | 0.514 | 0 | 0.4626 | 0 | 0 | 0 | 5.654 | 2.056 | 1.9275 | 0 | 0 | 0 | D3 | [7 empty] | Total Gross Building Area | 1225 | 1375.0796 | 112.2514 |  |  |  | 2011 / 2012 | 202 | 210 | 0 | 8 | KS2 Test Results and Progress (2014) | [11 empty] | Total in Catchment | 230 | 240 | 250 | 247 | 252
[8 empty] | 18.7353 |  |  | 2019 | 0 | 0 | 0.4112 | 5.14 | 0.4369 | 0 | 0 | 0 | 8.995 | 2.056 | 1.6962 | 0 | 0 | 0 | [15 empty] | 2012 / 2013 | 199 | 210 | 0 | 11 | [12 empty] | Number at School from Catchment | 174 | 181 | 188 | 187 | 192
School Type:- | Community | Building Number:- | JEAK | Total | 406.5483 | [5 empty] | Totals | 0 | 2.056 | 3.2896 | 12.85 | 5.9881 | 56.2316 | 0 | 15.42 | 29.041 | 19.018 | 8.738 | 253.916 | 0 | 0 | *Note the information noted above has been extracted from the EFA survey focusing on elements that are C & D rated. Items with an A or B rating have been excluded. The numbers reference the quantity of elements that the survey has picked up within the relevant category | [7 empty] | Total Gross Site Area | 10116 | 4234.29 | 41.8574 |  |  |  | 2013 / 2014 | 206 | 210 | 0 | 4 | Pupils eligible for KS2 assessment |  |  |  | 30 | [7 empty] | Percentage at School from Catchment | 91.0995 | 92.8205 | 93.0693 | 93.9698 | 93.2039
Current Capacity:- | 210 | Site Area:- | 4234.29 | [30 empty] | Net Site Area (less the building area) | 8891 | 2859.2104 | 32.1585 |  |  |  | Current Occupancy | 204 | 210 | 0 | 6 | Percentage achieving level 3 or below in reading, writing and maths |  |  |  | 7 | [7 empty] | Percentage of Catchment Going to School | 75.6522 | 75.4167 | 75.2 | 75.7085 | 76.1905
[11 empty] | Total Potential Expenditure - Local Authority (£000) | [6 empty] | 359.4916 | [27 empty] | Percentage achieving level 4 or above in reading, writing and maths |  |  |  | 67
|  |  |  | Key Elements of Forecast Maintenance | [29 empty] | Key Information (based on Building Bulletin 103) | [6 empty] | Current Occupancy Summary (Autumn Census 2014) |  |  |  |  | Percentage achieving level 4B or above in reading and maths and level 4 or above in writing |  |  |  | 57 |  |  |  |  | Catchment and Nearest School Comparison (Autumn Census 2014)
|  |  |  | Categories |  | Totals (£ 000) | [19 empty] | Key | [7 empty] | Required Number of Classrooms |  |  |  | 7 |  |  | Year Group | NOR | Shortfall | Surplus |  | Percentage achieving level 5 or above in reading, writing and maths |  |  |  | 10 | [5 empty] | Parental First Preference Applications 2011: Catchment vs Nearest School; Parental First Preference Applications 2012: Catchment; Parental First Preference Applications 2013: Nearest
|  |  |  | External Grounds |  | 2.056 |  |  |  |  | Total Potential Expenditure - School (£000) | [6 empty] | 47.0567 | [7 empty] | Condition grade | Definition |  |  |  | Priority rating | Definition |  | Number of Classrooms |  |  |  | 8 |  |  | Reception | 28 | 0 | 2 |  | Percentage making expected progress in reading |  |  |  | 88 | [5 empty] | Parental First Preference Applications 2011: NOR; Parental First Preference Applications 2012: 204; Parental First Preference Applications 2013: 204
|  |  |  | Roof Works |  | 16.1396 | [27 empty] | Percentage of Classrooms that are the Recommended Size |  |  |  | 12.5 |  |  | One | 26 | 0 | 4 |  | Percentage making expected progress in writing |  |  |  | 85 | [5 empty] | Parental First Preference Applications 2011: Total in Area; Parental First Preference Applications 2012: 260; Parental First Preference Applications 2013: 229
|  |  |  | External Walls |  | 62.2197 | [19 empty] | A Good | Performing as intended and operating efficiently |  |  |  | 1 | Immediate or year 1 remedial action required |  | Percentage of Classrooms that are Classed as Small |  |  |  | 87.5 |  |  | Two | 33 | 3 | 0 |  | Percentage making expected progress in maths |  |  |  | 73 | [5 empty] | Parental First Preference Applications 2011: Number at School from Area; Parental First Preference Applications 2012: 193; Parental First Preference Applications 2013: 181
|  |  |  | Windows and Doors |  | 15.42 | [27 empty] | Number of Temporary Buildings on Site |  |  |  | 0 |  |  | Three | 31 | 1 | 0 |  | Average point score |  |  |  | 27.3 | [5 empty] | Parental First Preference Applications 2011: Percentage at School; Parental First Preference Applications 2012: 94.6078; Parental First Preference Applications 2013: 88.7255
|  |  |  | Internal Works |  | 48.059 | [19 empty] | B Satisfactory | Performing as intended but exhibiting minor deterioration |  |  |  | 2 | Year 1-2 remedial action required |  | Number of Classrooms in Temporary Buildings |  |  |  | 0 |  |  | Four | 28 | 0 | 2 | [11 empty] | Parental First Preference Applications 2011: Percentage of area going to School; Parental First Preference Applications 2012: 74.2308; Parental First Preference Applications 2013: 79.0393
Asset Summary |  |  |  | Mechanical and Electrical |  | 262.654 | [27 empty] | Percentage of Recommended Reception Toilets |  |  |  | 0 |  |  | Five | 28 | 0 | 2 |  | Latest Ofsted Report Date:- |  | 2014-07-08
|  |  |  | Other (e.g. ancillary buildings) |  | 0 | [19 empty] | C Poor | Exhibiting major defects and/or not operating as intended |  |  |  | 3 | Year 3-5 remedial action required |  | Percentage of Recommended Other Pupil Toilets |  |  |  | 130 |  |  | Six | 30 | 0 | 0 |  | Ofsted Result:- |  | Requires Improvement
Asset Value - Insurance (£000):- |  | 1672.1999 | [38 empty] | Total | 204 | 0 | 6
Asset Value - Land (£000):- |  | 423.429 | [23 empty] | D Bad | Life-expired and/or at serious risk of imminent failure
Land Owner:- |  | Owned by the Local Authority | [36 empty] | Category | Areas Included
[39 empty] | Basic Teaching Spaces | General Classrooms, ICT Rooms, Practical Areas
[39 empty] | Hall and Studio | Halls, Dining Areas
Lease Agreement / Notes:- |  | Not Known | [36 empty] | Storage | Coats and Bags, Teaching, Specialist, PE Equipment, Bulk Stock, Cleaning, Caretakers and Maintenance, Tables and Chairs, Staging, Mobility Equipment
Nursery Provision:- |  | LA Maintained Nursery | [36 empty] | Staff and Admin | Heads and Staff Offices, Staff Room, Staff PPA,Reprographics Room, Sick Bay, Interview and Meeting Rooms, Secure Entrance
[39 empty] | Learning Resource | Library, Small Group Rooms, SENCO Office, Medical Inspection Room
[39 empty] | Supplementary Area | Any other specialist area at the school e.g. Music Classroom, Swimming Pool, SEN Classrooms
[39 empty] | Non Net Area | Pupil and Staff Toilets, Accessible Toilets, Hygiene Room, Kitchen, Corridors, Server Room, Boilers
[39 empty] | Additional Area | Nursery provision

## Feedback
|  | Kington Primary School |  |  | Kington Primary School |  |  | Kington Primary School
|  | Feedback Form |  |  | Feedback Form |  |  | Feedback Form
General Information and Asset Summary |  |  | School Occupancy Summary |  |  | Parental Preference
Do you believe the data to be accurate? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Maintenance and Condition Summary |  |  | School Statistics |  |  | Disability Access
Do you believe the data to be a fair reflection of the maintenance and condition of the school? | [5 empty] | Do you believe the data to be a fair reflection of the environmental condition of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Suitability and Compliance Summary |  |  | Environmental Sustainability Condition |  |  | Any Other Comments
Do you believe the data to be a fair reflection of the suitability and compliance issues faced by the school? | [5 empty] | Additional comments about the information provided:
Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments:
If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920
Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015

## Asset summary
Building ref number:- | JEAK
Site Area:- | 4234.29
Asset Value (Insurance):- | 1672199.8966
Asset Value (Land):- | 423429
Land owner:- | Owned by the Local Authority
Lease agreement / notes:- | Not Known
DEC rating:- | D
Electric consumption 2014/child:- | 248.7961
Gas consumption 2014/child:- | 995.1667

## Maintenance
Maintenance & Condition Summary |  |  |  | BCIS Quarter | 3Q2014 | [11 empty] | Check | Main year totals | Summary year totals | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows & Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | BCIS quarter | BCIS uplift
Year survey undertaken |  | 2014-09-12 |  | BCIS Uplift | 1.028 | [15 empty] | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | 1Q2009 | 1.1525
Survey company:- |  | Hub | [15 empty] | 0 | 0 | Backlog | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2Q2009 | 1.1898
[18 empty] | 3006.9 | 3006.9 | 2015 | 0 | 0 | 668.2 | 0 | 436.9 | 0 | 0 | 0 | 0 | 0 | 1901.8 | 0 | 0 | 0 | 3Q2009 | 1.1898
[18 empty] | 256768.7 | 256768.7 | 2016 | 0 | 2056 | 514 | 0 | 976.6 | 0 | 0 | 5140 | 257 | 2570 | 1619.1 | 243636 | 0 | 0 | 4Q2009 | 1.2123
|  |  |  | Year covered? | N | Y | Y | Y | Y | Y | School Costs | [6 empty] | 117423.3 | 117423.3 | 2017 | 0 | 0 | 1182.2 | 7710 | 3675.1 | 56231.6 | 0 | 10280 | 14135 | 12336 | 1593.4 | 10280 | 0 | 0 | 1Q2010 | 1.2297
Category | Ref | Element | Recommended Works | Estimated Work Cost | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 | Backlog | 1905-07-07 | 1905-07-08 | 1905-07-09 | 1905-07-10 | 1905-07-11 |  | 10614.1 | 10614.1 | 2018 | 0 | 0 | 514 | 0 | 462.6 | 0 | 0 | 0 | 5654 | 2056 | 1927.5 | 0 | 0 | 0 | 2Q2010 | 1.1789
[18 empty] | 18735.3 | 18735.3 | 2019 | 0 | 0 | 411.2 | 5140 | 436.9 | 0 | 0 | 0 | 8995 | 2056 | 1696.2 | 0 | 0 | 0 | 3Q2010 | 1.1735
g | External Areas | Hard playing areas | Aco drainage channels inserted to rear of Block AA to prevent surface water run-off into entrances. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2010 | 1.1682
g | External Areas | Hard playing areas | Aco drainage installed across 32A entrance, again to prevent surface run-off entering. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Individual Category totals | 0 | 2056 | 3289.6 | 12850 | 5988.1 | 56231.6 | 0 | 15420 | 29041 | 19018 | 8738 | 253916 | 0 | 0 | 1Q2011 | 1.1735
g | External Areas | Hard playing areas | Planted area North of 4 block - planted areas, tarmac paving and timber planters. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2011 | 1.1525
g | External Areas | Hard playing areas | Soft play section to play apparatus at rear | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Summary category totals | Main category totals | Check | [11 empty] | 3Q2011 | 1.1682
g | External Areas | Walls, fences and gates | 225mm thick site boundary walls generally with brick-on-edge copings, pre-cast concrete and engineering brick-on-edge coping at rear with steel angled fencing above course of brickwork. Stone copings on front elevation with painted steel balustrading and steel gates. Copings generally on South West corner in poor condition. Extensive brickwork to be repointed. Approx 20m² of repointing required and allowance for re-building of very poor sections maybe required. | 2000 |  |  | 2000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2011 | 1.1525
g | External Areas | Walls, fences and gates | Non site boundary timber pale fencing around pond | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | External Grounds |  | 2056 | 2056 | [12 empty] | 1Q2012 | 1.1953
g | External Areas | Walls, fences and gates | Timber fencing to Ron's garden. 2.5m weldmesh fencing to west boundary. Galvanised bow top to nursery. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Roof Works |  | 16139.6 | 16139.6 | [12 empty] | 2Q2012 | 1.1174
i | Internal walls and doors | Walls and partitions including finishes | Solid Emulsion walls throughout. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | External Walls |  | 62219.7 | 62219.7 | [12 empty] | 3Q2012 | 1.1525
i | Ceilings | All types | Insulated suspended ceilings with approx. 50-100mm insulation above in metric system 1200 x 600mm mineral fibre tiles. Large areas recently replaced although low hygroscopic tiles within circulation routes have resulted in some sagging centrally. Isolated spots of water penetration. Suggest replacement with low-absorption tiles as part of phased programme of replacement. | 6000 |  |  |  | 2000 | 2000 | 2000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Windows & Doors |  | 15420 | 15420 | [12 empty] | 4Q2012 | 1.1473
i | Ceilings | All types | Plasterboard and skim ceilings to flat roof extensions ie gym store and toilets with skim finish. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Internal Works |  | 48059 | 48059 | [12 empty] | 1Q2013 | 1.0983
i | Ceilings | All types | Timber benching and cupboards within classrooms, practical area with inset stainless steel sink. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Mechanical & Electrical |  | 262654 | 262654 | [12 empty] | 2Q2013 | 1.089
e | Electrical Services | Communications Systems | LG GDK-17 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Other |  | 0 | 0 | [12 empty] | 3Q2013 | 1.0983
e | Electrical Services | Control gear and equipment | Distribution boards and main incoming supply. Entrance lobby and corridor - Allow for electriccal safety testing. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2013 | 1.0798
e | Electrical Services | Electrical Heating | 1 no. radiant heater -Allow for PPM check. | 50 |  |  | 25 |  | 25 |  | 0 | 0 | 25 | 0 | 25 | 0 |  |  | Total |  | 406548.3 | 406548.3 | [12 empty] | 1Q2014 | 1.0447
e | Electrical Services | Fire Alarms | Tann synchronome firecheck concept panel loacted in lobby/circulation area of main building. This is zoned panel with a mix of maunal callpoints and smoke dectection. Consideration should be given to full review of entire school systm and eventual upgrade to a fully addressable and auto detecting system. | 45600 |  | 150 | 150 | 45000 | 150 | 150 | 0 | 150 | 150 | 0 | 150 | 150 | [18 empty] | 2Q2014 | 1.0198
e | Electrical Services | Emergency Lighting | Various EM fittings around building, either stanalone or incorporated with fittings. Recommend review of coverage as part of any fire alarm upgrades and in line with FRA recommendations. | 500 |  | 100 | 100 | 100 | 100 | 100 | 0 | 100 | 100 | 100 | 100 | 100 | [18 empty] | 3Q2014 | 1.028
e | Electrical Services | Lighting and Associated fittings | Some lights over 20 years old. Some lights have been upgraded however, HC/1000 - renew lighting and associated fittings. Allow for relamping as part of PPM. | 375 |  | 75 | 75 | 75 | 75 | 75 | 0 | 75 | 75 | 75 | 75 | 75 | [18 empty] | 4Q2014 | 1.0078
e | Electrical Services | Security Alarms / CCTV | Intel Express TS2500 System, on service contract. Allow for PPM checks. | 250 |  | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50 | [18 empty] | 1Q2015 | 1
e | Electrical Services | Security Alarms / CCTV | Door entry system (RDL) Allow for PPM checks | 250 |  | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50
e | External walls, windows and doors | Doors | Half-glazed timber doors at rear to toilets, minor scuff damage. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Doors | External Framed ledged and braced timbered entrance doors with fully glazed powder coated aluminium behind - double glazed and fitted with safety glass. No jobs for this element. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | External walls, windows and doors | Walls (including finishes) | External Solid brick walls 325mm thick laid in Flemish bond work. Evidence of remedial damp proof course inserted approx two courses above external ground levels throughout. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | External walls, windows and doors | Walls (including finishes) | External Slight bulging of walls on Western elevation (classrooms 37 and 36) due to lateral thrust of roof (roof spread); walls estimated to be out of plumb by approx. 25-75mm and although not considered unstable it is recommended that the situation be monitored and if noted to be progressive, restraint works at ceiling level may be necessary. Refer to Archibald Shaw for Investigative Report. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | External walls, windows and doors | Walls (including finishes) | External Areas of poor pointing noted and due to construction of walls, which are vulnerable to penetrating dampness. It is considered a priority to maintain the external faces. Minor areas of re-pointing required and allowance for this should be made for by year 3. | 1500 |  |  |  | 1500 |  |  | 0 | 0 | 0 | 1500 | 0 | 0
e | External walls, windows and doors | Walls (including finishes) | External Cavity masonry walls with bitumen damp proof course to single storey extension with flat roof to the toilets at rear. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Windows | External double glazed windows, powder coated aluminium in hardwood sub-frames generally with flat arch brick-on-edge lintels above and stone sills. A phased programme of replacement units has been undertaken, with further unit changes planned to remaining orginal single glazed timber units. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Windows | Powder coated windows to single storey flat roofed extension. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Fixed furniture and fittings | All types | Timber benching and cupboards within classrooms, practical area with inset stainless steel sink. No jobs for this Element. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Floors and Stairs | Floors (including finishes) | Solid concrete floor throughout fitted with carpet to classrooms, non-slip safety vinyl flooring to wet areas within classrooms, toilets etc… Phased renewal of floor finishes. | 4500 |  |  |  | 1500 | 1500 | 1500 | 0 | 0 | 0 | 1500 | 1500 | 1500
i | Floors and Stairs | Floors (including finishes) | Carpet to main office areas. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Floors and Stairs | Floors (including finishes) | Herringbone woodblock flooring to Hall. Parameter edges of flooring suffering from wet rot due to proximity of wall and height of damp proof course. Recommend internal tanking to protect edges of woodbock flooring and replacement of affected floorings. | 10000 |  |  |  | 10000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
i | Internal Walls and Doors | Doors and glazed screens | Matchboard timber internal doors, fully glazed and/or half glazed. All glazing overlaid with Scotchshield safety film to BS6206, Class B, including adjacent glazing in timber partitions. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal Walls and Doors | Doors and glazed screens | Half-glazed timber matchboard doors to Admin office area with Georgian-wired safety glazing and SAA kick plates and level handles. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal Walls and Doors | Internal Structural Frame | Timber rafter and purlin roof, lateral roof thrust on west elevation of gable wall, classrooms 36 and 37. See previous notes under external walls ref. structural investigations. Access restricted due to suspended ceilings. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls and partitions including finishes | Timber non-load bearing partition between Classrooms 36 and 37 with high level borrowed lights. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal Walls and Doors | Walls and partitions including finishes | Ceramic tiled splash backs above worktops and sinks. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal Walls and Doors | Walls and partitions including finishes | Half Georgian-wired glazed timber partitions to main office admin areas. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating controls | Radiators, fan convectors. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating distribution | Renew heating distribution including emiters. Co-ordinate with any new boilers. | 40000 |  |  | 40000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Hot and cold water distribution | Hot and cold water distribution with Solectra ZIP range water heaters. Allow for PPM checks. | 375 |  | 75 | 75 | 75 | 75 | 75 | 0 | 75 | 75 | 75 | 75 | 75
m | Mechanical services | Water fountain | OtherWater fountain. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Ventilation | Ventilation Xpelair extract fans. Allow for local cleaning. | 100 |  |  | 50 |  | 50 |  | 0 | 0 | 50 | 0 | 50 | 0
e | Redecoration | External | External Painted external joinery comprising windows, eaves and bargeboards and external doors. | 3000 |  |  |  | 3000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
i | Redecoration | Internal | Internal Emulsion walls throughout and painted internal doors. Internal redecoration. | 3000 |  |  |  | 1500 |  | 1500 | 0 | 0 | 0 | 1500 | 0 | 1500
r | Roofs | Flat | Flat roof sections above boys and girls toilets and above store. Insulated high tensile felt with welted felt drip, recovered within last 10 years. Felted up stands to main brick building although no covering flashing (potential for damp penetration in future). Allow for new covering after year 5. | 5000 | [5 empty] | 5000 | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Other - Clock Towers | 2 no. lead lined clock towers - no access. Recommend specialist inspection is undertaken to fully assess condtion. | 750 |  |  |  | 750 |  |  | 0 | 0 | 0 | 750 | 0 | 0
r | Roofs | Pitched | Plain clay tiled roof relayed since original. Minor area of missing or slipped tiles. Allow for periodic overhauling and maintenance. | 1000 |  |  | 500 |  | 500 |  | 0 | 0 | 500 | 0 | 500 | 0
r | Roofs | Roof drainage | Aluminium / steel rainwater goods throughout discharging to gulleys. Plastic guttering and down pipes to flat roof sections at rear. Allow for regular clearing. | 300 |  | 100 |  | 100 |  | 100 | 0 | 100 | 0 | 100 | 0 | 100
r | Roofs | Roof lights | 2 no. plastic 'Endome' roof lights to flat roof sections with felted up stands. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Sanitary Services | Fittings | Vitreous china Armitage Shanks wash hand basins. Urinals and low level WC suites. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Sanitary Services | Waste plumbing | Waste plumbing with 40mm plastic wastes. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Ceilings | All types | Fibreboard panel ceiling - evidence of leakage at perimeter. Allow for replacement of ceilings on a phased basis. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Ceilings | All types | Suspended ceiling to top floor 1200 x 500mm mineral fibres in aluminium exposed grid with approx. 100mm insulation laid above. Minor sagging due to high absorption material used, although satisfactory. More recent tiles fitted to central lobby area. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical Services | Control gear and equipment | Square D distribution boards Allow for electriccal safety testing. | 125 |  | 25 | 25 | 25 | 25 | 25 | 0 | 25 | 25 | 25 | 25 | 25
m | Electrical Services | Emergency Lighting | Various EM fittings around building, either stanalone or incorporated with fittings. Recommend review of coverage as part of any fire alarm upgrades and in line with FRA recommendations. | 500 |  | 100 | 100 | 100 | 100 | 100 | 0 | 100 | 100 | 100 | 100 | 100
m | Electrical Services | Lighting and Associated fittings | Some lights over 20 years old.HC/1000 renew lighting and associated fittings. - within the classrooms. Allow for relamping as part of PPM. | 375 |  | 75 | 75 | 75 | 75 | 75 | 0 | 75 | 75 | 75 | 75 | 75
m | Electrical Services | Power and Associated fittings | Various surface or flush mounted outlets, some dado power distribution also present. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical Services | Power and Associated fittings | Various surface or flush mounted outlets, some dado power distribution also present. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical Services | Water Heaters | Solectra water heaters. Allow for PPM checks. | 375 |  | 75 | 75 | 75 | 75 | 75 | 0 | 75 | 75 | 75 | 75 | 75
w | External walls, windows and doors | Glazed screen and curtain walling | Glazed screen and curtain walling Powder coated aluminium double glazed curtain walling on western elevation with vinyl coated insulated infill panels. Top hung opening lights - all glazing to B6206 - solar reflective film fitted. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | External walls, windows and doors | Walls (including finishes) | Cavity masonry walls with facing brickwork to gable ends. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Windows | Single glazed softwood windows on east elevation with central pivotal openings. Allow for replacement by year 3. | 10000 |  |  |  | 10000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
i | Fixed furniture and fittings | All types | Sink units with under-cupboard storage to classrooms and staff room/kitchen. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Floors and stairs | Floors (including finishes) | Suspended concrete upper floor fitted with vinyl and carpets to classrooms and circulation. Allow for phased replacement of floor coverings. | 3000 |  |  |  | 1000 | 1000 | 1000 | 0 | 0 | 0 | 1000 | 1000 | 1000
i | Floors and stairs | Floors (including finishes) | Vinyl flooring fitted to intermediate wcs. Allow for replacement by year 3. | 1500 |  |  |  | 1500 |  |  | 0 | 0 | 0 | 1500 | 0 | 0
i | Floors and stairs | Staircases | Timber open tread stairs, carpeted aluminium nosing's with steel upright balusters and hardwood handrail (ideally infill risers to accord with current Health and Safety guidance). | 1750 |  |  |  | 1750 |  |  | 0 | 0 | 0 | 1750 | 0 | 0
i | Internal walls and doors | Doors and glazed screens | Hollow flush veneer doors to toilets. | 1000 |  |  |  | 1000 |  |  | 0 | 0 | 0 | 1000 | 0 | 0
i | Internal walls and doors | Doors and glazed screens | Solid flush fire doors fitted to ground floor classrooms: fire seals fitted with overhead 'Dormer' closers. Doors propped at time of survey although require to be closed or on self closing devices to maintain 'protected' route since escape is from single stair from first floor. Recommend, if fire doors are to be kept open, that possibly fitted to automatic self-closing devices. (Any recommendations should be taken in conjunction with Fire Risk Assessment). | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls and partitions including finishes | Plastered masonry walling throughout. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Boilers | 2 no. Ideal Falcon gas boilers over 30 years old. These units have now passed their life expectancy and should be replaced as a priority to maintain reliable heating to the school. Increased PPM or reactive maintenace may be required before replacement. | 61400 |  | 500 | 60000 | 300 | 300 | 300 | 0 | 500 | 0 | 300 | 300 | 300
m | Electrical Services | Control gear and equipment | Control gear and equipment Square D distribution boards. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Gas Distribution | Gas Distribution All pipework colour coded. May require upgrading with any new boilers, allownace made. | 2000 |  |  | 2000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating controls | Replacement controls package requiired with any new boilers | 10000 |  |  | 10000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating Controls | Replacement of pumps will be required with any new boilers. | 75000 |  |  | 75000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating distribution | All pipework colour coded. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating distribution | Heating distribution Single pipe system. Renew heating distribution. Co-ordinate with any new boilers. | 30000 |  |  | 30000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Hot and cold water distribution | Hot and cold water distribution with Solectra ZIP range water heaters. Allow for PPM checks. | 375 |  | 75 | 75 | 75 | 75 | 75 | 0 | 75 | 75 | 75 | 75 | 75
m | Mechanical services | Hot and cold water distribution | Hot/Cold water distribution Solectra water heaters. Allow for PPM checks. | 375 |  | 75 | 75 | 75 | 75 | 75 | 0 | 75 | 75 | 75 | 75 | 75
m | Mechanical services | Ventilation | Ventilation 150mm Newlec extract fan. 1st floor wc. Allow for local cleaning. | 100 |  |  | 50 |  | 50 |  | 0 | 0 | 50 | 0 | 50 | 0
e | External walls, windows and doors | Structural Frame | Concealed - Unknown condition as concealed. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Redecoration | Internal | Internal Emulsion walls, stained internal doors. | 2000 |  |  |  | 1000 |  | 1000 | 0 | 0 | 0 | 1000 | 0 | 1000
e | Redecoration | External | Redecorate windows only. East elevation. | 2200 |  |  |  | 2200 |  |  | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Chimneys | Chimneys 1 no. chimney with 2 no. stainless steel flues. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Other | Timber fascias and painted plywood soffits. General areas of rot due to leakage of rainwater goods, as mentioned previously. Replace eaves at time of rainwater system replacement. New fascia. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Roof drainage | Box section steel guttering with aluminium down pipes discharging via rainwater shoes and above gulleys. Allow for regular clearing. | 300 |  | 100 |  | 100 |  | 100 | 0 | 100 | 0 | 100 | 0 | 100
r | Roofs | Pitched | Insulated high tensile felt with welted felt drip over fascias. Reported to be minor leakage particularly at eaves and patch repairs undertaken in recent times. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Fittings | 2 no. low level vitreous china wc suites, with 7 litre plastic cisterns. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Sanitary Services | Waste plumbing | Waste plumbing with 40mm plastic wastes. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Ceilings | All types | All types Insulated suspended ceiling to first floor classrooms - 1200 x 600mm mineral fibre tiles. Isolated damp penetration evident at eaves to Classroom 14 on west elevation and tiles general sagging. Recommend a programme of replacement. | 2500 |  |  | 2500 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
i | Ceilings | All types | Plasterboard and skimmed to first floor store. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Ceilings | All types | Plasterboard and skim ceilings to ground floor classroom. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical Services | Electrical Heating | Creda wall fan heaters in toilets. Allow for PPM checks. | 50 |  |  | 25 |  | 25 |  | 0 | 0 | 25 | 0 | 25 | 0
m | Electrical Services | Emergency Lighting | Various EM fittings around building, either stanalone or incorporated with fittings. Recommend review of coverage as part of any fire alarm upgrades and in line with FRA recommendations. | 500 |  | 100 | 100 | 100 | 100 | 100 | 0 | 100 | 100 | 100 | 100 | 100
m | Electrical Services | Lighting and Associated fittings | Light fittings in a satisfactory condition. Allow for relamping as part of PPM. Allow for PPM Checks. | 375 |  | 75 | 75 | 75 | 75 | 75 | 0 | 75 | 75 | 75 | 75 | 75
m | Electrical Services | Power and Associated fittings | Various surface or flush mounted outlets, some dado power distribution also present. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical Services | Control gear and equipment | Square D distribution board. Allowm for cyclical electrical safety checks. | 375 |  | 75 | 75 | 75 | 75 | 75 | 0 | 75 | 75 | 75 | 75 | 75
w | External walls, windows and doors | Glazed screen and curtain walling | Powder coated aluminium curtain walling to corridor link section with lower insulated infill panels and top hung casement windows. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Doors | Fully glazed single (softwood) doors - areas of rot on East elevation. Glazing to BS6206. Minor splice repairs required to 1 no. double door set. Allow for replacement of rotting doors by year 2. | 2000 |  |  | 2000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
i | External walls, windows and doors | Walls (including finishes) | Cavity masonry walling, fair-faced brick work to 2 storey section and rear toilet extension. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Windows | Single glazed timber casement windows to two storey block. Extensive rot to 2 no. windows on south elevating of two storey block. Replace 2 no. windows. These units require replacement. | 3000 |  |  | 3000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Windows | Single glazed UPVC windows double-glazed to toilet extension. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Fixed furniture and fittings | All types | Fixed timber seating to boys and girls toilets. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Floors and stairs | Floors (including finishes) | Suspended concrete upper floors with carpet. Quarry tiles to Store. Allow for phased replacement of floor coverings. | 2000 |  |  |  | 1000 | 1000 |  | 0 | 0 | 0 | 1000 | 1000 | 0
i | Floors and stairs | Staircases | Open tread timber stairs with hardwood treads, steel balustrade hardwood handrails. Ideally recommend infill to risers to comply with current health and safety guidelines. | 1750 |  |  |  | 1750 |  |  | 0 | 0 | 0 | 1750 | 0 | 0
i | Floors and stairs | Floors (including finishes) | Solid concrete ground floor on approx. four differing levels between link corridor and rear extension, fitted with carpet, vinyl sheeting to changing area. Temporary plywood ramps installed at changes of level to facilitate wheelchair access, although no disabled accessible toilet facilities noted. Allow for phased replacement of floor coverings. | 2000 |  |  |  |  | 1000 | 1000 | 0 | 0 | 0 | 0 | 1000 | 1000
i | Internal walls and doors | Doors and glazed screens | Fully glazed Georgian-wired timber doors to circulation routes upgraded with Scotch shield safety film. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Doors and glazed screens | Solid flush internal doors with Georgian-wiring to first floor, fire seals fitted and overhead closers. Allow for future replacements | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls and partitions including finishes | High pressure laminate WC cubicles to boys and girls toilet area. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls and partitions including finishes | Plastered masonry walls throughout with ceramic tiled splash backs above sinks, Damage was noted to walls in main corridor leading form orginal school block, allow for isolated repairs. | 250 |  |  | 250 |  |  |  | 0 | 0 | 250 | 0 | 0 | 0
i | Internal walls and doors | Walls and partitions including finishes | "Cubicle Systems". WC cubicles to ladies toilet. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Ventilation | 100mm Manrose extract fans in wcs. Allow for local cleaning. | 100 |  |  | 50 |  | 50 |  | 0 | 0 | 50 | 0 | 50 | 0
m | Mechanical services | Drinking Fountain | Drinking Fountain1 no. stainless steel drinking fountain to changing area. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating Distribution | Heating Distribution Ageing system. Renew heating distribution replace distribution and emitters. Co-ordinate with amd new boilers | 20000 |  |  | 20000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Water fountain | Water fountainNo jobs for this Element. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Redecoration | Internal | Emulsion walls and ceilings downstairs.Internal redecoration required. | 2000 |  |  |  | 1000 |  | 1000 | 0 | 0 | 0 | 1000 | 0 | 1000
e | Redecoration | External | External Painted fascia's and eaves and windows to two storey block. Redecoration required to windows on South elevation of 2-storey block. (if replacement windows not undertaken). | 1800 |  |  |  | 1800 |  |  | 0 | 0 | 0 | 1800 | 0 | 0
r | Roofs | Flat | Basic quality felt to link corridor with stone chippings; appears to be uninsulated and therefore prone to high heat losses. The felt is exposed in places with areas of blistering evident suggesting that it is at the end of its life. Felt up stands with lead cover flashings to main building. Allow for replacement by year 3. | 7500 |  |  |  | 7500 |  |  | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Other | Small section of gable timber boarding to lean-to roof section. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Pitched | Lean-to plain clay tiled roof above male and female wcs. Lead flashing to junction of main two storey section. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Roof drainage | Box section aluminium steel gutters and down pipes to two storey section. Evidence of significant leakage at joints. Allow for regular clearing and repair damaged section of downpipe on eastern elevation. | 550 |  | 350 |  | 100 |  | 100 | 0 | 350 | 0 | 100 | 0 | 100
r | Roofs | Other | Timber fascia's and painted plywood fascia's to two storey roof, painted timber fascia to link corridor sections. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Other | Stained weatherboarding soffit to rear exit of rear extension. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Pitched | Insulated high tensile felt to two storey section and wc extension at read with welted felt drip over fascia's. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Sanitary Services | Waste plumbing | Waste plumbing with 40mm plastic wastes. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Fittings | Vitreous china trough sink to Store (first floor) classroom 2 no. low level vitreous china WC fittings (no wheelchair accessible facilities provided). | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Ceilings | All types | Suspended ceiling to small sections of ceiling within classroom and to WC's with either recessed or surface mounted lighting units. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Ceilings | All types | Plasterboard and skim ceilings to single height ceilings, with timber clad ceilings to main clasrrom area. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical Services | Communications Systems | Telephone in room 79 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical Services | Fire Alarms | Tann synchronome firecheck concept panel loacted in lobby/circulation area. Assumed to be linked to main panel in orginal school building. This is zoned panel with a mix of maunal callpoints and smoke dectection. Consideration should be given to full review of entire school systm and eventual upgrade to a fully addressable and auto detecting system. | 10400 |  | 100 | 100 | 10000 | 100 | 100 | 0 | 100 | 100 | 0 | 100 | 100
m | Electrical Services | Emergency Lighting | Various EM fittings around building, either stanalone or incorporated with fittings. Recommend review of coverage as part of any fire alarm upgrades and in line with FRA recommendations. | 500 |  | 100 | 100 | 100 | 100 | 100 | 0 | 100 | 100 | 100 | 100 | 100
m | Electrical Services | Lighting and Associated fittings | A mix of surface fitted round units, pendant hung strip lights and recessed units in suspended grid. Light fittings in a satisfactory condition. Allow for relamping as part of PPM. | 375 |  | 75 | 75 | 75 | 75 | 75 | 0 | 75 | 75 | 75 | 75 | 75
m | Electrical Services | Security Alarms / CCTV | 24-7 Security System with various PIR's and keypad entry. Allow for PPM checks. | 250 |  | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50
m | Electrical Services | Power and Associated fittings | Various surface or flush mounted outlets, some dado power distribution also present. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Doors | Hardwood double glazed doors with matching glazed side screens, timber to match external cladding, allow for treatment with external decorations.Some weathering of timber noted. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | External walls, windows and doors | Walls (including finishes) | Cavity blockwork with horizontal timber cladding to external faces. Alllow for trreatment of timber with external decorations. Small area of low lvel dmaged and weathering noted to timber cladding, allow for minor repairs. | 500 |  |  | 500 |  |  |  | 0 | 0 | 500 | 0 | 0 | 0
w | External walls, windows and doors | Windows | Hardwood double glazed windows, to double height on gable ends of classroom, timber to match external cladding, allow for treatment with external decorations. Some weathering of timber noted. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Fixed furniture and fittings | All types | Timber benching and cupboards within classrooms, practical area with inset stainless steel sink. No jobs for this Element. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Floors and Stairs | Floors (including finishes) | Solid concrete ground floor fitted with carpet, vinyl sheeting to wet areas and toilets. Note this floor contains under floor heating system. Allow for phased replacement of floor coverings. | 2000 |  |  |  |  | 1000 | 1000 | 0 | 0 | 0 | 0 | 1000 | 1000
i | Internal Walls and Doors | Doors and glazed screens | Veneer doors to all areas, either solid or with glazed vision panels and SAA ironmongery. Glazed side screens and panels are of matching specification. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal Walls and Doors | Internal Structural Frame | Open timber roof construction to main classroom. This is clad with timber and vertical columns encased in plastered finish, no intrusive survey made. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls and partitions including finishes | Emulsion walls throughout. With ceramic tiled finishes to wet areas in WC's and classroom. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal Walls and Doors | Walls and partitions including finishes | Cubicle Systems. WC cubicles to toilets. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating controls | Modern controls installed and matched to boiler circa 2007. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Gas Distribution | Gas Distribution All pipework colour coded. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating Distribution | Heating is distributed by means of underfloor heating network. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Boilers | 1 No. Remeha boiler, wall hung approx 8 years old. This boiler supplies heat to the underfloor heating mainifold loacted in the same plant room. Allow for regular PPM. | 1000 |  | 200 | 200 | 200 | 200 | 200 | 0 | 200 | 200 | 200 | 200 | 200
m | Mechanical services | Hot and cold water distribution | Hot and cold water distribution with ZIP range water heaters. Allow for PPM checks. | 375 |  | 75 | 75 | 75 | 75 | 75 | 0 | 75 | 75 | 75 | 75 | 75
m | Mechanical services | Ventilation | Ducted extraction system with extract fitted to suspended ceilings in WC's. Allow for local cleaning. | 100 |  |  | 50 |  | 50 |  | 0 | 0 | 50 | 0 | 50 | 0
e | Redecoration | External | External timber cladding requires regular treatment, this does not appear to have been done since orginal build and timber is beginning dry and split in places. Allow for treatment withn 3 years. | 4500 |  |  |  | 4500 |  |  | 0 | 0 | 0 | 0 | 0 | 0
i | Redecoration | Internal | Internal Emulsion walls throughout on a cyclical basis. | 1500 |  |  |  | 750 |  | 750 | 0 | 0 | 0 | 750 | 0 | 750
r | Roofs | Pitched | Pitched roof with slate effect tiled roof. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Roof drainage | Box section aluminium steel gutters and down pipes. Allow for regular clearing. | 300 |  | 100 |  | 100 |  | 100 | 0 | 100 | 0 | 100 | 0 | 100
m | Sanitary services | Waste plumbing | Waste plumbing with 40mm plastic wastes. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Fittings | FittingsVitreous china Armitage Shanks wash hand basins.Stainless Steel Urinals and low level WC suites. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
0

## EFA Property
|  |  | EFA survey data | [6 empty] | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other
DFE | School | School Type | Date received | Condition rating C or D | Priority rating 1 or 2 | Element | Category | CCP rating
|  |  |  | c | 2 | Electrical services, Control gear, Generally, Old school | m | mc2 | C1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | c | 2 | External walls windows and doors, wall-Structure, Stone, Old school | e | ec2 | C2 | 0 | 1 | 1 | 4 | 1 | 5 | 0
|  |  |  | c | 2 | External walls windows and doors, Windows and does, Timber, Old School | w | wc2 | D1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | c | 2 | Floor and stairs, Floors- screed and finish, Hardwood strip/Sprung floor, Old school | i | ic2 | D2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | c | 2 | Mechanical services, Heat source and equipment, Generally, Old school | m | mc2 | D3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | c | 2 | Mechanical services,Heating distibution emitters and controls, Generally,Old School | m | mc2
|  |  |  | c | 2 | Redecoration, External windows, doors etc, TImber, Old school | w | wc2
|  |  |  | c | 2 | External walls windows and doors, Windows and doors, Timber, 60's part | w | wc2
|  |  |  | c | 2 | Mechanical services, Heat source and equipment, Generally, 60's part | m | mc2
|  |  |  | c | 2 | Mechanical services, Heating distribution emitters and controls, Generally, 60's part | m | mc2
|  |  |  | c | 2 | Redecorations, External windows, doors etc, Timber, 60's part | w | wc2
|  |  |  | c | 2 | Roofs, coverings and insulation, flat roof,- flexible sheet single ply, 60's part | r | rc2

## Suitability and Compliance
Space |  |  | BB103 suggested sizes
[6 empty] | Suitability Data | [10 empty] | Compliance Comparison |  |  | 1 | Form of entry | PAN | 30
Basic Teaching Spaces |  |  | No. of spaces | m2 | Total m2 | Plan ref | Space | [9 empty] | Total area | Shortfall | Surplus | 2011 | Date of last assessment
|  | Classroom - Year R | 1 | 62 | 62 | 36 | General classroom | 87.61 | [8 empty] | 87.61 | 0 | 25.61
|  | Classroom - Year 1 | 1 | 62 | 62 | 37 | General classroom | 54.32 | [8 empty] | 54.32 | 7.68 | 0 | 0 | No. Temp Buildings on Site
|  | Classroom - Year 2 | 1 | 62 | 62 | 45, 41, 41a | General classroom | 36.91 | 12.71 | 3.52 | [6 empty] | 53.14 | 8.86 | 0 | 0 | No. of Classrooms in Temporary Buildings
|  | Classroom - Year 3 | 1 | 62 | 62 | 12 | General classroom | 54.84 | [8 empty] | 54.84 | 7.16 | 0 | 8 | No. of Classrooms
|  | Classroom - Year 4 | 1 | 62 | 62 | 14 | General classroom | 55.39 | [8 empty] | 55.39 | 6.61 | 0 | 7 | Required No. of Classroooms
|  | Classroom - Year 5 | 1 | 62 | 62 | 2 | General classroom | 51.55 | [8 empty] | 51.55 | 10.45 | 0
|  | Classroom - Year 6 | 1 | 62 | 62 | 6 | General classroom | 51.62 | [8 empty] | 51.62 | 10.38 | 0
|  |  | 0 | 0 | 0 | 1 | General classroom | 52.92 | [8 empty] | 52.92 | 0 | 52.92
|  | Practical area / food bay | 0 | 0 | 0 | [11 empty] | 0 | 0 | 0 | 12.5% | of classrooms are the recommended size
|  | ICT base | 0 | 0 | 0 | 33 | IT room | 46.45 | [8 empty] | 46.45 | 0 | 46.45 | 87.5% | of classrooms are small
[5 empty] | 434 | [11 empty] | 507.84 | 51.14 | 124.98 | 117% | of the recommended basic teaching space required
[19 empty] | 382.86 | 88.22% | of the recommended basic teaching space required ignoring surplus
Halls and Studios | [19 empty] | 11.78% | shortfall in basic teaching space
| 1 | Main hall | 1 | 180 | 180 | 29 | Hall | 85.02 | [8 empty] | 85.02 | 94.98 | 0
[5 empty] | 180 | [11 empty] | 85.02 | 94.98 | 0 | 47.23% | of the recommended hall size
Storage | [19 empty] | 52.77% | shortfall in hall size
| 1 | Coat and bag storage - Year R | 1 | 3 | 3 | UN13 | Cloakroom | 8.94 | [8 empty] | 8.94 | 0 | 5.94
| 2 | Coat and bag storage - Year 1 | 1 | 3 | 3 | 35 | cloaks in corridor | 3 | [8 empty] | 3 | 0 | 0
| 3 | Coat and bag storage - Year 2 | 1 | 3 | 3 | 21 | Cloakroom | 4.94 | [8 empty] | 4.94 | 0 | 1.94
| 4 | Coat and bag storage - Year 3 | 1 | 3 | 3 | 11a | cloakroom in corridor | 3 | [8 empty] | 3 | 0 | 0
| 5 | Coat and bag storage - Year 4 | 1 | 3 | 3 | 22 | Cloakroom | 4.79 | [8 empty] | 4.79 | 0 | 1.79
| 6 | Coat and bag storage - Year 5 | 1 | 3 | 3 | [11 empty] | 0 | 3 | 0
| 7 | Coat and bag storage - Year 6 | 1 | 3 | 3 | 11 | cloakroom in corridor | 3 | [8 empty] | 3 | 0 | 0
| 8 | Teaching storage - Year R | 1 | 2 | 2 | [11 empty] | 0 | 2 | 0
| 9 | Teaching storage - Year 1 | 1 | 2 | 2 | [11 empty] | 0 | 2 | 0
| 10 | Teaching storage - Year 2 | 1 | 2 | 2 | 42 | Store room | 9.08 | [8 empty] | 9.08 | 0 | 7.08
| 11 | Teaching storage - Year 3 | 1 | 2 | 2 | 13 | Store room | 10.31 | [8 empty] | 10.31 | 0 | 8.31
| 12 | Teaching storage - Year 4 | 1 | 2 | 2 | 15 | Store room | 10.4 | [8 empty] | 10.4 | 0 | 8.4
| 13 | Teaching storage - Year 5 | 1 | 2 | 2 | [11 empty] | 0 | 2 | 0
| 14 | Teaching storage - Year 6 | 1 | 2 | 2 | 8 | Store room | 1.3 | [8 empty] | 1.3 | 0.7 | 0
| 15 | Specialist walk in stores | 3 | 5 | 15 | 9, 34, 24 | Store room x 3 | 1.27 | 14.28 | 1.72 | [6 empty] | 17.27 | 0 | 2.27
| 18 | Indoor PE equipment storage | 1 | 18 | 18 | 62, 62a | Store room additional area | 3.72 | 16.02 | [7 empty] | 19.74 | 0 | 1.74
| 19 | Outdoor PE equipment storage | 0 | 0 | 0 | 71 | Store room | 2.11 | [8 empty] | 2.11 | 0 | 2.11
|  | Bulk stock store | 1 | 4 | 4 | 16 | Store room | 9.48 | [8 empty] | 9.48 | 0 | 5.48
| 21 | Caretakers and maintenance store | 1 | 5 | 5 | [11 empty] | 0 | 5 | 0
| 22 | Cleaning store | 1 | 3 | 3 | [11 empty] | 0 | 3 | 0
| 23 | Table and chair store | 1 | 12 | 12 | UN8 | Store room | 8 | [8 empty] | 8 | 4 | 0
| 25 | Staging/ appliance store | 1 | 4 | 4 | 30 | Store room | 3.43 | [8 empty] | 3.43 | 0.57 | 0
|  | Mobility equipment store | 1 | 2 | 2 | [11 empty] | 0 | 2 | 0
| 24 | Store for community | 0 | 0 | 0 | [11 empty] | 0 | 0 | 0
[5 empty] | 98 | [11 empty] | 118.79 | 24.27 | 45.06 | 121.2% | of the recommended storage space required
Staff and admin | [19 empty] | 24.77% | shortfall
| 1 | Heads office | 1 | 12 | 12 | 28, 28a | Heads office | 14.5 | inc | [7 empty] | 14.5 | 0 | 2.5
| 3 | Staff room work and social | 1 | 33 | 33 | 27, 27a | Staffroom | 17.52 | 12.57
|  | Staff PPA | 1 | 10 | 10
| 4 | Senior management office | 1 | 10 | 10 | 79, 79a, 79b | General office | 2.47 | 0.38 | 3.21
| 7 | General office (reception) | 1 | 12 | 12 | 32, 32a | Reception (office) | 13.54 | 0.72
| 8 | Secure reception | 1 | 4 | 4 | 66 | Entrance | 3.08
| 9 | Reprographics room | 1 | 8 | 8 | 26a | Photocopying room | 7.39
| 10 | Meeting room | 0 | 0 | 0
| 11 | Sick bay | 1 | 3 | 3 | 34a | Store room | 8.65
| 13 | Interview room | 1 | 9 | 9
[5 empty] | 101 | [11 empty] | 14.5 | 0 | 2.5 | 14.36% | of the recommended staff and admin space required
Learning resource area | [19 empty] | 0% | shortfall
| 1 | Library (learning resource centre) | 1 | 30 | 30 | 26 | Library | 31.29 | [8 empty] | 31.29 | 0 | 1.29
| 3 | Small group room | 3 | 11 | 33
| 5 | SENco office (SEN resource) | 1 | 12 | 12 | 23 | General office | 8.84
| 2 | Medical inspection room/ Therapy room | 1 | 12 | 12
[5 empty] | 87 | [11 empty] | 31.29 | 0 | 1.29 | 35.97% | of the recommended learning resource areas
Supplementary area | [19 empty] | 0% | shortfall
| 1 |  | 0 | 0 | 0 | 7 | Music classroom | 51.55 | [8 empty] | 51.55 | 0 | 51.55
0
[17 empty] | 51.55 | 0 | 51.55 | - | of the recommended supplementary areas
Non net areas | [19 empty] | - | shortfall
| 1 | Reception toilets | 3 | 2 | 6 | [11 empty] | 0 | 6 | 0 | 0 | Number of reception toilets
| 1 | Pupils toilets | 10 | 2 | 20 | 21a, 22a, 4, 74, 74a, 74b, 74c, 75, 76 | pupil wcs (9 wc's, 4 urinals) | 5.11 | 5.18 | 6.12 | 4.23 | 1.29 | 1.69 | 3.82 | 3.13 | 3.45 | 34.02 | 0 | 14.02 | 13 | Number of other pupil toilets
| 2 | Staff toilets | 2 | 2 | 4 | 63,64 | staff wc's (3 wc's) | 6.55 | 2.67 | [7 empty] | 9.22 | 0 | 5.22 | 0% | % of recommended reception toilets
| 3 | Accessible toilet | 1 | 3 | 3 | 77 | Disabled w.c. | 2.06 | [8 empty] | 2.06 | 0.94 | 0 | 130% | % of recommended other pupil toilets
| 9 | Hygiene room | 1 | 12 | 12 | [11 empty] | 0 | 12 | 0
| 4 | Kitchen facilities (servery) | 1 | 28 | 28 | [11 empty] | 0 | 28 | 0
| 5 | Corridors | - | 22.5% | 202.5 | 3, 5, 5a, 5b, 5c, 10, 10a, 10b, 10c, 11, 11a, 17, 18, 18a, 19, 20, 31, 31a, 31b, 31c, 34b, 35, 72, 73, 77a, 78, 78a | Corridors | 239.11 | [8 empty] | 239.11 | 0 | 36.61
| 6 | Boiler room | 1 | 1.5% | 13.5 | 49, 84 | Boiler room | 6.64 | 3.57 |  | 239.11 | [5 empty] | 249.32 | 0 | 235.82
| 7 | Server | in boiler | [13 empty] | 0 | 0 | 0
|  | Walls | - | 4% | 36 |  |  | 32.3596 | [8 empty] | 32.3596 | 3.6404 | 0
[5 empty] | 325 | [11 empty] | 566.0896 | 50.5804 | 291.67 | 174.2% | of the recommended non net area
Additional area | [19 empty] | 15.56% | shortfall
|  | Nursery class | 1 | 62 | 62 | 80, 80a, 80b, 80c, 81, 81a, 82. 82a | Nursery classroom | 1.1 | 0.4 | 0.18 | 58.14 | 42.6 | 4.95 | 0.81 | 9.3 |  | 117.48 | 0 | 55.48
|  | Quiet room | 1 | 8 | 8 | [11 empty] | 0 | 8 | 0
|  | Nursery store room | 1 | 2 | 2 | 83, 83a, 85, 85a, 85b | Store room | 0.4 | 6.57 | 1.5 | 0.65 | 3.17 |  |  |  |  | 12.29 | 0 | 10.29
|  | Nursery office | 1 | 8 | 8 | [11 empty] | 0 | 8 | 0
|  | Nursery cloakroom | 1 | 3 | 3 | [11 empty] | 0 | 3 | 0
|  | Nursery pupils toilets | 3 | 2 | 6 | 87 | Pupil wc (multi-sex) | 12.96 | [8 empty] | 12.96 | 0 | 6.96
|  | Nursery staff toilets | 1 | 2 | 2 | 86 | Disabled w.c. | 4 | [8 empty] | 4 | 0 | 2
|  | Nursery entrance | 1 | 22.5% | 1.8675 | [11 empty] | 0 | 1.8675 | 0
[5 empty] | 92.8675 | [11 empty] | 146.73 | 20.8675 | 74.73 | 158% | of the recommended additional area
[20 empty] | 22.47% | shortfall
Total Net area |  |  |  |  | 900 | [11 empty] | 808.99
Total Non-Net area |  |  |  |  | 325 | [11 empty] | 566.0896
Gross (total build) area - excluding nursery |  |  |  |  | 1225 | [11 empty] | 1375.0796 |  |  | 112.3% | of the recommended Gross area
Gross (total build) area - including nursery |  |  |  |  | 1317.8675 | [11 empty] | 1521.8096
Net Area Range |  |  |  |  | 1211.0-1345.0
Mid Range |  |  |  |  | 1278
Total Site Area Range |  |  |  |  | 8991.0-11241.0
Mid Range |  |  |  |  | 10116
2
3
4

## Occupancy
Sufficiency Data
Planned Admission Number | Current Capacity | Maximum PAN | Capacity based on max PAN
30 | 210 | 34 | 238
NOR Spring Census
| 2008 / 2009 | 2009 / 2010 | 2010 / 2011 | 2011 / 2012 | 2012 / 2013 | 2013 / 2014
NOR Jan | 195 | 191 | 195 | 202 | 199 | 206
Maximum Capacity | 210 | 210 | 210 | 210 | 210 | 210
Number of Surplus Places | 15 | 19 | 15 | 8 | 11 | 0
% of surplus places | 7.1 | 9 | 7.1 | 3.8 | 5.2 | 0
Current Numbers on Roll (from Autumn Census)
Year group | R | 1 | 2 | 3 | 4 | 5 | 6 | Total
Number | 28 | 26 | 33 | 31 | 28 | 28 | 30 | 204

## School stats
Current Ofsted | Year
Requires Improvement | 2014-07-08
2014 KS2 Performance Tables last update : (15 Sep 2014)
Year on year comparisons
Percentage achieving Level 4 or above in reading, writing and maths | 2012 | 2013 | 2014
School | 67% | 46% | 67%
LA | 71% | 71% | 76%
England - All Schools | 75% | 75% | 79%
KS2 test results and progress
| All pupils | Low attainers | Middle attainers | High attainers
Pupils eligible for KS2 assessment | 30
Percentage of pupils achieving 3 or below in reading and maths test and writing TA | 7% | SUPP | 0% | 0%
Percentage of pupils achieving level 4 or above in reading and maths test and writing TA | 67% | SUPP | 68% | 100%
Percentage of pupils achieved level 4B or above in reading and maths test and level 4 in writing TA | 57% | SUPP | 53% | 100%
Percentage of pupils achieving level 5 or above in reading and maths test and writing TA | 10% | SUPP | 0% | 50%
Percentage of pupils making at least 2 levels of progress in reading | 88% | SUPP | 89% | 100%
Percentage of pupils making at least 2 levels of progress in writing TA | 85% | SUPP | 84% | 100%
Percentage of pupils making at least 2 levels of progress in maths | 73% | SUPP | 74% | 83%
Average point score | 27.3
Closing the Gap
| Disadvantaged pupils | Other pupils
Percentage of disadvantaged pupils achieving level 3 or below in reading and maths tests and writing TA | 13% | 5%
Percentage of disadvantaged pupils achieving level 4 or above in reading and maths tests and writing TA | 38% | 77%
Percentage of disadvantaged pupils achieving level 4B or above in reading and maths tests and writing TA | 38% | 64%
Percentage of disadvantaged pupils achieving level 5 or above in reading and maths tests and writing TA | 0% | 14%
Percentage of disadvantaged pupils making at least 2 levels of progress in reading | 86% | 89%
Percentage of disadvantaged pupils making at least 2 levels of progress in writing TA | 57% | 95%
Percentage of disadvantaged pupils making at least 2 levels of progress in maths | 43% | 84%
Value Added measures
| Measure | Lower CI | Upper CI | Coverage
Overall value added measure | 98.2 | 97.4 | 99.1 | 87%
Reading value added measure | 98.3 | 97.4 | 99.3 | 87%
Writing TA value added measure | 97.9 | 96.9 | 98.9 | 87%
Maths value added measure | 98.5 | 97.4 | 99.6 | 87%
Subject level results
| Reading test | Maths test | Grammar, punctuation and spelling test | Writing TA
Percentage achieving level 3 or below | 13% | 27% | 30% | 20%
Percentage achieving Level 4 or above | 87% | 73% | 70% | 80%
Percentage achieving Level 4b or above | 67% | 67% | 70% | NA
Percentage achieving Level 5 or above | 37% | 40% | 57% | 10%
Pupil Absence last update : (11 Dec 2013)
| School | England - national (primary state-funded)
Overall absence: percentage | 6.4% | 4.8%
Persistent absence: around 15% + | 4.7% | 3.6%
Please note - this year the Department will publish full year 2013/14 absence data in the performance tables in March 2015 rather than just the autumn and spring term data in December as in previous years, and we will continue to do so in future years. This is because the full year data provides the most robust indication of school absence rates.
School level information for the 2013/14 autumn and spring term only is available in our Statistical First Release here
2013-14 Finance last update : (10 Dec 2014)
Contextual information
Number of pupils (FTE) | 215
Percentage of pupils eligible for Free School Meals (FSM) | 14.6%
Free school meals eligibility band | LOW
Spend per pupil data as £ per pupil (in brackets percentage of total income or expenditure)
| School | LA Median | Non-London LAs Median | National Median
Grant funding | 4105 (97%) | 4525 | 4016 | 4325
Self generated income | 145 (3%) | 144 | 142 | 127
Total income | 4250 | 4723 | 4183 | 4479
Teaching staff | SUPP | 2277 | 2045 | 2106
Supply Staff | 136 (3%) | 87 | 118 | 127
Education support staff | SUPP | 689 | 650 | 733
Learning resources (not ICT equipment) | 197 (5%) | 181 | 174 | 184
ICT learning resources | 190 (5%) | 81 | 62 | 66
Bought in professional services - curriculum | 129 (3%) | 88 | 59 | 67
Back office (incl. Staff costs) | 398 (10%) | 406 | 334 | 351
Catering (incl. Staff costs) | 87 (2%) | 35 | 53 | 75
Premises (incl. Staff costs) | 193 (5%) | 259 | 275 | 301
Other staff costs | 102 (2%) | 153 | 133 | 142
Energy | 74 (2%) | 68 | 62 | 65
Other expenditure | 95 (2%) | 94 | 85 | 88
Total expenditure | 4143 | 4562 | 4143 | 4431
Spend per pupil data as £ per pupil : Comparisons over time
| 2010-11 | 2011-12 | 2012-13 | 2013-14
Teaching staff and Education support staff expenditure | 2479 | 2473 | 2567 | SUPP
Supply staff | 146 | 50 | 57 | 136
Back office (incl. Staff costs) | 299 | 320 | 325 | 398
Energy | 75 | 49 | 63 | 74
Total expenditure | 3766 | 3670 | 3907 | 4143
School Workforce last update : (10 Dec 2014)
This data is based upon the November 2013 School Workforce Census
| School | England - national (primary state-funded)
Headcount of all teachers in a school | 11 | 236728
Headcount of all teaching assistants in a school | 12 | 239340
Headcount of all support (exc. auxillary) staff in a school | 3 | 77335
Full-time equivalent number of all teachers in a school | 9.7 | 207827.7
Full-time equivalent number of all teaching assistants in a school | 3.7 | 154245.3
Full-time equivalent number of all support (exc. auxillary) staff in a school | 1.9 | 51728.3
Ratio of pupils to teachers in a school | 22.3 | 20.5
Average gross salary of all teachers in a school | 33985 | 36559

## Parental Preference
Popularity Data | [10 empty] | Children at School From School Catchment
Parental First Preference Applications | [11 empty] | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  | Catchment vs Nearest School |  |  |  | Catchment | Nearest
Year | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  |  | NOR | 191 | 195 | 202 | 199 | 206 |  |  |  | NOR |  |  |  | 204 | 204
PAN | 30 | 30 | 30 | 30 | 30 | 30 |  |  |  |  | Number | 174 | 181 | 188 | 187 | 192 |  |  |  | Total in area |  |  |  | 260 | 229
No. | 21.9 | 19.8 | 33.9 | 37.8 | 21 | 27 |  |  |  |  | % | 91.0995 | 92.8205 | 93.0693 | 93.9698 | 93.2039 |  |  |  | Number at School from area |  |  |  | 193 | 181
% | 73 | 66 | 113 | 126 | 70 | 90 | [13 empty] | % at School |  |  |  | 94.6078 | 88.7255
[11 empty] | Total number in Catchment | [8 empty] | % of area going to School |  |  |  | 74.2308 | 79.0393
[12 empty] | 2010 | 2011 | 2012 | 2013 | 2014
[11 empty] | Number | 230 | 240 | 250 | 247 | 252
[11 empty] | % | 100 | 100 | 100 | 100 | 100
Where children at School are coming from (from Spring Census 2014)
DCSF No. | School |  | Almeley | Clifford | Kington | Leominster Infants’ School | Shobdon | Wellington | Weobley | Canon Pyon C E | Eardisley C E | Stretton Sugwas C E | Kingsland C E | Pembridge C E | Staunton-on-Wye Endowed | Out of County | Grand Total
2001 | Almeley | Number | 24 | 0 | 23 | 0 | 0 | 0 | 4 | 0 | 7 | 0 | 0 | 0 | 0 | 1 | 59
2001 | Almeley | % | 40.678 | 0 | 38.9831 | 0 | 0 | 0 | 6.7797 | 0 | 11.8644 | 0 | 0 | 0 | 0 | 1.6949 | 100
2096 | Kington | Number | 0 | 0 | 192 | 0 | 1 | 1 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 8 | 206
2096 | Kington | % | 0 | 0 | 93.2039 | 0 | 0.48544 | 0.48544 | 0 | 0 | 1.9417 | 0 | 0 | 0 | 0 | 3.8835 | 100
3035 | Eardisley C E | Number | 2 | 1 | 14 | 0 | 0 | 0 | 5 | 0 | 58 | 1 | 0 | 0 | 2 | 4 | 87
3035 | Eardisley C E | % | 2.2989 | 1.1494 | 16.092 | 0 | 0 | 0 | 5.7471 | 0 | 66.6667 | 1.1494 | 0 | 0 | 2.2989 | 4.5977 | 100
3366 | Pembridge C E | Number | 2 | 0 | 11 | 2 | 1 | 0 | 6 | 2 | 0 | 0 | 2 | 56 | 0 | 3 | 85
3366 | Pembridge C E | % | 2.3529 | 0 | 12.9412 | 2.3529 | 1.1765 | 0 | 7.0588 | 2.3529 | 0 | 0 | 2.3529 | 65.8824 | 0 | 3.5294 | 100
Where school children in the Schools Catchment area are going to (from Spring Census 2014)
DCSF No. | School |  | Almeley | Burghill Community | Clifford | Lord Scudamore | Kington | Leominster Infants’ | Leominster Junior | Shobdon | Wellington | Weobley | Wigmore | St Mary’s C E, Credenhill | Dilwyn | Eardisley C E | Stretton Sugwas C E | St James’ C E, Hereford | St Pauls CE | Kingsland C E | Pembridge C E | Staunton-on-Wye Endowed | Grand Total
2001 | Almeley | Number | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 3 | 2 | 0 | 1 | 0 | 0 | 2 | 0 | 34
2001 | Almeley | % | 70.5882 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.9412 | 0 | 2.9412 | 8.8235 | 5.8824 | 0 | 2.9412 | 0 | 0 | 5.8824 | 0 | 100
2096 | Kington | Number | 23 | 1 | 0 | 0 | 192 | 0 | 0 | 5 | 0 | 5 | 1 | 0 | 0 | 14 | 0 | 0 | 0 | 0 | 11 | 0 | 252
2096 | Kington | % | 9.127 | 0.39683 | 0 | 0 | 76.1905 | 0 | 0 | 1.9841 | 0 | 1.9841 | 0.39683 | 0 | 0 | 5.5556 | 0 | 0 | 0 | 0 | 4.3651 | 0 | 100
3035 | Eardisley C E | Number | 7 | 0 | 3 | 1 | 4 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 58 | 2 | 0 | 1 | 0 | 0 | 5 | 84
3035 | Eardisley C E | % | 8.3333 | 0 | 3.5714 | 1.1905 | 4.7619 | 0 | 0 | 0 | 0 | 2.381 | 0 | 0 | 1.1905 | 69.0476 | 2.381 | 0 | 1.1905 | 0 | 0 | 5.9524 | 100
3366 | Pembridge C E | Number | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 8 | 2 | 6 | 2 | 1 | 7 | 0 | 0 | 0 | 0 | 2 | 56 | 0 | 89
3366 | Pembridge C E | % | 0 | 0 | 0 | 0 | 0 | 1.1236 | 4.4944 | 8.9888 | 2.2472 | 6.7416 | 2.2472 | 1.1236 | 7.8652 | 0 | 0 | 0 | 0 | 2.2472 | 62.9213 | 0 | 100

## Disability access
Physical Accessibility Rating | 1
Information from https://www.herefordshire.gov.uk/education-and-learning/schools/directory
Ratings and descriptions
Rating | Details | Description
3 | Fully accessible | Will meet the needs of all disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling); Has a full hygiene room and special educational needs or therapy room for pupils who need more assistance with personal care (including hoisting) and regular physio or other treatment
2 | Mainly accessible | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
1 | Partly accessible | Some standards met but some areas not accessible
0 | Inaccessible | No level access into building and/or no disabled toilet
Summary of physical accessibility standards
Level access into building(s): Main and pupil entrance(s) level, with ramps and hand rails as required
Level access to all curriculum and social areas (not necessarily entire building/site): including assembly hall, canteen (may be achieved by sensitive organisation and timetabling)
Access to upper floors: if required - lift(s) as alternative to steps or stairs
Toilet facilities: small disabled toilet(s) as specified by building regulations - suitable for most disabled pupils. A small number of pupils will require enhanced facilities (hygiene room) to provide greater assistance, including hoisting.
Medical, therapy or SEN room: multi-purpose or flexible use - usually required in addition to a hygiene room, for regular physio and other physical programmes
Emergency evacuation: routes should be level and unobstructed. Evacuation must be documented (using Personal Emergency Evacuation Plans - PEEPs) and practised regularly