## Cover Page
Ledbury Primary School
Summary Report
Contents
|  | Section | Page | No. of pages
Ledbury Primary School |  | Summary Data | 3 | 1
Summary Report |  | General Information and Asset Summary | 4 | 1
|  | Maintenance and Condition Summary | 5 | 2
|  | Education Funding Agency Condition Survey Data | 7 | 1
Schools Capital Investment Strategy |  | Suitability and Compliance Summary | 8 | 2
|  | School Occupancy Summary | 10 | 1
|  | School Statistics | 11 | 1
|  | Environmental Sustainability Condition | 12 | 1
|  | Parental Preference | 13 | 1
|  | Distribution of Children Attending School or Resident in its Catchmnet Area | 14 | 1
|  | Distribution of Children Attending School or Where it is the Nearest School | 15 | 1
|  | Key Services Within 2 Mile Radius of School | 16 | 1
|  | Key Services Adjacent to School | 17 | 1
|  | Disability Access | 18 | 1
Children's Wellbeing
Herefordshire Council
Plough Lane Offices
Plough Lane
HEREFORD
HR4 0LE

## Summary Info
Ledbury Primary School
Summary Report
Summary of Headline Information
Asset Summary | [5 empty] | Occupancy Summary
Gross Site Area (M2)(whole site including building):- |  | 29263.39 |  |  |  | Current Capacity (PAN 60):- |  |  |  | 420
Insurance Asset Value (£000):- |  | 4371652.1029 |  |  |  | Allocated Capacity Size (PAN 60):- |  |  |  | 420
Land Asset Value (£000):- |  | 1711744 |  |  |  | Current Occupancy:- |  |  |  | 419
Land Ownership:- | Owned by the Local Authority |  |  |  |  | Current Planned Admission No.:- |  |  |  | 60
[6 empty] | Current Number Over Capacity:- |  |  |  | 0
[6 empty] | Current Number Under Capacity:- |  |  |  | 1
Maintenance Expenditure Required on the School over a 5 Year Period Summary
Survey Date:- |  |  |  | 2014-06-30
Backlog Maintenance Total (£000):- | [6 empty] | Not Available
Total Forecast Expenditure (5 years) (£000):- | [6 empty] | 315.3094
Total Potential Local Authority Forecast Expenditure (£000):- | [6 empty] | 290.1448
Total Potential School Forecast Expenditure (£000):- | [6 empty] | 25.1646
Suitability and Compliance
Required Number of Classrooms:- | [6 empty] | 14 | Required Building Footprint (M2):- |  | 2296.815
Actual Number of Classrooms:- | [6 empty] | 14 | Current Building Area (M2):- |  | 2298.868
Percentage of Classrooms that are the Recommended Size:- | [6 empty] | 21.4286 | Area Shortfall (M2):- |  | 0
Compliance Percentage of Recommended Hall Size:- | [6 empty] | 134.744 | Area Surplus (M2):- |  | 2.053
Number of Temporary Buildings on Site:- |  |  |  |  | 1 |  |  | Total Percentage Compliance:- |  | 97.3553
Number of Classrooms in Temporary Buildings:- |  |  |  |  | 0
Compliance Percentage of Recommended Reception Toilets:- | [6 empty] | 83.3333 | Required Net Site Area (M2):- |  | 15686.185
Compliance Percentage of Recommended Other Pupil Toilets:- | [6 empty] | 227.7778 | Current Net Site Area (M2):- |  | 26964.522
Nursery on Site:- | Yes | [6 empty] | Area Shortfall (M2):- |  | 0
[8 empty] | Area Surplus (M2):- |  | 11278.337
[8 empty] | Total Percentage Compliance:- |  | 171.8998
Disability Access
Rating:- | 3 |  | Details:- |  |  |  | Fully accessible
Environmental Sustainability Condition
DEC Rating:- |  |  |  |  | C
Electric Consumption 2014/Child:- |  |  |  |  | 231.6577
Gas Consumption 2014/Child:- |  |  |  |  | 545.6643
School Statistics
Ofsted Results:- | [8 empty] | Good
Percentage of Children Achieving KS2 Level 4 or Above in Reading, Writing and Maths in 2014:- | [8 empty] | 80
Parental Preference (2014)
Percentage of Parental First Preference Applications:- | [6 empty] | 98.3333
Total Number of Children within Catchment:- | [6 empty] | 608
Total Number of Children at School from Catchment:- | [6 empty] | 392
Percentage of Catchment at School:- | [6 empty] | 95.8435
Percentage of Catchment Going to School:- | [6 empty] | 64.4737

## Report
|  |  | Ledbury Primary School | [6 empty] | Ledbury Primary School | [14 empty] | Ledbury Primary School | [7 empty] | Ledbury Primary School |  |  |  |  | Ledbury Primary School |  | Ledbury Primary School |  |  |  |  | Ledbury Primary School | [5 empty] | Ledbury Primary School |  |  | Ledbury Primary School | [8 empty] | Ledbury Primary School |  | Ledbury Primary School |  | Ledbury Primary School |  | Ledbury Primary School |  | Ledbury Primary School |  |  | Ledbury Primary School
|  |  | Summary Report | [6 empty] | Summary Report | [14 empty] | Summary Report | [7 empty] | Summary Report |  |  |  |  | Summary Report |  | Summary Report |  |  |  |  | Summary Report | [5 empty] | Summary Report |  |  | Summary Report | [8 empty] | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  |  | Summary Report
General Information |  |  |  | Maintenance and Condition Summary | [21 empty] | Education Funding Agency Condition Survey Data | [7 empty] | Suitability and Compliance Summary |  |  |  |  | Suitability and Compliance Summary (continued) |  | School Occupancy Summary |  |  |  |  | School Statistics | [5 empty] | Environmental Sustainability Condition |  |  | Parental Preference | [8 empty] | Distribution of Children Attending School or Resident in its Catchment Area |  | Distribution of Children Attending School or Where it is the Nearest School |  | Key Services Within 2 Mile Radius of School |  | Key Services Adjacent to School |  | Disability Access
Maintenance and Condition Summary (continued)
School Name:- | Ledbury Primary School |  |  | Survey Date:- | 2014-06-30 |  | Survey Company:- |  | Amey |  | Key Elements and Annual Forecast Maintenance Costs and Responsibilities | [14 empty] | Date of Survey:- |  | 2013-04-30 | [5 empty] | Areas | Standard Criteria (M2) (PAN 60) | Schools Compliance (M2) | Compliance Percentage |  |  |  | Current Planned Admission No. (PAN) | Current School Capacity | Maximum PAN | Maximum Capacity Based on PAN |  | Year | KS2 Year on Year Results |  |  |  |  | Electric Consumption 2014/Child:- | 231.6577 |  |  | Parental First Preference Applications | [15 empty] | Physical Accessibility Rating
Head Teacher:- | Mrs J Rees | DFE Number:- | 2098 | Year | Forecast Maintenance Costs (£ 000) | [5 empty] | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows and Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | Number of Occurences Identified Within the Report | [7 empty] | Basic Teaching Space | 868 | 855.088 | 98.5124 |  |  |  | 60 | 420 | 60 | 420 |  |  | School - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | LA - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | All Schools in England - Percentage Achieving Level 4 or Above in Reading, Writing and Maths |  |  | Gas Consumption 2014/Child:- | 545.6643 |  |  | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | [10 empty] | Rating: | 3
Leadership:- | Stand Alone | [24 empty] | Rating (see key below) | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other | Hall and Studio | 250 | 336.86 | 134.744 | [17 empty] | PAN | 60 | 60 | 60 | 60 | 60 | 60
Address:- | Ledbury Primary School, Longacres, Ledbury, Herefordshire HR8 2BE | Email:- | admin@ledbury.hereford.sch.uk | Backlog | Not Available | [5 empty] | £ 000 | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | [8 empty] | Storage | 154 | 293.23 | 190.4091 |  |  |  | Historical Numbers on Roll Data (Spring Census) | [13 empty] | Number | 58.8 | 72 | 55.8 | 72.6 | 63 | 59 | [10 empty] | Details: | Fully accessible
|  |  |  | 2015-06-30 | 2.0652 |  |  | Not Available |  |  | Backlog | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | C1 | [7 empty] | Staff and Admin | 165 | 162.46 | 98.4606 |  |  |  | Year | Total NOR | Capacity Based on PAN | Shortfall | Surplus | 2012 | 75 | 71 | 75 | [5 empty] | Percentage | 98 | 120 | 93 | 121 | 105 | 98.3333
|  |  |  | 2016-06-29 | 134.7975 |  |  | 2.0652 |  |  | 2015-06-30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0652 | 0 | 0 | 0 | C2 | [7 empty] | Learning Resource | 124 | 67.52 | 54.4516 |  |  |  | 2008 / 2009 | 445 | 420 | 25 | 0 | 2013 | 81 | 71 | 75 | [22 empty] | Description: | Will meet the needs of all disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling); Has a full hygiene room and special educational needs or therapy room for pupils who need more assistance with personal care (including hoisting) and regular physio or other treatment
|  |  |  | 2017-06-29 | 19.6574 |  |  | 134.7975 |  |  | 2016-06-29 | 1.0198 | 42.8333 | 1.6062 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6516 | 86.6865 | 0 | 0 | D1 | [7 empty] | Supplementary Area | 0 | 138.38 | - |  |  |  | 2009 / 2010 | 451 | 420 | 31 | 0 | 2014 | 80 | 76 | 79 | [5 empty] | Historical Catchment Analysis (Spring Census)
Telephone No.:- | T: 01531 632940 F: 01531 632940 | School Cluster:- | Ledbury District- John Masefield High School and Sixth Form Centre | 2018-06-29 | 3.7479 |  |  | 19.6574 |  |  | 2017-06-29 | 0 | 0 | 0 | 0 | 1.0198 | 4.5893 | 1.5298 | 2.0397 | 0 | 6.629 | 3.8499 | 0 | 0 | 0 | D2 | [7 empty] | Non Net Area | 550.08 | 338.01 | 61.4474 |  |  |  | 2010 / 2011 | 411 | 420 | 0 | 9 | [9 empty] | Catchment Analysis |  |  |  | 2010 | 2011 | 2012 | 2013 | 2014
|  |  |  | 2019-06-29 | 155.0414 |  |  | 3.7479 |  |  | 2018-06-29 | 0 | 0 | 1.0963 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6516 | 0 | 0 | 0 | D3 | [7 empty] | Total Gross Building Area | 2296.815 | 2298.868 | 97.3553 |  |  |  | 2011 / 2012 | 404 | 420 | 0 | 16 | KS2 Test Results and Progress (2014) | [11 empty] | Total in Catchment | 624 | 590 | 587 | 596 | 608
[8 empty] | 155.0414 |  |  | 2019-06-29 | 0 | 101.9841 | 0.50992 | 15.2976 | 2.5496 | 3.0595 | 0 | 0 | 2.5496 | 27.0258 | 2.0652 | 0 | 0 | 0 | [15 empty] | 2012 / 2013 | 391 | 420 | 0 | 29 | [12 empty] | Number at School from Catchment | 433 | 400 | 391 | 381 | 392
School Type:- | Community | Building Number:- | LEAQ | Total | 315.3094 | [5 empty] | Totals | 1.0198 | 144.8175 | 3.2125 | 15.2976 | 3.5694 | 7.6488 | 1.5298 | 2.0397 | 2.5496 | 33.6548 | 13.2834 | 86.6865 | 0 | 0 | *Note the information noted above has been extracted from the EFA survey focusing on elements that are C & D rated. Items with an A or B rating have been excluded. The numbers reference the quantity of elements that the survey has picked up within the relevant category | [7 empty] | Total Gross Site Area | 17983 | 29263.39 | 162.7281 |  |  |  | 2013 / 2014 | 409 | 420 | 0 | 11 | Pupils eligible for KS2 assessment |  |  |  | 54 | [7 empty] | Percentage at School from Catchment | 96.0089 | 97.3236 | 96.7822 | 97.4425 | 95.8435
Current Capacity:- | 420 | Site Area:- | 29263.39 | [30 empty] | Net Site Area (less the building area) | 15686.185 | 26964.522 | 171.8998 |  |  |  | Current Occupancy | 419 | 420 | 0 | 1 | Percentage achieving level 3 or below in reading, writing and maths |  |  |  | 6 | [7 empty] | Percentage of Catchment Going to School | 69.391 | 67.7966 | 66.6099 | 63.9262 | 64.4737
[11 empty] | Total Potential Expenditure - Local Authority (£000) | [6 empty] | 290.1448 | [27 empty] | Percentage achieving level 4 or above in reading, writing and maths |  |  |  | 80
|  |  |  | Key Elements of Forecast Maintenance | [29 empty] | Key Information (based on Building Bulletin 103) | [6 empty] | Current Occupancy Summary (Autumn Census 2014) |  |  |  |  | Percentage achieving level 4B or above in reading and maths and level 4 or above in writing |  |  |  | 65 |  |  |  |  | Catchment and Nearest School Comparison (Autumn Census 2014)
|  |  |  | Categories |  | Totals (£ 000) | [19 empty] | Key | [7 empty] | Required Number of Classrooms |  |  |  | 14 |  |  | Year Group | NOR | Shortfall | Surplus |  | Percentage achieving level 5 or above in reading, writing and maths |  |  |  | 33 | [7 empty] | Catchment vs Nearest School | Catchment | Nearest
|  |  |  | External Grounds |  | 145.8373 |  |  |  |  | Total Potential Expenditure - School (£000) | [6 empty] | 25.1646 | [7 empty] | Condition grade | Definition |  |  |  | Priority rating | Definition |  | Number of Classrooms |  |  |  | 14 |  |  | Reception | 60 | 0 | 0 |  | Percentage making expected progress in reading |  |  |  | 96 | [7 empty] | NOR | 419 | 419
|  |  |  | Roof Works |  | 18.5101 | [27 empty] | Percentage of Classrooms that are the Recommended Size |  |  |  | 21.4286 |  |  | One | 59 | 0 | 1 |  | Percentage making expected progress in writing |  |  |  | 92 | [7 empty] | Total in Area | 626 | 633
|  |  |  | External Walls |  | 11.2183 | [19 empty] | A Good | Performing as intended and operating efficiently |  |  |  | 1 | Immediate or year 1 remedial action required |  | Percentage of Classrooms that are Classed as Small |  |  |  | 78.5714 |  |  | Two | 60 | 0 | 0 |  | Percentage making expected progress in maths |  |  |  | 96 | [7 empty] | Number at School from Area | 403 | 403
|  |  |  | Windows and Doors |  | 3.5694 | [27 empty] | Number of Temporary Buildings on Site |  |  |  | 1 |  |  | Three | 60 | 0 | 0 |  | Average point score |  |  |  | 29.2 | [7 empty] | Percentage at School | 96.1814 | 96.1814
|  |  |  | Internal Works |  | 36.2044 | [19 empty] | B Satisfactory | Performing as intended but exhibiting minor deterioration |  |  |  | 2 | Year 1-2 remedial action required |  | Number of Classrooms in Temporary Buildings |  |  |  | 0 |  |  | Four | 62 | 2 | 0 | [13 empty] | Percentage of area going to School | 64.377 | 63.6651
Asset Summary |  |  |  | Mechanical and Electrical |  | 99.9699 | [27 empty] | Percentage of Recommended Reception Toilets |  |  |  | 83.3333 |  |  | Five | 57 | 0 | 3 |  | Latest Ofsted Report Date:- |  | 2010-11-16
|  |  |  | Other (e.g. ancillary buildings) |  | 0 | [19 empty] | C Poor | Exhibiting major defects and/or not operating as intended |  |  |  | 3 | Year 3-5 remedial action required |  | Percentage of Recommended Other Pupil Toilets |  |  |  | 227.7778 |  |  | Six | 61 | 1 | 0 |  | Ofsted Result:- |  | Good
Asset Value - Insurance (£000):- |  | 4371.6521 | [38 empty] | Total | 419 | 0 | 1
Asset Value - Land (£000):- |  | 1711.744 | [23 empty] | D Bad | Life-expired and/or at serious risk of imminent failure
Land Owner:- |  | Owned by the Local Authority | [36 empty] | Category | Areas Included
[39 empty] | Basic Teaching Spaces | General Classrooms, ICT Rooms, Practical Areas
[39 empty] | Hall and Studio | Halls, Dining Areas
Lease Agreement / Notes:- |  | Not Known | [36 empty] | Storage | Coats and Bags, Teaching, Specialist, PE Equipment, Bulk Stock, Cleaning, Caretakers and Maintenance, Tables and Chairs, Staging, Mobility Equipment
Nursery Provision:- |  | LA Maintained Nursery and PVI Nursery | [36 empty] | Staff and Admin | Heads and Staff Offices, Staff Room, Staff PPA,Reprographics Room, Sick Bay, Interview and Meeting Rooms, Secure Entrance
[39 empty] | Learning Resource | Library, Small Group Rooms, SENCO Office, Medical Inspection Room
[39 empty] | Supplementary Area | Any other specialist area at the school e.g. Music Classroom, Swimming Pool, SEN Classrooms
[39 empty] | Non Net Area | Pupil and Staff Toilets, Accessible Toilets, Hygiene Room, Kitchen, Corridors, Server Room, Boilers
[39 empty] | Additional Area | Nursery provision

## Feedback
|  | Ledbury Primary School |  |  | Ledbury Primary School |  |  | Ledbury Primary School
|  | Feedback Form |  |  | Feedback Form |  |  | Feedback Form
General Information and Asset Summary |  |  | School Occupancy Summary |  |  | Parental Preference
Do you believe the data to be accurate? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Maintenance and Condition Summary |  |  | School Statistics |  |  | Disability Access
Do you believe the data to be a fair reflection of the maintenance and condition of the school? | [5 empty] | Do you believe the data to be a fair reflection of the environmental condition of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Suitability and Compliance Summary |  |  | Environmental Sustainability Condition |  |  | Any Other Comments
Do you believe the data to be a fair reflection of the suitability and compliance issues faced by the school? | [5 empty] | Additional comments about the information provided:
Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments:
If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920
Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015

## Asset summary
Building ref number:- | LEAQ
Site Area:- | 29263.39
Asset Value (Insurance):- | 4371652.1029
Asset Value (Land):- | 1711744
Land owner:- | Owned by the Local Authority
Lease agreement / notes:- | Not Known
DEC rating:- | C
Electric consumption 2014/child:- | 231.6577
Gas consumption 2014/child:- | 545.6643

## Maintenance
Maintenance & Condition Summary |  |  |  | BCIS Quarter | 2Q2014 | [13 empty] | Check | Main year totals | Summary year totals | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows & Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | BCIS quarter | BCIS uplift
Year survey undertaken |  | 2014-06-30 |  | BCIS Uplift | 1.0198 | [17 empty] | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | 1Q2009 | 1.1525
Survey company:- |  | Amey | [17 empty] | 0 | 0 | Backlog | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2Q2009 | 1.1898
[20 empty] | 2065.1786 | 2065.1786 | 42185 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2065.1786 | 0 | 0 | 0 | 3Q2009 | 1.1898
[20 empty] | 134797.5198 | 134797.5198 | 42550 | 1019.8413 | 42833.3333 | 1606.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2651.5873 | 86686.5079 | 0 | 0 | 4Q2009 | 1.2123
|  |  |  | Year covered? | N | Y | Y | Y | Y | Y | School Costs | [8 empty] | 19657.4405 | 19657.4405 | 42915 | 0 | 0 | 0 | 0 | 1019.8413 | 4589.2857 | 1529.7619 | 2039.6825 | 0 | 6628.9683 | 3849.9008 | 0 | 0 | 0 | 1Q2010 | 1.2297
Category | Ref | Element | Recommended Works | Estimated Work Cost | Backlog | 2015-06-30 | 2016-06-29 | 2017-06-29 | 2018-06-29 | 2019-06-29 | Backlog | 2015-06-30 | 2016-06-29 | 2017-06-29 | 2018-06-29 | 2019-06-29 |  |  |  | 3747.9167 | 3747.9167 | 43280 | 0 | 0 | 1096.3294 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2651.5873 | 0 | 0 | 0 | 2Q2010 | 1.1789
[20 empty] | 155041.369 | 155041.369 | 43645 | 0 | 101984.127 | 509.9206 | 15297.619 | 2549.6032 | 3059.5238 | 0 | 0 | 2549.6032 | 27025.7937 | 2065.1786 | 0 | 0 | 0 | 3Q2010 | 1.1735
r | Roofs | Flat | There is a narrow section of flat roof present to the perimeter of the hall celestory windows, it has an integral gutter with internal downpipe terminals at regular spacing's. No leakage problems were reported by staff, however the roof envelope has been repaired many times suggesting the repairs are now holding well. The flat roofs have aluminium trims to the perimeter with plywood fascias below. Allow for recovering of this section within 5 years. | 10000 | [5 empty] | 10000 | 0 | [25 empty] | 4Q2010 | 1.1682
r | Roofs | Pitched | The majority of the building has pitched roofs with hip ends, the roof is clad with synthetic slates, probably Eternit items. The hips are closely mitred with no hip tiles present, the valleys are all constructed in a similar manner except one roof which has a 75mm gap between the tiles exposing the lead below. The mitred valley have a lead tray beneath. The roof has exposed rafter feet at the eaves and appears to be in a satisfactory order throughout, however budgets should be provisioned or reactive repairs for any slipped or damaged tiles that may occur. | 0 | [6 empty] | 0 | [10 empty] | Individual Category totals | 1019.8413 | 144817.4603 | 3212.5 | 15297.619 | 3569.4444 | 7648.8095 | 1529.7619 | 2039.6825 | 2549.6032 | 33654.7619 | 13283.4325 | 86686.5079 | 0 | 0 | 1Q2011 | 1.1735
r | Roofs | Roof lights | The building has many Velux roof windows present, these all appear to be in a satisfactory order. There are two large Georgian wired glass glazed panels present with aluminium intermediate bars, these too are in a satisfactory order. There is a Perspex dome type roof light present to the flat roof, it appears in satisfactory condition. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [20 empty] | 2Q2011 | 1.1525
r | Roofs | Roof Drainage | The pitched roofs have rectilinear gutters and square downpipes throughout, these are in a satisfactory order. The flat roofs have integral gutters, water is laying in these. Allow for regular cleaning. | 1000 |  |  | 500 |  | 500 |  | 0 | 0 | 500 | 0 | 500 | 0 | [6 empty] | Summary category totals | Main category totals | Check | [11 empty] | 3Q2011 | 1.1682
e | Redecoration | External | The external woodwork is varnished, this is flaking and exposing the timber below to the elements to the doors etc. the varnish to the rafters feet etc. is in reasonable order. Allow for decoration/treatment of timber. | 2500 |  |  |  | 2500 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | [20 empty] | 4Q2011 | 1.1525
e | External walls, windows and doors | Walls (including finishes) | The external walls are cavity work clad externally with brickwork laid in stretcher bond. The brickwork is of high quality and has raked joints. There are also areas of vertical timber boarding and vertical slate hanging present. All areas are in good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | External Grounds |  | 145837.3016 | 145837.3016 | [12 empty] | 1Q2012 | 1.1953
e | External walls, windows and doors | External Structural Frame | There are several box section steel posts present where roofs project past the face of the building, these are glossed and in some cases showing signs of minor corrosion. Allow for treatment and redecoration | 500 |  |  |  | 500 |  |  | 0 | 0 | 0 | 500 | 0 | 0 |  |  |  |  | Roof Works |  | 18510.119 | 18510.119 | [12 empty] | 2Q2012 | 1.1174
w | External walls, windows and doors | Windows & Doors | The windows and doors are aluminium throughout with both sash and louvered windows present and full or partial glazed doors. There are some solid doors to the external store rooms. All joinery is in reasonable order however the decorative state will need to be maintained, allow for redecoration(year 3). Also noted was some damaged quarry tiled cills, allow for localised repairs by (year 3) | 2000 |  |  |  | 2000 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | External Walls |  | 11218.254 | 11218.254 | [12 empty] | 3Q2012 | 1.1525
i | Internal walls and doors | Walls & Partitions (including finishes) | The walls are plastered and skimmed to the majority of areas, there are some areas with exposed brickwork present, this is in a satisfactory order. There is some minor damage to the plaster caused by wear and tear. Ceramic tiles have been employed as splashbacks and within shower cubicles. Toilet cubicles are melamine faced board material and are in good condition, with all toilet areas having been refurbished since the last inspection. There are partially glazed partitions present to the classrooms allow vision from the adjacent corridors to the room within. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Windows & Doors |  | 3569.4444 | 3569.4444 | [12 empty] | 4Q2012 | 1.1473
i | Internal walls and doors | Doors & Glazed Screens | The internal doors are flush veneer faced plywood throughout, some have glazed panels present. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Internal Works |  | 36204.3651 | 36204.3651 | [12 empty] | 1Q2013 | 1.0983
i | Floors and stairs | Floors (including finishes) | The floors are concrete throughout and are all on one level, high traffic areas are clad in vinyl tiles, the hall is clad in parquet blocks in a herringbone pattern, the classrooms and other rooms have either non slip vinyl or carpet present. Allow for phase replacement of floor coverings after year 5 | 5000 | [5 empty] | 5000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Mechanical & Electrical |  | 99969.9405 | 99969.9405 | [12 empty] | 2Q2013 | 1.089
i | Ceilings | All types | The ceilings to the majority of areas are aluminium exposed grid suspended ceilings, elsewhere the ceilings are plasterboard with an aertex finish. The ceilings extend up into the roof to form light wells for the Velux roof windows. No obvious defects were noted. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Other |  | 0 | 0 | [12 empty] | 3Q2013 | 1.0983
i | Fixed furniture and fittings | All types | All fixed furniture was noted to be in a satisfactory order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [20 empty] | 4Q2013 | 1.0798
i | Redecoration | Internal | All internal decoration was in reasonable order but is exhibiting some signs of wear and tear. Allow for redecoration. | 7000 |  |  |  | 3500 |  | 3500 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Total |  | 315309.4246 | 315309.4246 | [12 empty] | 1Q2014 | 1.0447
m | Sanitary services | Fittings | Sanitary ware and sinks were found to be in good order. All children's toilets have been refurbished recently. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [20 empty] | 2Q2014 | 1.0198
m | Sanitary services | Waste Plumbing | All visible waste plumbing was in good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [20 empty] | 3Q2014 | 1.028
m | Mechanical services | Boilers | 3 no Hamworthy gas boilers. These are reaching the end of their life cycle with school reporting frequent reactive calls during the last winter. Allow for replacement by year 2 | 75000 |  |  | 75000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | [20 empty] | 4Q2014 | 1.0078
m | Mechanical services | Heating Distribution | Steel and copper pipework to steel panel radiators around school, note new radiators to refurbished cloakroom/wc areas. All in a satisfactory condition. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [20 empty] | 1Q2015 | 1
m | Mechanical services | Heating Controls | Trend energy management system., Upgrade with new boilers when installed. | 10000 |  |  | 10000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Hot/Cold Water Distribution | Copper pipework. With various point of use water heaters provided to kitchen and some WC areas. Allow for PPM. | 500 |  | 100 | 100 | 100 | 100 | 100 | 0 | 100 | 100 | 100 | 100 | 100
m | Mechanical services | Ventilation | Extract fans WC's - Allow for regular cleaning | 500 |  |  | 250 |  | 250 |  | 0 | 0 | 250 | 0 | 250 | 0
m | Mechanical services | Gas Distribution | Incoming supply rises from the ground into the main boiler room. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Control Gear and Equipment | Miniform control gear and various sub DB's - Allow for PPM and 5 yearly checks | 1400 |  | 100 | 100 | 1000 | 100 | 100 | 0 | 100 | 100 | 1000 | 100 | 100
m | Electrical services | Power and Associated Fittings | Various surface, dado and flush mounted small power outlets. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Lighting and Associated Fittings | A programme of replacement lighting has been undertaken in recent years with the majority of rooms upgraded, leaving only few areas to upgrade i.e. storerooms. Allow for PPM relamping | 750 |  | 150 | 150 | 150 | 150 | 150 | 0 | 150 | 150 | 150 | 150 | 150
m | Electrical services | Fire Alarms | Fire check Concept Panel, with zone control, break glass call points and bells in rooms/corridors. In a satisfactory condition some detectors noted. Review of system required and upgrade to new addressable and auto detection system to be given, FRA to be reviewed. Continue PPM checks of current system | 750 |  | 150 | 150 | 150 | 150 | 150 | 0 | 150 | 150 | 150 | 150 | 150
m | Electrical services | Security Alarms / CCTV | On service contract. - Allow for checks | 375 |  | 75 | 75 | 75 | 75 | 75 | 0 | 75 | 75 | 75 | 75 | 75
m | Electrical services | Communications Systems | BT Line. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Emergency Lighting | Exit' luminaires in classrooms and circulation routes. Continue with PPM and review EM and signage requirements, with any Fire Alarm works/lighting replacements. | 500 |  | 100 | 100 | 100 | 100 | 100 | 0 | 100 | 100 | 100 | 100 | 100
m | Electrical services | Electrical Heating | Dimplex heaters in kitchen and WC's. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Stage Lighting | 18 no. luminaires controls, no name plate (12 way). Allow for PPM checks as required. | 250 |  | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50
m | Electrical services | Other | Hand dryers, showers and instantaneous water heaters. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Flat | There is a narrow section of flat roof present to the small extension within the courtyard, it discharges it's roof water via the adjacent flat roof. The roof is clad in modern mineral felt. No leakage problems were reported by staff. The flat roofs have aluminium trims to the perimeter with timber fascias below. Allow for recovering of this section within 5 years. | 5000 | [5 empty] | 5000 | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Pitched | The majority of the building has pitched roofs with hip ends, the roof is clad with synthetic slates, probably Eternit items. The hips are closely mitred with no hip tiles present, the valleys are all constructed in a similar manner. The mitred valleys have a lead tray beneath. The roof has exposed rafter feet at the eaves and appears to be in good order throughout. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Chimneys | There is a brick chimney serving the boiler room, it has a concrete slab to the top with four holes within the brickwork to allow flue gasses to escape. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Rooflights | The building has many Velux roof windows present, these all appear to be in good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Roof Drainage | The pitched roofs have rectilinear gutters and square downpipes throughout, these are in a satisfactory order. Allow for regular cleaning. | 1000 |  |  | 500 |  | 500 |  |  | 0 | 500 | 0 | 500 | 0
e | Redecoration | External | The external woodwork is varnished, this is flaking and exposing the timber below to the elements to the doors etc. the varnish to the rafters feet etc. is in reasonable order. Allow for decoration/treatment of timber. | 2000 |  |  |  | 2000 |  |  |  | 0 | 0 | 0 | 0 | 0
e | External walls, windows and doors | Walls (including finishes) | The external walls are cavitywork clad externally with brickwork laid in stretcher bond. The brickwork is of high quality and has raked joints. There are also areas of vertical timber boarding present. All areas are in good order. A small area was noted where the bricks are crumbling between 57CR. and 59A externally. These are still crumbled but no significant cracking at the time of this survey - monitor. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
e | External walls, windows and doors | External Structural Frame | There are several box section steel posts present where roofs project past the face of the building, these are glossed and in some cases showing signs of minor corrosion. Allow for treatment and redecoration | 500 |  |  |  | 500 |  |  |  | 0 | 0 | 500 | 0 | 0
w | External walls, windows and doors | Windows & Doors | The windows and doors are aluminium throughout with both sash and louvered windows present and full or partial glazed doors. There are some solid doors to the external store rooms. All joinery is in reasonable order however the decorative state will need to be maintained, allow for redecoration(year 3). Also noted was some damaged quarry tiled cills, allow for localised repairs by (year 3) | 1500 |  |  |  | 1500 |  |  |  | 0 | 0 | 1500 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | The walls are plastered and skimmed to the majority of areas, there are some areas with exposed brickwork present, this is in a satisfactory order. There is some minor damage to the plaster caused by wear and tear. Ceramic tiles have been employed as splashbacks and within shower cubicles. Toilet cubicles are melamine faced board material and are in good condition, with all toilet areas having been refurbished since the last inspection. There are partially glazed partitions present to the classrooms allow vision from the adjacent corridors to the room within. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Doors & Glazed Screens | The internal doors are flush veneer faced plywood throughout, some have glazed panels present. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Floors and stairs | Floors (including finishes) | The floors are concrete throughout and are all on one level, high traffic areas are clad in vinyl tiles, the hall is clad in parquet blocks in a herringbone pattern, the classrooms and other rooms have either non slip vinyl or carpet present. Allow for phase replacement of floor coverings after year 5 | 4000 | [5 empty] | 4000 |  | 0 | 0 | 0 | 0 | 0
i | Ceilings | All types | The ceilings to the majority of areas are aluminium exposed grid suspended ceilings, elsewhere the ceilings are plasterboard with an artex finish. The ceilings extend up into the roof to form lightwells for the Velux roof windows. No obvious defects were noted. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Fixed furniture and fittings | All types | All fixed furniture was noted to be in a satisfactory order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Redecoration | Internal | All internal decoration was in reasonable order but is exhibiting some signs of wear and tear. Allow for redecoration. | 6000 |  |  |  | 3000 |  | 3000 |  | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Fittings | Sanitaryware and sinks were found to be in good order. All children's toilets have been refurbished recently. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Waste Plumbing | All visible waste plumbing was in good order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating Distribution | Steel and copper pipework to steel panel radiators around school, note new radiators to refurbished cloakroom/wc areas. All in a satisfactory condition. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Hot/Cold Water Distribution | Copper pipework. With various point of use water heaters provided to kitchen and some WC areas. Allow for PPM. | 500 |  | 100 | 100 | 100 | 100 | 100 |  | 100 | 100 | 100 | 100 | 100
m | Mechanical services | Ventilation | Extract fans WC's - Allow for regular cleaning | 500 |  |  | 250 |  | 250 |  |  | 0 | 250 | 0 | 250 | 0
m | Electrical services | Control Gear and Equipment | Miniform control gear and various sub DB's - Allow for PPM and 5 yearly checks | 900 |  | 100 | 100 | 500 | 100 | 100 |  | 100 | 100 | 500 | 100 | 100
m | Electrical services | Power and Associated Fittings | Various surface, dado and flush mounted small power outlets. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Electrical services | Lighting and Associated Fittings | A programme of replacement lighting has been undertaken in recent years with the majority of rooms upgraded, leaving only few areas to upgrade i.e. storerooms. Allow for PPM relamping | 750 |  | 150 | 150 | 150 | 150 | 150 |  | 150 | 150 | 150 | 150 | 150
m | Electrical services | Communications Systems | 3 COM Super Stack II and BT ISDN 2E. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Electrical services | Emergency Lighting | Exit' luminaires in classrooms and circulation routes. Continue with PPM and review EM and signage requirements, with any Fire Alarm works/lighting replacements. | 500 |  | 100 | 100 | 100 | 100 | 100 |  | 100 | 100 | 100 | 100 | 100
m | Electrical services | Other | Hand dryers. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
| Overall Block Condition |  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
r | Roofs | Pitched | The building has sloping roofs throughout which are clad with Eternet synthetic slates, these are in good order. There are two shallow pitched canopy roofs present which are formed in polycarbonate with steel box section rafters. These have become covered in green algae growth. Otherwise the roofs are in good order throughout. The fascias and soffits are self finished board material, the building has exposed rafter feet at the eaves. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
r | Roofs | Chimneys | There are two metal boiler flues projecting through the roof envelope above the boiler room, they are well integrated into the roof structure and are in good order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
r | Roofs | Rooflights | There are two large glazed panels to the central hall, they appear in good order with no reported leakage. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
r | Roofs | Roof Drainage | The gutters are large capacity quadrant shaped aluminium throughout these discharge to large diameter welded aluminium downpipes. All appear to be free of defects. Allow for regular cleaning. | 500 |  |  | 250 |  |  | 250 |  | 0 | 250 | 0 | 0 | 250
e | Redecoration | External | The decoration is limited to the exposed rafter feet. It is in good order. Allow for decoration. | 1500 | [5 empty] | 1500 |  | 0 | 0 | 0 | 0 | 1500
e | External walls, windows and doors | Walls (including finishes) | The building has cavity walls throughout. these are clad externally with brickwork which is well constructed in stretcher bond with raked joints. There are no obvious defects present. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
e | External walls, windows and doors | External Structural Frame | The canopies have box section steel framework, this is in good order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Windows & Doors | All external joinery is aluminium and is in excellent order throughout. The building is double glazed throughout. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | The internal walls are fairfaced concrete blockwork throughout, the surface has been finished with white emulsion paint. The walls have ceramic tiles present to form splashbacks. All areas are in good order. Timber trims have been placed to tops of short toilet partitions in toilet areas. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | internal | Services
i | Internal walls and doors | Doors & Glazed Screens | The doors are flush plywood throughout, doors have Georgian wired glass vision panels present. All doors are in good order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Internal Structural Frame | There is a tubular steel beam visible to the glazed roof section within the hall. It appears in good order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
i | Floors and stairs | Floors (including finishes) | The building has concrete floors throughout all on one level. The classrooms have carpet and non slip vinyl present, elsewhere the floors (except the hall) have non slip vinyl present. The hall has a granwood block floor present which is performing well. Allow for phase replacement of floor coverings after year 5 | 3500 | [5 empty] | 3500 |  | 0 | 0 | 0 | 0 | 0
i | Ceilings | All types | The building has sloping plasterboard and skim ceilings present throughout. No evidence of leakage was noted in the vicinity of the roof windows. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Fixed furniture and fittings | All types | The fixtures and fittings Inc. kitchen units and toilet cubicle doors are in good order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Redecoration | Internal | The internal decorations to wall and ceiling areas is in good order. Allow for cyclical decorations. | 2500 | [5 empty] | 2500 |  | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Fittings | The sanitaryware and sinks appear to be in good order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Waste Plumbing | All visible waste plumbing is in good order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Boilers | 2 no. gas MHS Stratal boilers, 43Kw. Allow for PPM checks | 500 |  | 100 | 100 | 100 | 100 | 100 |  | 100 | 100 | 100 | 100 | 100
m | Mechanical services | Heating Distribution | Underfloor heating system with pipework manifold/s in store cupboards - Satisfactory condition | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating Controls | Trend energy management system. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Hot/Cold Water Distribution | Copper pipework. With various water heaters. Allow for PPM. | 500 |  | 100 | 100 | 100 | 100 | 100 |  | 100 | 100 | 100 | 100 | 100
m | Mechanical services | Ventilation | Vent Axia extract fans. | 150 |  |  | 75 |  | 75 |  |  | 0 | 75 | 0 | 75 | 0
m | Mechanical services | Gas Distribution | All pipework colour coded. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Electrical services | Control Gear and Equipment | Merlin Gerin ISO Bar 4 distribution board. Allow for PPM and 5 Yearly check. | 900 |  | 100 | 100 | 500 | 100 | 100 |  | 100 | 100 | 500 | 100 | 100
m | Electrical services | Power and Associated Fittings | Various surface, dado and flush mounted small power outlets. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Electrical services | Lighting and Associated Fittings | Mixture of surface mounted twin battern units and circular fittings, some with emergency lighting. - Allow for PPM and relamping | 750 |  | 150 | 150 | 150 | 150 | 150 |  | 150 | 150 | 150 | 150 | 150
m | Electrical services | Fire Alarms | Firecheck Concept Panel, with zone control, break glass call points and bells in rooms/corridors. In a satisfactory condition some detectors noted. Review of system required and upgrade to new addressable and autodetection system to be given, FRA to be reviewed. Continue PPM checks of current system | 750 |  | 150 | 150 | 150 | 150 | 150 |  | 150 | 150 | 150 | 150 | 150
m | Electrical services | Security Alarms / CCTV | On service contract. - Allow for checks | 375 |  | 75 | 75 | 75 | 75 | 75 |  | 75 | 75 | 75 | 75 | 75
m | Electrical services | Communications Systems | BT extension. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Electrical services | Other | Redding hand dryers type ADI. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
r | Roofs | Pitched | The building has sloping roofs throughout which are clad with Eternet synthetic slates, these are in good order. There are lead valleys present where the building links into it's neighbour. The roofs are in good order throughout. The fascias and soffits are self finished board material, the building has boxed in eaves. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
r | Roofs | Rooflights | There are several Velux roof windows present to the roof, these appear to be well integrated into the roof envelope and in good order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
r | Roofs | Roof Drainage | The gutters are large capacity quadrant shaped aluminium throughout these discharge to large diameter welded aluminium downpipes. All appear to be free of defects. Allow for regular cleaning. | 500 |  |  | 250 |  |  | 250 |  | 0 | 250 | 0 | 0 | 250
e | Redecoration | External | The decoration is in good order throughout. Allow for decoration. | 1000 | [5 empty] | 1000 |  | 0 | 0 | 0 | 0 | 1000
e | External walls, windows and doors | Walls (including finishes) | The building has cavity walls throughout these are clad externally with brickwork which is well constructed in stretcher bond with raked joints. There are no obvious defects present. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
e | External walls, windows and doors | External Structural Frame | To the rear of the building the eaves form a canopy which extends approx. 1.8m from the face of the building, it is supported with tubular metal posts, these are in good order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Windows & Doors | All external joinery is aluminium and is in excellent order throughout. The building is double glazed throughout. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | The internal walls are fairfaced concrete blockwork throughout, the surface has been finished with white emulsion paint. The walls have ceramic tiles present to form splashbacks. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Doors & Glazed Screens | The doors are flush plywood throughout, doors have toughened glass vision panels present to BS6206. All doors are in good order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Internal Structural Frame | There are several large section fink pattern principle trusses present to the roof, These are in good order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Floors and stairs | Floors (including finishes) | The building has concrete floors throughout all on one level. The floor is finished in carpet and non slip vinyl which is performing well. Allow for phase replacement of floor coverings after year 5 | 2500 | [5 empty] | 2500 |  | 0 | 0 | 0 | 0 | 0
i | Ceilings | All types | The building has sloping plasterboard and skim ceilings present to the main teaching space, elsewhere there are aluminium exposed grid suspended ceilings present; a section of this has fallen within the wash room adjacent to the kitchen. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Fixed furniture and fittings | All types | The fixtures and fittings Inc. kitchen units and toilet cubicle doors are in good order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Redecoration | Internal | The internal decorations to wall and ceiling areas is in good order. Allow for cyclical decorations. | 2500 | [5 empty] | 2500 |  | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Fittings | The sanitaryware and sinks appear to be in good order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Waste Plumbing | All visible waste plumbing is in good order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
r | Roofs | Flat | The building is roofed with modern mineral felt, This appears to be in good order, no evidence of leakage is visible in the rooms below. The roof rolls over at the eaves to issue water to the gutters. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
r | Roofs | Rooflights | There are Perspex roof lights present, these appear in good order with no obvious signs of leakage from below. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
r | Roofs | Roof Drainage | The building has black plastic gutters and downpipes present to two faces, these are in good order. Allow for clearing. | 150 |  |  | 75 |  | 75 |  |  | 0 | 75 | 0 | 75 | 0
e | Redecoration | External | The building is finished with a render which requires decoration as do the timber entrance doors. Allow for this on a cyclical basis | 3000 | [5 empty] | 3000 |  | 0 | 0 | 0 | 0 | 0
e | External walls, windows and doors | Walls (including finishes) | The building has the usual render/textured finish to the plywood walls. There are timber boards present to the plinth with ventilation gaps between. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Windows & Doors | The building has uPVC windows and timber doors. All joinery is in good order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | The walls are clad in prefinished plasterboard with tape applied to the joints all areas are in good order. There are melamine faced toilet cubicles within the cloaks. Ceramic tiles have been used to form basin splashbacks. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Doors & Glazed Screens | The internal doors are flush plywood, and are in good order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Floors and stairs | Floors (including finishes) | The floor is suspended timber throughout, The floor is finished with carpet and non- slip vinyl, both are in good order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Floors and stairs | Staircases (including finishes) | The building is accessed from a paved area, The timber fire exit steps to the building are satisfactory along with the level platform that runs from the second fire escape door. Allow treatment of timber and re-covering with antislip coatings as required and within 5 years. | 1000 | [5 empty] | 1000 |  | 0 | 0 | 0 | 0 | 1000
i | Ceilings | All types | The ceilings is of the same plasterboard as the walls and is in good order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Fixed furniture and fittings | All types | Various units to classroom and kitchen - Satisfactory condition. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Redecoration | Internal | The Internal decoration is in good order. - allow for cyclical decoration. | 1500 | [5 empty] | 1500 |  | 0 | 0 | 0 | 0 | 1500
m | Sanitary services | Fittings | Toilets and basins were in good order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Waste Plumbing | All exposed waste plumbing is in good order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating Distribution | Copper pipework to radiators - satisfactory. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating Controls | Timeclock. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Hot/Cold Water Distribution | Copper pipework | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Ventilation | Extract fans in toilets and kitchen. Allow for cleaning. | 50 |  |  |  | 50 |  |  |  | 0 | 0 | 50 | 0 | 0
m | Mechanical services | Gas Distribution | Supply to wall hung boiler. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Boilers | Wall hung Worcester Boiler - Allow for PPM Checks | 375 |  | 75 | 75 | 75 | 75 | 75 |  | 75 | 75 | 75 | 75 | 75
m | Electrical services | Control Gear and Equipment | Assumed 100a distribution board. (DB H) with separate fire alarm power supply switch - Include with overall school PPM. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Electrical services | Power and Associated Fittings | Various small power outlets distributed around unit | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Electrical services | Lighting and Associated Fittings | Surface mounted twin battern units and circular units to WC. Emergency lights above doors and in various ceiling fittings. Allow for PPM checks | 250 |  | 50 | 50 | 50 | 50 | 50 |  | 50 | 50 | 50 | 50 | 50
m | Electrical services | Fire Alarms | Basic panel with three zones, breakglasses and sounders, unknown if linked back to main school panel. Allow for PPM checks. | 250 |  | 50 | 50 | 50 | 50 | 50 |  | 50 | 50 | 50 | 50 | 50
m | Electrical services | Communications Systems | Telephone extension. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
| N/A | N/A | A new community asset buildings has been added to the site of which the school has joint use of the reception and one back office. This is excluded from the survey currently as the school does not have budgetary responsibility for this asset. A review of condition was noted at the time of this survey and can be added to this report if required. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
g | External areas | Roads and Car Parks | The roads and carparks are clad in tarmac with concrete kerbs to the perimeter, no obvious defects were noted however the carpark was full at the time of the survey possibly concealing problems. The school indicated that the surface of this carpark was becoming a concern in terms of surface condition. It is recommended that condition is reviewed with a view to resurfacing within the 5 year reporting period. | 100000 | [5 empty] | 100000 |  | 0 | 0 | 0 | 0 | 0
g | External areas | Playing fields | The playing fields are extensive and are level and entirely grassed over. Football pitches are marked out on them. The surface was wet but not waterlogged after a prolonged wet period of weather. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
g | External areas | Hard Playing Areas | The hard play areas are surfaced with fine tarmac and appear to be in a satisfactory order. Concrete kerbs are present to the perimeter of the tarmac. There are areas of specialist rubber surfacing within the nursery playground around play equipment. The upper playground surface is worn and loose chippings are present all over, school has raised concerns, consider resurfacing within two years. | 40000 |  |  | 40000 |  |  |  |  | 0 | 0 | 0 | 0 | 0
g | External areas | Paths & Pedestrian Paved Areas | The paths around the building are predominantly concrete slabs, textured slabs are used to indicate a change in levels and to corners on the access ramp. There are concrete steps to changes in level. There is a hard landscaped garden present which is kept immaculate. All pedestrian areas are in good order. A number of concrete slabs are broken or un-even, presenting possible trip hazards, allow for repairs and relaying. | 2000 |  |  | 2000 |  |  |  |  | 0 | 0 | 0 | 0 | 0
g | External areas | Soft Landscaping | There are several planted areas and isolated mature trees around the site, all appear to be in good order and healthy. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
g | External areas | Walls, Fences and Gates | There are brick retaining walls present around the site, these appear to be in a satisfactory order, brick walls are also present to the sides of all of the ramps and steps, handrails are fixed onto these. Some of the brickwork is spalled and missing pointing, allow for a small repairs budget to make these areas of brickwork good. The site is surrounded by a high weldmesh fence on either concrete or steel posts. There are timber paling fences present within the site which are in good order. There are also tubular steel railings present to ramps etc. All areas were noted to be in good order. | 1000 |  |  | 1000 |  |  |  |  | 0 | 1000 | 0 | 0 | 0
g | External areas | Ancillary Buildings | There are several items of timber play equipment present to the hardplay areas which appear in good order. The new brick built PE Shed within the grounds is subject to flooding in heavy rain as the water from the adjacent hardplay area enters it below the doors. Problems have been reported with the shed doors etc. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
g | External areas | Drainage | The majority of the drain covers were too heavy to lift without specialist equipment. No problems were reported by staff regarding the drainage system. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0

## EFA Property
|  |  | EFA survey data | [6 empty] | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other
DFE | School | School Type | Date received | Condition rating C or D | Priority rating 1 or 2 | Element | Category | CCP rating
[9 empty] | C1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | C2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D3 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Suitability and Compliance
Space |  |  | BB103 suggested sizes
[6 empty] | Suitability Data | [15 empty] | Compliance Comparison |  |  | 2 | Form of entry | PAN | 60
Basic Teaching Spaces |  |  | No. of spaces | m2 | Total m2 | Plan ref | Space | [14 empty] | Total area | Shortfall | Surplus | 2012 | Date of last assessment
|  | Classroom - Year R | 1 | 62 | 62 | 211, 211a | General classroom | 60.9 | 3.4 | [12 empty] | 64.3 | 0 | 2.3
|  |  | 1 | 62 | 62 | 212, 212a | General classroom | 60.81 | 3.33 | [12 empty] | 64.14 | 0 | 2.14
|  | Classroom - Year 1 | 1 | 62 | 62 | 74, 74a, 74b, 74c | General classroom | 26.57 | 5.79 | 2.49 | 6.7 | [10 empty] | 41.55 | 20.45 | 0 | 1 | No. Temp Buildings on Site
|  |  | 1 | 62 | 62 | 79, 79a-g | General classroom | 5.9 | 5.38 | 5.43 | 5.37 | 5.52 | 5.64 | 5.79 | 5.86 | [6 empty] | 44.89 | 17.11 | 0
|  | Classroom - Year 2 | 1 | 62 | 62 | 81, 81 a-g | General classroom | 5.9 | 5.38 | 5.43 | 5.37 | 5.52 | 5.64 | 5.79 | 5.86 | [6 empty] | 44.89 | 17.11 | 0 | 0 | No. of Classrooms in Temporary Buildings
|  |  | 1 | 62 | 62 | 77, 77 a-g | General classroom | 5.9 | 5.38 | 5.43 | 5.37 | 5.52 | 5.64 | 5.79 | 5.86 | [6 empty] | 44.89 | 17.11 | 0
|  | Classroom - Year 3 | 1 | 62 | 62 | 17, 17 a-g | General classroom | 5.86 | 5.71 | 5.38 | 5.54 | 5.45 | 5.51 | 5.63 | 5.71 | [6 empty] | 44.79 | 17.21 | 0 | 14 | No. of Classrooms
|  |  | 1 | 62 | 62 | 21, 21a-g | General classroom | 5.63 | 5.61 | 5.49 | 5.42 | 5.49 | 5.55 | 5.56 | 5.75 | [6 empty] | 44.5 | 17.5 | 0
|  | Classroom - Year 4 | 1 | 62 | 62 | 37, 37 a-g | General classroom | 5.9 | 5.38 | 5.43 | 5.37 | 5.52 | 5.64 | 5.79 | 5.86 | [6 empty] | 44.89 | 17.11 | 0 | 14 | Required No. of Classroooms
|  |  | 1 | 62 | 62 | 41, 41a-g | General classroom | 5.9 | 5.38 | 5.43 | 5.37 | 5.52 | 5.64 | 5.79 | 5.86 | [6 empty] | 44.89 | 17.11 | 0
|  | Classroom - Year 5 | 1 | 62 | 62 | 45, 45a-g | General classroom | 5.9 | 5.38 | 5.43 | 5.37 | 5.52 | 5.64 | 5.79 | 5.86 | [6 empty] | 44.89 | 17.11 | 0
|  |  | 1 | 62 | 62 | 49, 49a-g | General classroom | 5.9 | 5.38 | 5.43 | 5.37 | 5.52 | 5.64 | 5.79 | 5.86 | [6 empty] | 44.89 | 17.11 | 0
|  | Classroom - Year 6 | 1 | 62 | 62 | 55 | General classroom | 62.418 | [13 empty] | 62.418 | 0 | 0.418
|  |  | 1 | 62 | 62 | 57 | General classroom | 50.9 | [13 empty] | 50.9 | 11.1 | 0
|  | Practical area / food bay | 0 | 0 | 0 | 43, 43a-c, 1a, 1b, 73, 73a-d | Practical area | 15.66 | 3.98 | 24.5 | 5.31 | 16.87 | 1.53 | 15.74 | 4.53 | 24.23 | 5.87 | 5.15 |  |  |  | 123.37 | 0 | 123.37 | 21.43% | of classrooms are the recommended size
|  | ICT base | 0 | 0 | 0 | 51, 51a-g | IT room | 5.9 | 5.38 | 5.43 | 5.37 | 5.52 | 5.64 | 5.79 | 5.86 | [6 empty] | 44.89 | 0 | 44.89 | 78.57% | of classrooms are small
[5 empty] | 868 | [16 empty] | 855.088 | 186.03 | 173.118 | 98.51% | of the recommended basic teaching space required
[24 empty] | 681.97 | 78.57% | of the recommended basic teaching space required ignoring surplus
Halls and Studios | [24 empty] | 21.43% | shortfall in basic teaching space
| 1 | Main hall | 1 | 180+70 | 250 | 202, 11 | Hall | 79.48 | 257.38 | [12 empty] | 336.86 | 0 | 86.86
[5 empty] | 250 | [16 empty] | 336.86 | 0 | 86.86 | 134.7% | of the recommended hall size
Storage | [24 empty] | 0% | shortfall in hall size
| 1 | Coat and bag storage - Year R | 2 | 3 | 6 | 209, 214 | Cloakroom (some used by pre school and extended school) | 17.07 | 29.27 | [12 empty] | 46.34 | 0 | 40.34
| 2 | Coat and bag storage - Year 1 | 2 | 3 | 6 | 76 | Cloakroom | 9.51 | 5.31 | [12 empty] | 14.82 | 0 | 8.82
| 3 | Coat and bag storage - Year 2 | 2 | 3 | 6 | 83, 84 | Cloakroom | 9.51 | 5.31 | [12 empty] | 14.82 | 0 | 8.82
| 4 | Coat and bag storage - Year 3 | 2 | 3 | 6 | 19, 20 | Cloakroom | 9.51 | 5.31 | [12 empty] | 14.82 | 0 | 8.82
| 5 | Coat and bag storage - Year 4 | 2 | 3 | 6 | 39, 40 | Cloakroom | 9.51 | 5.31 | [12 empty] | 14.82 | 0 | 8.82
| 6 | Coat and bag storage - Year 5 | 2 | 3 | 6 | 47, 48 | Cloakroom | 9.55 | 5.31 | [12 empty] | 14.86 | 0 | 8.86
| 7 | Coat and bag storage - Year 6 | 2 | 3 | 6 | 59, 60, 53, 54 | Cloakroom | 9.51 | 5.31 | 9.51 | 5.31 | [10 empty] | 29.64 | 0 | 23.64
| 8 | Teaching storage - Year R | 2 | 2 | 4 | 210, 213 | Store room | 4.46 | 4.46 | [12 empty] | 8.92 | 0 | 4.92
| 9 | Teaching storage - Year 1 | 2 | 2 | 4 | 75, 80 | Store room | 2.08 | 2.08 | [12 empty] | 4.16 | 0 | 0.16
| 10 | Teaching storage - Year 2 | 2 | 2 | 4 | 82, 22 | Store room | 2.08 | 2.31 | [12 empty] | 4.39 | 0 | 0.39
| 11 | Teaching storage - Year 3 | 2 | 2 | 4 | 18, UN3 | Store room | 1.72 | 2.31 | [12 empty] | 4.03 | 0 | 0.03
| 12 | Teaching storage - Year 4 | 2 | 2 | 4 | 38, 42 | Store room | 2.08 | 2.08 | [12 empty] | 4.16 | 0 | 0.16
| 13 | Teaching storage - Year 5 | 2 | 2 | 4 | 46, 50 | Store room | 2.08 | 2.08 | [12 empty] | 4.16 | 0 | 0.16
| 14 | Teaching storage - Year 6 | 2 | 2 | 4 | un9, 58, 44 | Store room | 2 | 2.08 | [12 empty] | 4.08 | 0 | 0.08
| 15 | Specialist walk in stores | 4 | 5 | 20 | 29, 25, 62, 86, 208, UN10, 71, 216 | Store room | 14.96 | 15.68 | 2.08 | 1.79 | 9.55 | 5 | 5.74 | 4.4 | [6 empty] | 59.2 | 0 | 39.2
| 18 | Indoor PE equipment storage | 1 | 25 | 25 | 13 | Store room | 10.43 | [13 empty] | 10.43 | 14.57 | 0
| 19 | Outdoor PE equipment storage | 0 | 0 | 0 | [16 empty] | 0 | 0 | 0
|  | Bulk stock store | 1 | 4 | 4 | 33, un8 | Store room | 1.55 | 4 | [12 empty] | 5.55 | 0 | 1.55
| 21 | Caretakers and maintenance store | 1 | 5 | 5 | 89 | Store room | 6.39 | [13 empty] | 6.39 | 0 | 1.39
| 22 | Cleaning store | 2 | 3 | 6 | 26, 28, 32, 72, 88, 207 | Cleaners store room | 0.52 | 0.54 | 1.49 | 4.12 | 4.48 | 2.94 | [8 empty] | 14.09 | 0 | 8.09
| 23 | Table and chair store | 1 | 16 | 16 | 12, 14 | Store room | 5.52 | 8.03 | [12 empty] | 13.55 | 2.45 | 0
| 25 | Staging/ appliance store | 1 | 4 | 4 | [16 empty] | 0 | 4 | 0
|  | Mobility equipment store | 2 | 2 | 4 | [16 empty] | 0 | 4 | 0
| 24 | Store for community | 0 | 0 | 0 | [16 empty] | 0 | 0 | 0
[5 empty] | 154 | [16 empty] | 293.23 | 25.02 | 164.25 | 190.4% | of the recommended storage space required
Staff and admin | [24 empty] | 16.25% | shortfall
| 1 | Heads office | 1 | 16 | 16 | 3 | Heads office | 16.48 | [13 empty] | 16.48 | 0 | 0.48
| 3 | Staff room work and social | 1 | 61 | 61 | 5, 6 | Staffroom | 44.04 | 7.72 | [12 empty] | 51.76 | 9.24 | 0
|  | Staff PPA | 1 | 20 | 20 | 7 | General office | 5.22 | 5.85 | [12 empty] | 11.07 | 8.93 | 0
| 4 | Senior management office | 1 | 12 | 12 | 2 | Office | 16.05 | [13 empty] | 16.05 | 0 | 4.05
| 7 | General office (reception) | 1 | 12 | 12 | UNK | Reception (office) | 18.1 | [13 empty] | 18.1 | 0 | 6.1
| 8 | Secure reception | 1 | 6 | 6 | UNO, UNP, UNQ | Secure entrance | 49 | [13 empty] | 49 | 0 | 43
| 9 | Reprographics room | 1 | 9 | 9 | [16 empty] | 0 | 9 | 0
| 10 | Meeting room | 1 | 16 | 16 | [16 empty] | 0 | 16 | 0
| 11 | Sick bay | 1 | 3 | 3 | [16 empty] | 0 | 3 | 0
| 13 | Interview room | 1 | 10 | 10 | [16 empty] | 0 | 10 | 0
[5 empty] | 165 | [16 empty] | 162.46 | 56.17 | 53.63 | 98.46% | of the recommended staff and admin space required
Learning resource area | [24 empty] | 34.04% | shortfall
| 1 | Library (learning resource centre) | 1 | 45 | 45 | 34, | Library | 27.1 | [13 empty] | 27.1 | 17.9 | 0
| 3 | Small group room | 5 | 11 | 55 | 84, 85 a-d | small group room | 20.01 | 2.95 | 5.06 | 2.45 | 1.95 | [9 empty] | 32.42 | 22.58 | 0
| 5 | SENco office (SEN resource) | 1 | 12 | 12 | [16 empty] | 0 | 12 | 0
| 2 | Medical inspection room/ Therapy room | 1 | 12 | 12 | UN11 | MI room | 8 | [13 empty] | 8 | 4 | 0
[5 empty] | 124 | [16 empty] | 67.52 | 56.48 | 0 | 54.45% | of the recommended learning resource areas
Supplementary area | [24 empty] | 45.55% | shortfall
| 1 |  | 0 | 0 | 0 | 61, 61 a-g | Art room | 5.9 | 5.38 | 5.43 | 5.37 | 5.52 | 5.64 | 5.79 | 5.86 | [6 empty] | 44.89 | 0 | 44.89
|  |  | 0 | 0 | 0 | 31 | Music classroom | 29.55 | [13 empty] | 29.55 | 0 | 29.55
|  |  | 0 | 0 | 0 | 215, 215a | SEN classroom | 60.59 | 3.35 | [12 empty] | 63.94 | 0 | 63.94
|  |  | 0 | 0 | 0 | UN18 to UN52 | Childrens centre | [14 empty] | 0 | 0 | 0
|  |  | 0 | 0 | 0 | UNA to UNJ, UNI, UNL, UNR | Multi agency office | [14 empty] | 0 | 0 | 0
0
[22 empty] | 138.38 | 0 | 138.38 | - | of the recommended supplementary areas
Non net areas | [24 empty] | - | shortfall
| 1 | Reception toilets | 6 | 2 | 12 | UN4, UN5 | Toilets (5 wc's) | 4 | 4 | [12 empty] | 8 | 4 | 0 | 5 | Number of reception toilets
| 1 | Pupils toilets | 18 | 2 | 36 | 19b, 19c, 39b, 39c, , 47b, 47c, 53b, 53c, 59b, 59c, 76b, 76c, 83b, 83c, | toilets (37 wc's, 4 urinals) | 3.36 | 3.36 | 3.36 | 3.36 | 3.36 | 3.36 | 3.36 | 3.36 | 3.36 | 3.36 | 3.36 | 3.36 | 3.36 | 3.36 | 47.04 | 0 | 11.04 | 41 | Number of other pupil toilets
| 2 | Staff toilets | 3 | 2 | 6 | 8,9, 66, 67, 205 | Staff wc (7 wc's) | 6.19 | 6.19 | 1.58 | 1.58 | 2.29 | [9 empty] | 17.83 | 0 | 11.83 | 83.33% | % of recommended reception toilets
| 3 | Accessible toilet | 2 | 3 | 6 | 301, UN12, UNL | Disabled w.c. | 4.19 | 4 | 4 | [11 empty] | 12.19 | 0 | 6.19 | 227.8% | % of recommended other pupil toilets
| 9 | Hygiene room | 1 | 12 | 12 | [16 empty] | 0 | 12 | 0
| 4 | Kitchen facilities (servery) | 1 | 41 | 41 | 16, 204 | Kitchen | 5.41 | 6.88 | [12 empty] | 12.29 | 28.71 | 0
| 5 | Corridors | - | 22.5% | 351.225 | 1,1c,10,15,23,24,30,34a,34b,35b,63,68,69,70,203,206,,302,un2, un3, un13, unm, unn | Corridors (ref 1 to 302 inculded in first cell) | 186 | 2 | 5 | 4 | 5 | 4 | [8 empty] | 206 | 145.225 | 0
| 6 | Boiler room | 1 | 1.5% | 23.415 | 64, 36, 217, UN15 | Boiler room | 15.26 | 2.73 | 3.15 | 4 | [10 empty] | 25.14 | 0 | 1.725
| 7 | Server | in boiler |  |  | 52 | IT Server room | 2.08 | [13 empty] | 2.08 | 0 | 2.08
|  | Walls | - | 4% | 62.44 |  |  | 7.44 | [13 empty] | 7.44 | 55 | 0
[5 empty] | 550.08 | [16 empty] | 338.01 | 244.935 | 32.865 | 61.45% | of the recommended non net area
Additional area- School nursery | [24 empty] | 44.53% | shortfall
|  | Nursery class | 1 | 62 | 62 | 304, 304a | Nursery classroom | 45.2 | 21 | [12 empty] | 66.2 | 0 | 4.2
|  | Quiet room | 1 | 8 | 8 | 308 |  | 11.65 | [13 empty] | 11.65 | 0 | 3.65
|  | Nursery store room | 1 | 2 | 2 | 306, UN14 | Utility room | 4.59 | 5 | [12 empty] | 9.59 | 0 | 7.59
|  | Nursery office | 1 | 8 | 8 | 307 | Kitchen | 11.66 | [13 empty] | 11.66 | 0 | 3.66
|  | Nursery cloakroom | 1 | 3 | 3 | 302a | Cloakroom | 11.06 | [13 empty] | 11.06 | 0 | 8.06
|  | Nursery pupils toilets | 3 | 2 | 6 | 305 | Pupil wc (multi-sex) | 12.42 | [13 empty] | 12.42 | 0 | 6.42
|  | Nursery staff toilets | 1 | 2 | 2 | [16 empty] | 0 | 2 | 0
|  | Nursery entrance | 1 | 22.5% | 1.8675 | 303 | Entrance | 5.59 | [13 empty] | 5.59 | 0 | 3.7225
[5 empty] | 92.8675 | [16 empty] | 128.17 | 2 | 37.3025 | 138% | of the recommended additional area
Additional area- Busy bees | [24 empty] | 2.154% | shortfall
|  | Nursery class | 1 | 62 | 62 | 104 | Community use | 48.49 | [13 empty] | 48.49 | 13.51 | 0
|  | Quiet room | 1 | 8 | 8 | 107 | community use | 48.63 | [13 empty] | 48.63 | 0 | 40.63
|  | Nursery store room | 1 | 2 | 2 | 105, 106 | Store room | 1.88 | 1.9 | [12 empty] | 3.78 | 0 | 1.78
|  | Nursery office | 1 | 8 | 8 | [16 empty] | 0 | 8 | 0
|  | Nursery cloakroom | 1 | 3 | 3 | 101 | Cloakroom | 7.96 | [13 empty] | 7.96 | 0 | 4.96
|  | Nursery pupils toilets | 3 | 2 | 6 | 102, 103 | wcs (2 wc's) | 1.8 | 1.8 | [12 empty] | 3.6 | 2.4 | 0
|  | Nursery staff toilets | 1 | 2 | 2 | [16 empty] | 0 | 2 | 0
|  | Nursery entrance | 1 | 22.5% | 1.8675 | 201 | Entrance | 2.99 | [13 empty] | 2.99 | 0 | 1.1225
[5 empty] | 92.8675 | [16 empty] | 115.45 | 25.91 | 48.4925 | 124.3% | of the recommended additional area
| 2 | [23 empty] | 27.9% | shortfall
Total Net area |  |  |  |  | 1561 | [16 empty] | 1717.238
Total Non-Net area |  |  |  |  | 550.08 | [16 empty] | 338.01
Gross (total build) area - excluding nursery |  |  |  |  | 2111.08 | [16 empty] | 2055.248 |  |  | 97.36% | of the recommended Gross area
Gross (total build) area - including nursery |  |  |  |  | 2296.815 | [16 empty] | 2298.868
Building area range |  |  |  |  | 2072.0-2290.0
Mid range |  |  |  |  | 2181.5
Site Area Range |  |  |  |  | 15984.0-19983.0
Mid range |  |  |  |  | 17983

## Occupancy
Sufficiency Data
Planned Admission Number | Current Capacity | Maximum PAN | Capacity based on max PAN
60 | 420 | 60 | 420
NOR Spring Census
| 2008 / 2009 | 2009 / 2010 | 2010 / 2011 | 2011 / 2012 | 2012 / 2013 | 2013 / 2014
NOR Jan | 445 | 451 | 411 | 404 | 391 | 409
Maximum Capacity | 420 | 420 | 420 | 420 | 420 | 420
Number of Surplus Places | 0 | 0 | 9 | 16 | 29 | 0
% of surplus places | 0 | 0 | 2.1 | 3.8 | 6.9 | 0
Current Numbers on Roll (from Autumn Census)
Year group | R | 1 | 2 | 3 | 4 | 5 | 6 | Total
Number | 60 | 59 | 60 | 60 | 62 | 57 | 61 | 419

## School stats
Current Ofsted | Year
Good | 2010-11-16
2014 KS2 Performance Tables last update : (15 Sep 2014)
Year on year comparisons
Percentage achieving Level 4 or above in reading, writing and maths | 2012 | 2013 | 2014
School | 75% | 81% | 80%
LA | 71% | 71% | 76%
England - All Schools | 75% | 75% | 79%
KS2 test results and progress
| All pupils | Low attainers | Middle attainers | High attainers
Pupils eligible for KS2 assessment | 54
Percentage of pupils achieving 3 or below in reading and maths test and writing TA | 6% | 17% | 0% | 0%
Percentage of pupils achieving level 4 or above in reading and maths test and writing TA | 80% | 17% | 100% | 100%
Percentage of pupils achieved level 4B or above in reading and maths test and level 4 in writing TA | 65% | 8% | 72% | 100%
Percentage of pupils achieving level 5 or above in reading and maths test and writing TA | 33% | 0% | 20% | 87%
Percentage of pupils making at least 2 levels of progress in reading | 96% | 83% | 100% | 100%
Percentage of pupils making at least 2 levels of progress in writing TA | 92% | 75% | 100% | 93%
Percentage of pupils making at least 2 levels of progress in maths | 96% | 83% | 100% | 100%
Average point score | 29.2
Closing the Gap
| Disadvantaged pupils | Other pupils
Percentage of disadvantaged pupils achieving level 3 or below in reading and maths tests and writing TA | 13% | 4%
Percentage of disadvantaged pupils achieving level 4 or above in reading and maths tests and writing TA | 50% | 85%
Percentage of disadvantaged pupils achieving level 4B or above in reading and maths tests and writing TA | 25% | 72%
Percentage of disadvantaged pupils achieving level 5 or above in reading and maths tests and writing TA | 13% | 37%
Percentage of disadvantaged pupils making at least 2 levels of progress in reading | 100% | 96%
Percentage of disadvantaged pupils making at least 2 levels of progress in writing TA | 100% | 91%
Percentage of disadvantaged pupils making at least 2 levels of progress in maths | 100% | 96%
Value Added measures
| Measure | Lower CI | Upper CI | Coverage
Overall value added measure | 100.8 | 100.2 | 101.5 | 96%
Reading value added measure | 100.5 | 99.8 | 101.2 | 96%
Writing TA value added measure | 100.2 | 99.4 | 100.9 | 96%
Maths value added measure | 101.3 | 100.5 | 102.1 | 96%
Subject level results
| Reading test | Maths test | Grammar, punctuation and spelling test | Writing TA
Percentage achieving level 3 or below | 6% | 9% | 20% | 20%
Percentage achieving Level 4 or above | 94% | 91% | 80% | 80%
Percentage achieving Level 4b or above | 78% | 81% | 72% | NA
Percentage achieving Level 5 or above | 46% | 50% | 56% | 37%
Pupil Absence last update : (11 Dec 2013)
| School | England - national (primary state-funded)
Overall absence: percentage | 4.1% | 4.8%
Persistent absence: around 15% + | 2.3% | 3.6%
Please note - this year the Department will publish full year 2013/14 absence data in the performance tables in March 2015 rather than just the autumn and spring term data in December as in previous years, and we will continue to do so in future years. This is because the full year data provides the most robust indication of school absence rates.
School level information for the 2013/14 autumn and spring term only is available in our Statistical First Release here
2013-14 Finance last update : (10 Dec 2014)
Contextual information
Number of pupils (FTE) | 432
Percentage of pupils eligible for Free School Meals (FSM) | 10.5%
Free school meals eligibility band | LOW
Spend per pupil data as £ per pupil (in brackets percentage of total income or expenditure)
| School | LA Median | Non-London LAs Median | National Median
Grant funding | 3833 (96%) | 4525 | 4016 | 4325
Self generated income | 167 (4%) | 144 | 142 | 127
Total income | 4000 | 4723 | 4183 | 4479
Teaching staff | 2000 (50%) | 2277 | 2045 | 2106
Supply Staff | 79 (2%) | 87 | 118 | 127
Education support staff | 847 (21%) | 689 | 650 | 733
Learning resources (not ICT equipment) | 145 (4%) | 181 | 174 | 184
ICT learning resources | 24 (1%) | 81 | 62 | 66
Bought in professional services - curriculum | 109 (3%) | 88 | 59 | 67
Back office (incl. Staff costs) | 294 (7%) | 406 | 334 | 351
Catering (incl. Staff costs) | 43 (1%) | 35 | 53 | 75
Premises (incl. Staff costs) | 224 (6%) | 259 | 275 | 301
Other staff costs | 115 (3%) | 153 | 133 | 142
Energy | 35 (1%) | 68 | 62 | 65
Other expenditure | 124 (3%) | 94 | 85 | 88
Total expenditure | 4040 | 4562 | 4143 | 4431
Spend per pupil data as £ per pupil : Comparisons over time
| 2010-11 | 2011-12 | 2012-13 | 2013-14
Teaching staff and Education support staff expenditure | 2780 | 2772 | 2854 | 2847
Supply staff | 64 | 49 | 74 | 79
Back office (incl. Staff costs) | 265 | 284 | 288 | 294
Energy | 38 | 33 | 41 | 35
Total expenditure | 4056 | 3937 | 4147 | 4040
School Workforce last update : (10 Dec 2014)
This data is based upon the November 2013 School Workforce Census
| School | England - national (primary state-funded)
Headcount of all teachers in a school | 24 | 236728
Headcount of all teaching assistants in a school | 38 | 239340
Headcount of all support (exc. auxillary) staff in a school | 8 | 77335
Full-time equivalent number of all teachers in a school | 20 | 207827.7
Full-time equivalent number of all teaching assistants in a school | 19.2 | 154245.3
Full-time equivalent number of all support (exc. auxillary) staff in a school | 4.7 | 51728.3
Ratio of pupils to teachers in a school | 21.6 | 20.5
Average gross salary of all teachers in a school | 37594 | 36559

## Parental Preference
Popularity Data | [10 empty] | Children at School From School Catchment
Parental First Preference Applications | [11 empty] | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  | Catchment vs Nearest School |  |  |  |  | Catchment | Nearest
Year | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  |  | NOR | 451 | 411 | 404 | 391 | 409 |  |  |  | NOR |  |  |  |  | 419 | 419
PAN | 60 | 60 | 60 | 60 | 60 | 60 |  |  |  |  | Number | 433 | 400 | 391 | 381 | 392 |  |  |  | Total in area |  |  |  |  | 626 | 633
No. | 58.8 | 72 | 55.8 | 72.6 | 63 | 59 |  |  |  |  | % | 96.0089 | 97.3236 | 96.7822 | 97.4425 | 95.8435 |  |  |  | Number at School from area |  |  |  |  | 403 | 403
% | 98 | 120 | 93 | 121 | 105 | 98.3333 | [13 empty] | % at School |  |  |  |  | 96.1814 | 96.1814
[11 empty] | Total number in Catchment | [8 empty] | % of area going to School |  |  |  |  | 64.377 | 63.6651
[12 empty] | 2010 | 2011 | 2012 | 2013 | 2014
[11 empty] | Number | 624 | 590 | 587 | 596 | 608
[11 empty] | % | 100 | 100 | 100 | 100 | 100
Where children at School are coming from (from Spring Census 2014)
DCSF No. | School |  | Ashperton | Bredenbury | Brockhampton | St Peter's, Bromyard | Broadlands | St Martin’s | Kings Caple | Kingstone & Thruxton | Ledbury | Lugwardine | Marden | Ashfield Park | Withington | Bosbury C E | Burley Gate C E | Colwall C E | Eastnor Parochial | Gorsley Goffs Endowed | Holmer C E | Mordiford C E | Brampton Abbotts CE | Cradley C E | St Mary’s C E, Fownhope | Much Marcle C E | St Thomas Cantilupe C E | Out of County | Grand Total
2005 | Ashperton | Number | 82 | 0 | 0 | 3 | 2 | 4 | 0 | 0 | 32 | 2 | 2 | 0 | 16 | 4 | 6 | 0 | 0 | 0 | 0 | 3 | 4 | 1 | 2 | 6 | 1 | 5 | 175
2005 | Ashperton | % | 46.8571 | 0 | 0 | 1.7143 | 1.1429 | 2.2857 | 0 | 0 | 18.2857 | 1.1429 | 1.1429 | 0 | 9.1429 | 2.2857 | 3.4286 | 0 | 0 | 0 | 0 | 1.7143 | 2.2857 | 0.57143 | 1.1429 | 3.4286 | 0.57143 | 2.8571 | 100
2098 | Ledbury | Number | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 392 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 5 | 409
2098 | Ledbury | % | 0.978 | 0 | 0 | 0 | 0 | 0 | 0 | 0.489 | 95.8435 | 0 | 0 | 0 | 0 | 0 | 0 | 0.978 | 0 | 0 | 0.2445 | 0 | 0 | 0 | 0 | 0.2445 | 0 | 1.2225 | 100
3006 | Bosbury C E | Number | 3 | 2 | 3 | 0 | 0 | 0 | 0 | 0 | 34 | 0 | 0 | 0 | 0 | 43 | 22 | 11 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 0 | 5 | 140
3006 | Bosbury C E | % | 2.1429 | 1.4286 | 2.1429 | 0 | 0 | 0 | 0 | 0 | 24.2857 | 0 | 0 | 0 | 0 | 30.7143 | 15.7143 | 7.8571 | 0 | 0 | 0 | 0 | 0 | 12.1429 | 0 | 0 | 0 | 3.5714 | 100
3023 | Colwall C E | Number | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37 | 0 | 0 | 0 | 0 | 1 | 1 | 96 | 2 | 1 | 0 | 0 | 0 | 5 | 0 | 1 | 0 | 41 | 186
3023 | Colwall C E | % | 0.53763 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.8925 | 0 | 0 | 0 | 0 | 0.53763 | 0.53763 | 51.6129 | 1.0753 | 0.53763 | 0 | 0 | 0 | 2.6882 | 0 | 0.53763 | 0 | 22.043 | 100
3037 | Eastnor Parochial | Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 0 | 0 | 0 | 0 | 2 | 0 | 7 | 14 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 5 | 80
3037 | Eastnor Parochial | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 62.5 | 0 | 0 | 0 | 0 | 2.5 | 0 | 8.75 | 17.5 | 0 | 0 | 0 | 0 | 1.25 | 0 | 1.25 | 0 | 6.25 | 100
3315 | Cradley C E | Number | 1 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 3 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 87 | 0 | 1 | 0 | 13 | 114
3315 | Cradley C E | % | 0.87719 | 0 | 1.7544 | 0 | 0 | 0 | 0 | 0 | 2.6316 | 0 | 0 | 0 | 0 | 2.6316 | 3.5088 | 0 | 0 | 0 | 0 | 0 | 0 | 76.3158 | 0 | 0.87719 | 0 | 11.4035 | 100
3363 | Much Marcle C E | Number | 3 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 40 | 0 | 0 | 4 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 27 | 0 | 7 | 89
3363 | Much Marcle C E | % | 3.3708 | 0 | 0 | 0 | 0 | 0 | 4.4944 | 0 | 44.9438 | 0 | 0 | 4.4944 | 0 | 1.1236 | 0 | 0 | 0 | 0 | 0 | 1.1236 | 1.1236 | 0 | 1.1236 | 30.3371 | 0 | 7.8652 | 100
Where school children in the Schools Catchment area are going to (from Spring Census 2014)
DCSF No. | School |  | Ashperton | Bredenbury | Brockhampton | Hampton Dene | St Martin’s | Kings Caple | Ledbury | Lugwardine | Walford | Withington | Bosbury C E | Burley Gate C E | Colwall C E | Eastnor Parochial | Gorsley Goffs Endowed | Holmer C E | Mordiford C E | Cradley C E | St Mary’s C E, Fownhope | St Francis Xaviers RC | St James’ C E, Hereford | St Pauls CE | Much Marcle C E | St Josephs RC | St Thomas Cantilupe C E | Grand Total
2005 | Ashperton | Number | 82 | 0 | 0 | 0 | 0 | 0 | 4 | 2 | 0 | 4 | 3 | 2 | 1 | 0 | 0 | 1 | 5 | 1 | 1 | 1 | 0 | 2 | 3 | 0 | 1 | 113
2005 | Ashperton | % | 72.5664 | 0 | 0 | 0 | 0 | 0 | 3.5398 | 1.7699 | 0 | 3.5398 | 2.6549 | 1.7699 | 0.88496 | 0 | 0 | 0.88496 | 4.4248 | 0.88496 | 0.88496 | 0.88496 | 0 | 1.7699 | 2.6549 | 0 | 0.88496 | 100
2098 | Ledbury | Number | 32 | 0 | 0 | 3 | 1 | 1 | 392 | 4 | 2 | 0 | 34 | 0 | 37 | 50 | 0 | 0 | 0 | 3 | 2 | 2 | 0 | 2 | 40 | 3 | 0 | 608
2098 | Ledbury | % | 5.2632 | 0 | 0 | 0.49342 | 0.16447 | 0.16447 | 64.4737 | 0.65789 | 0.32895 | 0 | 5.5921 | 0 | 6.0855 | 8.2237 | 0 | 0 | 0 | 0.49342 | 0.32895 | 0.32895 | 0 | 0.32895 | 6.5789 | 0.49342 | 0 | 100
3006 | Bosbury C E | Number | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 43 | 0 | 1 | 2 | 0 | 0 | 0 | 3 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 55
3006 | Bosbury C E | % | 7.2727 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 78.1818 | 0 | 1.8182 | 3.6364 | 0 | 0 | 0 | 5.4545 | 0 | 0 | 1.8182 | 0 | 1.8182 | 0 | 0 | 100
3023 | Colwall C E | Number | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 11 | 0 | 96 | 7 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 119
3023 | Colwall C E | % | 0 | 0 | 0 | 0 | 0 | 0 | 3.3613 | 0 | 0 | 0 | 9.2437 | 0 | 80.6723 | 5.8824 | 0 | 0 | 0 | 0 | 0.84034 | 0 | 0 | 0 | 0 | 0 | 0 | 100
3037 | Eastnor Parochial | Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16
3037 | Eastnor Parochial | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.5 | 87.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100
3315 | Cradley C E | Number | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 5 | 1 | 0 | 0 | 0 | 87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 113
3315 | Cradley C E | % | 0.88496 | 0.88496 | 0.88496 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.0442 | 0 | 4.4248 | 0.88496 | 0 | 0 | 0 | 76.9912 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100
3363 | Much Marcle C E | Number | 6 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 4 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 27 | 0 | 0 | 42
3363 | Much Marcle C E | % | 14.2857 | 0 | 0 | 0 | 0 | 0 | 2.381 | 0 | 0 | 0 | 0 | 0 | 2.381 | 2.381 | 9.5238 | 0 | 0 | 2.381 | 2.381 | 0 | 0 | 0 | 64.2857 | 0 | 0 | 100

## Disability access
Physical Accessibility Rating | 3
Information from https://www.herefordshire.gov.uk/education-and-learning/schools/directory
Ratings and descriptions
Rating | Details | Description
3 | Fully accessible | Will meet the needs of all disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling); Has a full hygiene room and special educational needs or therapy room for pupils who need more assistance with personal care (including hoisting) and regular physio or other treatment
2 | Mainly accessible | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
1 | Partly accessible | Some standards met but some areas not accessible
0 | Inaccessible | No level access into building and/or no disabled toilet
Summary of physical accessibility standards
Level access into building(s): Main and pupil entrance(s) level, with ramps and hand rails as required
Level access to all curriculum and social areas (not necessarily entire building/site): including assembly hall, canteen (may be achieved by sensitive organisation and timetabling)
Access to upper floors: if required - lift(s) as alternative to steps or stairs
Toilet facilities: small disabled toilet(s) as specified by building regulations - suitable for most disabled pupils. A small number of pupils will require enhanced facilities (hygiene room) to provide greater assistance, including hoisting.
Medical, therapy or SEN room: multi-purpose or flexible use - usually required in addition to a hygiene room, for regular physio and other physical programmes
Emergency evacuation: routes should be level and unobstructed. Evacuation must be documented (using Personal Emergency Evacuation Plans - PEEPs) and practised regularly