## Cover Page
Longtown Primary School
Summary Report
Contents
|  | Section | Page | No. of pages
Longtown Primary School |  | Summary Data | 3 | 1
Summary Report |  | General Information and Asset Summary | 4 | 1
|  | Maintenance and Condition Summary | 5 | 2
|  | Education Funding Agency Condition Survey Data | 7 | 1
Schools Capital Investment Strategy |  | Suitability and Compliance Summary | 8 | 2
|  | School Occupancy Summary | 10 | 1
|  | School Statistics | 11 | 1
|  | Environmental Sustainability Condition | 12 | 1
|  | Parental Preference | 13 | 1
|  | Distribution of Children Attending School or Resident in its Catchmnet Area | 14 | 1
|  | Distribution of Children Attending School or Where it is the Nearest School | 15 | 1
|  | Key Services Within 2 Mile Radius of School | 16 | 1
|  | Key Services Adjacent to School | 17 | 1
|  | Disability Access | 18 | 1
Children's Wellbeing
Herefordshire Council
Plough Lane Offices
Plough Lane
HEREFORD
HR4 0LE

## Summary Info
Longtown Primary School
Summary Report
Summary of Headline Information
Asset Summary | [5 empty] | Occupancy Summary
Gross Site Area (M2)(whole site including building):- |  | 7362.7 |  |  |  | Current Capacity (PAN 8):- |  |  |  | 56
Insurance Asset Value (£000):- |  | 507441 |  |  |  | Allocated Capacity Size (PAN 10):- |  |  |  | 70
Land Asset Value (£000):- |  | Not Known |  |  |  | Current Occupancy:- |  |  |  | 55
Land Ownership:- | Owned by the Local Authority |  |  |  |  | Current Planned Admission No.:- |  |  |  | 8
[6 empty] | Current Number Over Capacity:- |  |  |  | 0
[6 empty] | Current Number Under Capacity:- |  |  |  | 1
Maintenance Expenditure Required on the School over a 5 Year Period Summary
Survey Date:- |  |  |  | 2014-06-30
Backlog Maintenance Total (£000):- | [6 empty] | Not Available
Total Forecast Expenditure (5 years) (£000):- | [6 empty] | 110.5508
Total Potential Local Authority Forecast Expenditure (£000):- | [6 empty] | 100.9643
Total Potential School Forecast Expenditure (£000):- | [6 empty] | 9.5865
Suitability and Compliance
Required Number of Classrooms:- | [6 empty] | 3 | Required Building Footprint (M2):- |  | 694.28
Actual Number of Classrooms:- | [6 empty] | 3 | Current Building Area (M2):- |  | 415.7906
Percentage of Classrooms that are the Recommended Size:- | [6 empty] | 33.3333 | Area Shortfall (M2):- |  | 278.4894
Compliance Percentage of Recommended Hall Size:- | [6 empty] | 50.1143 | Area Surplus (M2):- |  | 0
Number of Temporary Buildings on Site:- |  |  |  |  | 1 |  |  | Total Percentage Compliance:- |  | 59.888
Number of Classrooms in Temporary Buildings:- |  |  |  |  | 0
Compliance Percentage of Recommended Reception Toilets:- | [6 empty] | 0 | Required Net Site Area (M2):- |  | 4177.12
Compliance Percentage of Recommended Other Pupil Toilets:- | [6 empty] | 150 | Current Net Site Area (M2):- |  | 6946.9094
Nursery on Site:- | Yes | [6 empty] | Area Shortfall (M2):- |  | 0
[8 empty] | Area Surplus (M2):- |  | 2769.7894
[8 empty] | Total Percentage Compliance:- |  | 166.3086
Disability Access
Rating:- | 1 |  | Details:- |  |  |  | Partly accessible
Environmental Sustainability Condition
DEC Rating:- |  |  |  |  | No data held
Electric Consumption 2014/Child:- |  |  |  |  | 1371.4107
Gas Consumption 2014/Child:- |  |  |  |  | Not Available
School Statistics
Ofsted Results:- | [8 empty] | Good
Percentage of Children Achieving KS2 Level 4 or Above in Reading, Writing and Maths in 2014:- | [8 empty] | 75
Parental Preference (2014)
Percentage of Parental First Preference Applications:- | [6 empty] | 75
Total Number of Children within Catchment:- | [6 empty] | 45
Total Number of Children at School from Catchment:- | [6 empty] | 40
Percentage of Catchment at School:- | [6 empty] | 71.4286
Percentage of Catchment Going to School:- | [6 empty] | 88.8889

## Report
|  |  | Longtown Primary School | [6 empty] | Longtown Primary School | [14 empty] | Longtown Primary School | [7 empty] | Longtown Primary School |  |  |  |  | Longtown Primary School |  | Longtown Primary School |  |  |  |  | Longtown Primary School | [5 empty] | Longtown Primary School |  |  | Longtown Primary School | [8 empty] | Longtown Primary School |  | Longtown Primary School |  | Longtown Primary School |  | Longtown Primary School |  | Longtown Primary School |  |  | Longtown Primary School
|  |  | Summary Report | [6 empty] | Summary Report | [14 empty] | Summary Report | [7 empty] | Summary Report |  |  |  |  | Summary Report |  | Summary Report |  |  |  |  | Summary Report | [5 empty] | Summary Report |  |  | Summary Report | [8 empty] | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  |  | Summary Report
General Information |  |  |  | Maintenance and Condition Summary | [21 empty] | Education Funding Agency Condition Survey Data | [7 empty] | Suitability and Compliance Summary |  |  |  |  | Suitability and Compliance Summary (continued) |  | School Occupancy Summary |  |  |  |  | School Statistics | [5 empty] | Environmental Sustainability Condition |  |  | Parental Preference | [8 empty] | Distribution of Children Attending School or Resident in its Catchment Area |  | Distribution of Children Attending School or Where it is the Nearest School |  | Key Services Within 2 Mile Radius of School |  | Key Services Adjacent to School |  | Disability Access
Maintenance and Condition Summary (continued)
School Name:- | Longtown Primary School |  |  | Survey Date:- | 2014-06-30 |  | Survey Company:- |  | Hub |  | Key Elements and Annual Forecast Maintenance Costs and Responsibilities | [14 empty] | Date of Survey:- |  | 2013-05-14 | [5 empty] | Areas | Standard Criteria (M2) (PAN 10) | Schools Compliance (M2) | Compliance Percentage |  |  |  | Current Planned Admission No. (PAN) | Current School Capacity | Maximum PAN | Maximum Capacity Based on PAN |  | Year | KS2 Year on Year Results |  |  |  |  | Electric Consumption 2014/Child:- | 1371.4107 |  |  | Parental First Preference Applications | [15 empty] | Physical Accessibility Rating
Head Teacher:- | Mrs S Gaston Executive Head | DFE Number:- | 2101 | Year | Forecast Maintenance Costs (£ 000) | [5 empty] | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows and Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | Number of Occurences Identified Within the Report | [7 empty] | Basic Teaching Space | 186 | 170.45 | 91.6398 |  |  |  | 8 | 56 | 7 | 49 |  |  | School - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | LA - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | All Schools in England - Percentage Achieving Level 4 or Above in Reading, Writing and Maths |  |  | Gas Consumption 2014/Child:- | Not Available |  |  | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | [10 empty] | Rating: | 1
Leadership:- | Mrs S Gaston Executive Head. Head of Learning Ms J Edwards. Shared head with Fairfield. | [24 empty] | Rating (see key below) | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other | Hall and Studio | 140 | 70.16 | 50.1143 | [17 empty] | PAN | 8 | 8 | 8 | 8 | 8 | 8
Address:- | Longtown Primary School, Hereford, HR2 0LE | Email:- | admin@longtown.hereford.sch.uk | Backlog | Not Available | [5 empty] | £ 000 | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | [8 empty] | Storage | 56 | 50.84 | 90.7857 |  |  |  | Historical Numbers on Roll Data (Spring Census) | [13 empty] | Number | 2 | 4 | 8.96 | 6 | 5 | 6 | [10 empty] | Details: | Partly accessible
|  |  |  | 2015-06-30 | 31.7681 |  |  | Not Available |  |  | Backlog | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | C1 | [7 empty] | Staff and Admin | 66 | 32.218 | 48.8152 |  |  |  | Year | Total NOR | Capacity Based on PAN | Shortfall | Surplus | 2012 | SUPP | 71 | 75 | [5 empty] | Percentage | 25 | 50 | 112 | 75 | 62.5 | 75
|  |  |  | 2016-06-29 | 58.5899 |  |  | 31.7681 |  |  | 2015-06-30 | 2.1417 | 0 | 0.40794 | 0 | 0 | 0 | 0 | 0 | 0.76488 | 28.0456 | 0.40794 | 0 | 0 | 0 | C2 |  |  |  |  | 1 | 1 |  | Learning Resource | 53 | 16.572 | 31.2679 |  |  |  | 2008 / 2009 | 52 | 56 | 0 | 4 | 2013 | 53 | 71 | 75 | [22 empty] | Description: | Some standards met but some areas not accessible
|  |  |  | 2017-06-29 | 4.9972 |  |  | 58.5899 |  |  | 2016-06-29 | 0.050992 | 0 | 0 | 0 | 0 | 5.0992 | 0 | 0 | 2.0397 | 50.9921 | 0.40794 | 0 | 0 | 0 | D1 | [7 empty] | Supplementary Area | 0 | 0 | - |  |  |  | 2009 / 2010 | 45 | 56 | 0 | 11 | 2014 | 75 | 76 | 79 | [5 empty] | Historical Catchment Analysis (Spring Census)
Telephone No.:- | T: 01873 860239 F: 01873 860239 | School Cluster:- | Peterchurch District- Fairfield High School | 2018-06-29 | 0.45893 |  |  | 4.9972 |  |  | 2017-06-29 | 0.35694 | 2.5496 | 1.4788 | 0 | 0.20397 | 0 | 0 | 0 | 0 | 0 | 0.40794 | 0 | 0 | 0 | D2 | [7 empty] | Non Net Area | 193.28 | 75.5506 | 39.0887 |  |  |  | 2010 / 2011 | 47 | 56 | 0 | 9 | [9 empty] | Catchment Analysis | Parental First Preference Applications 2012: 2010; Parental First Preference Applications 2013: 2011; Parental First Preference Applications 2014: 2012 | 2013 | 2014
|  |  |  | 2019-06-29 | 14.7367 |  |  | 0.45893 |  |  | 2018-06-29 | 0.050992 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40794 | 0 | 0 | 0 | D3 | [7 empty] | Total Gross Building Area | 694.28 | 415.7906 | 59.888 |  |  |  | 2011 / 2012 | 55 | 56 | 0 | 1 | KS2 Test Results and Progress (2014) | [11 empty] | Total in Catchment | 51 | 47 | 53 | 56 | 45
[8 empty] | 14.7367 |  |  | 2019-06-29 | 0.050992 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.2778 | 0.40794 | 0 | 0 | 0 | [15 empty] | 2012 / 2013 | 61 | 56 | 5 | 0 | [12 empty] | Number at School from Catchment | 32 | 34 | 42 | 49 | 40
School Type:- | Community | Building Number:- | VEAK | Total | 110.5508 | [5 empty] | Totals | 2.6516 | 2.5496 | 1.8867 | 0 | 0.20397 | 5.0992 | 0 | 0 | 2.8046 | 93.3155 | 2.0397 | 0 | 0 | 0 | *Note the information noted above has been extracted from the EFA survey focusing on elements that are C & D rated. Items with an A or B rating have been excluded. The numbers reference the quantity of elements that the survey has picked up within the relevant category | [7 empty] | Total Gross Site Area | 4871.4 | 7362.7 | 151.1414 |  |  |  | 2013 / 2014 | 56 | 56 | 0 | 0 | Pupils eligible for KS2 assessment |  |  |  | 8 | [7 empty] | Percentage at School from Catchment | 71.1111 | 72.3404 | 76.3636 | 80.3279 | 71.4286
Current Capacity:- | 56 | Site Area:- | 7362.7 | [30 empty] | Net Site Area (less the building area) | 4177.12 | 6946.9094 | 166.3086 |  |  |  | Current Occupancy | 55 | 56 | 0 | 1 | Percentage achieving level 3 or below in reading, writing and maths |  |  |  | 0 | [7 empty] | Percentage of Catchment Going to School | 62.7451 | 72.3404 | 79.2453 | 87.5 | 88.8889
[11 empty] | Total Potential Expenditure - Local Authority (£000) | [6 empty] | 100.9643 | [27 empty] | Percentage achieving level 4 or above in reading, writing and maths |  |  |  | 75
|  |  |  | Key Elements of Forecast Maintenance | [29 empty] | Key Information (based on Building Bulletin 103) | [6 empty] | Current Occupancy Summary (Autumn Census 2014) |  |  |  |  | Percentage achieving level 4B or above in reading and maths and level 4 or above in writing |  |  |  | 75 |  |  |  |  | Catchment and Nearest School Comparison (Autumn Census 2014)
|  |  |  | Categories |  | Totals (£ 000) | [19 empty] | Key | [7 empty] | Required Number of Classrooms |  |  |  | 3 |  |  | Year Group | NOR | Shortfall | Surplus |  | Percentage achieving level 5 or above in reading, writing and maths |  |  |  | 0 | [5 empty] | Parental First Preference Applications 2011: Catchment vs Nearest School; Parental First Preference Applications 2012: Catchment; Parental First Preference Applications 2013: Nearest
|  |  |  | External Grounds |  | 5.2012 |  |  |  |  | Total Potential Expenditure - School (£000) | [6 empty] | 9.5865 | [7 empty] | Condition grade | Definition |  |  |  | Priority rating | Definition |  | Number of Classrooms |  |  |  | 3 |  |  | Reception | 6 | 0 | 2 |  | Percentage making expected progress in reading |  |  |  | 100 | [5 empty] | Parental First Preference Applications 2011: NOR; Parental First Preference Applications 2012: 55; Parental First Preference Applications 2013: 55
|  |  |  | Roof Works |  | 1.8867 | [27 empty] | Percentage of Classrooms that are the Recommended Size |  |  |  | 33.3333 |  |  | One | 4 | 0 | 4 |  | Percentage making expected progress in writing |  |  |  | 100 | [5 empty] | Parental First Preference Applications 2011: Total in Area; Parental First Preference Applications 2012: 51; Parental First Preference Applications 2013: 39
|  |  |  | External Walls |  | 5.3032 | [19 empty] | A Good | Performing as intended and operating efficiently |  |  |  | 1 | Immediate or year 1 remedial action required |  | Percentage of Classrooms that are Classed as Small |  |  |  | 66.6667 |  |  | Two | 7 | 0 | 1 |  | Percentage making expected progress in maths |  |  |  | 100 | [5 empty] | Parental First Preference Applications 2011: Number at School from Area; Parental First Preference Applications 2012: 41; Parental First Preference Applications 2013: 32
|  |  |  | Windows and Doors |  | 0 | [27 empty] | Number of Temporary Buildings on Site |  |  |  | 1 |  |  | Three | 14 | 6 | 0 |  | Average point score |  |  |  | 29.4 | [5 empty] | Parental First Preference Applications 2011: Percentage at School; Parental First Preference Applications 2012: 74.5455; Parental First Preference Applications 2013: 58.1818
|  |  |  | Internal Works |  | 96.12 | [19 empty] | B Satisfactory | Performing as intended but exhibiting minor deterioration |  |  |  | 2 | Year 1-2 remedial action required |  | Number of Classrooms in Temporary Buildings |  |  |  | 0 |  |  | Four | 9 | 1 | 0 | [11 empty] | Parental First Preference Applications 2011: Percentage of area going to School; Parental First Preference Applications 2012: 80.3922; Parental First Preference Applications 2013: 82.0513
Asset Summary |  |  |  | Mechanical and Electrical |  | 2.0397 | [27 empty] | Percentage of Recommended Reception Toilets |  |  |  | 0 |  |  | Five | 3 | 0 | 5 |  | Latest Ofsted Report Date:- |  | 2014-06-17
|  |  |  | Other (e.g. ancillary buildings) |  | 0 | [19 empty] | C Poor | Exhibiting major defects and/or not operating as intended |  |  |  | 3 | Year 3-5 remedial action required |  | Percentage of Recommended Other Pupil Toilets |  |  |  | 150 |  |  | Six | 12 | 4 | 0 |  | Ofsted Result:- |  | Good
Asset Value - Insurance (£000):- |  | 507.441 | [38 empty] | Total | 55 | 0 | 1
Asset Value - Land (£000):- |  | Not Known | [23 empty] | D Bad | Life-expired and/or at serious risk of imminent failure
Land Owner:- |  | Owned by the Local Authority | [36 empty] | Category | Areas Included
[39 empty] | Basic Teaching Spaces | General Classrooms, ICT Rooms, Practical Areas
[39 empty] | Hall and Studio | Halls, Dining Areas
Lease Agreement / Notes:- |  | Not Known | [36 empty] | Storage | Coats and Bags, Teaching, Specialist, PE Equipment, Bulk Stock, Cleaning, Caretakers and Maintenance, Tables and Chairs, Staging, Mobility Equipment
Nursery Provision:- |  | PVI Nursery | [36 empty] | Staff and Admin | Heads and Staff Offices, Staff Room, Staff PPA,Reprographics Room, Sick Bay, Interview and Meeting Rooms, Secure Entrance
[39 empty] | Learning Resource | Library, Small Group Rooms, SENCO Office, Medical Inspection Room
[39 empty] | Supplementary Area | Any other specialist area at the school e.g. Music Classroom, Swimming Pool, SEN Classrooms
[39 empty] | Non Net Area | Pupil and Staff Toilets, Accessible Toilets, Hygiene Room, Kitchen, Corridors, Server Room, Boilers
[39 empty] | Additional Area | Nursery provision

## Feedback
|  | Longtown Primary School |  |  | Longtown Primary School |  |  | Longtown Primary School
|  | Feedback Form |  |  | Feedback Form |  |  | Feedback Form
General Information and Asset Summary |  |  | School Occupancy Summary |  |  | Parental Preference
Do you believe the data to be accurate? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Maintenance and Condition Summary |  |  | School Statistics |  |  | Disability Access
Do you believe the data to be a fair reflection of the maintenance and condition of the school? | [5 empty] | Do you believe the data to be a fair reflection of the environmental condition of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Suitability and Compliance Summary |  |  | Environmental Sustainability Condition |  |  | Any Other Comments
Do you believe the data to be a fair reflection of the suitability and compliance issues faced by the school? | [5 empty] | Additional comments about the information provided:
Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments:
If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920
Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015

## Asset summary
Building ref number:- | VEAK
Site Area:- | 7362.7
Asset Value (Insurance):- | 507441
Asset Value (Land):- | Not Known
Land owner:- | Owned by the Local Authority
Lease agreement / notes:- | Not Known
DEC rating:- | No data held
Electric consumption 2014/child:- | 1371.4107
Gas consumption 2014/child:- | Not Available

## Maintenance
Maintenance & Condition Summary |  |  |  | BCIS Quarter | 2Q2014 | [12 empty] | Check | Main year totals | Summary year totals | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows & Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | BCIS quarter | BCIS uplift
Year survey undertaken |  | 2014-06-30 |  | BCIS Uplift | 1.0198 | [16 empty] | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | 1Q2009 | 1.1525
Survey company:- |  | Hub | [16 empty] | 0 | 0 | Backlog | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2Q2009 | 1.1898
[17 empty] | Figures match LG 20/03/2015 | CHECK | 31768.0556 | 31768.0556 | 2015-06-30 | 2141.6667 | 0 | 407.9365 | 0 | 0 | 0 | 0 | 0 | 764.881 | 28045.6349 | 407.9365 | 0 | 0 | 0 | 3Q2009 | 1.1898
[19 empty] | 58589.881 | 58589.881 | 2016-06-29 | 50.9921 | 0 | 0 | 0 | 0 | 5099.2063 | 0 | 0 | 2039.6825 | 50992.0635 | 407.9365 | 0 | 0 | 0 | 4Q2009 | 1.2123
|  |  |  | Year covered? | N | Y | Y | Y | Y | Y | School Costs | [7 empty] | 4997.2222 | 4997.2222 | 2017-06-29 | 356.9444 | 2549.6032 | 1478.7698 | 0 | 203.9683 | 0 | 0 | 0 | 0 | 0 | 407.9365 | 0 | 0 | 0 | 1Q2010 | 1.2297
Category | Ref | Element | Recommended Works | Estimated Work Cost | Backlog | 2015-06-30 | 2016-06-29 | 2017-06-29 | 2018-06-29 | 2019-06-29 | Backlog | 2015-06-30 | 2016-06-29 | 2017-06-29 | 2018-06-29 | 2019-06-29 |  |  | 458.9286 | 458.9286 | 2018-06-29 | 50.9921 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 407.9365 | 0 | 0 | 0 | 2Q2010 | 1.1789
[19 empty] | 14736.7063 | 14736.7063 | 2019-06-29 | 50.9921 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14277.7778 | 407.9365 | 0 | 0 | 0 | 3Q2010 | 1.1735
r | Roof | Pitched Roofs | Pitched roofs with two projecting gables to front of the building covered with composite slates with concrete ridge and hips. Valleys to roofs formed in lead work. Ridge ventilation provided to the front elevation right hand wing to the newer extension to the building. Evidence of historic leakage over the left hand side of glazed screen into Hall (8). | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [19 empty] | 4Q2010 | 1.1682
r | Roof | Pitched Roofs | Section of missing hip tiles to the north-west corner of the main building. Hip tiles require reinstatement. | 350 |  | 350 |  |  |  |  | 0 | 350 | 0 | 0 | 0 | 0 |  |  |  |  | Individual Category totals | 2651.5873 | 2549.6032 | 1886.7063 | 0 | 203.9683 | 5099.2063 | 0 | 0 | 2804.5635 | 93315.4762 | 2039.6825 | 0 | 0 | 0 | 1Q2011 | 1.1735
r | Roof | Pitched Roofs | Single slate of missing to the north facing roof. Reinstate. | 50 |  | 50 |  |  |  |  | 0 | 50 | 0 | 0 | 0 | 0 | [19 empty] | 2Q2011 | 1.1525
r | Roof | Pitched Roofs | Some moss growth to roof slates forming on joints between slates which will require cyclical removal to maintain life of slates. | 500 |  |  |  | 500 |  |  | 0 | 0 | 0 | 500 | 0 | 0 | [5 empty] | Summary category totals | Main category totals | Check | [11 empty] | 3Q2011 | 1.1682
r | Roof | Pitched Roofs | Some minor deterioration of verge pointing. | 250 |  |  |  | 250 |  |  | 0 | 0 | 0 | 250 | 0 | 0 | [19 empty] | 4Q2011 | 1.1525
r | Roof | Chimney | Brick built chimney stack to north-east corner of the main building. Stepped lead flashings at junction with roof. Single stainless steel flue from the boiler to head of stack. Brickwork generally in good condition although areas of pointing loose and missing requiring repointing. | 600 |  |  |  | 600 |  |  | 0 | 0 | 0 | 600 | 0 | 0 |  |  |  | External Grounds |  | 5201.1905 | 5201.1905 | [12 empty] | 1Q2012 | 1.1953
r | Roof | Roof lights | Four Velux roof lights to building located on slate roofs. All appear in satisfactory order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Roof Works |  | 1886.7063 | 1886.7063 | [12 empty] | 2Q2012 | 1.1174
r | Roof | Windows | Two gable windows formed to the upper section of roof following the line of roof trusses. Lead flashing below sills at junction with pitched slate roof. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | External Walls |  | 5303.1746 | 5303.1746 | [12 empty] | 3Q2012 | 1.1525
r | Roof | Projecting Eaves | V' jointed timber boarding to soffits. Softwood timber fascia boards. Generally in satisfactory order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Windows & Doors |  | 0 | 0 | [12 empty] | 4Q2012 | 1.1473
r | Roof | Roof drainage | Wall rainwater goods to the property are UPVC. All found to be in satisfactory order with only minor defects with various broken and missing eared fixings to rainwater pipes, some missing sections of down pipe to the water barrel on the north elevation and some minor loose joints to union brackets to gutters. | 100 |  |  |  | 100 |  |  | 0 | 0 | 0 | 100 | 0 | 0 |  |  |  | Internal Works |  | 96120.0397 | 96120.0397 | [12 empty] | 1Q2013 | 1.0983
e | External | Walls | External walls are formed in cavity block work construction and are rendered over a bell cast drip above damp proof course level. Below damp proof course level brickwork is exposed. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Mechanical & Electrical |  | 2039.6825 | 2039.6825 | [12 empty] | 2Q2013 | 1.089
e | External | Walls | Timber glazed screening to the main entrance and to classrooms (17 and 20) on the south elevation with three quarter height glazing with opening fanlights at the head with tongued and grooved panelling to the lower section. Central full height tongued and grooved timber panel between Classrooms (17 and 20). | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Other |  | 0 | 0 | [12 empty] | 3Q2013 | 1.0983
e | External | Walls | Areas of render have deteriorated above the bell cast drip and require repair before further damage is caused. | 200 |  |  |  | 200 |  |  | 0 | 0 | 0 | 200 | 0 | 0 | [19 empty] | 4Q2013 | 1.0798
w | External | Windows | Double glazed softwood windows on central pivots with trickle vents. Sills over covered with aluminium with unfinished surface (possibility that some rot may have occurred to timbers below the aluminium over sills). | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Total |  | 110550.7937 | 110550.7937 | [12 empty] | 1Q2014 | 1.0447
w | External | Doors | Softwood timber double glazed doors set within timber frames. Two louvered timber doors accessing boiler room (22). | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [19 empty] | 2Q2014 | 1.0198
w | External | Canopy | Canopy cover to southern section of building (outside toilet16). Constructed in powder coated tubular steel with carved Perspex roof with integral steel gutter and downpipe. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [19 empty] | 3Q2014 | 1.028
e | External | Redecoration | Varnished and gloss work surfaces to joinery warned with some bare timber evident. Masonry paintwork to rendered surfaces. Cyclical redecoration required. | 5000 |  |  | 5000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | [19 empty] | 4Q2014 | 1.0078
i | Internal | Walls and Partitions | External walls plastered to blockwork in the main although there are dry lined walls on block work with board finish plaster to the extension of the school forming the office areas. Part internal solid blockwork walls plastered. Blockwork walls to small first floor area are expose without plaster finish. Timber studwork partitions clad with plasterboard and board finished plaster. Stippled render finish to wall to boys and girls toilets. Softwood skirtings throughout. Walls painted throughout. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [19 empty] | 1Q2015 | 1
i | Internal | Walls and Partitions | Exposed block work walls unpainted to boiler room (22). | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Walls and Partitions | Timber roller shutter to kitchen does not provide compartmentation and there is a breach of fire integrity. A fire rated roller shutter is required. | 2500 |  | 2500 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Walls and Partitions | Glazed tiling splash backs to staff room, kitchen, wet areas and toilets. See comments on poor quality of toilet areas under capital works. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Walls and Partitions | Proprietary cubicle partition system to boys and girls toilets. See comments under capital works for toilets. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Ceilings | Ceilings generally are plasterboard with board finished plaster. It is understood that previous artex ceilings have been over skimmed previously (excepting the boys and girls toilets which still have artex covered ceilings). Ceilings to the first floor room have plasterboard ceilings with taped joints and emulsion finish. The ceiling to the head mistresses office (6) has a timber boarded ceiling. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Ceilings | Ceilings to the hall (8) follow the line of the pitched roof. There are exposed king post trusses at the head of the roof supported on Glulam beams. The ceiling is lined with suspended mineral fibre ceiling tiles (600mm x 600mm). Historic damp staining evident to ceiling tiles from roof leakage and condensation issues relating to roof light windows. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Floors | Floors are solid concrete and screed throughout mainly covered with either carpet or vinyl sheet flooring. The Hall (8) floor is covered with a laminate timber strip floor (installed approx. 2004). Quarry tiled floor to room (10A). Solid concrete floor to boiler room (22) exposed. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Floors | First floor floors are constructed in timber covered with plywood and are in a sound condition. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Staircase | Timber staircase leading to small first floor area. Vinyl floor coverings to the staircase with aluminium nosings and inset rubber strips. Timber balustrade. The vinyl floor coverings are beginning to lift and require replacement. | 500 |  |  | 500 |  |  |  | 0 | 0 | 500 | 0 | 0 | 0
i | Internal | Doors | Half hour fire veneer faced doors provided for compartmentation with overhead door closers and intumescent smoke / heat seals, SAA door furniture and kick plates, some with glazed panels. Set in softwood frames and architraves. Some defects are shown below. All doors have finger guards. Hollow core doors veneer faced doors to boys and girls toilets. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Doors | Cupboards to first floor area recently formed with pine timber doors. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Doors | Not all fire doors are fitted with intumescent smoke/heat seals or overhead door closers. All doors require thorough checking to ensure they do not breach fire integrity and require upgrading. | 750 |  | 750 |  |  |  |  | 0 | 750 | 0 | 0 | 0 | 0
i | Fixtures and Fittings | Medical room | Base kitchen units with inset stainless steel sink. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Fixtures and Fittings | Staff Room Kitchen | Range of base units, kitchen sink and various appliances. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Fixtures and Fittings | Main Kitchen | Range of base units, kitchen sink and various appliances. Kitchen not used currently for provision of school meals. See issue identified under capital works. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Fixtures and Fittings | Light Fittings | Various fluorescent light fittings with either standard diffusers or polished specular louvers. Integral emergency lighting with polished specular louvers. 2D fittings in various areas. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Fixtures and Fittings | Sanitary Ware | Armitage Shanks vitreous China WC suites with concealed cisterns and wash hand basins. Stainless steel urinal trough with vitreous China cistern and chrome sparge pipe to boys toilet. See comments under capital works as toilet accommodation considered inadequate. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Fixtures and Fittings | Sanitary Ware | Vitreous China sanitary ware and Doc M pack to building regulations standard provided to the easy access toilet. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Fixtures and Fittings | Sanitary Ware | Vitreous China sanitary ware to the two staff toilets. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Fixtures and Fittings | Hand Dryers | Electric hand dryers provided to boys and girls toilets and easy access toilet. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Fixtures and Fittings | Sinks | Various sinks to classrooms and cleaners store. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Redecoration | Internal | Internal decorations are generally in satisfactory order although cyclical redecoration will have to be considered. | 14000 | [5 empty] | 14000 | 0 | 0 | 0 | 0 | 0 | 0
i | Capital Works | Kitchen | The school does not presently provide meals for the children. New legislation requires that the school must provide meals and the school wishes to provide meals internally. To do this and improved catering facility is required. If this cannot be achieved food will need to be provided by an external source. | 25000 |  | 25000 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
i | Capital Works | Boys and Girls Toilets | Both sets of toilets can only be accessed through Classroom (12) which disturbs teaching in that classroom. The toilet facilities are also dated and in poor condition and facilities are in adequate for the number of children. Consideration needs to given to providing new toilet accommodation which is likely to require capital investment in to extension of the property. | 50000 |  |  | 50000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
i | Capital Works | Cloakroom Accommodation | Cloakroom accommodation is very limited to the site with the Corridor (10b) being used in the main but there is a health and safety risk as the children crowd in to such a narrow space all at the same time and the fact that they have to pass through the kitchen to get to the cloakroom. There is also some cloakroom space to Classroom (12) but again the space is very tight causing issues. As part of the capital spend identified above for toilets it would be desirable to create new cloakroom space. This has been allowed within the cost identified for new toilet facilities. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Capital Works | Cloakroom Accommodation | Open area between classrooms (17 and 18) causes disruption between classes with audible noise passing between the two rooms. Consideration should be given to partitioning the open area between the two classrooms. | 1500 |  |  | 1500 |  |  |  | 0 | 0 | 1500 | 0 | 0 | 0
m | Electrical | Incoming main | Located in the boiler house (22). Three phase supply. Distribution boards throughout building. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical | General Installation | Installation generally in satisfactory order. Certification in place. Flush PVC lighting and power switches throughout. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical | Fire Alarm | Smoke detection and fire alarm system recently installed. Fire alarm panel is located to entrance lobby (23). | 500 |  | 100 | 100 | 100 | 100 | 100 | 0 | 100 | 100 | 100 | 100 | 100
m | Electrical | Fire Alarm | The fire alarm has been newly installed to the premises. There is an issue that the fire alarm cannot be heard with in the fenced play areas to the rear of the main building where children are required to exit through the building. Additional sounders are required. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical | Emergency Lighting | Integral emergency lighting with polished specular louvers. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical | Ventilation | Mechanical ventilation extract to kitchen and toilets. In working order excepting extract fan to boys toilet and extract to main kitchen which are not operational (see capital works identified for toilets and main kitchen). | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical | Security Alarm | Security alarm with infra red detection. | 375 |  | 75 | 75 | 75 | 75 | 75 | 0 | 75 | 75 | 75 | 75 | 75
m | Electrical | Communication Systems | Telephone system to building in satisfactory order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical | Water Main | Incoming water main and stop cock located to boiler room (22). | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical | Boilers | Two floor mounted Clyde standard flue boilers in boiler room (22). Pumps located in boiler room. Last serviced 6th June 2013. | 750 |  | 150 | 150 | 150 | 150 | 150 | 0 | 150 | 150 | 150 | 150 | 150
m | Mechanical | Controls | Various time switch controls to boiler room (22). | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical | Heating | Wet system with mix of convector radiators and steel panel radiators. Convector radiators provided to larger rooms within building. Mild steel pipework. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical | Heating (radiators) | Rusting radiators to boys and girls toilet. See general comments under capital works for toilets. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical | Hot Water Distribution | Hot water tank to roof space above easy access toilet. | 375 |  | 75 | 75 | 75 | 75 | 75 | 0 | 75 | 75 | 75 | 75 | 75
m | Mechanical | Plumbing | 32 mm and 40 mm plastic wastes. Traps to sinks. Issue with leakage to plumbing in partition wall behind girls toilet wash hand basins. See comments made under capital works for toilets. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical | Gas | LPG tanks to rear of building enclosed by 2m high fencing. Secure. Feed to boiler room (22). | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Drainage | Below Ground Drainage | Not inspected as part of this schedule. Drains formed with 150 mm diameter vitrified clay. Various inspection chamber covers to system. No reported problems with drainage system. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Roads and Car Parks - Surface | Tarmac surface to driveway entrance. Some breaking up of tarmac evident to edge of driveway where there are no kerbstones provided. | 2500 |  |  |  | 2500 |  |  | 0 | 0 | 0 | 0 | 0 | 0
g | External | Roads and Car Parks - Drainage | Damaged rodding eye cover to car park is causing a health and safety risk and requires replacement. | 50 |  | 50 |  |  |  |  | 0 | 50 | 0 | 0 | 0 | 0
g | External | Play Areas - Main Playground | Tarmac surface. Areas of tarmac have slight wear to the wearing course with some slight settlement of tarmac (repair will have to be considered in future years). | 1000 |  | 1000 |  |  |  |  | 0 | 1000 | 0 | 0 | 0 | 0
g | External | Play Areas - Main playground | Drainage gullies are blocked with vegetation and dirt and staining to the tarmac surface indicates that the playground floods in times of heavy rain. Drainage gullies require thorough clearing. | 1000 |  | 1000 |  |  |  |  | 0 | 1000 | 0 | 0 | 0 | 0
g | External | Play Areas - Enclosed / Fenced Playgrounds to Rear of Building | Tarmac surface. Generally in satisfactory condition. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Entrance Paving | Part concrete slabs and part tarmac and part brick paviours. Areas of poor and missing pointing to brick paviours and concrete slabs. | 250 |  |  |  | 250 |  |  | 0 | 0 | 0 | 250 | 0 | 0
g | External | School Garden | Ground covered with bark mulch. Timber raised planting beds. Covered area formed with mono pitch roof supported on timber post structure. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Bin Store | Formed with timber posts and clad with featheredged boarding and double gates. Some minor damage to featheredged boarding over entrance gates. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Pond | Small pond with guarded cover. | 50 |  |  |  | 50 |  |  | 0 | 0 | 0 | 50 | 0 | 0
g | External | Play Equipment | Fixed assault style play equipment to rear grassed area. ROSPA certification required. Not seen during inspection. | 250 |  | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50
g | Walls, Fences and Gates | Boundary | The northwest boundary is formed with secure concrete post and close board fencing between posts with lower concrete panels between posts. It is uncertain if the boundary is in the ownership of the school. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | Walls, Fences and Gates | Boundary | The vehicle entrance on the northeast boundary has square section steel gates for vehicle and pedestrian access. Softwood timber post and rail fencing either side of vehicle access. To the north end of the boundary there is a well established hedgerow leading to the north corner of the site (with a small section od timber post and rail fence) and a central steel entrance gate. To the lower south side of the northeast boundary high level steel post and mesh fencing is provided on the boundary with the adjoining residential property which has some slight undulations due to vegetation growth which is extending up the fencing. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | Walls, Fences and Gates | Boundary | The southeast boundary is formed with post and mesh fencing in a largely wooded area. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | Walls, Fences and Gates | Boundary | The southwest boundary is formed largely with mature trees and hedges. The boundary is open in areas onto adjoining fields. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | Walls, Fences and Gates | Internal Fencing | Timber picket style fencing surrounding rear tarmac play areas. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | Walls, Fences and Gates | Internal Fencing | 2 m high powder coated steel mesh fencing surrounding LPG tanks. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | Walls, Fences and Gates | Internal Fencing | Post and rail fence covered with chicken wire surrounding school garden with timber posts and lattice fencing at entrance. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | Ancillary Buildings | Shed | Large shed with pitched felt roof on timber frame structure and double entrance doors. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | Ancillary Buildings | Shed | Shed with pitched felt roof on timber frame structure and single entrance door. Newly installed. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | Ancillary Buildings | Covered seating area | Octagonal external seating area formed with timber posts supporting a timber roof with shiplap timber boarding roof covering with integral timber floor. Timber balustrade to perimeter. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | Ancillary Buildings | Greenhouse | Plastic coated aluminium frame greenhouse to garden area. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0

## EFA Property
|  |  | EFA survey data | [6 empty] | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other
DFE | School | School Type | Date received | Condition rating C or D | Priority rating 1 or 2 | Element | Category | CCP rating
|  |  |  | c | 2 | Floors and stairs, Flor screed and finish, Vinyl/rubber/Sheet, Main school | i | ic2 | C1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | c | 2 | Sanitary services, Generally, Generally, Main school | m | mc2 | C2 | 0 | 0 | 0 | 0 | 1 | 1 | 0
[9 empty] | D1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D3 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Suitability and Compliance
Space |  |  | BB103 suggested sizes
[6 empty] | Suitability Data | [7 empty] | Compliance Comparison |  |  | 1/THIRD | Form of entry | PAN | 10
Basic Teaching Spaces |  |  | No. of spaces | m2 | Total m2 | Plan ref | Space | [6 empty] | Total area | Shortfall | Surplus | 2011 | Date of last assessment
|  | Classroom - Year R | 1 | 62 | 62 | 20 | General classroom | 48 | 8.7 | 6.44 | 12.12 | 18.37 | 0.65 | 94.28 | 0 | 32.28
|  | Classroom - Year 1 | 0 | 62 | 0 | [8 empty] | 0 | 0 | 0 | 1 | No. Temp Buildings on Site
|  | Classroom - Year 2 | 0 | 62 | 0 | [8 empty] | 0 | 0 | 0 | 0 | No. of Classrooms in Temporary Buildings
|  | Classroom - Year 3 | 1 | 62 | 62 | 17, 17a, 31 | General classroom | 19.14 | 8.17 | 0.86 |  |  |  | 28.17 | 33.83 | 0 | 3 | No. of Classrooms
|  | Classroom - Year 4 | 0 | 62 | 0 | [8 empty] | 0 | 0 | 0 | 3 | Required No. of Classroooms
|  | Classroom - Year 5 | 1 | 62 | 62 | 20, 20a, 20b, 18 | General classroom | 48 | inc | inc | inc |  |  | 48 | 14 | 0
|  | Classroom - Year 6 | 0 | 62 | 0 | [8 empty] | 0 | 0 | 0
|  | Practical area / food bay | 0 | 0 | 0 | [8 empty] | 0 | 0 | 0 | 33.33% | of classrooms are the recommended size
|  | ICT base | 0 | 0 | 0 | [8 empty] | 0 | 0 | 0 | 66.67% | of classrooms are small
[5 empty] | 186 | [8 empty] | 170.45 | 47.83 | 32.28 | 91.64% | of the recommended basic teaching space required
[16 empty] | 138.17 | 74.28% | of the recommended basic teaching space required ignoring surplus
Halls and Studios | [16 empty] | 25.72% | shortfall in basic teaching space
| 1 | Main hall | 1 | 140 | 140 | 8 | Hall | 70.16 | [5 empty] | 70.16 | 69.84 | 0
[5 empty] | 140 | [8 empty] | 70.16 | 69.84 | 0 | 50.11% | of the recommended hall size
Storage | [16 empty] | 49.89% | shortfall in hall size
| 1 | Coat and bag storage - Year R | 1 | 3 | 3 | 15 | Cloakroom | 1.73 | [5 empty] | 1.73 | 1.27 | 0
| 2 | Coat and bag storage - Year 1 | 0 | 3 | 0 | [8 empty] | 0 | 0 | 0
| 3 | Coat and bag storage - Year 2 | 0 | 3 | 0 | [8 empty] | 0 | 0 | 0
| 4 | Coat and bag storage - Year 3 | 1 | 3 | 3 | [8 empty] | 0 | 3 | 0
| 5 | Coat and bag storage - Year 4 | 0 | 3 | 0 | [8 empty] | 0 | 0 | 0
| 6 | Coat and bag storage - Year 5 | 1 | 3 | 3 | 10b | Cloakroom | 2.7 | [5 empty] | 2.7 | 0.3 | 0
| 7 | Coat and bag storage - Year 6 | 0 | 3 | 0 | [8 empty] | 0 | 0 | 0
| 8 | Teaching storage - Year R | 1 | 2 | 2 | UNE | Store room | 2 | [5 empty] | 2 | 0 | 0
| 9 | Teaching storage - Year 1 | 0 | 2 | 0 | [8 empty] | 0 | 0 | 0
| 10 | Teaching storage - Year 2 | 0 | 2 | 0 | [8 empty] | 0 | 0 | 0
| 11 | Teaching storage - Year 3 | 1 | 2 | 2 | [8 empty] | 0 | 2 | 0
| 12 | Teaching storage - Year 4 | 0 | 2 | 0 | [8 empty] | 0 | 0 | 0
| 13 | Teaching storage - Year 5 | 1 | 2 | 2 | [8 empty] | 0 | 2 | 0
| 14 | Teaching storage - Year 6 | 0 | 2 | 0 | [8 empty] | 0 | 0 | 0
| 15 | Specialist walk in stores | 1 | 5 | 5 | 21, 21a, | Store room | 4.83 | 3.5 |  |  |  |  | 8.33 | 0 | 3.33
| 18 | Indoor PE equipment storage | 1 | 14 | 14 | [8 empty] | 0 | 14 | 0
| 19 | Outdoor PE equipment storage | 0 | 0 | 0 | [8 empty] | 0 | 0 | 0
|  | Bulk stock store | 1 | 4 | 4 | 24 | First floor store room | 30.18 | [5 empty] | 30.18 | 0 | 26.18
| 21 | Caretakers and maintenance store | 1 | 4 | 4 | [8 empty] | 0 | 4 | 0
| 22 | Cleaning store | 1 | 3 | 3 | 10a | Cleaners store room | 3.9 | [5 empty] | 3.9 | 0 | 0.9
| 23 | Table and chair store | 1 | 5 | 5 | [8 empty] | 0 | 5 | 0
| 25 | Staging/ appliance store | 1 | 4 | 4 | UNA | Store room | 2 | [5 empty] | 2 | 2 | 0
|  | Mobility equipment store | 1 | 2 | 2 | [8 empty] | 0 | 2 | 0
| 24 | Store for community | 0 | 0 | 0 | [8 empty] | 0 | 0 | 0
[5 empty] | 56 | [8 empty] | 50.84 | 35.57 | 30.41 | 90.79% | of the recommended storage space required
Staff and admin | [16 empty] | 63.52% | shortfall
| 1 | Heads office | 1 | 12 | 12 | 23 | Heads office | 5.713 | [5 empty] | 5.713 | 6.287 | 0
| 3 | Staff room work and social | 1 | 17 | 17 | 1, 1a | Staffroom | 13.901 | 3.79 |  |  |  |  | 17.691 | 0 | 0.691
|  | Staff PPA | 1 | 8 | 8 | [8 empty] | 0 | 8 | 0
| 4 | Senior management office | 0 | 10 | 0 | [8 empty] | 0 | 0 | 0
| 7 | General office (reception) | 1 | 8 | 8 | 6 | Reception (office) | 5.183 | [5 empty] | 5.183 | 2.817 | 0
| 8 | Secure reception | 1 | 4 | 4 | 7 | Entrance | 3.631 | [5 empty] | 3.631 | 0.369 | 0
| 9 | Reprographics room | 1 | 6 | 6 | [8 empty] | 0 | 6 | 0
| 10 | Meeting room | in head | 0 | 0 | [8 empty] | 0 | 0 | 0
| 11 | Sick bay | 1 | 3 | 3 | [8 empty] | 0 | 3 | 0
| 13 | Interview room | 1 | 8 | 8 | [8 empty] | 0 | 8 | 0
[5 empty] | 66 | [8 empty] | 32.218 | 34.473 | 0.691 | 48.82% | of the recommended staff and admin space required
Learning resource area | [16 empty] | 52.23% | shortfall
| 1 | Library (learning resource centre) | 1 | 18 | 18 | [8 empty] | 0 | 18 | 0
| 3 | Small group room | 1 | 11 | 11 | 5 | Small group room | 11.547 | [5 empty] | 11.547 | 0 | 0.547
| 5 | SENco office (SEN resource) | 1 | 12 | 12 | [8 empty] | 0 | 12 | 0
| 2 | Medical inspection room/ Therapy room | 1 | 12 | 12 | 4 | MI room | 5.025 | [5 empty] | 5.025 | 6.975 | 0
[5 empty] | 53 | [8 empty] | 16.572 | 36.975 | 0.547 | 31.27% | of the recommended learning resource areas
Supplementary area | [16 empty] | 69.76% | shortfall
| 1 |  | 0 | 0 | 0 | [8 empty] | 0 | 0 | 0
[5 empty] | 0 | [8 empty] | 0 | 0 | 0
[14 empty] | 0 | 0 | 0 | - | of the recommended supplementary areas
Non net areas | [16 empty] | - | shortfall
| 1 | Reception toilets | 3 | 2 | 6 | [8 empty] | 0 | 6 | 0 | 0 | Number of reception toilets
| 1 | Pupils toilets | 4 | 2 | 8 | 13,16 | 4 wc's 2 urinals | 5.4 | 6.36 |  |  |  |  | 11.76 | 0 | 3.76 | 6 | Number of other pupil toilets
| 2 | Staff toilets | 2 | 2 | 4 | 2,3 | 2 wc's | 1.7 | 1.68 |  |  |  |  | 3.38 | 0.62 | 0 | 0% | % of recommended reception toilets
| 3 | Accessible toilet | 1 | 3 | 3 | 11 | Disabled w.c. | 3.631 | [5 empty] | 3.631 | 0 | 0.631 | 150% | % of recommended other pupil toilets
| 9 | Hygiene room | 1 | 12 | 12 | [8 empty] | 0 | 12 | 0
| 4 | Kitchen facilities (servery) | 1 | 20 | 20 | 10 | Kitchen | 17.69 | [5 empty] | 17.69 | 2.31 | 0
| 5 | Corridors | - | 22.5% | 112.725 | 5a, 9, 25, 30, 31 |  | 11.54 | 3.96 | 2.55 | 0.65 | 0.86 |  | 19.56 | 93.165 | 0
| 6 | Boiler room | 1 | 1.5% | 7.515 | 22 | Boiler room | 5.92 | [5 empty] | 5.92 | 1.595 | 0
| 7 | Server | in boiler | [10 empty] | 0 | 0 | 0
|  | Walls | - | 4% | 20.04 |  |  | 13.6096 | [5 empty] | 13.6096 | 6.4304 | 0
[5 empty] | 193.28 | [8 empty] | 75.5506 | 122.1204 | 4.391 | 39.09% | of the recommended non net area
Additional area | [16 empty] | 63.18% | shortfall
|  | Nursery class | 1 | 62 | 62 | tbc | Nursery class in mobile | [6 empty] | 0 | 62 | 0
|  | Quiet room | 1 | 8 | 8 | [8 empty] | 0 | 8 | 0
|  | Nursery store room | 1 | 2 | 2 | [8 empty] | 0 | 2 | 0
|  | Nursery office | 1 | 8 | 8 | [8 empty] | 0 | 8 | 0
|  | Nursery cloakroom | 1 | 3 | 3 | [8 empty] | 0 | 3 | 0
|  | Nursery pupils toilets | 3 | 2 | 6 | [8 empty] | 0 | 6 | 0
|  | Nursery staff toilets | 1 | 2 | 2 | [8 empty] | 0 | 2 | 0
|  | Nursery entrance | 1 | 22.5% | 1.8675 | [8 empty] | 0 | 1.8675 | 0
[5 empty] | 92.8675 | [8 empty] | 0 | 92.8675 | 0 | 0% | of the recommended additional area
[17 empty] | 100% | shortfall
Total Net area |  |  |  |  | 501 | [8 empty] | 340.24
Total Non-Net area |  |  |  |  | 193.28 | [8 empty] | 75.5506
Gross (total build) area - excluding nursery |  |  |  |  | 694.28 | [8 empty] | 415.7906 |  |  | 59.89% | of the recommended Gross area
Gross (total build) area - including nursery |  |  |  |  | 787.1475 | [8 empty] | 415.7906
Net Area Range |  |  |  |  | 637.0-715.0
Mid Range |  |  |  |  | 676
Total Site Area Range |  |  |  |  | 4329.0-5413.8
Mid Range |  |  |  |  | 4871.4
2
3
4

## Occupancy
Sufficiency Data
Planned Admission Number | Current Capacity | Maximum PAN | Capacity based on max PAN
8 | 56 | 7 | 49
NOR Spring Census
| 2008 / 2009 | 2009 / 2010 | 2010 / 2011 | 2011 / 2012 | 2012 / 2013 | 2013 / 2014
NOR Jan | 52 | 45 | 47 | 55 | 61 | 56
Maximum Capacity | 56 | 56 | 56 | 56 | 56 | 56
Number of Surplus Places | 4 | 11 | 9 | 1 | 0 | 0
% of surplus places | 7.1 | 19.6 | 16.1 | 1.8 | 0 | 0
Current Numbers on Roll (from Autumn Census)
Year group | R | 1 | 2 | 3 | 4 | 5 | 6 | Total
Number | 6 | 4 | 7 | 14 | 9 | 3 | 12 | 55

## School stats
Current Ofsted | Year
Good | 2014-06-17
2014 KS2 Performance Tables last update : (15 Sep 2014)
Year on year comparisons
Percentage achieving Level 4 or above in reading, writing and maths | 2012 | 2013 | 2014
School | SUPP | 53% | 75%
LA | 71% | 71% | 76%
England - All Schools | 75% | 75% | 79%
KS2 test results and progress
| All pupils | Low attainers | Middle attainers | High attainers
Pupils eligible for KS2 assessment | 8
Percentage of pupils achieving 3 or below in reading and maths test and writing TA | 0% | SUPP | SUPP | SUPP
Percentage of pupils achieving level 4 or above in reading and maths test and writing TA | 75% | SUPP | SUPP | SUPP
Percentage of pupils achieved level 4B or above in reading and maths test and level 4 in writing TA | 75% | SUPP | SUPP | SUPP
Percentage of pupils achieving level 5 or above in reading and maths test and writing TA | 0% | SUPP | SUPP | SUPP
Percentage of pupils making at least 2 levels of progress in reading | 100% | SUPP | SUPP | SUPP
Percentage of pupils making at least 2 levels of progress in writing TA | 100% | SUPP | SUPP | SUPP
Percentage of pupils making at least 2 levels of progress in maths | 100% | SUPP | SUPP | SUPP
Average point score | 29.4
Closing the Gap
| Disadvantaged pupils | Other pupils
Percentage of disadvantaged pupils achieving level 3 or below in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4B or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 5 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in reading | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in maths | SUPP | SUPP
Value Added measures
| Measure | Lower CI | Upper CI | Coverage
Overall value added measure | 100 | 98.7 | 101.4 | 88%
Reading value added measure | 100.6 | 99.2 | 102.1 | 88%
Writing TA value added measure | 98.8 | 97.2 | 100.4 | 88%
Maths value added measure | 100.4 | 98.6 | 102.1 | 88%
Subject level results
| Reading test | Maths test | Grammar, punctuation and spelling test | Writing TA
Percentage achieving level 3 or below | 13% | 0% | 25% | 25%
Percentage achieving Level 4 or above | 88% | 100% | 75% | 75%
Percentage achieving Level 4b or above | 88% | 88% | 50% | NA
Percentage achieving Level 5 or above | 75% | 63% | 38% | 0%
Pupil Absence last update : (11 Dec 2013)
| School | England - national (primary state-funded)
Overall absence: percentage | 5.2% | 4.8%
Persistent absence: around 15% + | 5.2% | 3.6%
Please note - this year the Department will publish full year 2013/14 absence data in the performance tables in March 2015 rather than just the autumn and spring term data in December as in previous years, and we will continue to do so in future years. This is because the full year data provides the most robust indication of school absence rates.
School level information for the 2013/14 autumn and spring term only is available in our Statistical First Release here
2013-14 Finance last update : (10 Dec 2014)
Contextual information
Number of pupils (FTE) | 56
Percentage of pupils eligible for Free School Meals (FSM) | SUPP
Free school meals eligibility band | LOW
Spend per pupil data as £ per pupil (in brackets percentage of total income or expenditure)
| School | LA Median | Non-London LAs Median | National Median
Grant funding | 5526 (97%) | 4525 | 4016 | 4325
Self generated income | 190 (3%) | 144 | 142 | 127
Total income | 5716 | 4723 | 4183 | 4479
Teaching staff | SUPP | 2277 | 2045 | 2106
Supply Staff | 87 (2%) | 87 | 118 | 127
Education support staff | SUPP | 689 | 650 | 733
Learning resources (not ICT equipment) | 271 (5%) | 181 | 174 | 184
ICT learning resources | 81 (2%) | 81 | 62 | 66
Bought in professional services - curriculum | 214 (4%) | 88 | 59 | 67
Back office (incl. Staff costs) | 449 (9%) | 406 | 334 | 351
Catering (incl. Staff costs) | 39 (1%) | 35 | 53 | 75
Premises (incl. Staff costs) | 316 (6%) | 259 | 275 | 301
Other staff costs | 158 (3%) | 153 | 133 | 142
Energy | 81 (2%) | 68 | 62 | 65
Other expenditure | 268 (5%) | 94 | 85 | 88
Total expenditure | 5172 | 4562 | 4143 | 4431
Spend per pupil data as £ per pupil : Comparisons over time
| 2010-11 | 2011-12 | 2012-13 | 2013-14
Teaching staff and Education support staff expenditure | 3673 | 3241 | SUPP | SUPP
Supply staff | 189 | 188 | 100 | 87
Back office (incl. Staff costs) | 448 | 375 | 368 | 449
Energy | 93 | 78 | 74 | 81
Total expenditure | 6321 | 5158 | 4894 | 5172
School Workforce last update : (10 Dec 2014)
This data is based upon the November 2013 School Workforce Census
| School | England - national (primary state-funded)
Headcount of all teachers in a school | 6 | 236728
Headcount of all teaching assistants in a school | 3 | 239340
Headcount of all support (exc. auxillary) staff in a school | 2 | 77335
Full-time equivalent number of all teachers in a school | 3.8 | 207827.7
Full-time equivalent number of all teaching assistants in a school | 1.1 | 154245.3
Full-time equivalent number of all support (exc. auxillary) staff in a school | 0.6 | 51728.3
Ratio of pupils to teachers in a school | 14.8 | 20.5
Average gross salary of all teachers in a school | 34053 | 36559

## Parental Preference
Popularity Data | [10 empty] | Children at School From School Catchment
Parental First Preference Applications | [11 empty] | 2010 | 2011 | 2012 | 2013 | 2014 |  | Catchment vs Nearest School | Catchment | Nearest
Year | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  |  | NOR | 45 | 47 | 55 | 61 | 56 |  | NOR | 55 | 55
PAN | 8 | 8 | 8 | 8 | 8 | 8 |  |  |  |  | Number | 32 | 34 | 42 | 49 | 40 |  | Total in area | 51 | 39
No. | 2 | 4 | 8.96 | 6 | 5 | 6 |  |  |  |  | % | 71.1111 | 72.3404 | 76.3636 | 80.3279 | 71.4286 |  | Number at School from area | 41 | 32
% | 25 | 50 | 112 | 75 | 62.5 | 75 | [11 empty] | % at School | 74.5455 | 58.1818
[11 empty] | Total number in Catchment | [6 empty] | % of area going to School | 80.3922 | 82.0513
[12 empty] | 2010 | 2011 | 2012 | 2013 | 2014
[11 empty] | Number | 51 | 47 | 53 | 56 | 45
[11 empty] | % | 100 | 100 | 100 | 100 | 100
Where children at School are coming from (from Spring Census 2014)
DCSF No. | School |  | Clifford | Ewyas Harold | Garway | Lord Scudamore | Marlbrook | Kingstone & Thruxton | Longtown | Madley | Michaelchurch Escley | Peterchurch | Canon Pyon C E | Clehonger C E | Eardisley C E | Out of County | Grand Total
2031 | Clifford | Number | 49 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 1 | 13 | 1 | 0 | 3 | 11 | 82
2031 | Clifford | % | 59.7561 | 0 | 0 | 0 | 0 | 0 | 4.878 | 0 | 1.2195 | 15.8537 | 1.2195 | 0 | 3.6585 | 13.4146 | 100
2101 | Longtown | Number | 0 | 9 | 2 | 1 | 0 | 1 | 40 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 56
2101 | Longtown | % | 0 | 16.0714 | 3.5714 | 1.7857 | 0 | 1.7857 | 71.4286 | 0 | 5.3571 | 0 | 0 | 0 | 0 | 0 | 100
2116 | Michaelchurch Escley | Number | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 15 | 3 | 0 | 1 | 0 | 0 | 20
2116 | Michaelchurch Escley | % | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 75 | 15 | 0 | 5 | 0 | 0 | 100
2122 | Peterchurch | Number | 3 | 7 | 0 | 0 | 2 | 5 | 0 | 1 | 15 | 85 | 0 | 1 | 0 | 2 | 121
2122 | Peterchurch | % | 2.4793 | 5.7851 | 0 | 0 | 1.6529 | 4.1322 | 0 | 0.82645 | 12.3967 | 70.2479 | 0 | 0.82645 | 0 | 1.6529 | 100
Where school children in the Schools Catchment area are going to (from Spring Census 2014)
DCSF No. | School |  | Clifford | Ewyas Harold | Kingstone & Thruxton | Longtown | Madley | Michaelchurch Escley | Peterchurch | Eardisley C E | Staunton-on-Wye Endowed | Grand Total
2031 | Clifford | Number | 49 | 0 | 0 | 0 | 3 | 0 | 3 | 1 | 14 | 70
2031 | Clifford | % | 70 | 0 | 0 | 0 | 4.2857 | 0 | 4.2857 | 1.4286 | 20 | 100
2101 | Longtown | Number | 4 | 1 | 0 | 40 | 0 | 0 | 0 | 0 | 0 | 45
2101 | Longtown | % | 8.8889 | 2.2222 | 0 | 88.8889 | 0 | 0 | 0 | 0 | 0 | 100
2116 | Michaelchurch Escley | Number | 1 | 2 | 1 | 3 | 1 | 15 | 15 | 0 | 3 | 41
2116 | Michaelchurch Escley | % | 2.439 | 4.878 | 2.439 | 7.3171 | 2.439 | 36.5854 | 36.5854 | 0 | 7.3171 | 100
2122 | Peterchurch | Number | 13 | 0 | 4 | 0 | 7 | 3 | 85 | 0 | 2 | 114
2122 | Peterchurch | % | 11.4035 | 0 | 3.5088 | 0 | 6.1404 | 2.6316 | 74.5614 | 0 | 1.7544 | 100

## Disability access
Physical Accessibility Rating | 1
Information from https://www.herefordshire.gov.uk/education-and-learning/schools/directory
Ratings and descriptions
Rating | Details | Description
3 | Fully accessible | Will meet the needs of all disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling); Has a full hygiene room and special educational needs or therapy room for pupils who need more assistance with personal care (including hoisting) and regular physio or other treatment
2 | Mainly accessible | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
1 | Partly accessible | Some standards met but some areas not accessible
0 | Inaccessible | No level access into building and/or no disabled toilet
Summary of physical accessibility standards
Level access into building(s): Main and pupil entrance(s) level, with ramps and hand rails as required
Level access to all curriculum and social areas (not necessarily entire building/site): including assembly hall, canteen (may be achieved by sensitive organisation and timetabling)
Access to upper floors: if required - lift(s) as alternative to steps or stairs
Toilet facilities: small disabled toilet(s) as specified by building regulations - suitable for most disabled pupils. A small number of pupils will require enhanced facilities (hygiene room) to provide greater assistance, including hoisting.
Medical, therapy or SEN room: multi-purpose or flexible use - usually required in addition to a hygiene room, for regular physio and other physical programmes
Emergency evacuation: routes should be level and unobstructed. Evacuation must be documented (using Personal Emergency Evacuation Plans - PEEPs) and practised regularly