## Cover Page
Lugwardine Primary Academy
Summary Report
Contents
|  | Section | Page | No. of pages
Lugwardine Primary Academy |  | Summary Data | 3 | 1
Summary Report |  | General Information and Asset Summary | 4 | 1
|  | Maintenance and Condition Summary | 5 | 2
|  | Education Funding Agency Condition Survey Data | 7 | 1
Schools Capital Investment Strategy |  | Suitability and Compliance Summary | 8 | 2
|  | School Occupancy Summary | 10 | 1
|  | School Statistics | 11 | 1
|  | Environmental Sustainability Condition | 12 | 1
|  | Parental Preference | 13 | 1
|  | Distribution of Children Attending School or Resident in its Catchmnet Area | 14 | 2
|  | Distribution of Children Attending School or Where it is the Nearest School | 16 | 2
|  | Key Services Within 2 Mile Radius of School | 18 | 1
|  | Key Services Adjacent to School | 19 | 1
|  | Disability Access | 20 | 1
Children's Wellbeing
Herefordshire Council
Plough Lane Offices
Plough Lane
HEREFORD
HR4 0LE

## Summary Info
Lugwardine Primary Academy
Summary Report
Summary of Headline Information
Asset Summary | [5 empty] | Occupancy Summary
Gross Site Area (M2)(whole site including building):- |  | 7695 |  |  |  | Current Capacity (PAN 30):- |  |  |  | 210
Insurance Asset Value (£000):- |  | Not Known |  |  |  | Allocated Capacity Size (PAN 30):- |  |  |  | 210
Land Asset Value (£000):- |  | Not Known |  |  |  | Current Occupancy:- |  |  |  | 195
Land Ownership:- | 125 year academy FRI lease |  |  |  |  | Current Planned Admission No.:- |  |  |  | 30
[6 empty] | Current Number Over Capacity:- |  |  |  | 0
[6 empty] | Current Number Under Capacity:- |  |  |  | 15
Maintenance Expenditure Required on the School over a 5 Year Period Summary
Survey Date:- |  |  |  | 2012-02-11
Backlog Maintenance Total (£000):- | [6 empty] | Not Available
Total Forecast Expenditure (5 years) (£000):- | [6 empty] | Not Available
Total Potential Local Authority Forecast Expenditure (£000):- | [6 empty] | Not Available
Total Potential School Forecast Expenditure (£000):- | [6 empty] | Not Available
Suitability and Compliance
Required Number of Classrooms:- | [6 empty] | 7 | Required Building Footprint (M2):- |  | 1225
Actual Number of Classrooms:- | [6 empty] | 7 | Current Building Area (M2):- |  | 952.9664
Percentage of Classrooms that are the Recommended Size:- | [6 empty] | 57.1429 | Area Shortfall (M2):- |  | 272.0336
Compliance Percentage of Recommended Hall Size:- | [6 empty] | 55.4222 | Area Surplus (M2):- |  | 0
Number of Temporary Buildings on Site:- |  |  |  |  | 0 |  |  | Total Percentage Compliance:- |  | 77.7932
Number of Classrooms in Temporary Buildings:- |  |  |  |  | 0
Compliance Percentage of Recommended Reception Toilets:- | [6 empty] | 0 | Required Net Site Area (M2):- |  | 8891
Compliance Percentage of Recommended Other Pupil Toilets:- | [6 empty] | 100 | Current Net Site Area (M2):- |  | 6742.0336
Nursery on Site:- | No | [6 empty] | Area Shortfall (M2):- |  | 2148.9664
[8 empty] | Area Surplus (M2):- |  | 0
[8 empty] | Total Percentage Compliance:- |  | 75.8299
Disability Access
Rating:- | 3 |  | Details:- |  |  |  | Fully accessible
Environmental Sustainability Condition
DEC Rating:- |  |  |  |  | No data held
Electric Consumption 2014/Child:- |  |  |  |  | 1555.3037
Gas Consumption 2014/Child:- |  |  |  |  | 2245.5714
School Statistics
Ofsted Results:- | [8 empty] | Good
Percentage of Children Achieving KS2 Level 4 or Above in Reading, Writing and Maths in 2014:- | [8 empty] | 100
Parental Preference (2014)
Percentage of Parental First Preference Applications:- | [6 empty] | 56.6667
Total Number of Children within Catchment:- | [6 empty] | 137
Total Number of Children at School from Catchment:- | [6 empty] | 91
Percentage of Catchment at School:- | [6 empty] | 47.644
Percentage of Catchment Going to School:- | [6 empty] | 66.4234

## Report
|  |  | Lugwardine Primary Academy | [6 empty] | Lugwardine Primary Academy | [14 empty] | Lugwardine Primary Academy | [7 empty] | Lugwardine Primary Academy |  |  |  |  | Lugwardine Primary Academy |  | Lugwardine Primary Academy |  |  |  |  | Lugwardine Primary Academy | [5 empty] | Lugwardine Primary Academy |  |  | Lugwardine Primary Academy | [8 empty] | Lugwardine Primary Academy |  | Lugwardine Primary Academy |  | Lugwardine Primary Academy |  | Lugwardine Primary Academy |  | Lugwardine Primary Academy |  | Lugwardine Primary Academy |  | Lugwardine Primary Academy |  |  | Lugwardine Primary Academy
|  |  | Summary Report | [6 empty] | Summary Report | [14 empty] | Summary Report | [7 empty] | Summary Report |  |  |  |  | Summary Report |  | Summary Report |  |  |  |  | Summary Report | [5 empty] | Summary Report |  |  | Summary Report | [8 empty] | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  |  | Summary Report
General Information |  |  |  | Maintenance and Condition Summary | [21 empty] | Education Funding Agency Condition Survey Data | [7 empty] | Suitability and Compliance Summary |  |  |  |  | Suitability and Compliance Summary (continued) |  | School Occupancy Summary |  |  |  |  | School Statistics | [5 empty] | Environmental Sustainability Condition |  |  | Parental Preference | [8 empty] | Distribution of Children Attending School or Resident in its Catchment Area |  | Distribution of Children Attending School or Resident in its Catchment Area (continued) |  | Distribution of Children Attending School or Where it is the Nearest School |  | Distribution of Children Attending School or Where it is the Nearest School (continued) |  | Key Services Within 2 Mile Radius of School |  | Key Services Adjacent to School |  | Disability Access
Maintenance and Condition Summary (continued)
School Name:- | Lugwardine Primary Academy |  |  | Survey Date:- | 2012-02-11 |  | Survey Company:- |  | Not Available |  | Key Elements and Annual Forecast Maintenance Costs and Responsibilities | [14 empty] | Date of Survey:- |  | Not Available | [5 empty] | Areas | Standard Criteria (M2) (PAN 30) | Schools Compliance (M2) | Compliance Percentage |  |  |  | Current Planned Admission No. (PAN) | Current School Capacity | Maximum PAN | Maximum Capacity Based on PAN |  | Year | KS2 Year on Year Results |  |  |  |  | Electric Consumption 2014/Child:- | 1555.3037 |  |  | Parental First Preference Applications | [19 empty] | Physical Accessibility Rating
Head Teacher:- | Miss L Taylor | DFE Number:- | 2102 | Year | Forecast Maintenance Costs (£ 000) | [5 empty] | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows and Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | Number of Occurences Identified Within the Report | [7 empty] | Basic Teaching Space | 434 | 471.03 | 108.5323 |  |  |  | 30 | 210 | 30 | 210 |  |  | School - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | LA - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | All Schools in England - Percentage Achieving Level 4 or Above in Reading, Writing and Maths |  |  | Gas Consumption 2014/Child:- | 2245.5714 |  |  | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | [14 empty] | Rating: | 3
Leadership:- | Stand Alone | [24 empty] | Rating (see key below) | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other | Hall and Studio | 180 | 99.76 | 55.4222 | [17 empty] | PAN | 30 | 30 | 30 | 30 | 30 | 30
Address:- | Lugwardine Primary Academy, Barneby Avenue, Bartestree, Hereford HR1 4DH | Email:- | admin@lugwardine.hereford.sch.uk | Backlog | Not Available | [5 empty] | £ 000 | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | [8 empty] | Storage | 98 | 90.22 | 92.0612 |  |  |  | Historical Numbers on Roll Data (Spring Census) | [13 empty] | Number | 22.8 | 15 | 24.9 | 18.9 | 27.99 | 17 | [14 empty] | Details: | Fully accessible
|  |  |  | 2015 | Not Available |  |  | Not Available |  |  | Backlog | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | C1 | [7 empty] | Staff and Admin | 101 | 88.25 | 87.3762 |  |  |  | Year | Total NOR | Capacity Based on PAN | Shortfall | Surplus | 2012 | 73 | 71 | 75 | [5 empty] | Percentage | 76 | 50 | 83 | 63 | 93.3 | 56.6667
|  |  |  | 2016 | Not Available |  |  | Not Available |  |  | 2015 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | C2 | [7 empty] | Learning Resource | 87 | 32.9 | 37.8161 |  |  |  | 2008 / 2009 | 158 | 210 | 0 | 52 | 2013 | 86 | 71 | 75 | [26 empty] | Description: | Will meet the needs of all disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling); Has a full hygiene room and special educational needs or therapy room for pupils who need more assistance with personal care (including hoisting) and regular physio or other treatment
|  |  |  | 2017 | Not Available |  |  | Not Available |  |  | 2016 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | D1 | [7 empty] | Supplementary Area | 0 | 0 | - |  |  |  | 2009 / 2010 | 178 | 210 | 0 | 32 | 2014 | 100 | 76 | 79 | [5 empty] | Historical Catchment Analysis (Spring Census)
Telephone No.:- | T: 01432 850449 F: 01432 850449 | School Cluster:- | Hereford District- Bishops of Hereford's Bluecoat School | 2018 | Not Available |  |  | Not Available |  |  | 2017 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | D2 | [7 empty] | Non Net Area | 325 | 170.8064 | 52.5558 |  |  |  | 2010 / 2011 | 171 | 210 | 0 | 39 | [9 empty] | Catchment Analysis |  |  |  | 2010 | 2011 | 2012 | 2013 | 2014
|  |  |  | 2019 | Not Available |  |  | Not Available |  |  | 2018 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | D3 | [7 empty] | Total Gross Building Area | 1225 | 952.9664 | 77.7932 |  |  |  | 2011 / 2012 | 192 | 210 | 0 | 18 | KS2 Test Results and Progress (2014) | [11 empty] | Total in Catchment | 155 | 153 | 167 | 159 | 137
[8 empty] | Not Available |  |  | 2019 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | [15 empty] | 2012 / 2013 | 209 | 210 | 0 | 1 | [12 empty] | Number at School from Catchment | 88 | 93 | 108 | 108 | 91
School Type:- | Academy | Building Number:- | 0XB2 | Total | Not Available | [5 empty] | Totals | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | *Note the information noted above has been extracted from the EFA survey focusing on elements that are C & D rated. Items with an A or B rating have been excluded. The numbers reference the quantity of elements that the survey has picked up within the relevant category | [7 empty] | Total Gross Site Area | 10116 | 7695 | 76.0676 |  |  |  | 2013 / 2014 | 191 | 210 | 0 | 19 | Pupils eligible for KS2 assessment |  |  |  | 24 | [7 empty] | Percentage at School from Catchment | 49.4382 | 54.386 | 56.25 | 51.6746 | 47.644
Current Capacity:- | 210 | Site Area:- | 7695 | [30 empty] | Net Site Area (less the building area) | 8891 | 6742.0336 | 75.8299 |  |  |  | Current Occupancy | 195 | 210 | 0 | 15 | Percentage achieving level 3 or below in reading, writing and maths |  |  |  | 0 | [7 empty] | Percentage of Catchment Going to School | 56.7742 | 60.7843 | 64.6707 | 67.9245 | 66.4234
[11 empty] | Total Potential Expenditure - Local Authority (£000) | [6 empty] | NA | [27 empty] | Percentage achieving level 4 or above in reading, writing and maths |  |  |  | 100
|  |  |  | Key Elements of Forecast Maintenance | [29 empty] | Key Information (based on Building Bulletin 103) | [6 empty] | Current Occupancy Summary (Autumn Census 2014) |  |  |  |  | Percentage achieving level 4B or above in reading and maths and level 4 or above in writing |  |  |  | 92 |  |  |  |  | Catchment and Nearest School Comparison (Autumn Census 2014)
|  |  |  | Categories |  | Totals (£ 000) | [19 empty] | Key | [7 empty] | Required Number of Classrooms |  |  |  | 7 |  |  | Year Group | NOR | Shortfall | Surplus |  | Percentage achieving level 5 or above in reading, writing and maths |  |  |  | 21 | [7 empty] | Catchment vs Nearest School | Catchment | Nearest
|  |  |  | External Grounds |  | Not Available |  |  |  |  | Total Potential Expenditure - School (£000) | [6 empty] | NA | [7 empty] | Condition grade | Definition |  |  |  | Priority rating | Definition |  | Number of Classrooms |  |  |  | 7 |  |  | Reception | 23 | 0 | 7 |  | Percentage making expected progress in reading |  |  |  | 96 | [7 empty] | NOR | 195 | 195
|  |  |  | Roof Works |  | Not Available | [27 empty] | Percentage of Classrooms that are the Recommended Size |  |  |  | 57.1429 |  |  | One | 30 | 0 | 0 |  | Percentage making expected progress in writing |  |  |  | 100 | [7 empty] | Total in Area | 146 | 162
|  |  |  | External Walls |  | Not Available | [19 empty] | A Good | Performing as intended and operating efficiently |  |  |  | 1 | Immediate or year 1 remedial action required |  | Percentage of Classrooms that are Classed as Small |  |  |  | 42.8571 |  |  | Two | 23 | 0 | 7 |  | Percentage making expected progress in maths |  |  |  | 100 | [7 empty] | Number at School from Area | 96 | 99
|  |  |  | Windows and Doors |  | Not Available | [27 empty] | Number of Temporary Buildings on Site |  |  |  | 0 |  |  | Three | 30 | 0 | 0 |  | Average point score |  |  |  | 30.8 | [7 empty] | Percentage at School | 49.2308 | 50.7692
|  |  |  | Internal Works |  | Not Available | [19 empty] | B Satisfactory | Performing as intended but exhibiting minor deterioration |  |  |  | 2 | Year 1-2 remedial action required |  | Number of Classrooms in Temporary Buildings |  |  |  | 0 |  |  | Four | 25 | 0 | 5 | [13 empty] | Percentage of area going to School | 65.7534 | 61.1111
Asset Summary |  |  |  | Mechanical and Electrical |  | Not Available | [27 empty] | Percentage of Recommended Reception Toilets |  |  |  | 0 |  |  | Five | 32 | 2 | 0 |  | Latest Ofsted Report Date:- |  | 2014-09-24
|  |  |  | Other (e.g. ancillary buildings) |  | Not Available | [19 empty] | C Poor | Exhibiting major defects and/or not operating as intended |  |  |  | 3 | Year 3-5 remedial action required |  | Percentage of Recommended Other Pupil Toilets |  |  |  | 100 |  |  | Six | 32 | 2 | 0 |  | Ofsted Result:- |  | Good
Asset Value - Insurance (£000):- |  | Not Known | [38 empty] | Total | 195 | 0 | 15
Asset Value - Land (£000):- |  | Not Known | [23 empty] | D Bad | Life-expired and/or at serious risk of imminent failure
Land Owner:- |  | 125 year academy FRI lease | [36 empty] | Category | Areas Included
[39 empty] | Basic Teaching Spaces | General Classrooms, ICT Rooms, Practical Areas
[39 empty] | Hall and Studio | Halls, Dining Areas
Lease Agreement / Notes:- |  | Not Known | [36 empty] | Storage | Coats and Bags, Teaching, Specialist, PE Equipment, Bulk Stock, Cleaning, Caretakers and Maintenance, Tables and Chairs, Staging, Mobility Equipment
Nursery Provision:- |  | None | [36 empty] | Staff and Admin | Heads and Staff Offices, Staff Room, Staff PPA,Reprographics Room, Sick Bay, Interview and Meeting Rooms, Secure Entrance
[39 empty] | Learning Resource | Library, Small Group Rooms, SENCO Office, Medical Inspection Room
[39 empty] | Supplementary Area | Any other specialist area at the school e.g. Music Classroom, Swimming Pool, SEN Classrooms
[39 empty] | Non Net Area | Pupil and Staff Toilets, Accessible Toilets, Hygiene Room, Kitchen, Corridors, Server Room, Boilers
[39 empty] | Additional Area | Nursery provision

## Feedback
|  | Lugwardine Primary Academy |  |  | Lugwardine Primary Academy |  |  | Lugwardine Primary Academy
|  | Feedback Form |  |  | Feedback Form |  |  | Feedback Form
General Information and Asset Summary |  |  | School Occupancy Summary |  |  | Parental Preference
Do you believe the data to be accurate? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Maintenance and Condition Summary |  |  | School Statistics |  |  | Disability Access
Do you believe the data to be a fair reflection of the maintenance and condition of the school? | [5 empty] | Do you believe the data to be a fair reflection of the environmental condition of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Suitability and Compliance Summary |  |  | Environmental Sustainability Condition |  |  | Any Other Comments
Do you believe the data to be a fair reflection of the suitability and compliance issues faced by the school? | [5 empty] | Additional comments about the information provided:
Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments:
If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920
Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015

## Asset summary
Building ref number:- | 0XB2
Site Area:- | 7695
Asset Value (Insurance):- | Not Known
Asset Value (Land):- | Not Known
Land owner:- | 125 year academy FRI lease
Lease agreement / notes:- | Not Known
DEC rating:- | No data held
Electric consumption 2014/child:- | 1555.3037
Gas consumption 2014/child:- | 2245.5714

## Maintenance
Maintenance and Condition Summary |  |  |  |  | BCIS Quarter | ?Q20?? | [11 empty] | Check | Main year totals | Summary year totals | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows & Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | BCIS quarter | BCIS uplift
Year survey undertaken |  | 2012-02-11 |  |  | BCIS Uplift | 1.1525 | [15 empty] | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | 1Q2009 | 1.1525
Survey company:- |  | Not Available | [16 empty] | 16117.2422 | 16117.2422 | Backlog | 0 | 0 | 0 | 403.3632 | 0 | 0 | 0 | 0 | 0 | 15713.8789 | 0 | 0 | 0 | 0 | 2Q2009 | 1.1898
[19 empty] | 0 | 0 | 2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3Q2009 | 1.1898
[19 empty] | 518.6099 | 518.6099 | 2016 | 0 | 0 | 0 | 0 | 0 | 403.3632 | 0 | 0 | 0 | 115.2466 | 0 | 0 | 0 | 0 | 4Q2009 | 1.2123
[5 empty] | Year covered? | Y/N | Y/N | Y/N | Y/N | Y/N | Y/N | School Costs | [6 empty] | 0 | 0 | 2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1Q2010 | 1.2297
Category | Ref | Element | Recommended Works |  | Estimated Work Cost | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 |  | 0 | 0 | 2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2Q2010 | 1.1789
[19 empty] | 0 | 0 | 2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3Q2010 | 1.1735
i | Ceilings/Ceilings/All types/(reference CA) | B (Satisf - Satisfactory - Performing as intended requiring mi | The majority of areas have exposed aluminium grid suspended ceilings present, these extend into light wells to Velux roof lights. There are some small areas of plasterbaord and skim ceilings, these are in good order. A watermark was noted to a ceiling tile in the corridor outside 27Res. it appeared old suggesting the cause may have been rectified. | 4 - Priority 4 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2010 | 1.1682
i | Ceilings/Ceilings/All types/(reference CA) | B (Satisf - Satisfactory - Performing as intended requiring mi | The central practical area has a plasterboard and skim ceiling with light shafts leading up to the Velux windows, the classrooms have aluminium exposed grid suspended ceilings. All areas are in good order. | 4 - Priority 4 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Individual Category totals | 0 | 0 | 0 | 403.3632 | 0 | 403.3632 | 0 | 0 | 0 | 15829.1256 | 0 | 0 | 0 | 0 | 1Q2011 | 1.1735
i | Ceilings/Ceilings/All types/(reference CA) | B (Satisf - Satisfactory - Performing as intended requiring mi | The ceilings is of the same plasterboard as the walls and is in good order. | 4 - Priority 4 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2011 | 1.1525
i | Ceilings/Ceilings/All types/(reference CA) | B (Satisf - Satisfactory - Performing as intended requiring mi | The room has a aluminium exposed grid suspended ceiling throughout, one tile is cracked otherwise it is in good order. | 4 - Priority 4 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Summary category totals | Main category totals | Check | [11 empty] | 3Q2011 | 1.1682
m | Electrical services/Electrical services/Communications Systems/(reference HF) | A (Good) - Good - Performing as intended and operating effici |  | 4 - Priority 4 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2011 | 1.1525
m | Electrical services/Electrical services/Communications Systems/(reference HF) | B (Satisf - Satisfactory - Performing as intended requiring mi | Telephone point in classroom 31. | 4 - Priority 4 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | External Grounds |  | 0 | 0 | [12 empty] | 1Q2012 | 1.1953
m | Electrical services/Electrical services/Communications Systems/(reference HF) | B (Satisf - Satisfactory - Performing as intended requiring mi | Telephones in offices, staff room (rm. 27), rm. 11 & rm. 2. | 4 - Priority 4 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Roof Works |  | 403.3632 | 403.3632 | [12 empty] | 2Q2012 | 1.1174
m | Electrical services/Electrical services/Control Gear and Equipment/(reference HA) | B (Satisf - Satisfactory - Performing as intended requiring mi | Main intake, distribution boards and controls in rm. 30. | 4 - Priority 4 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | External Walls |  | 403.3632 | 403.3632 | [12 empty] | 3Q2012 | 1.1525
m | Electrical services/Electrical services/Control Gear and Equipment/(reference HA) | B (Satisf - Satisfactory - Performing as intended requiring mi | Distribution board in store (rm 32.) | 4 - Priority 4 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Windows & Doors |  | 0 | 0 | [12 empty] | 4Q2012 | 1.1473
m | Electrical services/Electrical services/Control Gear and Equipment/(reference HA) | A (Good) - Good - Performing as intended and operating effici | Distribution board in rm 40. | 4 - Priority 4 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Internal Works |  | 15829.1256 | 15829.1256 | [12 empty] | 1Q2013 | 1.0983
m | Electrical services/Electrical services/Electrical Heating/(reference HJ) | B (Satisf - Satisfactory - Performing as intended requiring mi | 3 no. heater batteries in loft space with associated pumps and fans | 4 - Priority 4 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Mechanical & Electrical |  | 0 | 0 | [12 empty] | 2Q2013 | 1.089
m | Electrical services/Electrical services/Emergency Lighting/(reference HH) | B (Satisf - Satisfactory - Performing as intended requiring mi | Emergency lighting throughout. | 4 - Priority 4 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Other |  | 0 | 0 | [12 empty] | 3Q2013 | 1.0983
m | Electrical services/Electrical services/Emergency Lighting/(reference HH) | A (Good) - Good - Performing as intended and operating effici |  | 4 - Priority 4 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2013 | 1.0798
m | Electrical services/Electrical services/Fire Alarms/(reference HD) | A (Good) - Good - Performing as intended and operating effici |  | 4 - Priority 4 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Total |  | 16635.852 | 16635.852 | [12 empty] | 1Q2014 | 1.0447
m | Electrical services/Electrical services/Fire Alarms/(reference HD) | B (Satisf - Satisfactory - Performing as intended requiring mi | Break glass call points and bells throughout. Tann Synchronome Fire Check 2 panel in corridor (rm. 2). | 4 - Priority 4 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2014 | 1.0198
m | Electrical services/Electrical services/Fire Alarms/(reference HD) | A (Good) - Good - Performing as intended and operating effici | Break glass call points on exits. Bells in rooms. Part of main school system. | 4 - Priority 4 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 3Q2014 | 1.028
m | Electrical services/Electrical services/Lifts and Hoists/(reference HG) | Z-Unknown - Unknown |  | 4 - Priority 4 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2014 | 1.0078
m | Electrical services/Electrical services/Lighting and Associated Fittings/(reference HC) | A (Good) - Good - Performing as intended and operating effici | Fluorescent | 4 - Priority 4 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 1Q2015 | 1
m | Electrical services/Electrical services/Lighting and Associated Fittings/(reference HC) | A (Good) - Good - Performing as intended and operating effici | Baton and compact fluorescent luminaires. | 4 - Priority 4 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services/Electrical services/Lighting and Associated Fittings/(reference HC) | B (Satisf - Satisfactory - Performing as intended requiring mi | Baton and compact fluorescent luminaries. | 4 - Priority 4 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services/Electrical services/Lighting and Associated Fittings/(reference HC) | B (Satisf - Satisfactory - Performing as intended requiring mi | Mix of compact and baton fluorescent luminaires plus GLS luminaires in smaller rooms. | 4 - Priority 4 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services/Electrical services/Other/(reference HL) | B (Satisf - Satisfactory - Performing as intended requiring mi | Hand dryers in ablutions. Electric shower in rm. 28. | 4 - Priority 4 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services/Electrical services/Other/(reference HL) | A (Good) - Good - Performing as intended and operating effici | Electrically operated windows in rm 40. | 4 - Priority 4 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services/Electrical services/Power and Associated Fittings/(reference HB) | B (Satisf - Satisfactory - Performing as intended requiring mi | Flush PVC fittings. | 4 - Priority 4 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services/Electrical services/Power and Associated Fittings/(reference HB) | A (Good) - Good - Performing as intended and operating effici | Flush PVC fittings throughout. | 4 - Priority 4 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services/Electrical services/Power and Associated Fittings/(reference HB) | B (Satisf - Satisfactory - Performing as intended requiring mi | Flush and surface PVC fittings. | 4 - Priority 4 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services/Electrical services/Power and Associated Fittings/(reference HB) | A (Good) - Good - Performing as intended and operating effici | PVC Flush mounted. | 4 - Priority 4 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services/Electrical services/Security Alarms / CCTV/(reference HE) | A (Good) - Good - Performing as intended and operating effici | PIR Detectors. | 4 - Priority 4 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services/Electrical services/Security Alarms / CCTV/(reference HE) | B (Satisf - Satisfactory - Performing as intended requiring mi | Passive infra red dectector. Part of main school system. | 4 - Priority 4 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services/Electrical services/Security Alarms / CCTV/(reference HE) | B (Satisf - Satisfactory - Performing as intended requiring mi | Passive infra red detectors in circulation areas. Cirrus System key pad in office (rm. 8). | 4 - Priority 4 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services/Electrical services/Stage Lighting/(reference HK) | Z-Unknown - Unknown |  | 4 - Priority 4 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | External areas/External areas/Ancillary Buildings/(reference KG) | B (Satisf - Satisfactory - Performing as intended requiring mi | There are several timber sheds present around the site, they are in good order. There is also some timber play equipment present which is in good order also There is a steel vaulted structure present to the yard area forming a covered area, it is freestanding with powder coated steel box section structural members and a polycarbonate roof. | 4 - Priority 4 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas/External areas/Drainage/(reference KI) | B (Satisf - Satisfactory - Performing as intended requiring mi | The main drainage around the site has plastic manholes with circular covers present to chages of direction, the majority of these were lifted, the drains within are shallow, no blockages were noted. There is a heavy cast iron manhole to the North boundary of the site this may be the connection to the main sewer. | 4 - Priority 4 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas/External areas/Hard Playing Areas/(reference KC) | B (Satisf - Satisfactory - Performing as intended requiring mi | The hardplay areas are covered in fine asphalt, it is in reasonable order except one area where it has sunk slightly to form a puddle. There are timber baords forming the edge between the hardplay and the grass and flower beds. | 4 - Priority 4 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas/External areas/Paths & Pedestrian Paved Areas/(reference KD) | B (Satisf - Satisfactory - Performing as intended requiring mi | All paths areound the site are formed in asphalt, it is in good condition, it has fallen away slightly to the south elevation of the 1999 extension. There are timber boards present to the edes of paths. | 4 - Priority 4 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas/External areas/Playing fields/(reference KB) | B (Satisf - Satisfactory - Performing as intended requiring mi | The grass playoing fields are level and well maintained, they were wet but not waterlogged after the recent period of prolonged wet weather indicating the land drains well. | 4 - Priority 4 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas/External areas/Roads and Car Parks/(reference KA) | B (Satisf - Satisfactory - Performing as intended requiring mi | The carparking area is clad in tarmac and appears to be in good order, it is possibly too small for the site as it was full at the tme of the survey. | 4 - Priority 4 | 0
g | External areas/External areas/Soft Landscaping/(reference KE) | B (Satisf - Satisfactory - Performing as intended requiring mi | There are several planted areas and trees present around the site as well as hedges to the boundary, they are in good order and appear healthy. | 4 - Priority 4 | 0
g | External areas/External areas/Walls, Fences and Gates/(reference KF) | B (Satisf - Satisfactory - Performing as intended requiring mi | The gates to the site are tubular galvd. Steel, there are several fence types to the boundary. Weldmesh on concrete posts is ith most prevalent, there are also timber fences present. A large length of the boundary is formed with conifer hedgerow. Within the site there is a timber fence to the front of the building with timber gates incorporated. All fences appear to be in good order. | 4 - Priority 4 | 0
e | External walls, windows and doors/External walls, windows and doors/Walls (including finishes)/(reference DA) | B (Satisf - Satisfactory - Performing as intended requiring mi | The external walls are clad in orange brickwork with flush pointed joints, the brickwork is in stretcher bond. The construction appears to be load bearing cavity walls. All areas are free from obvious defects except below the leaking valley within the courtyard, mentioned previously. The brickwork in this vacinity is saturated, there is no other defect present so the wall should dry out after the valley is repaired. | 4 - Priority 4 | 0
e | External walls, windows and doors/External walls, windows and doors/Walls (including finishes)/(reference DA) | B (Satisf - Satisfactory - Performing as intended requiring mi | The external walls are clad in orange brickwork with flush pointed joints, the brickwork is in stretcher bond. The construction appears to be load bearing cavity walls. All areas are free from obvious defects. | 4 - Priority 4 | 0
e | External walls, windows and doors/External walls, windows and doors/Walls (including finishes)/(reference DA) | B (Satisf - Satisfactory - Performing as intended requiring mi | The external walls are clad in orange brickwork with flush pointed joints, the brickwork is in stretcher bond. The construction appears to be load bearing cavity walls. All areas are free from obvious defects. | 4 - Priority 4 | 0
e | External walls, windows and doors/External walls, windows and doors/Walls (including finishes)/(reference DA) | B (Satisf - Satisfactory - Performing as intended requiring mi | The building has the usual render/textured finish to the plywood walls, a section of plywood was noted to be peeling exposing the reso of the board to the elements at low level on the south elevation. There are softwood boards present to the plinth with ventilation gaps between, some of these have become detached at the bottom. | 3 - Priority 3 | 350 |  |  | 350
e | External walls, windows and doors/External walls, windows and doors/Windows & Doors/(reference DC) | B (Satisf - Satisfactory - Performing as intended requiring mi | The external doors and windows are aluminium double glazed items, all are in good order. Windows are predominantly sliding sash, the doors are either 2XGG or Pattern 10 style | 4 - Priority 4 | 0
e | External walls, windows and doors/External walls, windows and doors/Windows & Doors/(reference DC) | B (Satisf - Satisfactory - Performing as intended requiring mi | The external doors and windows are aluminium double glazed items, all are in good order. Windows are predominantly sliding sash, the doors are 2XG. | 4 - Priority 4 | 0
e | External walls, windows and doors/External walls, windows and doors/Windows & Doors/(reference DC) | B (Satisf - Satisfactory - Performing as intended requiring mi | The building has uPVC windows and timber doors. All joinery is in good order. | 4 - Priority 4 | 0
e | External walls, windows and doors/External walls, windows and doors/Windows & Doors/(reference DC) | B (Satisf - Satisfactory - Performing as intended requiring mi | The external doors and windows are aluminium double glazed items, all are in good order. Windows are predominantly sliding sash, the doors are either 2XGG or Pattern 10 style | 4 - Priority 4 | 0
i | Fixed furniture and fittings/Fixed furniture and fittings/All types/(reference JA) | B (Satisf - Satisfactory - Performing as intended requiring mi | The cupboards and other fixtures and fittings appear to be in good order throughout. | 4 - Priority 4 | 0
i | Fixed furniture and fittings/Fixed furniture and fittings/All types/(reference JA) | B (Satisf - Satisfactory - Performing as intended requiring mi | The cupboards and in good order throughout. | 4 - Priority 4 | 0
i | Fixed furniture and fittings/Fixed furniture and fittings/All types/(reference JA) | B (Satisf - Satisfactory - Performing as intended requiring mi | The sink unit and associated cupboards are in reasonable order though the doors need to be realigned. | 3 - Priority 3 | 100 |  |  | 100
i | Floors and stairs/Floors and stairs/Floors (including finishes)/(reference BA) | B (Satisf - Satisfactory - Performing as intended requiring mi | The floor is suspended timber throughout, The floor is finished with carpet, it is in good order. | 4 - Priority 4 | 0
i | Floors and stairs/Floors and stairs/Floors (including finishes)/(reference BA) | B (Satisf - Satisfactory - Performing as intended requiring mi | The building has a concrete floor, it is clad in carpet to approximately 60% of it's area, the remaining 40% is clad in non slip vinyl. There is slight water marking to the carpet otherwise all is in good order. | 4 - Priority 4 | 0
i | Floors and stairs/Floors and stairs/Floors (including finishes)/(reference BA) | B (Satisf - Satisfactory - Performing as intended requiring mi | The floor is concrete throughout and is clad in carpet and non slip vinyl (to practical area and wet area within 39CR) all finishes are in good order. | 4 - Priority 4 | 0
i | Floors and stairs/Floors and stairs/Floors (including finishes)/(reference BA) | B (Satisf - Satisfactory - Performing as intended requiring mi | The building has a concrete floor throughout, it is finished with carpet to most rooms, there are also areas of non slip vinyl present. The hall has a small block parquet floor present, it has indentations from stiletto heels present otherwise it is in good order. The corridors have vinyl tiles present throughout, these too are in good order. | 4 - Priority 4 | 0
i | Floors and stairs/Floors and stairs/Staircases (including finishes)/(reference BB) | B (Satisf - Satisfactory - Performing as intended requiring mi | The building is accessed via two timber staircases, these have non slip treads in place and are in good order. | 4 - Priority 4 | 0
i | Internal walls and doors/Internal walls and doors/Doors & Glazed Screens/(reference EB) | B (Satisf - Satisfactory - Performing as intended requiring mi | The internal doors are flush plywood, both are in good order. | 4 - Priority 4 | 0
i | Internal walls and doors/Internal walls and doors/Doors & Glazed Screens/(reference EB) | B (Satisf - Satisfactory - Performing as intended requiring mi | The door and associated side vision panels are the original aluminium items and are in excellent order. The frame is glazed with glass to BS6206. | 4 - Priority 4 | 0
i | Internal walls and doors/Internal walls and doors/Doors & Glazed Screens/(reference EB) | B (Satisf - Satisfactory - Performing as intended requiring mi | The internal doors are flush plywood throughout with georgian wired glass visin panels to all classroom doors. There are timber glazed panels present in the Rainbow Room (22CR), these are also glazed with georgian wired glass. The joinery is in good order and is of good quality. | 4 - Priority 4 | 0
i | Internal walls and doors/Internal walls and doors/Doors & Glazed Screens/(reference EB) | B (Satisf - Satisfactory - Performing as intended requiring mi | There doors and glazed screens are softwood. The doors have glazed vision panels present. All were in excellent order ehibiting no obvious defects. | 4 - Priority 4 | 0
i | Internal walls and doors/Internal walls and doors/Walls & Partitions (including finishes)/(reference EA) | B (Satisf - Satisfactory - Performing as intended requiring mi | The walls are clad in prefinished plasterboard with tape applied to the joints, the entrance lobby has been painted with a mural. All areas are in good order. | 4 - Priority 4 | 0
i | Internal walls and doors/Internal walls and doors/Walls & Partitions (including finishes)/(reference EA) | B (Satisf - Satisfactory - Performing as intended requiring mi | The walls are plastered and skimmed throughout, most certainly on blockwork. Ceramic tiles have been placed as splashbacks to sinks. No obvious defects were noted. | 4 - Priority 4 | 0
i | Internal walls and doors/Internal walls and doors/Walls & Partitions (including finishes)/(reference EA) | B (Satisf - Satisfactory - Performing as intended requiring mi | The walls are either painted fairfaced blockwork of plaster and skim, ceramic tiles have been placed to form splashbacks. No defects were noted. Concrete lintols were employed above doors to internal walls. There are some melamine faced chipboard toilet cubicles, these are in serviceable order. | 4 - Priority 4 | 0
i | Internal walls and doors/Internal walls and doors/Walls & Partitions (including finishes)/(reference EA) | B (Satisf - Satisfactory - Performing as intended requiring mi | The walls are plastered and skimmed throughout, the susbstrate is almost certainly blockwork. Ceramic tiles have been placed to kitchen unit splashback, these are in good order. No obvious defects were noted. | 4 - Priority 4 | 0
e | Mechanical services/Mechanical services/Boilers/(reference GA) | A (Good) - Good - Performing as intended and operating effici | Heat pump. | 4 - Priority 4 | 0
e | Mechanical services/Mechanical services/Gas Distribution/(reference GG) | B (Satisf - Satisfactory - Performing as intended requiring mi | Gas supply to heater. | 4 - Priority 4 | 0
e | Mechanical services/Mechanical services/Gas Distribution/(reference GG) | A (Good) - Good - Performing as intended and operating effici | To heaters in classrooms 39 & 41 and rm. 40. | 4 - Priority 4 | 0
e | Mechanical services/Mechanical services/Heating Controls/(reference GC) | B (Satisf - Satisfactory - Performing as intended requiring mi | Local control of heater. | 4 - Priority 4 | 0
e | Mechanical services/Mechanical services/Heating Controls/(reference GC) | A (Good) - Good - Performing as intended and operating effici | Local control of heaters. | 4 - Priority 4 | 0
e | Mechanical services/Mechanical services/Heating Controls/(reference GC) | B (Satisf - Satisfactory - Performing as intended requiring mi | Local control of heating system. Functioning correctly but not giving adequate control in individual rooms. | 4 - Priority 4 | 0
e | Mechanical services/Mechanical services/Heating Controls/(reference GC) | A (Good) - Good - Performing as intended and operating effici | Local thermostat. | 4 - Priority 4 | 0
e | Mechanical services/Mechanical services/Heating Distribution/(reference GB) | A (Good) - Good - Performing as intended and operating effici |  | 4 - Priority 4 | 0
e | Mechanical services/Mechanical services/Hot/Cold Water Distribution/(reference GD) | A (Good) - Good - Performing as intended and operating effici |  | 4 - Priority 4 | 0
e | Mechanical services/Mechanical services/Hot/Cold Water Distribution/(reference GD) | B (Satisf - Satisfactory - Performing as intended requiring mi | 4 no. immersion heaters in roof space. Copper pipework. | 4 - Priority 4 | 0
e | Mechanical services/Mechanical services/Other/(reference GI) | A (Good) - Good - Performing as intended and operating effici | Stand alone gas heaters in all rooms. | 4 - Priority 4 | 0
e | Mechanical services/Mechanical services/Ventilation/(reference GE) | A (Good) - Good - Performing as intended and operating effici | Electrically controlled windows in rm 40. | 4 - Priority 4 | 0
e | Mechanical services/Mechanical services/Ventilation/(reference GE) | B (Satisf - Satisfactory - Performing as intended requiring mi | Ducted warm air into all rooms. Local extract in some ablutions. | 4 - Priority 4 | 0
e | Mechanical services/Mechanical services/Ventilation/(reference GE) | Z-Unknown - Unknown |  | 4 - Priority 4 | 0
o | Overall Block Condition/Overall Block Condition | B (Satisf - Satisfactory - Performing as intended requiring mi |  | 4 - Priority 4 | 0
o | Overall Block Condition/Overall Block Condition | B (Satisf - Satisfactory - Performing as intended requiring mi |  | 4 - Priority 4 | 0
o | Overall Block Condition/Overall Block Condition | B (Satisf - Satisfactory - Performing as intended requiring mi |  | 4 - Priority 4 | 0
o | Overall Block Condition/Overall Block Condition | B (Satisf - Satisfactory - Performing as intended requiring mi |  | 4 - Priority 4 | 0
i | Redecoration/Redecoration/External/(reference IA) | B (Satisf - Satisfactory - Performing as intended requiring mi | The building is finished with a render which requires decoration as do the timber entrance doors. | 2 - Priority 2 | 1200 | 1200
i | Redecoration/Redecoration/External/(reference IA) | B (Satisf - Satisfactory - Performing as intended requiring mi | The decoration is limited to roof timbers, these are stained dark brown. All areas are in good order. | 3 - Priority 3 | 650 | 650
i | Redecoration/Redecoration/External/(reference IA) | B (Satisf - Satisfactory - Performing as intended requiring mi | The decoration is limited to roof timbers, these are stained dark brown. All areas are in good order except barge boards to the south elevation. | 3 - Priority 3 | 1950 | 1950
i | Redecoration/Redecoration/External/(reference IA) | B (Satisf - Satisfactory - Performing as intended requiring mi | The decoration is limited to roof timbers, these are stained dark brown. All areas are in good order. | 3 - Priority 3 | 350 | 350
i | Redecoration/Redecoration/Internal/(reference IB) | B (Satisf - Satisfactory - Performing as intended requiring mi | Internal decoration is in excellent order throughout | 3 - Priority 3 | 500 | 500
i | Redecoration/Redecoration/Internal/(reference IB) | B (Satisf - Satisfactory - Performing as intended requiring mi | Internal decoration is in good order throughout giving the building a smart appearance. | 3 - Priority 3 | 6300 | 6300
i | Redecoration/Redecoration/Internal/(reference IB) | B (Satisf - Satisfactory - Performing as intended requiring mi | The internal decoration is in good order throughout. | 3 - Priority 3 | 1650 | 1650
i | Redecoration/Redecoration/Internal/(reference IB) | B (Satisf - Satisfactory - Performing as intended requiring mi | The Internal decoration is in good order. | 3 - Priority 3 | 1035 | 1035
r | Roofs/Roofs/Flat/(reference AA) | B (Satisf - Satisfactory - Performing as intended requiring mi | The building is roofed with modern mineral felt, This appears to be in good order, no evidence of leakage is visible in the rooms below. The roof rolls over at the eaves to issue water to the gutters. | 4 - Priority 4 | 0
r | Roofs/Roofs/Pitched/(reference AB) | B (Satisf - Satisfactory - Performing as intended requiring mi | The roof is entirely clad in double roman pantiles, ther roof pitch is reasonably shallow. Valleys are formed with lead and appear to be well constructed. The verges are pointed and all appear in good order. The roof has exposed rafter feet, oversailing fascias which are supported on gable ladders. | 4 - Priority 4 | 0
r | Roofs/Roofs/Pitched/(reference AB) | B (Satisf - Satisfactory - Performing as intended requiring mi | The roof is entirely clad in double roman pantiles, ther roof pitch is reasonably shallow. Valleys are formed with clay tile liners, one was noted to be broken in the enclosed courtyard in the NW Corner, it has caused damp staining on the walls below. The verges are pointed and all appear in good order. The roof has exposed rafter feet, oversailing fascias which are supported on gable ladders. The timber to the south elevation has a crack in the decoration caused by the weather. There are als timber supressed gables present to the main roof. Where roofs have been cut into the main roof for extensions the valleys are in well constructed lead. | 2 - Priority 2 | 350 | 350
r | Roofs/Roofs/Pitched/(reference AB) | B (Satisf - Satisfactory - Performing as intended requiring mi | The roof is entirely clad in double roman pantiles, ther roof pitch is reasonably shallow. Valleys where the roof intersects the main building roof are constructed in lead, the work appers to be excellent. The verges are formed with a dry verge system matching the roofing material. The roof has exposed rafter feet, oversailing fascias which are supported on gable ladders. All areas appear to be in good order and are free from obvious defect. | 4 - Priority 4 | 0
r | Roofs/Roofs/Roof Drainage/(reference AE) | B (Satisf - Satisfactory - Performing as intended requiring mi | The rainwater goods are brown self coloured plastic, the gutters are half round, the downpipes are circular section. All appears in good order. | 4 - Priority 4 | 0
r | Roofs/Roofs/Roof Drainage/(reference AE) | B (Satisf - Satisfactory - Performing as intended requiring mi | The rainwater goods are brown self coloured plastic, the gutters are half round, the downpipes are circular section. All appears in good order. | 4 - Priority 4 | 0
r | Roofs/Roofs/Roof Drainage/(reference AE) | B (Satisf - Satisfactory - Performing as intended requiring mi | The rainwater goods are brown self coloured plastic, the gutters are half round, the downpipes are circular section. All appears in good order. | 4 - Priority 4 | 0
r | Roofs/Roofs/Roof Drainage/(reference AE) | B (Satisf - Satisfactory - Performing as intended requiring mi | The building has black plastic gutters and downpipes present to two faces, these are in good order. | 4 - Priority 4 | 0
r | Roofs/Roofs/Rooflights/(reference AD) | B (Satisf - Satisfactory - Performing as intended requiring mi | There are several Velux roof windows present to the building, they appear to have been well installed with the correct flashing kits etc. | 4 - Priority 4 | 0
r | Roofs/Roofs/Rooflights/(reference AD) | B (Satisf - Satisfactory - Performing as intended requiring mi | There are several Velux roof windows present to the building, they appear to have been well installed with the correct flashing kits etc. | 4 - Priority 4 | 0
m | Sanitary services/Sanitary services/Fittings/(reference FA) | B (Satisf - Satisfactory - Performing as intended requiring mi | All sanitaryware and sinks appear to be in good functional condition. | 4 - Priority 4 | 0
m | Sanitary services/Sanitary services/Fittings/(reference FA) | B (Satisf - Satisfactory - Performing as intended requiring mi | The stainless steel sink unit is in good order. | 4 - Priority 4 | 0
m | Sanitary services/Sanitary services/Waste Plumbing/(reference FB) | B (Satisf - Satisfactory - Performing as intended requiring mi | The sink waste is functioning as intended. | 4 - Priority 4 | 0
m | Sanitary services/Sanitary services/Waste Plumbing/(reference FB) | B (Satisf - Satisfactory - Performing as intended requiring mi | All visible above ground waste pipes are in good order. | 4 - Priority 4 | 0

## EFA Property
|  |  | EFA survey data | [6 empty] | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other
DFE | School | School Type | Date received | Condition rating C or D | Priority rating 1 or 2 | Element | Category | CCP rating
[9 empty] | C1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | C2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D3 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Suitability and Compliance
Space |  |  | BB103 suggested sizes
[6 empty] | Suitability Data | [11 empty] | Compliance Comparison |  |  | 1 | Form of entry | PAN | 30
Basic Teaching Spaces |  |  | No. of spaces | m2 | Total m2 | Plan ref | Space | [10 empty] | Total area | Shortfall | Surplus | 2015 | Date of last assessment
|  | Classroom - Year R | 1 | 62 | 62 | 50, 50a, 50b | General classroom | 40.13 | 23.33 | 1.94 | [7 empty] | 65.4 | 0 | 3.4
|  | Classroom - Year 1 | 1 | 62 | 62 | 22 | General classroom | 63.98 | [9 empty] | 63.98 | 0 | 1.98 | 0 | No. Temp Buildings on Site
|  | Classroom - Year 2 | 1 | 62 | 62 | 18 | General classroom | 51.7 | [9 empty] | 51.7 | 10.3 | 0 | 0 | No. of Classrooms in Temporary Buildings
|  | Classroom - Year 3 | 1 | 62 | 62 | 39 | General classroom | 56.47 | [9 empty] | 56.47 | 5.53 | 0 | 7 | No. of Classrooms
|  | Classroom - Year 4 | 1 | 62 | 62 | 41 | General classroom | 50.21 | [9 empty] | 50.21 | 11.79 | 0 | 7 | Required No. of Classroooms
|  | Classroom - Year 5 | 1 | 62 | 62 | 16, 17, 17a | General classroom | 66 | inc | inc | [7 empty] | 66 | 0 | 4
|  | Classroom - Year 6 | 1 | 62 | 62 | 57 | General classroom | 64.7 | [9 empty] | 64.7 | 0 | 2.7
|  | Practical area / food bay | 0 | 0 | 0 | 11, 40 | Practical area | 19.33 | 33.24 | [8 empty] | 52.57 | 0 | 52.57 | 57.14% | of classrooms are the recommended size
|  | ICT base | 0 | 0 | 0 | [12 empty] | 0 | 0 | 0 | 42.86% | of classrooms are small
[5 empty] | 434 | [12 empty] | 471.03 | 27.62 | 64.65 | 108.5% | of the recommended basic teaching space required
[20 empty] | 406.38 | 93.64% | of the recommended basic teaching space required ignoring surplus
Halls and Studios | [20 empty] | 6.364% | shortfall in basic teaching space
| 1 | Main hall | 1 | 180 | 180 | 4 | Hall | 99.76 | [9 empty] | 99.76 | 80.24 | 0
[5 empty] | 180 | [12 empty] | 99.76 | 80.24 | 0 | 55.42% | of the recommended hall size
Storage | [20 empty] | 44.58% | shortfall in hall size
| 1 | Coat and bag storage - Year R | 1 | 3 | 3 | 23 | Cloakroom (shared) | 4 | [9 empty] | 4 | 0 | 1
| 2 | Coat and bag storage - Year 1 | 1 | 3 | 3 | 23 | Cloakroom (shared) | 4 | [9 empty] | 4 | 0 | 1
| 3 | Coat and bag storage - Year 2 | 1 | 3 | 3 | 15 | Cloakroom (shared) | 7.6 | [9 empty] | 7.6 | 0 | 4.6
| 4 | Coat and bag storage - Year 3 | 1 | 3 | 3 | 15 | Cloakroom (shared) | 7.6 | [9 empty] | 7.6 | 0 | 4.6
| 5 | Coat and bag storage - Year 4 | 1 | 3 | 3 | 15 | Cloakroom (shared) | 7.6 | [9 empty] | 7.6 | 0 | 4.6
| 6 | Coat and bag storage - Year 5 | 1 | 3 | 3 | 56 | Cloakroom (shared) | 15.87 | [9 empty] | 15.87 | 0 | 12.87
| 7 | Coat and bag storage - Year 6 | 1 | 3 | 3 | 56 | Cloakroom (shared) | 15.87 | [9 empty] | 15.87 | 0 | 12.87
| 8 | Teaching storage - Year R | 1 | 2 | 2 | 50c | Store room | 1.25 | [9 empty] | 1.25 | 0.75 | 0
| 9 | Teaching storage - Year 1 | 1 | 2 | 2 | 51 | Store room | 1.19 | [9 empty] | 1.19 | 0.81 | 0
| 10 | Teaching storage - Year 2 | 1 | 2 | 2 | 52 | Store room | 1.19 | [9 empty] | 1.19 | 0.81 | 0
| 11 | Teaching storage - Year 3 | 1 | 2 | 2 | 37 | Store room | 3.62 | [9 empty] | 3.62 | 0 | 1.62
| 12 | Teaching storage - Year 4 | 1 | 2 | 2 | 43, 44 | Store room | 1.62 | 1.53 | [8 empty] | 3.15 | 0 | 1.15
| 13 | Teaching storage - Year 5 | 1 | 2 | 2 | [12 empty] | 0 | 2 | 0
| 14 | Teaching storage - Year 6 | 1 | 2 | 2 | 58 | Store room | 3 | [9 empty] | 3 | 0 | 1
| 15 | Specialist walk in stores | 3 | 5 | 15 | [12 empty] | 0 | 15 | 0
| 18 | Indoor PE equipment storage | 1 | 18 | 18 | [12 empty] | 0 | 18 | 0
| 19 | Outdoor PE equipment storage | 0 | 0 | 0 | [12 empty] | 0 | 0 | 0
|  | Bulk stock store | 1 | 4 | 4 | 38 | Store room | 3.62 | [9 empty] | 3.62 | 0.38 | 0
| 21 | Caretakers and maintenance store | 1 | 5 | 5 | [12 empty] | 0 | 5 | 0
| 22 | Cleaning store | 1 | 3 | 3 | 30 | Cleaners store room | 4.36 | [9 empty] | 4.36 | 0 | 1.36
| 23 | Table and chair store | 1 | 12 | 12 | 6 | Store room | 6.3 | [9 empty] | 6.3 | 5.7 | 0
| 25 | Staging/ appliance store | 1 | 4 | 4 | [12 empty] | 0 | 4 | 0
|  | Mobility equipment store | 1 | 2 | 2 | [12 empty] | 0 | 2 | 0
| 24 | Store for community | 0 | 0 | 0 | [12 empty] | 0 | 0 | 0
[5 empty] | 98 | [12 empty] | 90.22 | 54.45 | 46.67 | 92.06% | of the recommended storage space required
Staff and admin | [20 empty] | 55.56% | shortfall
| 1 | Heads office | 1 | 12 | 12 | 48 | Heads Office | 16.28 | [9 empty] | 16.28 | 0 | 4.28
| 3 | Staff room work and social | 1 | 33 | 33 | 7,10 | Staffroom | 14.59 | 8.75 | [8 empty] | 23.34 | 9.66 | 0
|  | Staff PPA | 1 | 10 | 10 | [12 empty] | 0 | 10 | 0
| 4 | Senior management office | 1 | 10 | 10 | 40, 19 | General office x 2 | 15.63 | 4.64 | [8 empty] | 20.27 | 0 | 10.27
| 7 | General office (reception) | 1 | 12 | 12 | 20 | Reception (office) | 28.36 | [9 empty] | 28.36 | 0 | 16.36
| 8 | Secure reception | 1 | 4 | 4 | [12 empty] | 0 | 4 | 0
| 9 | Reprographics room | 1 | 8 | 8 | [12 empty] | 0 | 8 | 0
| 10 | Meeting room | 0 | 0 | 0 | [12 empty] | 0 | 0 | 0
| 11 | Sick bay | 1 | 3 | 3 | [12 empty] | 0 | 3 | 0
| 13 | Interview room | 1 | 9 | 9 | [12 empty] | 0 | 9 | 0
[5 empty] | 101 | [12 empty] | 88.25 | 43.66 | 30.91 | 87.38% | of the recommended staff and admin space required
Learning resource area | [20 empty] | 43.23% | shortfall
| 1 | Library (learning resource centre) | 1 | 30 | 30 | 3 | Corridor but set up as school library | 10.06 | [9 empty] | 10.06 | 19.94 | 0
| 3 | Small group room | 3 | 11 | 33 | 27 | SENCO office and small group room | 11.48 | [9 empty] | 11.48 | 21.52 | 0
| 5 | SENco office (SEN resource) | 1 | 12 | 12 | [12 empty] | 0 | 12 | 0
| 2 | Medical inspection room/ Therapy room | 1 | 12 | 12 | 54 | Physiotherapy | 11.36 | [9 empty] | 11.36 | 0.64 | 0
[5 empty] | 87 | [12 empty] | 32.9 | 54.1 | 0 | 37.82% | of the recommended learning resource areas
Supplementary area | [20 empty] | 62.18% | shortfall
| 1 |  | 0 | 0 | 0 | [12 empty] | 0 | 0 | 0
|  |  | 0 | 0 | 0 | [12 empty] | 0 | 0 | 0
[5 empty] | 0 | [12 empty] | 0 | 0 | 0 | - | of the recommended supplementary areas
Non net areas | [20 empty] | - | shortfall
| 1 | Reception toilets | 3 | 2 | 6 | [12 empty] | 0 | 6 | 0 | 0 | Number of reception toilets
| 1 | Pupils toilets | 10 | 2 | 20 | 12,13,14,24,25,26,34 | 8 wc's 2 urinals | 5.22 | 3.86 | 4.1 | 4.88 | 3.86 | 3.7 | 7.53 |  |  |  | 33.15 | 0 | 13.15 | 10 | Number of other pupil toilets
| 2 | Staff toilets | 2 | 2 | 4 | 29 | Staff wc (multi-sex) 1 wc | 2.28 | [9 empty] | 2.28 | 1.72 | 0 | 0% | % of recommended reception toilets
| 3 | Accessible toilet | 1 | 3 | 3 | 55 | Disabled w.c. | 4.51 | [9 empty] | 4.51 | 0 | 1.51 | 100% | % of recommended other pupil toilets
| 9 | Hygiene room | 1 | 12 | 12 | 53 | Hygiene room | 12.25 | [9 empty] | 12.25 | 0 | 0.25
| 4 | Kitchen facilities (servery) | 1 | 28 | 28 | 5 | Kitchen | 7.03 | [9 empty] | 7.03 | 20.97 | 0
| 5 | Corridors | - | 22.5% | 202.5 | 1,2,3a,20a,27a,28,47,TBC | Corridors | 2.77 | 14.82 | 4 | 13.1 | 6 | 2.63 | 12.8 | 5.2 | 4.02 | 10 | 75.34 | 127.16 | 0
| 6 | Boiler room | 1 | 1.5% | 13.5 | [12 empty] | 0 | 13.5 | 0
| 7 | Server | in boiler |  |  | 9 | IT Server room | 4.96 | [9 empty] | 4.96 | 0 | 4.96
|  | Walls | - | 4% | 36 |  |  | 31.2864 | [9 empty] | 31.2864 | 4.7136 | 0
[5 empty] | 325 | [12 empty] | 170.8064 | 174.0636 | 19.87 | 52.56% | of the recommended non net area
Additional area | [20 empty] | 53.56% | shortfall
|  | Nursery class | 1 | 62 | 62 | [12 empty] | 0 | 62 | 0
|  | Quiet room | 1 | 8 | 8 | [12 empty] | 0 | 8 | 0
|  | Nursery store room | 1 | 2 | 2 | [12 empty] | 0 | 2 | 0
|  | Nursery office | 1 | 8 | 8 | [12 empty] | 0 | 8 | 0
|  | Nursery cloakroom | 1 | 3 | 3 | [12 empty] | 0 | 3 | 0
|  | Nursery pupils toilets | 3 | 2 | 6 | [12 empty] | 0 | 6 | 0
|  | Nursery staff toilets | 1 | 2 | 2 | [12 empty] | 0 | 2 | 0
|  | Nursery entrance | 1 | 22.5% | 1.8675 | [12 empty] | 0 | 1.8675 | 0
[5 empty] | 92.8675 | [12 empty] | 0 | 92.8675 | 0 | 0% | of the recommended additional area
[21 empty] | 100% | shortfall
Total Net area |  |  |  |  | 900 | [12 empty] | 782.16
Total Non-Net area |  |  |  |  | 325 | [12 empty] | 170.8064
Gross (total build) area - excluding nursery |  |  |  |  | 1225 | [12 empty] | 952.9664 |  |  | 77.79% | of the recommended Gross area
Gross (total build) area - including nursery |  |  |  |  | 1317.8675 | [12 empty] | 952.9664
Net Area Range |  |  |  |  | 1211.0-1345.0
Mid Range |  |  |  |  | 1278
Total Site Area Range |  |  |  |  | 8991.0-11241.0
Mid Range |  |  |  |  | 10116
2
3
4

## Occupancy
Sufficiency Data
Planned Admission Number | Current Capacity | Maximum PAN | Capacity based on max PAN
30 | 210 | 30 | 210
NOR Spring Census
| 2008 / 2009 | 2009 / 2010 | 2010 / 2011 | 2011 / 2012 | 2012 / 2013 | 2013 / 2014
NOR Jan | 158 | 178 | 171 | 192 | 209 | 191
Maximum Capacity | 210 | 210 | 210 | 210 | 210 | 210
Number of Surplus Places | 52 | 32 | 39 | 18 | 1 | 19
% of surplus places | 24.8 | 15.2 | 18.6 | 8.6 | 0.5 | 9.0476
Current Numbers on Roll (from Autumn Census)
Year group | R | 1 | 2 | 3 | 4 | 5 | 6 | Total
Number | 23 | 30 | 23 | 30 | 25 | 32 | 32 | 195

## School stats
Current Ofsted | Year
Good | 2014-09-24
2014 KS2 Performance Tables last update : (10 Dec 2014)
Year on year comparisons
Percentage achieving Level 4 or above in reading, writing and maths | 2012 | 2013 | 2014
School | 73% | 86% | 100%
LA | 71% | 71% | 76%
England - All Schools | 75% | 75% | 79%
KS2 test results and progress
| All pupils | Low attainers | Middle attainers | High attainers
Pupils eligible for KS2 assessment | 24
Percentage of pupils achieving 3 or below in reading and maths test and writing TA | 0% | SUPP | 0% | 0%
Percentage of pupils achieving level 4 or above in reading and maths test and writing TA | 100% | SUPP | 100% | 100%
Percentage of pupils achieved level 4B or above in reading and maths test and level 4 in writing TA | 92% | SUPP | 94% | 100%
Percentage of pupils achieving level 5 or above in reading and maths test and writing TA | 21% | SUPP | 0% | 71%
Percentage of pupils making at least 2 levels of progress in reading | 96% | SUPP | 94% | 100%
Percentage of pupils making at least 2 levels of progress in writing TA | 100% | SUPP | 100% | 100%
Percentage of pupils making at least 2 levels of progress in maths | 100% | SUPP | 100% | 100%
Average point score | 30.8
Disadvantaged pupils
| Disadvantaged pupils | Other pupils
Percentage of disadvantaged pupils achieving level 3 or below in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4B or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 5 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in reading | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in maths | SUPP | SUPP
Value Added measures
| Measure | Lower CI | Upper CI | Coverage
Overall value added measure | 100.6 | 99.7 | 101.5 | 100%
Reading value added measure | 99.7 | 98.7 | 100.7 | 100%
Writing TA value added measure | 99.4 | 98.3 | 100.4 | 100%
Maths value added measure | 101.7 | 100.5 | 102.8 | 100%
Subject level results
| Reading test | Maths test | Grammar, punctuation and spelling test | Writing TA
Percentage achieving level 3 or below | 0% | 0% | 4% | 0%
Percentage achieving Level 4 or above | 100% | 100% | 96% | 100%
Percentage achieving Level 4b or above | 96% | 96% | 88% | NA
Percentage achieving Level 5 or above | 46% | 67% | 50% | 21%
Pupil Absence last update : (11 Dec 2013)
| School | England - national (primary state-funded)
Overall absence: percentage | 4.3% | 4.8%
Persistent absence: around 15% + | 4.1% | 3.6%
Please note - this year the Department will publish full year 2013/14 absence data in the performance tables in March 2015 rather than just the autumn and spring term data in December as in previous years, and we will continue to do so in future years. This is because the full year data provides the most robust indication of school absence rates.
School level information for the 2013/14 autumn and spring term only is available in our Statistical First Release here
2013-14 Finance last update : (10 Dec 2014)
No 2013-2014 Consistent Financial Reporting data (see the guidance)
School Workforce last update : (10 Dec 2014)
This data is based upon the November 2013 School Workforce Census
| School | England - national (primary state-funded)
Headcount of all teachers in a school | DNS | 236728
Headcount of all teaching assistants in a school | DNS | 239340
Headcount of all support (exc. auxillary) staff in a school | DNS | 77335
Full-time equivalent number of all teachers in a school | DNS | 207827.7
Full-time equivalent number of all teaching assistants in a school | DNS | 154245.3
Full-time equivalent number of all support (exc. auxillary) staff in a school | DNS | 51728.3
Ratio of pupils to teachers in a school | DNS | 20.5
Average gross salary of all teachers in a school | DNS | 36559

## Parental Preference
Popularity Data | [10 empty] | Children at School From School Catchment
Parental First Preference Applications | [11 empty] | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  | Catchment vs Nearest School |  |  |  |  | Catchment | Nearest
Year | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  |  | NOR | 178 | 171 | 192 | 209 | 191 |  |  |  | NOR |  |  |  |  | 195 | 195
PAN | 30 | 30 | 30 | 30 | 30 | 30 |  |  |  |  | Number | 88 | 93 | 108 | 108 | 91 |  |  |  | Total in area |  |  |  |  | 146 | 162
No. | 22.8 | 15 | 24.9 | 18.9 | 27.99 | 17 |  |  |  |  | % | 49.4382 | 54.386 | 56.25 | 51.6746 | 47.644 |  |  |  | Number at School from area |  |  |  |  | 96 | 99
% | 76 | 50 | 83 | 63 | 93.3 | 56.6667 | [13 empty] | % at School |  |  |  |  | 49.2308 | 50.7692
[11 empty] | Total number in Catchment | [8 empty] | % of area going to School |  |  |  |  | 65.7534 | 61.1111
[12 empty] | 2010 | 2011 | 2012 | 2013 | 2014
[11 empty] | Number | 155 | 153 | 167 | 159 | 137
[11 empty] | % | 100 | 100 | 100 | 100 | 100
Where children at School are coming from (from Spring Census 2014)
DCSF No. | School |  | Ashperton | Burghill Community | Ewyas Harold | Broadlands | Hampton Dene | Lord Scudamore | Marlbrook | St Martin’s | Trinity | Holme Lacy | Kings Caple | Kingstone & Thruxton | Ledbury | Leominster Infants’ School | Lugwardine | Marden | Stoke Prior | Sutton | Wellington | Weobley | Withington | Burley Gate C E | Colwall C E | St Mary’s C E, Credenhill | Eardisley C E | Holmer C E | Little Dewchurch CE | Mordiford C E | Much Birch C E | Orleton C E | Stretton Sugwas C E | St Michael's C E, Bodenham | Brampton Abbotts CE | St Mary’s C E, Fownhope | St James’ C E | Lea C E | Much Marcle C E | St Thomas Cantilupe C E | Riverside Primary | Out of County | Grand Total
2057 | Hampton Dene | Number | 0 | 0 | 1 | 57 | 105 | 1 | 5 | 11 | 3 | 0 | 0 | 1 | 3 | 1 | 8 | 0 | 0 | 1 | 2 | 1 | 7 | 1 | 0 | 0 | 0 | 7 | 0 | 7 | 0 | 1 | 3 | 0 | 0 | 2 | 9 | 0 | 0 | 5 | 4 | 0 | 246
2057 | Hampton Dene | % | 0 | 0 | 0.4065 | 23.1707 | 42.6829 | 0.4065 | 2.0325 | 4.4715 | 1.2195 | 0 | 0 | 0.4065 | 1.2195 | 0.4065 | 3.252 | 0 | 0 | 0.4065 | 0.81301 | 0.4065 | 2.8455 | 0.4065 | 0 | 0 | 0 | 2.8455 | 0 | 2.8455 | 0 | 0.4065 | 1.2195 | 0 | 0 | 0.81301 | 3.6585 | 0 | 0 | 2.0325 | 1.626 | 0 | 100
2102 | Lugwardine | Number | 2 | 2 | 0 | 13 | 5 | 4 | 0 | 14 | 0 | 0 | 0 | 0 | 4 | 0 | 91 | 2 | 0 | 2 | 1 | 1 | 30 | 2 | 0 | 0 | 0 | 5 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 2 | 0 | 0 | 191
2102 | Lugwardine | % | 1.0471 | 1.0471 | 0 | 6.8063 | 2.6178 | 2.0942 | 0 | 7.3298 | 0 | 0 | 0 | 0 | 2.0942 | 0 | 47.644 | 1.0471 | 0 | 1.0471 | 0.52356 | 0.52356 | 15.7068 | 1.0471 | 0 | 0 | 0 | 2.6178 | 0 | 4.1885 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5707 | 0 | 0 | 1.0471 | 0 | 0 | 100
3078 | Mordiford C E | Number | 5 | 0 | 0 | 4 | 0 | 4 | 1 | 21 | 0 | 22 | 0 | 0 | 0 | 0 | 9 | 2 | 0 | 0 | 0 | 0 | 11 | 2 | 0 | 0 | 0 | 0 | 1 | 57 | 1 | 0 | 0 | 1 | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 150
3078 | Mordiford C E | % | 3.3333 | 0 | 0 | 2.6667 | 0 | 2.6667 | 0.66667 | 14 | 0 | 14.6667 | 0 | 0 | 0 | 0 | 6 | 1.3333 | 0 | 0 | 0 | 0 | 7.3333 | 1.3333 | 0 | 0 | 0 | 0 | 0.66667 | 38 | 0.66667 | 0 | 0 | 0.66667 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 100
3325 | St Mary’s C E, Fownhope | Number | 1 | 0 | 0 | 2 | 2 | 0 | 0 | 37 | 1 | 8 | 5 | 0 | 2 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 1 | 0 | 0 | 0 | 4 | 2 | 0 | 0 | 0 | 1 | 55 | 0 | 2 | 1 | 0 | 2 | 0 | 131
3325 | St Mary’s C E, Fownhope | % | 0.76336 | 0 | 0 | 1.5267 | 1.5267 | 0 | 0 | 28.2443 | 0.76336 | 6.1069 | 3.8168 | 0 | 1.5267 | 0 | 0.76336 | 0 | 0 | 0 | 0 | 0.76336 | 1.5267 | 0 | 0.76336 | 0.76336 | 0 | 0 | 0 | 3.0534 | 1.5267 | 0 | 0 | 0 | 0.76336 | 41.9847 | 0 | 1.5267 | 0.76336 | 0 | 1.5267 | 0 | 100
3333 | St Paul’s C E | Number | 2 | 2 | 0 | 136 | 172 | 7 | 4 | 17 | 6 | 1 | 1 | 0 | 2 | 0 | 13 | 0 | 1 | 3 | 1 | 1 | 3 | 0 | 0 | 1 | 1 | 4 | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 0 | 0 | 13 | 5 | 2 | 424
3333 | St Paul’s C E | % | 0.4717 | 0.4717 | 0 | 32.0755 | 40.566 | 1.6509 | 0.9434 | 4.0094 | 1.4151 | 0.23585 | 0.23585 | 0 | 0.4717 | 0 | 3.066 | 0 | 0.23585 | 0.70755 | 0.23585 | 0.23585 | 0.70755 | 0 | 0 | 0.23585 | 0.23585 | 0.9434 | 0 | 2.8302 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3019 | 0 | 0 | 3.066 | 1.1792 | 0.4717 | 100
Where school children in the Schools Catchment area are going to (from Spring Census 2014)
DCSF No. | School |  | Ashperton | Broadlands | Hampton Dene | Lord Scudamore | Marlbrook | Kings Caple | Lugwardine | Madley | Sutton | Walford | Wigmore | Burley Gate C E | Holmer C E | Mordiford C E | St Michael's C E, Bodenham | Bridstow CE | St Mary’s C E, Fownhope | Our Lady's RC | St Francis Xaviers RC | St James’ C E, Hereford | St Pauls CE | Much Marcle C E | St Josephs RC | St Thomas Cantilupe C E | Grand Total
2057 | Hampton Dene | Number | 0 | 4 | 105 | 3 | 1 | 0 | 5 | 0 | 0 | 0 | 2 | 0 | 7 | 0 | 2 | 0 | 2 | 1 | 10 | 11 | 172 | 0 | 0 | 3 | 328
2057 | Hampton Dene | % | 0 | 1.2195 | 32.0122 | 0.91463 | 0.30488 | 0 | 1.5244 | 0 | 0 | 0 | 0.60976 | 0 | 2.1341 | 0 | 0.60976 | 0 | 0.60976 | 0.30488 | 3.0488 | 3.3537 | 52.439 | 0 | 0 | 0.91463 | 100
2102 | Lugwardine | Number | 2 | 0 | 8 | 2 | 0 | 0 | 91 | 1 | 1 | 0 | 0 | 3 | 2 | 9 | 0 | 0 | 1 | 0 | 2 | 0 | 13 | 0 | 2 | 0 | 137
2102 | Lugwardine | % | 1.4599 | 0 | 5.8394 | 1.4599 | 0 | 0 | 66.4234 | 0.72993 | 0.72993 | 0 | 0 | 2.1898 | 1.4599 | 6.5693 | 0 | 0 | 0.72993 | 0 | 1.4599 | 0 | 9.4891 | 0 | 1.4599 | 0 | 100
3078 | Mordiford C E | Number | 3 | 0 | 7 | 1 | 0 | 1 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 57 | 0 | 1 | 4 | 0 | 0 | 2 | 12 | 1 | 0 | 0 | 97
3078 | Mordiford C E | % | 3.0928 | 0 | 7.2165 | 1.0309 | 0 | 1.0309 | 8.2474 | 0 | 0 | 0 | 0 | 0 | 0 | 58.7629 | 0 | 1.0309 | 4.1237 | 0 | 0 | 2.0619 | 12.3711 | 1.0309 | 0 | 0 | 100
3325 | St Mary’s C E, Fownhope | Number | 2 | 0 | 2 | 1 | 0 | 7 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 9 | 0 | 0 | 55 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 78
3325 | St Mary’s C E, Fownhope | % | 2.5641 | 0 | 2.5641 | 1.2821 | 0 | 8.9744 | 0 | 0 | 0 | 1.2821 | 0 | 0 | 0 | 11.5385 | 0 | 0 | 70.5128 | 0 | 0 | 0 | 0 | 1.2821 | 0 | 0 | 100

## Disability access
Physical Accessibility Rating | 3
Information from https://www.herefordshire.gov.uk/education-and-learning/schools/directory
Ratings and descriptions
Rating | Details | Description
3 | Fully accessible | Will meet the needs of all disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling); Has a full hygiene room and special educational needs or therapy room for pupils who need more assistance with personal care (including hoisting) and regular physio or other treatment
2 | Mainly accessible | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
1 | Partly accessible | Some standards met but some areas not accessible
0 | Inaccessible | No level access into building and/or no disabled toilet
Summary of physical accessibility standards
Level access into building(s): Main and pupil entrance(s) level, with ramps and hand rails as required
Level access to all curriculum and social areas (not necessarily entire building/site): including assembly hall, canteen (may be achieved by sensitive organisation and timetabling)
Access to upper floors: if required - lift(s) as alternative to steps or stairs
Toilet facilities: small disabled toilet(s) as specified by building regulations - suitable for most disabled pupils. A small number of pupils will require enhanced facilities (hygiene room) to provide greater assistance, including hoisting.
Medical, therapy or SEN room: multi-purpose or flexible use - usually required in addition to a hygiene room, for regular physio and other physical programmes
Emergency evacuation: routes should be level and unobstructed. Evacuation must be documented (using Personal Emergency Evacuation Plans - PEEPs) and practised regularly