## Cover Page
Madley Primary School
Summary Report
Contents
|  | Section | Page | No. of pages
Madley Primary School |  | Summary Data | 3 | 1
Summary Report |  | General Information and Asset Summary | 4 | 1
|  | Maintenance and Condition Summary | 5 | 2
|  | Education Funding Agency Condition Survey Data | 7 | 1
Schools Capital Investment Strategy |  | Suitability and Compliance Summary | 8 | 2
|  | School Occupancy Summary | 10 | 1
|  | School Statistics | 11 | 1
|  | Environmental Sustainability Condition | 12 | 1
|  | Parental Preference | 13 | 1
|  | Distribution of Children Attending School or Resident in its Catchmnet Area | 14 | 1
|  | Distribution of Children Attending School or Where it is the Nearest School | 15 | 1
|  | Key Services Within 2 Mile Radius of School | 16 | 1
|  | Key Services Adjacent to School | 17 | 1
|  | Disability Access | 18 | 1
Children's Wellbeing
Herefordshire Council
Plough Lane Offices
Plough Lane
HEREFORD
HR4 0LE

## Summary Info
Madley Primary School
Summary Report
Summary of Headline Information
Asset Summary | [5 empty] | Occupancy Summary
Gross Site Area (M2)(whole site including building):- |  | 8356.27 |  |  |  | Current Capacity (PAN 26):- |  |  |  | 182
Insurance Asset Value (£000):- |  | 1390362.9944 |  |  |  | Allocated Capacity Size (PAN 30):- |  |  |  | 210
Land Asset Value (£000):- |  | 350080 |  |  |  | Current Occupancy:- |  |  |  | 207
Land Ownership:- | Owned by the Local Authority |  |  |  |  | Current Planned Admission No.:- |  |  |  | 26
[6 empty] | Current Number Over Capacity:- |  |  |  | 25
[6 empty] | Current Number Under Capacity:- |  |  |  | 0
Maintenance Expenditure Required on the School over a 5 Year Period Summary
Survey Date:- |  |  |  | 2014-06-30
Backlog Maintenance Total (£000):- | [6 empty] | Not Available
Total Forecast Expenditure (5 years) (£000):- | [6 empty] | 456.6084
Total Potential Local Authority Forecast Expenditure (£000):- | [6 empty] | 432.9226
Total Potential School Forecast Expenditure (£000):- | [6 empty] | 23.6858
Suitability and Compliance
Required Number of Classrooms:- | [6 empty] | 7 | Required Building Footprint (M2):- |  | 1225
Actual Number of Classrooms:- | [6 empty] | 7 | Current Building Area (M2):- |  | 909.814
Percentage of Classrooms that are the Recommended Size:- | [6 empty] | 28.5714 | Area Shortfall (M2):- |  | 315.186
Compliance Percentage of Recommended Hall Size:- | [6 empty] | 77.8444 | Area Surplus (M2):- |  | 0
Number of Temporary Buildings on Site:- |  |  |  |  | 2 |  |  | Total Percentage Compliance:- |  | 74.2705
Number of Classrooms in Temporary Buildings:- |  |  |  |  | 1
Compliance Percentage of Recommended Reception Toilets:- | [6 empty] | 100 | Required Net Site Area (M2):- |  | 8891
Compliance Percentage of Recommended Other Pupil Toilets:- | [6 empty] | 80 | Current Net Site Area (M2):- |  | 7446.456
Nursery on Site:- | Yes | [6 empty] | Area Shortfall (M2):- |  | 1444.544
[8 empty] | Area Surplus (M2):- |  | 0
[8 empty] | Total Percentage Compliance:- |  | 83.7527
Disability Access
Rating:- | 2 |  | Details:- |  |  |  | Mainly accessible
Environmental Sustainability Condition
DEC Rating:- |  |  |  |  | D
Electric Consumption 2014/Child:- |  |  |  |  | 128.3019
Gas Consumption 2014/Child:- |  |  |  |  | 368.6813
School Statistics
Ofsted Results:- | [8 empty] | Good
Percentage of Children Achieving KS2 Level 4 or Above in Reading, Writing and Maths in 2014:- | [8 empty] | 71
Parental Preference (2014)
Percentage of Parental First Preference Applications:- | [6 empty] | 138.4615
Total Number of Children within Catchment:- | [6 empty] | 126
Total Number of Children at School from Catchment:- | [6 empty] | 99
Percentage of Catchment at School:- | [6 empty] | 46.6981
Percentage of Catchment Going to School:- | [6 empty] | 78.5714

## Report
|  |  | Madley Primary School | [6 empty] | Madley Primary School | [14 empty] | Madley Primary School | [7 empty] | Madley Primary School |  |  |  |  | Madley Primary School |  | Madley Primary School |  |  |  |  | Madley Primary School | [5 empty] | Madley Primary School |  |  | Madley Primary School | [8 empty] | Madley Primary School |  | Madley Primary School |  | Madley Primary School |  | Madley Primary School |  | Madley Primary School |  |  | Madley Primary School
|  |  | Summary Report | [6 empty] | Summary Report | [14 empty] | Summary Report | [7 empty] | Summary Report |  |  |  |  | Summary Report |  | Summary Report |  |  |  |  | Summary Report | [5 empty] | Summary Report |  |  | Summary Report | [8 empty] | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  |  | Summary Report
General Information |  |  |  | Maintenance and Condition Summary | [21 empty] | Education Funding Agency Condition Survey Data | [7 empty] | Suitability and Compliance Summary |  |  |  |  | Suitability and Compliance Summary (continued) |  | School Occupancy Summary |  |  |  |  | School Statistics | [5 empty] | Environmental Sustainability Condition |  |  | Parental Preference | [8 empty] | Distribution of Children Attending School or Resident in its Catchment Area |  | Distribution of Children Attending School or Where it is the Nearest School |  | Key Services Within 2 Mile Radius of School |  | Key Services Adjacent to School |  | Disability Access
Maintenance and Condition Summary (continued)
School Name:- | Madley Primary School |  |  | Survey Date:- | 2014-06-30 |  | Survey Company:- |  | Hub |  | Key Elements and Annual Forecast Maintenance Costs and Responsibilities | [14 empty] | Date of Survey:- |  | 2013-05-14 | [5 empty] | Areas | Standard Criteria (M2) (PAN 30) | Schools Compliance (M2) | Compliance Percentage |  |  |  | Current Planned Admission No. (PAN) | Current School Capacity | Maximum PAN | Maximum Capacity Based on PAN |  | Year | KS2 Year on Year Results |  |  |  |  | Electric Consumption 2014/Child:- | 128.3019 |  |  | Parental First Preference Applications | [15 empty] | Physical Accessibility Rating
Head Teacher:- | Mr L Batstone | DFE Number:- | 2104 | Year | Forecast Maintenance Costs (£ 000) | [5 empty] | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows and Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | Number of Occurences Identified Within the Report | [7 empty] | Basic Teaching Space | 434 | 438.16 | 100.9585 |  |  |  | 26 | 182 | 29 | 203 |  |  | School - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | LA - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | All Schools in England - Percentage Achieving Level 4 or Above in Reading, Writing and Maths |  |  | Gas Consumption 2014/Child:- | 368.6813 |  |  | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | [10 empty] | Rating: | 2
Leadership:- | Stand Alone | [24 empty] | Rating (see key below) | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other | Hall and Studio | 180 | 140.12 | 77.8444 | [17 empty] | PAN | 24 | 24 | 24 | 26 | 26 | 26
Address:- | Madley Primary School, Hereford HR2 9PH | Email:- | admin@madley.hereford.sch.uk | Backlog | Not Available | [5 empty] | £ 000 | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | [8 empty] | Storage | 98 | 86.43 | 88.1939 |  |  |  | Historical Numbers on Roll Data (Spring Census) | [13 empty] | Number | 34.8 | 30 | 22.08 | 28.86 | 32.006 | 36 | [10 empty] | Details: | Mainly accessible
|  |  |  | 2015-06-30 | 1.6572 |  |  | Not Available |  |  | Backlog | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | C1 | [7 empty] | Staff and Admin | 101 | 78.06 | 77.2871 |  |  |  | Year | Total NOR | Capacity Based on PAN | Shortfall | Surplus | 2012 | 50 | 71 | 75 | [5 empty] | Percentage | 145 | 125 | 92 | 111 | 123.1 | 138.4615
|  |  |  | 2016-06-29 | 24.6292 |  |  | 1.6572 |  |  | 2015-06-30 | 0.15298 | 0 | 0.10198 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4023 | 0 | 0 | 0 | C2 |  |  | 2 | 2 |  | 5 |  | Learning Resource | 87 | 35.58 | 40.8966 |  |  |  | 2008 / 2009 | 172 | 168 | 4 | 0 | 2013 | 77 | 71 | 75 | [22 empty] | Description: | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
|  |  |  | 2017-06-29 | 200.0674 |  |  | 24.6292 |  |  | 2016-06-29 | 0.15298 | 0 | 0.81587 | 0 | 0 | 0 | 0.050992 | 0 | 0 | 0 | 1.1728 | 22.4365 | 0 | 0 | D1 | [7 empty] | Supplementary Area | 0 | 0 | - |  |  |  | 2009 / 2010 | 185 | 168 | 17 | 0 | 2014 | 71 | 76 | 79 | [5 empty] | Historical Catchment Analysis (Spring Census)
Telephone No.:- | T: 01981 250241 F: 01981 252071 | School Cluster:- | Kingstone District- Kingstone High School | 2018-06-29 | 32.5074 |  |  | 200.0674 |  |  | 2017-06-29 | 0.15298 | 0 | 3.1615 | 141.248 | 1.5298 | 3.0595 | 1.6827 | 0 | 3.9774 | 30.5952 | 1.4023 | 13.2579 | 0 | 0 | D2 | [7 empty] | Non Net Area | 325 | 131.464 | 40.4505 |  |  |  | 2010 / 2011 | 195 | 168 | 27 | 0 | [9 empty] | Catchment Analysis |  |  |  | 2010 | 2011 | 2012 | 2013 | 2014
|  |  |  | 2019-06-29 | 197.7472 |  |  | 32.5074 |  |  | 2018-06-29 | 0.15298 | 0 | 1.2238 | 0 | 0 | 8.1587 | 0 | 0 | 0 | 21.4167 | 1.5553 | 0 | 0 | 0 | D3 | [7 empty] | Total Gross Building Area | 1225 | 909.814 | 74.2705 |  |  |  | 2011 / 2012 | 194 | 182 | 12 | 0 | KS2 Test Results and Progress (2014) | [11 empty] | Total in Catchment | 124 | 122 | 114 | 121 | 126
[8 empty] | 197.7472 |  |  | 2019-06-29 | 0.15298 | 0 | 1.3258 | 30.5952 | 0.76488 | 101.9841 | 0 | 0 | 1.2748 | 29.5754 | 1.4788 | 30.5952 | 0 | 0 | [15 empty] | 2012 / 2013 | 204 | 182 | 22 | 0 | [12 empty] | Number at School from Catchment | 102 | 106 | 98 | 103 | 99
School Type:- | Community | Building Number:- | YEAT | Total | 456.6084 | [5 empty] | Totals | 0.76488 | 0 | 6.629 | 171.8433 | 2.2946 | 113.2024 | 1.7337 | 0 | 5.2522 | 81.5873 | 7.0114 | 66.2897 | 0 | 0 | *Note the information noted above has been extracted from the EFA survey focusing on elements that are C & D rated. Items with an A or B rating have been excluded. The numbers reference the quantity of elements that the survey has picked up within the relevant category | [7 empty] | Total Gross Site Area | 10116 | 8356.27 | 82.6045 |  |  |  | 2013 / 2014 | 212 | 182 | 30 | 0 | Pupils eligible for KS2 assessment |  |  |  | 31 | [7 empty] | Percentage at School from Catchment | 55.1351 | 54.359 | 50.5155 | 50.4902 | 46.6981
Current Capacity:- | 182 | Site Area:- | 8356.27 | [30 empty] | Net Site Area (less the building area) | 8891 | 7446.456 | 83.7527 |  |  |  | Current Occupancy | 207 | 182 | 25 | 0 | Percentage achieving level 3 or below in reading, writing and maths |  |  |  | 10 | [7 empty] | Percentage of Catchment Going to School | 82.2581 | 86.8852 | 85.9649 | 85.124 | 78.5714
[11 empty] | Total Potential Expenditure - Local Authority (£000) | [6 empty] | 432.9226 | [27 empty] | Percentage achieving level 4 or above in reading, writing and maths |  |  |  | 71
|  |  |  | Key Elements of Forecast Maintenance | [29 empty] | Key Information (based on Building Bulletin 103) | [6 empty] | Current Occupancy Summary (Autumn Census 2014) |  |  |  |  | Percentage achieving level 4B or above in reading and maths and level 4 or above in writing |  |  |  | 52 |  |  |  |  | Catchment and Nearest School Comparison (Autumn Census 2014)
|  |  |  | Categories |  | Totals (£ 000) | [19 empty] | Key | [7 empty] | Required Number of Classrooms |  |  |  | 7 |  |  | Year Group | NOR | Shortfall | Surplus |  | Percentage achieving level 5 or above in reading, writing and maths |  |  |  | 23 | [7 empty] | Catchment vs Nearest School | Catchment | Nearest
|  |  |  | External Grounds |  | 0.76488 |  |  |  |  | Total Potential Expenditure - School (£000) | [6 empty] | 23.6858 | [7 empty] | Condition grade | Definition |  |  |  | Priority rating | Definition |  | Number of Classrooms |  |  |  | 7 |  |  | Reception | 30 | 4 | 0 |  | Percentage making expected progress in reading |  |  |  | 83 | [7 empty] | NOR | 207 | 207
|  |  |  | Roof Works |  | 178.4722 | [27 empty] | Percentage of Classrooms that are the Recommended Size |  |  |  | 28.5714 |  |  | One | 29 | 3 | 0 |  | Percentage making expected progress in writing |  |  |  | 90 | [7 empty] | Total in Area | 134 | 108
|  |  |  | External Walls |  | 115.497 | [19 empty] | A Good | Performing as intended and operating efficiently |  |  |  | 1 | Immediate or year 1 remedial action required |  | Percentage of Classrooms that are Classed as Small |  |  |  | 71.4286 |  |  | Two | 32 | 6 | 0 |  | Percentage making expected progress in maths |  |  |  | 90 | [7 empty] | Number at School from Area | 101 | 85
|  |  |  | Windows and Doors |  | 1.7337 | [27 empty] | Number of Temporary Buildings on Site |  |  |  | 2 |  |  | Three | 26 | 0 | 0 |  | Average point score |  |  |  | 28.6 | [7 empty] | Percentage at School | 48.7923 | 41.0628
|  |  |  | Internal Works |  | 86.8395 | [19 empty] | B Satisfactory | Performing as intended but exhibiting minor deterioration |  |  |  | 2 | Year 1-2 remedial action required |  | Number of Classrooms in Temporary Buildings |  |  |  | 1 |  |  | Four | 30 | 4 | 0 | [13 empty] | Percentage of area going to School | 75.3731 | 78.7037
Asset Summary |  |  |  | Mechanical and Electrical |  | 73.3011 | [27 empty] | Percentage of Recommended Reception Toilets |  |  |  | 100 |  |  | Five | 31 | 5 | 0 |  | Latest Ofsted Report Date:- |  | 2014-11-12
|  |  |  | Other (e.g. ancillary buildings) |  | 0 | [19 empty] | C Poor | Exhibiting major defects and/or not operating as intended |  |  |  | 3 | Year 3-5 remedial action required |  | Percentage of Recommended Other Pupil Toilets |  |  |  | 80 |  |  | Six | 29 | 3 | 0 |  | Ofsted Result:- |  | Good
Asset Value - Insurance (£000):- |  | 1390.363 | [38 empty] | Total | 207 | 25 | 0
Asset Value - Land (£000):- |  | 350.08 | [23 empty] | D Bad | Life-expired and/or at serious risk of imminent failure | [11 empty] | Category | Areas Included
[39 empty] | Basic Teaching Spaces | General Classrooms, ICT Rooms, Practical Areas
Land Owner:- |  | Owned by the Local Authority | [36 empty] | Hall and Studio | Halls, Dining Areas
[39 empty] | Storage | Coats and Bags, Teaching, Specialist, PE Equipment, Bulk Stock, Cleaning, Caretakers and Maintenance, Tables and Chairs, Staging, Mobility Equipment
Lease Agreement / Notes:- |  | Not Known | [36 empty] | Staff and Admin | Heads and Staff Offices, Staff Room, Staff PPA,Reprographics Room, Sick Bay, Interview and Meeting Rooms, Secure Entrance
Nursery Provision:- |  | PVI Nursery | [36 empty] | Learning Resource | Library, Small Group Rooms, SENCO Office, Medical Inspection Room
[39 empty] | Supplementary Area | Any other specialist area at the school e.g. Music Classroom, Swimming Pool, SEN Classrooms
[39 empty] | Non Net Area | Pupil and Staff Toilets, Accessible Toilets, Hygiene Room, Kitchen, Corridors, Server Room, Boilers
[39 empty] | Additional Area | Nursery provision

## Feedback
|  | Madley Primary School |  |  | Madley Primary School |  |  | Madley Primary School
|  | Feedback Form |  |  | Feedback Form |  |  | Feedback Form
General Information and Asset Summary |  |  | School Occupancy Summary |  |  | Parental Preference
Do you believe the data to be accurate? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Maintenance and Condition Summary |  |  | School Statistics |  |  | Disability Access
Do you believe the data to be a fair reflection of the maintenance and condition of the school? | [5 empty] | Do you believe the data to be a fair reflection of the environmental condition of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Suitability and Compliance Summary |  |  | Environmental Sustainability Condition |  |  | Any Other Comments
Do you believe the data to be a fair reflection of the suitability and compliance issues faced by the school? | [5 empty] | Additional comments about the information provided:
Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments:
If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920
Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015

## Asset summary
Building ref number:- | YEAT
Site Area:- | 8356.27
Asset Value (Insurance):- | 1390362.9944
Asset Value (Land):- | 350080
Land owner:- | Owned by the Local Authority
Lease agreement / notes:- | Not Known
DEC rating:- | D
Electric consumption 2014/child:- | 128.3019
Gas consumption 2014/child:- | 368.6813

## Maintenance
Maintenance & Condition Summary |  |  |  | BCIS Quarter | 2Q2014 | [11 empty] | Check | Main year totals | Summary year totals | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows & Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | BCIS quarter | BCIS uplift
Year survey undertaken |  | 2014-06-30 |  | BCIS Uplift | 1.0198 | [15 empty] | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | 1Q2009 | 1.1525
Survey company:- |  | Hub | [15 empty] | 0 | 0 | Backlog | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2Q2009 | 1.1898
[18 empty] | 1657.2421 | 1657.2421 | 2015-06-30 | 152.9762 | 0 | 101.9841 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1402.2817 | 0 | 0 | 0 | 3Q2009 | 1.1898
[18 empty] | 24629.1667 | 24629.1667 | 2016-06-29 | 152.9762 | 0 | 815.873 | 0 | 0 | 0 | 50.9921 | 0 | 0 | 0 | 1172.8175 | 22436.5079 | 0 | 0 | 4Q2009 | 1.2123
|  |  |  | Year covered? | N | Y | Y | Y | Y | Y | School Costs | [6 empty] | 200067.3611 | 200067.3611 | 2017-06-29 | 152.9762 | 0 | 3161.5079 | 141248.0159 | 1529.7619 | 3059.5238 | 1682.7381 | 0 | 3977.381 | 30595.2381 | 1402.2817 | 13257.9365 | 0 | 0 | 1Q2010 | 1.2297
Category | Ref | Element | Recommended Works | Estimated Work Cost | Backlog | 2015-06-30 | 2016-06-29 | 2017-06-29 | 2018-06-29 | 2019-06-29 | Backlog | 2015-06-30 | 2016-06-29 | 2017-06-29 | 2018-06-29 | 2019-06-29 |  | 32507.4405 | 32507.4405 | 2018-06-29 | 152.9762 | 0 | 1223.8095 | 0 | 0 | 8158.7302 | 0 | 0 | 0 | 21416.6667 | 1555.2579 | 0 | 0 | 0 | 2Q2010 | 1.1789
[18 empty] | 197747.2222 | 197747.2222 | 2019-06-29 | 152.9762 | 0 | 1325.7937 | 30595.2381 | 764.881 | 101984.127 | 0 | 0 | 1274.8016 | 29575.3968 | 1478.7698 | 30595.2381 | 0 | 0 | 3Q2010 | 1.1735
r | Roofs | Flat | Uninsulated high tensile felt roof with felt upstands and lead cover flashings to Block BB. Minor detachment of flashings on South East corner, areas of standing water due to poor falls. No insulation to this roof section means that, it is obviously prone to high heat losses and there are minimal vents to ventilate the sub-roof void. Re-cover and upgrade by year 5 | 75000 |  |  |  | 75000 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2010 | 1.1682
r | Roofs | Pitched | Uninsulated high tensile multi-pitch roof to Central Hall area with lead ridge flashing, upstand felt dressings to Block BA. Mushroom vents, again to ventilate sub- roof void. | 35000 |  |  |  | 35000 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Individual Category totals | 764.881 | 0 | 6628.9683 | 171843.254 | 2294.6429 | 113202.381 | 1733.7302 | 0 | 5252.1825 | 81587.3016 | 7011.4087 | 66289.6825 | 0 | 0 | 1Q2011 | 1.1735
r | Roofs | Roof lights | Double skin plastic flush and profiled roof lights on North elevation of central pitch. Nuralite repairs in places, generally obscured due to UV degradation and moss growth which has led to diminishment of light. Recommend replace with modern translucent material. When roof is re-covered. | 3500 |  |  |  | 3500 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2011 | 1.1525
r | Roofs | Roof lights | 8 no. pitched double skin plastic roof lights with aluminium frame, raised kerbs dressed with felt. Plastic roof lights generally obscured due to UV degradation and moss growth, which is obscuring majority of daylight. Replace when roof is recovered. | 8500 |  |  |  | 8500 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Summary category totals | Main category totals | Check | [11 empty] | 3Q2011 | 1.1682
r | Roofs | Roof Drainage | Internal felt outlets to pitched roof, missing cages, discharging onto flat roof with felt lined perimeter gutters, generally blocked with standing water as a result of inadequate falls. Address with any new roof works | 1500 |  |  |  | 1500 |  |  | 0 | 0 | 0 | 1500 | 0 | 0 | [18 empty] | 4Q2011 | 1.1525
r | Roofs | Other | 2 no. ‘JE Storkair’ ventilation cowls with lead cheeks. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | External Grounds |  | 764.881 | 764.881 | [12 empty] | 1Q2012 | 1.1953
r | Roofs | Other | 2 no. galvanised steel vents, corrosion to cover plates. Replace with any new roof works | 1000 |  |  |  | 1000 |  |  | 0 | 0 | 0 | 1000 | 0 | 0 |  |  | Roof Works |  | 178472.2222 | 178472.2222 | [12 empty] | 2Q2012 | 1.1174
r | Roofs | Other | Deep painted cement fibre fascia boards at high level to pitched roof (possibly of asbestos content). Should be considered for removal and replacement with any major re-roofing works. | 12000 |  |  |  | 12000 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | External Walls |  | 115497.0238 | 115497.0238 | [12 empty] | 3Q2012 | 1.1525
r | Roofs | Other | Uninsulated high tensile felt roof to Boiler Room housing with welted felt drip. Replace within 5 years | 1200 | [5 empty] | 1200 | 0 | 0 | 0 | 0 | 0 | 1200 |  |  | Windows & Doors |  | 1733.7302 | 1733.7302 | [12 empty] | 4Q2012 | 1.1473
r | Roofs | Other | Approx. 750mm deep painted cement fibre fascias fixed to softwood wall plates, couple of areas of wet rot at base of fascias, particularly juxtaposition of downpipes. Consider for replacement within 5 years. | 30000 | [5 empty] | 30000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Internal Works |  | 86839.4841 | 86839.4841 | [12 empty] | 1Q2013 | 1.0983
r | Roofs | Other | A lean-to timber canopy is fixed to the southern & western elevation, ensure creeping plants are managed and timber treated on a regular basis, to prevent damage to adjoining roofline. Some water damage was observed to this connection detail | 1000 |  | 100 | 100 | 100 | 600 | 100 | 0 | 100 | 100 | 100 | 600 | 100 |  |  | Mechanical & Electrical |  | 73301.0913 | 73301.0913 | [12 empty] | 2Q2013 | 1.089
e | Redecoration | External | Painted deep cement fibre fascias to pitched roof. | 3000 |  |  |  |  | 3000 |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Other |  | 0 | 0 | [12 empty] | 3Q2013 | 1.0983
e | Redecoration | External | Painted rendering and fascias generally (possibility of asbestos content to fascias means that redecoration is difficult to apply as substrate cannot be suitably prepared - possibly justify replacement with GRP or similar modern material). | 5000 |  |  |  |  | 5000 |  | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2013 | 1.0798
e | External walls, windows and doors | Walls (including finishes) | Load bearing cavity masonry walling with external facing brickwork or rendering in part to North elevation and at high level to Boiler Room. Loose render has been patch repaired in recent years. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Total |  | 456608.4325 | 456608.4325 | CHECK | Same numbers accepted LG 20/03/2015 | [10 empty] | 1Q2014 | 1.0447
e | External walls, windows and doors | Walls (including finishes) | Painted exposed blockwork on North elevation in poor repair, particularly round Reception Classrooms. Allow for redecoration and making good of corroded angle bead to render finish. | 1500 |  |  |  | 1500 |  |  | 0 | 0 | 0 | 1500 | 0 | 0 | [18 empty] | 2Q2014 | 1.0198
w | External walls, windows and doors | Windows & Doors | Double glazed powder coated aluminium windows with top hung opening lights. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 3Q2014 | 1.028
w | External walls, windows and doors | Windows & Doors | Double glazed hardwood window to Reception Office. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2014 | 1.0078
w | External walls, windows and doors | Windows & Doors | Half-glazed powder coated aluminium | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 1Q2015 | 1
w | External walls, windows and doors | Windows & Doors | Timber louvered doors to Boiler Room in poor disrepair generally with extensive wet rot to frames and poor decoration. Allow for renewal of doorset. | 1500 |  |  |  | 1500 |  |  | 0 | 0 | 0 | 1500 | 0 | 0
w | External walls, windows and doors | Glazed Screen & Curtain Walling | Double glazed powder coated aluminium curtain walling sections with vinyl coated lower infill panels and incorporating half- glazed timber doors with silver anodised aluminium door furniture and ‘Winkhouse’ turnlocks to designated fire exits. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Glazed Screen & Curtain Walling | Solar tinted film applied to Southern elevation of curtain walling. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | Fully glazed timber and glass side partitions to classrooms. Allow for cyclical decorations. | 5000 |  |  |  |  | 5000 |  | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Doors & Glazed Screens | Solid flush timber doors with vision panels, plastic finger guards fitted generally and door closers. Allow for decoration. | 2500 |  |  |  |  | 2500 |  | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Doors & Glazed Screens | Fully glazed timber door fitted with fire seals and finger guard to IT Room. Allow for decoration, cost included in line above. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Floors and stairs | Floors (including finishes) | Solid concrete floor with non-slip vinyl sheet to Library, Main Hall, carpet to classrooms, Library Area etc. Allow for phased replacement of floor coverings starting year 5. | 4000 | [5 empty] | 4000 | 0 | 0 | 0 | 0 | 0 | 0
i | Ceilings | All types | Uninsulated suspended ceiling to Main Hall incorporating translucent ceiling tiles below rooflight. Inspection of ceiling void above revealed no insulation to roof deck or ceiling with consequential high heat losses to this roof generally. Consider upgrade of insulation during any roof /or major refurbish works and replacement of suspended system. | 20000 |  |  |  | 20000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
i | Ceilings | All types | Plasterboard and skim to classrooms and all other areas. Some are also finished with Artex, Some minor damage through wear and tear noted, allow for repairs with next planned decoration. | 3500 |  |  |  |  | 3500 |  | 0 | 0 | 0 | 0 | 0 | 0
i | Ceilings | All types | Insulation works considered a priority due to large heat losses and the type of roof construction and general arrangement of light wells etc. | 5000 |  |  |  | 5000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
i | Ceilings | All types | Insulated suspended ceiling to IT Room comprising 600mm x 600mm mineral fibre tiles in exposed aluminium T section grid. Insulation does appear to have been fitted to the flat roof areas and possibly insulation improvements added to pitched roof areas. | 5000 |  |  |  | 5000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
i | Fixed furniture and fittings | All types | Various classroom units with sinks to wet areas. Allow for phased replacements after year 5 | 3000 | [5 empty] | 3000 | 0 | 0 | 0 | 0 | 0 | 0
i | Redecoration | Internal | Emulsion walls, stained internal joinery, emulsion ceilings. Allow for decorations. | 10000 |  |  |  |  | 10000 |  | 0 | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Fittings | Low level vitreous china toilets to Reception classrooms with stainless steel flush pipes. Generally number of WC facilities inadequate for number of children and it is understood that there are proposals to revamp the toilets with a possible extension. Some improvements have been made in recent years with refurbishment of existing facilities being undertaken. Allowance to be made for new facilities. | 30000 | [5 empty] | 30000 | 0 | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Waste Plumbing | Plastic wastes | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Boilers | 2 nr. gas fired boilers hung, CR remeha - Quinta-Pro, These have been replaced within the last 5 years and are in good order, allow for PPM checks to continue | 750 |  | 150 | 150 | 150 | 150 | 150 | 0 | 150 | 150 | 150 | 150 | 150
m | Mechanical services | Heating Distribution | Mild steel pipework to steel panel radiators and fan assisted convectors. Allow for PPM of convectors. | 500 |  | 100 | 100 | 100 | 100 | 100 | 0 | 100 | 100 | 100 | 100 | 100
m | Mechanical services | Heating Controls | Basic controls and timer in boiler room. Wall thermostats in classrooms. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Hot/Cold Water Distribution | Copper pipework. Electric water heaters in ablutions and store, allow for PPM of water heaters. | 250 |  | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50
m | Mechanical services | Ventilation | Local extract fans in ablutions. Allow for regular cleaning. | 150 |  |  | 75 |  | 75 |  | 0 | 0 | 75 | 0 | 75 | 0
m | Mechanical services | Gas Distribution | Gas supply to boilers. Rises in boiler room with motorised shut off valve. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Control Gear and Equipment | Intake and meters in room 40. Distribution boards in classrooms (rms. 23 & 29). Allow for PPM checks and 5 yearly inspection. | 750 |  | 150 | 150 | 150 | 150 | 150 | 0 | 150 | 150 | 150 | 150 | 150
m | Electrical services | Power and Associated Fittings | Flush PVC fittings on dado trunking in IT room (rm. 15). | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Lighting and Associated Fittings | Fluorescent baton and 2D luminaires of differing ages. All sound. Recessed luminaires in hall. Consider phased replacement of older fittings with more energy efficient units, especially in Hall as and when ceilings are replaced. | 8000 |  |  |  | 8000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Fire Alarms | Break glass call points and bells in rooms. In good condition but does not give adequate coverage of school, some detectors noted in hall. Review of system required and upgrade to new addressable and auto detection system to be given, FRA to be reviewed. Continue PPM checks of current system | 7550 |  | 100 | 7000 | 150 | 150 | 150 | 0 | 100 | 0 | 150 | 150 | 150
m | Electrical services | Security Alarms / CCTV | Passive infra red detectors in rooms 3, 15, 17, 23 & 29. Undertake PPM | 375 |  | 75 | 75 | 75 | 75 | 75 | 0 | 75 | 75 | 75 | 75 | 75
m | Electrical services | Communications Systems | Telephones in office (rm. 3) and classroom (rm. 29). | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Emergency Lighting | Exit' luminaires in classroom (rm. 22) operated by switch. Continue with PPM and review EM requirements, with any Fire Alarm works/lighting replacements. | 5250 |  | 50 | 50 | 5000 | 75 | 75 | 0 | 50 | 50 | 0 | 75 | 75
r | Roofs | Pitched | Pitched roofs with manmade slates with dry verge system and vented angle clay ridge tiles and/or lead capping. Some weathering noted to finish. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Roof lights | 3 no. lean-to dormer roof lights, again, with manmade slates, dry verge system and continuous ventilation beneath angled ridge tiles, with lead dormered cheeks, flashings. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Roof Drainage | Lead-lined central valley gutter discharging to aluminium gutters and downpipes. Allow for regular cleaning. | 1000 |  |  | 500 |  | 500 |  | 0 | 0 | 500 | 0 | 500 | 0
r | Roofs | Other | Double glazed powder coated fixed aluminium windows to large dormer projections at roof level. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Other | Painted fascias, verges and plywood soffits to projecting dormers at roof level. Allow for redecoration. | 2000 |  |  |  | 2000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Other | Painted verge and plywood soffits with open rafter feet exposed. Allow for redecoration. | 2500 |  |  |  | 2500 |  |  | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Other | Pine weather boarded soffits to main entrance. Allow for redecoration. | 500 |  |  |  | 500 |  |  | 0 | 0 | 0 | 500 | 0 | 0
e | Redecoration | External | Blistered paintwork to eaves and soffits of 3 no. projecting dormers at roof level. Allow for redecoration. | 3000 |  |  |  | 3000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
e | External walls, windows and doors | Walls (including finishes) | Load bearing cavity masonry walls, external facing brickwork, polythene damp proof course clearly evident 2 courses above external ground levels. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | External walls, windows and doors | Walls (including finishes) | Isolated rendered section adjacent main entrance, rendering stopped with Bellmouth drip 1-2 courses above external ground levels. Allow for redecoration. | 750 | [5 empty] | 750 | 0 | 0 | 0 | 0 | 0 | 750
e | External walls, windows and doors | External Structural Frame | Double glazed powder coated aluminium windows and doors. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Windows & Doors | Double glazed uPVC windows to toilets. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | External walls, windows and doors | Glazed Screen & Curtain Walling | Double glazed powder coated aluminium curtain walling section with trickle vents incorporating fully glazed door, all glazing to BS6206 and with push bar approved type emergency fasteners to external exits. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | External walls, windows and doors | Glazed Screen & Curtain Walling | Full height double glazed powder coated aluminium curtain walling sections incorporating double entrance doors to main entrance. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | Melamine-faced chipboard WC cubicles. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | Fully glazed timber side partitions to classroom entrance doors, all glazing to BS6206. Allow for redecoration. | 3000 | [5 empty] | 3000 | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | Plastered masonry internal walls. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Doors & Glazed Screens | Double glazed powder coated inner aluminium doors to draught Lobby, locking door furniture together with other classroom doors, generally loose and requiring periodic maintenance, suggesting design could have been improved. | 400 |  |  |  | 400 |  |  | 0 | 0 | 0 | 400 | 0 | 0
i | Internal walls and doors | Doors & Glazed Screens | Solid flush doors fitted with combined intumescent fire seals to Head’s Office and Staff Room with circular vision panels. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Doors & Glazed Screens | Fully glazed timber doors on circulation routes; all glazing to BS6206; fitted with combined in tumescent and smoke seals and ‘Price & Oliver’ silver anodised aluminium overhead closers. Allow for redecoration. | 5000 | [5 empty] | 5000 | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Doors & Glazed Screens | Finger guards protected to classroom doors. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Internal Structural Frame | Glulam post and beam structure supporting main entrance canopy. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Internal Structural Frame | Exposed main Glulam beams supported on masonry walls. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Floors and stairs | Floors (including finishes) | Solid concrete floor with non-slip vinyl sheet to toilet and cloakroom with coved up stand and welded perimeter seals. Allow for phased replacement of floor coverings from Year 5. | 3000 | [5 empty] | 3000 | 0 | 0 | 0 | 0 | 0 | 0
i | Floors and stairs | Floors (including finishes) | Solid concrete floor with carpet finish to classrooms with small sections of non-slip vinyl to wet areas within classrooms. Allow for phased replacement of floor coverings from Year 5. | 3000 | [5 empty] | 3000 | 0 | 0 | 0 | 0 | 0 | 0
i | Ceilings | All types | Plasterboard and skim ceilings to Cloakroom and Toilets. Allow for redecoration. | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0 | 500
i | Ceilings | All types | Plasterboard and skimmed ceilings following pitched roofline and all flat ceiling levels generally. Allow for redecoration. | 5000 | [5 empty] | 5000 | 0 | 0 | 0 | 0 | 0 | 0
i | Fixed furniture and fittings | All types | Timber and steel racking to Cloakroom area. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Fixed furniture and fittings | All types | Melamine-faced chipboard worktop and under-storage cupboard with inset stainless steel sinks to wet areas within classrooms. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Redecoration | Internal | Emulsion walls, ceiling, gloss internal joinery. Allow for redecoration. | 3000 | [5 empty] | 3000 | 0 | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Fittings | Low level vitreous china WC suites fitted with stainless steel tundish. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Fittings | 1 no. low level vitreous china WC suite to Staff Toilets. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Fittings | 1 no. wheelchair accessible WC suite fitted with grab rails to Part M. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Waste Plumbing | Plastic wastes. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating Distribution | Mild steel pipework to fan assisted convectors and radiators. Undertake PPM checks to convectors. | 500 |  | 100 | 100 | 100 | 100 | 100 | 0 | 100 | 100 | 100 | 100 | 100
m | Mechanical services | Heating Controls | Wall thermostats in classrooms (rms. 10 & 11). | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Hot/Cold Water Distribution | Copper pipework. Electric water heaters in ablutions. PPM checks required. | 375 |  | 75 | 75 | 75 | 75 | 75 | 0 | 75 | 75 | 75 | 75 | 75
m | Electrical services | Power and Associated Fittings | Flush PVC socket outlets. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Lighting and Associated Fittings | Fluorescent baton luminaires and 2D luminaires. Allow for relamping under PPM. | 500 |  | 100 | 100 | 100 | 100 | 100 | 0 | 100 | 100 | 100 | 100 | 100
m | Electrical services | Fire Alarms | Gent 3270 fire control panel in lobby. Break glass call points and bells throughout. This panel has zone control but not addressable. Review of system required and upgrade to new addressable and auto detection system to be given, FRA to be reviewed. Continue PPM checks of current system. | 12600 |  | 150 | 12000 | 150 | 150 | 150 | 0 | 150 | 0 | 150 | 150 | 150
m | Electrical services | Security Alarms / CCTV | Cotronic key pad in entrance. Passive infra red detectors throughout. Allow for PPM | 375 |  | 75 | 75 | 75 | 75 | 75 | 0 | 75 | 75 | 75 | 75 | 75
m | Electrical services | Communications Systems | Telephones in office. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Emergency Lighting | Some noted but review required. Continue with PPM and review EM requirements, with any Fire Alarm works/lighting replacements. | 3200 |  | 50 | 3000 | 50 | 50 | 50 | 0 | 50 | 0 | 50 | 50 | 50
r | Roofs | Flat | Insulated high tensile felt in 3 bays, 2 no. construction joints with welted felt drip. Cut back overhanging trees to prevent roof damage. | 100 |  |  | 100 |  |  |  | 0 | 0 | 100 | 0 | 0 | 0
r | Roofs | Roof Drainage | Plastic rainwater goods generally. Allow for cleaning | 200 |  |  | 100 |  | 100 |  | 0 | 0 | 100 | 0 | 100 | 0
e | Redecoration | External | Painted walls and stained doors | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | External walls, windows and doors | Walls (including finishes) | Steel frame on concrete pads, stippled paint effect panels. Delaminating unit end of life within 5 year period if not addressed. Cost for replacement classroom in a single unit. | 100000 | [5 empty] | 100000 | 0 | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Windows & Doors | Double glazed uPVC top hung windows (no restrictors). One seal noted as failed - replace. | 50 |  |  | 50 |  |  |  | 0 | 0 | 50 | 0 | 0 | 0
w | External walls, windows and doors | Windows & Doors | Half-glazed hardwood entrance door. Allow for decoration. | 75 |  |  |  | 75 |  |  | 0 | 0 | 0 | 75 | 0 | 0
w | External walls, windows and doors | Windows & Doors | Half-glazed flush timber fire exit door, wet rot damage to lower sections and around door furniture. Allow for decoration. | 75 |  |  |  | 75 |  |  | 0 | 0 | 0 | 75 | 0 | 0
w | External walls, windows and doors | Windows & Doors | ‘Listers’ push bar approved type emergency fasteners to designated fire exit. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | Timber boarded walls, taped joints, emulsion finish. Allow for decoration. | 1500 |  |  |  | 1500 |  |  | 0 | 0 | 0 | 1500 | 0 | 0
i | Internal walls and doors | Doors & Glazed Screens | Solid flush hardwood veneered internal doors, SAA door furniture. Allow for decoration. | 150 |  |  |  | 150 |  |  | 0 | 0 | 0 | 150 | 0 | 0
i | Floors and stairs | Floors (including finishes) | Suspended timber floor, vinyl sheet entrance lobby, carpet and part vinyl sheet to wet area within main classroom. Renew floor coverings by year 5. | 750 | [5 empty] | 750 | 0 | 0 | 0 | 0 | 0 | 750
i | Floors and stairs | Staircases (including finishes) | Stained timber ramp, balustrades and handrails. Allow for treatment of timbers and replacement of non slip surface to both ramp and fire escape stairs. Also include skirt to unit in this work. | 500 |  |  |  | 500 |  |  | 0 | 0 | 0 | 500 | 0 | 0
i | Ceilings | All types | Timber boarded ceilings, taped joints, emulsion finish. Allow redecoration. | 500 |  |  |  | 500 |  |  | 0 | 0 | 0 | 500 | 0 | 0
i | Redecoration | Internal | Emulsion walls, ceiling. | 850 |  |  |  | 850 |  |  | 0 | 0 | 0 | 850 | 0 | 0
m | Sanitary services | Fittings | Inset stainless steel sink with under- storage cupboard. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Waste Plumbing | Plastic wastes. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating Controls | Timer for heater control in store room (rm. 34). | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Gas Distribution | Gas pipe to single heater. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Other | Single stand alone gas heater. Allow for PPM | 250 |  | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50
m | Electrical services | Control Gear and Equipment | Distribution board in store. Allow for PPM and 5 yearly checks. | 250 |  | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50
m | Electrical services | Power and Associated Fittings | Flush PVC outlets. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Lighting and Associated Fittings | Fluorescent baton and 2D luminaires. Allow for PPM relamping. | 250 |  | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50
m | Electrical services | Electrical Heating | Electric heater in entrance. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Roads and Car Parks | Tarmac Staff and Visitor car parking at front. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Playing fields | Grassed playing fields - ensure regular GM undertaken. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Hard Playing Areas | Soft play area with playground equipment, with half-log border. Small section of rubberised surface adjacent to climbing wall. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Hard Playing Areas | Tarmaced hard play area at front. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Paths & Pedestrian Paved Areas | Perimeter concrete paviours around building, number cracked - approx. 5 no. to Classroom 3 entrance. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Paths & Pedestrian Paved Areas | Raised timber decking area with 1.2m high pale fencing. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Paths & Pedestrian Paved Areas | Small section of tarmac surfacing on West boundary, generally broken up with oak tree root action. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Paths & Pedestrian Paved Areas | Concrete paved access approx. 5 no. broken. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Soft Landscaping |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Walls, Fences and Gates | Mixture of timber panel fencing and coniferous hedgerow to South, East and West part boundaries enclosing grass play areas. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Walls, Fences and Gates | 1200mm high timber pale fencing to pond/conservation area. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Walls, Fences and Gates | 1.5m high galvanised square mesh fencing on angle iron post to rear neighbouring properties on North boundary. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Walls, Fences and Gates | 1.5m high timber panel fencing enclosing front hard play area. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Walls, Fences and Gates | 2m high galvanised square mesh fencing on galvanised square posts enclosing play area and bordering main access to entrance. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Ancillary Buildings | Timber canopy entrance on South elevation on steel ground posts and trellis roof. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Ancillary Buildings | 1 no. timber shed with felted roof. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g |  | Ancillary Buildings | 1 new timber outbuilding in good order being used as staff work/rest area | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Ancillary Buildings | 1 no. prefabricated concrete panelled garage with profiled cement fibre roofing (modern type), generally on concrete plinth, concrete base, plastic rainwater goods. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Ancillary Buildings | 2 no. timber sheds with felted lean-to roofs adjacent Boiler Room Store. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Ancillary Buildings | Steel with domed Perspex canopy roof to Bike Shelter. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Drainage | Separate drainage system with 100mm diameter vitrified clay drain runs with some partial replacement to new-build in 100mm plastic. Evidence of blockage to plastic runs and requiring periodic maintenance. | 750 |  | 150 | 150 | 150 | 150 | 150 | 0 | 150 | 150 | 150 | 150 | 150

## EFA Property
|  |  | EFA survey data | [6 empty] | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other
DFE | School | School Type | Date received | Condition rating C or D | Priority rating 1 or 2 | Element | Category | CCP rating
|  |  |  | c | 2 | External walls windows and doors, Walls- external finishes, Render, Main school | e | ec2 | C1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | c | 2 | External walls windows and doors, Windows and doors, Timber, Main school | w | wc2 | C2 | 0 | 0 | 2 | 2 | 0 | 5 | 0
|  |  |  | c | 2 | Mechanical services, Heat source and equipment, Generally, Main school | m | mc2 | D1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | c | 2 | Mechanical services, Heating distributions emitters and controls, Generally, Main school | m | mc2 | D2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | c | 2 | Redecoration, Extrnal walls, Painted, Main school | e | ec2 | D3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | c | 2 | Redecoration, External windows doors etc, Timber, Main school | w | wc2
|  |  |  | c | 2 | Mechanical services, Heat source and equipment, Generally, Main school | m | mc2
|  |  |  | c | 2 | Mechanical services, Heat source and equipment, Generally, Mobile | m | mc2
|  |  |  | c | 2 | Mechanical services, Heat source and equipment, Generally, Log cabin | m | mc2

## Suitability and Compliance
Space |  |  | BB103 suggested sizes
[6 empty] | Suitability Data | [8 empty] | Compliance Comparison |  |  | 1 | Form of entry | PAN | 30
Basic Teaching Spaces |  |  | No. of spaces | m2 | Total m2 | Plan ref | Space | [7 empty] | Total area | Shortfall | Surplus | 2012 | Date of last assessment
|  | Classroom - Year R | 1 | 62 | 62 | 19 | General classroom | 52.53 | [6 empty] | 52.53 | 9.47 | 0
|  | Classroom - Year 1 | 1 | 62 | 62 | 33 | General classroom | 48.49 | [6 empty] | 48.49 | 13.51 | 0 | 2 | No. Temp Buildings on Site
|  | Classroom - Year 2 | 1 | 62 | 62 | 22 | General classroom | 55.78 | [6 empty] | 55.78 | 6.22 | 0 | 1 | No. of Classrooms in Temporary Buildings
|  | Classroom - Year 3 | 1 | 62 | 62 | 23, 23a, 23b | General classroom | 53.84 | 6.77 | 7.15 |  |  |  |  | 67.76 | 0 | 5.76 | 7 | No. of Classrooms
|  | Classroom - Year 4 | 1 | 62 | 62 | 29, 42, 46 | General classroom | 51.99 | inc | inc |  |  |  |  | 51.99 | 10.01 | 0 | 7 | Required No. of Classroooms
|  | Classroom - Year 5 | 1 | 62 | 62 | 11, 11a | General classroom | 57.28 | 4.77 | [5 empty] | 62.05 | 0 | 0.05
|  | Classroom - Year 6 | 1 | 62 | 62 | 10, 10a | General classroom | 53.28 | 4.77 | [5 empty] | 58.05 | 3.95 | 0
|  | Practical area / food bay | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 28.57% | of classrooms are the recommended size
|  | ICT base | 0 | 0 | 0 | 15, 15a | IT room | 6.82 | 34.69 | [5 empty] | 41.51 | 0 | 41.51 | 71.43% | of classrooms are small
[5 empty] | 434 | [9 empty] | 438.16 | 43.16 | 47.32 | 101% | of the recommended basic teaching space required
[17 empty] | 390.84 | 90.06% | of the recommended basic teaching space required ignoring surplus
Halls and Studios | [17 empty] | 9.945% | shortfall in basic teaching space
| 1 | Main hall | 1 | 180 | 180 | 17 | Hall | 140.12 | [6 empty] | 140.12 | 39.88 | 0
[5 empty] | 180 | [9 empty] | 140.12 | 39.88 | 0 | 77.84% | of the recommended hall size
Storage | [17 empty] | 22.16% | shortfall in hall size
| 1 | Coat and bag storage - Year R | 1 | 3 | 3 | 20 | Cloakroom | 8.21 | [6 empty] | 8.21 | 0 | 5.21
| 2 | Coat and bag storage - Year 1 | 1 | 3 | 3 | 35 | Cloakroom | 10.51 | [6 empty] | 10.51 | 0 | 7.51
| 3 | Coat and bag storage - Year 2 | 1 | 3 | 3 | 21a | Cloakroom | 6.46 | [6 empty] | 6.46 | 0 | 3.46
| 4 | Coat and bag storage - Year 3 | 1 | 3 | 3 | 25 | Cloakroom (shared) | 3.95 | [6 empty] | 3.95 | 0 | 0.95
| 5 | Coat and bag storage - Year 4 | 1 | 3 | 3 | 25 | Cloakroom (shared) | 4 | [6 empty] | 4 | 0 | 1
| 6 | Coat and bag storage - Year 5 | 1 | 3 | 3 | 12 | Cloakroom (shared) | 10 | [6 empty] | 10 | 0 | 7
| 7 | Coat and bag storage - Year 6 | 1 | 3 | 3 | 12 | Cloakroom (shared) | 13.85 | [6 empty] | 13.85 | 0 | 10.85
| 8 | Teaching storage - Year R | 1 | 2 | 2 | 41 | Store room | 3.8 | [6 empty] | 3.8 | 0 | 1.8
| 9 | Teaching storage - Year 1 | 1 | 2 | 2 | 34 | Store room | 2.62 | [6 empty] | 2.62 | 0 | 0.62
| 10 | Teaching storage - Year 2 | 1 | 2 | 2 | 21 | Store room | 3.72 | [6 empty] | 3.72 | 0 | 1.72
| 11 | Teaching storage - Year 3 | 1 | 2 | 2 | [9 empty] | 0 | 2 | 0
| 12 | Teaching storage - Year 4 | 1 | 2 | 2 | [9 empty] | 0 | 2 | 0
| 13 | Teaching storage - Year 5 | 1 | 2 | 2 | [9 empty] | 0 | 2 | 0
| 14 | Teaching storage - Year 6 | 1 | 2 | 2 | [9 empty] | 0 | 2 | 0
| 15 | Specialist walk in stores | 3 | 5 | 15 | [9 empty] | 0 | 15 | 0
| 18 | Indoor PE equipment storage | 1 | 18 | 18 | 18, 18a, 47, 48 | Store room | 4.02 | 6.7 | 4 | 3 |  |  |  | 17.72 | 0.28 | 0
| 19 | Outdoor PE equipment storage | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0
|  | Bulk stock store | 1 | 4 | 4 | [9 empty] | 0 | 4 | 0
| 21 | Caretakers and maintenance store | 1 | 5 | 5 | [9 empty] | 0 | 5 | 0
| 22 | Cleaning store | 1 | 3 | 3 | 6 | Cleaners store room | 1.59 | [6 empty] | 1.59 | 1.41 | 0
| 23 | Table and chair store | 1 | 12 | 12 | [9 empty] | 0 | 12 | 0
| 25 | Staging/ appliance store | 1 | 4 | 4 | [9 empty] | 0 | 4 | 0
|  | Mobility equipment store | 1 | 2 | 2 | [9 empty] | 0 | 2 | 0
| 24 | Store for community | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0
[5 empty] | 98 | [9 empty] | 86.43 | 51.69 | 40.12 | 88.19% | of the recommended storage space required
Staff and admin | [17 empty] | 52.74% | shortfall
| 1 | Heads office | 1 | 12 | 12 | 44 | Heads office | 8.18 | [6 empty] | 8.18 | 3.82 | 0
| 3 | Staff room work and social | 1 | 33 | 33 | 38, 38a | Staffroom | 36 | 3.96 | [5 empty] | 39.96 | 0 | 6.96
|  | Staff PPA | 1 | 10 | 10 | [9 empty] | 0 | 10 | 0
| 4 | Senior management office | 1 | 10 | 10 | [9 empty] | 0 | 10 | 0
| 7 | General office (reception) | 1 | 12 | 12 | 4 | Reception (office) | 17.55 | [6 empty] | 17.55 | 0 | 5.55
| 8 | Secure reception | 1 | 4 | 4 | 1 | Entrance | 12.37 | [6 empty] | 12.37 | 0 | 8.37
| 9 | Reprographics room | 1 | 8 | 8 | [9 empty] | 0 | 8 | 0
| 10 | Meeting room | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0
| 11 | Sick bay | 1 | 3 | 3 | [9 empty] | 0 | 3 | 0
| 13 | Interview room | 1 | 9 | 9 | [9 empty] | 0 | 9 | 0
[5 empty] | 101 | [9 empty] | 78.06 | 43.82 | 20.88 | 77.29% | of the recommended staff and admin space required
Learning resource area | [17 empty] | 43.39% | shortfall
| 1 | Library (learning resource centre) | 1 | 30 | 30 | 16 | Library | 8.09 | [6 empty] | 8.09 | 21.91 | 0
| 3 | Small group room | 3 | 11 | 33 | [9 empty] | 0 | 33 | 0
| 5 | SENco office (SEN resource) | 1 | 12 | 12 | 3 | General office | 11.31 | [6 empty] | 11.31 | 0.69 | 0
| 2 | Medical inspection room/ Therapy room | 1 | 12 | 12 | 5 | MI room | 16.18 | [6 empty] | 16.18 | 0 | 4.18
[5 empty] | 87 | [9 empty] | 35.58 | 55.6 | 4.18 | 40.9% | of the recommended learning resource areas
Supplementary area | [17 empty] | 63.91% | shortfall
| 1 |  | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0
0
[15 empty] | 0 | 0 | 0 | - | of the recommended supplementary areas
Non net areas | [17 empty] | - | shortfall
| 1 | Reception toilets | 3 | 2 | 6 | 26, 27, 28 | Pupil wc (multi-sex)3 wc's | 1.86 | 1.9 | 1.88 |  |  |  |  | 5.64 | 0.36 | 0 | 3 | Number of reception toilets
| 1 | Pupils toilets | 10 | 2 | 20 | 13,14 | 6 wc's 2 urinals | 5.58 | 10.3 | [5 empty] | 15.88 | 4.12 | 0 | 8 | Number of other pupil toilets
| 2 | Staff toilets | 2 | 2 | 4 | 8 | Staff wc (multi-sex) | 2.87 | [6 empty] | 2.87 | 1.13 | 0 | 100% | % of recommended reception toilets
| 3 | Accessible toilet | 1 | 3 | 3 | 7 | Disabled w.c. | 3.34 | [6 empty] | 3.34 | 0 | 0.34 | 80% | % of recommended other pupil toilets
| 9 | Hygiene room | 1 | 12 | 12 | [9 empty] | 0 | 12 | 0
| 4 | Kitchen facilities (servery) | 1 | 28 | 28 | [9 empty] | 0 | 28 | 0
| 5 | Corridors | - | 22.5% | 202.5 | 2,2a,2b,9,9a,17a,17b | Corridors | 11.23 | 5.8 | 8.15 | 18.37 | 6.62 | 5.67 | 6.65 | 62.49 | 140.01 | 0
| 6 | Boiler room | 1 | 1.5% | 13.5 | 15B, 32 | Boiler and electrics | 1.49 | 7.95 | 0.67 |  |  |  |  | 10.11 | 3.39 | 0
| 7 | Server | in boiler | [11 empty] | 0 | 0 | 0
|  | Walls | - | 4% | 36 |  |  | 31.134 | [6 empty] | 31.134 | 4.866 | 0
[5 empty] | 325 | [9 empty] | 131.464 | 193.876 | 0.34 | 40.45% | of the recommended non net area
Additional area | [17 empty] | 59.65% | shortfall
|  | Nursery class | 1 | 62 | 62 | 50 | Community use | [7 empty] | 0 | 62 | 0
|  | Quiet room | 1 | 8 | 8 | [9 empty] | 0 | 8 | 0
|  | Nursery store room | 1 | 2 | 2 | 51 | Community use | [7 empty] | 0 | 2 | 0
|  | Nursery office | 1 | 8 | 8 | [9 empty] | 0 | 8 | 0
|  | Nursery cloakroom | 1 | 3 | 3 | 52 | Community use | [7 empty] | 0 | 3 | 0
|  | Nursery pupils toilets | 3 | 2 | 6 | 53 | Community use | [7 empty] | 0 | 6 | 0
|  | Nursery staff toilets | 1 | 2 | 2 | 54 | Community use | [7 empty] | 0 | 2 | 0
|  | Nursery entrance | 1 | 22.5% | 1.8675 | 55 | Community use | [7 empty] | 0 | 1.8675 | 0
[5 empty] | 92.8675 | [9 empty] | 0 | 92.8675 | 0 | 0% | of the recommended additional area
[18 empty] | 100% | shortfall
Total Net area |  |  |  |  | 900 | [9 empty] | 778.35
Total Non-Net area |  |  |  |  | 325 | [9 empty] | 131.464
Gross (total build) area - excluding nursery |  |  |  |  | 1225 | [9 empty] | 909.814 |  |  | 74.27% | of the recommended Gross area
Gross (total build) area - including nursery |  |  |  |  | 1317.8675 | [9 empty] | 909.814
Net Area Range |  |  |  |  | 1211.0-1345.0
Mid Range |  |  |  |  | 1278
Total Site Area Range |  |  |  |  | 8991.0-11241.0
Mid Range |  |  |  |  | 10116
2
3
4

## Occupancy
Sufficiency Data
Planned Admission Number | Current Capacity | Maximum PAN | Capacity based on max PAN
26 | 182 | 29 | 203
NOR Spring Census
| 2008 / 2009 | 2009 / 2010 | 2010 / 2011 | 2011 / 2012 | 2012 / 2013 | 2013 / 2014
NOR Jan | 172 | 185 | 195 | 194 | 204 | 212
Maximum Capacity | 168 | 168 | 168 | 182 | 182 | 182
Number of Surplus Places | 0 | 0 | 0 | 0 | 0 | 0
% of surplus places | 0 | 0 | 0 | 0 | 0 | 0
Current Numbers on Roll (from Autumn Census)
Year group | R | 1 | 2 | 3 | 4 | 5 | 6 | Total
Number | 30 | 29 | 32 | 26 | 30 | 31 | 29 | 207

## School stats
Current Ofsted | Year
Good | 2014-11-12
2014 KS2 Performance Tables last update : (15 Sep 2014)
Year on year comparisons
Percentage achieving Level 4 or above in reading, writing and maths | 2012 | 2013 | 2014
School | 50% | 77% | 71%
LA | 71% | 71% | 76%
England - All Schools | 75% | 75% | 79%
KS2 test results and progress
| All pupils | Low attainers | Middle attainers | High attainers
Pupils eligible for KS2 assessment | 31
Percentage of pupils achieving 3 or below in reading and maths test and writing TA | 10% | 17% | 10% | SUPP
Percentage of pupils achieving level 4 or above in reading and maths test and writing TA | 71% | 50% | 70% | SUPP
Percentage of pupils achieved level 4B or above in reading and maths test and level 4 in writing TA | 52% | 17% | 50% | SUPP
Percentage of pupils achieving level 5 or above in reading and maths test and writing TA | 23% | 0% | 20% | SUPP
Percentage of pupils making at least 2 levels of progress in reading | 83% | 100% | 75% | SUPP
Percentage of pupils making at least 2 levels of progress in writing TA | 90% | 83% | 90% | SUPP
Percentage of pupils making at least 2 levels of progress in maths | 90% | 83% | 90% | SUPP
Average point score | 28.6
Closing the Gap
| Disadvantaged pupils | Other pupils
Percentage of disadvantaged pupils achieving level 3 or below in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4B or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 5 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in reading | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in maths | SUPP | SUPP
Value Added measures
| Measure | Lower CI | Upper CI | Coverage
Overall value added measure | 100 | 99.1 | 100.8 | 94%
Reading value added measure | 99 | 98 | 99.9 | 94%
Writing TA value added measure | 100.1 | 99.2 | 101.1 | 94%
Maths value added measure | 100.4 | 99.3 | 101.4 | 94%
Subject level results
| Reading test | Maths test | Grammar, punctuation and spelling test | Writing TA
Percentage achieving level 3 or below | 26% | 10% | 32% | 16%
Percentage achieving Level 4 or above | 74% | 90% | 68% | 84%
Percentage achieving Level 4b or above | 58% | 71% | 48% | NA
Percentage achieving Level 5 or above | 35% | 52% | 32% | 32%
Pupil Absence last update : (11 Dec 2013)
| School | England - national (primary state-funded)
Overall absence: percentage | 4.9% | 4.8%
Persistent absence: around 15% + | 2.8% | 3.6%
Please note - this year the Department will publish full year 2013/14 absence data in the performance tables in March 2015 rather than just the autumn and spring term data in December as in previous years, and we will continue to do so in future years. This is because the full year data provides the most robust indication of school absence rates.
School level information for the 2013/14 autumn and spring term only is available in our Statistical First Release here
2013-14 Finance last update : (10 Dec 2014)
Contextual information
Number of pupils (FTE) | 212
Percentage of pupils eligible for Free School Meals (FSM) | 6.1%
Free school meals eligibility band | LOW
Spend per pupil data as £ per pupil (in brackets percentage of total income or expenditure)
| School | LA Median | Non-London LAs Median | National Median
Grant funding | 3867 (96%) | 4525 | 4016 | 4325
Self generated income | 174 (4%) | 144 | 142 | 127
Total income | 4041 | 4723 | 4183 | 4479
Teaching staff | 1901 (48%) | 2277 | 2045 | 2106
Supply Staff | 63 (2%) | 87 | 118 | 127
Education support staff | 560 (14%) | 689 | 650 | 733
Learning resources (not ICT equipment) | 288 (7%) | 181 | 174 | 184
ICT learning resources | 107 (3%) | 81 | 62 | 66
Bought in professional services - curriculum | 204 (5%) | 88 | 59 | 67
Back office (incl. Staff costs) | 274 (7%) | 406 | 334 | 351
Catering (incl. Staff costs) | 19 (0%) | 35 | 53 | 75
Premises (incl. Staff costs) | 155 (4%) | 259 | 275 | 301
Other staff costs | 211 (5%) | 153 | 133 | 142
Energy | 56 (1%) | 68 | 62 | 65
Other expenditure | 94 (2%) | 94 | 85 | 88
Total expenditure | 3932 | 4562 | 4143 | 4431
Spend per pupil data as £ per pupil : Comparisons over time
| 2010-11 | 2011-12 | 2012-13 | 2013-14
Teaching staff and Education support staff expenditure | SUPP | SUPP | SUPP | 2461
Supply staff | 119 | 204 | 150 | 63
Back office (incl. Staff costs) | 289 | 304 | 309 | 274
Energy | 99 | 34 | 42 | 56
Total expenditure | 3896 | 4218 | 4283 | 3932
School Workforce last update : (10 Dec 2014)
This data is based upon the November 2013 School Workforce Census
| School | England - national (primary state-funded)
Headcount of all teachers in a school | 11 | 236728
Headcount of all teaching assistants in a school | 9 | 239340
Headcount of all support (exc. auxillary) staff in a school | 9 | 77335
Full-time equivalent number of all teachers in a school | 10.3 | 207827.7
Full-time equivalent number of all teaching assistants in a school | 5.2 | 154245.3
Full-time equivalent number of all support (exc. auxillary) staff in a school | 2.4 | 51728.3
Ratio of pupils to teachers in a school | 20.5 | 20.5
Average gross salary of all teachers in a school | 35440 | 36559

## Parental Preference
Popularity Data | [10 empty] | Children at School From School Catchment
Parental First Preference Applications | [11 empty] | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  | Catchment vs Nearest School |  |  |  |  | Catchment | Nearest
Year | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  |  | NOR | 185 | 195 | 194 | 204 | 212 |  |  |  | NOR |  |  |  |  | 207 | 207
PAN | 24 | 24 | 24 | 26 | 26 | 26 |  |  |  |  | Number | 102 | 106 | 98 | 103 | 99 |  |  |  | Total in area |  |  |  |  | 134 | 108
No. | 34.8 | 30 | 22.08 | 28.86 | 32.006 | 36 |  |  |  |  | % | 55.1351 | 54.359 | 50.5155 | 50.4902 | 46.6981 |  |  |  | Number at School from area |  |  |  |  | 101 | 85
% | 145 | 125 | 92 | 111 | 123.1 | 138.4615 | [13 empty] | % at School |  |  |  |  | 48.7923 | 41.0628
[11 empty] | Total number in Catchment | [8 empty] | % of area going to School |  |  |  |  | 75.3731 | 78.7037
[12 empty] | 2010 | 2011 | 2012 | 2013 | 2014
[11 empty] | Number | 124 | 122 | 114 | 121 | 126
[11 empty] | % | 100 | 100 | 100 | 100 | 100
Where children at School are coming from (from Spring Census 2014)
DCSF No. | School |  | Clifford | Ewyas Harold | Garway | Broadlands | Lord Scudamore | Marlbrook | St Martin’s | Holme Lacy | Kings Caple | Kingstone & Thruxton | Longtown | Lugwardine | Madley | Michaelchurch Escley | Peterchurch | Ashfield Park | St Weonards | Clehonger C E | Holmer C E | Little Dewchurch CE | Much Birch C E | Stretton Sugwas C E | Bridstow CE | St James’ C E | St Thomas Cantilupe C E | Riverside Primary | Out of County | Grand Total
2046 | Ewyas Harold | Number | 0 | 88 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 12 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 4 | 114
2046 | Ewyas Harold | % | 0 | 77.193 | 1.7544 | 0 | 0 | 0.87719 | 0 | 0 | 0 | 10.5263 | 0.87719 | 0 | 0.87719 | 1.7544 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6316 | 0 | 0 | 0 | 0 | 0 | 3.5088 | 100
2053 | Garway | Number | 0 | 11 | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 48
2053 | Garway | % | 0 | 22.9167 | 56.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.5833 | 0 | 0 | 0 | 4.1667 | 0 | 0 | 0 | 0 | 0 | 2.0833 | 100
2095 | Kingstone & Thruxton | Number | 0 | 1 | 2 | 0 | 0 | 8 | 9 | 0 | 0 | 111 | 0 | 0 | 12 | 1 | 4 | 2 | 0 | 3 | 0 | 0 | 2 | 1 | 0 | 0 | 1 | 20 | 0 | 177
2095 | Kingstone & Thruxton | % | 0 | 0.56497 | 1.1299 | 0 | 0 | 4.5198 | 5.0847 | 0 | 0 | 62.7119 | 0 | 0 | 6.7797 | 0.56497 | 2.2599 | 1.1299 | 0 | 1.6949 | 0 | 0 | 1.1299 | 0.56497 | 0 | 0 | 0.56497 | 11.2994 | 0 | 100
2104 | Madley | Number | 3 | 2 | 0 | 0 | 1 | 16 | 1 | 1 | 0 | 40 | 0 | 1 | 99 | 1 | 7 | 0 | 0 | 17 | 1 | 0 | 2 | 3 | 0 | 0 | 0 | 17 | 0 | 212
2104 | Madley | % | 1.4151 | 0.9434 | 0 | 0 | 0.4717 | 7.5472 | 0.4717 | 0.4717 | 0 | 18.8679 | 0 | 0.4717 | 46.6981 | 0.4717 | 3.3019 | 0 | 0 | 8.0189 | 0.4717 | 0 | 0.9434 | 1.4151 | 0 | 0 | 0 | 8.0189 | 0 | 100
3021 | Clehonger C E | Number | 0 | 1 | 0 | 0 | 0 | 16 | 4 | 2 | 0 | 16 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 43 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 31 | 0 | 119
3021 | Clehonger C E | % | 0 | 0.84034 | 0 | 0 | 0 | 13.4454 | 3.3613 | 1.6807 | 0 | 13.4454 | 0 | 0 | 4.2017 | 0 | 0 | 0 | 0 | 36.1345 | 0.84034 | 0 | 0 | 0 | 0 | 0 | 0 | 26.0504 | 0 | 100
3079 | Much Birch C E | Number | 0 | 1 | 0 | 1 | 1 | 22 | 35 | 4 | 6 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 1 | 1 | 1 | 81 | 1 | 2 | 1 | 0 | 15 | 0 | 196
3079 | Much Birch C E | % | 0 | 0.5102 | 0 | 0.5102 | 0.5102 | 11.2245 | 17.8571 | 2.0408 | 3.0612 | 4.0816 | 0 | 0 | 0 | 0 | 0 | 0 | 7.6531 | 0.5102 | 0.5102 | 0.5102 | 41.3265 | 0.5102 | 1.0204 | 0.5102 | 0 | 7.6531 | 0 | 100
Where school children in the Schools Catchment area are going to (from Spring Census 2014)
DCSF No. | School |  | Burghill Community | Ewyas Harold | Garway | Hampton Dene | Lord Scudamore | Marlbrook | St Martin’s | Trinity | Kings Caple | Kingstone & Thruxton | Ledbury | Longtown | Madley | Michaelchurch Escley | Peterchurch | Ashfield Park | St Weonards | Canon Pyon C E | Clehonger C E | Goodrich C E | Gorsley Goffs Endowed | Little Dewchurch CE | Mordiford C E | Much Birch C E | Bridstow CE | St Mary’s C E, Fownhope | Our Lady's RC | St Francis Xaviers RC | St Josephs RC | Staunton-on-Wye Endowed | St Thomas Cantilupe C E | Riverside | Grand Total
2046 | Ewyas Harold | Number | 1 | 88 | 11 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 9 | 2 | 0 | 7 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 124
2046 | Ewyas Harold | % | 0.80645 | 70.9677 | 8.871 | 0.80645 | 0 | 0 | 0 | 0 | 0 | 0.80645 | 0 | 7.2581 | 1.6129 | 0 | 5.6452 | 0 | 0 | 0 | 0.80645 | 0 | 0 | 0 | 0 | 0.80645 | 0 | 0 | 0 | 1.6129 | 0 | 0 | 0 | 0 | 100
2053 | Garway | Number | 0 | 2 | 27 | 0 | 0 | 2 | 1 | 0 | 1 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 42
2053 | Garway | % | 0 | 4.7619 | 64.2857 | 0 | 0 | 4.7619 | 2.381 | 0 | 2.381 | 4.7619 | 0 | 4.7619 | 0 | 0 | 0 | 0 | 9.5238 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.381 | 100
2095 | Kingstone & Thruxton | Number | 0 | 12 | 0 | 1 | 1 | 6 | 3 | 2 | 0 | 111 | 2 | 1 | 40 | 1 | 5 | 0 | 0 | 0 | 16 | 0 | 0 | 1 | 0 | 8 | 1 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 214
2095 | Kingstone & Thruxton | % | 0 | 5.6075 | 0 | 0.46729 | 0.46729 | 2.8037 | 1.4019 | 0.93458 | 0 | 51.8692 | 0.93458 | 0.46729 | 18.6916 | 0.46729 | 2.3364 | 0 | 0 | 0 | 7.4766 | 0 | 0 | 0.46729 | 0 | 3.7383 | 0.46729 | 0 | 0.93458 | 0 | 0 | 0 | 0.46729 | 0 | 100
2104 | Madley | Number | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 12 | 0 | 0 | 99 | 0 | 1 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 126
2104 | Madley | % | 0 | 0.79365 | 0 | 0 | 0.79365 | 0 | 0 | 0.79365 | 0 | 9.5238 | 0 | 0 | 78.5714 | 0 | 0.79365 | 0 | 0 | 0 | 3.9683 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7619 | 0 | 0 | 100
3021 | Clehonger C E | Number | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 17 | 1 | 1 | 0 | 0 | 1 | 43 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 0 | 0 | 2 | 0 | 2 | 75
3021 | Clehonger C E | % | 0 | 0 | 0 | 0 | 2.6667 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 22.6667 | 1.3333 | 1.3333 | 0 | 0 | 1.3333 | 57.3333 | 0 | 0 | 0 | 0 | 1.3333 | 0 | 0 | 2.6667 | 0 | 0 | 2.6667 | 0 | 2.6667 | 100
3079 | Much Birch C E | Number | 0 | 3 | 2 | 0 | 0 | 0 | 1 | 1 | 8 | 2 | 0 | 0 | 2 | 0 | 0 | 1 | 2 | 0 | 0 | 2 | 2 | 5 | 1 | 81 | 1 | 2 | 0 | 0 | 1 | 0 | 0 | 1 | 118
3079 | Much Birch C E | % | 0 | 2.5424 | 1.6949 | 0 | 0 | 0 | 0.84746 | 0.84746 | 6.7797 | 1.6949 | 0 | 0 | 1.6949 | 0 | 0 | 0.84746 | 1.6949 | 0 | 0 | 1.6949 | 1.6949 | 4.2373 | 0.84746 | 68.6441 | 0.84746 | 1.6949 | 0 | 0 | 0.84746 | 0 | 0 | 0.84746 | 100

## Disability access
Physical Accessibility Rating | 2
Information from https://www.herefordshire.gov.uk/education-and-learning/schools/directory
Ratings and descriptions
Rating | Details | Description
3 | Fully accessible | Will meet the needs of all disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling); Has a full hygiene room and special educational needs or therapy room for pupils who need more assistance with personal care (including hoisting) and regular physio or other treatment
2 | Mainly accessible | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
1 | Partly accessible | Some standards met but some areas not accessible
0 | Inaccessible | No level access into building and/or no disabled toilet
Summary of physical accessibility standards
Level access into building(s): Main and pupil entrance(s) level, with ramps and hand rails as required
Level access to all curriculum and social areas (not necessarily entire building/site): including assembly hall, canteen (may be achieved by sensitive organisation and timetabling)
Access to upper floors: if required - lift(s) as alternative to steps or stairs
Toilet facilities: small disabled toilet(s) as specified by building regulations - suitable for most disabled pupils. A small number of pupils will require enhanced facilities (hygiene room) to provide greater assistance, including hoisting.
Medical, therapy or SEN room: multi-purpose or flexible use - usually required in addition to a hygiene room, for regular physio and other physical programmes
Emergency evacuation: routes should be level and unobstructed. Evacuation must be documented (using Personal Emergency Evacuation Plans - PEEPs) and practised regularly