## Cover Page
Michaelchurch Escley Primary School
Summary Report
Contents
|  | Section | Page | No. of pages
Michaelchurch Escley Primary School |  | Summary Data | 3 | 1
Summary Report |  | General Information and Asset Summary | 4 | 1
|  | Maintenance and Condition Summary | 5 | 2
|  | Education Funding Agency Condition Survey Data | 7 | 1
Schools Capital Investment Strategy |  | Suitability and Compliance Summary | 8 | 2
|  | School Occupancy Summary | 10 | 1
|  | School Statistics | 11 | 1
|  | Environmental Sustainability Condition | 12 | 1
|  | Parental Preference | 13 | 1
|  | Distribution of Children Attending School or Resident in its Catchmnet Area | 14 | 1
|  | Distribution of Children Attending School or Where it is the Nearest School | 15 | 1
|  | Key Services Within 2 Mile Radius of School | 16 | 1
|  | Key Services Adjacent to School | 17 | 1
|  | Disability Access | 18 | 1
Children's Wellbeing
Herefordshire Council
Plough Lane Offices
Plough Lane
HEREFORD
HR4 0LE

## Summary Info
Michaelchurch Escley Primary School
Summary Report
Summary of Headline Information
Asset Summary | [5 empty] | Occupancy Summary
Gross Site Area (M2)(whole site including building):- |  | 6087.85 |  |  |  | Current Capacity (PAN 8):- |  |  |  | 56
Insurance Asset Value (£000):- |  | 132975.287 |  |  |  | Allocated Capacity Size (PAN 10):- |  |  |  | 70
Land Asset Value (£000):- |  | 6982.5 |  |  |  | Current Occupancy:- |  |  |  | 31
Land Ownership:- | Buildings council owned, field leasehold |  |  |  |  | Current Planned Admission No.:- |  |  |  | 8
[6 empty] | Current Number Over Capacity:- |  |  |  | 0
[6 empty] | Current Number Under Capacity:- |  |  |  | 25
Maintenance Expenditure Required on the School over a 5 Year Period Summary
Survey Date:- |  |  |  | 2014-06-30
Backlog Maintenance Total (£000):- | [6 empty] | Not Available
Total Forecast Expenditure (5 years) (£000):- | [6 empty] | 218.1186
Total Potential Local Authority Forecast Expenditure (£000):- | [6 empty] | 195.1466
Total Potential School Forecast Expenditure (£000):- | [6 empty] | 22.9719
Suitability and Compliance
Required Number of Classrooms:- | [6 empty] | 3 | Required Building Footprint (M2):- |  | 694.28
Actual Number of Classrooms:- | [6 empty] | 3 | Current Building Area (M2):- |  | 318.0352
Percentage of Classrooms that are the Recommended Size:- | [6 empty] | 33.3333 | Area Shortfall (M2):- |  | 376.2448
Compliance Percentage of Recommended Hall Size:- | [6 empty] | 0 | Area Surplus (M2):- |  | 0
Number of Temporary Buildings on Site:- |  |  |  |  | 1 |  |  | Total Percentage Compliance:- |  | 45.8079
Number of Classrooms in Temporary Buildings:- |  |  |  |  | 1
Compliance Percentage of Recommended Reception Toilets:- | [6 empty] | 0 | Required Net Site Area (M2):- |  | 4177.12
Compliance Percentage of Recommended Other Pupil Toilets:- | [6 empty] | 125 | Current Net Site Area (M2):- |  | 5769.8148
Nursery on Site:- | No | [6 empty] | Area Shortfall (M2):- |  | 0
[8 empty] | Area Surplus (M2):- |  | 1592.6948
[8 empty] | Total Percentage Compliance:- |  | 138.129
Disability Access
Rating:- | 1 |  | Details:- |  |  |  | Partly accessible
Environmental Sustainability Condition
DEC Rating:- |  |  |  |  | No data held
Electric Consumption 2014/Child:- |  |  |  |  | 1835.6
Gas Consumption 2014/Child:- |  |  |  |  | 1533.9464
School Statistics
Ofsted Results:- | [8 empty] | Requires Improvement
Percentage of Children Achieving KS2 Level 4 or Above in Reading, Writing and Maths in 2014:- | [8 empty] | SUPP
Parental Preference (2014)
Percentage of Parental First Preference Applications:- | [6 empty] | 62.5
Total Number of Children within Catchment:- | [6 empty] | 41
Total Number of Children at School from Catchment:- | [6 empty] | 15
Percentage of Catchment at School:- | [6 empty] | 75
Percentage of Catchment Going to School:- | [6 empty] | 36.5854

## Report
|  |  | Michaelchurch Escley Primary School | [6 empty] | Michaelchurch Escley Primary School | [14 empty] | Michaelchurch Escley Primary School | [7 empty] | Michaelchurch Escley Primary School |  |  |  |  | Michaelchurch Escley Primary School |  | Michaelchurch Escley Primary School |  |  |  |  | Michaelchurch Escley Primary School | [5 empty] | Michaelchurch Escley Primary School |  |  | Michaelchurch Escley Primary School | [8 empty] | Michaelchurch Escley Primary School |  | Michaelchurch Escley Primary School |  | Michaelchurch Escley Primary School |  | Michaelchurch Escley Primary School |  | Michaelchurch Escley Primary School |  |  | Michaelchurch Escley Primary School
|  |  | Summary Report | [6 empty] | Summary Report | [14 empty] | Summary Report | [7 empty] | Summary Report |  |  |  |  | Summary Report |  | Summary Report |  |  |  |  | Summary Report | [5 empty] | Summary Report |  |  | Summary Report | [8 empty] | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  |  | Summary Report
General Information |  |  |  | Maintenance and Condition Summary | [21 empty] | Education Funding Agency Condition Survey Data | [7 empty] | Suitability and Compliance Summary |  |  |  |  | Suitability and Compliance Summary (continued) |  | School Occupancy Summary |  |  |  |  | School Statistics | [5 empty] | Environmental Sustainability Condition |  |  | Parental Preference | [8 empty] | Distribution of Children Attending School or Resident in its Catchment Area |  | Distribution of Children Attending School or Where it is the Nearest School |  | Key Services Within 2 Mile Radius of School |  | Key Services Adjacent to School |  | Disability Access
Maintenance and Condition Summary (continued)
School Name:- | Michaelchurch Escley Primary School |  |  | Survey Date:- | 2014-06-30 |  | Survey Company:- |  | Hub |  | Key Elements and Annual Forecast Maintenance Costs and Responsibilities | [14 empty] | Date of Survey:- |  | 2013-05-15 | [5 empty] | Areas | Standard Criteria (M2) (PAN 10) | Schools Compliance (M2) | Compliance Percentage |  |  |  | Current Planned Admission No. (PAN) | Current School Capacity | Maximum PAN | Maximum Capacity Based on PAN |  | Year | KS2 Year on Year Results |  |  |  |  | Electric Consumption 2014/Child:- | 1835.6 |  |  | Parental First Preference Applications | [15 empty] | Physical Accessibility Rating
Head Teacher:- | Mrs L Crocker | DFE Number:- | 2116 | Year | Forecast Maintenance Costs (£ 000) | [5 empty] | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows and Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | Number of Occurences Identified Within the Report | [7 empty] | Basic Teaching Space | 186 | 156.65 | 84.2204 |  |  |  | 8 | 56 | 10 | 70 |  |  | School - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | LA - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | All Schools in England - Percentage Achieving Level 4 or Above in Reading, Writing and Maths |  |  | Gas Consumption 2014/Child:- | 1533.9464 |  |  | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | [10 empty] | Rating: | 1
Leadership:- | Stand Alone | [24 empty] | Rating (see key below) | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other | Hall and Studio | 140 | 0 | 0 | [17 empty] | PAN | 8 | 8 | 8 | 8 | 8 | 8
Address:- | Michaelchurch Escley Primary School, Hereford HR2 0PT | Email:- | admin@michaelchurch-escley.hereford.sch.uk | Backlog | Not Available | [5 empty] | £ 000 | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | [8 empty] | Storage | 56 | 32.08 | 57.2857 |  |  |  | Historical Numbers on Roll Data (Spring Census) | [13 empty] | Number | 8 | 8 | 4.96 | 2.96 | 3 | 5 | [10 empty] | Details: | Partly accessible
|  |  |  | 2015-06-30 | 2.2182 |  |  | Not Available |  |  | Backlog | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | C1 | [7 empty] | Staff and Admin | 66 | 42.05 | 63.7121 |  |  |  | Year | Total NOR | Capacity Based on PAN | Shortfall | Surplus | 2012 | 69 | 71 | 75 | [5 empty] | Percentage | 100 | 100 | 62 | 37 | 37.5 | 62.5
|  |  |  | 2016-06-29 | 19.9379 |  |  | 2.2182 |  |  | 2015-06-30 | 0.25496 | 0 | 0 | 0 | 0.50992 | 0 | 0.10198 | 0 | 0 | 0 | 1.3513 | 0 | 0 | 0 | C2 |  |  |  | 1 | 1 | 2 |  | Learning Resource | 53 | 22.6 | 42.6415 |  |  |  | 2008 / 2009 | 60 | 56 | 4 | 0 | 2013 | 57 | 71 | 75 | [22 empty] | Description: | Some standards met but some areas not accessible
|  |  |  | 2017-06-29 | 29.0655 |  |  | 19.9379 |  |  | 2016-06-29 | 0.25496 | 0 | 2.8811 | 0 | 0 | 12.2381 | 0 | 0 | 1.5298 | 0 | 3.034 | 0 | 0 | 0 | D1 | [7 empty] | Supplementary Area | 0 | 0 | - |  |  |  | 2009 / 2010 | 55 | 56 | 0 | 1 | 2014 | SUPP | 76 | 79 | [5 empty] | Historical Catchment Analysis (Spring Census)
Telephone No.:- | T: 01981 510208 F: 01981 510208 | School Cluster:- | Peterchurch District- Fairfield High School | 2018-06-29 | 3.442 |  |  | 29.0655 |  |  | 2017-06-29 | 0.25496 | 0 | 0 | 0 | 0 | 3.0595 | 1.2748 | 0 | 2.3966 | 3.0595 | 1.6827 | 17.3373 | 0 | 0 | D2 | [7 empty] | Non Net Area | 193.28 | 64.6552 | 33.4516 |  |  |  | 2010 / 2011 | 56 | 56 | 0 | 0 | [9 empty] | Catchment Analysis |  |  |  | 2010 | 2011 | 2012 | 2013 | 2014
|  |  |  | 2019-06-29 | 163.4551 |  |  | 3.442 |  |  | 2018-06-29 | 0.25496 | 0 | 0.30595 | 0 | 0 | 0 | 0 | 0 | 1.5298 | 0 | 1.3513 | 0 | 0 | 0 | D3 | [7 empty] | Total Gross Building Area | 694.28 | 318.0352 | 45.8079 |  |  |  | 2011 / 2012 | 59 | 56 | 3 | 0 | KS2 Test Results and Progress (2014) | [11 empty] | Total in Catchment | 42 | 48 | 51 | 42 | 41
[8 empty] | 163.4551 |  |  | 2019-06-29 | 0.25496 | 30.5952 | 0 | 0 | 0 | 88.7262 | 0 | 0 | 2.5496 | 7.1389 | 1.1983 | 32.9919 | 0 | 0 | [15 empty] | 2012 / 2013 | 46 | 56 | 0 | 10 | [12 empty] | Number at School from Catchment | 36 | 39 | 39 | 32 | 15
School Type:- | Community | Building Number:- | GFAD | Total | 218.1186 | [5 empty] | Totals | 1.2748 | 30.5952 | 3.187 | 0 | 0.50992 | 104.0238 | 1.3768 | 0 | 8.0058 | 10.1984 | 8.6177 | 50.3292 | 0 | 0 | *Note the information noted above has been extracted from the EFA survey focusing on elements that are C & D rated. Items with an A or B rating have been excluded. The numbers reference the quantity of elements that the survey has picked up within the relevant category | [7 empty] | Total Gross Site Area | 4871.4 | 6087.85 | 124.9713 |  |  |  | 2013 / 2014 | 20 | 56 | 0 | 36 | Pupils eligible for KS2 assessment |  |  |  | 4 | [7 empty] | Percentage at School from Catchment | 65.4545 | 69.6429 | 66.1017 | 69.5652 | 75
Current Capacity:- | 56 | Site Area:- | 6087.85 | [30 empty] | Net Site Area (less the building area) | 4177.12 | 5769.8148 | 138.129 |  |  |  | Current Occupancy | 31 | 56 | 0 | 25 | Percentage achieving level 3 or below in reading, writing and maths |  |  |  | SUPP | [7 empty] | Percentage of Catchment Going to School | 85.7143 | 81.25 | 76.4706 | 76.1905 | 36.5854
[11 empty] | Total Potential Expenditure - Local Authority (£000) | [6 empty] | 195.1466 | [27 empty] | Percentage achieving level 4 or above in reading, writing and maths |  |  |  | SUPP
|  |  |  | Key Elements of Forecast Maintenance | [29 empty] | Key Information (based on Building Bulletin 103) | [6 empty] | Current Occupancy Summary (Autumn Census 2014) |  |  |  |  | Percentage achieving level 4B or above in reading and maths and level 4 or above in writing |  |  |  | SUPP |  |  |  |  | Catchment and Nearest School Comparison (Autumn Census 2014)
|  |  |  | Categories |  | Totals (£ 000) | [19 empty] | Key | [7 empty] | Required Number of Classrooms |  |  |  | 3 |  |  | Year Group | NOR | Shortfall | Surplus |  | Percentage achieving level 5 or above in reading, writing and maths |  |  |  | SUPP | [7 empty] | Catchment vs Nearest School | Catchment | Nearest
|  |  |  | External Grounds |  | 31.87 |  |  |  |  | Total Potential Expenditure - School (£000) | [6 empty] | 22.9719 | [7 empty] | Condition grade | Definition |  |  |  | Priority rating | Definition |  | Number of Classrooms |  |  |  | 3 |  |  | Reception | 4 | 0 | 4 |  | Percentage making expected progress in reading |  |  |  | SUPP | [7 empty] | NOR | 31 | 31
|  |  |  | Roof Works |  | 3.187 | [27 empty] | Percentage of Classrooms that are the Recommended Size |  |  |  | 33.3333 |  |  | One | 7 | 0 | 1 |  | Percentage making expected progress in writing |  |  |  | SUPP | [7 empty] | Total in Area | 52 | 48
|  |  |  | External Walls |  | 104.5337 | [19 empty] | A Good | Performing as intended and operating efficiently |  |  |  | 1 | Immediate or year 1 remedial action required |  | Percentage of Classrooms that are Classed as Small |  |  |  | 66.6667 |  |  | Two | 5 | 0 | 3 |  | Percentage making expected progress in maths |  |  |  | SUPP | [7 empty] | Number at School from Area | 13 | 11
|  |  |  | Windows and Doors |  | 1.3768 | [27 empty] | Number of Temporary Buildings on Site |  |  |  | 1 |  |  | Three | 2 | 0 | 6 |  | Average point score |  |  |  | SUPP | [7 empty] | Percentage at School | 41.9355 | 35.4839
|  |  |  | Internal Works |  | 18.2042 | [19 empty] | B Satisfactory | Performing as intended but exhibiting minor deterioration |  |  |  | 2 | Year 1-2 remedial action required |  | Number of Classrooms in Temporary Buildings |  |  |  | 1 |  |  | Four | 4 | 0 | 4 | [13 empty] | Percentage of area going to School | 25 | 22.9167
Asset Summary |  |  |  | Mechanical and Electrical |  | 58.9468 | [27 empty] | Percentage of Recommended Reception Toilets |  |  |  | 0 | Category | Areas Included | Five | 5 | 0 | 3 |  | Latest Ofsted Report Date:- |  | 2014-06-04
|  |  |  | Other (e.g. ancillary buildings) |  | 0 | [19 empty] | C Poor | Exhibiting major defects and/or not operating as intended |  |  |  | 3 | Year 3-5 remedial action required |  | Percentage of Recommended Other Pupil Toilets |  |  |  | 125 | Basic Teaching Spaces | General Classrooms, ICT Rooms, Practical Areas | Six | 4 | 0 | 4 |  | Ofsted Result:- |  | Requires Improvement
Asset Value - Insurance (£000):- |  | 132.9753 | [36 empty] | Hall and Studio | Halls, Dining Areas | Total | 31 | 0 | 25
Asset Value - Land (£000):- |  | 6.9825 | [23 empty] | D Bad | Life-expired and/or at serious risk of imminent failure | [11 empty] | Storage | Coats and Bags, Teaching, Specialist, PE Equipment, Bulk Stock, Cleaning, Caretakers and Maintenance, Tables and Chairs, Staging, Mobility Equipment
Land Owner:- |  | Buildings council owned, field leasehold | [36 empty] | Staff and Admin | Heads and Staff Offices, Staff Room, Staff PPA,Reprographics Room, Sick Bay, Interview and Meeting Rooms, Secure Entrance
[39 empty] | Learning Resource | Library, Small Group Rooms, SENCO Office, Medical Inspection Room
Lease Agreement / Notes:- |  | Not Known
[39 empty] | Supplementary Area | Any other specialist area at the school e.g. Music Classroom, Swimming Pool, SEN Classrooms
Nursery Provision:- |  | None
[39 empty] | Non Net Area | Pupil and Staff Toilets, Accessible Toilets, Hygiene Room, Kitchen, Corridors, Server Room, Boilers
[39 empty] | Additional Area | Nursery provision

## Feedback
|  | Michaelchurch Escley Primary School |  |  | Michaelchurch Escley Primary School |  |  | Michaelchurch Escley Primary School
|  | Feedback Form |  |  | Feedback Form |  |  | Feedback Form
General Information and Asset Summary |  |  | School Occupancy Summary |  |  | Parental Preference
Do you believe the data to be accurate? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Maintenance and Condition Summary |  |  | School Statistics |  |  | Disability Access
Do you believe the data to be a fair reflection of the maintenance and condition of the school? | [5 empty] | Do you believe the data to be a fair reflection of the environmental condition of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Suitability and Compliance Summary |  |  | Environmental Sustainability Condition |  |  | Any Other Comments
Do you believe the data to be a fair reflection of the suitability and compliance issues faced by the school? | [5 empty] | Additional comments about the information provided:
Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments:
If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920
Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015

## Asset summary
Building ref number:- | GFAD
Site Area:- | 6087.85
Building Type:- | Not Known
Asset Value (Insurance):- | 132975.287
Asset Value (Land):- | 6982.5
Land owner:- | Buildings council owned, field leasehold
Lease agreement / notes:- | Not Known
DEC rating:- | No data held
Electric consumption 2014/child:- | 1835.6
Gas consumption 2014/child:- | 1533.9464

## Maintenance
Maintenance & Condition Summary |  |  |  | BCIS Quarter | 2Q2014 | [11 empty] | Check | Main year totals | Summary year totals | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows & Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | BCIS quarter | BCIS uplift
Year survey undertaken |  | 2014-06-30 |  | BCIS Uplift | 1.0198 | [15 empty] | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | 1Q2009 | 1.1525
Survey company:- |  | Hub | [15 empty] | 0 | 0 | Backlog | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2Q2009 | 1.1898
[18 empty] | 2218.1548 | 2218.1548 | 2015-06-30 | 254.9603 | 0 | 0 | 0 | 509.9206 | 0 | 101.9841 | 0 | 0 | 0 | 1351.2897 | 0 | 0 | 0 | 3Q2009 | 1.1898
[18 empty] | 19937.8968 | 19937.8968 | 2016-06-29 | 254.9603 | 0 | 2881.0516 | 0 | 0 | 12238.0952 | 0 | 0 | 1529.7619 | 0 | 3034.0278 | 0 | 0 | 0 | 4Q2009 | 1.2123
|  |  |  | Year covered? | N | Y | Y | Y | Y | Y | School Costs | [6 empty] | 29065.4762 | 29065.4762 | 2017-06-29 | 254.9603 | 0 | 0 | 0 | 0 | 3059.5238 | 1274.8016 | 0 | 2396.627 | 3059.5238 | 1682.7381 | 17337.3016 | 0 | 0 | 1Q2010 | 1.2297
Category | Ref | Element | Recommended Works | Estimated Work Cost | Backlog | 2015-06-30 | 2016-06-29 | 2017-06-29 | 2018-06-29 | 2019-06-29 | Backlog | 2015-06-30 | 2016-06-29 | 2017-06-29 | 2018-06-29 | 2019-06-29 |  | 3441.9643 | 3441.9643 | 2018-06-29 | 254.9603 | 0 | 305.9524 | 0 | 0 | 0 | 0 | 0 | 1529.7619 | 0 | 1351.2897 | 0 | 0 | 0 | 2Q2010 | 1.1789
[18 empty] | 163455.0595 | 163455.0595 | 2019-06-29 | 254.9603 | 30595.2381 | 0 | 0 | 0 | 88726.1905 | 0 | 0 | 2549.6032 | 7138.8889 | 1198.3135 | 32991.8651 | 0 | 0 | 3Q2010 | 1.1735
r | Roofs | Pitched | The building has a steep pitched roof that is entirely clad in natural green/blue welsh slate. Some slates have been replaced and the new ones are secured in place with lead tingles. The roof appears to be in good order. Some minor repointing is required to the verges on the north west gable at first floor level. The timber rafter feet are exposed to the eaves throughout. The lead work at valleys and abutments with walls appears to be well constructed, there is also a flat roofed dormer window to the North elevation, it appears in a satisfactory order. It is noted that the school has plans to fit snow guards to the roof line to help prevent any tiles that do become dislodged from falling to the ground. | 1500 |  |  | 1500 |  |  |  | 0 | 0 | 1500 | 0 | 0 | 0 | [18 empty] | 4Q2010 | 1.1682
r | Roofs | Chimneys | There is a stone built chimney present to the South gable, it presumably serves the boiler room below. It is in a satisfactory order. | 0 | [6 empty] | 0 | [8 empty] | Individual Category totals | 1274.8016 | 30595.2381 | 3187.004 | 0 | 509.9206 | 104023.8095 | 1376.7857 | 0 | 8005.754 | 10198.4127 | 8617.6587 | 50329.1667 | 0 | 0 | 1Q2011 | 1.1735
r | Roofs | Roof Drainage | The roof drainage is cast iron throughout. The section of the downpipes is circular, the gutters are oval high capacity type. Rust was noted to a downpipe to the North elevation suggesting it is blocked, rain was also noted to be leaking from the stop ends on several gutters. Treat rust and re-decorate gutters. Suggest work done when snow guards are fitted. | 1000 |  |  | 1000 |  |  |  | 0 | 0 | 1000 | 0 | 0 | 0 | [18 empty] | 2Q2011 | 1.1525
e | Redecoration | External | External decoration is in satisfactory condition throughout - Allow for cyclical decoration | 3000 |  |  |  | 3000 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Summary category totals | Main category totals | Check | [11 empty] | 3Q2011 | 1.1682
e | External walls, windows and doors | Walls (including finishes) | The majority of the walls present are of coursed stone with moulded details such as quoins and window/door surrounds. There are two brick extensions to the rear of the building, these are constructed from what appear to be London common bricks. Minor mortar erosion was noted to the brickwork. Mortar erosion was also noted to the stone walls at low level in isolated areas. There is a small area of vertical slate hung wall to the staff room, it appears in good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2011 | 1.1525
w | External walls, windows and doors | Windows & Doors | The doors and windows are timber throughout and appear to be in good order though some wet rot was noted in several window cills where they meet the stone window cills. Windows are predominantly single glazed. There is a slatted timber door present to the boiler room. Address any timber repairs at the same time as cyclical decoration. | 750 |  |  |  | 750 |  |  | 0 | 0 | 0 | 750 | 0 | 0 |  |  | External Grounds |  | 31870.0397 | 31870.0397 | [12 empty] | 1Q2012 | 1.1953
e | Internal walls and doors | Walls & Partitions (including finishes) | The walls are predominantly masonry internally though there is some timber studwork present. The majority of areas are plastered and skimmed, some have woodchip wallpaper present. The brickwork extensions to the rear of the building have painted brickwork internally. Ceramic tiles are used as spalshbacks to units and basins etc. There was some cracking noted where the brickwork extension meets the stone building and within the kitchen. High damp meter readings were noted within the toilet areas up to 50% WME which suggests the damp proof course is questionable. The toilet cubicles are melamine faced items and are in reasonable order. Further investigation into damp issues are required, once resolved allow for refurbish of affected rooms. | 12500 |  | 500 | 12000 |  |  |  | 0 | 500 | 0 | 0 | 0 | 0 |  |  | Roof Works |  | 3187.004 | 3187.004 | [12 empty] | 2Q2012 | 1.1174
i | Internal walls and doors | Doors & Glazed Screens | The internal doors are timber throughout with some pre-finished doors having been fitted in recent years, some have glazed vision panels at high level. The doors on first floor have hardboard over the original panelling. The doors are in reasonable order throughout. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | External Walls |  | 104533.7302 | 104533.7302 | [12 empty] | 3Q2012 | 1.1525
i | Floors and stairs | Floors (including finishes) | The ground floor is a mixture of solid concrete and suspended timber. The timber sections are not affected by excessive springiness. The first floor is also suspended timber and also appears structurally sound. The floors are clad in carpet to teaching areas and non slip vinyl elsewhere. Allow for cyclical replacement of floor coverings from year 3 | 3000 |  |  |  | 1000 | 1000 | 1000 | 0 | 0 | 0 | 1000 | 1000 | 1000 |  |  | Windows & Doors |  | 1376.7857 | 1376.7857 | [12 empty] | 4Q2012 | 1.1473
i | Floors and stairs | Staircases (including finishes) | There is a timber staircase present leading to first floor, it has carpet to the treads and non slip nosings present to the edge of the treads. The handrails and balustrades are also timber and are in a satisfactory order. Allow for re-decoration with walls and ceilings. | 500 |  |  |  |  | 500 |  | 0 | 0 | 0 | 0 | 500 | 0 |  |  | Internal Works |  | 18204.1667 | 18204.1667 | [12 empty] | 1Q2013 | 1.0983
i | Ceilings | All types | The ceilings are generally plastered throughout with a suspended ceiling in room 17, some cracking was noted within the kitchen area and storeroom on first floor recommend this is monitored and reviewed at next survey. - Allow for cyclical decoration | 1500 | [5 empty] | 1500 | 0 | 0 | 0 | 0 | 0 | 1500 |  |  | Mechanical & Electrical |  | 58946.8254 | 58946.8254 | [12 empty] | 2Q2013 | 1.089
i | Fixed furniture and fittings | All types | The fixtures and fittings are in adequate condition but are tired, several cupboard doors were misaligned. Allow for replacement of aged units. | 1500 |  |  | 1500 |  |  |  | 0 | 0 | 1500 | 0 | 0 | 0 |  |  | Other |  | 0 | 0 | [12 empty] | 3Q2013 | 1.0983
i | Redecoration | Internal | The internal decoration is in satisfactory to poor order with several areas of flaking and cracked paint noted. Allow for cyclical decoration. | 3000 |  |  |  | 3000 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2013 | 1.0798
m | Sanitary services | Fittings | Sanitaryware and sinks appeared to be in a satisfactory order. But allow for replacement when associated units are replaced. In respect of sanitrayware in children's WC renew when damp issues noted above are addressed and full refurbishment is undertaken. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Total |  | 218118.5516 | 218118.5516 | [12 empty] | 1Q2014 | 1.0447
m | Sanitary services | Waste Plumbing | All visible waste plumbing was in reasonable order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2014 | 1.0198
m | Mechanical services | Boilers | Stelrad Ideal oil fired boiler. Satisfactory with approx 5 years of operational life left, allow for continued PPM checks and servicing. | 25600 |  | 150 | 150 | 150 | 150 | 25000 | 0 | 150 | 150 | 150 | 150 | 0 | [18 empty] | 3Q2014 | 1.028
m | Mechanical services | Heating Distribution | Mild steel pipework to cast iron and steel panel emitters. Aged but sound. Consider for replacement with boilers after 5 years | 5000 | [5 empty] | 5000 | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2014 | 1.0078
m | Mechanical services | Heating Controls | Basic control panel in boiler room. Overdue replacement. | 1500 |  |  | 1500 |  |  |  | 0 | 0 | 1500 | 0 | 0 | 0 | [18 empty] | 1Q2015 | 1
m | Mechanical services | Hot/Cold Water Distribution | Copper pipework. Electric water heaters in rooms 3,15 & 16. Allow for PPM checks for heaters | 375 |  | 75 | 75 | 75 | 75 | 75 | 0 | 75 | 75 | 75 | 75 | 75
m | Mechanical services | Ventilation | Local extract fan in toilets. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Other | Oil tank has been replaced with 1400L tank since last survey and is in a good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Control Gear and Equipment | Distribution boards in activity (rm. 15 & 16) and lobby (rm. 7). Meters in activity and lobby. Although appeared satisfactory, consideration should be given with 5 years to replace and rationalise system. Ensure PPM and 5 year check is being undertaken. | 5400 |  | 100 | 100 | 5000 | 100 | 100 | 0 | 100 | 100 | 0 | 100 | 100
m | Electrical services | Power and Associated Fittings | Surface PVC outlets or mounted in dado trunking. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Lighting and Associated Fittings | Mostly fluorescent baton luminaires, 2 nr. Miniature fluorescent lamps on pendant drops. Recessed units is suspended ceilings. Allow for PPM relamping and checks. | 500 |  | 100 | 100 | 100 | 100 | 100 | 0 | 100 | 100 | 100 | 100 | 100
m | Electrical services | Fire Alarms | Break glass call points and bells throughout. Display panel in room 15. System should be considered for upgrade to an L2 system, included review of emergency lighting and in line with any FRA management plan. | 12000 |  |  |  | 12000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Security Alarms / CCTV | Passive infra red detectors in classrooms. Key pad in lobby (rm. 7 - under stairs). | 375 |  | 75 | 75 | 75 | 75 | 75 | 0 | 75 | 75 | 75 | 75 | 75
m | Electrical services | Communications Systems | Telephone in office. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Electrical Heating | Night storage heaters in rooms 1, 3, 4 & 8. Allow for PPM checks. | 2775 |  |  |  | 425 |  | 2350 | 0 | 0 | 0 | 425 | 0 | 0
m | Electrical services | Electrical Heating | Aged electric fan heater in corridor (rm. 10). Replacement due. | 500 |  | 100 | 100 | 100 | 100 | 100 | 0 | 100 | 100 | 100 | 100 | 100
m | Electrical services | Other | Electric water heater in staff room (rm. 1). Aged, due replacement. | 150 |  |  | 150 |  |  |  | 0 | 0 | 150 | 0 | 0 | 0
r | Roofs | Pitched | The building has a pitched roof which has both hip ends and gable ends present. It is clad entirely in blue natural slate. The hips and ridges are clad in angular ridge tiles, hip irons are in place at the eaves where appropriate. The roof envelope is pierced in several placed with vent pipes etc, these appear to be well sealed into the roof. There are several areas where the roof extends to form canopies, an undercloak is present to prevent the slates from being blow off. The rafter feet are exposed at the eaves. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Roof Drainage | There rainwater goods throughout are black plastic, they are well aligned and are in good order. Allow for regular cleaning. | 500 |  |  | 250 |  | 250 |  | 0 | 0 | 250 | 0 | 250 | 0
e | Redecoration | External | The external decoration is in good order throughout - Allow for cyclical decoration | 2000 | [5 empty] | 2000 | 0 | 0 | 0 | 0 | 0 | 0
e | External walls, windows and doors | Walls (including finishes) | The external walls are coursed stone at low level with facing brickwork above, the stone projects past the face of the brickwork above. There are segmental arches present above doors and windows. All areas are in good order. Some damp patches were noted at low level not significant but recommend review at next survey. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | External walls, windows and doors | External Structural Frame | There are several timber posts supporting porches to the main building accesses, these are stained and are in good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Windows & Doors | The joinery is timber throughout and is in satisfactory order | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Doors & Glazed Screens | All internal doors are flush plywood except the doors to the hall from the lobby which are glazed. There are two roller shutter doors present to the kitchen and bar, these are in good order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | The walls are predominantly masonry. The majority of areas are plastered and skimmed and emulsioned. Allow for cyclical decoration, costed below. A small hairline crack was noted at high level in the gents wc, review at time of next survey. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Floors and stairs | Floors (including finishes) | The floors are concrete throughout, the hall floor is timber narrow strip, the remaining floors are clad in non slip vinyl. All areas are in good order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Ceilings | All types | The ceilings throughout, these are in good order. Allow for cyclical decoration | 2000 | [5 empty] | 2000 |  | 0 | 0 | 0 | 0 | 0
i | Fixed furniture and fittings | All types | Kitchen units are in good condition throughout. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Redecoration | Internal | Allow for cyclical decoration | 5000 | [5 empty] | 5000 |  | 0 | 0 | 0 | 0 | 0
i | Sanitary services | Fittings | Sanitary ware and sinks were in good order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Waste Plumbing | The visible waste plumbing was in good order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Hot/Cold Water Distribution | Copper pipework for distribution, where observed satisfactory. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Ventilation | Local extract fan in toilets and kitchen areas. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Electrical services | Control Gear and Equipment | Distribution boards and meters in lobby cupboard. Ensure PPM and 5 year check is being undertaken. | 500 |  | 100 | 100 | 100 | 100 | 100 |  | 100 | 100 | 100 | 100 | 100
m | Electrical services | Power and Associated Fittings | Surface or flush PVC outlets. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Electrical services | Lighting and Associated Fittings | Mostly fluorescent baton luminaires, also wall mounted semi circle walls lights to hall. Allow for PPM relamping and checks. | 500 |  | 100 | 100 | 100 | 100 | 100 |  | 100 | 100 | 100 | 100 | 100
m | Electrical services | Fire Alarms | Manual Tate system, allow for PPM | 375 |  | 75 | 75 | 75 | 75 | 75 |  | 75 | 75 | 75 | 75 | 75
m | Electrical services | Security Alarms / CCTV | Passive infra red detectors in various locations, allow for PPM. | 375 |  | 75 | 75 | 75 | 75 | 75 |  | 75 | 75 | 75 | 75 | 75
m | Electrical services | Electrical Heating | Low electric or High level (infrared)wall mounted heaters - allow for PPM checks | 500 |  | 100 | 100 | 100 | 100 | 100 |  | 100 | 100 | 100 | 100 | 100
m | Electrical services | Electrical Showers | Electric showers in ladies and gents toilets, ensure regular checks (L8) and PPM are being undertaken | 375 |  | 75 | 75 | 75 | 75 | 75 |  | 75 | 75 | 75 | 75 | 75
r | Roofs | Flat | The building is roofed with modern mineral felt, This appears to be in good order, no evidence of leakage is visible in the rooms below. The roof rolls over at the eaves to issue water to the gutters. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
r | Roofs | Roof Drainage | The building has black plastic gutters and downpipes present to two faces, these are in good order. Allow for regular clearing. Also replace missing end cap on guttering at time of next clean. | 125 |  |  | 75 |  | 50 |  |  | 0 | 75 | 0 | 50 | 0
e | Redecoration | External | The building is finished with a render which requires decoration as do the timber entrance doors. The panels are in a satisfactory condition presently but are beginning to shows signs of early delamination. These units have a limited life and long term accommodation needs should be considered in line with life cycle of these units. Allowance for replacement of unit made outside of 5 year period made. | 85000 | [5 empty] | 85000 |  | 0 | 0 | 0 | 0 | 0
e | External walls, windows and doors | Walls (including finishes) | The building has the usual render/textured finish to the plywood walls, a section of plywood was noted to be cracking at the board joints and exposing the board to the elements. There are softwood boards present to the plinth with ventilation gaps between. There is a crudely filled hole to the West elevations where a flue has been removed, it is filled with expanding foam. See comments in line above. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Windows & Doors | The building has uPVC windows and timber doors. All joinery is in good order. However at the time of inspection the rear fire exit door was jammed into the frame and un-openable, this was noted to the school at the time of survey and advised them have this rectified immediately. Allow for decoration on a cyclical basis. | 600 |  | 100 |  | 500 |  |  |  | 100 | 0 | 500 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | The walls are clad in prefinished plasterboard with tape applied to the joints all areas are in good order. There are melamine faced toilet cubicles within the cloaks. Ceramic tiles have been used to form basin splash backs. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Doors & Glazed Screens | The internal doors are flush plywood, both are in good order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Floors and stairs | Floors (including finishes) | The floor is suspended timber throughout, The floor is finished with carpet and non- slip vinyl, they are in a satisfactory order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Floors and stairs | Staircases (including finishes) | The building is accessed via a galvanised steel staircase, this has non slip treads in place and are in good order, The fire exit ramp is of the same construction and is in a good order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Ceilings | All types | The ceilings is of the same plasterboard as the walls and is in satisfactory order. Allow for cyclical decoration | 500 |  |  |  | 500 |  |  |  | 0 | 0 | 500 | 0 | 0
i | Redecoration | Internal | The Internal decoration is in a satisfactory order. | 850 |  |  |  | 850 |  |  |  | 0 | 0 | 850 | 0 | 0
m | Sanitary services | Fittings | Toilets and basins were in satisfactory order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Waste Plumbing | All exposed waste plumbing is in goof order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Ventilation | Extract fan in cloakroom (rm. 25). | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Electrical services | Control Gear and Equipment | 2 nr. distribution boards in store (rm. 24). Allow for PPM check. | 250 |  | 50 | 50 | 50 | 50 | 50 |  | 50 | 50 | 50 | 50 | 50
m | Electrical services | Power and Associated Fittings | PVC socket outlets. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Electrical services | Lighting and Associated Fittings | Fluorescent baton and 2D luminaires. Allow PPM relamping | 250 |  | 50 | 50 | 50 | 50 | 50 |  | 50 | 50 | 50 | 50 | 50
m | Electrical services | Fire Alarms | Break glass call point and bell. Part of main school system. Include with PPM in main school and for upgrade. | 125 |  | 25 | 25 | 25 | 25 | 25 |  | 25 | 25 | 25 | 25 | 25
m | Electrical services | Security Alarms / CCTV | Passive infra red detector in room 24. | 125 |  | 25 | 25 | 25 | 25 | 25 |  | 25 | 25 | 25 | 25 | 25
m | Electrical services | Electrical Heating | Night storage heaters and fan heater in cloakroom. | 250 |  | 50 | 50 | 50 | 50 | 50 |  | 50 | 50 | 50 | 50 | 50
g | External areas | Roads and Car Parks | The car park is rough stoned and is shared with the village hall. It is adequate but scruffy in appearance. Long term consideration for new surface to car park. | 30000 | [5 empty] | 30000 |  | 0 | 0 | 0 | 0 | 0
g | External areas | Playing fields | The playing field is grassed and slopes gently from North West to South West, allow for routine grounds maintenance. | 1250 |  | 250 | 250 | 250 | 250 | 250 |  | 250 | 250 | 250 | 250 | 250
g | External areas | Hard Playing Areas | The hard playing area is situated to the front of the building and slopes gently to the road. It is surfaced with fine macadam and appears free from obvious surface defects. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
g | External areas | Paths & Pedestrian Paved Areas | The paths are both tarmac and concrete slabs. The path surrounding the village hall is unfinished and is surfaced in stone. This detracts from the rest of the site. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
g | External areas | Soft Landscaping | There are several cultivated trees and hedges around the site as well as a piece of woodland, all trees and shrubs appeared to be healthy. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
g | External areas | Walls, Fences and Gates | There are several different types of fencing and walls to the site, these include weldmesh, brick and stone walls, tubular and steel bar railings and timber paling fences. The gates are predominantly galvanized steel though painted. Steel gates are present. All are generally in good order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
g | External areas | Ancillary Buildings | There are several timber buildings around the site providing extra storage as well as two Wendy houses one of which has some felt missing from the roof. There is also some timber play equipment which also appears to be in good order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
g | External areas | Drainage | No problems were reported with the drainage system, the foul drains issue to a biodisk type treatment plant which is shared with the village hall. No blockages were noted in the manholes lifted. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0

## EFA Property
|  |  | EFA survey data | [6 empty] | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other
DFE | School | School Type | Date received | Condition rating C or D | Priority rating 1 or 2 | Element | Category | CCP rating
|  |  |  | c | 2 | Mechanical services, Heat source and equipment, Generally, Main school | m | mc2 | C1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | c | 2 | Floors and stairs, Sloors screed and finish, Vinyl/Runbber/Sheet, Mobile | i | ic2 | C2 | 0 | 0 | 0 | 1 | 1 | 2 | 0
|  |  |  | c | 2 | Mechanical services, Heat sorce and equipment, Generally, Mobile | m | mc2 | D1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | c | 2 | Redecorations, External windows doors etc, Timber, Mobile | w | wc2 | D2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D3 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Suitability and Compliance
Space |  |  | BB103 suggested sizes
[6 empty] | Suitability Data | [7 empty] | Compliance Comparison |  |  | 1/third | Form of entry | PAN | 10
Basic Teaching Spaces |  |  | No. of spaces | m2 | Total m2 | Plan ref | Space | [6 empty] | Total area | Shortfall | Surplus | 2013 | Date of last assessment
|  | Classroom - Year R | 1 | 62 | 62 | 13 | General classroom | 62.44 | [5 empty] | 62.44 | 0 | 0.44
|  | Classroom - Year 1 | 0 | 62 | 0 | [8 empty] | 0 | 0 | 0 | 1 | No. Temp Buildings on Site
|  | Classroom - Year 2 | 0 | 62 | 0 | [8 empty] | 0 | 0 | 0 | 1 | No. of Classrooms in Temporary Buildings
|  | Classroom - Year 3 | 1 | 62 | 62 | 17 | General classroom | 31.13 | [5 empty] | 31.13 | 30.87 | 0 | 3 | No. of Classrooms
|  | Classroom - Year 4 | 0 | 62 | 0 | [8 empty] | 0 | 0 | 0 | 3 | Required No. of Classroooms
|  | Classroom - Year 5 | 1 | 62 | 62 | 26 | General classroom | 46.04 | [5 empty] | 46.04 | 15.96 | 0
|  | Classroom - Year 6 | 0 | 62 | 0 | [8 empty] | 0 | 0 | 0
|  | Practical area / food bay | 0 | 0 | 0 | 14, 16 | Practical area | 9.17 | 7.87 |  |  |  |  | 17.04 | 0 | 17.04 | 33.33% | of classrooms are the recommended size
|  | ICT base | 0 | 0 | 0 | [8 empty] | 0 | 0 | 0 | 66.67% | of classrooms are small
[5 empty] | 186 | [8 empty] | 156.65 | 46.83 | 17.48 | 84.22% | of the recommended basic teaching space required
[16 empty] | 139.17 | 74.82% | of the recommended basic teaching space required ignoring surplus
Halls and Studios | [16 empty] | 25.18% | shortfall in basic teaching space
| 1 | Main hall | 1 | 140 | 140 | [8 empty] | 0 | 140 | 0
[5 empty] | 140 | [8 empty] | 0 | 140 | 0 | 0% | of the recommended hall size
Storage | [16 empty] | 100% | shortfall in hall size
| 1 | Coat and bag storage - Year R | 1 | 3 | 3 | 10 | Cloakroom (shared) | 3 | [5 empty] | 3 | 0 | 0
| 2 | Coat and bag storage - Year 1 | 0 | 3 | 0 | [8 empty] | 0 | 0 | 0
| 3 | Coat and bag storage - Year 2 | 0 | 3 | 0 | [8 empty] | 0 | 0 | 0
| 4 | Coat and bag storage - Year 3 | 1 | 3 | 3 | 10 | Cloakroom (shared) | 4.31 | [5 empty] | 4.31 | 0 | 1.31
| 5 | Coat and bag storage - Year 4 | 0 | 3 | 0 | [8 empty] | 0 | 0 | 0
| 6 | Coat and bag storage - Year 5 | 1 | 3 | 3 | 25 | Cloakroom | 7.52 | [5 empty] | 7.52 | 0 | 4.52
| 7 | Coat and bag storage - Year 6 | 0 | 3 | 0 | [8 empty] | 0 | 0 | 0
| 8 | Teaching storage - Year R | 1 | 2 | 2 | [8 empty] | 0 | 2 | 0
| 9 | Teaching storage - Year 1 | 0 | 2 | 0 | [8 empty] | 0 | 0 | 0
| 10 | Teaching storage - Year 2 | 0 | 2 | 0 | [8 empty] | 0 | 0 | 0
| 11 | Teaching storage - Year 3 | 1 | 2 | 2 | [8 empty] | 0 | 2 | 0
| 12 | Teaching storage - Year 4 | 0 | 2 | 0 | [8 empty] | 0 | 0 | 0
| 13 | Teaching storage - Year 5 | 1 | 2 | 2 | 24 | Store room | 2.45 | [5 empty] | 2.45 | 0 | 0.45
| 14 | Teaching storage - Year 6 | 0 | 2 | 0 | [8 empty] | 0 | 0 | 0
| 15 | Specialist walk in stores | 1 | 5 | 5 | 4 | Store room | 14.8 | [5 empty] | 14.8 | 0 | 9.8
| 18 | Indoor PE equipment storage | 1 | 14 | 14 | [8 empty] | 0 | 14 | 0
| 19 | Outdoor PE equipment storage | 0 | 0 | 0 | [8 empty] | 0 | 0 | 0
|  | Bulk stock store | 1 | 4 | 4 | [8 empty] | 0 | 4 | 0
| 21 | Caretakers and maintenance store | 1 | 4 | 4 | [8 empty] | 0 | 4 | 0
| 22 | Cleaning store | 1 | 3 | 3 | [8 empty] | 0 | 3 | 0
| 23 | Table and chair store | 1 | 5 | 5 | [8 empty] | 0 | 5 | 0
| 25 | Staging/ appliance store | 1 | 4 | 4 | [8 empty] | 0 | 4 | 0
|  | Mobility equipment store | 1 | 2 | 2 | [8 empty] | 0 | 2 | 0
| 24 | Store for community | 0 | 0 | 0 | [8 empty] | 0 | 0 | 0
[5 empty] | 56 | [8 empty] | 32.08 | 40 | 16.08 | 57.29% | of the recommended storage space required
Staff and admin | [16 empty] | 71.43% | shortfall
| 1 | Heads office | 1 | 12 | 12 | 8 | Heads office | 12.16 | [5 empty] | 12.16 | 0 | 0.16
| 3 | Staff room work and social | 1 | 17 | 17 | 15 | Staffroom | 14.38 | [5 empty] | 14.38 | 2.62 | 0
|  | Staff PPA | 1 | 8 | 8 | [8 empty] | 0 | 8 | 0
| 4 | Senior management office | 0 | 10 | 0 | [8 empty] | 0 | 0 | 0
| 7 | General office (reception) | 1 | 8 | 8 | 28 | Reception (office) | 10.27 | [5 empty] | 10.27 | 0 | 2.27
| 8 | Secure reception | 1 | 4 | 4 | 29 | Entrance | 5.24 | [5 empty] | 5.24 | 0 | 1.24
| 9 | Reprographics room | 1 | 6 | 6 | [8 empty] | 0 | 6 | 0
| 10 | Meeting room | in head | 0 | 0 | [8 empty] | 0 | 0 | 0
| 11 | Sick bay | 1 | 3 | 3 | [8 empty] | 0 | 3 | 0
| 13 | Interview room | 1 | 8 | 8 | [8 empty] | 0 | 8 | 0
[5 empty] | 66 | [8 empty] | 42.05 | 27.62 | 3.67 | 63.71% | of the recommended staff and admin space required
Learning resource area | [16 empty] | 41.85% | shortfall
| 1 | Library (learning resource centre) | 1 | 18 | 18 | 1, 3 | Library | 12.65 | 9.95 |  |  |  |  | 22.6 | 0 | 4.6
| 3 | Small group room | 1 | 11 | 11 | [8 empty] | 0 | 11 | 0
| 5 | SENco office (SEN resource) | 1 | 12 | 12 | [8 empty] | 0 | 12 | 0
| 2 | Medical inspection room/ Therapy room | 1 | 12 | 12 | [8 empty] | 0 | 12 | 0
[5 empty] | 53 | [8 empty] | 22.6 | 35 | 4.6 | 42.64% | of the recommended learning resource areas
Supplementary area | [16 empty] | 66.04% | shortfall
| 1 |  | 0 | 0 | 0 | [8 empty] | 0 | 0 | 0
[5 empty] | 0 | [8 empty] | 0 | 0 | 0
[14 empty] | 0 | 0 | 0 | - | of the recommended supplementary areas
Non net areas | [16 empty] | - | shortfall
| 1 | Reception toilets | 3 | 2 | 6 | [8 empty] | 0 | 6 | 0 | 0 | Number of reception toilets
| 1 | Pupils toilets | 4 | 2 | 8 | 9, 12 | pupil w.c. (3 wc's 2 urinal) | 7.02 | 5.33 |  |  |  |  | 12.35 | 0 | 4.35 | 5 | Number of other pupil toilets
| 2 | Staff toilets | 2 | 2 | 4 | [8 empty] | 0 | 4 | 0 | 0% | % of recommended reception toilets
| 3 | Accessible toilet | 1 | 3 | 3 | 11 | Disabled w.c. | 3.08 | [5 empty] | 3.08 | 0 | 0.08 | 125% | % of recommended other pupil toilets
| 9 | Hygiene room | 1 | 12 | 12 | [8 empty] | 0 | 12 | 0
| 4 | Kitchen facilities (servery) | 1 | 20 | 20 | [8 empty] | 0 | 20 | 0
| 5 | Corridors | - | 22.5% | 112.725 | 5,6,7,31,32,11a | Corridors | 7.31 | 2.59 | 8.78 | 5 | 5 | 1.68 | 30.36 | 82.365 | 0
| 6 | Boiler room | 1 | 1.5% | 7.515 | 21 | Boiler room | 8.73 | [5 empty] | 8.73 | 0 | 1.215
| 7 | Server | in boiler | [10 empty] | 0 | 0 | 0
|  | Walls | - | 4% | 20.04 |  |  | 10.1352 | [5 empty] | 10.1352 | 9.9048 | 0
[5 empty] | 193.28 | [8 empty] | 64.6552 | 134.2698 | 5.645 | 33.45% | of the recommended non net area
Additional area | [16 empty] | 69.47% | shortfall
|  | Nursery class | 1 | 62 | 62 | [8 empty] | 0 | 62 | 0
|  | Quiet room | 1 | 8 | 8 | [8 empty] | 0 | 8 | 0
|  | Nursery store room | 1 | 2 | 2 | [8 empty] | 0 | 2 | 0
|  | Nursery office | 1 | 8 | 8 | [8 empty] | 0 | 8 | 0
|  | Nursery cloakroom | 1 | 3 | 3 | [8 empty] | 0 | 3 | 0
|  | Nursery pupils toilets | 3 | 2 | 6 | [8 empty] | 0 | 6 | 0
|  | Nursery staff toilets | 1 | 2 | 2 | [8 empty] | 0 | 2 | 0
|  | Nursery entrance | 1 | 22.5% | 1.8675 | [8 empty] | 0 | 1.8675 | 0
[5 empty] | 92.8675 | [8 empty] | 0 | 92.8675 | 0 | 0% | of the recommended additional area
[17 empty] | 100% | shortfall
Total Net area |  |  |  |  | 501 | [8 empty] | 253.38
Total Non-Net area |  |  |  |  | 193.28 | [8 empty] | 64.6552
Gross (total build) area - excluding nursery |  |  |  |  | 694.28 | [8 empty] | 318.0352 |  |  | 45.81% | of the recommended Gross area
Gross (total build) area - including nursery |  |  |  |  | 787.1475 | [8 empty] | 318.0352
Net Area Range |  |  |  |  | 637.0-715.0
Mid Range |  |  |  |  | 676
Total Site Area Range |  |  |  |  | 4329.0-5413.8
Mid Range |  |  |  |  | 4871.4
2
3
4

## Occupancy
Sufficiency Data
Planned Admission Number | Current Capacity | Maximum PAN | Capacity based on max PAN
8 | 56 | 10 | 70
NOR Spring Census
| 2008 / 2009 | 2009 / 2010 | 2010 / 2011 | 2011 / 2012 | 2012 / 2013 | 2013 / 2014
NOR Jan | 60 | 55 | 56 | 59 | 46 | 20
Maximum Capacity | 56 | 56 | 56 | 56 | 56 | 56
Number of Surplus Places | 0 | 1 | 0 | 0 | 10 | 36
% of surplus places | 0 | 1.8 | 0 | 0 | 17.9 | 64.2857
Current Numbers on Roll (from Autumn Census)
Year group | R | 1 | 2 | 3 | 4 | 5 | 6 | Total
Number | 4 | 7 | 5 | 2 | 4 | 5 | 4 | 31

## School stats
Current Ofsted | Year
Requires Improvement | 2014-06-04
2014 KS2 Performance Tables last update : (15 Sep 2014)
Year on year comparisons
Percentage achieving Level 4 or above in reading, writing and maths | 2012 | 2013 | 2014
School | 69% | 57% | SUPP
LA | 71% | 71% | 76%
England - All Schools | 75% | 75% | 79%
KS2 test results and progress
| All pupils | Low attainers | Middle attainers | High attainers
Pupils eligible for KS2 assessment | 4
Percentage of pupils achieving 3 or below in reading and maths test and writing TA | SUPP | SUPP | SUPP | SUPP
Percentage of pupils achieving level 4 or above in reading and maths test and writing TA | SUPP | SUPP | SUPP | SUPP
Percentage of pupils achieved level 4B or above in reading and maths test and level 4 in writing TA | SUPP | SUPP | SUPP | SUPP
Percentage of pupils achieving level 5 or above in reading and maths test and writing TA | SUPP | SUPP | SUPP | SUPP
Percentage of pupils making at least 2 levels of progress in reading | SUPP | SUPP | SUPP | SUPP
Percentage of pupils making at least 2 levels of progress in writing TA | SUPP | SUPP | SUPP | SUPP
Percentage of pupils making at least 2 levels of progress in maths | SUPP | SUPP | SUPP | SUPP
Average point score | SUPP
Closing the Gap
| Disadvantaged pupils | Other pupils
Percentage of disadvantaged pupils achieving level 3 or below in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4B or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 5 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in reading | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in maths | SUPP | SUPP
Value Added measures
| Measure | Lower CI | Upper CI | Coverage
Overall value added measure | SUPP | SUPP | SUPP | SUPP
Reading value added measure | SUPP | SUPP | SUPP | SUPP
Writing TA value added measure | SUPP | SUPP | SUPP | SUPP
Maths value added measure | SUPP | SUPP | SUPP | SUPP
Subject level results
| Reading test | Maths test | Grammar, punctuation and spelling test | Writing TA
Percentage achieving level 3 or below | SUPP | SUPP | SUPP | SUPP
Percentage achieving Level 4 or above | SUPP | SUPP | SUPP | SUPP
Percentage achieving Level 4b or above | SUPP | SUPP | SUPP | NA
Percentage achieving Level 5 or above | SUPP | SUPP | SUPP | SUPP
Pupil Absence last update : (11 Dec 2013)
| School | England - national (primary state-funded)
Overall absence: percentage | 3.7% | 4.8%
Persistent absence: around 15% + | SUPP | 3.6%
Please note - this year the Department will publish full year 2013/14 absence data in the performance tables in March 2015 rather than just the autumn and spring term data in December as in previous years, and we will continue to do so in future years. This is because the full year data provides the most robust indication of school absence rates.
School level information for the 2013/14 autumn and spring term only is available in our Statistical First Release here
2013-14 Finance last update : (10 Dec 2014)
Contextual information
Number of pupils (FTE) | 20
Percentage of pupils eligible for Free School Meals (FSM) | 0%
Free school meals eligibility band | LOW
Spend per pupil data as £ per pupil (in brackets percentage of total income or expenditure)
| School | LA Median | Non-London LAs Median | National Median
Grant funding | 13470 (98%) | 4525 | 4016 | 4325
Self generated income | 278 (2%) | 144 | 142 | 127
Total income | 13748 | 4723 | 4183 | 4479
Teaching staff | SUPP | 2277 | 2045 | 2106
Supply Staff | 776 (6%) | 87 | 118 | 127
Education support staff | SUPP | 689 | 650 | 733
Learning resources (not ICT equipment) | 493 (4%) | 181 | 174 | 184
ICT learning resources | 193 (1%) | 81 | 62 | 66
Bought in professional services - curriculum | 366 (3%) | 88 | 59 | 67
Back office (incl. Staff costs) | 1336 (10%) | 406 | 334 | 351
Catering (incl. Staff costs) | 30 (0%) | 35 | 53 | 75
Premises (incl. Staff costs) | 847 (6%) | 259 | 275 | 301
Other staff costs | 302 (2%) | 153 | 133 | 142
Energy | 243 (2%) | 68 | 62 | 65
Other expenditure | 744 (5%) | 94 | 85 | 88
Total expenditure | 13864 | 4562 | 4143 | 4431
Spend per pupil data as £ per pupil : Comparisons over time
| 2010-11 | 2011-12 | 2012-13 | 2013-14
Teaching staff and Education support staff expenditure | 3781 | 3689 | SUPP | SUPP
Supply staff | 153 | 172 | 44 | 776
Back office (incl. Staff costs) | 413 | 429 | 555 | 1336
Energy | 67 | 71 | 78 | 243
Total expenditure | 5834 | 5249 | 6585 | 13864
School Workforce last update : (10 Dec 2014)
This data is based upon the November 2013 School Workforce Census
| School | England - national (primary state-funded)
Headcount of all teachers in a school | 6 | 236728
Headcount of all teaching assistants in a school | 2 | 239340
Headcount of all support (exc. auxillary) staff in a school | 1 | 77335
Full-time equivalent number of all teachers in a school | 3.8 | 207827.7
Full-time equivalent number of all teaching assistants in a school | 1 | 154245.3
Full-time equivalent number of all support (exc. auxillary) staff in a school | 0.7 | 51728.3
Ratio of pupils to teachers in a school | 5.3 | 20.5
Average gross salary of all teachers in a school | 33838 | 36559

## Parental Preference
Popularity Data | [10 empty] | Children at School From School Catchment
Parental First Preference Applications | [11 empty] | 2010 | 2011 | 2012 | 2013 | 2014 |  | Catchment vs Nearest School | Catchment | Nearest
Year | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  |  | NOR | 55 | 56 | 59 | 46 | 20 |  | NOR | 31 | 31
PAN | 8 | 8 | 8 | 8 | 8 | 8 |  |  |  |  | Number | 36 | 39 | 39 | 32 | 15 |  | Total in area | 52 | 48
No. | 8 | 8 | 4.96 | 2.96 | 3 | 5 |  |  |  |  | % | 65.4545 | 69.6429 | 66.1017 | 69.5652 | 75 |  | Number at School from area | 13 | 11
% | 100 | 100 | 62 | 37 | 37.5 | 62.5 | [11 empty] | % at School | 41.9355 | 35.4839
[11 empty] | Total number in Catchment | [6 empty] | % of area going to School | 25 | 22.9167
[12 empty] | 2010 | 2011 | 2012 | 2013 | 2014
[11 empty] | Number | 42 | 48 | 51 | 42 | 41
[11 empty] | % | 100 | 100 | 100 | 100 | 100
Where children at School are coming from (from Spring Census 2014)
DCSF No. | School |  | Clifford | Ewyas Harold | Garway | Lord Scudamore | Marlbrook | Kingstone & Thruxton | Longtown | Madley | Michaelchurch Escley | Peterchurch | Canon Pyon C E | Clehonger C E | Eardisley C E | Out of County | Grand Total
2031 | Clifford | Number | 49 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 1 | 13 | 1 | 0 | 3 | 11 | 82
2031 | Clifford | % | 59.7561 | 0 | 0 | 0 | 0 | 0 | 4.878 | 0 | 1.2195 | 15.8537 | 1.2195 | 0 | 3.6585 | 13.4146 | 100
2101 | Longtown | Number | 0 | 9 | 2 | 1 | 0 | 1 | 40 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 56
2101 | Longtown | % | 0 | 16.0714 | 3.5714 | 1.7857 | 0 | 1.7857 | 71.4286 | 0 | 5.3571 | 0 | 0 | 0 | 0 | 0 | 100
2116 | Michaelchurch Escley | Number | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 15 | 3 | 0 | 1 | 0 | 0 | 20
2116 | Michaelchurch Escley | % | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 75 | 15 | 0 | 5 | 0 | 0 | 100
2122 | Peterchurch | Number | 3 | 7 | 0 | 0 | 2 | 5 | 0 | 1 | 15 | 85 | 0 | 1 | 0 | 2 | 121
2122 | Peterchurch | % | 2.4793 | 5.7851 | 0 | 0 | 1.6529 | 4.1322 | 0 | 0.82645 | 12.3967 | 70.2479 | 0 | 0.82645 | 0 | 1.6529 | 100
Where school children in the Schools Catchment area are going to (from Spring Census 2014)
DCSF No. | School |  | Clifford | Ewyas Harold | Kingstone & Thruxton | Longtown | Madley | Michaelchurch Escley | Peterchurch | Eardisley C E | Staunton-on-Wye Endowed | Grand Total
2031 | Clifford | Number | 49 | 0 | 0 | 0 | 3 | 0 | 3 | 1 | 14 | 70
2031 | Clifford | % | 70 | 0 | 0 | 0 | 4.2857 | 0 | 4.2857 | 1.4286 | 20 | 100
2101 | Longtown | Number | 4 | 1 | 0 | 40 | 0 | 0 | 0 | 0 | 0 | 45
2101 | Longtown | % | 8.8889 | 2.2222 | 0 | 88.8889 | 0 | 0 | 0 | 0 | 0 | 100
2116 | Michaelchurch Escley | Number | 1 | 2 | 1 | 3 | 1 | 15 | 15 | 0 | 3 | 41
2116 | Michaelchurch Escley | % | 2.439 | 4.878 | 2.439 | 7.3171 | 2.439 | 36.5854 | 36.5854 | 0 | 7.3171 | 100
2122 | Peterchurch | Number | 13 | 0 | 4 | 0 | 7 | 3 | 85 | 0 | 2 | 114
2122 | Peterchurch | % | 11.4035 | 0 | 3.5088 | 0 | 6.1404 | 2.6316 | 74.5614 | 0 | 1.7544 | 100

## Disability access
Physical Accessibility Rating | 1
Information from https://www.herefordshire.gov.uk/education-and-learning/schools/directory
Ratings and descriptions
Rating | Details | Description
3 | Fully accessible | Will meet the needs of all disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling); Has a full hygiene room and special educational needs or therapy room for pupils who need more assistance with personal care (including hoisting) and regular physio or other treatment
2 | Mainly accessible | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
1 | Partly accessible | Some standards met but some areas not accessible
0 | Inaccessible | No level access into building and/or no disabled toilet
Summary of physical accessibility standards
Level access into building(s): Main and pupil entrance(s) level, with ramps and hand rails as required
Level access to all curriculum and social areas (not necessarily entire building/site): including assembly hall, canteen (may be achieved by sensitive organisation and timetabling)
Access to upper floors: if required - lift(s) as alternative to steps or stairs
Toilet facilities: small disabled toilet(s) as specified by building regulations - suitable for most disabled pupils. A small number of pupils will require enhanced facilities (hygiene room) to provide greater assistance, including hoisting.
Medical, therapy or SEN room: multi-purpose or flexible use - usually required in addition to a hygiene room, for regular physio and other physical programmes
Emergency evacuation: routes should be level and unobstructed. Evacuation must be documented (using Personal Emergency Evacuation Plans - PEEPs) and practised regularly