## Cover Page
Orleton CE Primary School
Summary Report
Contents
|  | Section | Page | No. of pages
Orleton CE Primary School |  | Summary Data | 3 | 1
Summary Report |  | General Information and Asset Summary | 4 | 1
|  | Maintenance and Condition Summary | 5 | 2
|  | Education Funding Agency Condition Survey Data | 7 | 1
Schools Capital Investment Strategy |  | Suitability and Compliance Summary | 8 | 2
|  | School Occupancy Summary | 10 | 1
|  | School Statistics | 11 | 1
|  | Environmental Sustainability Condition | 12 | 1
|  | Parental Preference | 13 | 1
|  | Distribution of Children Attending School or Resident in its Catchmnet Area | 14 | 1
|  | Distribution of Children Attending School or Where it is the Nearest School | 15 | 1
|  | Key Services Within 2 Mile Radius of School | 16 | 1
|  | Key Services Adjacent to School | 17 | 1
|  | Disability Access | 18 | 1
Children's Wellbeing
Herefordshire Council
Plough Lane Offices
Plough Lane
HEREFORD
HR4 0LE

## Summary Info
Orleton CE Primary School
Summary Report
Summary of Headline Information
Asset Summary | [5 empty] | Occupancy Summary
Gross Site Area (M2)(whole site including building):- |  | 7937.98 |  |  |  | Current Capacity (PAN 30):- |  |  |  | 210
Insurance Asset Value (£000):- |  | 704699.6334 |  |  |  | Allocated Capacity Size (PAN 30):- |  |  |  | 210
Land Asset Value (£000):- |  | 283783 |  |  |  | Current Occupancy:- |  |  |  | 168
Land Ownership:- | Buildings diocese, field owned |  |  |  |  | Current Planned Admission No.:- |  |  |  | 30
[6 empty] | Current Number Over Capacity:- |  |  |  | 0
[6 empty] | Current Number Under Capacity:- |  |  |  | 42
Maintenance Expenditure Required on the School over a 5 Year Period Summary
Survey Date:- |  |  |  | 2014-09-19
Backlog Maintenance Total (£000):- | [6 empty] | Not Available
Total Forecast Expenditure (5 years) (£000):- | [6 empty] | 153.5626
Total Potential Local Authority Forecast Expenditure (£000):- | [6 empty] | 134.154
Total Potential School Forecast Expenditure (£000):- | [6 empty] | 19.4086
Suitability and Compliance
Required Number of Classrooms:- | [6 empty] | 7 | Required Building Footprint (M2):- |  | 1225
Actual Number of Classrooms:- | [6 empty] | 7 | Current Building Area (M2):- |  | 954.0516
Percentage of Classrooms that are the Recommended Size:- | [6 empty] | 42.8571 | Area Shortfall (M2):- |  | 270.9484
Compliance Percentage of Recommended Hall Size:- | [6 empty] | 77.8722 | Area Surplus (M2):- |  | 0
Number of Temporary Buildings on Site:- |  |  |  |  | 2 |  |  | Total Percentage Compliance:- |  | 77.8818
Number of Classrooms in Temporary Buildings:- |  |  |  |  | 2
Compliance Percentage of Recommended Reception Toilets:- | [6 empty] | 66.6667 | Required Net Site Area (M2):- |  | 8891
Compliance Percentage of Recommended Other Pupil Toilets:- | [6 empty] | 120 | Current Net Site Area (M2):- |  | 6983.9284
Nursery on Site:- | Yes | [6 empty] | Area Shortfall (M2):- |  | 1907.0716
[8 empty] | Area Surplus (M2):- |  | 0
[8 empty] | Total Percentage Compliance:- |  | 78.5505
Disability Access
Rating:- | 2 |  | Details:- |  |  |  | Mainly accessible
Environmental Sustainability Condition
DEC Rating:- |  |  |  |  | D
Electric Consumption 2014/Child:- |  |  |  |  | 193.5
Gas Consumption 2014/Child:- |  |  |  |  | 229.0429
School Statistics
Ofsted Results:- | [8 empty] | Good
Percentage of Children Achieving KS2 Level 4 or Above in Reading, Writing and Maths in 2014:- | [8 empty] | 96
Parental Preference (2014)
Percentage of Parental First Preference Applications:- | [6 empty] | 66.6667
Total Number of Children within Catchment:- | [6 empty] | 123
Total Number of Children at School from Catchment:- | [6 empty] | 118
Percentage of Catchment at School:- | [6 empty] | 69.4118
Percentage of Catchment Going to School:- | [6 empty] | 95.935

## Report
|  |  | Orleton CE Primary School | [6 empty] | Orleton CE Primary School | [14 empty] | Orleton CE Primary School | [7 empty] | Orleton CE Primary School |  |  |  |  | Orleton CE Primary School |  | Orleton CE Primary School |  |  |  |  | Orleton CE Primary School | [5 empty] | Orleton CE Primary School |  |  | Orleton CE Primary School | [8 empty] | Orleton CE Primary School |  | Orleton CE Primary School |  | Orleton CE Primary School |  | Orleton CE Primary School |  | Orleton CE Primary School |  |  | Orleton CE Primary School
|  |  | Summary Report | [6 empty] | Summary Report | [14 empty] | Summary Report | [7 empty] | Summary Report |  |  |  |  | Summary Report |  | Summary Report |  |  |  |  | Summary Report | [5 empty] | Summary Report |  |  | Summary Report | [8 empty] | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  |  | Summary Report
General Information |  |  |  | Maintenance and Condition Summary | [21 empty] | Education Funding Agency Condition Survey Data | [7 empty] | Suitability and Compliance Summary |  |  |  |  | Suitability and Compliance Summary (continued) |  | School Occupancy Summary |  |  |  |  | School Statistics | [5 empty] | Environmental Sustainability Condition |  |  | Parental Preference | [8 empty] | Distribution of Children Attending School or Resident in its Catchment Area |  | Distribution of Children Attending School or Where it is the Nearest School |  | Key Services Within 2 Mile Radius of School |  | Key Services Adjacent to School |  | Disability Access
Maintenance and Condition Summary (continued)
School Name:- | Orleton CE Primary School |  |  | Survey Date:- | 2014-09-19 |  | Survey Company:- |  | Hub |  | Key Elements and Annual Forecast Maintenance Costs and Responsibilities | [14 empty] | Date of Survey:- |  | 2014-03-19 | [5 empty] | Areas | Standard Criteria (M2) (PAN 30) | Schools Compliance (M2) | Compliance Percentage |  |  |  | Current Planned Admission No. (PAN) | Current School Capacity | Maximum PAN | Maximum Capacity Based on PAN |  | Year | KS2 Year on Year Results |  |  |  |  | Electric Consumption 2014/Child:- | 193.5 |  |  | Parental First Preference Applications | [15 empty] | Physical Accessibility Rating
Head Teacher:- | Mr A Breakwell | DFE Number:- | 3083 | Year | Forecast Maintenance Costs (£ 000) | [5 empty] | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows and Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | Number of Occurences Identified Within the Report | [7 empty] | Basic Teaching Space | 434 | 485.27 | 111.8134 |  |  |  | 30 | 210 | 30 | 210 |  |  | School - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | LA - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | All Schools in England - Percentage Achieving Level 4 or Above in Reading, Writing and Maths |  |  | Gas Consumption 2014/Child:- | 229.0429 |  |  | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | [10 empty] | Rating: | 2
Leadership:- | Shared head with St James, Kimbolton. | [24 empty] | Rating (see key below) | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other | Hall and Studio | 180 | 140.17 | 77.8722 | [17 empty] | PAN | 30 | 30 | 30 | 30 | 30 | 30
Address:- | Orleton C E Primary School, Ludlow, Shropshire SY8 4HQ | Email:- | admin@orleton.hereford.sch.uk | Backlog | Not Available | [5 empty] | £ 000 | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | [8 empty] | Storage | 98 | 37.42 | 38.1837 |  |  |  | Historical Numbers on Roll Data (Spring Census) | [13 empty] | Number | 22.8 | 28.8 | 10.8 | 18.9 | 14.01 | 20 | [10 empty] | Details: | Mainly accessible
|  |  |  | 2015 | 12.6752 |  |  | Not Available |  |  | Backlog | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | C1 | [7 empty] | Staff and Admin | 101 | 54.48 | 53.9406 |  |  |  | Year | Total NOR | Capacity Based on PAN | Shortfall | Surplus | 2012 | 73 | 71 | 75 | [5 empty] | Percentage | 76 | 96 | 36 | 63 | 46.7 | 66.6667
|  |  |  | 2016 | 0.8738 |  |  | 12.6752 |  |  | 2015 | 1.3878 | 0 | 2.6008 | 0 | 0 | 0 | 1.028 | 0 | 2.1845 | 0 | 0.3341 | 5.14 | 0 | 0 | C2 | 1 |  |  |  |  | 2 |  | Learning Resource | 87 | 50.95 | 58.5632 |  |  |  | 2008 / 2009 | 191 | 210 | 0 | 19 | 2013 | 87 | 71 | 75 | [22 empty] | Description: | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
|  |  |  | 2017 | 114.365 |  |  | 0.8738 |  |  | 2016 | 0.0514 | 0 | 0 | 0 | 0.257 | 0 | 0 | 0 | 0 | 0 | 0.5654 | 0 | 0 | 0 | D1 | [7 empty] | Supplementary Area | 0 | 0 | - |  |  |  | 2009 / 2010 | 200 | 210 | 0 | 10 | 2014 | 96 | 76 | 79 | [5 empty] | Historical Catchment Analysis (Spring Census)
Telephone No.:- | T: 01568 780366 F: 01568 780366 | School Cluster:- | Wigmore District- Wigmore School Academy | 2018 | 0.6168 |  |  | 114.365 |  |  | 2017 | 1.1822 | 7.196 | 1.542 | 0 | 3.855 | 0 | 0.3084 | 0 | 0 | 32.382 | 1.0794 | 5.14 | 0 | 61.68 | D2 | [7 empty] | Non Net Area | 325 | 185.7616 | 57.1574 |  |  |  | 2010 / 2011 | 188 | 210 | 0 | 22 | [9 empty] | Catchment Analysis |  |  |  | 2010 | 2011 | 2012 | 2013 | 2014
|  |  |  | 2019 | 25.0318 |  |  | 0.6168 |  |  | 2018 | 0.0514 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5654 | 0 | 0 | 0 | D3 | [7 empty] | Total Gross Building Area | 1225 | 954.0516 | 77.8818 |  |  |  | 2011 / 2012 | 173 | 210 | 0 | 37 | KS2 Test Results and Progress (2014) | [11 empty] | Total in Catchment | 118 | 116 | 121 | 121 | 123
[8 empty] | 25.0318 |  |  | 2019 | 0.0514 | 22.616 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3644 | 0 | 0 | 0 | [15 empty] | 2012 / 2013 | 175 | 210 | 0 | 35 | [12 empty] | Number at School from Catchment | 115 | 111 | 114 | 115 | 118
School Type:- | Voluntary Controlled | Building Number:- | QFA7 | Total | 153.5626 | [5 empty] | Totals | 2.7242 | 29.812 | 4.1428 | 0 | 4.112 | 0 | 1.3364 | 0 | 2.1845 | 32.382 | 4.9087 | 10.28 | 0 | 61.68 | *Note the information noted above has been extracted from the EFA survey focusing on elements that are C & D rated. Items with an A or B rating have been excluded. The numbers reference the quantity of elements that the survey has picked up within the relevant category | [7 empty] | Total Gross Site Area | 10116 | 7937.98 | 78.4696 |  |  |  | 2013 / 2014 | 170 | 210 | 0 | 40 | Pupils eligible for KS2 assessment |  |  |  | 23 | [7 empty] | Percentage at School from Catchment | 57.5 | 59.0426 | 65.896 | 65.7143 | 69.4118
Current Capacity:- | 210 | Site Area:- | 7937.98 | [30 empty] | Net Site Area (less the building area) | 8891 | 6983.9284 | 78.5505 |  |  |  | Current Occupancy | 168 | 210 | 0 | 42 | Percentage achieving level 3 or below in reading, writing and maths |  |  |  | 0 | [7 empty] | Percentage of Catchment Going to School | 97.4576 | 95.6897 | 94.2149 | 95.0413 | 95.935
[11 empty] | Total Potential Expenditure - Local Authority (£000) | [6 empty] | 134.154 | [27 empty] | Percentage achieving level 4 or above in reading, writing and maths |  |  |  | 96
|  |  |  | Key Elements of Forecast Maintenance | [29 empty] | Key Information (based on Building Bulletin 103) | [6 empty] | Current Occupancy Summary (Autumn Census 2014) |  |  |  |  | Percentage achieving level 4B or above in reading and maths and level 4 or above in writing |  |  |  | 91 |  |  |  |  | Catchment and Nearest School Comparison (Autumn Census 2014)
|  |  |  | Categories |  | Totals (£ 000) | [19 empty] | Key | [7 empty] | Required Number of Classrooms |  |  |  | 7 |  |  | Year Group | NOR | Shortfall | Surplus |  | Percentage achieving level 5 or above in reading, writing and maths |  |  |  | 30 | [7 empty] | Catchment vs Nearest School | Catchment | Nearest
|  |  |  | External Grounds |  | 32.5362 |  |  |  |  | Total Potential Expenditure - School (£000) | [6 empty] | 19.4086 | [7 empty] | Condition grade | Definition |  |  |  | Priority rating | Definition |  | Number of Classrooms |  |  |  | 7 |  |  | Reception | 24 | 0 | 6 |  | Percentage making expected progress in reading |  |  |  | 100 | [7 empty] | NOR | 168 | 168
|  |  |  | Roof Works |  | 4.1428 | [27 empty] | Percentage of Classrooms that are the Recommended Size |  |  |  | 42.8571 |  |  | One | 19 | 0 | 11 |  | Percentage making expected progress in writing |  |  |  | 100 | [7 empty] | Total in Area | 123 | 111
|  |  |  | External Walls |  | 4.112 | [19 empty] | A Good | Performing as intended and operating efficiently |  |  |  | 1 | Immediate or year 1 remedial action required |  | Percentage of Classrooms that are Classed as Small |  |  |  | 57.1429 |  |  | Two | 20 | 0 | 10 |  | Percentage making expected progress in maths |  |  |  | 95 | [7 empty] | Number at School from Area | 118 | 109
|  |  |  | Windows and Doors |  | 1.3364 | [27 empty] | Number of Temporary Buildings on Site |  |  |  | 2 |  |  | Three | 16 | 0 | 14 |  | Average point score |  |  |  | 30.5 | [7 empty] | Percentage at School | 70.2381 | 64.881
|  |  |  | Internal Works |  | 34.5665 | [19 empty] | B Satisfactory | Performing as intended but exhibiting minor deterioration |  |  |  | 2 | Year 1-2 remedial action required |  | Number of Classrooms in Temporary Buildings |  |  |  | 2 |  |  | Four | 30 | 0 | 0 | [13 empty] | Percentage of area going to School | 95.935 | 98.1982
Asset Summary |  |  |  | Mechanical and Electrical |  | 15.1887 | [27 empty] | Percentage of Recommended Reception Toilets |  |  |  | 66.6667 |  |  | Five | 31 | 1 | 0 |  | Latest Ofsted Report Date:- |  | 2013-11-27
|  |  |  | Other (e.g. ancillary buildings) |  | 61.68 | [19 empty] | C Poor | Exhibiting major defects and/or not operating as intended |  |  |  | 3 | Year 3-5 remedial action required |  | Percentage of Recommended Other Pupil Toilets |  |  |  | 120 |  |  | Six | 28 | 0 | 2 |  | Ofsted Result:- |  | Good
Asset Value - Insurance (£000):- |  | 704.6996 | [38 empty] | Total | 168 | 0 | 42
Asset Value - Land (£000):- |  | 283.783 | [23 empty] | D Bad | Life-expired and/or at serious risk of imminent failure
Land Owner:- |  | Buildings diocese, field owned | [36 empty] | Category | Areas Included
[39 empty] | Basic Teaching Spaces | General Classrooms, ICT Rooms, Practical Areas
[39 empty] | Hall and Studio | Halls, Dining Areas
Lease Agreement / Notes:- |  | Not Known | [36 empty] | Storage | Coats and Bags, Teaching, Specialist, PE Equipment, Bulk Stock, Cleaning, Caretakers and Maintenance, Tables and Chairs, Staging, Mobility Equipment
Nursery Provision:- |  | PVI Nursery | [36 empty] | Staff and Admin | Heads and Staff Offices, Staff Room, Staff PPA,Reprographics Room, Sick Bay, Interview and Meeting Rooms, Secure Entrance
[39 empty] | Learning Resource | Library, Small Group Rooms, SENCO Office, Medical Inspection Room
[39 empty] | Supplementary Area | Any other specialist area at the school e.g. Music Classroom, Swimming Pool, SEN Classrooms
[39 empty] | Non Net Area | Pupil and Staff Toilets, Accessible Toilets, Hygiene Room, Kitchen, Corridors, Server Room, Boilers
[39 empty] | Additional Area | Nursery provision

## Feedback
|  | Orleton CE Primary School |  |  | Orleton CE Primary School |  |  | Orleton CE Primary School
|  | Feedback Form |  |  | Feedback Form |  |  | Feedback Form
General Information and Asset Summary |  |  | School Occupancy Summary |  |  | Parental Preference
Do you believe the data to be accurate? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Maintenance and Condition Summary |  |  | School Statistics |  |  | Disability Access
Do you believe the data to be a fair reflection of the maintenance and condition of the school? | [5 empty] | Do you believe the data to be a fair reflection of the environmental condition of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Suitability and Compliance Summary |  |  | Environmental Sustainability Condition |  |  | Any Other Comments
Do you believe the data to be a fair reflection of the suitability and compliance issues faced by the school? | [5 empty] | Additional comments about the information provided:
Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments:
If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920
Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015

## Asset summary
Building ref number:- | QFA7
Site Area:- | 7937.98
Building Type:- | Not Known
Asset Value (Insurance):- | 704699.6334
Asset Value (Land):- | 283783
Land owner:- | Buildings diocese, field owned
Lease agreement / notes:- | Not Known
DEC rating:- | D
Electric consumption 2014/child:- | 193.5
Gas consumption 2014/child:- | 229.0429

## Maintenance
Maintenance & Condition Summary |  |  |  | BCIS Quarter | 3Q2014 | [11 empty] | Check | Main year totals | Summary year totals | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows & Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | BCIS quarter | BCIS uplift
Year survey undertaken |  | 2014-09-19 |  | BCIS Uplift | 1.028 | [15 empty] | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | 1Q2009 | 1.1525
Survey company:- |  | Hub | [15 empty] | 0 | 0 | Backlog | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2Q2009 | 1.1898
[18 empty] | 12675.24 | 12675.24 | 2015 | 1387.8 | 0 | 2600.84 | 0 | 0 | 0 | 1028 | 0 | 2184.5 | 0 | 334.1 | 5140 | 0 | 0 | 3Q2009 | 1.1898
[18 empty] | 873.8 | 873.8 | 2016 | 51.4 | 0 | 0 | 0 | 257 | 0 | 0 | 0 | 0 | 0 | 565.4 | 0 | 0 | 0 | 4Q2009 | 1.2123
|  |  |  | Year covered? | N | Y | Y | Y | Y | Y | School Costs | [6 empty] | 114365 | 114365 | 2017 | 1182.2 | 7196 | 1542 | 0 | 3855 | 0 | 308.4 | 0 | 0 | 32382 | 1079.4 | 5140 | 0 | 61680 | 1Q2010 | 1.2297
Category | Ref | Element | Recommended Works | Estimated Work Cost | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 |  | 616.8 | 616.8 | 2018 | 51.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 565.4 | 0 | 0 | 0 | 2Q2010 | 1.1789
[18 empty] | 25031.8 | 25031.8 | 2019 | 51.4 | 22616 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2364.4 | 0 | 0 | 0 | 3Q2010 | 1.1735
r | Roofs | Flat | It is understood that felt coverings were largely replaced approximately 8-10 years ago. At junctions with higher sections of the property felt up stands are provided below bell cast drips. Some problems have been experienced with water penetration through felt up stands against the central walls to the roof, and further investigation and repairs are required. Leakage was not evident at time of inspection. | 1000 |  | 1000 |  |  |  |  | 0 | 1000 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2010 | 1.1682
r | Roofs | Flat | Two anodised aluminium roof lights. In fair condition. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Individual Category totals | 2724.2 | 29812 | 4142.84 | 0 | 4112 | 0 | 1336.4 | 0 | 2184.5 | 32382 | 4908.7 | 10280 | 0 | 61680 | 1Q2011 | 1.1735
r | Roofs | Flat | Some blockages to outlets to flat roof due to balls located in gullies. Roof should be kept thoroughly clear at all times. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2011 | 1.1525
r | Roofs | Flat | Various integral rain water downpipes and hopper heads to parapet sections of roof. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Summary category totals | Main category totals | Check | [11 empty] | 3Q2011 | 1.1682
r | Roofs | Pitched Roofs | Roof over central area at higher level to flat roof formed with two parallel wings of pitched roof transparent decking with lead capping at head of roof and felted verges. Panelling shows some slight deterioration at gutter level to the northern section of roof. | 1000 |  |  |  | 1000 |  |  | 0 | 0 | 0 | 1000 | 0 | 0 | [18 empty] | 4Q2011 | 1.1525
r | Roofs | Pitched Roofs | To the upper roof to the centre of the building between the two pitched transparent roof coverings is a dual pitched felt roof covered with three layer high tensile felt. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | External Grounds |  | 32536.2 | 32536.2 | [12 empty] | 1Q2012 | 1.1953
r | Roofs | Pitched Roofs | Upper pitched roof discharges via internal gulleys onto the lower flat roof. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Roof Works |  | 4142.84 | 4142.84 | [12 empty] | 2Q2012 | 1.1174
r | Roofs | Pitched Roofs | To the northwest section of the main roof is an inverted dual pitched roof with a central valley covered with felt and solar reflective paint. The condition of the felt is extremely poor with damage to the central valley close to the outlet and roof coverings will shortly require renewal. | 1500 |  | 1500 |  |  |  |  | 0 | 1500 | 0 | 0 | 0 | 0 |  |  | External Walls |  | 4112 | 4112 | [12 empty] | 3Q2012 | 1.1525
r | Roofs | Chimneystacks / Flues | Single galvanised steel kitchen extract fan and china man hat. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Windows & Doors |  | 1336.4 | 1336.4 | [12 empty] | 4Q2012 | 1.1473
r | External | Gutters and Downpipes | All gutters are UPVC. There is some evidence of leakage on union brackets to gutters which will require future overhaul. | 500 |  |  |  | 500 |  |  | 0 | 0 | 0 | 500 | 0 | 0 |  |  | Internal Works |  | 34566.5 | 34566.5 | [12 empty] | 1Q2013 | 1.0983
r | External | Gutters and Downpipes | Downpipes are UPVC. Exposed downpipes are limited to the building with most downpipes being integral. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Mechanical & Electrical |  | 15188.7 | 15188.7 | [12 empty] | 2Q2013 | 1.089
e | External Walls, Windows and Doors | Walls | Cavity brickwork with recessed pointing joints. Bitumen damp proof course at approx. 150mm above ground level although this is obscured by the ramped access at the front of the building where it has been bridged. In between sections of cavity brickwork curtain walling is provided by way of double glazed window units with lower infill panelling. Steel frame between section of curtain walling. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Other |  | 61680 | 61680 | [12 empty] | 3Q2013 | 1.0983
e | External Walls, Windows and Doors | Walls | Walls to the upper raised section of the main building above the single story flat roof are formed with a rendered finish on blockwork. It is understood that this has been replaced in recent years. However, isolated cracking and hollow sections of render are evident and further failure in future years is likely with further repairs required. | 1000 |  |  |  | 1000 |  |  | 0 | 0 | 0 | 1000 | 0 | 0 | [18 empty] | 4Q2013 | 1.0798
e | External Walls, Windows and Doors | Walls | Fascia boards are clad with deep profile PVC faced boarding with similar boarding to soffits to canopy entrances. Two damaged panels to fascias were noted. | 250 |  |  | 250 |  |  |  | 0 | 0 | 250 | 0 | 0 | 0 |  |  | Total |  | 153562.64 | 153562.64 | [12 empty] | 1Q2014 | 1.0447
e | External Walls, Windows and Doors | Walls | The canopy to the main entrance of the school has a boarded soffit. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2014 | 1.0198
e | External Walls, Windows and Doors | Walls | On the northwest corner of the building the plant room walls are formed in brickwork to the lower sections of the elevation with the upper sections of wall rendered. Some minor cracking is evident to the render, particularly to the drip above the brickwork requiring isolated repair. | 200 |  |  |  | 200 |  |  | 0 | 0 | 0 | 200 | 0 | 0 | [18 empty] | 3Q2014 | 1.028
w | External Walls, Windows and Doors | Windows | Windows to the property are double glazed powder coated aluminium windows with a mix of powder coated aluminium sills and crease course tiling. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2014 | 1.0078
w | External Walls, Windows and Doors | Doors | Doors are double glazed powder coated aluminium with a mix of fully glazed panelling and part glazed panelling. Two sets of double doors accessing kitchen have fully panelled doors with no glazing. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 1Q2015 | 1
w | External Walls, Windows and Doors | Doors | At the main entrance doors to the school are a pair of softwood doors set in a softwood frame. Doors are glazed with Georgian wired glass to the upper panels and boarded with tongued and grooved boarding to the lower panels. There is a glazed roof light with Georgian wired glass over the entrance doors. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | External | Decoration | Redecoration externally will be required on a cyclical basis. Minor areas to be decorated. | 300 |  |  |  | 300 |  |  | 0 | 0 | 0 | 300 | 0 | 0
i | Internal Walls and Doors | Walls | A mix of solid construction with plastered finishes and plasterboard partitions with board finish plaster and V-jointed MDF boarding. Some areas of exposed brickwork walls. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal Walls and Doors | Walls | Reception Class Toilets: Walls formed in solid construction with plastered finish and glazed wall tiling from floor to ceiling behind wash hand basins. Glazed wall tiling to dado height to toilet cubicles. WC cubicle partition system to two cubicles. In fair order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal Walls and Doors | Walls | Boys Toilets: Walls are formed in solid construction with plastered finishes. In fair order. WC cubicle partition system. In fair order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal Walls and Doors | Walls | Girls Toilet: A mix of solid construction with plastered finish and studwork with plasterboard and board finish plaster. In good order. WC cubicle partition system to four cubicles. In fair order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal Walls and Doors | Walls | Disabled Toilet: Walls formed in solid construction with plaster finishes and part studwork with plasterboard and board finish plaster. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal Walls and Doors | Walls | Kitchen: Walls formed with plastered finishes on mix of solid blockwork and plasterboard partitions. Glazed wall tiling splash backs to room 40. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal Walls and Doors | Walls | Boiler Room: Walls to boiler room formed with exposed blockwork and brickwork. In fair condition. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal Walls and Doors | Walls | Staff Ladies and Gents Toilet and Staff Cleaning Room, Rooms 19-22: Walls formed in part solid construction with plastered finishes and part studwork and plasterboard with board finish plaster. Glazed wall tiling splash backs to sink and wash hand basins in fair order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Floors | Floors to Classrooms and Rooms 9, 42 and 43 formed in solid concrete and have carpeted finishes with non-slip floor coverings to wet areas in classrooms. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Floors | Floors to the reception classroom are solid concrete and covered entirely with non-slip vinyl floor coverings which are in good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Floors | Classroom 6 – No vinyl floor covering in the area of the sink. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Floors | The main hall floor is solid construction with a non-slip vinyl floor covering. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Floors | Toilets to Reception Classroom: Floors formed in solid concrete with non-slip floor coverings. In good order | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Floors | Boys toilet floors are constructed in solid construction and covered with non-slip vinyl floor coverings with up stands to skirtings. Coved up stands are loose under the urinal requiring repair and overhaul. | 75 |  | 75 |  |  |  |  | 0 | 75 | 0 | 0 | 0 | 0
i | Internal | Floors | Girls toilet floors are constructed in solid construction and covered with non-slip vinyl floor coverings with up stands to skirtings. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Floors | Boiler room floors formed in solid concrete with rough finish and sections of concrete floor breaking up. Carry out isolated repairs. | 50 |  | 50 |  |  |  |  | 0 | 50 | 0 | 0 | 0 | 0
i | Internal | Floors | Staff Ladies and Gents Toilet and Staff Cleaning Room, Rooms 19-22: Floors formed in solid construction and covered with terrazzo tiles of some age but in sound condition. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Floors | Disabled Toilet: Floors formed in solid concrete with non-slip floor covering. Slight opening of seam weld joints. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Floors | Kitchen Room 40 – Floors formed in solid concrete throughout and covered with non-slip vinyl floor coverings. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Floors | Room 45 – Painted concrete floor which is worn. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Ceilings | Reception Class: Ceilings formed with a slatted board. These are generally in good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Ceilings | Classroom 1: Ceilings formed with a mix of slatted boarding to the upper section of the ceiling with the lower down stand ceiling to the classroom formed with a suspended grid and tile ceiling system. There is some slight historic damp staining to the slatted boarding to the ceiling. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Ceilings | Classroom 2 and 6: Plasterboard with board finish plaster. Damp staining evidence. In fair order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Ceilings | Classroom 5: Boarded with slatted timber boarding. One panel is damaged and missing. The panel requires replacement. | 200 |  | 200 |  |  |  |  | 0 | 200 | 0 | 0 | 0 | 0
i | Internal | Ceilings | Room 9A: Has a suspended grid ceiling with inset lighting diffusers. In fair order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Ceilings | Ceilings to rooms 17 and 17a formed in part with a slatted ceiling board with part board finish plaster. sections of ceiling board damaged. Ceiling will require replacement at future point. | 750 |  | 750 |  |  |  |  | 0 | 750 | 0 | 0 | 0 | 0
i | Internal | Ceilings | IT Room: Ceilings formed with grid system ceiling part integral light diffusers now disused. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Ceilings | Rooms 42 & 43 – Ceilings have a new grid system ceiling with inset ceiling panels and integral light diffusers. Some damp staining evident to the ceiling tiles to room 43. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Ceilings | Ceilings to the hall are formed part with timber boards and part with a suspended grid system with transparent ceiling panels with borrowed light from the pitched roof above. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Ceilings | Ceilings to rooms 37-39 have plasterboard with board finish plaster. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Ceilings | Reception Class Toilets: Drop ceiling formed with grid system and panels in part and part plasterboard with board finish plaster. Some panels to the grid system ceiling are loose. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Ceilings | Boys Toilet: Ceilings are formed part in a suspended grid system with ceiling panels and integral diffusers and part with plasterboard and board finish plaster. Ceiling in poor order requiring replacement. Cost 500 | 500 |  | 500 |  |  |  |  | 0 | 500 | 0 | 0 | 0 | 0
i | Internal | Ceilings | Disabled Toilet: Ceiling formed with drop grid ceiling with inset panels and inset diffuser lighting. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Ceilings | Girls Toilet: Ceilings are formed part in a suspended grid system with ceiling panels and integral diffusers and part with plasterboard and board finish plaster. Ceiling in poor order requiring replacement. | 500 |  | 500 |  |  |  |  | 0 | 500 | 0 | 0 | 0 | 0
i | Internal | Ceilings | Boiler Room: Ceiling formed in solid concrete. In fair order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Ceilings | Staff Ladies and Gents Toilet and Staff Cleaning Room, Rooms 19-22: Ceiling formed part in drop grid ceiling with inset panels and part in plasterboard with board finish plaster. Generally in fair order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Ceilings | Kitchen (40) – Suspended grid ceiling with partial integral light diffusers now disused and replaced with surface fixed vapour proof light fittings. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Ceilings | Ceiling to kitchen prep (45) – Plasterboard ceiling with taped joints. In order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Windows | Various internal metal crittal windows. In fair order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Doors | Internal doors are a mix of timber doors, some with glazed vision panels. Doors where required are half hour fire doors with door closers and intumescent heat / smoke seals. Glazing to doors at low level is safety glass. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Decoration | In fair decorative order throughout. Cyclical decoration will be required. | 26500 |  |  |  | 26500 |  |  | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Fixtures & Fittings | Each classroom has a low level or standard height base unit with stainless steel sink and glazed tile splash back. Range of worktops and base cupboard units to classrooms. In fair condition. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Fixtures & Fittings | Room 42 has a stainless steel sink and base unit with overhead wall hung cupboard unit and glazed wall tile splash backs. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Fixtures & Fittings | Canopy extraction to main cook line to catering kitchen. No air replacement to canopy. Emergency shut off valve provided. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Fixtures & Fittings | Range of base units and wall hung units with tiled splash backs and inset single drainer stainless steel sink. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Fixtures & Fittings | Kitchen: Various stainless steel sinks and one vitreous china wash hand basin in good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Fixtures & Fittings | Each toilet fitted with Air force high speed low energy world dryer hand dryer. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Fixtures and Fittings | Sanitary Ware | Reception Class Toilets: Two vitreous china close coupled WC’s and two vitreous china wash hand basins. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Fixtures and Fittings | Sanitary Ware | Boys Toilet: Glazed tile splash back to urinal, wash hand basin and hand drier. In fair order. Three vitreous china wash hand basins and two low level vitreous china WC suites. Stainless steel urinal trough and vitreous china cistern with steel sparge pipe. All in fair order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Fixtures and Fittings | Sanitary Ware | Disabled Toilet: Vitreous china wash hand basin with single mixer tap and glazed wall tile splash back. Doc M pack sanitary ware to disabled toilet. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Fixtures and Fittings | Sanitary Ware | Girls Toilet: Four vitreous china wash hand basins with glazed tiling splash backs. Three of the basins are loose and require re-fixing. Silicon seals will also require replacement. Cost 100. Four low level vitreous china WC suites. All in good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Fixtures and Fittings | Sanitary Ware | Staff Ladies and Gents Toilet and Staff Cleaning Room, Rooms 19-22: Inset plastic wash hand basin to vanity unit to ladies toilet of some age requiring replacement in future years. Vitreous china low level WC with plastic cistern to ladies toilet of some age. Incinerator to ladies toilet not known if operational. Enamel sink with base unit to Room 20. In poor order. Cost 750. Vitreous china wash hand basin and vitreous china low level EC suite with plastic cistern to gents toilet. Of some age although in fair order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Fixtures and Fittings | Sanitary Ware | Replace sink to Room 20. Replace vanity unit and inset bowl to ladies toilet. | 750 |  |  |  | 750 |  |  | 0 | 0 | 0 | 750 | 0 | 0
m | Fixtures and Fittings | Lighting | Light fittings to classrooms are old fluorescent fittings with standard diffusers. In fair order. Light fittings to the reception class are standard fluorescent with no diffusers. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
o | Capital Works | Improvements requested by School | Children accessing the office can leave the building without staff knowing as there is no secure external door. Further lobby required to entrance. | 10000 |  |  |  | 10000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
o | Capital Works | Improvements requested by School | Inadequate toilet facilities. Increased number of toilet facilities required. | 50000 |  |  |  | 50000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | Capital Works | Improvements requested by School | Cold water taps need to be turned off in winter to the Double Elliott Building to stop pipework freezing. Excavate, insulate and make good. | 5000 |  |  |  | 5000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | Services | Electric | DB1, DB3 and DB4 located to services cupboard to ICT Room. Isolator for IT Room power located to same cupboard. IT server box to ICT room. DB5 located to boiler room. Five yearly certification required. NOTE: NO ACCESS TO MAIN SWITCH GEAR DURING INSPECTION. | 1000 | [5 empty] | 1000 | 0 | 0 | 0 | 0 | 0 | 1000
m | Services | Ventilation | Boys toilet, Disabled Toilet: Ventilation extract fans in full working order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Services | Security Alarm | Twenty 4 Seven security alarm control panel and alarm system equipment located in Room 19. Annual servicing. | 250 |  | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50
m | Services | Boilers | Hoval boiler and hot water tank and expansion vessel. Boiler serial number K65095. 3 Grundfos pumps to pipework. Annual servicing required. | 500 |  | 100 | 100 | 100 | 100 | 100 | 0 | 100 | 100 | 100 | 100 | 100
m | Services | Heating | Oil fired central heating with electric convectors. There are a mix of low level and high level convector heating units. Newer Steel radiators and covers to rooms 42 & 43 in area of extension to building. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Services | Hot Water Distribution | Heatrae Sadia Supreme water boiler to staff room. Of some age. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Services | Hot Water Distribution | Electric wall heater to library. Of some age. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Services | Hot Water Distribution | Reception Class Toilet. Heatrae Sadia multipoint 30 electric water heater and expansion vessel. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Services | Hot Water Distribution | Boys Toilet – Heatrae Sadia Multipoint 15 with expansion vessel. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Services | Hot Water Distribution | Girls Toilet – Heatrae Sadia Multipoint 30 water heater to girls toilets. Note no expansion vessel for water heater. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Car Park | Left hand car park. Covered with tarmac. The wearing course has largely deteriorated and the car park will require replacement of the wearing course. Area approx. 190m. The perimeter of the car park has a concrete curb. To the right hand side of the car park the curb stone has broken down and is missing requiring replacement. | 7000 |  |  |  | 7000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
g | External | Car Park | Right hand car park. Formed in tarmac with a course aggregate wearing course. The wearing course is loose in areas and in future years will require replacement. Area approx. 545m. Concrete curb stones to perimeter of car park. | 19000 | [5 empty] | 19000 | 0 | 0 | 0 | 0 | 0 | 0
g | External | Car Park | Two street lamps provided to right hand car park to illuminate car park. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Paths / Paving | Small tarmac area to the front entrance of the school. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Paths / Paving | To the main frontage of the property there are concrete paving slabs to the pathways to the left and right hand side of the main entrance. Slabs are uneven causing a trip hazard and there are a small number of slabs which are broken. Paths should be taken up and relayed. Area 60m. | 3000 | [5 empty] | 3000 | 0 | 0 | 0 | 0 | 0 | 0
g | External | Paths / Paving | To the left hand side of the frontage of the property there is a small patio area behind the left hand car park area housing the bin storage area. Bin storage is shrouded by a timber fence which is in good condition. The patio area has areas of displaced slabs causing a trip hazard and the leading edge concrete retainer to the up stand patio is damaged requiring repair. | 500 |  | 500 |  |  |  |  | 0 | 500 | 0 | 0 | 0 | 0
g | External | Paths / Paving | Tarmac path to right hand car park with concrete curb stones at junction with car park. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Paths / Paving | Patio slabs to rear yard area to kitchen. Some slight deterioration of pointing joints otherwise in fair order. Re-point slabs. | 150 |  |  |  | 150 |  |  | 0 | 0 | 0 | 150 | 0 | 0
g | External | Paths / Paving | Small area of concrete paving slabs to recessed area to east wall of the main school. Generally in fair order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Boundaries | Front left hand boundary wall is formed in stone with a rendered coping. Pointing joints to the wall are in fair order. a small section of wall is missing where previous vehicle impact seems to have occurred. This has been removed and rendered over. Some minor cracking and loose render to the coping and to the end of the wall requiring repair. | 100 |  |  |  | 100 |  |  | 0 | 0 | 0 | 100 | 0 | 0
g | External | Boundaries | Concrete post and chain link fence. In fair order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Boundaries | On the frontage of the property to the left hand side of the right hand car park is a low random stone wall with rendered coping. Pointing to the wall is in fair order. There is some minor cracking to the rendered coping requiring repair. | 100 |  |  |  | 100 |  |  | 0 | 0 | 0 | 100 | 0 | 0
g | External | Boundaries | The front right hand stone boundary wall has areas of loose and missing pointing to the internal surface of the wall requiring repointing. There is also a small section of missing stonework that requires replacing. | 250 |  |  |  | 250 |  |  | 0 | 0 | 0 | 250 | 0 | 0
g | External | Boundaries | Playing fields to the rear of the site are formed with hedges and trees with partial mesh fencing with concrete posts which appears to be in the ownership of the adjoining property. Similar fencing to the north boundary though it seems to be in the school ownership. Areas of mesh fencing are damaged and fencing requires overhaul. | 1000 |  | 500 |  | 500 |  |  | 0 | 500 | 0 | 500 | 0 | 0
g | External | Internal Fencing | Powder coated steel fencing to right hand side of frontage to school with secured gates. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Internal Fencing | Low timber post and rail fence to left side of right hand car park in good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Internal Fencing | Low timber post and rail fence surrounding preschool building. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Internal Fencing | Low timber post and rail fence between the playing fields and the front right hand section of the playground to the main building. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Internal Fencing | Various post and rail timber fencing to rear playground and play field areas. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Internal Fencing | Basketball court to rear playground formed with high level chain link fencing on powder coated aluminium posts. In fair order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Canopy | Aluminium framed canopy with plastic coated material covering to north side of premises. Integral aluminium gutter with UPVC downpipes. In fair order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Canopy | External canopy to south side of the building formed in timber construction supporting a timber roof with pitched Perspex coverings. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Services | Electrics | Electrical certification for statutory compliance. | 1000 | [5 empty] | 1000 | 0 | 0 | 0 | 0 | 0 | 1000
m | Services | Emergency Lighting | No emergency lighting to main building. | 5000 |  | 5000 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | Services | Electric Appliances | Portable Appliance Testing certification for statutory compliance. Current certificate dated October 2013. | 500 |  |  | 250 |  | 250 |  | 0 | 0 | 250 | 0 | 250 | 0
m | Services | Fire Alarm | Quarterly certification for statutory compliance by Tann Synchronome. Current certificate dated 26/6/14. | 250 |  | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50
m | Services | Gas | Gas certification for statutory compliance. | 500 |  | 100 | 100 | 100 | 100 | 100 | 0 | 100 | 100 | 100 | 100 | 100
g | External | Propane Gas Tank | Propane gas tank located to right hand side of right hand car park, secured within galvanised steel fencing. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Oil Tank | Plastic oil tank located to north side of property enclosed within galvanised steel mesh fencing. Tank set on concrete slab. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Play Equipment | Various play equipment to the playground areas. All play equipment requires ROSPA certification to ensure its safety. | 250 |  | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50
g | External | Playhouse | Playhouse (25) – Formed in blockwork and clad externally with half round timbers. Formed on concrete slab with small amount of cracking to concrete slab evident. Formed under pitched roof with half round timbers and felt. In fair order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Playhouse | Playhouse to north playground – Formed in timber construction with tongued and grooved timber boarded facing with dual pitched slate roof with glazed windows. UPVC gutter and downpipe. In fair order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Shed | Shed (49) – Shed formed with corrugated steel panels with corrugated steel roof on raised concrete slab. In fair order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Shed | Shed to north play area – Shed formed with powder coated steel panels with dual pitched roof of similar construction to playhouse to north playground. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Shed | External shed to kitchen – constructed with powder coated steel panels in a shiplap boarding style with dual pitched powder coated steel roof coverings set on a concrete base. Some slight rusting evident although in fair order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Shed | Additional shed adjoining greenhouse – Timber constructed shed with felted pitched roof on concrete slab. In fair condition. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Shed | Pair of sheds adjoining Double Elliott Block. Sheds formed in powder coated steel with similarly constructed dual pitched roofs. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | Greenhouse | Aluminium framed greenhouse with Perspex glazed panels. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | General | Housing for external electricity supply and water tap to north side of boiler room rotten. Replace housing. | 150 |  | 150 |  |  |  |  | 0 | 150 | 0 | 0 | 0 | 0
g | External | General | Stainless steel flue to boiler to plant room. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External | General | Housing to outside tap on main playground elevation rotten. Replace. | 150 |  | 150 |  |  |  |  | 0 | 150 | 0 | 0 | 0 | 0
g | External | General | Drinking water point to main elevation to playground with stainless steel basin. In fair order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Flat Roof | Roof covered with rubberised product felt with aluminium edge trim. All in good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | External | Gutters and Downpipes | UPVC gutters and downpipes, all generally in good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | External Walls, Windows and Doors | Windows | UPVC double glazed windows. In fair order throughout | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | External Walls, Windows and Doors | Doors | Softwood timber 2XG style main entrance door with glazed upper panel. Rot evident to door. Replace door. | 500 |  | 500 |  |  |  |  | 0 | 500 | 0 | 0 | 0 | 0
w | External Walls, Windows and Doors | Doors | Two flush faced timber emergency exit doors, one to each classroom set within softwood timber frame. One door is beginning to delaminate at the base and will require replacement in future years. | 300 |  |  |  | 300 |  |  | 0 | 0 | 0 | 300 | 0 | 0
e | External Walls, Windows and Doors | Walls | External walls formed in timber construction with rendered panels. Similarly formed fascias and soffits with plastic ventilation to soffit. Below floor level void is in filled with softwood timbers. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | External | General | Two side doors to the classroom have stepped access formed in timber with timber handrails and a non-slip surface provided to the steps and landing. In fair order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | External | General | The front access to the building has a stepped and ramped access with timber handrail. Steps and ramps have been covered with a non-slip surface and are in fair order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | External | Decoration | Redecoration externally will be required on a cyclical basis. | 1250 |  |  |  | 1250 |  |  | 0 | 0 | 0 | 1250 | 0 | 0
e | External | Steps and Ramps | Timber steps and ramps leading to main entrance to classrooms. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Floor | Floors are formed in suspended timber covered with carpet excepting small sections of non-slip vinyl coverings surrounding the sink and worktop areas. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Walls | Walls are formed with boarded panels. All wall panelling in good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Ceilings | Ceilings are formed with boarded panels with taped cover strips and boarded joints. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Joinery | Softwood skirtings. Softwood door linings and architraves. All in good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Doors | Doors are solid core with a flush finish. Classroom doors have glazed vision panels. Doors in good order. Push bar door furniture provided to emergency exit doors. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Decoration | Cyclical redecoration required to building. | 3000 |  |  |  | 3000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
i | Fixtures and Fittings | Classrooms | Single drainer stainless steel sink and base unit with glazed wall tiling splash back in each of the two classrooms. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Fixtures and Fittings | Lighting | Diffuser ceiling mounted light fittings. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Fixtures and Fittings | Sanitary Ware | Note: No toilet facility provided within building. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Services | Electric | Electrics distribution board 7 located to entrance lobby. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Services | Emergency Lighting | Emergency lighting provided over final exit doors. Non-maintained with adequate signage. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Services | Fire Alarm | Fire alarm extended to building in good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Services | Heating | Two propane gas wall heaters with steel guards. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Flat Roof | Roof covered with rubberised felt roof covering with similarly formed drips to edge of roof. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | External | Gutters and Downpipes | UPVC gutters and downpipes, all generally in good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | External Walls, Windows and Doors | Gutters and Downpipes | Loose union bracket and downpipe to east elevation. Re-fix. | 30 |  | 30 |  |  |  |  | 0 | 30 | 0 | 0 | 0 | 0
e | External Walls, Windows and Doors | Walls | Walls are formed in timber frame construction with a mix of boarded panels and steel panels with painted finish. Silicon expansion joints between some panels. Generally in fair order although some minor damage evident and panelling poorly decorated. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | External Walls, Windows and Doors | Walls | At the lower level of external walls the void is in filled with timber boarding which is generally in fair order although some timbers are loose. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | External Walls, Windows and Doors | Windows | UPVC double glazed windows, in fair order throughout | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | External Walls, Windows and Doors | Doors | Main front entrance door is a 2XG style door. The door is rotten at the base requiring replacement. | 500 |  | 500 |  |  |  |  | 0 | 500 | 0 | 0 | 0 | 0
w | External Walls, Windows and Doors | Doors | Two plain faced doors set in timber frames. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | External | General | Canopy to north side of building formed in timber and covered with Perspex panels and UPVC glazing bars. Section of timber frame built off of low brickwork walls. Good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | External | General | Shed located to south side of building. Formed in timber with dual pitched felted roof. In fair order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | External | General | Ramped access formed in timber to left hand entrance. Ramp covered with non-slip covering. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | External | General | Mix of tarmac and rubberised play surfaced areas and patio slabs surrounding the building. All generally in fair condition. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | External | Decoration | Redecoration externally will be required on a cyclical basis. | 1000 |  |  |  | 1000 |  |  | 0 | 0 | 0 | 1000 | 0 | 0
i | Internal | Walls | All walls are formed with plasterboard and appear to be lined with lining paper and painted. All walls are in good condition. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Walls | Glazed wall tiling splash backs to kitchen units. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Walls | Glazed wall tiling splash backs to wash hand basins to toilets. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Walls | WC's to the children’s toilet formed with cubicle partition units. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Floors | Floors are formed in suspended timber covered with non-slip vinyl coverings and carpet. The non-slip vinyl coverings to toilet have coved up stands. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Ceilings | Ceilings are formed with plasterboard with taped joints and boarded joints. All ceilings are in good order throughout. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Ceilings | All doors are flush doors with a mix of solid and hollow core doors. Some doors have vision panels. All doors set within softwood timber frames. All internal doors in good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Joinery | Softwood skirtings. Softwood door linings and architraves. All in good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal | Decoration | In fair decorative order throughout. Cyclical decoration will be required. | 2000 |  |  |  | 2000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
i | Fixtures and Fittings | Classrooms | Range of kitchen base units with two inset stainless steel sinks with glazed wall tile splash backs. Right hand sink is marked as leaking and out of use requiring repair. Range of kitchen base and wall hung units to kitchen with a single stainless steel sink glazed tile splash backs. In good order. | 50 |  | 50 |  |  |  |  | 0 | 50 | 0 | 0 | 0 | 0
m | Fixtures and Fittings | Lighting | Ceiling mounted diffuser light fittings. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Fixtures and Fittings | Sanitary Ware | Vitreous china wash hand basin to kitchen. Glazed tile splash back. In good order. Three wash hand basins with glazed tile splash backs to children’s toilet. In good order although minor missing parts to taps and plugs. | 25 |  | 25 |  |  |  |  | 0 | 25 | 0 | 0 | 0 | 0
m | Fixtures and Fittings | Sanitary Ware | Three vitreous china low level WC’s to children’s toilet. In order. DOC M disabled vitreous china sanitary ware to disabled toilet. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Services | Electric | Main distribution board DB2 located to classroom. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Services | Electric | Non-maintained emergency lighting provided over final exit doors. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Services | Fire Alarm | Fire alarm – Two zone fire panel located in entrance lobby. Intruder alarm control panel located to entrance lobby. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Services | Intruder Alarm | Twenty 4 Seven Security Systems Limited. Main alarm box to classroom. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Services | Boilers | Boiler – Worcester Greenstar 24i Junior Boiler with Honeywell thermostat located in kitchen. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Services | Heating | Central heating - heating provided by propane gas with 6 panel radiators with protective covers. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0

## EFA Property
|  |  | EFA survey data | [6 empty] | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other
DFE | School | School Type | Date received | Condition rating C or D | Priority rating 1 or 2 | Element | Category | CCP rating
|  |  |  | c | 2 | Electrical services, Lighting system generally, Main school | m | mc2 | C1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | c | 2 | Sanitary services, Generally, Main school | m | mc2 | C2 | 1 | 0 | 0 | 0 | 0 | 2 | 0
|  |  |  | c | 2 | External areas, Roads and car parks, Tarmac | g | gc2 | D1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D3 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Suitability and Compliance
Space |  |  | BB103 suggested sizes
[6 empty] | Suitability Data | [10 empty] | Compliance Comparison |  |  | 1 | Form of entry | PAN | 30
Basic Teaching Spaces |  |  | No. of spaces | m2 | Total m2 | Plan ref | Space | [9 empty] | Total area | Shortfall | Surplus | 2014 | Date of last assessment
|  | Classroom - Year R | 1 | 62 | 62 | 13, 14, 16 | General classroom | 55.18 | 7.06 | 8.84 | [6 empty] | 71.08 | 0 | 9.08
|  | Classroom - Year 1 | 1 | 62 | 62 | 1 | General classroom | 75.65 | [8 empty] | 75.65 | 0 | 13.65 | 2 | No. Temp Buildings on Site
|  | Classroom - Year 2 | 1 | 62 | 62 | 29 | General classroom | 49.4 | [8 empty] | 49.4 | 12.6 | 0 | 2 | No. of Classrooms in Temporary Buildings
|  | Classroom - Year 3 | 1 | 62 | 62 | 7 | General classroom | 71.2 | [8 empty] | 71.2 | 0 | 9.2 | 7 | No. of Classrooms
|  | Classroom - Year 4 | 1 | 62 | 62 | 12, 12a, 12b | General classroom | 36.65 | 11.49 | 13.6 | [6 empty] | 61.74 | 0.26 | 0 | 7 | Required No. of Classroooms
|  | Classroom - Year 5 | 1 | 62 | 62 | 30 | General Classroom | 58.98 | [8 empty] | 58.98 | 3.02 | 0
|  | Classroom - Year 6 | 1 | 62 | 62 | 31 | General classroom | 60.57 | [8 empty] | 60.57 | 1.43 | 0
|  | Practical area / food bay | 0 | 0 | 0 | [11 empty] | 0 | 0 | 0 | 42.86% | of classrooms are the recommended size
|  | ICT base | 0 | 0 | 0 | 41 | IT room | 36.65 | [8 empty] | 36.65 | 0 | 36.65 | 57.14% | of classrooms are small
[5 empty] | 434 | [11 empty] | 485.27 | 17.31 | 68.58 | 111.8% | of the recommended basic teaching space required
[19 empty] | 416.69 | 96.01% | of the recommended basic teaching space required ignoring surplus
Halls and Studios | [19 empty] | 3.988% | shortfall in basic teaching space
| 1 | Main hall | 1 | 180 | 180 | 5 | Hall | 140.17 | [8 empty] | 140.17 | 39.83 | 0
[5 empty] | 180 | [11 empty] | 140.17 | 39.83 | 0 | 77.87% | of the recommended hall size
Storage | [19 empty] | 22.13% | shortfall in hall size
| 1 | Coat and bag storage - Year R | 1 | 3 | 3 | [11 empty] | 0 | 3 | 0
| 2 | Coat and bag storage - Year 1 | 1 | 3 | 3 | 2a | Cloakroom (shared) | 5.89 | [8 empty] | 5.89 | 0 | 2.89
| 3 | Coat and bag storage - Year 2 | 1 | 3 | 3 | 2a | Cloakroom (shared) | 5 | [8 empty] | 5 | 0 | 2
| 4 | Coat and bag storage - Year 3 | 1 | 3 | 3 | [11 empty] | 0 | 3 | 0
| 5 | Coat and bag storage - Year 4 | 1 | 3 | 3 | [11 empty] | 0 | 3 | 0
| 6 | Coat and bag storage - Year 5 | 1 | 3 | 3 | 33 | Cloakroom (shared) | 5 | [8 empty] | 5 | 0 | 2
| 7 | Coat and bag storage - Year 6 | 1 | 3 | 3 | 33 | Cloakroom (shared) | 5 | [8 empty] | 5 | 0 | 2
| 8 | Teaching storage - Year R | 1 | 2 | 2 | 6 | Store room (in circulation area) | 4 | [8 empty] | 4 | 0 | 2
| 9 | Teaching storage - Year 1 | 1 | 2 | 2 | 1a | Store room | 2.16 | [8 empty] | 2.16 | 0 | 0.16
| 10 | Teaching storage - Year 2 | 1 | 2 | 2 | 7a | Store room | 2.16 | [8 empty] | 2.16 | 0 | 0.16
| 11 | Teaching storage - Year 3 | 1 | 2 | 2 | 12c | Store room | 2.72 | [8 empty] | 2.72 | 0 | 0.72
| 12 | Teaching storage - Year 4 | 1 | 2 | 2 | [11 empty] | 0 | 2 | 0
| 13 | Teaching storage - Year 5 | 1 | 2 | 2 | 32 | Store room | 2 | [8 empty] | 2 | 0 | 0
| 14 | Teaching storage - Year 6 | 1 | 2 | 2 | 34 | Store room | 2 | [8 empty] | 2 | 0 | 0
| 15 | Specialist walk in stores | 3 | 5 | 15 | [11 empty] | 0 | 15 | 0
| 18 | Indoor PE equipment storage | 1 | 18 | 18 | [11 empty] | 0 | 18 | 0
| 19 | Outdoor PE equipment storage | 0 | 0 | 0 | [11 empty] | 0 | 0 | 0
|  | Bulk stock store | 1 | 4 | 4 | [11 empty] | 0 | 4 | 0
| 21 | Caretakers and maintenance store | 1 | 5 | 5 | [11 empty] | 0 | 5 | 0
| 22 | Cleaning store | 1 | 3 | 3 | 9c | Cleaners store room | 1.49 | [8 empty] | 1.49 | 1.51 | 0
| 23 | Table and chair store | 1 | 12 | 12 | [11 empty] | 0 | 12 | 0
| 25 | Staging/ appliance store | 1 | 4 | 4 | [11 empty] | 0 | 4 | 0
|  | Mobility equipment store | 1 | 2 | 2 | [11 empty] | 0 | 2 | 0
| 24 | Store for community | 0 | 0 | 0 | [11 empty] | 0 | 0 | 0
[5 empty] | 98 | [11 empty] | 37.42 | 72.51 | 11.93 | 38.18% | of the recommended storage space required
Staff and admin | [19 empty] | 73.99% | shortfall
| 1 | Heads office | 1 | 12 | 12 | 38 | Heads office | 13.96 | [8 empty] | 13.96 | 0 | 1.96
| 3 | Staff room work and social | 1 | 33 | 33 | 4 | Staffroom | 14.35 | [8 empty] | 14.35 | 18.65 | 0
|  | Staff PPA | 1 | 10 | 10 | 17b | General office | 5.71 | [8 empty] | 5.71 | 4.29 | 0
| 4 | Senior management office | 1 | 10 | 10 | [11 empty] | 0 | 10 | 0
| 7 | General office (reception) | 1 | 12 | 12 | 39 | Reception (office) | 11.61 | [8 empty] | 11.61 | 0.39 | 0
| 8 | Secure reception | 1 | 4 | 4 | 37 | Entrance | 8.85 | [8 empty] | 8.85 | 0 | 4.85
| 9 | Reprographics room | 1 | 8 | 8 | [11 empty] | 0 | 8 | 0
| 10 | Meeting room | 0 | 0 | 0 | [11 empty] | 0 | 0 | 0
| 11 | Sick bay | 1 | 3 | 3 | [11 empty] | 0 | 3 | 0
| 13 | Interview room | 1 | 9 | 9 | [11 empty] | 0 | 9 | 0
[5 empty] | 101 | [11 empty] | 54.48 | 53.33 | 6.81 | 53.94% | of the recommended staff and admin space required
Learning resource area | [19 empty] | 52.8% | shortfall
| 1 | Library (learning resource centre) | 1 | 30 | 30 | 17 | Library | 22.37 | [8 empty] | 22.37 | 7.63 | 0
| 3 | Small group room | 3 | 11 | 33 | 17a, 42, 43 | Small group room x 3 | 5.5 | 11.61 | 11.47 | [6 empty] | 28.58 | 4.42 | 0
| 5 | SENco office (SEN resource) | 1 | 12 | 12 | [11 empty] | 0 | 12 | 0
| 2 | Medical inspection room/ Therapy room | 1 | 12 | 12 | [11 empty] | 0 | 12 | 0
[5 empty] | 87 | [11 empty] | 50.95 | 36.05 | 0 | 58.56% | of the recommended learning resource areas
Supplementary area | [19 empty] | 41.44% | shortfall
| 1 |  | 0 | 0 | 0 | [11 empty] | 0 | 0 | 0
[5 empty] | 0 | [11 empty] | 0 | 0 | 0
[17 empty] | 0 | 0 | 0 | - | of the recommended supplementary areas
Non net areas | [19 empty] | - | shortfall
| 1 | Reception toilets | 3 | 2 | 6 | 15 | Pupil wc (multi-sex) 2 wc's | 8.49 | [8 empty] | 8.49 | 0 | 2.49 | 2 | Number of reception toilets
| 1 | Pupils toilets | 10 | 2 | 20 | 2, 10,8, 11 | Pupil wc 10 wc's 2 urinals | 8.9 | 7.25 | 2 | 8.44 | [5 empty] | 26.59 | 0 | 6.59 | 12 | Number of other pupil toilets
| 2 | Staff toilets | 2 | 2 | 4 | 20,21 | staff wc's 2 | 2.23 | 8.35 | [7 empty] | 10.58 | 0 | 6.58 | 66.67% | % of recommended reception toilets
| 3 | Accessible toilet | 1 | 3 | 3 | 44 | Disabled w.c. | 3.18 | [8 empty] | 3.18 | 0 | 0.18 | 120% | % of recommended other pupil toilets
| 9 | Hygiene room | 1 | 12 | 12 | [11 empty] | 0 | 12 | 0
| 4 | Kitchen facilities (servery) | 1 | 28 | 28 | 40, 40a, 40b, 23, 45, 18 | Kitchen | 26.59 | inc | inc | 3.99 | 19.14 | 1.31 |  |  |  | 51.03 | 0 | 23.03
| 5 | Corridors | - | 22.5% | 202.5 | 3,6,9,9a,9b,19,22,33 | Corridors | 8.11 | 5.16 | 4.41 | 8.01 | 7.37 | 3.22 | 1.35 | 2.29 | 5 | 44.92 | 157.58 | 0
| 6 | Boiler room | 1 | 1.5% | 13.5 | 24 | Boiler room | 10.24 | [8 empty] | 10.24 | 3.26 | 0
| 7 | Server | in boiler | [13 empty] | 0 | 0 | 0
|  | Walls | - | 4% | 36 |  |  | 30.7316 | [8 empty] | 30.7316 | 5.2684 | 0
[5 empty] | 325 | [11 empty] | 185.7616 | 178.1084 | 38.87 | 57.16% | of the recommended non net area
Additional area | [19 empty] | 54.8% | shortfall
|  | Nursery class | 1 | 62 | 62 | 50 | Community use | [9 empty] | 0 | 62 | 0
|  | Quiet room | 1 | 8 | 8 | [11 empty] | 0 | 8 | 0
|  | Nursery store room | 1 | 2 | 2 | [11 empty] | 0 | 2 | 0
|  | Nursery office | 1 | 8 | 8 | [11 empty] | 0 | 8 | 0
|  | Nursery cloakroom | 1 | 3 | 3 | [11 empty] | 0 | 3 | 0
|  | Nursery pupils toilets | 3 | 2 | 6 | [11 empty] | 0 | 6 | 0
|  | Nursery staff toilets | 1 | 2 | 2 | [11 empty] | 0 | 2 | 0
|  | Nursery entrance | 1 | 22.5% | 1.8675 | [11 empty] | 0 | 1.8675 | 0
[5 empty] | 92.8675 | [11 empty] | 0 | 92.8675 | 0
Total Net area |  |  |  |  | 900 | [11 empty] | 768.29
Total Non-Net area |  |  |  |  | 325 | [11 empty] | 185.7616
Gross (total build) area - excluding nursery |  |  |  |  | 1225 | [11 empty] | 954.0516 |  |  | 77.88% | of the recommended Gross area
Gross (total build) area - including nursery |  |  |  |  | 1317.8675 | [11 empty] | 954.0516
Net Area Range |  |  |  |  | 1211.0-1345.0
Mid Range |  |  |  |  | 1278
Total Site Area Range |  |  |  |  | 8991.0-11241.0
Mid Range |  |  |  |  | 10116
2
3
4

## Occupancy
Sufficiency Data
Planned Admission Number | Current Capacity | Maximum PAN | Capacity based on max PAN
30 | 210 | 30 | 210
NOR Spring Census
| 2008 / 2009 | 2009 / 2010 | 2010 / 2011 | 2011 / 2012 | 2012 / 2013 | 2013 / 2014
NOR Jan | 191 | 200 | 188 | 173 | 175 | 170
Maximum Capacity | 210 | 210 | 210 | 210 | 210 | 210
Number of Surplus Places | 19 | 10 | 22 | 37 | 35 | 40
% of surplus places | 9 | 4.8 | 10.5 | 17.6 | 16.7 | 19.0476
Current Numbers on Roll (from Autumn Census)
Year group | R | 1 | 2 | 3 | 4 | 5 | 6 | Total
Number | 24 | 19 | 20 | 16 | 30 | 31 | 28 | 168

## School stats
Current Ofsted | Year
Good | 2013-11-27
2014 KS2 Performance Tables last update : (15 Sep 2014)
Year on year comparisons
Percentage achieving Level 4 or above in reading, writing and maths | 2012 | 2013 | 2014
School | 73% | 87% | 96%
LA | 71% | 71% | 76%
England - All Schools | 75% | 75% | 79%
KS2 test results and progress
| All pupils | Low attainers | Middle attainers | High attainers
Pupils eligible for KS2 assessment | 23
Percentage of pupils achieving 3 or below in reading and maths test and writing TA | 0% | SUPP | 0% | SUPP
Percentage of pupils achieving level 4 or above in reading and maths test and writing TA | 96% | SUPP | 100% | SUPP
Percentage of pupils achieved level 4B or above in reading and maths test and level 4 in writing TA | 91% | SUPP | 100% | SUPP
Percentage of pupils achieving level 5 or above in reading and maths test and writing TA | 30% | SUPP | 27% | SUPP
Percentage of pupils making at least 2 levels of progress in reading | 100% | SUPP | 100% | SUPP
Percentage of pupils making at least 2 levels of progress in writing TA | 100% | SUPP | 100% | SUPP
Percentage of pupils making at least 2 levels of progress in maths | 95% | SUPP | 100% | SUPP
Average point score | 30.5
Closing the Gap
| Disadvantaged pupils | Other pupils
Percentage of disadvantaged pupils achieving level 3 or below in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4B or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 5 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in reading | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in maths | SUPP | SUPP
Value Added measures
| Measure | Lower CI | Upper CI | Coverage
Overall value added measure | 101.9 | 101 | 102.8 | 91%
Reading value added measure | 101.9 | 100.8 | 103 | 91%
Writing TA value added measure | 100.9 | 99.8 | 102 | 91%
Maths value added measure | 102.2 | 101 | 103.4 | 91%
Subject level results
| Reading test | Maths test | Grammar, punctuation and spelling test | Writing TA
Percentage achieving level 3 or below | 0% | 4% | 13% | 4%
Percentage achieving Level 4 or above | 100% | 96% | 87% | 96%
Percentage achieving Level 4b or above | 96% | 96% | 83% | NA
Percentage achieving Level 5 or above | 83% | 48% | 61% | 39%
Pupil Absence last update : (11 Dec 2013)
| School | England - national (primary state-funded)
Overall absence: percentage | 3.2% | 4.8%
Persistent absence: around 15% + | SUPP | 3.6%
Please note - this year the Department will publish full year 2013/14 absence data in the performance tables in March 2015 rather than just the autumn and spring term data in December as in previous years, and we will continue to do so in future years. This is because the full year data provides the most robust indication of school absence rates.
School level information for the 2013/14 autumn and spring term only is available in our Statistical First Release here
2013-14 Finance last update : (10 Dec 2014)
Contextual information
Number of pupils (FTE) | 170
Percentage of pupils eligible for Free School Meals (FSM) | 4.7%
Free school meals eligibility band | LOW
Spend per pupil data as £ per pupil (in brackets percentage of total income or expenditure)
| School | LA Median | Non-London LAs Median | National Median
Grant funding | 3993 (95%) | 4525 | 4016 | 4325
Self generated income | 193 (5%) | 144 | 142 | 127
Total income | 4186 | 4723 | 4183 | 4479
Teaching staff | SUPP | 2277 | 2045 | 2106
Supply Staff | 70 (2%) | 87 | 118 | 127
Education support staff | SUPP | 689 | 650 | 733
Learning resources (not ICT equipment) | 167 (4%) | 181 | 174 | 184
ICT learning resources | 4 (0%) | 81 | 62 | 66
Bought in professional services - curriculum | 82 (2%) | 88 | 59 | 67
Back office (incl. Staff costs) | 377 (10%) | 406 | 334 | 351
Catering (incl. Staff costs) | 32 (1%) | 35 | 53 | 75
Premises (incl. Staff costs) | 254 (7%) | 259 | 275 | 301
Other staff costs | 94 (2%) | 153 | 133 | 142
Energy | 77 (2%) | 68 | 62 | 65
Other expenditure | 57 (1%) | 94 | 85 | 88
Total expenditure | 3797 | 4562 | 4143 | 4431
Spend per pupil data as £ per pupil : Comparisons over time
| 2010-11 | 2011-12 | 2012-13 | 2013-14
Teaching staff and Education support staff expenditure | 2457 | 2549 | 2451 | SUPP
Supply staff | 139 | 212 | 137 | 70
Back office (incl. Staff costs) | 305 | 356 | 347 | 377
Energy | 63 | 68 | 75 | 77
Total expenditure | 3638 | 3951 | 3768 | 3797
School Workforce last update : (10 Dec 2014)
This data is based upon the November 2013 School Workforce Census
| School | England - national (primary state-funded)
Headcount of all teachers in a school | 11 | 236728
Headcount of all teaching assistants in a school | 8 | 239340
Headcount of all support (exc. auxillary) staff in a school | 2 | 77335
Full-time equivalent number of all teachers in a school | 8.1 | 207827.7
Full-time equivalent number of all teaching assistants in a school | 3.3 | 154245.3
Full-time equivalent number of all support (exc. auxillary) staff in a school | 1.4 | 51728.3
Ratio of pupils to teachers in a school | 20.9 | 20.5
Average gross salary of all teachers in a school | 33225 | 36559

## Parental Preference
Popularity Data | [10 empty] | Children at School From School Catchment
Parental First Preference Applications | [11 empty] | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  | Catchment vs Nearest School | Catchment | Nearest
Year | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  |  | NOR | 200 | 188 | 173 | 175 | 170 |  |  |  | NOR | 168 | 168
PAN | 30 | 30 | 30 | 30 | 30 | 30 |  |  |  |  | Number | 115 | 111 | 114 | 115 | 118 |  |  |  | Total in area | 123 | 111
No. | 22.8 | 28.8 | 10.8 | 18.9 | 14.01 | 20 |  |  |  |  | % | 57.5 | 59.0426 | 65.896 | 65.7143 | 69.4118 |  |  |  | Number at School from area | 118 | 109
% | 76 | 96 | 36 | 63 | 46.7 | 66.6667 | [13 empty] | % at School | 70.2381 | 64.881
[11 empty] | Total number in Catchment | [8 empty] | % of area going to School | 95.935 | 98.1982
[12 empty] | 2010 | 2011 | 2012 | 2013 | 2014
[11 empty] | Number | 118 | 116 | 121 | 121 | 123
[11 empty] | % | 100 | 100 | 100 | 100 | 100
Where children at School are coming from (from Spring Census 2014)
DCSF No. | School |  | Hampton Dene | Kington | Leominster Infants’ School | Luston | Shobdon | Stoke Prior | Wellington | Weobley | Wigmore | Orleton C E | St James’ C E, Kimbolton | Kingsland C E | Leintwardine Endowed | Ivington C E | Pembridge C E | Out of County | Grand Total
2146 | Shobdon | Number | 0 | 5 | 3 | 1 | 52 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 8 | 2 | 73
2146 | Shobdon | % | 0 | 6.8493 | 4.1096 | 1.3699 | 71.2329 | 0 | 0 | 0 | 1.3699 | 0 | 0 | 1.3699 | 0 | 0 | 10.9589 | 2.7397 | 100
2159 | Wigmore | Number | 2 | 1 | 9 | 4 | 6 | 0 | 2 | 0 | 92 | 0 | 0 | 5 | 15 | 0 | 2 | 38 | 176
2159 | Wigmore | % | 1.1364 | 0.56818 | 5.1136 | 2.2727 | 3.4091 | 0 | 1.1364 | 0 | 52.2727 | 0 | 0 | 2.8409 | 8.5227 | 0 | 1.1364 | 21.5909 | 100
3083 | Orleton C E | Number | 0 | 0 | 3 | 17 | 0 | 2 | 0 | 0 | 1 | 118 | 0 | 2 | 0 | 0 | 0 | 27 | 170
3083 | Orleton C E | % | 0 | 0 | 1.7647 | 10 | 0 | 1.1765 | 0 | 0 | 0.58824 | 69.4118 | 0 | 1.1765 | 0 | 0 | 0 | 15.8824 | 100
3342 | Kingsland C E | Number | 0 | 0 | 56 | 17 | 6 | 0 | 0 | 4 | 7 | 0 | 1 | 55 | 0 | 3 | 2 | 0 | 151
3342 | Kingsland C E | % | 0 | 0 | 37.0861 | 11.2583 | 3.9735 | 0 | 0 | 2.649 | 4.6358 | 0 | 0.66225 | 36.4238 | 0 | 1.9868 | 1.3245 | 0 | 100
3348 | Leintwardine Endowed | Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 68 | 0 | 0 | 24 | 100
3348 | Leintwardine Endowed | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 68 | 0 | 0 | 24 | 100
Where school children in the Schools Catchment area are going to (from Spring Census 2014)
DCSF No. | School |  | Hampton Dene | Kington | Leominster Infants’ | Luston | Shobdon | Stoke Prior | Weobley | Wigmore | Holmer C E | Orleton C E | St Francis Xaviers RC | St James’ C E, Kimbolton | Kingsland C E | Leintwardine Endowed | Ivington C E | Pembridge C E | Grand Total
2146 | Shobdon | Number | 0 | 1 | 0 | 0 | 52 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 1 | 66
2146 | Shobdon | % | 0 | 1.5152 | 0 | 0 | 78.7879 | 0 | 0 | 9.0909 | 0 | 0 | 0 | 0 | 9.0909 | 0 | 0 | 1.5152 | 100
2159 | Wigmore | Number | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 92 | 1 | 1 | 0 | 0 | 7 | 8 | 0 | 0 | 111
2159 | Wigmore | % | 0 | 0 | 0 | 0 | 0.9009 | 0.9009 | 0 | 82.8829 | 0.9009 | 0.9009 | 0 | 0 | 6.3063 | 7.2072 | 0 | 0 | 100
3083 | Orleton C E | Number | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 118 | 0 | 2 | 0 | 0 | 0 | 0 | 123
3083 | Orleton C E | % | 0.81301 | 0 | 0.81301 | 0 | 0 | 0.81301 | 0 | 0 | 0 | 95.935 | 0 | 1.626 | 0 | 0 | 0 | 0 | 100
3342 | Kingsland C E | Number | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 5 | 0 | 2 | 3 | 0 | 55 | 0 | 2 | 2 | 72
3342 | Kingsland C E | % | 0 | 0 | 0 | 1.3889 | 1.3889 | 0 | 1.3889 | 6.9444 | 0 | 2.7778 | 4.1667 | 0 | 76.3889 | 0 | 2.7778 | 2.7778 | 100
3348 | Leintwardine Endowed | Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 0 | 0 | 68 | 0 | 0 | 83
3348 | Leintwardine Endowed | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.0723 | 0 | 0 | 0 | 0 | 0 | 81.9277 | 0 | 0 | 100

## Disability access
Physical Accessibility Rating | 2
Information from https://www.herefordshire.gov.uk/education-and-learning/schools/directory
Ratings and descriptions
Rating | Details | Description
3 | Fully accessible | Will meet the needs of all disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling); Has a full hygiene room and special educational needs or therapy room for pupils who need more assistance with personal care (including hoisting) and regular physio or other treatment
2 | Mainly accessible | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
1 | Partly accessible | Some standards met but some areas not accessible
0 | Inaccessible | No level access into building and/or no disabled toilet
Summary of physical accessibility standards
Level access into building(s): Main and pupil entrance(s) level, with ramps and hand rails as required
Level access to all curriculum and social areas (not necessarily entire building/site): including assembly hall, canteen (may be achieved by sensitive organisation and timetabling)
Access to upper floors: if required - lift(s) as alternative to steps or stairs
Toilet facilities: small disabled toilet(s) as specified by building regulations - suitable for most disabled pupils. A small number of pupils will require enhanced facilities (hygiene room) to provide greater assistance, including hoisting.
Medical, therapy or SEN room: multi-purpose or flexible use - usually required in addition to a hygiene room, for regular physio and other physical programmes
Emergency evacuation: routes should be level and unobstructed. Evacuation must be documented (using Personal Emergency Evacuation Plans - PEEPs) and practised regularly