## Cover Page
Our Lady's RC Primary School
Summary Report
Contents
|  | Section | Page | No. of pages
Our Lady's RC Primary School |  | Summary Data | 3 | 1
Summary Report |  | General Information and Asset Summary | 4 | 1
|  | Maintenance and Condition Summary | 5 | 2
|  | Education Funding Agency Condition Survey Data | 7 | 1
Schools Capital Investment Strategy |  | Suitability and Compliance Summary | 8 | 2
|  | School Occupancy Summary | 10 | 1
|  | School Statistics | 11 | 1
|  | Environmental Sustainability Condition | 12 | 1
|  | Parental Preference | 13 | 1
|  | Distribution of Children Attending School or Resident in its Catchmnet Area | 14 | 2
|  | Distribution of Children Attending School or Where it is the Nearest School | 16 | 2
|  | Key Services Within 2 Mile Radius of School | 18 | 1
|  | Key Services Adjacent to School | 19 | 1
|  | Disability Access | 20 | 1
Children's Wellbeing
Herefordshire Council
Plough Lane Offices
Plough Lane
HEREFORD
HR4 0LE

## Summary Info
Our Lady's RC Primary School
Summary Report
Summary of Headline Information
Asset Summary | [5 empty] | Occupancy Summary
Gross Site Area (M2)(whole site including building):- |  | 12736.02 |  |  |  | Current Capacity (PAN 30):- |  |  |  | 210
Insurance Asset Value (£000):- |  | 448569.3404 |  |  |  | Allocated Capacity Size (PAN 30):- |  |  |  | 210
Land Asset Value (£000):- |  | 37937.5 |  |  |  | Current Occupancy:- |  |  |  | 192
Land Ownership:- | Buildings school owned, field council owned |  |  |  |  | Current Planned Admission No.:- |  |  |  | 30
[6 empty] | Current Number Over Capacity:- |  |  |  | 0
[6 empty] | Current Number Under Capacity:- |  |  |  | 18
Maintenance Expenditure Required on the School over a 5 Year Period Summary
Survey Date:- |  |  |  | 2012-11-24
Backlog Maintenance Total (£000):- | [6 empty] | 56.6777
Total Forecast Expenditure (5 years) (£000):- | [6 empty] | 307.6829
Total Potential Local Authority Forecast Expenditure (£000):- | [6 empty] | 344.0243
Total Potential School Forecast Expenditure (£000):- | [6 empty] | 20.3363
Suitability and Compliance
Required Number of Classrooms:- | [6 empty] | 7 | Required Building Footprint (M2):- |  | 1225
Actual Number of Classrooms:- | [6 empty] | 7 | Current Building Area (M2):- |  | 1364.0351
Percentage of Classrooms that are the Recommended Size:- | [6 empty] | 42.8571 | Area Shortfall (M2):- |  | 0
Compliance Percentage of Recommended Hall Size:- | [6 empty] | 103 | Area Surplus (M2):- |  | 139.0351
Number of Temporary Buildings on Site:- |  |  |  |  | 2 |  |  | Total Percentage Compliance:- |  | 111.3498
Number of Classrooms in Temporary Buildings:- |  |  |  |  | 0
Compliance Percentage of Recommended Reception Toilets:- | [6 empty] | 0 | Required Net Site Area (M2):- |  | 8891
Compliance Percentage of Recommended Other Pupil Toilets:- | [6 empty] | 240 | Current Net Site Area (M2):- |  | 11371.9849
Nursery on Site:- | Yes | [6 empty] | Area Shortfall (M2):- |  | 0
[8 empty] | Area Surplus (M2):- |  | 2480.9849
[8 empty] | Total Percentage Compliance:- |  | 127.9045
Disability Access
Rating:- | 2 |  | Details:- |  |  |  | Mainly accessible
Environmental Sustainability Condition
DEC Rating:- |  |  |  |  | No data held
Electric Consumption 2014/Child:- |  |  |  |  | 235.2113
Gas Consumption 2014/Child:- |  |  |  |  | 384.7524
School Statistics
Ofsted Results:- | [8 empty] | Good
Percentage of Children Achieving KS2 Level 4 or Above in Reading, Writing and Maths in 2014:- | [8 empty] | 45
Parental Preference (2014)
Percentage of Parental First Preference Applications:- | [6 empty] | 133.3333
Total Number of Children within Catchment:- | [6 empty] | Not Available
Total Number of Children at School from Catchment:- | [6 empty] | Not Available
Percentage of Catchment at School:- | [6 empty] | Not Available
Percentage of Catchment Going to School:- | [6 empty] | Not Available

## Report
|  |  | Our Lady's RC Primary School | [6 empty] | Our Lady's RC Primary School | [14 empty] | Our Lady's RC Primary School | [7 empty] | Our Lady's RC Primary School |  |  |  |  | Our Lady's RC Primary School |  | Our Lady's RC Primary School |  |  |  |  | Our Lady's RC Primary School | [5 empty] | Our Lady's RC Primary School |  |  | Our Lady's RC Primary School | [8 empty] | Our Lady's RC Primary School |  | Our Lady's RC Primary School |  | Our Lady's RC Primary School |  | Our Lady's RC Primary School |  | Our Lady's RC Primary School |  | Our Lady's RC Primary School |  | Our Lady's RC Primary School |  |  | Our Lady's RC Primary School
|  |  | Summary Report | [6 empty] | Summary Report | [14 empty] | Summary Report | [7 empty] | Summary Report |  |  |  |  | Summary Report |  | Summary Report |  |  |  |  | Summary Report | [5 empty] | Summary Report |  |  | Summary Report | [8 empty] | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  |  | Summary Report
General Information |  |  |  | Maintenance and Condition Summary | [21 empty] | Education Funding Agency Condition Survey Data | [7 empty] | Suitability and Compliance Summary |  |  |  |  | Suitability and Compliance Summary (continued) |  | School Occupancy Summary |  |  |  |  | School Statistics | [5 empty] | Environmental Sustainability Condition |  |  | Parental Preference | [8 empty] | Distribution of Children Attending School or Resident in its Catchment Area |  | Distribution of Children Attending School or Resident in its Catchment Area (continued) |  | Distribution of Children Attending School or Where it is the Nearest School |  | Distribution of Children Attending School or Where it is the Nearest School (continued) |  | Key Services Within 2 Mile Radius of School |  | Key Services Adjacent to School |  | Disability Access
Maintenance and Condition Summary (continued)
School Name:- | Our Lady's RC Primary School |  |  | Survey Date:- | 2012-11-24 |  | Survey Company:- |  | Amey |  | Key Elements and Annual Forecast Maintenance Costs and Responsibilities | [14 empty] | Date of Survey:- |  | Not Available | [5 empty] | Areas | Standard Criteria (M2) (PAN 30) | Schools Compliance (M2) | Compliance Percentage |  |  |  | Current Planned Admission No. (PAN) | Current School Capacity | Maximum PAN | Maximum Capacity Based on PAN |  | Year | KS2 Year on Year Results |  |  |  |  | Electric Consumption 2014/Child:- | 235.2113 |  |  | Parental First Preference Applications | [19 empty] | Physical Accessibility Rating
Head Teacher:- | Mrs M Woolaway | DFE Number:- | 3330 | Year | Forecast Maintenance Costs (£ 000) | [5 empty] | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows and Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | Number of Occurences Identified Within the Report | [7 empty] | Basic Teaching Space | 434 | 420.13 | 96.8041 |  |  |  | 30 | 210 | 30 | 210 |  |  | School - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | LA - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | All Schools in England - Percentage Achieving Level 4 or Above in Reading, Writing and Maths |  |  | Gas Consumption 2014/Child:- | 384.7524 |  |  | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | [14 empty] | Rating: | 2
Leadership:- | Stand Alone | [24 empty] | Rating (see key below) | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other | Hall and Studio | 180 | 185.4 | 103 | [17 empty] | PAN | 30 | 30 | 30 | 30 | 30 | 30
Address:- | Our Lady's R C Primary School, Boycott Road, Hereford HR2 7RN | Email:- | admin@our-ladys.hereford.sch.uk | Backlog | 56.6777 | [5 empty] | £ 000 | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | [8 empty] | Storage | 98 | 124.52 | 127.0612 |  |  |  | Historical Numbers on Roll Data (Spring Census) | [13 empty] | Number | 21.9 | 21.9 | 30 | 30 | 39.99 | 40 | [14 empty] | Details: | Mainly accessible
|  |  |  | 2015 | 42.5369 |  |  | 56.6777 |  |  | Backlog | 0.51629 | 2.2946 | 0.28683 | 0 | 0 | 9.1786 | 0 | 22.9464 | 0.22946 | 9.1786 | 0.57366 | 0 | 0 | 11.4732 | C1 | [7 empty] | Staff and Admin | 101 | 100.66 | 99.6634 |  |  |  | Year | Total NOR | Capacity Based on PAN | Shortfall | Surplus | 2012 | 75 | 71 | 75 | [5 empty] | Percentage | 73 | 73 | 100 | 100 | 133.3 | 133.3333
|  |  |  | 2016 | 27.507 |  |  | 42.5369 |  |  | 2015 | 1.1473 | 0 | 0.14342 | 0 | 0 | 3.442 | 0 | 11.4732 | 0.68839 | 4.5893 | 6.9987 | 14.0547 | 0 | 0 | C2 | [7 empty] | Learning Resource | 87 | 158.048 | 181.6644 |  |  |  | 2008 / 2009 | 210 | 210 | 0 | 0 | 2013 | 71 | 71 | 75 | [26 empty] | Description: | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
|  |  |  | 2017 | 237.639 |  |  | 27.507 |  |  | 2016 | 1.1473 | 0 | 0.028683 | 0 | 0.28683 | 0 | 0 | 13.7679 | 0 | 10.4406 | 1.8357 | 0 | 0 | 0 | D1 | [7 empty] | Supplementary Area | 0 | 85.17 | - |  |  |  | 2009 / 2010 | 200 | 210 | 0 | 10 | 2014 | 45 | 76 | 79 | [5 empty] | Historical Catchment Analysis (Spring Census)
Telephone No.:- | T: 01432 274814 F: 01432 276467 | School Cluster:- | Roman Catholic Cluster- St Mary's RC High School | 2018 | Not Available |  |  | 237.639 |  |  | 2017 | 1.1473 | 0 | 0.028683 | 206.5179 | 0 | 0 | 0 | 11.4732 | 1.8357 | 8.0312 | 3.442 | 5.1629 | 0 | 0 | D2 | [7 empty] | Non Net Area | 325 | 290.1071 | 89.2637 |  |  |  | 2010 / 2011 | 185 | 210 | 0 | 25 | [9 empty] | Catchment Analysis | Parental First Preference Applications 2012: 2010; Parental First Preference Applications 2013: 2011; Parental First Preference Applications 2014: 2012 | 2013 | 2014
|  |  |  | 2019 | Not Available |  |  | Not Available |  |  | 2018 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | D3 | [7 empty] | Total Gross Building Area | 1225 | 1364.0351 | 111.3498 |  |  |  | 2011 / 2012 | 173 | 210 | 0 | 37 | KS2 Test Results and Progress (2014) | [11 empty] | Total in Catchment | NA | NA | NA | NA | NA
[8 empty] | Not Available |  |  | 2019 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | [15 empty] | 2012 / 2013 | 178 | 210 | 0 | 32 | [12 empty] | Number at School from Catchment | NA | NA | NA | NA | NA
School Type:- | Voluntary Aided | Building Number:- | FDA6 | Total | 364.3606 | [5 empty] | Totals | 3.9583 | 2.2946 | 0.48761 | 206.5179 | 0.28683 | 12.6205 | 0 | 59.6607 | 2.7536 | 32.2397 | 12.85 | 19.2176 | 0 | 11.4732 | *Note the information noted above has been extracted from the EFA survey focusing on elements that are C & D rated. Items with an A or B rating have been excluded. The numbers reference the quantity of elements that the survey has picked up within the relevant category | [7 empty] | Total Gross Site Area | 10116 | 12736.02 | 125.8998 |  |  |  | 2013 / 2014 | 194 | 210 | 0 | 16 | Pupils eligible for KS2 assessment |  |  |  | 29 | [7 empty] | Percentage at School from Catchment | NA | NA | NA | NA | NA
Current Capacity:- | 210 | Site Area:- | 12736.02 | [30 empty] | Net Site Area (less the building area) | 8891 | 11371.9849 | 127.9045 |  |  |  | Current Occupancy | 192 | 210 | 0 | 18 | Percentage achieving level 3 or below in reading, writing and maths |  |  |  | 28 | [7 empty] | Percentage of Catchment Going to School | NA | NA | NA | NA | NA
[11 empty] | Total Potential Expenditure - Local Authority (£000) | [6 empty] | 344.0243 | [27 empty] | Percentage achieving level 4 or above in reading, writing and maths |  |  |  | 45
|  |  |  | Key Elements of Forecast Maintenance | [29 empty] | Key Information (based on Building Bulletin 103) | [6 empty] | Current Occupancy Summary (Autumn Census 2014) |  |  |  |  | Percentage achieving level 4B or above in reading and maths and level 4 or above in writing |  |  |  | 34 |  |  |  |  | Catchment and Nearest School Comparison (Autumn Census 2014)
|  |  |  | Categories |  | Totals (£ 000) | [19 empty] | Key | [7 empty] | Required Number of Classrooms |  |  |  | 7 |  |  | Year Group | NOR | Shortfall | Surplus |  | Percentage achieving level 5 or above in reading, writing and maths |  |  |  | 7 | [5 empty] | Parental First Preference Applications 2011: Catchment vs Nearest School; Parental First Preference Applications 2012: Catchment; Parental First Preference Applications 2013: Nearest
|  |  |  | External Grounds |  | 6.2529 |  |  |  |  | Total Potential Expenditure - School (£000) | [6 empty] | 20.3363 | [7 empty] | Condition grade | Definition |  |  |  | Priority rating | Definition |  | Number of Classrooms |  |  |  | 7 |  |  | Reception | 32 | 2 | 0 |  | Percentage making expected progress in reading |  |  |  | 79 | [5 empty] | Parental First Preference Applications 2011: NOR; Parental First Preference Applications 2012: 192; Parental First Preference Applications 2013: 192
|  |  |  | Roof Works |  | 207.0055 | [27 empty] | Percentage of Classrooms that are the Recommended Size |  |  |  | 42.8571 |  |  | One | 30 | 0 | 0 |  | Percentage making expected progress in writing |  |  |  | 80 | [5 empty] | Parental First Preference Applications 2011: Total in Area; Parental First Preference Applications 2012: NA; Parental First Preference Applications 2013: 397
|  |  |  | External Walls |  | 12.9074 | [19 empty] | A Good | Performing as intended and operating efficiently |  |  |  | 1 | Immediate or year 1 remedial action required |  | Percentage of Classrooms that are Classed as Small |  |  |  | 57.1429 |  |  | Two | 30 | 0 | 0 |  | Percentage making expected progress in maths |  |  |  | 76 | [5 empty] | Parental First Preference Applications 2011: Number at School from Area; Parental First Preference Applications 2012: NA; Parental First Preference Applications 2013: 32
|  |  |  | Windows and Doors |  | 59.6607 | [27 empty] | Number of Temporary Buildings on Site |  |  |  | 2 |  |  | Three | 27 | 0 | 3 |  | Average point score |  |  |  | 25.9 | [5 empty] | Parental First Preference Applications 2011: Percentage at School; Parental First Preference Applications 2012: NA; Parental First Preference Applications 2013: 16.6667
|  |  |  | Internal Works |  | 34.9933 | [19 empty] | B Satisfactory | Performing as intended but exhibiting minor deterioration |  |  |  | 2 | Year 1-2 remedial action required |  | Number of Classrooms in Temporary Buildings |  |  |  | 0 |  |  | Four | 23 | 0 | 7 | [11 empty] | Parental First Preference Applications 2011: Percentage of area going to School; Parental First Preference Applications 2012: NA; Parental First Preference Applications 2013: 8.0605
Asset Summary |  |  |  | Mechanical and Electrical |  | 32.0676 | [27 empty] | Percentage of Recommended Reception Toilets |  |  |  | 0 |  |  | Five | 25 | 0 | 5 |  | Latest Ofsted Report Date:- |  | 2013-02-13
|  |  |  | Other (e.g. ancillary buildings) |  | 11.4732 | [19 empty] | C Poor | Exhibiting major defects and/or not operating as intended |  |  |  | 3 | Year 3-5 remedial action required |  | Percentage of Recommended Other Pupil Toilets |  |  |  | 240 |  |  | Six | 25 | 0 | 5 |  | Ofsted Result:- |  | Good
Asset Value - Insurance (£000):- |  | 448.5693 | [38 empty] | Total | 192 | 0 | 18
Asset Value - Land (£000):- |  | 37.9375 | [23 empty] | D Bad | Life-expired and/or at serious risk of imminent failure
Land Owner:- |  | Buildings school owned, field council owned | [36 empty] | Category | Areas Included
[39 empty] | Basic Teaching Spaces | General Classrooms, ICT Rooms, Practical Areas
[39 empty] | Hall and Studio | Halls, Dining Areas
Lease Agreement / Notes:- |  | Not Known | [36 empty] | Storage | Coats and Bags, Teaching, Specialist, PE Equipment, Bulk Stock, Cleaning, Caretakers and Maintenance, Tables and Chairs, Staging, Mobility Equipment
Nursery Provision:- |  | PVI Nursery | [36 empty] | Staff and Admin | Heads and Staff Offices, Staff Room, Staff PPA,Reprographics Room, Sick Bay, Interview and Meeting Rooms, Secure Entrance
[39 empty] | Learning Resource | Library, Small Group Rooms, SENCO Office, Medical Inspection Room
[39 empty] | Supplementary Area | Any other specialist area at the school e.g. Music Classroom, Swimming Pool, SEN Classrooms
[39 empty] | Non Net Area | Pupil and Staff Toilets, Accessible Toilets, Hygiene Room, Kitchen, Corridors, Server Room, Boilers
[39 empty] | Additional Area | Nursery provision

## Feedback
|  | Our Lady's RC Primary School |  |  | Our Lady's RC Primary School |  |  | Our Lady's RC Primary School
|  | Feedback Form |  |  | Feedback Form |  |  | Feedback Form
General Information and Asset Summary |  |  | School Occupancy Summary |  |  | Parental Preference
Do you believe the data to be accurate? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Maintenance and Condition Summary |  |  | School Statistics |  |  | Disability Access
Do you believe the data to be a fair reflection of the maintenance and condition of the school? | [5 empty] | Do you believe the data to be a fair reflection of the environmental condition of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Suitability and Compliance Summary |  |  | Environmental Sustainability Condition |  |  | Any Other Comments
Do you believe the data to be a fair reflection of the suitability and compliance issues faced by the school? | [5 empty] | Additional comments about the information provided:
Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments:
If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920
Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015

## Asset summary
Building ref number:- | FDA6
Site Area:- | 12736.02
Asset Value (Insurance):- | 448569.3404
Asset Value (Land):- | 37937.5
Land owner:- | Buildings school owned, field council owned
Lease agreement / notes:- | Not Known
DEC rating:- | No data held
Electric consumption 2014/child:- | 235.2113
Gas consumption 2014/child:- | 384.7524

## Maintenance
Maintenance & Condition Summary | [5 empty] | BCIS Quarter | 4Q2012 | [11 empty] | Check | Main year totals | Summary year totals | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows & Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | BCIS quarter | BCIS uplift
Year survey undertaken |  | 2012-11-24 |  |  |  | BCIS Uplift | 1.1473 | [15 empty] | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | 1Q2009 | 1.1525
Survey company:- |  | Amey | [17 empty] | 56677.6786 | 56677.6786 | Backlog | 516.2946 | 2294.6429 | 286.8304 | 0 | 0 | 9178.5714 | 0 | 22946.4286 | 229.4643 | 9178.5714 | 573.6607 | 0 | 0 | 11473.2143 | 2Q2009 | 1.1898
[20 empty] | 42536.942 | 42536.942 | 2015 | 1147.3214 | 0 | 143.4152 | 0 | 0 | 3441.9643 | 0 | 11473.2143 | 688.3929 | 4589.2857 | 6998.6607 | 14054.6875 | 0 | 0 | 3Q2009 | 1.1898
[20 empty] | 27507.0312 | 27507.0312 | 2016 | 1147.3214 | 0 | 28.683 | 0 | 286.8304 | 0 | 0 | 13767.8571 | 0 | 10440.625 | 1835.7143 | 0 | 0 | 0 | 4Q2009 | 1.2123
[6 empty] | Year covered? | Y | Y | Y | Y | N | N | School Costs | [6 empty] | 237638.9509 | 237638.9509 | 2017 | 1147.3214 | 0 | 28.683 | 206517.8571 | 0 | 0 | 0 | 11473.2143 | 1835.7143 | 8031.25 | 3441.9643 | 5162.9464 | 0 | 0 | 1Q2010 | 1.2297
Category | Ref | Element | Recommended Works |  |  | Estimated Work Cost | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 |  | 0 | 0 | 2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2Q2010 | 1.1789
[20 empty] | 0 | 0 | 2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3Q2010 | 1.1735
|  | 2.0 EXTERNAL GROUNDS & FEATURES FDA6 | [34 empty] | 4Q2010 | 1.1682
g | 2.0.3 | Paths | Replace broken slabs and re bed un eaven | KD | 2 | 250 | 250 | [5 empty] | 250 | 0 | 0 | 0 | 0 | 0 |  |  |  | Individual Category totals | 3958.2589 | 2294.6429 | 487.6116 | 206517.8571 | 286.8304 | 12620.5357 | 0 | 59660.7143 | 2753.5714 | 32239.7321 | 12850 | 19217.6339 | 0 | 11473.2143 | 1Q2011 | 1.1735
g | 2.0.4 | Play Equipment | Annual ROSPA Inspections | KB | 2 | 5000 | 2000 | 1000 | 1000 | 1000 |  |  | 0 | 1000 | 1000 | 1000 | 0 | 0 | [18 empty] | 2Q2011 | 1.1525
|  | 2.1 ROOFS & FEATURES FDA6/AA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Summary category totals | Main category totals | Check | [11 empty] | 3Q2011 | 1.1682
r | 2.1.1 | Flat Roof Recovering Works | Flat roof of profiled metal deck and covered in mineral felt, unable to view condition from the ground but sa not being advised of any re covering from the original and with a life expectancy of 30 years is due for replacement. | AA | 4 | 180000 | 0 |  |  | 180000 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2011 | 1.1525
r | 2.1.3 | Rain Water Goods | Requires annual cleaning and cyclical re decorating | AE | 3 | 300 | 200 | 100 |  |  |  |  | 200 | 100 | 0 | 0 | 0 | 0 |  |  | External Grounds |  | 6252.9018 | 6252.9018 | [12 empty] | 1Q2012 | 1.1953
|  | 2.2 EXTERNAL ELEVATIONS FDA6/AA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Roof Works |  | 207005.4688 | 207005.4688 | [12 empty] | 2Q2012 | 1.1174
e | 2.2.1 | Walls | Cyclical redecorations every 5 Years and general repairs. Monitor the cracking elements to the walls. | DA | 3 | 3000 | 3000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | External Walls |  | 12907.3661 | 12907.3661 | [12 empty] | 3Q2012 | 1.1525
w | 2.2.2 | Windows | Replace with Powder coated double glazed windows and frames as others.. | DC | 3 | 50000 | 20000 | 10000 | 10000 | 10000 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Windows & Doors |  | 59660.7143 | 59660.7143 | [12 empty] | 4Q2012 | 1.1473
w | 2.2.4 | Doors | Most doors are powder coated double glazed Aluminium with the exception of some existing timber side doors and those to the boiler and plant rooms which are louvered timber. | DC | 3 | 2000 | 0 |  | 2000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Internal Works |  | 34993.3036 | 34993.3036 | [12 empty] | 1Q2013 | 1.0983
o | 2.2.5 | Court Yard Building | This building needs textensive repairs or replacement | DB | 2 | 10000 | 10000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Mechanical & Electrical |  | 32067.6339 | 32067.6339 | [12 empty] | 2Q2013 | 1.089
|  | 2.3 INTERNAL ELEVATIONS FDA6/AA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Other |  | 11473.2143 | 11473.2143 | [12 empty] | 3Q2013 | 1.0983
i | 2.3.6 | Internal Decorations | Cyclical re decoration every 5 Years included in stages | IB | 3 | 20000 | 8000 | 4000 | 4000 | 4000 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2013 | 1.0798
i | 2.3.7 | Floors | Solid floors covered with carpet or Vinyl in reasonable condition with exception of School Hall coverd in Vinyl that has serveral movement cracks. See Photo. | BA | 2 | 5500 | 200 | 100 | 5100 | 100 |  |  | 200 | 100 | 0 | 100 | 0 | 0 |  |  | Total |  | 364360.6027 | 364360.6027 | [12 empty] | 1Q2014 | 1.0447
|  | 2.4 EXTERNAL ELLIOTT TYPE CLASSROOM |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2014 | 1.0198
e | 2.4.2 | Walls | Timber stud walls covered in plywood with textured coating, some rotten bottom edges and corners to the building. Timber slatts to wall under croft See Photos | BD | 2 | 5000 | 5000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 3Q2014 | 1.028
e | 2.4.6 | External Decorations | Cyclical redecorations every 3 Years | IA | 3 | 3000 | 0 | 3000 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2014 | 1.0078
g | 2.4.7 | Ramps & Steps | Timber, shows some signs or weather worn will require maintenance works | BB | 2 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 1Q2015 | 1
|  | 2.5 INTERNAL ELLIOTT TYPE CLASSROOM |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 2.5.6 | Internal Decorations | In reasonable condition with minor abrasions but requires Cyclical redecorations every 5 Years | IB | 3 | 1500 | 0 |  |  | 1500 |  |  | 0 | 0 | 0 | 1500 | 0 | 0
i | 2.5.7 | Floors Covering | Solid floors covered with carpet or Vinyl in reasonable condition. Replace in 5 Years | BA | 4 | 3000 | 0 |  |  | 3000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 2.6 EXTERNAL ZZY3 |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | 2.6.5 | External Decoratinos | Cyclical decorations every 3 Years | IA | 3 | 250 | 0 |  | 250 |  |  |  | 0 | 0 | 250 | 0 | 0 | 0
r | 2.6.6 | Rain Water Goods | Annual cleaning out of all rainwater goods | AE | 3 | 125 | 50 | 25 | 25 | 25 |  |  | 50 | 25 | 25 | 25 | 0 | 0
|  | 2.7 INTERNAL ZZY3 |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 2.7.6 | Internal Decorations | Cyclical redecorations every 5 Years | IB | 3 | 500 | 0 | 500 |  |  |  |  | 0 | 500 | 0 | 0 | 0 | 0
| 3.1.1 | Ventilation - FDA6/AA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.1.1.a | Mens WC - Extract Ventilation | The unit is in good working order and should be for the next few years, however an allowance should be made for mainantence over the next few years. | GE | 3 | 100 | 0 |  | 100 |  |  |  | 0 | 0 | 100 | 0 | 0 | 0
m | 3.1.1.b | Womens WC - Extract Ventilation | The unit is in good working order and should be for the next few years, however an allowance should be made for mainantence over the next few years. | GE | 3 | 100 | 0 |  | 100 |  |  |  | 0 | 0 | 100 | 0 | 0 | 0
m | 3.1.1.c | Disabled WC - Extract Ventilation | The unit is in good working order and should be for the next few years, however an allowance should be made for mainantence over the next few years. | GE | 3 | 100 | 0 |  | 100 |  |  |  | 0 | 0 | 100 | 0 | 0 | 0
m | 3.1.1.d | Girls WC - Extract Ventilation | The unit is in good working order and should be for the next few years, however an allowance should be made for mainantence over the next few years. | GE | 3 | 100 | 0 |  | 100 |  |  |  | 0 | 0 | 100 | 0 | 0 | 0
m | 3.1.1.e | Boys WC - Extract Ventilation | The unit is in good working order and should be for the next few years, however an allowance should be made for mainantence over the next few years. | GE | 3 | 100 | 0 |  | 100 |  |  |  | 0 | 0 | 100 | 0 | 0 | 0
m | 3.1.1.f | Boys WC - Extract Ventilation | The unit is in good working order and should be for the next few years, however an allowance should be made for mainantence over the next few years. | GE | 3 | 100 | 0 |  | 100 |  |  |  | 0 | 0 | 100 | 0 | 0 | 0
m | 3.1.2 | Heating - FDA6/AA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.1.2.a | Staff Room - LTHW Heating | Radiators are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 3 | 200 | 0 |  |  | 200 |  |  | 0 | 0 | 0 | 200 | 0 | 0
m | 3.1.2.b | Office - LTHW Heating | Radiators are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB |  | 200 | 0 | 200 |  |  |  |  | 0 | 200 | 0 | 0 | 0 | 0
m | 3.1.2.c | Corridors - LTHW Heating | The unit is in good working order and should be for the next few years, however an allowance should be made for mainantence over the next few years. | GB | 3 | 600 | 0 |  |  | 600 |  |  | 0 | 0 | 0 | 600 | 0 | 0
m | 3.1.2.d | First Aid Room - LTHW Heating | Radiators are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 3 | 200 | 0 |  |  | 200 |  |  | 0 | 0 | 0 | 200 | 0 | 0
m | 3.1.2.e | Library - LTHW Heating | Radiators are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 3 | 200 | 0 | 200 |  |  |  |  | 0 | 200 | 0 | 0 | 0 | 0
m | 3.1.2.f | Classroom - LTHW Heating | The units are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 3 | 400 | 0 | 400 |  |  |  |  | 0 | 400 | 0 | 0 | 0 | 0
m | 3.1.2.g | Classroom 36 - Electric Heating | The unit is in good working order and should be for the next few years, however an allowance should be made for mainantence over the next few years. | GB | 3 | 200 | 0 |  | 200 |  |  |  | 0 | 0 | 200 | 0 | 0 | 0
m | 3.1.2.h | Classroom - LTHW Heating | The units are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 3 | 400 | 0 | 400 |  |  |  |  | 0 | 400 | 0 | 0 | 0 | 0
m | 3.1.2.i | Hall - LTHW Heating | The units are old fittings, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 3 | 1000 | 0 | 1000 |  |  |  |  | 0 | 1000 | 0 | 0 | 0 | 0
m | 3.1.2.j | IT Room - LTHW Heating | The unit is in good working order and should be for the next few years, however an allowance should be made for mainantence over the next few years. | GB | 3 | 100 | 0 |  |  | 100 |  |  | 0 | 0 | 0 | 100 | 0 | 0
m | 3.1.2.k | Classroom 10, 14, 16 - LTHW Heating | The unit is in good working order and should be for the next few years, however an allowance should be made for mainantence over the next few years. | GB | 3 | 800 | 0 |  | 800 |  |  |  | 0 | 0 | 800 | 0 | 0 | 0
m | 3.1.3 | Domestic Water & Drainage - FDA6/AA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.1.3.a | Staff Room - Hot Water Heater | The unit is in good working order and should be for the next few years, however an allowance should be made for mainantence over the next few years. | GD | 3 | 200 | 0 |  |  | 200 |  |  | 0 | 0 | 0 | 200 | 0 | 0
m | 3.1.3.b | Mens WC - Hot Water Services | The unit is in good working order and should be for the next few years, however an allowance should be made for mainantence over the next few years. | GD | 3 | 200 | 0 |  |  | 200 |  |  | 0 | 0 | 0 | 200 | 0 | 0
m | 3.1.3.c | Womens WC - Hot Water Services | The unit is in good working order and should be for the next few years, however an allowance should be made for mainantence over the next few years. | GD | 3 | 200 | 0 |  |  | 200 |  |  | 0 | 0 | 0 | 200 | 0 | 0
m | 3.1.3.d | Disabled WC - Hot Water Services | The unit is in good working order and should be for the next few years, however an allowance should be made for mainantence over the next few years. | GD | 3 | 200 | 0 |  |  | 200 |  |  | 0 | 0 | 0 | 200 | 0 | 0
m | 3.1.3.e | Girls WC - Hot Water Services | The unit is in good working order and should be for the next few years, however an allowance should be made for mainantence over the next few years. | GD | 3 | 200 | 0 |  |  | 200 |  |  | 0 | 0 | 0 | 200 | 0 | 0
m | 3.1.3.f | Boys WC - Hot Water Services | The unit is in good working order and should be for the next few years, however an allowance should be made for mainantence over the next few years. | GD | 3 | 200 | 0 |  |  | 200 |  |  | 0 | 0 | 0 | 200 | 0 | 0
m | 3.1.3.g | Servery WC - Hot Water Services | The unit is in good working order and should be for the next few years, however an allowance should be made for mainantence over the next few years. | GD | 3 | 200 | 0 |  |  | 200 |  |  | 0 | 0 | 0 | 200 | 0 | 0
m | 3.1.3.h | Boys WC - Hot Water Services | The unit is in good working order and should be for the next few years, however an allowance should be made for mainantence over the next few years. | GD | 3 | 200 | 0 |  |  | 200 |  |  | 0 | 0 | 0 | 200 | 0 | 0
m | 3.1.4 | HVAC Plantroom - FDA6/AA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.1.4.a | Plantroom - Boiler | Boiler is generally in good condition and should be servicable for the next few years, however an allowance should be made for maintenance over the next few years. | GA | 3 | 600 | 0 | 600 |  |  |  |  | 0 | 600 | 0 | 0 | 0 | 0
m | 3.1.4.b | Plantroom - LTHW Pumps | The pumps are in good working order and should be for the next few years, however an allowance should be made for maintenance over the next few years. | GB | 3 | 300 | 0 |  |  | 300 |  |  | 0 | 0 | 0 | 300 | 0 | 0
m | 3.1.4.e | Plantroom - Pressure Unit | The pressure unit is in good working order and should be for the next few years, however an allowance should be made for maintenance over the next few years. | GB | 3 | 300 | 0 | 300 |  |  |  |  | 0 | 300 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.2.2.A | Lighting | Replace majority of lighting to classrooms, some stores and Main Hall. | HC | 3 | 11550 | 0 | 7050 |  | 4500 |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | 3.2.3.A | Small Power/ Data Outlets | Replace various sockets throughout school. | HB | 3 | 1800 | 0 | 1800 |  |  |  |  | 0 | 1800 | 0 | 0 | 0 | 0
m | 3.2.3.A | Switchgear | Replace MEM DB and Isolator in boiler room. Past useful life. | HB | 3 | 5200 | 0 | 5200 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | 3.2.4.B | White PVC surface mounted conduit | Replace PVC conduit is some areas. Majority still serviceable but is recommended to replace in long term maintenance plans. | HC | 3 | 1200 | 0 | 1200 |  |  |  |  | 0 | 1200 | 0 | 0 | 0 | 0
m | 3.2.6.C | Security | Alarm bell to the exterior of building has become loose and is hanging by one fixing. Replace / repair as necessary. | HE | 3 | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0

## EFA Property
|  |  | EFA survey data | [6 empty] | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other
DFE | School | School Type | Date received | Condition rating C or D | Priority rating 1 or 2 | Element | Category | CCP rating
[9 empty] | C1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | C2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D3 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Suitability and Compliance
Space |  |  | BB103 suggested sizes
[6 empty] | Suitability Data | [11 empty] | Compliance Comparison |  |  | 1 | Form of entry | PAN | 30
Basic Teaching Spaces |  |  | No. of spaces | m2 | Total m2 | Plan ref | Space | [10 empty] | Total area | Shortfall | Surplus | 2012 | Date of last assessment
|  | Classroom - Year R | 1 | 62 | 62 | 20, 20a | General classroom | 35.67 | 33.39 | [8 empty] | 69.06 | 0 | 7.06
|  | Classroom - Year 1 | 1 | 62 | 62 | 16, 16a, 16b, UNC | General classroom | 29.43 | 20.74 | 7.76 | 4.5 | [6 empty] | 62.43 | 0 | 0.43 | 2 | No. Temp Buildings on Site
|  | Classroom - Year 2 | 1 | 62 | 62 | 14, 14a, 11 | General classroom | 51.89 | 7.31 | 5.67 | [7 empty] | 64.87 | 0 | 2.87 | 0 | No. of Classrooms in Temporary Buildings
|  | Classroom - Year 3 | 1 | 62 | 62 | 10, 10a | General classroom | 51.89 | 1.53 | [8 empty] | 53.42 | 8.58 | 0 | 7 | No. of Classrooms
|  | Classroom - Year 4 | 1 | 62 | 62 | 40, 40a | General classroom | 54.65 | 2.01 | [8 empty] | 56.66 | 5.34 | 0 | 7 | Required No. of Classroooms
|  | Classroom - Year 5 | 1 | 62 | 62 | 43 | General classroom | 55.85 | [9 empty] | 55.85 | 6.15 | 0
|  | Classroom - Year 6 | 1 | 62 | 62 | 45 | General classroom | 57.84 | [9 empty] | 57.84 | 4.16 | 0
|  | Practical area / food bay | 0 | 0 | 0 | [12 empty] | 0 | 0 | 0 | 42.86% | of classrooms are the recommended size
|  | ICT base | 0 | 0 | 0 | [12 empty] | 0 | 0 | 0 | 57.14% | of classrooms are small
[5 empty] | 434 | [12 empty] | 420.13 | 24.23 | 10.36 | 96.8% | of the recommended basic teaching space required
[20 empty] | 409.77 | 94.42% | of the recommended basic teaching space required ignoring surplus
Halls and Studios | [20 empty] | 5.583% | shortfall in basic teaching space
| 1 | Main hall | 1 | 180 | 180 | 4 | Hall | 185.4 | [9 empty] | 185.4 | 0 | 5.4
[5 empty] | 180 | [12 empty] | 185.4 | 0 | 5.4 | 103% | of the recommended hall size
Storage | [20 empty] | 0% | shortfall in hall size
| 1 | Coat and bag storage - Year R | 1 | 3 | 3 | 21 | Cloakroom (shared) | 6 | [9 empty] | 6 | 0 | 3
| 2 | Coat and bag storage - Year 1 | 1 | 3 | 3 | 21 | Cloakroom (shared) | 6.03 | [9 empty] | 6.03 | 0 | 3.03
| 3 | Coat and bag storage - Year 2 | 1 | 3 | 3 | 37 | Cloakroom (shared) | 4 | [9 empty] | 4 | 0 | 1
| 4 | Coat and bag storage - Year 3 | 1 | 3 | 3 | 7 | Cloakroom (shared) | 9 | [9 empty] | 9 | 0 | 6
| 5 | Coat and bag storage - Year 4 | 1 | 3 | 3 | 7 | Cloakroom (shared) | 9 | [9 empty] | 9 | 0 | 6
| 6 | Coat and bag storage - Year 5 | 1 | 3 | 3 | 37 | Cloakroom (shared) | 4 | [9 empty] | 4 | 0 | 1
| 7 | Coat and bag storage - Year 6 | 1 | 3 | 3 | 37 | Cloakroom (shared) | 4 | [9 empty] | 4 | 0 | 1
| 8 | Teaching storage - Year R | 1 | 2 | 2 | 18 | Store room | 4.92 | [9 empty] | 4.92 | 0 | 2.92
| 9 | Teaching storage - Year 1 | 1 | 2 | 2 | 17 | Store room | 2.87 | [9 empty] | 2.87 | 0 | 0.87
| 10 | Teaching storage - Year 2 | 1 | 2 | 2 | 13 | Store room | 2.62 | [9 empty] | 2.62 | 0 | 0.62
| 11 | Teaching storage - Year 3 | 1 | 2 | 2 | 12 | Store room | 2.7 | [9 empty] | 2.7 | 0 | 0.7
| 12 | Teaching storage - Year 4 | 1 | 2 | 2 | 41 | Store room | 6.64 | [9 empty] | 6.64 | 0 | 4.64
| 13 | Teaching storage - Year 5 | 1 | 2 | 2 | 42 | Store room | 6.67 | [9 empty] | 6.67 | 0 | 4.67
| 14 | Teaching storage - Year 6 | 1 | 2 | 2 | 46, 47 | Store room | 5.6 | 4.83 | [8 empty] | 10.43 | 0 | 8.43
| 15 | Specialist walk in stores | 3 | 5 | 15 | 1d, 1f, UNE | Store room | 4 | 4 | 5.4 | [7 empty] | 13.4 | 1.6 | 0
| 18 | Indoor PE equipment storage | 1 | 18 | 18 | 4b | Store room | 9.74 | [9 empty] | 9.74 | 8.26 | 0
| 19 | Outdoor PE equipment storage | 0 | 0 | 0 | [12 empty] | 0 | 0 | 0
|  | Bulk stock store | 1 | 4 | 4 | 48 | Store room | 1.91 | [9 empty] | 1.91 | 2.09 | 0
| 21 | Caretakers and maintenance store | 1 | 5 | 5 | 56 | Store room | 5.56 | [9 empty] | 5.56 | 0 | 0.56
| 22 | Cleaning store | 1 | 3 | 3 | 1e, 6, 23b | Cleaners store room | 2 | 2.77 | 0.86 | [7 empty] | 5.63 | 0 | 2.63
| 23 | Table and chair store | 1 | 12 | 12 | 5 | Store room | 9.4 | [9 empty] | 9.4 | 2.6 | 0
| 25 | Staging/ appliance store | 1 | 4 | 4 | [12 empty] | 0 | 4 | 0
|  | Mobility equipment store | 1 | 2 | 2 | [12 empty] | 0 | 2 | 0
| 24 | Store for community | 0 | 0 | 0 | [12 empty] | 0 | 0 | 0
[5 empty] | 98 | [12 empty] | 124.52 | 20.55 | 47.07 | 127.1% | of the recommended storage space required
Staff and admin | [20 empty] | 20.97% | shortfall
| 1 | Heads office | 1 | 12 | 12 | UNB | Heads office | 9.9 | [9 empty] | 9.9 | 2.1 | 0
| 3 | Staff room work and social | 1 | 33 | 33 | 1, 1a, 1c | Staffroom | 48.58 | 5.71 | 2 | [7 empty] | 56.29 | 0 | 23.29
|  | Staff PPA | 1 | 10 | 10 | [12 empty] | 0 | 10 | 0
| 4 | Senior management office | 1 | 10 | 10 | 27 | General office | 12.48 | [9 empty] | 12.48 | 0 | 2.48
| 7 | General office (reception) | 1 | 12 | 12 | 52 | Reception (office) | 9.3 | [9 empty] | 9.3 | 2.7 | 0
| 8 | Secure reception | 1 | 4 | 4 | 51 | Entrance | 7.22 | [9 empty] | 7.22 | 0 | 3.22
| 9 | Reprographics room | 1 | 8 | 8 | 32 | Photocopying room | 5.47 | [9 empty] | 5.47 | 2.53 | 0
| 10 | Meeting room | 0 | 0 | 0 | [12 empty] | 0 | 0 | 0
| 11 | Sick bay | 1 | 3 | 3 | [12 empty] | 0 | 3 | 0
| 13 | Interview room | 1 | 9 | 9 | [12 empty] | 0 | 9 | 0
[5 empty] | 101 | [12 empty] | 100.66 | 29.33 | 28.99 | 99.66% | of the recommended staff and admin space required
Learning resource area | [20 empty] | 29.04% | shortfall
| 1 | Library (learning resource centre) | 1 | 30 | 30 | tbc | Library | 101.13 | [9 empty] | 101.13 | 0 | 71.13
| 3 | Small group room | 3 | 11 | 33 | 29, 26, 53 | Small group room x 3 | 8.79 | 21.12 | 10.58 | [7 empty] | 40.49 | 0 | 7.49
| 5 | SENco office (SEN resource) | 1 | 12 | 12 | UND | General office | 10.688 | [9 empty] | 10.688 | 1.312 | 0
| 2 | Medical inspection room/ Therapy room | 1 | 12 | 12 | 28 | MI room | 5.74 | [9 empty] | 5.74 | 6.26 | 0
[5 empty] | 87 | [12 empty] | 158.048 | 7.572 | 78.62 | 181.7% | of the recommended learning resource areas
Supplementary area | [20 empty] | 8.703% | shortfall
| 1 |  | 0 | 0 | 0 | UNI, UNH | Before and after school club | 75.52 | 9.65 | [8 empty] | 85.17 | 0 | 85.17
[5 empty] | 0 | [12 empty] | 0 | 0 | 0
[18 empty] | 85.17 | 0 | 85.17 | - | of the recommended supplementary areas
Non net areas | [20 empty] | - | shortfall
| 1 | Reception toilets | 3 | 2 | 6 | [12 empty] | 0 | 6 | 0 | 0 | Number of reception toilets
| 1 | Pupils toilets | 10 | 2 | 20 | 8,9,22,23, 34, 34a, 38, 39, UNG | Pupil wc's 20 wc's 4 urinals | 5.75 | 8.68 | 5.83 | 6.01 | 11.74 | 5.62 | 5.83 | 5.74 | 6.8 |  | 62 | 0 | 42 | 24 | Number of other pupil toilets
| 2 | Staff toilets | 2 | 2 | 4 | 24,25 | Staff wc's 4 WC's | 6.31 | 7.01 | [8 empty] | 13.32 | 0 | 9.32 | 0% | % of recommended reception toilets
| 3 | Accessible toilet | 1 | 3 | 3 | UNA, UNF | Disabled w.c. | 4 | 3.43 | [8 empty] | 7.43 | 0 | 4.43 | 240% | % of recommended other pupil toilets
| 9 | Hygiene room | 1 | 12 | 12 | [12 empty] | 0 | 12 | 0
| 4 | Kitchen facilities (servery) | 1 | 28 | 28 | 4a | Servery | 10.36 | [9 empty] | 10.36 | 17.64 | 0
| 5 | Corridors | - | 22.5% | 202.5 | 2,3,7a,30,30a,31,31a,33,44,59,unj | Corridor | 1.99 | 6.59 | 42.9 | 7.8 | 8.75 | 8.4 | 39.1 | 12.08 | 7.91 | 5.1 | 140.62 | 61.88 | 0
| 6 | Boiler room | 1 | 1.5% | 13.5 | 49, 57 | Boiler Room and meter room | 10.14 | 3.28 | [8 empty] | 13.42 | 0.08 | 0
| 7 | Server | in boiler | [14 empty] | 0 | 0 | 0
|  | Walls | - | 4% | 36 |  |  | 42.9571 | [9 empty] | 42.9571 | 0 | 6.9571
[5 empty] | 325 | [12 empty] | 290.1071 | 97.6 | 62.7071 | 89.26% | of the recommended non net area
Additional area | [20 empty] | 30.03% | shortfall
|  | Nursery class | 1 | 62 | 62 | TBC | Mobile classroom for Merry go round nursery | [10 empty] | 0 | 62 | 0
|  | Quiet room | 1 | 8 | 8 | [12 empty] | 0 | 8 | 0
|  | Nursery store room | 1 | 2 | 2 | [12 empty] | 0 | 2 | 0
|  | Nursery office | 1 | 8 | 8 | [12 empty] | 0 | 8 | 0
|  | Nursery cloakroom | 1 | 3 | 3 | [12 empty] | 0 | 3 | 0
|  | Nursery pupils toilets | 3 | 2 | 6 | [12 empty] | 0 | 6 | 0
|  | Nursery staff toilets | 1 | 2 | 2 | [12 empty] | 0 | 2 | 0
|  | Nursery entrance | 1 | 22.5% | 1.8675 | [12 empty] | 0 | 1.8675 | 0
[5 empty] | 92.8675 | [12 empty] | 0 | 92.8675 | 0 | 0%
100%
Total Net area |  |  |  |  | 900 | [12 empty] | 1073.928
Total Non-Net area |  |  |  |  | 325 | [12 empty] | 290.1071
Gross (total build) area - excluding nursery |  |  |  |  | 1225 | [12 empty] | 1364.0351 |  |  | 111.3% | of the recommended Gross area
Gross (total build) area - including nursery |  |  |  |  | 1317.8675 | [12 empty] | 1364.0351
Net Area Range |  |  |  |  | 1211.0-1345.0
Mid Range |  |  |  |  | 1278
Total Site Area Range |  |  |  |  | 8991.0-11241.0
Mid Range |  |  |  |  | 10116
2
3
4

## Occupancy
Sufficiency Data
Planned Admission Number | Current Capacity | Maximum PAN | Capacity based on max PAN
30 | 210 | 30 | 210
NOR Spring Census
| 2008 / 2009 | 2009 / 2010 | 2010 / 2011 | 2011 / 2012 | 2012 / 2013 | 2013 / 2014
NOR Jan | 210 | 200 | 185 | 173 | 178 | 194
Maximum Capacity | 210 | 210 | 210 | 210 | 210 | 210
Number of Surplus Places | 0 | 10 | 25 | 37 | 32 | 16
% of surplus places | 0 | 4.8 | 11.9 | 17.6 | 15.2 | 7.619
Current Numbers on Roll (from Autumn Census)
Year group | R | 1 | 2 | 3 | 4 | 5 | 6 | Total
Number | 32 | 30 | 30 | 27 | 23 | 25 | 25 | 192

## School stats
Current Ofsted | Year
Good | 2013-02-13
2014 KS2 Performance Tables last update : (15 Sep 2014)
Year on year comparisons
Percentage achieving Level 4 or above in reading, writing and maths | 2012 | 2013 | 2014
School | 75% | 71% | 45%
LA | 71% | 71% | 76%
England - All Schools | 75% | 75% | 79%
KS2 test results and progress
| All pupils | Low attainers | Middle attainers | High attainers
Pupils eligible for KS2 assessment | 29
Percentage of pupils achieving 3 or below in reading and maths test and writing TA | 28% | 60% | 8% | SUPP
Percentage of pupils achieving level 4 or above in reading and maths test and writing TA | 45% | 10% | 75% | SUPP
Percentage of pupils achieved level 4B or above in reading and maths test and level 4 in writing TA | 34% | 0% | 58% | SUPP
Percentage of pupils achieving level 5 or above in reading and maths test and writing TA | 7% | 0% | 17% | SUPP
Percentage of pupils making at least 2 levels of progress in reading | 79% | 60% | 92% | SUPP
Percentage of pupils making at least 2 levels of progress in writing TA | 80% | 100% | 83% | SUPP
Percentage of pupils making at least 2 levels of progress in maths | 76% | 60% | 92% | SUPP
Average point score | 25.9
Closing the Gap
| Disadvantaged pupils | Other pupils
Percentage of disadvantaged pupils achieving level 3 or below in reading and maths tests and writing TA | 43% | 23%
Percentage of disadvantaged pupils achieving level 4 or above in reading and maths tests and writing TA | 29% | 50%
Percentage of disadvantaged pupils achieving level 4B or above in reading and maths tests and writing TA | 14% | 41%
Percentage of disadvantaged pupils achieving level 5 or above in reading and maths tests and writing TA | 0% | 9%
Percentage of disadvantaged pupils making at least 2 levels of progress in reading | 83% | 78%
Percentage of disadvantaged pupils making at least 2 levels of progress in writing TA | 50% | 89%
Percentage of disadvantaged pupils making at least 2 levels of progress in maths | 50% | 84%
Value Added measures
| Measure | Lower CI | Upper CI | Coverage
Overall value added measure | 99.4 | 98.5 | 100.3 | 83%
Reading value added measure | 98.7 | 97.7 | 99.7 | 83%
Writing TA value added measure | 99.8 | 98.7 | 100.8 | 83%
Maths value added measure | 99.7 | 98.5 | 100.8 | 83%
Subject level results
| Reading test | Maths test | Grammar, punctuation and spelling test | Writing TA
Percentage achieving level 3 or below | 38% | 38% | 38% | 41%
Percentage achieving Level 4 or above | 62% | 62% | 62% | 59%
Percentage achieving Level 4b or above | 52% | 52% | 55% | NA
Percentage achieving Level 5 or above | 28% | 28% | 45% | 17%
Pupil Absence last update : (11 Dec 2013)
| School | England - national (primary state-funded)
Overall absence: percentage | 5.3% | 4.8%
Persistent absence: around 15% + | 4.6% | 3.6%
Please note - this year the Department will publish full year 2013/14 absence data in the performance tables in March 2015 rather than just the autumn and spring term data in December as in previous years, and we will continue to do so in future years. This is because the full year data provides the most robust indication of school absence rates.
School level information for the 2013/14 autumn and spring term only is available in our Statistical First Release here
2013-14 Finance last update : (10 Dec 2014)
Contextual information
Number of pupils (FTE) | 194
Percentage of pupils eligible for Free School Meals (FSM) | 14.9%
Free school meals eligibility band | LOW
Spend per pupil data as £ per pupil (in brackets percentage of total income or expenditure)
| School | LA Median | Non-London LAs Median | National Median
Grant funding | 4136 (98%) | 4525 | 4016 | 4325
Self generated income | 66 (2%) | 144 | 142 | 127
Total income | 4202 | 4723 | 4183 | 4479
Teaching staff | SUPP | 2277 | 2045 | 2106
Supply Staff | 53 (1%) | 87 | 118 | 127
Education support staff | SUPP | 689 | 650 | 733
Learning resources (not ICT equipment) | 83 (2%) | 181 | 174 | 184
ICT learning resources | 71 (2%) | 81 | 62 | 66
Bought in professional services - curriculum | 70 (2%) | 88 | 59 | 67
Back office (incl. Staff costs) | 340 (8%) | 406 | 334 | 351
Catering (incl. Staff costs) | 70 (2%) | 35 | 53 | 75
Premises (incl. Staff costs) | 242 (6%) | 259 | 275 | 301
Other staff costs | 97 (2%) | 153 | 133 | 142
Energy | 80 (2%) | 68 | 62 | 65
Other expenditure | 51 (1%) | 94 | 85 | 88
Total expenditure | 4085 | 4562 | 4143 | 4431
Spend per pupil data as £ per pupil : Comparisons over time
| 2010-11 | 2011-12 | 2012-13 | 2013-14
Teaching staff and Education support staff expenditure | 2983 | 3296 | 3323 | SUPP
Supply staff | 128 | 122 | 68 | 53
Back office (incl. Staff costs) | 275 | 324 | 345 | 340
Energy | 49 | 51 | 70 | 80
Total expenditure | 4482 | 4709 | 4738 | 4085
School Workforce last update : (10 Dec 2014)
This data is based upon the November 2013 School Workforce Census
| School | England - national (primary state-funded)
Headcount of all teachers in a school | 11 | 236728
Headcount of all teaching assistants in a school | 12 | 239340
Headcount of all support (exc. auxillary) staff in a school | 3 | 77335
Full-time equivalent number of all teachers in a school | 8.6 | 207827.7
Full-time equivalent number of all teaching assistants in a school | 7.2 | 154245.3
Full-time equivalent number of all support (exc. auxillary) staff in a school | 1.7 | 51728.3
Ratio of pupils to teachers in a school | 22.5 | 20.5
Average gross salary of all teachers in a school | 41620 | 36559

## Parental Preference
Popularity Data | [10 empty] | Children at School From School Catchment
Parental First Preference Applications | [11 empty] | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  | Catchment vs Nearest School |  |  |  |  | Catchment | Nearest
Year | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  |  | NOR | 200 | 185 | 173 | 178 | 194 |  |  |  | NOR |  |  |  |  | 192 | 192
PAN | 30 | 30 | 30 | 30 | 30 | 30 |  |  |  |  | Number | NA | NA | NA | NA | NA |  |  |  | Total in area |  |  |  |  | NA | 397
No. | 21.9 | 21.9 | 30 | 30 | 39.99 | 40 |  |  |  |  | % | NA | NA | NA | NA | NA |  |  |  | Number at School from area |  |  |  |  | NA | 32
% | 73 | 73 | 100 | 100 | 133.3 | 133.3333 | [13 empty] | % at School |  |  |  |  | NA | 16.6667
[11 empty] | Total number in Catchment | [8 empty] | % of area going to School |  |  |  |  | NA | 8.0605
[12 empty] | 2010 | 2011 | 2012 | 2013 | 2014
[11 empty] | Number | NA | NA | NA | NA | NA
[11 empty] | % | NA | NA | NA | NA | NA
Where children at School are coming from (from Spring Census 2014)
DCSF No. | School |  | Ashperton | St Peter's, Bromyard | Ewyas Harold | Broadlands | Hampton Dene | Lord Scudamore | Marlbrook | St Martin’s | Trinity | Holme Lacy | Kingstone & Thruxton | Ledbury | Leominster Infants’ School | Lugwardine | Marden | Ashfield Park | St Weonards | Walford | Withington | Burley Gate C E | Clehonger C E | St Mary’s C E, Credenhill | Dilwyn C E | Gorsley Goffs Endowed | Holmer C E | Little Dewchurch CE | Much Birch C E | Stretton Sugwas C E | Brampton Abbotts CE | Bridstow CE | St James’ C E | Kingsland C E | Weston-under-Penyard C E | St Thomas Cantilupe C E | Riverside Primary | Out of County | Grand Total
3330 | Our Lady’s R C | Number | 0 | 0 | 0 | 0 | 1 | 4 | 95 | 62 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 24 | 0 | 194
3330 | Our Lady’s R C | % | 0 | 0 | 0 | 0 | 0.51546 | 2.0619 | 48.9691 | 31.9588 | 1.0309 | 0 | 1.0309 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0309 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0309 | 0 | 0 | 0 | 12.3711 | 0 | 100
3331 | St Francis Xavier’s R.C. | Number | 1 | 2 | 2 | 94 | 10 | 23 | 4 | 10 | 4 | 1 | 0 | 2 | 1 | 2 | 1 | 0 | 0 | 0 | 3 | 1 | 0 | 3 | 1 | 0 | 15 | 0 | 0 | 4 | 0 | 0 | 1 | 3 | 0 | 19 | 4 | 0 | 211
3331 | St Francis Xavier’s R.C. | % | 0.47393 | 0.94787 | 0.94787 | 44.5498 | 4.7393 | 10.9005 | 1.8957 | 4.7393 | 1.8957 | 0.47393 | 0 | 0.94787 | 0.47393 | 0.94787 | 0.47393 | 0 | 0 | 0 | 1.4218 | 0.47393 | 0 | 1.4218 | 0.47393 | 0 | 7.109 | 0 | 0 | 1.8957 | 0 | 0 | 0.47393 | 1.4218 | 0 | 9.0047 | 1.8957 | 0 | 100
3372 | St Joseph’s R C | Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 2 | 0 | 60 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 0 | 3 | 2 | 0 | 0 | 6 | 0 | 0 | 16 | 98
3372 | St Joseph’s R C | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.0612 | 0 | 2.0408 | 0 | 61.2245 | 1.0204 | 1.0204 | 0 | 0 | 0 | 0 | 0 | 1.0204 | 0 | 2.0408 | 1.0204 | 0 | 3.0612 | 2.0408 | 0 | 0 | 6.1224 | 0 | 0 | 16.3265 | 100
Where school children in the Schools Catchment area are going to (from Spring Census 2014)
NO DATA

## Disability access
Physical Accessibility Rating | 2
Information from https://www.herefordshire.gov.uk/education-and-learning/schools/directory
Ratings and descriptions
Rating | Details | Description
3 | Fully accessible | Will meet the needs of all disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling); Has a full hygiene room and special educational needs or therapy room for pupils who need more assistance with personal care (including hoisting) and regular physio or other treatment
2 | Mainly accessible | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
1 | Partly accessible | Some standards met but some areas not accessible
0 | Inaccessible | No level access into building and/or no disabled toilet
Summary of physical accessibility standards
Level access into building(s): Main and pupil entrance(s) level, with ramps and hand rails as required
Level access to all curriculum and social areas (not necessarily entire building/site): including assembly hall, canteen (may be achieved by sensitive organisation and timetabling)
Access to upper floors: if required - lift(s) as alternative to steps or stairs
Toilet facilities: small disabled toilet(s) as specified by building regulations - suitable for most disabled pupils. A small number of pupils will require enhanced facilities (hygiene room) to provide greater assistance, including hoisting.
Medical, therapy or SEN room: multi-purpose or flexible use - usually required in addition to a hygiene room, for regular physio and other physical programmes
Emergency evacuation: routes should be level and unobstructed. Evacuation must be documented (using Personal Emergency Evacuation Plans - PEEPs) and practised regularly