## Cover Page
Pencombe CE Primary School
Summary Report
Contents
|  | Section | Page | No. of pages
Pencombe CE Primary School |  | Summary Data | 3 | 1
Summary Report |  | General Information and Asset Summary | 4 | 1
|  | Maintenance and Condition Summary | 5 | 2
|  | Education Funding Agency Condition Survey Data | 7 | 1
Schools Capital Investment Strategy |  | Suitability and Compliance Summary | 8 | 2
|  | School Occupancy Summary | 10 | 1
|  | School Statistics | 11 | 1
|  | Environmental Sustainability Condition | 12 | 1
|  | Parental Preference | 13 | 1
|  | Distribution of Children Attending School or Resident in its Catchmnet Area | 14 | 1
|  | Distribution of Children Attending School or Where it is the Nearest School | 15 | 1
|  | Key Services Within 2 Mile Radius of School | 16 | 1
|  | Key Services Adjacent to School | 17 | 1
|  | Disability Access | 18 | 1
Children's Wellbeing
Herefordshire Council
Plough Lane Offices
Plough Lane
HEREFORD
HR4 0LE

## Summary Info
Pencombe CE Primary School
Summary Report
Summary of Headline Information
Asset Summary | [5 empty] | Occupancy Summary
Gross Site Area (M2)(whole site including building):- |  | 5442.81 |  |  |  | Current Capacity (PAN 8):- |  |  |  | 56
Insurance Asset Value (£000):- |  | 230656.9866 |  |  |  | Allocated Capacity Size (PAN 10):- |  |  |  | 70
Land Asset Value (£000):- |  | 15832 |  |  |  | Current Occupancy:- |  |  |  | 53
Land Ownership:- | Buildings diocese, field owned |  |  |  |  | Current Planned Admission No.:- |  |  |  | 8
[6 empty] | Current Number Over Capacity:- |  |  |  | 0
[6 empty] | Current Number Under Capacity:- |  |  |  | 3
Maintenance Expenditure Required on the School over a 5 Year Period Summary
Survey Date:- |  |  |  | 2011-11-10
Backlog Maintenance Total (£000):- | [6 empty] | 38.1484
Total Forecast Expenditure (5 years) (£000):- | [6 empty] | 12.9877
Total Potential Local Authority Forecast Expenditure (£000):- | [6 empty] | 41.7625
Total Potential School Forecast Expenditure (£000):- | [6 empty] | 9.3736
Suitability and Compliance
Required Number of Classrooms:- | [6 empty] | 3 | Required Building Footprint (M2):- |  | 694.28
Actual Number of Classrooms:- | [6 empty] | 3 | Current Building Area (M2):- |  | 387.4416
Percentage of Classrooms that are the Recommended Size:- | [6 empty] | 0 | Area Shortfall (M2):- |  | 306.8384
Compliance Percentage of Recommended Hall Size:- | [6 empty] | 0 | Area Surplus (M2):- |  | 0
Number of Temporary Buildings on Site:- |  |  |  |  | 1 |  |  | Total Percentage Compliance:- |  | 55.8048
Number of Classrooms in Temporary Buildings:- |  |  |  |  | 1
Compliance Percentage of Recommended Reception Toilets:- | [6 empty] | 0 | Required Net Site Area (M2):- |  | 4177.12
Compliance Percentage of Recommended Other Pupil Toilets:- | [6 empty] | 175 | Current Net Site Area (M2):- |  | 5055.3684
Nursery on Site:- | No | [6 empty] | Area Shortfall (M2):- |  | 0
[8 empty] | Area Surplus (M2):- |  | 878.2484
[8 empty] | Total Percentage Compliance:- |  | 121.0252
Disability Access
Rating:- | 1 |  | Details:- |  |  |  | Partly accessible
Environmental Sustainability Condition
DEC Rating:- |  |  |  |  | No data held
Electric Consumption 2014/Child:- |  |  |  |  | 3277.5472
Gas Consumption 2014/Child:- |  |  |  |  | Not Available
School Statistics
Ofsted Results:- | [8 empty] | Good
Percentage of Children Achieving KS2 Level 4 or Above in Reading, Writing and Maths in 2014:- | [8 empty] | 100
Parental Preference (2014)
Percentage of Parental First Preference Applications:- | [6 empty] | 50
Total Number of Children within Catchment:- | [6 empty] | 23
Total Number of Children at School from Catchment:- | [6 empty] | 21
Percentage of Catchment at School:- | [6 empty] | 39.6226
Percentage of Catchment Going to School:- | [6 empty] | 91.3043

## Report
|  |  | Pencombe CE Primary School | [6 empty] | Pencombe CE Primary School | [14 empty] | Pencombe CE Primary School | [7 empty] | Pencombe CE Primary School |  |  |  |  | Pencombe CE Primary School |  | Pencombe CE Primary School |  |  |  |  | Pencombe CE Primary School | [5 empty] | Pencombe CE Primary School |  |  | Pencombe CE Primary School | [8 empty] | Pencombe CE Primary School |  | Pencombe CE Primary School |  | Pencombe CE Primary School |  | Pencombe CE Primary School |  | Pencombe CE Primary School |  |  | Pencombe CE Primary School
|  |  | Summary Report | [6 empty] | Summary Report | [14 empty] | Summary Report | [7 empty] | Summary Report |  |  |  |  | Summary Report |  | Summary Report |  |  |  |  | Summary Report | [5 empty] | Summary Report |  |  | Summary Report | [8 empty] | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  |  | Summary Report
General Information |  |  |  | Maintenance and Condition Summary | [21 empty] | Education Funding Agency Condition Survey Data | [7 empty] | Suitability and Compliance Summary |  |  |  |  | Suitability and Compliance Summary (continued) |  | School Occupancy Summary |  |  |  |  | School Statistics | [5 empty] | Environmental Sustainability Condition |  |  | Parental Preference | [8 empty] | Distribution of Children Attending School or Resident in its Catchment Area |  | Distribution of Children Attending School or Where it is the Nearest School |  | Key Services Within 2 Mile Radius of School |  | Key Services Adjacent to School |  | Disability Access
Maintenance and Condition Summary (continued)
School Name:- | Pencombe CE Primary School |  |  | Survey Date:- | 2011-11-10 |  | Survey Company:- |  | Amey |  | Key Elements and Annual Forecast Maintenance Costs and Responsibilities | [14 empty] | Date of Survey:- |  | Not Available | [5 empty] | Areas | Standard Criteria (M2) (PAN 10) | Schools Compliance (M2) | Compliance Percentage |  |  |  | Current Planned Admission No. (PAN) | Current School Capacity | Maximum PAN | Maximum Capacity Based on PAN |  | Year | KS2 Year on Year Results |  |  |  |  | Electric Consumption 2014/Child:- | 3277.5472 |  |  | Parental First Preference Applications | [15 empty] | Physical Accessibility Rating
Head Teacher:- | Mrs S Bishop | DFE Number:- | 3367 | Year | Forecast Maintenance Costs (£ 000) | [5 empty] | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows and Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | Number of Occurences Identified Within the Report | [7 empty] | Basic Teaching Space | 186 | 168.26 | 90.4624 |  |  |  | 8 | 56 | 10 | 70 |  |  | School - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | LA - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | All Schools in England - Percentage Achieving Level 4 or Above in Reading, Writing and Maths |  |  | Gas Consumption 2014/Child:- | Not Available |  |  | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | [10 empty] | Rating: | 1
Leadership:- | Stand Alone | [24 empty] | Rating (see key below) | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other | Hall and Studio | 140 | 0 | 0 | [17 empty] | PAN | 8 | 8 | 8 | 8 | 8 | 8
Address:- | Pencombe C E Primary School, Bromyard, Herefordshire HR7 4SH | Email:- | admin@pencombe.hereford.sch.uk | Backlog | 38.1484 | [5 empty] | £ 000 | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | [8 empty] | Storage | 56 | 54.82 | 97.8929 |  |  |  | Historical Numbers on Roll Data (Spring Census) | [13 empty] | Number | 8 | 8.96 | 6.96 | 10.96 | 7 | 4 | [10 empty] | Details: | Partly accessible
|  |  |  | 2015 | 12.9877 |  |  | 38.1484 |  |  | Backlog | 0 | 0 | 1.9504 | 9.1786 | 1.1129 | 0 | 0 | 3.2125 | 3.1896 | 5.5071 | 2.5241 | 11.4732 | 0 | 0 | C1 | [7 empty] | Staff and Admin | 66 | 51.95 | 78.7121 |  |  |  | Year | Total NOR | Capacity Based on PAN | Shortfall | Surplus | 2012 | 50 | 71 | 75 | [5 empty] | Percentage | 100 | 112 | 87 | 137 | 87.5 | 50
|  |  |  | 2016 | 0 |  |  | 12.9877 |  |  | 2015 | 0 | 0 | 0.13768 | 0 | 0 | 0 | 0 | 12.3911 | 0 | 0 | 0.45893 | 0 | 0 | 0 | C2 | [7 empty] | Learning Resource | 53 | 37.26 | 70.3019 |  |  |  | 2008 / 2009 | 53 | 56 | 0 | 3 | 2013 | 100 | 71 | 75 | [22 empty] | Description: | Some standards met but some areas not accessible
|  |  |  | 2017 | Not Available |  |  | 0 |  |  | 2016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | D1 | [7 empty] | Supplementary Area | 0 | 0 | - |  |  |  | 2009 / 2010 | 55 | 56 | 0 | 1 | 2014 | 100 | 76 | 79 | [5 empty] | Historical Catchment Analysis (Spring Census)
Telephone No.:- | T: 01885 400255 F: 01885 400255 | School Cluster:- | Bromyard District - Queen Elizabeth Humanities College | 2018 | Not Available |  |  | Not Available |  |  | 2017 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | D2 | [7 empty] | Non Net Area | 193.28 | 75.1516 | 38.8822 |  |  |  | 2010 / 2011 | 52 | 56 | 0 | 4 | [9 empty] | Catchment Analysis |  |  |  | 2010 | 2011 | 2012 | 2013 | 2014
|  |  |  | 2019 | Not Available |  |  | Not Available |  |  | 2018 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | D3 | [7 empty] | Total Gross Building Area | 694.28 | 387.4416 | 55.8048 |  |  |  | 2011 / 2012 | 60 | 56 | 4 | 0 | KS2 Test Results and Progress (2014) | [11 empty] | Total in Catchment | 34 | 31 | 29 | 26 | 23
[8 empty] | Not Available |  |  | 2019 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | [15 empty] | 2012 / 2013 | 57 | 56 | 1 | 0 | [12 empty] | Number at School from Catchment | 26 | 27 | 27 | 22 | 21
School Type:- | Voluntary Aided | Building Number:- | UFAJ | Total | 51.1361 | [5 empty] | Totals | 0 | 0 | 2.0881 | 9.1786 | 1.1129 | 0 | 0 | 15.6036 | 3.1896 | 5.5071 | 2.983 | 11.4732 | 0 | 0 | *Note the information noted above has been extracted from the EFA survey focusing on elements that are C & D rated. Items with an A or B rating have been excluded. The numbers reference the quantity of elements that the survey has picked up within the relevant category | [7 empty] | Total Gross Site Area | 4871.4 | 5442.81 | 111.7299 |  |  |  | 2013 / 2014 | 53 | 56 | 0 | 3 | Pupils eligible for KS2 assessment |  |  |  | 9 | [7 empty] | Percentage at School from Catchment | 47.2727 | 51.9231 | 45 | 38.5965 | 39.6226
Current Capacity:- | 56 | Site Area:- | 5442.81 | [30 empty] | Net Site Area (less the building area) | 4177.12 | 5055.3684 | 121.0252 |  |  |  | Current Occupancy | 53 | 56 | 0 | 3 | Percentage achieving level 3 or below in reading, writing and maths |  |  |  | 0 | [7 empty] | Percentage of Catchment Going to School | 76.4706 | 87.0968 | 93.1034 | 84.6154 | 91.3043
[11 empty] | Total Potential Expenditure - Local Authority (£000) | [6 empty] | 41.7625 | [27 empty] | Percentage achieving level 4 or above in reading, writing and maths |  |  |  | 100
|  |  |  | Key Elements of Forecast Maintenance | [29 empty] | Key Information (based on Building Bulletin 103) | [6 empty] | Current Occupancy Summary (Autumn Census 2014) |  |  |  |  | Percentage achieving level 4B or above in reading and maths and level 4 or above in writing |  |  |  | 89 |  |  |  |  | Catchment and Nearest School Comparison (Autumn Census 2014)
|  |  |  | Categories |  | Totals (£ 000) | [19 empty] | Key | [7 empty] | Required Number of Classrooms |  |  |  | 3 |  |  | Year Group | NOR | Shortfall | Surplus |  | Percentage achieving level 5 or above in reading, writing and maths |  |  |  | 33 | [7 empty] | Catchment vs Nearest School | Catchment | Nearest
|  |  |  | External Grounds |  | 0 |  |  |  |  | Total Potential Expenditure - School (£000) | [6 empty] | 9.3736 | [7 empty] | Condition grade | Definition |  |  |  | Priority rating | Definition |  | Number of Classrooms |  |  |  | 3 |  |  | Reception | 6 | 0 | 2 |  | Percentage making expected progress in reading |  |  |  | 86 | [7 empty] | NOR | 53 | 53
|  |  |  | Roof Works |  | 11.2667 | [27 empty] | Percentage of Classrooms that are the Recommended Size |  |  |  | 0 |  |  | One | 6 | 0 | 2 |  | Percentage making expected progress in writing |  |  |  | 100 | [7 empty] | Total in Area | 21 | 28
|  |  |  | External Walls |  | 1.1129 | [19 empty] | A Good | Performing as intended and operating efficiently |  |  |  | 1 | Immediate or year 1 remedial action required |  | Percentage of Classrooms that are Classed as Small |  |  |  | 100 |  |  | Two | 11 | 3 | 0 |  | Percentage making expected progress in maths |  |  |  | 100 | [7 empty] | Number at School from Area | 20 | 27
|  |  |  | Windows and Doors |  | 15.6036 | [27 empty] | Number of Temporary Buildings on Site |  |  |  | 1 |  |  | Three | 8 | 0 | 0 |  | Average point score |  |  |  | 32 | [7 empty] | Percentage at School | 37.7358 | 50.9434
|  |  |  | Internal Works |  | 8.6967 | [19 empty] | B Satisfactory | Performing as intended but exhibiting minor deterioration |  |  |  | 2 | Year 1-2 remedial action required |  | Number of Classrooms in Temporary Buildings |  |  |  | 1 |  |  | Four | 11 | 3 | 0 | [13 empty] | Percentage of area going to School | 95.2381 | 96.4286
Asset Summary |  |  |  | Mechanical and Electrical |  | 14.4563 | [27 empty] | Percentage of Recommended Reception Toilets |  |  |  | 0 |  |  | Five | 5 | 0 | 3 |  | Latest Ofsted Report Date:- |  | 2013-10-02
|  |  |  | Other (e.g. ancillary buildings) |  | 0 | [19 empty] | C Poor | Exhibiting major defects and/or not operating as intended |  |  |  | 3 | Year 3-5 remedial action required |  | Percentage of Recommended Other Pupil Toilets |  |  |  | 175 |  |  | Six | 6 | 0 | 2 |  | Ofsted Result:- |  | Good
Asset Value - Insurance (£000):- |  | 230.657 | [38 empty] | Total | 53 | 0 | 3
Asset Value - Land (£000):- |  | 15.832 | [23 empty] | D Bad | Life-expired and/or at serious risk of imminent failure
Land Owner:- |  | Buildings diocese, field owned | [36 empty] | Category | Areas Included
[39 empty] | Basic Teaching Spaces | General Classrooms, ICT Rooms, Practical Areas
[39 empty] | Hall and Studio | Halls, Dining Areas
Lease Agreement / Notes:- |  | Not Known | [36 empty] | Storage | Coats and Bags, Teaching, Specialist, PE Equipment, Bulk Stock, Cleaning, Caretakers and Maintenance, Tables and Chairs, Staging, Mobility Equipment
Nursery Provision:- |  | None | [36 empty] | Staff and Admin | Heads and Staff Offices, Staff Room, Staff PPA,Reprographics Room, Sick Bay, Interview and Meeting Rooms, Secure Entrance
[39 empty] | Learning Resource | Library, Small Group Rooms, SENCO Office, Medical Inspection Room
[39 empty] | Supplementary Area | Any other specialist area at the school e.g. Music Classroom, Swimming Pool, SEN Classrooms
[39 empty] | Non Net Area | Pupil and Staff Toilets, Accessible Toilets, Hygiene Room, Kitchen, Corridors, Server Room, Boilers
[39 empty] | Additional Area | Nursery provision

## Feedback
|  | Pencombe CE Primary School |  |  | Pencombe CE Primary School |  |  | Pencombe CE Primary School
|  | Feedback Form |  |  | Feedback Form |  |  | Feedback Form
General Information and Asset Summary |  |  | School Occupancy Summary |  |  | Parental Preference
Do you believe the data to be accurate? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Maintenance and Condition Summary |  |  | School Statistics |  |  | Disability Access
Do you believe the data to be a fair reflection of the maintenance and condition of the school? | [5 empty] | Do you believe the data to be a fair reflection of the environmental condition of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Suitability and Compliance Summary |  |  | Environmental Sustainability Condition |  |  | Any Other Comments
Do you believe the data to be a fair reflection of the suitability and compliance issues faced by the school? | [5 empty] | Additional comments about the information provided:
Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments:
If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920
Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015

## Asset summary
Building ref number:- | UFAJ
Site Area:- | 5442.81
Asset Value (Insurance):- | 230656.9866
Asset Value (Land):- | 15832
Land owner:- | Buildings diocese, field owned
Lease agreement / notes:- | Not Known
DEC rating:- | No data held
Electric consumption 2014/child:- | 3277.5472
Gas consumption 2014/child:- | Not Available

## Maintenance
Maintenance & Condition Summary |  |  |  | BCIS Quarter | 4Q2012 | [11 empty] | Check | Main year totals | Summary year totals | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows & Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | BCIS quarter | BCIS uplift
Year survey undertaken |  | 2011-11-10 |  | BCIS Uplift | 1.1473 | [15 empty] | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | 1Q2009 | 1.1525
Survey company:- |  | Amey | [15 empty] | 38148.4375 | 38148.4375 | Backlog | 0 | 0 | 1950.4464 | 9178.5714 | 1112.9018 | 0 | 0 | 3212.5 | 3189.5536 | 5507.1429 | 2524.1071 | 11473.2143 | 0 | 0 | 2Q2009 | 1.1898
[18 empty] | 12987.6786 | 12987.6786 | 2015 | 0 | 0 | 137.6786 | 0 | 0 | 0 | 0 | 12391.0714 | 0 | 0 | 458.9286 | 0 | 0 | 0 | 3Q2009 | 1.1898
[18 empty] | 0 | 0 | 2016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4Q2009 | 1.2123
|  |  |  | Year covered? | Y | Y | Y | N | N | N | School Costs | [6 empty] | 0 | 0 | 2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1Q2010 | 1.2297
Category | Ref | Element | Recommended Works | Estimated Work Cost | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 |  | 0 | 0 | 2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2Q2010 | 1.1789
[18 empty] | 0 | 0 | 2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3Q2010 | 1.1735
r | 2.2.a | Main roof - pitched | There were approximately 10 missing/slipped tiles which need to be replaced, this can be located to the South facing side of the building. One ridge tile was missing which will allow rainwater to enter the building. Replace missing ridge tile with new. Mortar repairs are required to ridge tiles, rake out old and defective joints and re-point. | 8000 | 8000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2010 | 1.1682
r | 2.2.c | Canopy | Clean off dirt and build up of vegetation. | 120 | 0 | 120 |  |  |  |  | 0 | 120 | 0 | 0 | 0 | 0 |  |  |  | Individual Category totals | 0 | 0 | 2088.125 | 9178.5714 | 1112.9018 | 0 | 0 | 15603.5714 | 3189.5536 | 5507.1429 | 2983.0357 | 11473.2143 | 0 | 0 | 1Q2011 | 1.1735
r | 2.2.d | Fascia and Soffits | Redecoration required. | 1500 | 1500 | [5 empty] | 1500 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2011 | 1.1525
r | 2.2.e | Gutters | Some gutters slightly blocked with build up of vegetation. Remove blockages and clean out. | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Summary category totals | Main category totals | Check | [11 empty] | 3Q2011 | 1.1682
|  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2011 | 1.1525
e | 2.3.a | Walls | External stone façade is suffering from severe deterioration and weathering in parts especially to the South facing side. Mortar joints are also poor. In order to preserve the life of the stone it is recommended to rake out defective mortar joints and re-point. | 750 | 750 | [5 empty] | 750 | 0 | 0 | 0 | 0 | 0 |  |  | External Grounds |  | 0 | 0 | [12 empty] | 1Q2012 | 1.1953
w | 2.3.c | Windows | Windows are set inside stone frames. Natural stone is deteriorating in parts and require extensive repairs. This was prevalent to the South facing side of the site. | 2800 | 2800 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Roof Works |  | 11266.6964 | 11266.6964 | [12 empty] | 2Q2012 | 1.1174
e | 2.3.d | Downpipes | Outlets were blocked. Remove blockages and clean out. | 120 | 120 | [5 empty] | 120 | 0 | 0 | 0 | 0 | 0 |  |  | External Walls |  | 1112.9018 | 1112.9018 | [12 empty] | 3Q2012 | 1.1525
e | 2.3.e | Ventilation grilles | External ground level which abuts the building has been raised and as a consequence ventilation grilles have been partly covered. This in turn will allow water to pass into the building and reduce natural ventilation to the void space. Adjacent to the main entrance area the change in ground level has particular affected the ventilation grilles which are serving the basement. See previous notes section 2.4 Internal. | 100 | 100 | [5 empty] | 100 | 0 | 0 | 0 | 0 | 0 |  |  | Windows & Doors |  | 15603.5714 | 15603.5714 | [12 empty] | 4Q2012 | 1.1473
|  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Internal Works |  | 8696.6964 | 8696.6964 | [12 empty] | 1Q2013 | 1.0983
i | 2.4.b/a/c | Walls/ceiling/floor | Water ingress prevalent through solid stonework and through vent grilles. See electrical condition survey relating to wiring. It is recommended to provide some form of damp proofing/tanking to the basement walls to prevent further deterioration. The space is currently empty but sits below the main reception office / Large sections of lath and plaster missing and fallen. Other parts hanging and unsecure. Close to external wall timber joists suffering from damp with signs of fungal growth occurring on surface. Water ingress must be prevented, unsecure/defective lath and plaster to be removed. Damp/effected timbers to be monitored and ideally treated and allowed to dry out / Good condition. As part of the tanking works mentioned above, flooring to be included. | 4800 | 4800 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Mechanical & Electrical |  | 14456.25 | 14456.25 | [12 empty] | 2Q2013 | 1.089
|  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Other |  | 0 | 0 | [12 empty] | 3Q2013 | 1.0983
i | 2.4.d | Vent grilles | External ventilation grilles in places sit below external ground surface level. Ventilation grilles to be re-positioned or modified to prevent rainwater entering into the basement. | 100 | 100 | [5 empty] | 100 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2013 | 1.0798
i | 2.4.f | Ceiling | Ceilings generally are in good condition. Areas where lath and plaster area used were cracked/defective. Remove and replace plaster with new. | 160 | 160 | [5 empty] | 160 | 0 | 0 | 0 | 0 | 0 |  |  | Total |  | 51136.1161 | 51136.1161 | [12 empty] | 1Q2014 | 1.0447
i | 2.4.g | Walls | Minor plaster repairs required. | 120 | 120 | [5 empty] | 120 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2014 | 1.0198
w | 2.4.m | Windows | Both Ironmongery and draught proofing were loose. Replace draught proofing and re-secure ironmongery. Windows could be upgraded and replaced in line with current standards and regulations. (This will be subject to statutory approval) | 10800 | 0 | 10800 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 3Q2014 | 1.028
i | 2.4.o | Doors | Both original and modern doors appear to be in good condition. Older doors will benefit from installing fire intumescent strips and 1no. Intumescent strip to be added to a newer older. | 600 | 600 | [5 empty] | 600 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2014 | 1.0078
i | 2.4.s | Loft space - First floor | Access was limited and inspection was taken from the loft hatch only. Water ingress was noted around chimney stack and timber lintel built into the stack was effected, extent of damage and condition of timber lintel could not be determined, further investigation required. Effect of water penetration has caused plaster on the walls in below room to be affected and disturbed. Plaster in this location to be hacked off and renewed. Lead flashing around chimney to be investigated, see roof and features section for further details. | 1800 | 1800 | [5 empty] | 1800 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 1Q2015 | 1
m | 3.1.d | Corroding radiator in Boys Toilet | Replace in due course | 400 | 0 | 400 |  |  |  |  | 0 | 400 | 0 | 0 | 0 | 0
m | 3.2.e | Small Power | Check earth bonding to sinks and provide as necessary. | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
m | 3.2.g | Distribution boards | Check and provide updated distribution board charts and labelling | 400 | 400 | [5 empty] | 400 | 0 | 0 | 0 | 0 | 0
m | 3.2.h | Wiring in cellar | Check wiring and rewire as necessary following proposed fabric improvement and tanking works. | 10000 | 10000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.2.i | Fire Alarms | Check and re-secure loose fire alarm junction box. | 100 | 100 | [5 empty] | 100 | 0 | 0 | 0 | 0 | 0
m | 3.2.k | Emergency Lighting | Generally improve emergency lighting provision throughout the school. | 1500 | 1500 | [5 empty] | 1500 | 0 | 0 | 0 | 0 | 0

## EFA Property
|  |  | EFA survey data | [6 empty] | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other
DFE | School | School Type | Date received | Condition rating C or D | Priority rating 1 or 2 | Element | Category | CCP rating
[9 empty] | C1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | C2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D3 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Suitability and Compliance
Space |  |  | BB103 suggested sizes
[6 empty] | Suitability Data | [10 empty] | Compliance Comparison |  |  | 1/THIRD | Form of entry | PAN | 10
Basic Teaching Spaces |  |  | No. of spaces | m2 | Total m2 | Plan ref | Space | [9 empty] | Total area | Shortfall | Surplus | 2013 | Date of last assessment
|  | Classroom - Year R | 1 | 62 | 62 | 14, 14b, 14c | General classroom | 13.87 | 13.09 | 30.47 | [6 empty] | 57.43 | 4.57 | 0
|  | Classroom - Year 1 | 0 | 62 | 0 | [11 empty] | 0 | 0 | 0 | 1 | No. Temp Buildings on Site
|  | Classroom - Year 2 | 0 | 62 | 0 | [11 empty] | 0 | 0 | 0 | 1 | No. of Classrooms in Temporary Buildings
|  | Classroom - Year 3 | 1 | 62 | 62 | 47, 46 | General classroom | 52 | [8 empty] | 52 | 10 | 0 | 3 | No. of Classrooms
|  | Classroom - Year 4 | 0 | 62 | 0 | [11 empty] | 0 | 0 | 0 | 3 | Required No. of Classroooms
|  | Classroom - Year 5 | 1 | 62 | 62 | 28 | General classroom | 46.5 | [8 empty] | 46.5 | 15.5 | 0
|  | Classroom - Year 6 | 0 | 62 | 0 | [11 empty] | 0 | 0 | 0
|  | Practical area / food bay | 0 | 0 | 0 | 14a | Practical Area | 12.33 | [8 empty] | 12.33 | 0 | 12.33 | 0% | of classrooms are the recommended size
|  | ICT base | 0 | 0 | 0 | [11 empty] | 0 | 0 | 0 | 100% | of classrooms are small
[5 empty] | 186 | [11 empty] | 168.26 | 30.07 | 12.33 | 90.46% | of the recommended basic teaching space required
[19 empty] | 155.93 | 83.83% | of the recommended basic teaching space required ignoring surplus
Halls and Studios | [19 empty] | 16.17% | shortfall in basic teaching space
| 1 | Main hall | 1 | 140 | 140 | [11 empty] | 0 | 140 | 0
[5 empty] | 140 | [11 empty] | 0 | 140 | 0 | 0% | of the recommended hall size
Storage | [19 empty] | 100% | shortfall in hall size
| 1 | Coat and bag storage - Year R | 1 | 3 | 3 | 16 | Cloakroom | 6.6 | [8 empty] | 6.6 | 0 | 3.6
| 2 | Coat and bag storage - Year 1 | 0 | 3 | 0 | [11 empty] | 0 | 0 | 0
| 3 | Coat and bag storage - Year 2 | 0 | 3 | 0 | [11 empty] | 0 | 0 | 0
| 4 | Coat and bag storage - Year 3 | 1 | 3 | 3 | 15b | Cloakroom | 4.22 | [8 empty] | 4.22 | 0 | 1.22
| 5 | Coat and bag storage - Year 4 | 0 | 3 | 0 | [11 empty] | 0 | 0 | 0
| 6 | Coat and bag storage - Year 5 | 1 | 3 | 3 | 27 | Cloakroom | 4.5 | [8 empty] | 4.5 | 0 | 1.5
| 7 | Coat and bag storage - Year 6 | 0 | 3 | 0 | [11 empty] | 0 | 0 | 0
| 8 | Teaching storage - Year R | 1 | 2 | 2 | [11 empty] | 0 | 2 | 0
| 9 | Teaching storage - Year 1 | 0 | 2 | 0 | [11 empty] | 0 | 0 | 0
| 10 | Teaching storage - Year 2 | 0 | 2 | 0 | [11 empty] | 0 | 0 | 0
| 11 | Teaching storage - Year 3 | 1 | 2 | 2 | 36 | Store room | [9 empty] | 0 | 2 | 0
| 12 | Teaching storage - Year 4 | 0 | 2 | 0 | [11 empty] | 0 | 0 | 0
| 13 | Teaching storage - Year 5 | 1 | 2 | 2 | 29 | Store room | 4.65 | [8 empty] | 4.65 | 0 | 2.65
| 14 | Teaching storage - Year 6 | 0 | 2 | 0 | [11 empty] | 0 | 0 | 0
| 15 | Specialist walk in stores | 1 | 5 | 5 | 4, 2, 37, 9a, 39 | Store room | 18.48 | 6.6 | 2 | 2.03 | 2 |  |  |  |  | 31.11 | 0 | 26.11
| 18 | Indoor PE equipment storage | 1 | 14 | 14 | [11 empty] | 0 | 14 | 0
| 19 | Outdoor PE equipment storage | 0 | 0 | 0 | [11 empty] | 0 | 0 | 0
|  | Bulk stock store | 1 | 4 | 4 | 9 | Store room | 1.19 | [8 empty] | 1.19 | 2.81 | 0
| 21 | Caretakers and maintenance store | 1 | 4 | 4 | [11 empty] | 0 | 4 | 0
| 22 | Cleaning store | 1 | 3 | 3 | 21 | Cleaners store room | 2.55 | [8 empty] | 2.55 | 0.45 | 0
| 23 | Table and chair store | 1 | 5 | 5 | [11 empty] | 0 | 5 | 0
| 25 | Staging/ appliance store | 1 | 4 | 4 | [11 empty] | 0 | 4 | 0
|  | Mobility equipment store | 1 | 2 | 2 | [11 empty] | 0 | 2 | 0
| 24 | Store for community | 0 | 0 | 0 | [11 empty] | 0 | 0 | 0
[5 empty] | 56 | [11 empty] | 54.82 | 36.26 | 35.08 | 97.89% | of the recommended storage space required
Staff and admin | [19 empty] | 64.75% | shortfall
| 1 | Heads office | 1 | 12 | 12 | 1 | Heads office | 10.73 | [8 empty] | 10.73 | 1.27 | 0
| 3 | Staff room work and social | 1 | 17 | 17 | 3 | Staffroom | 14.53 | [8 empty] | 14.53 | 2.47 | 0
|  | Staff PPA | 1 | 8 | 8 | [11 empty] | 0 | 8 | 0
| 4 | Senior management office | 0 | 10 | 0 | [11 empty] | 0 | 0 | 0
| 7 | General office (reception) | 1 | 8 | 8 | 45 | Reception (office) | 18.08 | [8 empty] | 18.08 | 0 | 10.08
| 8 | Secure reception | 1 | 4 | 4 | 41 | Entrance | 8.61 | [8 empty] | 8.61 | 0 | 4.61
| 9 | Reprographics room | 1 | 6 | 6 | [11 empty] | 0 | 6 | 0
| 10 | Meeting room | in head | 0 | 0 | [11 empty] | 0 | 0 | 0
| 11 | Sick bay | 1 | 3 | 3 | [11 empty] | 0 | 3 | 0
| 13 | Interview room | 1 | 8 | 8 | [11 empty] | 0 | 8 | 0
[5 empty] | 66 | [11 empty] | 51.95 | 28.74 | 14.69 | 78.71% | of the recommended staff and admin space required
Learning resource area | [19 empty] | 43.55% | shortfall
| 1 | Library (learning resource centre) | 1 | 18 | 18 | 42, 43 | Library | 29.8 | 1.08 | [7 empty] | 30.88 | 0 | 12.88
| 3 | Small group room | 1 | 11 | 11 | 13 | Small Group Room | 6.38 | [8 empty] | 6.38 | 4.62 | 0
| 5 | SENco office (SEN resource) | 1 | 12 | 12 | [11 empty] | 0 | 12 | 0
| 2 | Medical inspection room/ Therapy room | 1 | 12 | 12 | [11 empty] | 0 | 12 | 0
[5 empty] | 53 | [11 empty] | 37.26 | 28.62 | 12.88 | 70.3% | of the recommended learning resource areas
Supplementary area | [19 empty] | 54% | shortfall
| 1 |  | 0 | 0 | 0 | [11 empty] | 0 | 0 | 0
[5 empty] | 0 | [11 empty] | 0 | 0 | 0
[17 empty] | 0 | 0 | 0 | - | of the recommended supplementary areas
Non net areas | [19 empty] | - | shortfall
| 1 | Reception toilets | 3 | 2 | 6 | [11 empty] | 0 | 6 | 0 | 0 | Number of reception toilets
| 1 | Pupils toilets | 4 | 2 | 8 | 17,18, 30 | Pupil wc 5 wc's 2 urinals | 7.59 | 7.58 | 4.66 | [6 empty] | 19.83 | 0 | 11.83 | 7 | Number of other pupil toilets
| 2 | Staff toilets | 2 | 2 | 4 | 2a | Staff wc (multi-sex) | 1.82 | [8 empty] | 1.82 | 2.18 | 0 | 0% | % of recommended reception toilets
| 3 | Accessible toilet | 1 | 3 | 3 | [11 empty] | 0 | 3 | 0 | 175% | % of recommended other pupil toilets
| 9 | Hygiene room | 1 | 12 | 12 | [11 empty] | 0 | 12 | 0
| 4 | Kitchen facilities (servery) | 1 | 20 | 20 | [11 empty] | 0 | 20 | 0
| 5 | Corridors | - | 22.5% | 112.725 | 5,6,7,8,16a,38,40,44,un15 | Corridors | 7.56 | 2.1 | 3.81 | 4.38 | 4.28 | 2.8 | 2 | 1.55 | 5 | 33.48 | 79.245 | 0
| 6 | Boiler room | 1 | 1.5% | 7.515 | 26 | Boiler room | 2.29 | [8 empty] | 2.29 | 5.225 | 0
| 7 | Server | in boiler |  |  | 20 | IT Server room | 5.24 | [8 empty] | 5.24 | 0 | 5.24
|  | Walls | - | 4% | 20.04 |  |  | 12.4916 | [8 empty] | 12.4916 | 7.5484 | 0
[5 empty] | 193.28 | [11 empty] | 75.1516 | 135.1984 | 17.07 | 38.88% | of the recommended non net area
Additional area | [19 empty] | 69.95% | shortfall
|  | Nursery class | 1 | 62 | 62 | [11 empty] | 0 | 62 | 0
|  | Quiet room | 1 | 8 | 8 | [11 empty] | 0 | 8 | 0
|  | Nursery store room | 1 | 2 | 2 | [11 empty] | 0 | 2 | 0
|  | Nursery office | 1 | 8 | 8 | [11 empty] | 0 | 8 | 0
|  | Nursery cloakroom | 1 | 3 | 3 | [11 empty] | 0 | 3 | 0
|  | Nursery pupils toilets | 3 | 2 | 6 | [11 empty] | 0 | 6 | 0
|  | Nursery staff toilets | 1 | 2 | 2 | [11 empty] | 0 | 2 | 0
|  | Nursery entrance | 1 | 22.5% | 1.8675 | [11 empty] | 0 | 1.8675 | 0
[5 empty] | 92.8675 | [11 empty] | 0 | 92.8675 | 0
Total Net area |  |  |  |  | 501 | [11 empty] | 312.29
Total Non-Net area |  |  |  |  | 193.28 | [11 empty] | 75.1516
Gross (total build) area - excluding nursery |  |  |  |  | 694.28 | [11 empty] | 387.4416 |  |  | 55.8% | of the recommended Gross area
Gross (total build) area - including nursery |  |  |  |  | 787.1475 | [11 empty] | 387.4416
Net Area Range |  |  |  |  | 637.0-715.0
Mid Range |  |  |  |  | 676
Total Site Area Range |  |  |  |  | 4329.0-5413.8
Mid Range |  |  |  |  | 4871.4
2
3
4

## Occupancy
Sufficiency Data
Planned Admission Number | Current Capacity | Maximum PAN | Capacity based on max PAN
8 | 56 | 10 | 70
NOR Spring Census
| 2008 / 2009 | 2009 / 2010 | 2010 / 2011 | 2011 / 2012 | 2012 / 2013 | 2013 / 2014
NOR Jan | 53 | 55 | 52 | 60 | 57 | 53
Maximum Capacity | 56 | 56 | 56 | 56 | 56 | 56
Number of Surplus Places | 3 | 1 | 4 | 0 | 0 | 3
% of surplus places | 5.4 | 1.8 | 7.1 | 0 | 0 | 5.3571
Current Numbers on Roll (from Autumn Census)
Year group | R | 1 | 2 | 3 | 4 | 5 | 6 | Total
Number | 6 | 6 | 11 | 8 | 11 | 5 | 6 | 53

## School stats
Current Ofsted | Year
Good | 2013-10-02
2014 KS2 Performance Tables last update : (10 Dec 2014)
Year on year comparisons
Percentage achieving Level 4 or above in reading, writing and maths | 2012 | 2013 | 2014
School | 50% | 100% | 100%
LA | 71% | 71% | 76%
England - All Schools | 75% | 75% | 79%
KS2 test results and progress
| All pupils | Low attainers | Middle attainers | High attainers
Pupils eligible for KS2 assessment | 9
Percentage of pupils achieving 3 or below in reading and maths test and writing TA | 0% | NA | SUPP | SUPP
Percentage of pupils achieving level 4 or above in reading and maths test and writing TA | 100% | NA | SUPP | SUPP
Percentage of pupils achieved level 4B or above in reading and maths test and level 4 in writing TA | 89% | NA | SUPP | SUPP
Percentage of pupils achieving level 5 or above in reading and maths test and writing TA | 33% | NA | SUPP | SUPP
Percentage of pupils making at least 2 levels of progress in reading | 86% | NA | SUPP | SUPP
Percentage of pupils making at least 2 levels of progress in writing TA | 100% | NA | SUPP | SUPP
Percentage of pupils making at least 2 levels of progress in maths | 100% | NA | SUPP | SUPP
Average point score | 32
Closing the Gap
| Disadvantaged pupils | Other pupils
Percentage of disadvantaged pupils achieving level 3 or below in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4B or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 5 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in reading | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in maths | SUPP | SUPP
Value Added measures
| Measure | Lower CI | Upper CI | Coverage
Overall value added measure | 100.8 | 99.4 | 102.2 | 78%
Reading value added measure | 100.1 | 98.6 | 101.6 | 78%
Writing TA value added measure | 99.8 | 98.2 | 101.4 | 78%
Maths value added measure | 101.6 | 99.8 | 103.4 | 78%
Subject level results
| Reading test | Maths test | Grammar, punctuation and spelling test | Writing TA
Percentage achieving level 3 or below | 0% | 0% | 0% | 0%
Percentage achieving Level 4 or above | 100% | 100% | 100% | 100%
Percentage achieving Level 4b or above | 89% | 100% | 100% | NA
Percentage achieving Level 5 or above | 78% | 89% | 78% | 44%
Pupil Absence last update : (11 Dec 2013)
| School | England - national (primary state-funded)
Overall absence: percentage | 5.1% | 4.8%
Persistent absence: around 15% + | 8.7% | 3.6%
Please note - this year the Department will publish full year 2013/14 absence data in the performance tables in March 2015 rather than just the autumn and spring term data in December as in previous years, and we will continue to do so in future years. This is because the full year data provides the most robust indication of school absence rates.
School level information for the 2013/14 autumn and spring term only is available in our Statistical First Release here
2013-14 Finance last update : (10 Dec 2014)
Contextual information
Number of pupils (FTE) | 53
Percentage of pupils eligible for Free School Meals (FSM) | SUPP
Free school meals eligibility band | LOW
Spend per pupil data as £ per pupil (in brackets percentage of total income or expenditure)
| School | LA Median | Non-London LAs Median | National Median
Grant funding | 5219 (93%) | 4525 | 4016 | 4325
Self generated income | 388 (7%) | 144 | 142 | 127
Total income | 5608 | 4723 | 4183 | 4479
Teaching staff | SUPP | 2277 | 2045 | 2106
Supply Staff | 64 (1%) | 87 | 118 | 127
Education support staff | SUPP | 689 | 650 | 733
Learning resources (not ICT equipment) | 287 (5%) | 181 | 174 | 184
ICT learning resources | 181 (3%) | 81 | 62 | 66
Bought in professional services - curriculum | 258 (5%) | 88 | 59 | 67
Back office (incl. Staff costs) | 561 (10%) | 406 | 334 | 351
Catering (incl. Staff costs) | 5 (0%) | 35 | 53 | 75
Premises (incl. Staff costs) | 245 (4%) | 259 | 275 | 301
Other staff costs | 123 (2%) | 153 | 133 | 142
Energy | 84 (2%) | 68 | 62 | 65
Other expenditure | 64 (1%) | 94 | 85 | 88
Total expenditure | 5579 | 4562 | 4143 | 4431
Spend per pupil data as £ per pupil : Comparisons over time
| 2010-11 | 2011-12 | 2012-13 | 2013-14
Teaching staff and Education support staff expenditure | SUPP | 3322 | SUPP | 3707
Supply staff | 166 | 113 | 62 | 64
Back office (incl. Staff costs) | 559 | 509 | 512 | 561
Energy | 94 | 75 | 86 | 84
Total expenditure | 5328 | 4787 | 5091 | 5579
School Workforce last update : (10 Dec 2014)
This data is based upon the November 2013 School Workforce Census
| School | England - national (primary state-funded)
Headcount of all teachers in a school | 4 | 236728
Headcount of all teaching assistants in a school | 3 | 239340
Headcount of all support (exc. auxillary) staff in a school | 1 | 77335
Full-time equivalent number of all teachers in a school | 4 | 207827.7
Full-time equivalent number of all teaching assistants in a school | 1.6 | 154245.3
Full-time equivalent number of all support (exc. auxillary) staff in a school | 0.8 | 51728.3
Ratio of pupils to teachers in a school | 13.4 | 20.5
Average gross salary of all teachers in a school | 34525 | 36559

## Parental Preference
Popularity Data | [10 empty] | Children at School From School Catchment
Parental First Preference Applications | [11 empty] | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  | Catchment vs Nearest School |  |  |  | Catchment | Nearest
Year | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  |  | NOR | 55 | 52 | 60 | 57 | 53 |  |  |  | NOR |  |  |  | 53 | 53
PAN | 8 | 8 | 8 | 8 | 8 | 8 |  |  |  |  | Number | 26 | 27 | 27 | 22 | 21 |  |  |  | Total in area |  |  |  | 21 | 28
No. | 8 | 8.96 | 6.96 | 10.96 | 7 | 4 |  |  |  |  | % | 47.2727 | 51.9231 | 45 | 38.5965 | 39.6226 |  |  |  | Number at School from area |  |  |  | 20 | 27
% | 100 | 112 | 87 | 137 | 87.5 | 50 | [13 empty] | % at School |  |  |  | 37.7358 | 50.9434
[11 empty] | Total number in Catchment | [8 empty] | % of area going to School |  |  |  | 95.2381 | 96.4286
[12 empty] | 2010 | 2011 | 2012 | 2013 | 2014
[11 empty] | Number | 34 | 31 | 29 | 26 | 23
[11 empty] | % | 100 | 100 | 100 | 100 | 100
Where children at School are coming from (from Spring Census 2014)
DCSF No. | School |  | Ashperton | Bredenbury | Brockhampton | St Peter's, Bromyard | Broadlands | Marlbrook | St Martin’s | Leominster Infants’ School | Lugwardine | Marden | Stoke Prior | Sutton | Wellington | Withington | Burley Gate C E | Cradley C E | St James’ C E, Kimbolton | Pencombe C E | Riverside Primary | Out of County | Grand Total
2011 | Bredenbury | Number | 0 | 19 | 1 | 18 | 0 | 0 | 0 | 2 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 2 | 53
2011 | Bredenbury | % | 0 | 35.8491 | 1.8868 | 33.9623 | 0 | 0 | 0 | 3.7736 | 0 | 0 | 15.0943 | 0 | 0 | 0 | 0 | 1.8868 | 3.7736 | 0 | 0 | 3.7736 | 100
2014 | Brockhampton | Number | 0 | 5 | 47 | 76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 1 | 2 | 1 | 5 | 140
2014 | Brockhampton | % | 0 | 3.5714 | 33.5714 | 54.2857 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4286 | 0.71429 | 0.71429 | 1.4286 | 0.71429 | 3.5714 | 100
2024 | St Peter's, Bromyard | Number | 0 | 0 | 6 | 174 | 0 | 3 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 189
2024 | St Peter's, Bromyard | % | 0 | 0 | 3.1746 | 92.0635 | 0 | 1.5873 | 0 | 0 | 0 | 0 | 1.0582 | 0 | 0 | 0 | 2.1164 | 0 | 0 | 0 | 0 | 0 | 100
3010 | Burley Gate C E | Number | 2 | 0 | 0 | 5 | 1 | 0 | 0 | 0 | 3 | 1 | 0 | 3 | 5 | 9 | 64 | 0 | 0 | 0 | 0 | 1 | 94
3010 | Burley Gate C E | % | 2.1277 | 0 | 0 | 5.3191 | 1.0638 | 0 | 0 | 0 | 3.1915 | 1.0638 | 0 | 3.1915 | 5.3191 | 9.5745 | 68.0851 | 0 | 0 | 0 | 0 | 1.0638 | 100
3367 | Pencombe C E | Number | 0 | 2 | 1 | 8 | 0 | 0 | 2 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 14 | 0 | 0 | 21 | 0 | 0 | 53
3367 | Pencombe C E | % | 0 | 3.7736 | 1.8868 | 15.0943 | 0 | 0 | 3.7736 | 0 | 0 | 0 | 9.434 | 0 | 0 | 0 | 26.4151 | 0 | 0 | 39.6226 | 0 | 0 | 100
Where school children in the Schools Catchment area are going to (from Spring Census 2014)
DCSF No. | School |  | Ashperton | Bredenbury | Brockhampton | St Peter's, Bromyard | Hampton Dene | Marlbrook | Lugwardine | Marden | Sutton | Withington | Bosbury C E | Burley Gate C E | Colwall C E | Mordiford C E | St Michael's C E, Bodenham | Cradley C E | St Francis Xaviers RC | Pencombe C E | Grand Total
2011 | Bredenbury | Number | 0 | 19 | 5 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 29
2011 | Bredenbury | % | 0 | 65.5172 | 17.2414 | 0 | 0 | 0 | 0 | 3.4483 | 0 | 0 | 6.8966 | 0 | 0 | 0 | 0 | 0 | 0 | 6.8966 | 100
2014 | Brockhampton | Number | 0 | 1 | 47 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 2 | 0 | 1 | 60
2014 | Brockhampton | % | 0 | 1.6667 | 78.3333 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 3.3333 | 0 | 1.6667 | 100
2024 | St Peter's, Bromyard | Number | 3 | 18 | 76 | 174 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 2 | 8 | 287
2024 | St Peter's, Bromyard | % | 1.0453 | 6.2718 | 26.4808 | 60.6272 | 0 | 0.34843 | 0 | 0 | 0 | 0 | 0 | 1.7422 | 0 | 0 | 0 | 0 | 0.69686 | 2.7875 | 100
3010 | Burley Gate C E | Number | 6 | 0 | 2 | 4 | 1 | 0 | 2 | 0 | 2 | 4 | 22 | 64 | 1 | 2 | 6 | 4 | 1 | 14 | 135
3010 | Burley Gate C E | % | 4.4444 | 0 | 1.4815 | 2.963 | 0.74074 | 0 | 1.4815 | 0 | 1.4815 | 2.963 | 16.2963 | 47.4074 | 0.74074 | 1.4815 | 4.4444 | 2.963 | 0.74074 | 10.3704 | 100
3367 | Pencombe C E | Number | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21 | 23
3367 | Pencombe C E | % | 0 | 0 | 8.6957 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 91.3043 | 100

## Disability access
Physical Accessibility Rating | 1
Information from https://www.herefordshire.gov.uk/education-and-learning/schools/directory
Ratings and descriptions
Rating | Details | Description
3 | Fully accessible | Will meet the needs of all disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling); Has a full hygiene room and special educational needs or therapy room for pupils who need more assistance with personal care (including hoisting) and regular physio or other treatment
2 | Mainly accessible | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
1 | Partly accessible | Some standards met but some areas not accessible
0 | Inaccessible | No level access into building and/or no disabled toilet
Summary of physical accessibility standards
Level access into building(s): Main and pupil entrance(s) level, with ramps and hand rails as required
Level access to all curriculum and social areas (not necessarily entire building/site): including assembly hall, canteen (may be achieved by sensitive organisation and timetabling)
Access to upper floors: if required - lift(s) as alternative to steps or stairs
Toilet facilities: small disabled toilet(s) as specified by building regulations - suitable for most disabled pupils. A small number of pupils will require enhanced facilities (hygiene room) to provide greater assistance, including hoisting.
Medical, therapy or SEN room: multi-purpose or flexible use - usually required in addition to a hygiene room, for regular physio and other physical programmes
Emergency evacuation: routes should be level and unobstructed. Evacuation must be documented (using Personal Emergency Evacuation Plans - PEEPs) and practised regularly