## Cover Page
Peterchurch Primary School
Summary Report
Contents
|  | Section | Page | No. of pages
Peterchurch Primary School |  | Summary Data | 3 | 1
Summary Report |  | General Information and Asset Summary | 4 | 1
|  | Maintenance and Condition Summary | 5 | 2
|  | Education Funding Agency Condition Survey Data | 7 | 1
Schools Capital Investment Strategy |  | Suitability and Compliance Summary | 8 | 2
|  | School Occupancy Summary | 10 | 1
|  | School Statistics | 11 | 1
|  | Environmental Sustainability Condition | 12 | 1
|  | Parental Preference | 13 | 1
|  | Distribution of Children Attending School or Resident in its Catchmnet Area | 14 | 1
|  | Distribution of Children Attending School or Where it is the Nearest School | 15 | 1
|  | Key Services Within 2 Mile Radius of School | 16 | 1
|  | Key Services Adjacent to School | 17 | 1
|  | Disability Access | 18 | 1
Children's Wellbeing
Herefordshire Council
Plough Lane Offices
Plough Lane
HEREFORD
HR4 0LE

## Summary Info
Peterchurch Primary School
Summary Report
Summary of Headline Information
Asset Summary | [5 empty] | Occupancy Summary
Gross Site Area (M2)(whole site including building):- |  | 10933.54 |  |  |  | Current Capacity (PAN 15):- |  |  |  | 105
Insurance Asset Value (£000):- |  | 977218.6804 |  |  |  | Allocated Capacity Size (PAN 15):- |  |  |  | 105
Land Asset Value (£000):- |  | 602260 |  |  |  | Current Occupancy:- |  |  |  | 132
Land Ownership:- | Owned by the Local Authority |  |  |  |  | Current Planned Admission No.:- |  |  |  | 15
[6 empty] | Current Number Over Capacity:- |  |  |  | 27
[6 empty] | Current Number Under Capacity:- |  |  |  | 0
Maintenance Expenditure Required on the School over a 5 Year Period Summary
Survey Date:- |  |  |  | 2014-09-03
Backlog Maintenance Total (£000):- | [6 empty] | Not Available
Total Forecast Expenditure (5 years) (£000):- | [6 empty] | 1201.5007
Total Potential Local Authority Forecast Expenditure (£000):- | [6 empty] | 1148.3274
Total Potential School Forecast Expenditure (£000):- | [6 empty] | 53.1733
1
Suitability and Compliance
Required Number of Classrooms:- | [6 empty] | 4 | Required Building Footprint (M2):- |  | 986.92
Actual Number of Classrooms:- | [6 empty] | 7 | Current Building Area (M2):- |  | 1110.67
Percentage of Classrooms that are the Recommended Size:- | [6 empty] | 0 | Area Shortfall (M2):- |  | 0
Compliance Percentage of Recommended Hall Size:- | [6 empty] | 109.6944 | Area Surplus (M2):- |  | 123.75
Number of Temporary Buildings on Site:- |  |  |  |  | 2 |  |  | Total Percentage Compliance:- |  | 112.539
Number of Classrooms in Temporary Buildings:- |  |  |  |  | 1
Compliance Percentage of Recommended Reception Toilets:- | [6 empty] | 66.6667 | Required Net Site Area (M2):- |  | 5195.68
Compliance Percentage of Recommended Other Pupil Toilets:- | [6 empty] | 160 | Current Net Site Area (M2):- |  | 9822.87
Nursery on Site:- | Yes | [6 empty] | Area Shortfall (M2):- |  | 0
[8 empty] | Area Surplus (M2):- |  | 4627.19
[8 empty] | Total Percentage Compliance:- |  | 189.0584
Disability Access
Rating:- | 3 |  | Details:- |  |  |  | Fully accessible
Environmental Sustainability Condition
DEC Rating:- |  |  |  |  | C
Electric Consumption 2014/Child:- |  |  |  |  | Not Available
Gas Consumption 2014/Child:- |  |  |  |  | Not Available
School Statistics
Ofsted Results:- | [8 empty] | Good
Percentage of Children Achieving KS2 Level 4 or Above in Reading, Writing and Maths in 2014:- | [8 empty] | 100
Parental Preference (2014)
Percentage of Parental First Preference Applications:- | [6 empty] | 93.3333
Total Number of Children within Catchment:- | [6 empty] | 114
Total Number of Children at School from Catchment:- | [6 empty] | 85
Percentage of Catchment at School:- | [6 empty] | 70.2479
Percentage of Catchment Going to School:- | [6 empty] | 74.5614

## Report
|  |  | Peterchurch Primary School | [6 empty] | Peterchurch Primary School | [14 empty] | Peterchurch Primary School | [7 empty] | Peterchurch Primary School |  |  |  |  | Peterchurch Primary School |  | Peterchurch Primary School |  |  |  |  | Peterchurch Primary School | [5 empty] | Peterchurch Primary School |  |  | Peterchurch Primary School | [8 empty] | Peterchurch Primary School |  | Peterchurch Primary School | Peterchurch Primary School | Peterchurch Primary School |  | Peterchurch Primary School |  |  | Peterchurch Primary School
|  |  | Summary Report | [6 empty] | Summary Report | [14 empty] | Summary Report | [7 empty] | Summary Report |  |  |  |  | Summary Report |  | Summary Report |  |  |  |  | Summary Report | [5 empty] | Summary Report |  |  | Summary Report | [8 empty] | Summary Report |  | Summary Report | Summary Report | Summary Report |  | Summary Report |  |  | Summary Report
General Information |  |  |  | Maintenance and Condition Summary | [21 empty] | Education Funding Agency Condition Survey Data | [7 empty] | Suitability and Compliance Summary |  |  |  |  | Suitability and Compliance Summary (continued) |  | School Occupancy Summary |  |  |  |  | School Statistics | [5 empty] | Environmental Sustainability Condition |  |  | Parental Preference | [8 empty] | Distribution of Children Attending School or Resident in its Catchment Area |  |  |  | Key Services Adjacent to School |  | Disability Access
Maintenance and Condition Summary (continued)
School Name:- | Peterchurch Primary School |  |  | Survey Date:- | 2014-09-03 |  | Survey Company:- |  | Hub |  | Key Elements and Annual Forecast Maintenance Costs and Responsibilities | [14 empty] | Date of Survey:- |  | 2013-05-15 | [5 empty] | Areas | Standard Criteria (M2) (PAN 15) | Schools Compliance (M2) | Compliance Percentage |  |  |  | Current Planned Admission No. (PAN) | Current School Capacity | Maximum PAN | Maximum Capacity Based on PAN |  | Year | KS2 Year on Year Results |  |  |  |  | Electric Consumption 2014/Child:- | Not Available |  |  | Parental First Preference Applications | [13 empty] | Physical Accessibility Rating
Head Teacher:- | Mrs C Garlick | DFE Number:- | 2122 | Year | Forecast Maintenance Costs (£ 000) | [5 empty] | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows and Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | Number of Occurences Identified Within the Report | [7 empty] | Basic Teaching Space | 248 | 336.38 | 135.6371 |  |  |  | 15 | 105 | 15 | 105 |  |  | School - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | LA - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | All Schools in England - Percentage Achieving Level 4 or Above in Reading, Writing and Maths |  |  | Gas Consumption 2014/Child:- | Not Available |  |  | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | [8 empty] | Rating: | 3
Leadership:- | Stand Alone | [24 empty] | Rating (see key below) | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other | Hall and Studio | 180 | 197.45 | 109.6944 | [17 empty] | PAN | 15 | 15 | 15 | 15 | 15 | 15
Address:- | Peterchurch Primary School, Hereford HR2 0RP | Email:- | admin@peterchurch.hereford.sch.uk | Backlog | Not Available | [5 empty] | £ 000 | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | [8 empty] | Storage | 98 | 103.33 | 105.4388 |  |  |  | Historical Numbers on Roll Data (Spring Census) | [13 empty] | Number | 6 | 18.9 | 12 | 16.95 | 13.005 | 14 | [8 empty] | Details: | Fully accessible
|  |  |  | 2015 | 1.7219 |  |  | Not Available |  |  | Backlog | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | C1 | [7 empty] | Staff and Admin | 101 | 60.03 | 59.4356 |  |  |  | Year | Total NOR | Capacity Based on PAN | Shortfall | Surplus | 2012 | 64 | 71 | 75 | [5 empty] | Percentage | 40 | 126 | 80 | 113 | 86.7 | 93.3333
|  |  |  | 2016 | 98.1226 |  |  | 1.7219 |  |  | 2015 | 0 | 0 | 0.4112 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3107 | 0 | 0 | 0 | C2 | 1 | 3 | 1 | 5 | 3 | 10 |  | Learning Resource | 87 | 37.19 | 42.7471 |  |  |  | 2008 / 2009 | 66 | 105 | 0 | 39 | 2013 | 92 | 71 | 75 | [20 empty] | Description: | Will meet the needs of all disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling); Has a full hygiene room and special educational needs or therapy room for pupils who need more assistance with personal care (including hoisting) and regular physio or other treatment
|  |  |  | 2017 | 631.2177 |  |  | 98.1226 |  |  | 2016 | 0.514 | 0 | 0.9509 | 6.682 | 0.514 | 0 | 1.542 | 0 | 4.9858 | 0 | 3.7779 | 79.156 | 0 | 0 | D1 | [7 empty] | Supplementary Area | 0 | 103.17 | - |  |  |  | 2009 / 2010 | 64 | 105 | 0 | 41 | 2014 | 100 | 76 | 79 | [5 empty] | Historical Catchment Analysis (Spring Census)
Telephone No.:- | T: 01981 550230 F: 01981 550230 | School Cluster:- | Peterchurch District- Fairfield High School | 2018 | 17.4503 |  |  | 631.2177 |  |  | 2017 | 0 | 13.364 | 2.4158 | 504.748 | 3.598 | 3.598 | 0.2056 | 22.616 | 7.8642 | 12.593 | 2.1331 | 58.082 | 0 | 0 | D2 | [7 empty] | Non Net Area | 272.92 | 273.12 | 100.0733 |  |  |  | 2010 / 2011 | 76 | 105 | 0 | 29 | [9 empty] | Catchment Analysis | Parental First Preference Applications 2012: 2010; Parental First Preference Applications 2013: 2011; Parental First Preference Applications 2014: 2012 | 2013 | 2014
|  |  |  | 2019 | 452.9882 |  |  | 17.4503 |  |  | 2018 | 0 | 0 | 1.9789 | 2.8784 | 0 | 0 | 0 | 0 | 5.8082 | 5.14 | 1.6448 | 0 | 0 | 0 | D3 | [7 empty] | Total Gross Building Area | 986.92 | 1110.67 | 112.539 |  |  |  | 2011 / 2012 | 83 | 105 | 0 | 22 | KS2 Test Results and Progress (2014) | [11 empty] | Total in Catchment | 100 | 105 | 110 | 114 | 114
[8 empty] | 452.9882 |  |  | 2019 | 0 | 41.12 | 4.112 | 43.69 | 0 | 133.64 | 1.028 | 22.616 | 6.939 | 191.722 | 1.4392 | 6.682 | 0 | 0 | [15 empty] | 2012 / 2013 | 94 | 105 | 0 | 11 | [12 empty] | Number at School from Catchment | 55 | 67 | 70 | 79 | 85
School Type:- | Community | Building Number:- | 0FA1 | Total | 1201.5007 | [5 empty] | Totals | 0.514 | 54.484 | 9.8688 | 557.9984 | 4.112 | 137.238 | 2.7756 | 45.232 | 25.5972 | 209.455 | 10.3057 | 143.92 | 0 | 0 | *Note the information noted above has been extracted from the EFA survey focusing on elements that are C & D rated. Items with an A or B rating have been excluded. The numbers reference the quantity of elements that the survey has picked up within the relevant category | [7 empty] | Total Gross Site Area | 6182.6 | 10933.54 | 176.8437 |  |  |  | 2013 / 2014 | 121 | 105 | 16 | 0 | Pupils eligible for KS2 assessment |  |  |  | 7 | [7 empty] | Percentage at School from Catchment | 85.9375 | 88.1579 | 84.3373 | 84.0426 | 70.2479
Current Capacity:- | 105 | Site Area:- | 10933.54 | [30 empty] | Net Site Area (less the building area) | 5195.68 | 9822.87 | 189.0584 |  |  |  | Current Occupancy | 132 | 105 | 27 | 0 | Percentage achieving level 3 or below in reading, writing and maths |  |  |  | 0 | [7 empty] | Percentage of Catchment Going to School | 55 | 63.8095 | 63.6364 | 69.2982 | 74.5614
[11 empty] | Total Potential Expenditure - Local Authority (£000) | [6 empty] | 1148.3274 | [27 empty] | Percentage achieving level 4 or above in reading, writing and maths |  |  |  | 100
|  |  |  | Key Elements of Forecast Maintenance | [29 empty] | Key Information (based on Building Bulletin 103) | [6 empty] | Current Occupancy Summary (Autumn Census 2014) |  |  |  |  | Percentage achieving level 4B or above in reading and maths and level 4 or above in writing |  |  |  | 71 |  |  |  |  | Catchment and Nearest School Comparison (Autumn Census 2014)
|  |  |  | Categories |  | Totals (£ 000) | [19 empty] | Key | [7 empty] | Required Number of Classrooms |  |  |  | 4 |  |  | Year Group | NOR | Shortfall | Surplus |  | Percentage achieving level 5 or above in reading, writing and maths |  |  |  | 14 | [5 empty] | Parental First Preference Applications 2011: Catchment vs Nearest School; Parental First Preference Applications 2012: Catchment; Parental First Preference Applications 2013: Nearest
|  |  |  | External Grounds |  | 54.998 |  |  |  |  | Total Potential Expenditure - School (£000) | [6 empty] | 53.1733 | [7 empty] | Condition grade | Definition |  |  |  | Priority rating | Definition |  | Number of Classrooms |  |  |  | 7 |  |  | Reception | 15 | 0 | 0 |  | Percentage making expected progress in reading |  |  |  | 100 | [5 empty] | Parental First Preference Applications 2011: NOR; Parental First Preference Applications 2012: 132; Parental First Preference Applications 2013: 132
|  |  |  | Roof Works |  | 567.8672 | [27 empty] | Percentage of Classrooms that are the Recommended Size |  |  |  | 0 |  |  | One | 17 | 2 | 0 |  | Percentage making expected progress in writing |  |  |  | 100 | [5 empty] | Parental First Preference Applications 2011: Total in Area; Parental First Preference Applications 2012: 129; Parental First Preference Applications 2013: 140
|  |  |  | External Walls |  | 141.35 | [19 empty] | A Good | Performing as intended and operating efficiently |  |  |  | 1 | Immediate or year 1 remedial action required |  | Percentage of Classrooms that are Classed as Small |  |  |  | 100 | Category | Areas Included | Two | 19 | 4 | 0 |  | Percentage making expected progress in maths |  |  |  | 100 | [5 empty] | Parental First Preference Applications 2011: Number at School from Area; Parental First Preference Applications 2012: 93; Parental First Preference Applications 2013: 97
|  |  |  | Windows and Doors |  | 48.0076 | [27 empty] | Number of Temporary Buildings on Site |  |  |  | 2 | Basic Teaching Spaces | General Classrooms, ICT Rooms, Practical Areas | Three | 18 | 3 | 0 |  | Average point score |  |  |  | 29.6 | [5 empty] | Parental First Preference Applications 2011: Percentage at School; Parental First Preference Applications 2012: 70.4545; Parental First Preference Applications 2013: 73.4848
|  |  |  | Internal Works |  | 235.0522 | [19 empty] | B Satisfactory | Performing as intended but exhibiting minor deterioration |  |  |  | 2 | Year 1-2 remedial action required |  | Number of Classrooms in Temporary Buildings |  |  |  | 1 | Hall and Studio | Halls, Dining Areas | Four | 24 | 9 | 0 | [11 empty] | Parental First Preference Applications 2011: Percentage of area going to School; Parental First Preference Applications 2012: 72.093; Parental First Preference Applications 2013: 69.2857
Asset Summary |  |  |  | Mechanical and Electrical |  | 154.2257 | [27 empty] | Percentage of Recommended Reception Toilets |  |  |  | 66.6667 | Storage | Coats and Bags, Teaching, Specialist, PE Equipment, Bulk Stock, Cleaning, Caretakers and Maintenance, Tables and Chairs, Staging, Mobility Equipment | Five | 19 | 4 | 0 |  | Latest Ofsted Report Date:- |  | 2012-05-01
|  |  |  | Other (e.g. ancillary buildings) |  | 0 | [19 empty] | C Poor | Exhibiting major defects and/or not operating as intended |  |  |  | 3 | Year 3-5 remedial action required |  | Percentage of Recommended Other Pupil Toilets |  |  |  | 160 |  |  | Six | 20 | 5 | 0 |  | Ofsted Result:- |  | Good
Asset Value - Insurance (£000):- |  | 977.2187 | [36 empty] | Staff and Admin | Heads and Staff Offices, Staff Room, Staff PPA,Reprographics Room, Sick Bay, Interview and Meeting Rooms, Secure Entrance | Total | 132 | 27 | 0
Asset Value - Land (£000):- |  | 602.26 | [23 empty] | D Bad | Life-expired and/or at serious risk of imminent failure
[39 empty] | Learning Resource | Library, Small Group Rooms, SENCO Office, Medical Inspection Room
Land Owner:- |  | Owned by the Local Authority
[39 empty] | Supplementary Area | Any other specialist area at the school e.g. Music Classroom, Swimming Pool, SEN Classrooms
Lease Agreement / Notes:- |  | Not known | [36 empty] | Non Net Area | Pupil and Staff Toilets, Accessible Toilets, Hygiene Room, Kitchen, Corridors, Server Room, Boilers
Nursery Provision:- |  | PVI Nursery | [36 empty] | Additional Area | Nursery provision

## Feedback
|  | Peterchurch Primary School |  |  | Peterchurch Primary School |  |  | Peterchurch Primary School
|  | Feedback Form |  |  | Feedback Form |  |  | Feedback Form
General Information and Asset Summary |  |  | School Occupancy Summary |  |  | Parental Preference
Do you believe the data to be accurate? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Maintenance and Condition Summary |  |  | School Statistics |  |  | Disability Access
Do you believe the data to be a fair reflection of the maintenance and condition of the school? | [5 empty] | Do you believe the data to be a fair reflection of the environmental condition of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Suitability and Compliance Summary |  |  | Environmental Sustainability Condition |  |  | Any Other Comments
Do you believe the data to be a fair reflection of the suitability and compliance issues faced by the school? | [5 empty] | Additional comments about the information provided:
Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments:
If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920
Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015

## Asset summary
Building ref number:- | 0FA1
Site Area:- | 10933.54
Asset Value (Insurance):- | 977218.6804
Asset Value (Land):- | 602260
Land owner:- | Owned by the Local Authority
Lease agreement / notes:- | Not known
DEC rating:- | C
Electric consumption 2014/child:- | Not Available
Gas consumption 2014/child:- | Not Available

## Maintenance
Maintenance and Condition Summary |  |  |  | BCIS Quarter | 3Q2014 | [11 empty] | Check | Main year totals | Summary year totals | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows & Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | BCIS quarter | BCIS uplift
Year survey undertaken |  | 2014-09-03 |  | BCIS Uplift | 1.028 | [15 empty] | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | 1Q2009 | 1.1525
Survey company:- |  | Hub | [15 empty] | 0 | 0 | Backlog | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2Q2009 | 1.1898
[18 empty] | 1721.9 | 1721.9 | 2015 | 0 | 0 | 411.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1310.7 | 0 | 0 | 0 | 3Q2009 | 1.1898
[18 empty] | 98122.6 | 98122.6 | 2016 | 514 | 0 | 950.9 | 6682 | 514 | 0 | 1542 | 0 | 4985.8 | 0 | 3777.9 | 79156 | 0 | 0 | 4Q2009 | 1.2123
|  |  |  | Year covered? | N | Y | Y | Y | Y | Y | School Costs | [6 empty] | 631217.7 | 631217.7 | 2017 | 0 | 13364 | 2415.8 | 504748 | 3598 | 3598 | 205.6 | 22616 | 7864.2 | 12593 | 2133.1 | 58082 | 0 | 0 | 1Q2010 | 1.2297
Category | Ref | Element | Recommended Works | Estimated Work Cost | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 |  | 17450.3 | 17450.3 | 2018 | 0 | 0 | 1978.9 | 2878.4 | 0 | 0 | 0 | 0 | 5808.2 | 5140 | 1644.8 | 0 | 0 | 0 | 2Q2010 | 1.1789
[18 empty] | 452988.2 | 452988.2 | 2019 | 0 | 41120 | 4112 | 43690 | 0 | 133640 | 1028 | 22616 | 6939 | 191722 | 1439.2 | 6682 | 0 | 0 | 3Q2010 | 1.1735
r | Roofs | Flat | Uninsulated roofing felt over changing room area. | 4000 |  |  |  | 4000 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2010 | 1.1682
r | Roofs | Pitched | Timber and metal curved tunnel frame clad with ridged uPVC sheeting; general damage. Some panels have been replaced in recent years, but some damaged sheets are also still present. Allow for replacement of damaged panels. | 2000 |  |  | 500 |  |  | 1500 | 0 | 0 | 500 | 0 | 0 | 1500 |  |  |  | Individual Category totals | 514 | 54484 | 9868.8 | 557998.4 | 4112 | 137238 | 2775.6 | 45232 | 25597.2 | 209455 | 10305.7 | 143920 | 0 | 0 | 1Q2011 | 1.1735
r | Roofs | Roof Drainage | Black uPVC gutter and down pipe. Allow for cyclical cleaning. | 150 |  |  | 75 |  | 75 |  | 0 | 0 | 75 | 0 | 75 | 0 | [18 empty] | 2Q2011 | 1.1525
r | Roofs | Other | Welted felt drip to flat roof areas. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Summary category totals | Main category totals | Check | [11 empty] | 3Q2011 | 1.1682
e | Redecoration | External | Painted external timber cladding, windows and doors. Beginning to show signs of age, allow for cyclical decoration and cutting back of ivy to the all elevations. However the overall future of this building will need to be considered as it is reaching the end of its lifecycle. | 500 |  |  | 500 |  |  |  | 0 | 0 | 500 | 0 | 0 | 0 | [18 empty] | 4Q2011 | 1.1525
e | External walls, windows and doors | Walls (including finishes) | Timber frame supported on concrete base and clad with painted timber shiplap panels to the changing area. The longer term future of this structure should be considered as it is beginning to reach the end of its life cycle. Replacement of building to be considered longer term if pool is to remain in use. | 50000 | [5 empty] | 50000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | External Grounds |  | 54998 | 54998 | [12 empty] | 1Q2012 | 1.1953
w | External walls, windows and doors | Windows & Doors | Painted softwood windows and doors; single glazed Georgian-wiring to windows. Allow for cyclical decoration. | 250 |  |  | 250 |  |  |  | 0 | 0 | 250 | 0 | 0 | 0 |  |  | Roof Works |  | 567867.2 | 567867.2 | [12 empty] | 2Q2012 | 1.1174
w | External walls, windows and doors | Windows & Doors | Changing Rooms - 2 no. fire exit doors - painted timber with aluminium push bars. Allow for cyclical decorations and repairs, with a view to possible replacement if the building is to remain in use in the medium to longer term. | 1250 |  |  | 250 |  |  | 1000 | 0 | 0 | 250 | 0 | 0 | 1000 |  |  | External Walls |  | 141350 | 141350 | [12 empty] | 3Q2012 | 1.1525
i | Internal walls and doors | Walls & Partitions (including finishes) | Plaster finish internally, allow for cyclical decoration with moisture resistant paint. | 750 |  |  |  | 750 |  |  | 0 | 0 | 0 | 750 | 0 | 0 |  |  | Windows & Doors |  | 48007.6 | 48007.6 | [12 empty] | 4Q2012 | 1.1473
i | Internal walls and doors | Doors & Glazed Screens | 1 no. timber framed ledged and braced internal door to pump room. Allow for regular treatment. | 100 |  |  |  | 100 |  |  | 0 | 0 | 0 | 100 | 0 | 0 |  |  | Internal Works |  | 235052.2 | 235052.2 | [12 empty] | 1Q2013 | 1.0983
i | Internal walls and doors | Doors & Glazed Screens | Plastic curtains. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Mechanical & Electrical |  | 154225.7 | 154225.7 | [12 empty] | 2Q2013 | 1.089
i | Internal walls and doors | Internal Structural Frame | Swimming Pool area - aluminium and timber frame. Some timber has rotted, allow for repairs and at the same time as any cladding replacements noted above. Also of note is the localised repairs to the pool structure have been completed in recent times. The longer term future of this facility will need to be considered in line maintenance expenditure against full replacement. | 175000 | [5 empty] | 175000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Other |  | 0 | 0 | [12 empty] | 3Q2013 | 1.0983
i | Floors and stairs | Floors (including finishes) | Concrete floor with non-slip vinyl finish with up stands to wall in the changing area. Allow for replacement within 5 years if no major works to the building are undertaken. | 1500 | [5 empty] | 1500 | 0 | 0 | 0 | 0 | 0 | 1500 | [18 empty] | 4Q2013 | 1.0798
i | Floors and stairs | Floors (including finishes) | Concrete with moveable plastic matting surrounding the pool. Allow for localised repairs as required and painting of floor in the longer term to protect concrete finish. | 1400 |  |  |  | 150 |  | 1250 | 0 | 0 | 0 | 150 | 0 | 1250 |  |  | Total |  | 1201500.7 | 1201500.7 | [12 empty] | 1Q2014 | 1.0447
i | Ceilings | All types | Painted plasterboard. Include with cyclical decorations of walls noted above. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2014 | 1.0198
i | Fixed furniture and fittings | All types | Plastered brick surrounds with smooth capping stones and plastic pool liner. As noted above localised repairs have been undertaken in recent years but the longer term use of the pool will need to be considered within this 5 year reporting period | 500 |  |  | 500 |  |  |  | 0 | 0 | 500 | 0 | 0 | 0 | [18 empty] | 3Q2014 | 1.028
i | Redecoration | Internal | Painted ceilings, frame, door, walls - Allow for cyclical decorations. | 1000 |  |  |  | 1000 |  |  | 0 | 0 | 0 | 1000 | 0 | 0 | [18 empty] | 4Q2014 | 1.0078
m | Sanitary services | Fittings | 2 no. ceramic WCs. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 1Q2015 | 1
m | Sanitary services | Waste Plumbing | Plastic wastes. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Hot/Cold Water Distribution | Cold water to WC cisterns only. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Other | Water treatment/filtration plant in main pool area. In a satisfactory condition and operational at the time of the survey. Continue to allow for PPM and servicing requirements. | 2500 |  | 500 | 500 | 500 | 500 | 500 | 0 | 500 | 500 | 500 | 500 | 500
m | Electrical services | Control Gear and Equipment | Switchgear in plant room functional but signs of surface corrosion. Continue to ensure that PPM regime is maintained. | 375 |  | 75 | 75 | 75 | 75 | 75 | 0 | 75 | 75 | 75 | 75 | 75
m | Electrical services | Lighting and Associated Fittings | Vapour proof fluorescent baton luminaires. Allow for PPM and relamping. | 50 |  |  | 25 |  | 25 |  | 0 | 0 | 25 | 0 | 25 | 0
m | Electrical services | Fire Alarms | Break glass call points and bells. Allow for PPM, confirmation to be sought if this system is linked back to main fire panel (zoned control) | 250 |  | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50
m | Electrical services | Electrical Heating | Electric fan heaters with wall thermostat control. Allow for PPM check | 50 |  |  | 25 |  | 25 |  | 0 | 0 | 25 | 0 | 25 | 0
r | Roofs | Flat | Uninsulated felt roof with stone chippings, felted up stands to pitched tiled roof; generally satisfactory appears to have been recovered since last survey. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Pitched | 2 no. abutting pitched roofs with natural slates. felted flashings and up stands at abutments; extensive slipped and damaged slates. The condition of the roof remains poor, consideration to be given to re-roofing within 5 years, with an allowance made for reactive repairs to slipped tiles and mitigation measures of snow guards to be considered. | 42950 |  | 150 | 2500 | 150 | 150 | 40000 | 0 | 150 | 0 | 150 | 150 | 0
r | Roofs | Chimneys | 1 no. brick chimneystack capped. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Roof Drainage | uPVC external guttering and downpipes. Allow for regular cleaning. | 100 |  |  | 50 |  | 50 |  | 0 | 0 | 50 | 0 | 50 | 0
r | Roofs | Other | Timber bargeboards at gable ends, 200mm deep, some parts rotten and will require replacement within five years. Also allow for cutting back and clearing of Virginia creeper type plant to front elevation | 2250 |  | 250 |  | 2000 |  |  | 0 | 250 | 0 | 0 | 0 | 0
e | Redecoration | External | Painted external joinery - Allow for cyclical decoration. | 3500 |  |  |  | 3500 |  |  | 0 | 0 | 0 | 0 | 0 | 0
e | External walls, windows and doors | Walls (including finishes) | Solid load bearing masonry walls, painted stone bay to south-west. Allow for re-pointing as required and repainting of stone. | 1500 |  |  |  | 1500 |  |  | 0 | 0 | 0 | 1500 | 0 | 0
w | External walls, windows and doors | Windows & Doors | Single glazed softwood windows; glazing to safety standards. Poor thermal properties, areas of wet rot. Single glazed mild steel windows. Allow for repairs of defective timber where possible when next planned decoration is undertaken, however longer term consideration to be given to replacement windows within 5 years. | 20000 | [5 empty] | 20000 | 0 | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Windows & Doors | Painted softwood timber doors and frames. Satisfactory, allow for redecoration, and as noted above consider for replacement within 5 years. | 2000 | [5 empty] | 2000 | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | Plastered masonry walling with painted softwood skirting and door frames; high damp readings have historically been noted at low level. Allow for injection of chemical damp proof course. | 8000 |  |  |  | 8000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | Painted fair faced brickwork or plastered walls, some areas are paper finished - Generally a satisfactory to poor condition, allow for re-decoration as noted below. The first floor should be completed first as condition is poor. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Doors & Glazed Screens | Painted timber panelled doors, no glazing to internal doors. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Doors & Glazed Screens | Solid timber doors (designated as fire exits), fitted with aluminium push bars with fixed Georgian-wired transoms. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Floors and stairs | Floors (including finishes) | Solid concrete floor with carpet covering, non slip vinyl covering to wet areas and walkways. Suspended timber at first floor with exposed boarding in part and fibre board panels. Allow for cyclical replacement of floor coverings by year 5 | 3000 | [5 empty] | 3000 | 0 | 0 | 0 | 0 | 0 | 0
i | Floors and stairs | Staircases (including finishes) | 1 no. timber staircase with timber balustrades and handrail all painted. No floor covering present, consider suitable non-slip finish to staircase. | 500 |  |  |  | 500 |  |  | 0 | 0 | 0 | 500 | 0 | 0
i | Ceilings | All types | Fibreboard panels, 600x600mm in exposed grid. Some marks noted but ceilings remain satisfactory. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Ceilings | All types | First floor - Painted plasterboard; exposed timber roof structure in part. Damage was noted to exposed roof structure and damp to ceilings in corridor also lining papers peeling in first floor room, allow for repairs to be undertaken and damp issues to be investigated further. | 1500 |  |  | 1500 |  |  |  | 0 | 0 | 1500 | 0 | 0 | 0
i | Redecoration | Internal | Emulsion walls, ceilings, gloss joinery. Generally in poor decorative order although rooms generally used for storage. Allowance made for years 2 & 4. | 2000 |  |  | 1000 |  | 1000 |  | 0 | 0 | 1000 | 0 | 1000 | 0
m | Sanitary services | Fittings | 1 no. Cleaner’s ceramic Belfast sink, 2 no. vitreous china w.c suites and wash hand basins. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Waste Plumbing | 40mm uPVC downpipe. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating Distribution | Mild steel pipes to fan assisted convector heaters. Aged but in fair condition. Consider replacement in medium term. | 4000 | [5 empty] | 4000 | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating Controls | Wall thermostat in classroom (rm. 20). | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Hot/Cold Water Distribution | Copper pipework. Electric water heaters in practical room (rm. 24) and on first floor. Allow PPM for water heaters. | 100 |  |  | 50 |  | 50 |  | 0 | 0 | 50 | 0 | 50 | 0
m | Mechanical services | Ventilation | Local extract fan in first floor WC. Allow for cleaning by site staff. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Control Gear and Equipment | Distribution board and controls of 'off-peak' heating in corridor (rm. 9). Allow for PPM Checks | 250 |  | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50
m | Electrical services | Power and Associated Fittings | PVC socket outlets and fused spur units. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Lighting and Associated Fittings | Fluorescent baton luminaires in most rooms. 2D luminaire in corridor and first floor WC. Allow for re-lamping on a cyclical basis. | 150 |  |  | 75 |  | 75 |  | 0 | 0 | 75 | 0 | 75 | 0
m | Electrical services | Lighting and Associated Fittings | Aged fluorescent luminaires in rms. 15, 16 & 57 on first floor. Allow for renewal with energy efficient units. | 500 |  |  |  | 500 |  |  | 0 | 0 | 0 | 500 | 0 | 0
m | Electrical services | Fire Alarms | Bells in classroom (rm. 23) and corridor (rm. 19). Manual system assumed, confirm if zoned/linked to main fire panel. Allow for PPM checks. | 125 |  | 25 | 25 | 25 | 25 | 25 | 0 | 25 | 25 | 25 | 25 | 25
m | Electrical services | Security Alarms / CCTV | Aged passive infra red detectors in rms. 22 & 17. Allow for PPM check. | 125 |  | 25 | 25 | 25 | 25 | 25 | 0 | 25 | 25 | 25 | 25 | 25
m | Electrical services | Security Alarms / CCTV | Passive infra red detectors in rms. 20 & 23. Allow for PPM check. | 125 |  | 25 | 25 | 25 | 25 | 25 | 0 | 25 | 25 | 25 | 25 | 25
m | Electrical services | Communications Systems | Telephone in staff room. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Emergency Lighting | Integral with 2D luminaire in rm. 16b. Allow for review of EM and signage throughout to ensure compliance and with FRA Strategy. | 500 |  |  | 500 |  |  |  | 0 | 0 | 500 | 0 | 0 | 0
m | Electrical services | Electrical Heating | Aged 'off-peak' heaters in rms. 17 & 20 and on first floor. Aged electric heaters also on first floor. Consider for replacement and extension of wet heating system. | 6250 |  |  |  | 6250 |  |  | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Flat | Uninsulated felt with stone chippings, felted up stands to abutment and roof lights; extensive areas of degradation and blistering. Renewal of coverings required. | 4000 |  |  | 4000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Flat | One area of insulated high tensile felt. Renew within 5 years. | 1000 | [5 empty] | 1000 | 0 | 0 | 0 | 0 | 0 | 1000
r | Roofs | Pitched | Cement fibre (chrysotile asbestos) profiled sheet roofs (one roof solely over hall, the other partly shared with community centre), incorporating Georgian-wired roof lights in aluminium frame. Water ingress reported by Head teacher and sheets have become friable with age. Replacement of roof to considered, with new insulated roofing system and to include for new roof lights. | 485000 |  |  |  | 485000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Roof lights | 2 no. aluminium and polycarbonate roof lights, felt up stands, 1 no. capped aluminium roof light. Satisfactory but allow for replacement when associated roof coverings are replaced. | 1500 | [5 empty] | 1500 | 0 | 0 | 0 | 0 | 0 | 1500
r | Roofs | Roof Drainage | External gutters with mix of internal and external uPVC down pipes. Allow for regular cleaning and replace with any roof replacement noted above. | 1650 |  |  | 150 |  | 1500 |  | 0 | 0 | 150 | 0 | 1500 | 0
r | Roofs | Other | 1 no. stainless steel boiler flue. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Other | Painted timber fascia boards approx. 200mm deep with some areas of cement fibre fascia boards approx. 600mm deep with aluminium edging strip. Allow for re-decoration if roof covering is not replaced and ensure any asbestos containing boards are managed in line with regulations. | 1250 |  |  |  | 1250 |  |  | 0 | 0 | 0 | 1250 | 0 | 0
e | Redecoration | External | Painted external joinery. Allow for cyclical decoration. | 1500 |  |  |  | 1500 |  |  | 0 | 0 | 0 | 1500 | 0 | 0
e | External walls, windows and doors | Walls (including finishes) | Load bearing cavity masonry walls. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Windows & Doors | Painted softwood louvered doors in painted softwood frame to the boiler room, poor condition. Replacement required | 1000 |  |  | 1000 |  |  |  | 0 | 0 | 1000 | 0 | 0 | 0
w | External walls, windows and doors | Windows & Doors | Painted softwood doors and windows with strengthened single glazing, windows hinged to the top. Decoration and condition poor, allow for replacement. | 8000 |  |  |  | 8000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Windows & Doors | Single glazed timber casement windows - East elevation; areas of wet rot and perished putties; glazing not to safety standards in critical areas, allow for replacement. | 12000 |  |  |  | 12000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Windows & Doors | Main entrance doors (shared entrance with Community Centre); single glazed, softwood timber with aluminium door furniture. Allow for replacements. | 2000 |  |  |  | 2000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | Generally painted blockwork; areas of plastered walling. Allow for decoration. | 2500 |  |  |  |  | 2500 |  | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | Laminated boarded partitions to WC’s. Generally delaminating and damaged. | 1850 |  |  | 1850 |  |  |  | 0 | 0 | 1850 | 0 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | Varnished timber boarded in part within shared community area. Allow for decoration. | 500 |  |  |  |  | 500 |  | 0 | 0 | 0 | 0 | 500 | 0
i | Internal walls and doors | Doors & Glazed Screens | Painted softwood internal doors with aluminium kick and push plates within shared area. Allow for decoration | 400 |  |  |  |  | 400 |  | 0 | 0 | 0 | 0 | 400 | 0
i | Internal walls and doors | Doors & Glazed Screens | Timber panelled door with Georgian-wired single glazing - 4 no. glazed panel double doors, with aluminium push plate within shared area with Community. Allow for decoration | 250 |  |  |  |  | 250 |  | 0 | 0 | 0 | 0 | 250 | 0
i | Floors and stairs | Floors (including finishes) | Solid concrete flooring with mix of carpeted areas, non-slip vinyl covering to wet areas and some walkways. Allow for phased replacements from year 3. | 4500 |  |  |  | 1500 | 1500 | 1500 | 0 | 0 | 0 | 1500 | 1500 | 1500
i | Floors and stairs | Floors (including finishes) | Solid concrete floor mainly carpeted with vinyl or tiled covering to WC areas within shared area with Community. Allow for phased replacements from year 3. | 3000 |  |  |  | 1000 | 1000 | 1000 | 0 | 0 | 0 | 1000 | 1000 | 1000
i | Floors and stairs | Floors (including finishes) | Hall - timber parquet flooring. Generally satisfactory. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Ceilings | All types | Fibreboard panels 600mmx600mm with exposed aluminium grid. Allow for replacement of damaged or stained tiles. | 300 |  |  |  | 300 |  |  | 0 | 0 | 0 | 300 | 0 | 0
i | Ceilings | All types | Some parts fibreboard panels 600mm x 1200mm approx. Some panels are broken. Allow for replacement of damaged or stained tiles. | 300 |  |  |  | 300 |  |  | 0 | 0 | 0 | 300 | 0 | 0
i | Ceilings | All types | Exposed steel I-beams within main hall with painted fibreboard panels between varnished timber planks. Allow for decoration. | 3500 | [5 empty] | 3500 | 0 | 0 | 0 | 0 | 0 | 0
i | Ceilings | All types | Fibreboard panels with external aluminium frame; a number of broken and water damaged panels (Shared area with Community). Allow for repairs. | 500 |  |  |  | 500 |  |  | 0 | 0 | 0 | 500 | 0 | 0
i | Ceilings | All types | Artexed and skimmed boarding within shared area with Community Hall - Allow for redecoration. | 850 |  |  |  | 850 |  |  | 0 | 0 | 0 | 850 | 0 | 0
m | Sanitary services | Fittings | Ceramic WCs and wash hand basins. Allow for refurbishment by year 5 | 2500 | [5 empty] | 2500 | 0 | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Fittings | Shared area with Community - ceramic WCs, cisterns panelled off, allow for refurbishment, Accessible WC is priority due to non-compliance. | 5000 |  |  | 5000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Waste Plumbing | 40mm uPVC wastes. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Boilers | 2 nr. I deal Harrier oil fired boilers. New 'NuWay' burners. These boilers have reached the end of their life cycle but remain operational. Replacement should be considered as a priority. | 35000 |  |  | 35000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating Distribution | Fan assisted convectors in classroom and games room. Ducted warm air in main hall. System not adequate, especially in hall. Replace as part of any new boiler replacement project. | 25000 |  |  | 25000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating Controls | Aged control panel in boiler room and separate controls for hall heating in store (rm. 34). Updated and provide new controls package with new boilers. | 12000 |  |  | 12000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Hot/Cold Water Distribution | Copper pipework. Electric water heaters in rms. 13 & 41. Allow for PPM of water heaters. | 250 |  | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50
m | Mechanical services | Hot/Cold Water Distribution | Copper pipework. No hot water in WCs (rms. 28 & 29). Allow for provision of hot water to these areas as part of any refurbishment works. | 1500 |  |  | 1500 |  |  |  | 0 | 0 | 1500 | 0 | 0 | 0
m | Electrical services | Control Gear and Equipment | Main intake and metering in rm. 36. Aged installation, 2 nr. redundant fuse switches. Aged distribution boards in store rooms (rms. 32 & 34). Allow for updating and replacement of equipment. | 15000 |  |  |  | 15000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Power and Associated Fittings | Aged wiring and outlets. Consider replacements as part of any distribution equipment above. | 12000 |  |  |  | 12000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Lighting and Associated Fittings | Aged wiring, fittings and luminaires in most areas. Allow for replacement as part of any refurbishment to these areas. | 11250 |  |  |  | 11250 |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Lighting and Associated Fittings | New luminaires in MI room (rm. 13) and classroom (rm. 38). Allow for cyclical relamping | 150 |  |  | 75 |  |  | 75 | 0 | 0 | 75 | 0 | 0 | 75
m | Electrical services | Fire Alarms | Gent 4 zone panel in entrance (rm. 25). Break glass call points and bells throughout. Aged but sound. Allow for upgrade of system to an auto-detecting and addressable system. | 9500 |  |  |  | 9500 |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Security Alarms / CCTV | Aged passive infra red detectors in rms. 13 & 38. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Emergency Lighting | Emergency and 'Exit' luminaires throughout. In good condition but 'Exit' luminaires on light switches so can be turned off. Undertake full review on EM requirements in line with any future fire safety system and lighting replacements / upgrades | 2500 |  |  |  | 2500 |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Stage Lighting | 5 nr. spotlights in hall. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Flat | High tensile insulated roofing felt . | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Flat | Uninsulated roofing felt with stone chippings, felted up stands, lead flashings. Allow for renewal of covering | 950 |  |  |  | 950 |  |  | 0 | 0 | 0 | 950 | 0 | 0
r | Roofs | Pitched | 1 no. pitched roof with cement fibre tiles with extended section to the same specification, south-eastwards into the hard play area. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Roof Drainage | External uPVC guttering and downpipes. Allow for regular cleaning. | 300 |  |  | 150 |  | 150 |  | 0 | 0 | 150 | 0 | 150 | 0
r | Redecoration | External | Stained windows, painted doors and eaves. Allow cyclical decorations. | 2800 |  |  |  |  | 2800 |  | 0 | 0 | 0 | 0 | 0 | 0
e | External walls, windows and doors | Walls (including finishes) | Load bearing cavity masonry walls. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Windows & Doors | Double glazed hardwood windows with top hung opening lights. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Windows & Doors | Single glazed (3 no.) painted softwood doors with the safety film. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | Painted and plastered masonry walls with painted softwood skirting and door frames. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Doors & Glazed Screens | Painted softwood timber panelled doors with plastic furniture, Georgian-wired glazing, safety film applied. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Floors and stairs | Floors (including finishes) | Concrete floor, mainly carpeted, with non- slip vinyl covering to wet areas. Allow for phased replacement of floor coverings from year 4 | 5000 |  |  |  |  | 2500 | 2500 | 0 | 0 | 0 | 0 | 0 | 0
i | Ceilings | All types | Plasterboard and skim. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Fixed furniture and fittings | All types | Laminated timber worktop, head level wall units. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Redecoration | Internal | Emulsion walls and ceilings, stained internal joinery. | 4250 |  |  |  | 4250 |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Fittings | Stainless steel sinks in wet areas. Vitreous china w.c suites, wash hand basins with stainless steel taps. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Waste Plumbing | 40mm uPVC drainpipes. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating Distribution | Mild steel pipework to steel panel emitters. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Hot/Cold Water Distribution | Copper pipework. Electric water heaters in practical area (rm. 3) and girls WC (rm. 9). | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Ventilation | Local extract in WCs (rms. 8 & 9). Allow for cleaning by site staff. | 100 |  |  |  | 50 |  | 50 | 0 | 0 | 0 | 50 | 0 | 50
m | Electrical services | Control Gear and Equipment | Distribution board and timers in corridor (rm. 5). Allow for PPM checks | 375 |  | 75 | 75 | 75 | 75 | 75 | 0 | 75 | 75 | 75 | 75 | 75
m | Electrical services | Power and Associated Fittings | Flush PVC outlets on dado trunking in office (rm. 12). | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Lighting and Associated Fittings | Fluorescent baton luminaires. Cat 2 luminaires in offices (rms. 12 & 59). Allow for relamping | 200 |  |  | 100 |  | 100 |  | 0 | 0 | 100 | 0 | 100 | 0
m | Electrical services | Fire Alarms | Break glass call points and bells throughout. Part of main school system. Allow for PPM and include with any system upgrade noted above. | 375 |  | 75 | 75 | 75 | 75 | 75 | 0 | 75 | 75 | 75 | 75 | 75
m | Electrical services | Security Alarms / CCTV | Cirrus TS 2000 key pad and control unit in office. Passive infra red detectors in corridor. Allow for PPM checks. | 375 |  | 75 | 75 | 75 | 75 | 75 | 0 | 75 | 75 | 75 | 75 | 75
m | Electrical services | Communications Systems | Telephones in offices (rms. 12 & 59). | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Emergency Lighting | Emergency lighting in corridors and various rooms. Allow for review of provision in line with recommended lighting upgrades. | 250 |  |  |  | 250 |  |  | 0 | 0 | 0 | 250 | 0 | 0
m | Electrical services | Lifts/Hoists | A single platform lift is present in the corridor (10) and a patient hoist is fitted to the Disabled WC (68) -Ensure these are covered by PPM Checks | 625 |  | 125 | 125 | 125 | 125 | 125 | 0 | 125 | 125 | 125 | 125 | 125
r | Roofs | Flat | Insulated high tensile felt in three bays. Allow for replacement roof covering after year 5 | 2500 | [5 empty] | 2500 | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Roof lights | 1 no. aluminium and polycarbonate roof light. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | Redecoration | External | Painted timber boarded cladding. | 500 |  |  |  | 500 |  |  | 0 | 0 | 0 | 500 | 0 | 0
e | External walls, windows and doors | Walls (including finishes) | Steel frame on concrete pads, timber boarded / panelled with stippled paint effect with timber skirting. This is beginning shows signs of age and delamination of the panels. Allow for localised repairs, but for longer term allow for replacement unit to be considered. | 80000 | [5 empty] | 80000 | 0 | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Windows & Doors | Double glazed uPVC windows with top hung opening lights. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Windows & Doors | Varnished hardwood door with 1 no. single glazed panel and aluminium door furniture and kick plate. Fire door is solid flush timber door that has delaminated, allow for new door. | 200 |  |  |  | 200 |  |  | 0 | 0 | 0 | 200 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | Timber stud partitions with emulsion finish, painted softwood skirting and door frames. Allow for cyclical decorations | 1000 |  |  |  |  | 1000 |  | 0 | 0 | 0 | 0 | 1000 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | Laminated w.c cubicles. Satisfactory for age, but will require updating within 5 years. | 2500 | [5 empty] | 2500 | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Doors & Glazed Screens | Veneered softwood doors with aluminium door handles. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Floors and stairs | Floors (including finishes) | Suspended timber floor with plywood covering and vinyl non-slip covering to wet areas and porch; remaining areas carpeted. Renew floor coverings by year 5. | 1500 | [5 empty] | 1500 | 0 | 0 | 0 | 0 | 0 | 1500
i | Floors and stairs | Staircases (including finishes) | Timber steps to fire exit and entrance with timber balustrades. Allow for treatment of timbers | 200 |  |  |  | 200 |  |  | 0 | 0 | 0 | 200 | 0 | 0
i | Ceilings | All types | Painted composite board panels. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Redecoration | Internal | Emulsion ceilings/walls, stained internal doors. | 500 |  |  |  | 500 |  |  | 0 | 0 | 0 | 500 | 0 | 0
m | Sanitary services | Fittings | 1 no. stainless steel sink. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Fittings | 2 no. vitreous china w.c’s, wash hand basins with stainless steel taps. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Waste Plumbing | 40mm uPVC waste pipe. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating Controls | Heating timer in store, wall thermostats in classroom. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Hot/Cold Water Distribution | Copper pipework. Electric water heaters in ablutions. Allow for PPM of heaters | 250 |  | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50
m | Mechanical services | Gas Distribution | Gas supply to single heater. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Other | Single stand alone gas heater in classroom. Allow for PPM checks | 250 |  | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50
m | Electrical services | Control Gear and Equipment | Distribution board in store. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Power and Associated Fittings | PVC socket outlets. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Lighting and Associated Fittings | Fluorescent baton luminaires in classroom, 2D luminaires elsewhere. Allow for relamping | 100 |  |  | 50 |  | 50 |  | 0 | 0 | 50 | 0 | 50 | 0
m | Electrical services | Fire Alarms | Break glass call points at exits, bell in classroom. Part of main school system. Include with PPM checks | 125 |  | 25 | 25 | 25 | 25 | 25 | 0 | 25 | 25 | 25 | 25 | 25
m | Electrical services | Electrical Heating | Electric heaters in toilets. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Roads and Car Parks | Tarmac areas to East and North side, and tarmacked area to front, which is jointly owned with the community. Tarmac parking to NW and SE sides. Surface is poor with many potholes, allow budget for pothole repairs and in the medium term consider full resurfacing of these areas | 40500 |  |  | 500 |  |  | 40000 | 0 | 0 | 500 | 0 | 0 | 0
g | External areas | Playing fields | Large grass playing field. Reported that the pitches become very boggy and may require some drainage works to alleviate. Drainage alleviation works maybe required allowance to be made for this. | 3000 |  |  |  | 3000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Hard Playing Areas | Tarmac playing area to North East. Ponding problems which require extra drainage to alleviate and surface condition is noted as poor | 10000 |  |  |  | 10000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Paths & Pedestrian Paved Areas | Paved areas and walkways surrounding school, steps to main entrance. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Soft Landscaping | Variety of hedges, bushes and plants - well maintained. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Walls, Fences and Gates | Wire fencing and concrete posts to perimeter. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Walls, Fences and Gates | Aluminium post and wire fences to grassed area. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Outdoor Swimming Pool | Pool tank constructed in blockwork with butyl rubberised lining (renewed 1997), stainless steel steps and handrails with insulated pool cover. See swimming pool section above for recommended works. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Drainage | 100mm diameter clay drains operating satisfactory at time of survey. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0

## EFA Property
|  |  | EFA survey data | [6 empty] | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other
DFE | School | School Type | Date received | Condition rating C or D | Priority rating 1 or 2 | Element | Category | CCP rating
|  |  |  | c | 2 | Floors and stairs, Floors screed and finish, Carpet, Main school | i | ic2 | C1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | c | 2 | Floors and stairs, Staircases treads and risers, Timber, Main school | i | ic2 | C2 | 1 | 3 | 1 | 5 | 3 | 10 | 0
|  |  |  | c | 2 | Mechanical services, Heat source and equipment, Generally, Main school | m | mc2 | D1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | c | 2 | Mechanical services, Heating distribution emitters and controls, Generally, Main school | m | mc2 | D2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | c | 2 | Rredecorations, External windows and doors, Timber | w | wc2 | D3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | c | 2 | Internal ceiings, Painted, Main school | i | ic2
|  |  |  | c | 2 | Mechanical services, Heat source and equipment, Generally, Mian school | m | mc2
|  |  |  | c | 2 | Electrical srvices, Lighting system, Generally, Hall | m | mc2
|  |  |  | c | 2 | External walls windows and doors, Windows and doors, Timber, Hall | w | wc2
|  |  |  | c | 2 | Internal walls and doors, Walls and partitions- structure, Sliding/folding partition, Hall | w | wc2
|  |  |  | c | 2 | Mechanical services, Heat source and equipment, Generally, Hall | m | mc2
|  |  |  | c | 2 | Mechanical services, Heating distribution emitters and controls, Generally, Hall | m | mc2
|  |  |  | c | 2 | Redecoration, External windows dorrs etc, Timber, Hall | w | wc2
|  |  |  | c | 2 | Roofs, Coverings and insulation, Pitched roof profiled fibre cement sheet, Hall | r | rc2
|  |  |  | c | 2 | Roofs, Coverings and insulation, Pitched roof glazed areas/ rooflights, Hall | r | rc2
|  |  |  | c | 2 | Mechanical services, Heat source and equipment, Generally, Mobile | m | mc2
|  |  |  | c | 2 | Sanitary services, Generally, Generally, Mobile | m | mc2
|  |  |  | c | 2 | External walls windows and doors, Walls-structure, Timber framed curtain walling, Swimming pool | e | ec2
|  |  |  | c | 2 | Mechanical services, Heat source and equipment, Generally, Swimming pool | m | mc2
|  |  |  | c | 2 | Mechanical services, Heating distribution emitters and controls, Generally, Swimming Pool | m | mc2
|  |  |  | c | 2 | Redecoration, External windows doors etc, Timber, Swimming pool | w | wc2
|  |  |  | c | 2 | Roofs, Coveings and insulation, Pitched roof profiled fiberglass, Swimming pool | r | rc2
|  |  |  | c | 2 | External areas, Roads and car parks, Tarmac | g | gc2

## Suitability and Compliance
Space |  |  | BB103 suggested sizes
[6 empty] | Suitability Data | [18 empty] | Compliance Comparison |  |  | 1/half | Form of entry | PAN | 15
Basic Teaching Spaces |  |  | No. of spaces | m2 | Total m2 | Plan ref | Space | [17 empty] | Total area | Shortfall | Surplus | 2010 | Date of last assessment
|  | Classroom - Year R | 1 | 62 | 62 | 23 | General classroom | 50.07 | [16 empty] | 50.07 | 11.93 | 0 | Includes estimated changes since started using community centre
|  | Classroom - Year 1 | 1 | 62 | 62 | 38 | General classroom | 50.86 | [16 empty] | 50.86 | 11.14 | 0 | 2 | No. Temp Buildings on Site
|  | Classroom - Year 2 | 0 | 62 | 0 | 49 (mobile) | General classroom (mobile) | 48.48 | [16 empty] | 48.48 | 0 | 48.48 | 1 | No. of Classrooms in Temporary Buildings
|  | Classroom - Year 3 | 0 | 62 | 0 | 20, 17a | General classroom | 18.23 | 9.92 | [15 empty] | 28.15 | 0 | 28.15 | 7 | No. of Classrooms
|  | Classroom - Year 4 | 1 | 62 | 62 | 56a | General classroom | 48.49 | [16 empty] | 48.49 | 13.51 | 0 | 4 | Required No. of Classroooms
|  | Classroom - Year 5 | 0 | 62 | 0 | 2 | General classroom | 42.68 | [16 empty] | 42.68 | 0 | 42.68
|  | Classroom - Year 6 | 1 | 62 | 62 | 4, UNM | General classroom | 43.63 | 2 | [15 empty] | 45.63 | 16.37 | 0
|  | Practical area / food bay | 0 | 0 | 0 | 3 | Practical Area | 22.02 | [16 empty] | 22.02 | 0 | 22.02 | 0% | of classrooms are the recommended size
|  | ICT base | 0 | 0 | 0 | [19 empty] | 0 | 0 | 0 | 100% | of classrooms are small
[5 empty] | 248 | [19 empty] | 336.38 | 52.95 | 141.33 | 135.6% | of the recommended basic teaching space required
[27 empty] | 195.05 | 78.65% | of the recommended basic teaching space required ignoring surplus
Halls and Studios | [27 empty] | 21.35% | shortfall in basic teaching space
| 1 | Main hall | 1 | 180 | 180 | 31 | Hall | 197.45 | [16 empty] | 197.45 | 0 | 17.45
[5 empty] | 180 | [19 empty] | 197.45 | 0 | 17.45 | 109.7% | of the recommended hall size
Storage | [27 empty] | 0% | shortfall in hall size
| 1 | Coat and bag storage - Year R | 1 | 3 | 3 | 39 | Cloakroom | 2.12 | half | [15 empty] | 2.12 | 0.88 | 0
| 2 | Coat and bag storage - Year 1 | 1 | 3 | 3 | 35 | Cloakroom | 12.21 | [16 empty] | 12.21 | 0 | 9.21
| 3 | Coat and bag storage - Year 2 | 1 | 3 | 3 | 47 (mobile) | Cloakroom (mobile) | 3.42 | [16 empty] | 3.42 | 0 | 0.42
| 4 | Coat and bag storage - Year 3 | 1 | 3 | 3 | [19 empty] | 0 | 3 | 0
| 5 | Coat and bag storage - Year 4 | 1 | 3 | 3 | 26a | Part of corridor | 2.5 | [16 empty] | 2.5 | 0.5 | 0
| 6 | Coat and bag storage - Year 5 | 1 | 3 | 3 | 5 | Inc in ref 5 | 2 | [16 empty] | 2 | 1 | 0
| 7 | Coat and bag storage - Year 6 | 1 | 3 | 3 | UNG | Cloakroom | 2 | [16 empty] | 2 | 1 | 0
| 8 | Teaching storage - Year R | 1 | 2 | 2 | [19 empty] | 0 | 2 | 0
| 9 | Teaching storage - Year 1 | 1 | 2 | 2 | 41 | Store room | 2.61 | [16 empty] | 2.61 | 0 | 0.61
| 10 | Teaching storage - Year 2 | 1 | 2 | 2 | 50 (mobile) | Store room (mobile) | 3.41 | [16 empty] | 3.41 | 0 | 1.41
| 11 | Teaching storage - Year 3 | 1 | 2 | 2 | [19 empty] | 0 | 2 | 0
| 12 | Teaching storage - Year 4 | 1 | 2 | 2 | 54 | store room | 6 | [16 empty] | 6 | 0 | 4
| 13 | Teaching storage - Year 5 | 1 | 2 | 2 | 1 | Store room | 2.48 | [16 empty] | 2.48 | 0 | 0.48
| 14 | Teaching storage - Year 6 | 1 | 2 | 2 | [19 empty] | 0 | 2 | 0
| 15 | Specialist walk in stores | 3 | 5 | 15 | UNJ, 26b, 16a | Store room | 2 | 2.8 | 5.66 | [14 empty] | 10.46 | 4.54 | 0
| 18 | Indoor PE equipment storage | 1 | 18 | 18 | 32 | Store room | 18.56 | [16 empty] | 18.56 | 0 | 0.56
| 19 | Outdoor PE equipment storage | 0 | 0 | 0 | 53 | store room | 6.25 | [16 empty] | 6.25 | 0 | 6.25
|  | Bulk stock store | 1 | 4 | 4 | 16 | Store room | 7.32 | [16 empty] | 7.32 | 0 | 3.32
| 21 | Caretakers and maintenance store | 1 | 5 | 5 | 15 | Caretakers room | 16.25 | [16 empty] | 16.25 | 0 | 11.25
| 22 | Cleaning store | 1 | 3 | 3 | [19 empty] | 0 | 3 | 0
| 23 | Table and chair store | 1 | 12 | 12 | 34 | Store room | 5.74 | [16 empty] | 5.74 | 6.26 | 0
| 25 | Staging/ appliance store | 1 | 4 | 4 | [19 empty] | 0 | 4 | 0
|  | Mobility equipment store | 1 | 2 | 2 | [19 empty] | 0 | 2 | 0
| 24 | Store for community | 0 | 0 | 0 | [19 empty] | 0 | 0 | 0
[5 empty] | 98 | [19 empty] | 103.33 | 32.18 | 37.51 | 105.4% | of the recommended storage space required
Staff and admin | [27 empty] | 32.84% | shortfall
| 1 | Heads office | 1 | 12 | 12 | 73 | Heads office | 15.57 | [16 empty] | 15.57 | 0 | 3.57
| 3 | Staff room work and social | 1 | 33 | 33 | 22 | Staffroom | 17.77 | [16 empty] | 17.77 | 15.23 | 0
|  | Staff PPA | 1 | 10 | 10 | [19 empty] | 0 | 10 | 0
| 4 | Senior management office | 1 | 10 | 10 | [19 empty] | 0 | 10 | 0
| 7 | General office (reception) | 1 | 12 | 12 | 72 | Reception (office) | 20.23 | [16 empty] | 20.23 | 0 | 8.23
| 8 | Secure reception | 1 | 4 | 4 | 67, 75 | Entrance | 2.46 | 4 | [15 empty] | 6.46 | 0 | 2.46
| 9 | Reprographics room | 1 | 8 | 8 | [19 empty] | 0 | 8 | 0
| 10 | Meeting room | 0 | 0 | 0 | [19 empty] | 0 | 0 | 0
| 11 | Sick bay | 1 | 3 | 3 | [19 empty] | 0 | 3 | 0
| 13 | Interview room | 1 | 9 | 9 | [19 empty] | 0 | 9 | 0
[5 empty] | 101 | [19 empty] | 60.03 | 55.23 | 14.26 | 59.44% | of the recommended staff and admin space required
Learning resource area | [27 empty] | 54.68% | shortfall
| 1 | Library (learning resource centre) | 1 | 30 | 30 | 17 | Library | 15.61 | [16 empty] | 15.61 | 14.39 | 0
| 3 | Small group room | 3 | 11 | 33 | 56 | small group room | 16 | [16 empty] | 16 | 17 | 0
| 5 | SENco office (SEN resource) | 1 | 12 | 12 | [19 empty] | 0 | 12 | 0
| 2 | Medical inspection room/ Therapy room | 1 | 12 | 12 | 74 | MI room | 5.58 | [16 empty] | 5.58 | 6.42 | 0
[5 empty] | 87 | [19 empty] | 37.19 | 49.81 | 0 | 42.75% | of the recommended learning resource areas
Supplementary area | [27 empty] | 57.25% | shortfall
|  |  | 0 | 0 | 0 | 45 | Swimming Pool | 62.46 | [16 empty] | 62.46 | 0 | 62.46
|  |  | 0 | 0 | 0 | 46 | Garage | 10 | [16 empty] | 10 | 0 | 10
|  |  | 0 | 0 | 0 | 60 | Male pupil changing | 11.53 | [16 empty] | 11.53 | 0 | 11.53
| 1 |  | 0 | 0 | 0 | 61 | Female pupil changing | 11.42 | [16 empty] | 11.42 | 0 | 11.42
|  |  | 0 | 0 | 0 | 69 | Physiotherapy | 7.76 | [16 empty] | 7.76 | 0 | 7.76
[5 empty] | 0 | [19 empty] | 103.17 | 0 | 103.17 | - | of the recommended supplementary areas
Non net areas | [27 empty] | - | shortfall
| 1 | Reception toilets | 3 | 2 | 6 | 24, 64, | Pupil wc (multi-sex) 2 wc's | 13.84 | 6.88 | [15 empty] | 20.72 | 0 | 14.72 | 2 | Number of reception toilets
| 1 | Pupils toilets | 10 | 2 | 20 | 8, 37, 9, 40, 28, 29, 48 | pupil w.c. (11 wc's and 5 urinals) | 4.37 | 1.67 | 4.39 | 2.61 | 12.6 | 12.6 | [11 empty] | 38.24 | 0 | 18.24 | 16 | Number of other pupil toilets
| 2 | Staff toilets | 2 | 2 | 4 | 14, 16b | Staff wc (multi-sex) | 2.54 | 1.78 | [15 empty] | 4.32 | 0 | 0.32 | 66.67% | % of recommended reception toilets
| 3 | Accessible toilet | 1 | 3 | 3 | 55 | disabled wc | 4 | [16 empty] | 4 | 0 | 1 | 160% | % of recommended other pupil toilets
| 9 | Hygiene room | 1 | 12 | 12 | 68, 13 | Hygiene room | 10.4 | 7.23 | [15 empty] | 17.63 | 0 | 5.63
| 4 | Kitchen facilities (servery) | 1 | 28 | 28 | 51 | kitchen | 13.21 | [16 empty] | 13.21 | 14.79 | 0
| 5 | Corridors | - | 22.5% | 160.65 | 5, 5a, 10, 10a, 19, 19a, 19b, 25(Com Cent),25a(Com Cent) 26 (Com Cent), 31a, 39 (half), 56b, 57, 57a, 58, 71, 70, UNH, UNI | Corridor | 21.34 | 3 | 10.22 | 3.64 | 4 | 2.66 | 12.39 | 4.61 | 11.67 | 17.12 | 2 | 11.39 | 4 | 2 | 6.81 | 10 | 6 | 132.85 | 27.8 | 0
| 6 | Boiler room | 1 | 1.5% | 10.71 | 36, 42, 53, 59, 62, 65 | Plant/Meter room/Oil store/ Server | 2.4 | 8.03 | 9.01 |  | 5 | 9.01 | 8.7 | [10 empty] | 42.15 | 0 | 31.44
| 7 | Server | in boiler |  |  | - | - | [17 empty] | 0 | 0 | 0
|  | Walls | - | 4% | 28.56 | 4% | 0.018464 | [17 empty] | 0 | 28.56 | 0
[5 empty] | 272.92 | [19 empty] | 273.12 | 71.15 | 71.35 | 100.1% | of the recommended non net area
Additional area | [27 empty] | 26.07% | shortfall
|  | Nursery class | 1 | 62 | 62 | 44 | Pre school | 50 | [16 empty] | 50 | 12 | 0
|  | Quiet room | 1 | 8 | 8 | [19 empty] | 0 | 8 | 0
|  | Nursery store room | 1 | 2 | 2 | [19 empty] | 0 | 2 | 0
|  | Nursery office | 1 | 8 | 8 | [19 empty] | 0 | 8 | 0
|  | Nursery cloakroom | 1 | 3 | 3 | [19 empty] | 0 | 3 | 0
|  | Nursery pupils toilets | 3 | 2 | 6 | [19 empty] | 0 | 6 | 0
|  | Nursery staff toilets | 1 | 2 | 2 | [19 empty] | 0 | 2 | 0
|  | Nursery entrance | 1 | 22.5% | 1.8675 | [19 empty] | 0 | 1.8675 | 0
[5 empty] | 92.8675 | [19 empty] | 50 | 42.8675 | 0 | 53.84% | of the recommended additional area
[28 empty] | 46.16% | shortfall
Total Net area |  |  |  |  | 714 | [19 empty] | 837.55
Total Non-Net area |  |  |  |  | 272.92 | [19 empty] | 273.12
Gross (total build) area - excluding nursery |  |  |  |  | 986.92 | [19 empty] | 1110.67 |  |  | 112.5% | of the recommended Gross area
Gross (total build) area - including nursery |  |  |  |  | 1079.7875 | [19 empty] | 1160.67
Net Area Range |  |  |  |  | 780.5-872.5
Mid Range |  |  |  |  | 826.5
Total Site Area Range |  |  |  |  | 5494.5-68706
Mid Range |  |  |  |  | 6182.6
2
3
4

## Occupancy
Sufficiency Data
Planned Admission Number | Current Capacity | Maximum PAN | Capacity based on max PAN
15 | 105 | 15 | 105
NOR Spring Census
| 2008 / 2009 | 2009 / 2010 | 2010 / 2011 | 2011 / 2012 | 2012 / 2013 | 2013 / 2014
NOR Jan | 66 | 64 | 76 | 83 | 94 | 121
Maximum Capacity | 105 | 105 | 105 | 105 | 105 | 105
Number of Surplus Places | 39 | 41 | 29 | 22 | 11 | 0
% of surplus places | 37.1 | 39 | 27.6 | 21 | 10.5 | 0
Current Numbers on Roll (from Autumn Census)
Year group | R | 1 | 2 | 3 | 4 | 5 | 6 | Total
Number | 15 | 17 | 19 | 18 | 24 | 19 | 20 | 132

## School stats
Current Ofsted | Year
Good | 2012-05-01
2014 KS2 Performance Tables last update : (10 Dec 2014)
Year on year comparisons
Percentage achieving Level 4 or above in reading, writing and maths | 2012 | 2013 | 2014
School | 64% | 92% | 100%
LA | 71% | 71% | 76%
England - All Schools | 75% | 75% | 79%
KS2 test results and progress
| All pupils | Low attainers | Middle attainers | High attainers
Pupils eligible for KS2 assessment | 7
Percentage of pupils achieving 3 or below in reading and maths test and writing TA | 0% | NA | SUPP | SUPP
Percentage of pupils achieving level 4 or above in reading and maths test and writing TA | 100% | NA | SUPP | SUPP
Percentage of pupils achieved level 4B or above in reading and maths test and level 4 in writing TA | 71% | NA | SUPP | SUPP
Percentage of pupils achieving level 5 or above in reading and maths test and writing TA | 14% | NA | SUPP | SUPP
Percentage of pupils making at least 2 levels of progress in reading | 100% | NA | SUPP | SUPP
Percentage of pupils making at least 2 levels of progress in writing TA | 100% | NA | SUPP | SUPP
Percentage of pupils making at least 2 levels of progress in maths | 100% | NA | SUPP | SUPP
Average point score | 29.6
Disadvantaged pupils
| Disadvantaged pupils | Other pupils
Percentage of disadvantaged pupils achieving level 3 or below in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4B or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 5 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in reading | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in maths | SUPP | SUPP
Value Added measures
| Measure | Lower CI | Upper CI | Coverage
Overall value added measure | 99.9 | 98.5 | 101.3 | 100%
Reading value added measure | 100.5 | 99.1 | 102 | 100%
Writing TA value added measure | 99.9 | 98.4 | 101.5 | 100%
Maths value added measure | 99.5 | 97.7 | 101.3 | 100%
Subject level results
| Reading test | Maths test | Grammar, punctuation and spelling test | Writing TA
Percentage achieving level 3 or below | 0% | 0% | 14% | 0%
Percentage achieving Level 4 or above | 100% | 100% | 86% | 100%
Percentage achieving Level 4b or above | 100% | 71% | 86% | NA
Percentage achieving Level 5 or above | 57% | 43% | 43% | 29%
Pupil Absence last update : (11 Dec 2013)
| School | England - national (primary state-funded)
Overall absence: percentage | 4.5% | 4.8%
Persistent absence: around 15% + | SUPP | 3.6%
Please note - this year the Department will publish full year 2013/14 absence data in the performance tables in March 2015 rather than just the autumn and spring term data in December as in previous years, and we will continue to do so in future years. This is because the full year data provides the most robust indication of school absence rates.
School level information for the 2013/14 autumn and spring term only is available in our Statistical First Release here
2013-14 Finance last update : (29 Jan 2015)
Contextual information
Number of pupils (FTE) | 121
Percentage of pupils eligible for Free School Meals (FSM) | 9.9%
Free school meals eligibility band | LOW
Spend per pupil data as £ per pupil (in brackets percentage of total income or expenditure)
| School | LA Median | Non-London LAs Median | National Median
Grant funding | 4166 (99%) | 4525 | 4016 | 4325
Self generated income | 38 (1%) | 144 | 142 | 127
Total income | 4204 | 4723 | 4183 | 4479
Teaching staff | SUPP | 2277 | 2045 | 2106
Supply Staff | -3 (0%) | 87 | 118 | 127
Education support staff | SUPP | 689 | 650 | 733
Learning resources (not ICT equipment) | 50 (1%) | 181 | 174 | 184
ICT learning resources | 55 (1%) | 81 | 62 | 66
Bought in professional services - curriculum | 165 (4%) | 88 | 59 | 67
Back office (incl. Staff costs) | 245 (6%) | 406 | 334 | 351
Catering (incl. Staff costs) | 10 (0%) | 35 | 53 | 75
Premises (incl. Staff costs) | 241 (6%) | 259 | 275 | 301
Other staff costs | 71 (2%) | 153 | 133 | 142
Energy | 94 (2%) | 68 | 62 | 65
Other expenditure | 88 (2%) | 94 | 85 | 88
Total expenditure | 4110 | 4562 | 4143 | 4431
Spend per pupil data as £ per pupil : Comparisons over time
| 2010-11 | 2011-12 | 2012-13 | 2013-14
Teaching staff and Education support staff expenditure | 3628 | 3453 | 3494 | SUPP
Supply staff | 49 | 68 | 37 | -3
Back office (incl. Staff costs) | 332 | 321 | 294 | 245
Energy | 189 | 97 | 119 | 94
Total expenditure | 5161 | 4818 | 4790 | 4110
School Workforce last update : (29 Jan 2015)
This data is based upon the November 2013 School Workforce Census
| School | England - national (primary state-funded)
Headcount of all teachers in a school | 9 | 236728
Headcount of all teaching assistants in a school | 6 | 239340
Headcount of all support (exc. auxiliary) staff in a school | 2 | 77335
Full-time equivalent number of all teachers in a school | 8.5 | 207827.7
Full-time equivalent number of all teaching assistants in a school | 3.3 | 154245.3
Full-time equivalent number of all support (exc. auxiliary) staff in a school | 0.8 | 51728.3
Ratio of pupils to teachers in a school | 14.2 | 20.5
Average gross salary of all teachers in a school | 33344 | 36559
Average gross salary of all teachers in a school | 41620 | 36559

## Parental Preference
Popularity Data | [10 empty] | Children at School From School Catchment
Parental First Preference Applications | [11 empty] | 2010 | 2011 | 2012 | 2013 | 2014 |  | Catchment vs Nearest School | Catchment | Nearest
Year | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  |  | NOR | 64 | 76 | 83 | 94 | 121 |  | NOR | 132 | 132
PAN | 15 | 15 | 15 | 15 | 15 | 15 |  |  |  |  | Number | 55 | 67 | 70 | 79 | 85 |  | Total in area | 129 | 140
No. | 6 | 18.9 | 12 | 16.95 | 13.005 | 14 |  |  |  |  | % | 85.9375 | 88.1579 | 84.3373 | 84.0426 | 70.2479 |  | Number at School from area | 93 | 97
% | 40 | 126 | 80 | 113 | 86.7 | 93.3333 | [11 empty] | % at School | 70.4545 | 73.4848
[11 empty] | Total number in Catchment | [6 empty] | % of area going to School | 72.093 | 69.2857
[12 empty] | 2010 | 2011 | 2012 | 2013 | 2014
[11 empty] | Number | 100 | 105 | 110 | 114 | 114
[11 empty] | % | 100 | 100 | 100 | 100 | 100
Where children at School are coming from (from Spring Census 2014)
DCSF No. | School |  | Clifford | Ewyas Harold | Garway | Lord Scudamore | Marlbrook | Kingstone & Thruxton | Longtown | Madley | Michaelchurch Escley | Peterchurch | Canon Pyon C E | Clehonger C E | Eardisley C E | Out of County | Grand Total
2031 | Clifford | Number | 49 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 1 | 13 | 1 | 0 | 3 | 11 | 82
2031 | Clifford | % | 59.7561 | 0 | 0 | 0 | 0 | 0 | 4.878 | 0 | 1.2195 | 15.8537 | 1.2195 | 0 | 3.6585 | 13.4146 | 100
2101 | Longtown | Number | 0 | 9 | 2 | 1 | 0 | 1 | 40 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 56
2101 | Longtown | % | 0 | 16.0714 | 3.5714 | 1.7857 | 0 | 1.7857 | 71.4286 | 0 | 5.3571 | 0 | 0 | 0 | 0 | 0 | 100
2116 | Michaelchurch Escley | Number | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 15 | 3 | 0 | 1 | 0 | 0 | 20
2116 | Michaelchurch Escley | % | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 75 | 15 | 0 | 5 | 0 | 0 | 100
2122 | Peterchurch | Number | 3 | 7 | 0 | 0 | 2 | 5 | 0 | 1 | 15 | 85 | 0 | 1 | 0 | 2 | 121
2122 | Peterchurch | % | 2.4793 | 5.7851 | 0 | 0 | 1.6529 | 4.1322 | 0 | 0.82645 | 12.3967 | 70.2479 | 0 | 0.82645 | 0 | 1.6529 | 100
Where school children in the Schools Catchment area are going to (from Spring Census 2014)
DCSF No. | School |  | Clifford | Ewyas Harold | Kingstone & Thruxton | Longtown | Madley | Michaelchurch Escley | Peterchurch | Eardisley C E | Staunton-on-Wye Endowed | Grand Total
2031 | Clifford | Number | 49 | 0 | 0 | 0 | 3 | 0 | 3 | 1 | 14 | 70
2031 | Clifford | % | 70 | 0 | 0 | 0 | 4.2857 | 0 | 4.2857 | 1.4286 | 20 | 100
2101 | Longtown | Number | 4 | 1 | 0 | 40 | 0 | 0 | 0 | 0 | 0 | 45
2101 | Longtown | % | 8.8889 | 2.2222 | 0 | 88.8889 | 0 | 0 | 0 | 0 | 0 | 100
2116 | Michaelchurch Escley | Number | 1 | 2 | 1 | 3 | 1 | 15 | 15 | 0 | 3 | 41
2116 | Michaelchurch Escley | % | 2.439 | 4.878 | 2.439 | 7.3171 | 2.439 | 36.5854 | 36.5854 | 0 | 7.3171 | 100
2122 | Peterchurch | Number | 13 | 0 | 4 | 0 | 7 | 3 | 85 | 0 | 2 | 114
2122 | Peterchurch | % | 11.4035 | 0 | 3.5088 | 0 | 6.1404 | 2.6316 | 74.5614 | 0 | 1.7544 | 100

## Disability access
Physical Accessibility Rating | 3
Information from https://www.herefordshire.gov.uk/education-and-learning/schools/directory
Ratings and descriptions
Rating | Details | Description
3 | Fully accessible | Will meet the needs of all disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling); Has a full hygiene room and special educational needs or therapy room for pupils who need more assistance with personal care (including hoisting) and regular physio or other treatment
2 | Mainly accessible | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
1 | Partly accessible | Some standards met but some areas not accessible
0 | Inaccessible | No level access into building and/or no disabled toilet
Summary of physical accessibility standards
Level access into building(s): Main and pupil entrance(s) level, with ramps and hand rails as required
Level access to all curriculum and social areas (not necessarily entire building/site): including assembly hall, canteen (may be achieved by sensitive organisation and timetabling)
Access to upper floors: if required - lift(s) as alternative to steps or stairs
Toilet facilities: small disabled toilet(s) as specified by building regulations - suitable for most disabled pupils. A small number of pupils will require enhanced facilities (hygiene room) to provide greater assistance, including hoisting.
Medical, therapy or SEN room: multi-purpose or flexible use - usually required in addition to a hygiene room, for regular physio and other physical programmes
Emergency evacuation: routes should be level and unobstructed. Evacuation must be documented (using Personal Emergency Evacuation Plans - PEEPs) and practised regularly