## Cover Page
St James' CE Primary School
Summary Report
Contents
|  | Section | Page | No. of pages
St James' CE Primary School |  | Summary Data | 3 | 1
Summary Report |  | General Information and Asset Summary | 4 | 1
|  | Maintenance and Condition Summary | 5 | 2
|  | Education Funding Agency Condition Survey Data | 7 | 1
Schools Capital Investment Strategy |  | Suitability and Compliance Summary | 8 | 2
|  | School Occupancy Summary | 10 | 1
|  | School Statistics | 11 | 1
|  | Environmental Sustainability Condition | 12 | 1
|  | Parental Preference | 13 | 1
|  | Distribution of Children Attending School or Resident in its Catchmnet Area | 14 | 2
|  | Distribution of Children Attending School or Where it is the Nearest School | 16 | 2
|  | Key Services Within 2 Mile Radius of School | 18 | 1
|  | Key Services Adjacent to School | 19 | 1
|  | Disability Access | 20 | 1
Children's Wellbeing
Herefordshire Council
Plough Lane Offices
Plough Lane
HEREFORD
HR4 0LE

## Summary Info
St James' CE Primary School
Summary Report
Summary of Headline Information
Asset Summary | [5 empty] | Occupancy Summary
Gross Site Area (M2)(whole site including building):- |  | 3609.4 |  |  |  | Current Capacity (PAN 30):- |  |  |  | 210
Insurance Asset Value (£000):- |  | 616110.4315 |  |  |  | Allocated Capacity Size (PAN 30):- |  |  |  | 210
Land Asset Value (£000):- |  | 11897.2 |  |  |  | Current Occupancy:- |  |  |  | 208
Land Ownership:- | Buildings school owned, field council owned |  |  |  |  | Current Planned Admission No.:- |  |  |  | 30
[6 empty] | Current Number Over Capacity:- |  |  |  | 0
[6 empty] | Current Number Under Capacity:- |  |  |  | 2
Maintenance Expenditure Required on the School over a 5 Year Period Summary
Survey Date:- |  |  |  | 2012-05-01
Backlog Maintenance Total (£000):- | [6 empty] | 68.4402
Total Forecast Expenditure (5 years) (£000):- | [6 empty] | 31.3987
Total Potential Local Authority Forecast Expenditure (£000):- | [6 empty] | 65.3171
Total Potential School Forecast Expenditure (£000):- | [6 empty] | 34.5218
Suitability and Compliance
Required Number of Classrooms:- | [6 empty] | 7 | Required Building Footprint (M2):- |  | 1225
Actual Number of Classrooms:- | [6 empty] | 7 | Current Building Area (M2):- |  | 955.5932
Percentage of Classrooms that are the Recommended Size:- | [6 empty] | 14.2857 | Area Shortfall (M2):- |  | 269.4068
Compliance Percentage of Recommended Hall Size:- | [6 empty] | 54.4444 | Area Surplus (M2):- |  | 0
Number of Temporary Buildings on Site:- |  |  |  |  | 0 |  |  | Total Percentage Compliance:- |  | 78.0076
Number of Classrooms in Temporary Buildings:- |  |  |  |  | 0
Compliance Percentage of Recommended Reception Toilets:- | [6 empty] | 100 | Required Net Site Area (M2):- |  | 8891
Compliance Percentage of Recommended Other Pupil Toilets:- | [6 empty] | 120 | Current Net Site Area (M2):- |  | 2653.8068
Nursery on Site:- | No | [6 empty] | Area Shortfall (M2):- |  | 6237.1932
[8 empty] | Area Surplus (M2):- |  | 0
[8 empty] | Total Percentage Compliance:- |  | 29.8482
Disability Access
Rating:- | 2 |  | Details:- |  |  |  | Mainly accessible
Environmental Sustainability Condition
DEC Rating:- |  |  |  |  | No data held
Electric Consumption 2014/Child:- |  |  |  |  | 227.63
Gas Consumption 2014/Child:- |  |  |  |  | 289.0571
School Statistics
Ofsted Results:- | [8 empty] | Good
Percentage of Children Achieving KS2 Level 4 or Above in Reading, Writing and Maths in 2014:- | [8 empty] | 63
Parental Preference (2014)
Percentage of Parental First Preference Applications:- | [6 empty] | 96.6667
Total Number of Children within Catchment:- | [6 empty] | 142
Total Number of Children at School from Catchment:- | [6 empty] | 95
Percentage of Catchment at School:- | [6 empty] | 47.5
Percentage of Catchment Going to School:- | [6 empty] | 66.9014

## Report
|  |  | St James' CE Primary School | [6 empty] | St James' CE Primary School | [14 empty] | St James' CE Primary School | [7 empty] | St James' CE Primary School |  |  |  |  | St James' CE Primary School |  | St James' CE Primary School |  |  |  |  | St James' CE Primary School | [5 empty] | St James' CE Primary School |  |  | St James' CE Primary School | [8 empty] | St James' CE Primary School |  | St James' CE Primary School |  | St James' CE Primary School |  | St James' CE Primary School |  | St James' CE Primary School |  | St James' CE Primary School |  | St James' CE Primary School |  |  | St James' CE Primary School
|  |  | Summary Report | [6 empty] | Summary Report | [14 empty] | Summary Report | [7 empty] | Summary Report |  |  |  |  | Summary Report |  | Summary Report |  |  |  |  | Summary Report | [5 empty] | Summary Report |  |  | Summary Report | [8 empty] | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  |  | Summary Report
General Information |  |  |  | Maintenance and Condition Summary | [21 empty] | Education Funding Agency Condition Survey Data | [7 empty] | Suitability and Compliance Summary |  |  |  |  | Suitability and Compliance Summary (continued) |  | School Occupancy Summary |  |  |  |  | School Statistics | [5 empty] | Environmental Sustainability Condition |  |  | Parental Preference | [8 empty] | Distribution of Children Attending School or Resident in its Catchment Area |  | Distribution of Children Attending School or Resident in its Catchment Area (continued) |  | Distribution of Children Attending School or Where it is the Nearest School |  | Distribution of Children Attending School or Where it is the Nearest School (continued) |  | Key Services Within 2 Mile Radius of School |  | Key Services Adjacent to School |  | Disability Access
Maintenance and Condition Summary (continued)
School Name:- | St James' CE Primary School |  |  | Survey Date:- | 2012-05-01 |  | Survey Company:- |  | Amey |  | Key Elements and Annual Forecast Maintenance Costs and Responsibilities | [14 empty] | Date of Survey:- |  | Not Available | [5 empty] | Areas | Standard Criteria (M2) (PAN 30) | Schools Compliance (M2) | Compliance Percentage |  |  |  | Current Planned Admission No. (PAN) | Current School Capacity | Maximum PAN | Maximum Capacity Based on PAN |  | Year | KS2 Year on Year Results |  |  |  |  | Electric Consumption 2014/Child:- | 227.63 |  |  | Parental First Preference Applications | [19 empty] | Physical Accessibility Rating
Head Teacher:- | Mrs K Weston | DFE Number:- | 3332 | Year | Forecast Maintenance Costs (£ 000) | [5 empty] | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows and Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | Number of Occurences Identified Within the Report | [7 empty] | Basic Teaching Space | 434 | 400 | 92.1659 |  |  |  | 30 | 210 | 30 | 210 |  |  | School - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | LA - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | All Schools in England - Percentage Achieving Level 4 or Above in Reading, Writing and Maths |  |  | Gas Consumption 2014/Child:- | 289.0571 |  |  | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | [14 empty] | Rating: | 2
Leadership:- | Stand Alone | [24 empty] | Rating (see key below) | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other | Hall and Studio | 180 | 98 | 54.4444 | [17 empty] | PAN | 30 | 30 | 30 | 30 | 30 | 30
Address:- | St James' C E Primary School, Vicarage Road, Hereford HR1 2QN | Email:- | admin@st-james.hereford.sch.uk | Backlog | 68.4402 | [5 empty] | £ 000 | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | [8 empty] | Storage | 98 | 89.08 | 90.898 |  |  |  | Historical Numbers on Roll Data (Spring Census) | [13 empty] | Number | 39 | 28.8 | 27.9 | 28.8 | 36.99 | 29 | [14 empty] | Details: | Mainly accessible
|  |  |  | 42125 | 9.7213 |  |  | 68.4402 |  |  | Backlog | 2.0113 | 0 | 3.7991 | 0 | 2.6259 | 16.8726 | 3.922 | 0 | 4.788 | 27.2699 | 7.1513 | 0 | 0 | 0 | C1 | [7 empty] | Staff and Admin | 101 | 80.5 | 79.703 |  |  |  | Year | Total NOR | Capacity Based on PAN | Shortfall | Surplus | 2012 | 66 | 71 | 75 | [5 empty] | Percentage | 130 | 96 | 93 | 96 | 123.3 | 96.6667
|  |  |  | 42490 | 3.7991 |  |  | 9.7213 |  |  | 42125 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.8663 | 3.855 | 0 | 0 | C2 | [7 empty] | Learning Resource | 87 | 89 | 102.2989 |  |  |  | 2008 / 2009 | 201 | 210 | 0 | 9 | 2013 | 75 | 71 | 75 | [26 empty] | Description: | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
|  |  |  | 42855 | 17.8783 |  |  | 3.7991 |  |  | 42490 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.7991 | 0 | 0 | 0 | D1 | [7 empty] | Supplementary Area | 0 | 0 | - |  |  |  | 2009 / 2010 | 207 | 210 | 0 | 3 | 2014 | 63 | 76 | 79 | [5 empty] | Historical Catchment Analysis (Spring Census)
Telephone No.:- | T: 01432 273961 F: 01432 273961 | School Cluster:- | Hereford District- Aylestone Business and Enterprise College | 2018 | Not Available |  |  | 17.8783 |  |  | 42855 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.2913 | 0.5587 | 5.0283 | 0 | 0 | D2 | [7 empty] | Non Net Area | 325 | 199.0132 | 61.2348 |  |  |  | 2010 / 2011 | 196 | 210 | 0 | 14 | [9 empty] | Catchment Analysis |  |  |  | 2010 | 2011 | 2012 | 2013 | 2014
|  |  |  | 2019 | Not Available |  |  | Not Available |  |  | 2018 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | D3 | [7 empty] | Total Gross Building Area | 1225 | 955.5932 | 78.0076 |  |  |  | 2011 / 2012 | 184 | 210 | 0 | 26 | KS2 Test Results and Progress (2014) | [11 empty] | Total in Catchment | 156 | 149 | 147 | 137 | 142
[8 empty] | Not Available |  |  | 2019 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | [15 empty] | 2012 / 2013 | 184 | 210 | 0 | 26 | [12 empty] | Number at School from Catchment | 107 | 104 | 100 | 92 | 95
School Type:- | Voluntary Aided | Building Number:- | HDAC | Total | 99.8389 | [5 empty] | Totals | 2.0113 | 0 | 3.7991 | 0 | 2.6259 | 16.8726 | 3.922 | 0 | 4.788 | 39.5612 | 17.3754 | 8.8833 | 0 | 0 | *Note the information noted above has been extracted from the EFA survey focusing on elements that are C & D rated. Items with an A or B rating have been excluded. The numbers reference the quantity of elements that the survey has picked up within the relevant category | [7 empty] | Total Gross Site Area | 10116 | 3609.4 | 35.6801 |  |  |  | 2013 / 2014 | 200 | 210 | 0 | 10 | Pupils eligible for KS2 assessment |  |  |  | 24 | [7 empty] | Percentage at School from Catchment | 51.6908 | 53.0612 | 54.3478 | 50 | 47.5
Current Capacity:- | 210 | Site Area:- | 3609.4 | [30 empty] | Net Site Area (less the building area) | 8891 | 2653.8068 | 29.8482 |  |  |  | Current Occupancy | 208 | 210 | 0 | 2 | Percentage achieving level 3 or below in reading, writing and maths |  |  |  | 13 | [7 empty] | Percentage of Catchment Going to School | 68.5897 | 69.7987 | 68.0272 | 67.1533 | 66.9014
[11 empty] | Total Potential Expenditure - Local Authority (£000) | [6 empty] | 65.3171 | [27 empty] | Percentage achieving level 4 or above in reading, writing and maths |  |  |  | 63
|  |  |  | Key Elements of Forecast Maintenance | [29 empty] | Key Information (based on Building Bulletin 103) | [6 empty] | Current Occupancy Summary (Autumn Census 2014) |  |  |  |  | Percentage achieving level 4B or above in reading and maths and level 4 or above in writing |  |  |  | 54 |  |  |  |  | Catchment and Nearest School Comparison (Autumn Census 2014)
|  |  |  | Categories |  | Totals (£ 000) | [19 empty] | Key | [7 empty] | Required Number of Classrooms |  |  |  | 7 |  |  | Year Group | NOR | Shortfall | Surplus |  | Percentage achieving level 5 or above in reading, writing and maths |  |  |  | 8 | [7 empty] | Catchment vs Nearest School | Catchment | Nearest
|  |  |  | External Grounds |  | 2.0113 |  |  |  |  | Total Potential Expenditure - School (£000) | [6 empty] | 34.5218 | [7 empty] | Condition grade | Definition |  |  |  | Priority rating | Definition |  | Number of Classrooms |  |  |  | 7 |  |  | Reception | 31 | 1 | 0 |  | Percentage making expected progress in reading |  |  |  | 87 | [7 empty] | NOR | 208 | 208
|  |  |  | Roof Works |  | 3.7991 | [27 empty] | Percentage of Classrooms that are the Recommended Size |  |  |  | 14.2857 |  |  | One | 31 | 1 | 0 |  | Percentage making expected progress in writing |  |  |  | 96 | [7 empty] | Total in Area | 157 | 208
|  |  |  | External Walls |  | 19.4985 | [19 empty] | A Good | Performing as intended and operating efficiently |  |  |  | 1 | Immediate or year 1 remedial action required |  | Percentage of Classrooms that are Classed as Small |  |  |  | 57.1429 |  |  | Two | 30 | 0 | 0 |  | Percentage making expected progress in maths |  |  |  | 96 | [7 empty] | Number at School from Area | 97 | 110
|  |  |  | Windows and Doors |  | 3.922 | [27 empty] | Number of Temporary Buildings on Site |  |  |  | 0 |  |  | Three | 30 | 0 | 0 |  | Average point score |  |  |  | 27.3 | [7 empty] | Percentage at School | 46.6346 | 52.8846
|  |  |  | Internal Works |  | 44.3493 | [19 empty] | B Satisfactory | Performing as intended but exhibiting minor deterioration |  |  |  | 2 | Year 1-2 remedial action required |  | Number of Classrooms in Temporary Buildings |  |  |  | 0 |  |  | Four | 28 | 0 | 2 | [13 empty] | Percentage of area going to School | 61.7834 | 52.8846
Asset Summary |  |  |  | Mechanical and Electrical |  | 26.2587 | [27 empty] | Percentage of Recommended Reception Toilets |  |  |  | 100 |  |  | Five | 27 | 0 | 3 |  | Latest Ofsted Report Date:- |  | 2013-10-17
|  |  |  | Other (e.g. ancillary buildings) |  | 0 | [19 empty] | C Poor | Exhibiting major defects and/or not operating as intended |  |  |  | 3 | Year 3-5 remedial action required |  | Percentage of Recommended Other Pupil Toilets |  |  |  | 120 |  |  | Six | 31 | 1 | 0 |  | Ofsted Result:- |  | Good
Asset Value - Insurance (£000):- |  | 616.1104 | [38 empty] | Total | 208 | 0 | 2
Asset Value - Land (£000):- |  | 11.8972 | [23 empty] | D Bad | Life-expired and/or at serious risk of imminent failure
[39 empty] | Category | Areas Included
Land Owner:- |  | Buildings school owned, field council owned | [36 empty] | Basic Teaching Spaces | General Classrooms, ICT Rooms, Practical Areas
[39 empty] | Hall and Studio | Halls, Dining Areas
[39 empty] | Storage | Coats and Bags, Teaching, Specialist, PE Equipment, Bulk Stock, Cleaning, Caretakers and Maintenance, Tables and Chairs, Staging, Mobility Equipment
Lease Agreement / Notes:- |  | Not Known
[39 empty] | Staff and Admin | Heads and Staff Offices, Staff Room, Staff PPA,Reprographics Room, Sick Bay, Interview and Meeting Rooms, Secure Entrance
Nursery Provision:- |  | None
[39 empty] | Learning Resource | Library, Small Group Rooms, SENCO Office, Medical Inspection Room
[39 empty] | Supplementary Area | Any other specialist area at the school e.g. Music Classroom, Swimming Pool, SEN Classrooms
[39 empty] | Non Net Area | Pupil and Staff Toilets, Accessible Toilets, Hygiene Room, Kitchen, Corridors, Server Room, Boilers
[39 empty] | Additional Area | Nursery provision

## Feedback
|  | St James' CE Primary School (3332) |  |  | St James' CE Primary School (3332) |  |  | St James' CE Primary School (3332)
|  | Feedback Form |  |  | Feedback Form |  |  | Feedback Form
General Information and Asset Summary |  |  | School Occupancy Summary |  |  | Parental Preference
Do you believe the data to be accurate? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Maintenance and Condition Summary |  |  | School Statistics |  |  | Disability Access
Do you believe the data to be a fair reflection of the maintenance and condition of the school? | [5 empty] | Do you believe the data to be a fair reflection of the environmental condition of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Suitability and Compliance Summary |  |  | Environmental Sustainability Condition |  |  | Any Other Comments
Do you believe the data to be a fair reflection of the suitability and compliance issues faced by the school? | [5 empty] | Additional comments about the information provided:
Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments:
If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920
Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015

## Asset summary
Building ref number:- | HDAC
Site Area:- | 3609.4
Asset Value (Insurance):- | 616110.4315
Asset Value (Land):- | 11897.2
Land owner:- | Buildings school owned, field council owned
Lease agreement / notes:- | Not Known
DEC rating:- | No data held
Electric consumption 2014/child:- | 227.63
Gas consumption 2014/child:- | 289.0571

## Maintenance
Maintenance & Condition Summary | [5 empty] | BCIS Quarter | 2Q2012 | [11 empty] | Check | Main year totals | Summary year totals | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows & Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | BCIS quarter | BCIS uplift
Year survey undertaken |  | 2012-05-01 |  |  |  | BCIS Uplift | 1.1174 | [15 empty] | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | 1Q2009 | 1.1525
Survey company:- |  | Amey | [17 empty] | 68440.2174 | 68440.2174 | Backlog | 2011.3043 | 0 | 3799.1304 | 0 | 2625.8696 | 16872.6087 | 3922.0435 | 0 | 4788.0217 | 27269.9348 | 7151.3043 | 0 | 0 | 0 | 2Q2009 | 1.1898
[20 empty] | 9721.3043 | 9721.3043 | 2015-05-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5866.3043 | 3855 | 0 | 0 | 3Q2009 | 1.1898
[20 empty] | 3799.1304 | 3799.1304 | 2016-04-30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3799.1304 | 0 | 0 | 0 | 4Q2009 | 1.2123
[6 empty] | Year covered? | Y | Y | Y | Y | N | N | School Costs | [6 empty] | 17878.2609 | 17878.2609 | 2017-04-30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12291.3043 | 558.6957 | 5028.2609 | 0 | 0 | 1Q2010 | 1.2297
Category | Ref | Element | Recommended Works |  |  | Estimated Work Cost | Backlog | 2015-05-01 | 2016-04-30 | 2017-04-30 | 2018 | 2019 | Backlog | 2015-05-01 | 2016-04-30 | 2017-04-30 | 2018 | 2019 |  | 0 | 0 | 2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2Q2010 | 1.1789
[20 empty] | 0 | 0 | 2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3Q2010 | 1.1735
| 2.01 | External grounds - HDAC | [10 empty] | 0 | [23 empty] | 4Q2010 | 1.1682
g | 2.1.2.a | BRICK BOUNDARY WALL | The top of the wall in various places requires urgent repairs to redress missing brick slips, secure loose and re-point | KF | 1 | 700 | 700 | [5 empty] | 700 | 0 | 0 | 0 | 0 | 0 |  |  |  | Individual Category totals | 2011.3043 | 0 | 3799.1304 | 0 | 2625.8696 | 16872.6087 | 3922.0435 | 0 | 4788.0217 | 39561.2391 | 17375.4348 | 8883.2609 | 0 | 0 | 1Q2011 | 1.1735
g | 2.1.2.b | BRICK BOUNDARY WALL | Carry out isolated brick repairs and re-pointing | KF | 1 | 400 | 400 | [5 empty] | 400 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2011 | 1.1525
g | 2.1.2.c | BRICK BOUNDARY WALL | Carry out isolated brick repairs and re-pointing | KF | 1 | 400 | 400 | [5 empty] | 400 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Summary category totals | Main category totals | Check | [11 empty] | 3Q2011 | 1.1682
g | 2.1.2.e | TIMBER FENCES & GATES | Generally the fences are in good condition although minor repairs may be required in due course if no wood protection is carried out. | KF | 2 | 300 | 300 | [5 empty] | 300 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2011 | 1.1525
| 2.02 | Roofs and features - HDAC/AA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | External Grounds |  | 2011.3043 | 2011.3043 | [12 empty] | 1Q2012 | 1.1953
r | 2.2.b | MAIN ROOF - PITCHED | Roof generally is in good condition. The only works required are to replace missing, broken, slipped slates. Cost includes for access. | AB | 2 | 900 | 900 | [5 empty] | 900 | 0 | 0 | 0 | 0 | 0 |  |  | Roof Works |  | 3799.1304 | 3799.1304 | [12 empty] | 2Q2012 | 1.1174
r | 2.2.e | MAIN ROOF - GUTTERS | Clean out gutters check for leaks and carry out necessary repairs as such replacing defective sections, sealing joints, replacing joints and securing loose brackets. Works to be carried out in conjunction with roof works to utilise access cost. | AE | 2 | 750 | 750 | [5 empty] | 750 | 0 | 0 | 0 | 0 | 0 |  |  | External Walls |  | 19498.4783 | 19498.4783 | [12 empty] | 3Q2012 | 1.1525
| 2.03 | External elevations & site features - HDAC/AA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Windows & Doors |  | 3922.0435 | 3922.0435 | [12 empty] | 4Q2012 | 1.1473
e | 2.3.a | WALLS - BRICKWORK | Brickwork is generally in good condition. Recommended 40m2 of pointing in various locations | DA | 3 | 2300 | 2300 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Internal Works |  | 44349.2609 | 44349.2609 | [12 empty] | 1Q2013 | 1.0983
w | 2.3.c | WINDOWS - TIMBER | Overhaul and ease and adjust windows. Include for replacing defective ironmongery and carrying out minor repairs where required. | DC | 2 | 1200 | 1200 | [5 empty] | 1200 | 0 | 0 | 0 | 0 | 0 |  |  | Mechanical & Electrical |  | 26258.6957 | 26258.6957 | [12 empty] | 2Q2013 | 1.089
r | 2.3.f | PIPES - RAIN WATER PIPES | Overhaul and clean out to ensure leak free and free flowing | AE | 2 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0 |  |  | Other |  | 0 | 0 | [12 empty] | 3Q2013 | 1.0983
e | 2.3.h | DECORATIONS | Carry out decoration works to all areas | IA | 2 | 3500 | 3500 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2013 | 1.0798
e | 2.3.I | DECORATIONS | Carry out decoration works to all areas | IA | 2 | 9300 | 9300 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Total |  | 99838.913 | 99838.913 | [12 empty] | 1Q2014 | 1.0447
| 2.4 | Internals - HDAC/AA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2014 | 1.0198
i | 2.4.b | CEILINGS | Repairs are required to plastered ceiling where water has penetrated from above around roof lights | CA | 2 | 700 | 700 | [5 empty] | 700 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 3Q2014 | 1.028
i | 2.4.f | FLOOR FINISHES | The flooring is the main hall is lifting up in places, likely due to moisture under the floor causing the vinyl to emulsify. Recommend take up and replace in its entirety. Vinyl coved up stand in Male WC is damaged and requires repairing | BA | 1 | 6605 | 6605 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2014 | 1.0078
i | 2.4.h | DOORS AND IRONMONGERY | Recommend essential works to fire doors to conform with current standards, supply and fit missing door closures to 4nr doors (Staff room, Room 37 and Heads teachers), fire/smoke seal to 6 nr doors (Classroom 2, Main hall, staff room, reception and head teachers) | EB | 1 | 910 | 910 | [5 empty] | 910 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 1Q2015 | 1
i | 2.4.i | DOORS AND IRONMONGERY | Recommend essential works to fire doors to conform with current standards, supply and fit missing fire/smoke seal to 2 nr doors - main hall | EB | 1 | 600 | 600 | [5 empty] | 600 | 0 | 0 | 0 | 0 | 0
i | 2.4.j | DECORATIONS | Implement redecorations programme | IB | 3 | 12000 | 12000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2.5 | Roofs and features - HDAC/AB |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | 2.5.d | ROOF LIGHTS | Two roof lights are leaking and require redressing, one roof light is discoloured | AD | 2 | 900 | 900 | [5 empty] | 900 | 0 | 0 | 0 | 0 | 0
r | 2.5.f | MAIN ROOF - GUTTERS | Clean out gutters check for leaks and carry out necessary repairs as such replacing defective sections, sealing joints, replacing joints and securing loose brackets. Works to be carried out in conjunction with roof works to utilise access cost. | AE | 2 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
| 2.06 | External elevations & site features - HDAC/AB |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | 2.6.a | WALLS - BRICKWORK | Brickwork is generally in good condition. Recommended small amount of pointing in various locations and replace missing brick adjacent to the doors on the front elevation at low level | DA | 3 | 250 | 250 | [5 empty] | 250 | 0 | 0 | 0 | 0 | 0
w | 2.6.b | WINDOWS - METAL | Over haul and ease and adjust windows. Include for replacing defective ironmongery and carrying out minor repairs where required. | DC | 2 | 1000 | 1000 | [5 empty] | 1000 | 0 | 0 | 0 | 0 | 0
w | 2.6.c | WINDOWS - STONE CILLS | Cary out repair to defective stone window cill on the front elevation | DA | 2 | 110 | 110 | [5 empty] | 110 | 0 | 0 | 0 | 0 | 0
w | 2.6.d | DOORS - GLAZED METAL FRAME | Overhaul and ease and adjust doors. Include for replacing defective ironmongery and carrying out minor repairs where required. | DC | 2 | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
r | 2.6.e | PIPES - RAIN WATER PIPES | Overhaul and clean out to ensure leak free and free flowing | AE | 2 | 100 | 100 | [5 empty] | 100 | 0 | 0 | 0 | 0 | 0
i | 2.6.f | DECORATIONS | Carry out decoration works to all areas | IA | 2 | 1700 | 1700 | [5 empty] | 1700 | 0 | 0 | 0 | 0 | 0
i | 2.6.g | DECORATIONS | Carry out decoration works to all areas | IA | 2 | 3400 | 3400 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 2.07 | Internals - HDAC/AB |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 2.7.i | FLOOR FINISHES | Tiles are starting to break up and require replacing with sheet vinyl | BA | 2 | 2400 | 2400 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 2.7.j | DOORS AND IRONMONGERY | Recommend essential works to fire doors to conform with current standards, supply and fit missing fire/smoke seal to 4 nr doors (Classroom 3, 4, 12 and office) | EB | 1 | 300 | 300 | [5 empty] | 300 | 0 | 0 | 0 | 0 | 0
i | 2.7.l | DECORATIONS | Implement redecorations programme with particular attention to the toilets in the first year | IB | 4 | 6000 | 0 |  |  | 6000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
r | 2.08 | Roofs and features - HDAC/AC |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | 2.8.b | MAIN ROOF - PITCHED | Roof generally is in good condition. The only works required are to replace missing, broken, slipped slates and clean of roof moss | AB | 2 | 100 | 100 | [5 empty] | 100 | 0 | 0 | 0 | 0 | 0
r | 2.8.e | MAIN ROOF - GUTTERS | Clean out gutters check for leaks and carry out necessary repairs as such replacing defective sections, sealing joints, replacing joints and securing loose brackets. Works to be carried out in conjunction with roof works to utilise access cost. | AE | 2 | 100 | 100 | [5 empty] | 100 | 0 | 0 | 0 | 0 | 0
e | 2.09 | External elevations & site features - HDAC/AC |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | 2.9.b | WINDOWS - ALUMINIUM | Overhaul and ease and adjust windows. Include for replacing defective ironmongery and carrying out minor repairs where required. | DC | 2 | 250 | 250 | [5 empty] | 250 | 0 | 0 | 0 | 0 | 0
w | 2.9.d | DOORS - TIMBER GLAZED | Overhaul and ease and adjust windows. Include for replacing defective ironmongery and carrying out minor repairs where required. | DC | 2 | 50 | 50 | [5 empty] | 50 | 0 | 0 | 0 | 0 | 0
w | 2.9.e | DOORS - TIMBER GLAZED | Overhaul and ease and adjust windows. Include for replacing defective ironmongery and carrying out minor repairs where required. | DC | 2 | 100 | 100 | [5 empty] | 100 | 0 | 0 | 0 | 0 | 0
r | 2.9.f | PIPES - RAIN WATER PIPES | Overhaul and clean out to ensure leak free and free flowing | AE | 2 | 50 | 50 | [5 empty] | 50 | 0 | 0 | 0 | 0 | 0
e | 2.9.g | DECORATIONS | Carry out decoration works to all areas | IA | 2 | 650 | 650 | [5 empty] | 650 | 0 | 0 | 0 | 0 | 0
e | 2.9.h | DECORATIONS | Carry out decoration works to all areas | IA | 2 | 150 | 150 | [5 empty] | 150 | 0 | 0 | 0 | 0 | 0
i | 2.1 | Internals - HDAC/AC |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 2.10.f | DOORS AND IRONMONGERY | Supply and fit fire/smoke seal to door | EB | 1 | 75 | 75 | [5 empty] | 75 | 0 | 0 | 0 | 0 | 0
i | 2.10.g | DECORATIONS | Implement redecorations programme with particular attention to the toilets in the first year | IB | 4 | 2500 | 0 |  |  | 2500 |  |  | 0 | 0 | 0 | 0 | 0 | 0
r | 2.11 | Roofs and features - HDAC/AD |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | 2.11.d | MAIN ROOF - GUTTERS | Clean out gutters check for leaks and carry out necessary repairs as such replacing defective sections, sealing joints, replacing joints and securing loose brackets. Works to be carried out in conjunction with roof works to utilise access cost. | AE | 2 | 50 | 50 | [5 empty] | 50 | 0 | 0 | 0 | 0 | 0
e | 2.12 | External elevations & site features - HDAC/AD |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | 2.12.b | WINDOWS - ALUMINIUM | Overhaul and ease and adjust windows. Include for replacing defective ironmongery and carrying out minor repairs where required. | DC | 2 | 250 | 250 | [5 empty] | 250 | 0 | 0 | 0 | 0 | 0
w | 2.12.d | DOORS - ALUMINIUM GLAZED | Overhaul and ease and adjust windows. Include for replacing defective ironmongery and carrying out minor repairs where required. | DC | 2 | 50 | 50 | [5 empty] | 50 | 0 | 0 | 0 | 0 | 0
r | 2.12.e | PIPES - RAIN WATER PIPES | Overhaul and clean out to ensure leak free and free flowing | AE | 2 | 50 | 50 | [5 empty] | 50 | 0 | 0 | 0 | 0 | 0
e | 2.12.f | DECORATIONS | Carry out decoration works to all areas | IA | 2 | 900 | 900 | [5 empty] | 900 | 0 | 0 | 0 | 0 | 0
e | 2.12.g | DECORATIONS | Carry out decoration works to all areas | IA | 2 | 400 | 400 | [5 empty] | 400 | 0 | 0 | 0 | 0 | 0
i | 2.13 | Internals - HDAC/AD |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 2.13.g | DECORATIONS | Implement redecorations programme with particular attention to the toilets in the first year | IB | 4 | 2500 | 0 |  |  | 2500 |  |  | 0 | 0 | 0 | 0 | 0 | 0
| 3.1.1 | Ventilation - HDAC/AA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.1.1.a | Staffroom - Extract Ventilation | The unit is not working and requires further investigation and repair. | GE | 1 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
m | 3.1.1.b | Men & Women's WC - Extract Ventilation | The unit is in good working order and should be for the next few years, however an allowance should be made for maintenance over the next few years. | GE | 3 | 200 | 0 |  | 200 |  |  |  | 0 | 0 | 200 | 0 | 0 | 0
m | 3.1.1.c | Copy Room - Ventilation | There is no natural or mechanical ventilation within the room, mechanical ventilation required for a fresh air provision to meet building regulations. | GE | 1 | 400 | 400 | [5 empty] | 400 | 0 | 0 | 0 | 0 | 0
m | 3.1.1.d | Remedial Room - Ventilation | There is no natural or mechanical ventilation within the room, mechanical ventilation required for a fresh air provision to meet building regulations. | GE | 1 | 400 | 400 | [5 empty] | 400 | 0 | 0 | 0 | 0 | 0
m | 3.1.1.e | Boys & Girls WC - Extract Ventilation | The extract fan is an old unit, currently operating, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GE | 2 | 200 | 0 | 200 |  |  |  |  | 0 | 200 | 0 | 0 | 0 | 0
m | 3.1.2 | Heating - HDAC/AA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.1.2.a | Classroom - LTHW Heating | Radiators are old fittings, currently serviceable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 400 | 400 | [5 empty] | 400 | 0 | 0 | 0 | 0 | 0
m | 3.1.2.b | Hall - LTHW Heating | Radiators are old fittings, currently serviceable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 1000 | 1000 | [5 empty] | 1000 | 0 | 0 | 0 | 0 | 0
m | 3.1.2.c | Classroom 14 - LTHW Heating | Radiators are old fittings, currently serviceable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 400 | 400 | [5 empty] | 400 | 0 | 0 | 0 | 0 | 0
m | 3.1.2.d | Staffroom - LTHW Heating | The unit is in good working order and should be for the next few years, however an allowance should be made for maintenance over the next few years. | GB | 2 | 100 | 0 |  |  | 100 |  |  | 0 | 0 | 0 | 100 | 0 | 0
m | 3.1.3 | Domestic Water & Drainage - HDAC/AA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.1.3.a | Staff Room - Hot Water Heater | The unit is in good working order and should be for the next few years, however an allowance should be made for maintenance over the next few years. | GD | 3 | 200 | 0 | 200 |  |  |  |  | 0 | 200 | 0 | 0 | 0 | 0
m | 3.1.3.b | Men & Women's WC - Hot Water Heater | The unit is in good working order and should be for the next few years, however an allowance should be made for maintenance over the next few years. | GD | 3 | 100 | 0 |  |  | 100 |  |  | 0 | 0 | 0 | 100 | 0 | 0
m | 3.1.3.c | Classroom 17 - Hot Water Heater | The unit is in good working order and should be for the next few years, however an allowance should be made for maintenance over the next few years. | GD | 3 | 200 | 0 |  |  | 200 |  |  | 0 | 0 | 0 | 200 | 0 | 0
m | 3.2.1 | Ventilation - HDAC/AB |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.2.1.a | Classroom 7A - Ventilation | There is no natural or mechanical ventilation within the room, mechanical ventilation required for a fresh air provision to meet building regulations. | GE | 1 | 400 | 400 | [5 empty] | 400 | 0 | 0 | 0 | 0 | 0
m | 3.2.1.b | Boys WC - Ventilation | The fan is not working and requires further investigation and repair. | GE | 1 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
m | 3.2.1.c | Room 9A - Ventilation | There is no natural or mechanical ventilation within the room, mechanical ventilation required for a fresh air provision to meet building regulations. | GE | 1 | 400 | 400 | [5 empty] | 400 | 0 | 0 | 0 | 0 | 0
m | 3.2.2 | Heating - HDAC/AB |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.2.2.a | Classroom - LTHW Heating | The Radiator is not working and requires further investigation and repair. | GB | 1 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
m | 3.2.2.b | Classroom 12 - LTHW Heating | The unit is in good working order and should be for the next few years, however an allowance should be made for maintenance over the next few years. | GB | 3 | 100 | 0 |  |  | 100 |  |  | 0 | 0 | 0 | 100 | 0 | 0
m | 3.2.2.c | Classroom 3 & 4 - LTHW Heating | Radiators are old fittings, currently serviceable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 3 | 400 | 400 | [5 empty] | 400 | 0 | 0 | 0 | 0 | 0
m | 3.2.2.d | Girls WC - LTHW Heating | The unit is in good working order and should be for the next few years, however an allowance should be made for maintenance over the next few years. | GB | 3 | 100 | 0 |  | 100 |  |  |  | 0 | 0 | 100 | 0 | 0 | 0
m | 3.2.2.e | Corridor - LTHW Heating | Radiators are old fittings, currently serviceable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 3 | 400 | 400 | [5 empty] | 400 | 0 | 0 | 0 | 0 | 0
m | 3.2.2.f | Classroom 7A - LTHW Heating | The unit is in good working order and should be for the next few years, however an allowance should be made for maintenance over the next few years. | GB | 3 | 400 | 400 | [5 empty] | 400 | 0 | 0 | 0 | 0 | 0
m | 3.2.2.g | Classroom 9A - LTHW Heating | The unit is in good working order and should be for the next few years, however an allowance should be made for maintenance over the next few years. | GB | 3 | 100 | 0 |  | 100 |  |  |  | 0 | 0 | 100 | 0 | 0 | 0
m | 3.3.1 | Ventilation - HDAC/AC |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.3.1.a | WC - Extract Ventilation | The extract fan is not working and requires further investigation and repair. | GE | 1 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
m | 3.3.2 | Heating - HDAC/AC |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.3.2.a | Generally throughout block - LTHW Heating | The unit is in good working order and should be for the next few years, however an allowance should be made for maintenance over the next few years. | GB | 3 | 300 | 0 |  | 300 |  |  |  | 0 | 0 | 300 | 0 | 0 | 0
m | 3.3.3 | Domestic Water & Drainage - HDAC/AC |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.3.3.a | Generally throughout the block - Hot Water Heater | The unit is in good working order and should be for the next few years, however an allowance should be made for maintenance over the next few years. | GD | 3 | 200 | 0 |  | 200 |  |  |  | 0 | 0 | 200 | 0 | 0 | 0
m | 3.3.4 | HVAC Plant room - HDAC/AC |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.3.4.a | Plant room - Boiler | Boilers are generally in good condition and should be serviceable for the next few years, however nearing the end of the operational plant life expectancy and will require replacement as when necessary. | GA | 3 | 1000 | 0 |  | 1000 |  |  |  | 0 | 0 | 1000 | 0 | 0 | 0
m | 3.3.4.b | Plant room - Pumps | Boilers are generally in good condition and should be serviceable for the next few years, however nearing the end of the operational plant life expectancy and will require replacement as when necessary. | GB | 3 | 700 | 0 |  | 700 |  |  |  | 0 | 0 | 700 | 0 | 0 | 0
m | 3.3.4.d | Plant room - Pipework | The pipework is lacking in insulation and requires improvement. | GB | 2 | 800 | 800 | [5 empty] | 800 | 0 | 0 | 0 | 0 | 0
m | 3.3.4.e | Plant room - Valves | The valves are in good working order and should be for the next few years, however an allowance should be made for maintenance over the next few years. | GB | 3 | 800 | 0 |  | 800 |  |  |  | 0 | 0 | 800 | 0 | 0 | 0
m | 3.5.1.A | Switchgear | Replace main db, past useful life. | HA | 3 | 4500 | 0 |  |  | 4500 |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | 3.5.2.A | Lighting | Replace lighting to Entrance Lobby, corridor (1), main hall and classroom (14) suspended fittings are aging and needs upgrade. | HC | 3 | 3450 | 0 | 3450 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | 3.5.3.A | Small Power/ Data Outlets | Replace sockets that are old and past useful life. Metal clad socket are old and should be replaced. | HB | 3 | 1450 | 0 | 1450 |  |  |  |  | 0 | 1450 | 0 | 0 | 0 | 0
m | 3.5.4.A | White PVC surface mounted conduit and mini trunking. | Conduit/trunking is showing signs of aging in places. Some places the lid is becoming loose and or fallen off. | HB | 3 | 1100 | 0 | 1100 |  |  |  |  | 0 | 1100 | 0 | 0 | 0 | 0
m | 3.5.6.A | Fire Alarm System | Fire alarm zone chart needed | HD | 2 | 50 | 50 | [5 empty] | 50 | 0 | 0 | 0 | 0 | 0
m | 3.6.1.A | Lighting | Replace lighting to classroom 12 and toilets. Yellowing/dirty diffusers. | HC | 3 | 1800 | 0 | 1800 |  |  |  |  | 0 | 1800 | 0 | 0 | 0 | 0
m | 3.6.2.A | Small Power/ Data Outlets | Classroom (12) sockets aging | HB | 3 | 400 | 0 | 400 |  |  |  |  | 0 | 400 | 0 | 0 | 0 | 0
m | 3.6.3.A | White PVC surface mounted conduit | Classroom (12) conduit/mini trunking needs replacing in parts of classroom 12 | HB | 3 | 100 | 0 | 100 |  |  |  |  | 0 | 100 | 0 | 0 | 0 | 0
m | 3.7.2.A | Small Power/ Data Outlets | Single socket outlet in boiler room needs to be tested, replaced and investigated due to signs of being burnt out, may be because of overloading | HB | 2 | 150 | 150 | [5 empty] | 150 | 0 | 0 | 0 | 0 | 0

## EFA Property
|  |  | EFA survey data | [6 empty] | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other
DFE | School | School Type | Date received | Condition rating C or D | Priority rating 1 or 2 | Element | Category | CCP rating
[9 empty] | C1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | C2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D3 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Suitability and Compliance
Space |  |  | BB103 suggested sizes
[6 empty] | Suitability Data | [9 empty] | Compliance Comparison |  |  | 1 | Form of entry | PAN | 30
Basic Teaching Spaces |  |  | No. of spaces | m2 | Total m2 | Plan ref | Space | [8 empty] | Total area | Shortfall | Surplus | 2013 | Date of last assessment
|  | Classroom - Year R | 1 | 62 | 62 | 31 | General classroom | 65 | [7 empty] | 65 | 0 | 3
|  | Classroom - Year 1 | 1 | 62 | 62 | 12 | General classroom | 62 | [7 empty] | 62 | 0 | 0 | 0 | No. Temp Buildings on Site
|  | Classroom - Year 2 | 1 | 62 | 62 | 49 | General classroom | 62 | [7 empty] | 62 | 0 | 0 | 0 | No. of Classrooms in Temporary Buildings
|  | Classroom - Year 3 | 1 | 62 | 62 | 17, 17a | General classroom | 41 | 10 | [6 empty] | 51 | 11 | 0 | 7 | No. of Classrooms
|  | Classroom - Year 4 | 1 | 62 | 62 | 2 | General classroom | 49 | [7 empty] | 49 | 13 | 0 | 7 | Required No. of Classroooms
|  | Classroom - Year 5 | 1 | 62 | 62 | 3 | General classroom | 55 | [7 empty] | 55 | 7 | 0
|  | Classroom - Year 6 | 1 | 62 | 62 | 4 | General classroom | 56 | [7 empty] | 56 | 6 | 0
|  | Practical area / food bay | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0 | 14.29% | of classrooms are the recommended size
|  | ICT base | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0 | 57.14% | of classrooms are small
[5 empty] | 434 | [10 empty] | 400 | 37 | 3 | 92.17% | of the recommended basic teaching space required
[18 empty] | 397 | 91.47% | of the recommended basic teaching space required ignoring surplus
Halls and Studios | [18 empty] | 8.525% | shortfall in basic teaching space
| 1 | Main hall | 1 | 180 | 180 | 15 | Hall | 98 | [7 empty] | 98 | 82 | 0
[5 empty] | 180 | [10 empty] | 98 | 82 | 0 | 54.44% | of the recommended hall size
Storage | [18 empty] | 45.56% | shortfall in hall size
| 1 | Coat and bag storage - Year R | 1 | 3 | 3 | 32 | Cloakroom | 11 | [7 empty] | 11 | 0 | 8
| 2 | Coat and bag storage - Year 1 | 1 | 3 | 3 | 12b | Cloakroom | 10 | [7 empty] | 10 | 0 | 7
| 3 | Coat and bag storage - Year 2 | 1 | 3 | 3 | [10 empty] | 0 | 3 | 0
| 4 | Coat and bag storage - Year 3 | 1 | 3 | 3 | [10 empty] | 0 | 3 | 0
| 5 | Coat and bag storage - Year 4 | 1 | 3 | 3 | [10 empty] | 0 | 3 | 0
| 6 | Coat and bag storage - Year 5 | 1 | 3 | 3 | [10 empty] | 0 | 3 | 0
| 7 | Coat and bag storage - Year 6 | 1 | 3 | 3 | [10 empty] | 0 | 3 | 0
| 8 | Teaching storage - Year R | 1 | 2 | 2 | 33 | Store room | 9 | [7 empty] | 9 | 0 | 7
| 9 | Teaching storage - Year 1 | 1 | 2 | 2 | 12a | Store room | 2.99 | [7 empty] | 2.99 | 0 | 0.99
| 10 | Teaching storage - Year 2 | 1 | 2 | 2 | 50 | Store room | 2.99 | [7 empty] | 2.99 | 0 | 0.99
| 11 | Teaching storage - Year 3 | 1 | 2 | 2 | [10 empty] | 0 | 2 | 0
| 12 | Teaching storage - Year 4 | 1 | 2 | 2 | [10 empty] | 0 | 2 | 0
| 13 | Teaching storage - Year 5 | 1 | 2 | 2 | [10 empty] | 0 | 2 | 0
| 14 | Teaching storage - Year 6 | 1 | 2 | 2 | [10 empty] | 0 | 2 | 0
| 15 | Specialist walk in stores | 3 | 5 | 15 | 20, 47 | Store room | 15 | 5.47 | [6 empty] | 20.47 | 0 | 5.47
| 18 | Indoor PE equipment storage | 1 | 18 | 18 | [10 empty] | 0 | 18 | 0
| 19 | Outdoor PE equipment storage | 0 | 0 | 0 | 16 | Store room | 7 | [7 empty] | 7 | 0 | 7
|  | Bulk stock store | 1 | 4 | 4 | 25 | Store room | 5 | [7 empty] | 5 | 0 | 1
| 21 | Caretakers and maintenance store | 1 | 5 | 5 | [10 empty] | 0 | 5 | 0
| 22 | Cleaning store | 1 | 3 | 3 | 5 | Cleaners store room | 6 | [7 empty] | 6 | 0 | 3
| 23 | Table and chair store | 1 | 12 | 12 | 37 | Store room | 14.63 | [7 empty] | 14.63 | 0 | 2.63
| 25 | Staging/ appliance store | 1 | 4 | 4 | [10 empty] | 0 | 4 | 0
|  | Mobility equipment store | 1 | 2 | 2 | [10 empty] | 0 | 2 | 0
| 24 | Store for community | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0
[5 empty] | 98 | [10 empty] | 89.08 | 52 | 43.08 | 90.9% | of the recommended storage space required
Staff and admin | [18 empty] | 53.06% | shortfall
| 1 | Heads office | 1 | 12 | 12 | 27 | Heads office | 12 | [7 empty] | 12 | 0 | 0
| 3 | Staff room work and social | 1 | 33 | 33 | 26 | Staffroom | 27 | [7 empty] | 27 | 6 | 0
|  | Staff PPA | 1 | 10 | 10 | 24 | Staffroom | 6 | [7 empty] | 6 | 4 | 0
| 4 | Senior management office | 1 | 10 | 10 | 21 | General office | 10 | [7 empty] | 10 | 0 | 0
| 7 | General office (reception) | 1 | 12 | 12 | 22 | Reception (office) | 9 | [7 empty] | 9 | 3 | 0
| 8 | Secure reception | 1 | 4 | 4 | 23 | Entrance | 2.5 | [7 empty] | 2.5 | 1.5 | 0
| 9 | Reprographics room | 1 | 8 | 8 | 28 | Photocopying room | 14 | [7 empty] | 14 | 0 | 6
| 10 | Meeting room | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0
| 11 | Sick bay | 1 | 3 | 3 | [10 empty] | 0 | 3 | 0
| 13 | Interview room | 1 | 9 | 9 | [10 empty] | 0 | 9 | 0
[5 empty] | 101 | [10 empty] | 80.5 | 26.5 | 6 | 79.7% | of the recommended staff and admin space required
Learning resource area | [18 empty] | 26.24% | shortfall
| 1 | Library (learning resource centre) | 1 | 30 | 30 | 14 | Library | 52 | [7 empty] | 52 | 0 | 22
| 3 | Small group room | 3 | 11 | 33 | 48, 7, 9 | Small group room | 9 | 14 | 14 | [5 empty] | 37 | 0 | 4
| 5 | SENco office (SEN resource) | 1 | 12 | 12 | [10 empty] | 0 | 12 | 0
| 2 | Medical inspection room/ Therapy room | 1 | 12 | 12 | [10 empty] | 0 | 12 | 0
[5 empty] | 87 | [10 empty] | 89 | 24 | 26 | 102.3% | of the recommended learning resource areas
Supplementary area | [18 empty] | 27.59% | shortfall
| 1 |  | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0
[5 empty] | 0 | [10 empty] | 0 | 0 | 0
[16 empty] | 0 | 0 | 0 | - | of the recommended supplementary areas
Non net areas | [18 empty] | - | shortfall
| 1 | Reception toilets | 3 | 2 | 6 | 34 | Pupil wc (multi-sex) 3 wc's | 7 | [7 empty] | 7 | 0 | 1 | 3 | Number of reception toilets
| 1 | Pupils toilets | 10 | 2 | 20 | 6,8,18,19 | Pupil wc's 8 Wc's 4 urinals | 7 | 12 | 5 | 12 |  |  |  |  | 36 | 0 | 16 | 12 | Number of other pupil toilets
| 2 | Staff toilets | 2 | 2 | 4 | 29a, 29b | Staff wc (multi-sex) 2 wc's | 2 | 3 | [6 empty] | 5 | 0 | 1 | 100% | % of recommended reception toilets
| 3 | Accessible toilet | 1 | 3 | 3 | 51, 46 | Disabled w.c. | 3.66 | 3.26 | [6 empty] | 6.92 | 0 | 3.92 | 120% | % of recommended other pupil toilets
| 9 | Hygiene room | 1 | 12 | 12 | [10 empty] | 0 | 12 | 0
| 4 | Kitchen facilities (servery) | 1 | 28 | 28 | 13 | Kitchen | 16 | [7 empty] | 16 | 12 | 0
| 5 | Corridors | - | 22.5% | 202.5 | 1,10,11,10a,14a,29,30,45 | Corridor | 8.2 | 21.56 | 14.92 | 2.84 | 14.36 | 3.51 | 13.14 | 7.72 | 86.25 | 116.25 | 0
| 6 | Boiler room | 1 | 1.5% | 13.5 | 35 | Boiler room | 11 | [7 empty] | 11 | 2.5 | 0
| 7 | Server | in boiler |  |  | 13a | IT server room | 0.58 | [7 empty] | 0.58 | 0 | 0.58
|  | Walls | - | 4% | 36 |  |  | 30.2632 | [7 empty] | 30.2632 | 5.7368 | 0
[5 empty] | 325 | [10 empty] | 199.0132 | 148.4868 | 22.5 | 61.23% | of the recommended non net area
Additional area | [18 empty] | 45.69% | shortfall
|  | Nursery class | 1 | 62 | 62 | [10 empty] | 0 | 62 | 0
|  | Quiet room | 1 | 8 | 8 | [10 empty] | 0 | 8 | 0
|  | Nursery store room | 1 | 2 | 2 | [10 empty] | 0 | 2 | 0
|  | Nursery office | 1 | 8 | 8 | [10 empty] | 0 | 8 | 0
|  | Nursery cloakroom | 1 | 3 | 3 | [10 empty] | 0 | 3 | 0
|  | Nursery pupils toilets | 3 | 2 | 6 | [10 empty] | 0 | 6 | 0
|  | Nursery staff toilets | 1 | 2 | 2 | [10 empty] | 0 | 2 | 0
|  | Nursery entrance | 1 | 22.5% | 1.8675 | [10 empty] | 0 | 1.8675 | 0
[5 empty] | 92.8675 | [10 empty] | 0 | 92.8675 | 0
Total Net area |  |  |  |  | 900 | [10 empty] | 756.58
Total Non-Net area |  |  |  |  | 325 | [10 empty] | 199.0132
Gross (total build) area - excluding nursery |  |  |  |  | 1225 | [10 empty] | 955.5932 |  |  | 78.01% | of the recommended Gross area
Gross (total build) area - including nursery |  |  |  |  | 1317.8675 | [10 empty] | 955.5932
Net Area Range |  |  |  |  | 1211.0-1345.0
Mid Range |  |  |  |  | 1278
Total Site Area Range |  |  |  |  | 8991.0-11241.0
Mid Range |  |  |  |  | 10116
2
3
4

## Occupancy
Sufficiency Data
Planned Admission Number | Current Capacity | Maximum PAN | Capacity based on max PAN
30 | 210 | 30 | 210
NOR Spring Census
| 2008 / 2009 | 2009 / 2010 | 2010 / 2011 | 2011 / 2012 | 2012 / 2013 | 2013 / 2014
NOR Jan | 201 | 207 | 196 | 184 | 184 | 200
Maximum Capacity | 210 | 210 | 210 | 210 | 210 | 210
Number of Surplus Places | 9 | 3 | 14 | 26 | 26 | 10
% of surplus places | 4.3 | 1.4 | 6.7 | 12.4 | 12.4 | 4.7619
Current Numbers on Roll (from Autumn Census)
Year group | R | 1 | 2 | 3 | 4 | 5 | 6 | Total
Number | 31 | 31 | 30 | 30 | 28 | 27 | 31 | 208

## School stats
Current Ofsted | Year
Good | 2013-10-17
2014 KS2 Performance Tables last update : (10 Dec 2014)
Year on year comparisons
Percentage achieving Level 4 or above in reading, writing and maths | 2012 | 2013 | 2014
School | 66% | 75% | 63%
LA | 71% | 71% | 76%
England - All Schools | 75% | 75% | 79%
KS2 test results and progress
| All pupils | Low attainers | Middle attainers | High attainers
Pupils eligible for KS2 assessment | 24
Percentage of pupils achieving 3 or below in reading and maths test and writing TA | 13% | 33% | 0% | NA
Percentage of pupils achieving level 4 or above in reading and maths test and writing TA | 63% | 11% | 93% | NA
Percentage of pupils achieved level 4B or above in reading and maths test and level 4 in writing TA | 54% | 11% | 79% | NA
Percentage of pupils achieving level 5 or above in reading and maths test and writing TA | 8% | 0% | 7% | NA
Percentage of pupils making at least 2 levels of progress in reading | 87% | 67% | 100% | NA
Percentage of pupils making at least 2 levels of progress in writing TA | 96% | 89% | 100% | NA
Percentage of pupils making at least 2 levels of progress in maths | 96% | 89% | 100% | NA
Average point score | 27.3
Closing the Gap
| Disadvantaged pupils | Other pupils
Percentage of disadvantaged pupils achieving level 3 or below in reading and maths tests and writing TA | 38% | 0%
Percentage of disadvantaged pupils achieving level 4 or above in reading and maths tests and writing TA | 25% | 81%
Percentage of disadvantaged pupils achieving level 4B or above in reading and maths tests and writing TA | 13% | 75%
Percentage of disadvantaged pupils achieving level 5 or above in reading and maths tests and writing TA | 0% | 13%
Percentage of disadvantaged pupils making at least 2 levels of progress in reading | 75% | 93%
Percentage of disadvantaged pupils making at least 2 levels of progress in writing TA | 100% | 93%
Percentage of disadvantaged pupils making at least 2 levels of progress in maths | 88% | 100%
Value Added measures
| Measure | Lower CI | Upper CI | Coverage
Overall value added measure | 100.7 | 99.8 | 101.6 | 96%
Reading value added measure | 101.2 | 100.2 | 102.2 | 96%
Writing TA value added measure | 99.7 | 98.7 | 100.8 | 96%
Maths value added measure | 100.9 | 99.7 | 102.1 | 96%
Subject level results
| Reading test | Maths test | Grammar, punctuation and spelling test | Writing TA
Percentage achieving level 3 or below | 21% | 25% | 29% | 33%
Percentage achieving Level 4 or above | 79% | 75% | 71% | 67%
Percentage achieving Level 4b or above | 71% | 63% | 71% | NA
Percentage achieving Level 5 or above | 58% | 38% | 63% | 8%
Pupil Absence last update : (11 Dec 2013)
| School | England - national (primary state-funded)
Overall absence: percentage | 4.8% | 4.8%
Persistent absence: around 15% + | 3.7% | 3.6%
Please note - this year the Department will publish full year 2013/14 absence data in the performance tables in March 2015 rather than just the autumn and spring term data in December as in previous years, and we will continue to do so in future years. This is because the full year data provides the most robust indication of school absence rates.
School level information for the 2013/14 autumn and spring term only is available in our Statistical First Release here
2013-14 Finance last update : (10 Dec 2014)
Contextual information
Number of pupils (FTE) | 200
Percentage of pupils eligible for Free School Meals (FSM) | 4%
Free school meals eligibility band | LOW
Spend per pupil data as £ per pupil (in brackets percentage of total income or expenditure)
| School | LA Median | Non-London LAs Median | National Median
Grant funding | 3529 (97%) | 4525 | 4016 | 4325
Self generated income | 96 (3%) | 144 | 142 | 127
Total income | 3625 | 4723 | 4183 | 4479
Teaching staff | SUPP | 2277 | 2045 | 2106
Supply Staff | 82 (2%) | 87 | 118 | 127
Education support staff | SUPP | 689 | 650 | 733
Learning resources (not ICT equipment) | 202 (6%) | 181 | 174 | 184
ICT learning resources | 38 (1%) | 81 | 62 | 66
Bought in professional services - curriculum | 60 (2%) | 88 | 59 | 67
Back office (incl. Staff costs) | 301 (8%) | 406 | 334 | 351
Catering (incl. Staff costs) | 26 (1%) | 35 | 53 | 75
Premises (incl. Staff costs) | 171 (5%) | 259 | 275 | 301
Other staff costs | 166 (5%) | 153 | 133 | 142
Energy | 47 (1%) | 68 | 62 | 65
Other expenditure | 51 (1%) | 94 | 85 | 88
Total expenditure | 3587 | 4562 | 4143 | 4431
Spend per pupil data as £ per pupil : Comparisons over time
| 2010-11 | 2011-12 | 2012-13 | 2013-14
Teaching staff and Education support staff expenditure | 2607 | 2747 | 2549 | SUPP
Supply staff | 293 | 141 | 171 | 82
Back office (incl. Staff costs) | 213 | 265 | 272 | 301
Energy | 36 | 38 | 50 | 47
Total expenditure | 3788 | 3893 | 3839 | 3587
School Workforce last update : (10 Dec 2014)
This data is based upon the November 2013 School Workforce Census
| School | England - national (primary state-funded)
Headcount of all teachers in a school | 10 | 236728
Headcount of all teaching assistants in a school | 14 | 239340
Headcount of all support (exc. auxillary) staff in a school | 3 | 77335
Full-time equivalent number of all teachers in a school | 9.9 | 207827.7
Full-time equivalent number of all teaching assistants in a school | 6.7 | 154245.3
Full-time equivalent number of all support (exc. auxillary) staff in a school | 1.8 | 51728.3
Ratio of pupils to teachers in a school | 20.2 | 20.5
Average gross salary of all teachers in a school | 28731 | 36559

## Parental Preference
Popularity Data | [10 empty] | Children at School From School Catchment
Parental First Preference Applications | [11 empty] | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  | Catchment vs Nearest School |  |  |  |  | Catchment | Nearest
Year | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  |  | NOR | 207 | 196 | 184 | 184 | 200 |  |  |  | NOR |  |  |  |  | 208 | 208
PAN | 30 | 30 | 30 | 30 | 30 | 30 |  |  |  |  | Number | 107 | 104 | 100 | 92 | 95 |  |  |  | Total in area |  |  |  |  | 157 | 208
No. | 39 | 28.8 | 27.9 | 28.8 | 36.99 | 29 |  |  |  |  | % | 51.6908 | 53.0612 | 54.3478 | 50 | 47.5 |  |  |  | Number at School from area |  |  |  |  | 97 | 110
% | 130 | 96 | 93 | 96 | 123.3 | 96.6667 | [13 empty] | % at School |  |  |  |  | 46.6346 | 52.8846
[11 empty] | Total number in Catchment | [8 empty] | % of area going to School |  |  |  |  | 61.7834 | 52.8846
[12 empty] | 2010 | 2011 | 2012 | 2013 | 2014
[11 empty] | Number | 156 | 149 | 147 | 137 | 142
[11 empty] | % | 100 | 100 | 100 | 100 | 100
Where children at School are coming from (from Spring Census 2014)
DCSF No. | School |  | Almeley | Ashperton | Bredenbury | Burghill Community | Broadlands | Hampton Dene | Lord Scudamore | Marlbrook | St Martin’s | Trinity | Kingstone & Thruxton | Leominster Infants’ School | Lugwardine | Marden | Sutton | Wellington | Weobley | Withington | Bosbury C E | Burley Gate C E | Canon Pyon C E | St Mary’s C E, Credenhill | Holmer C E | Mordiford C E | St Michael's C E, Bodenham | St James’ C E | Pembridge C E | St Thomas Cantilupe C E | Riverside Primary | Out of County | Grand Total
2056 | Broadlands | Number | 0 | 0 | 0 | 0 | 121 | 4 | 3 | 0 | 3 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 3 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 3 | 0 | 12 | 2 | 0 | 156
2056 | Broadlands | % | 0 | 0 | 0 | 0 | 77.5641 | 2.5641 | 1.9231 | 0 | 1.9231 | 0 | 0 | 0 | 0 | 0.64103 | 0.64103 | 0.64103 | 0 | 1.9231 | 0 | 0 | 0 | 0.64103 | 0.64103 | 0 | 0 | 1.9231 | 0 | 7.6923 | 1.2821 | 0 | 100
2115 | Marden | Number | 0 | 0 | 1 | 0 | 4 | 0 | 5 | 0 | 3 | 0 | 0 | 2 | 0 | 36 | 1 | 25 | 0 | 1 | 0 | 0 | 2 | 0 | 1 | 0 | 5 | 1 | 0 | 0 | 0 | 0 | 87
2115 | Marden | % | 0 | 0 | 1.1494 | 0 | 4.5977 | 0 | 5.7471 | 0 | 3.4483 | 0 | 0 | 2.2989 | 0 | 41.3793 | 1.1494 | 28.7356 | 0 | 1.1494 | 0 | 0 | 2.2989 | 0 | 1.1494 | 0 | 5.7471 | 1.1494 | 0 | 0 | 0 | 0 | 100
2154 | Sutton | Number | 0 | 0 | 0 | 1 | 8 | 0 | 1 | 2 | 0 | 1 | 0 | 0 | 1 | 14 | 49 | 14 | 0 | 13 | 0 | 2 | 0 | 0 | 6 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 114
2154 | Sutton | % | 0 | 0 | 0 | 0.87719 | 7.0175 | 0 | 0.87719 | 1.7544 | 0 | 0.87719 | 0 | 0 | 0.87719 | 12.2807 | 42.9825 | 12.2807 | 0 | 11.4035 | 0 | 1.7544 | 0 | 0 | 5.2632 | 0 | 1.7544 | 0 | 0 | 0 | 0 | 0 | 100
2157 | Wellington | Number | 0 | 0 | 0 | 3 | 0 | 0 | 2 | 0 | 0 | 2 | 0 | 1 | 0 | 0 | 0 | 68 | 2 | 0 | 0 | 0 | 2 | 0 | 1 | 0 | 3 | 0 | 2 | 0 | 0 | 0 | 86
2157 | Wellington | % | 0 | 0 | 0 | 3.4884 | 0 | 0 | 2.3256 | 0 | 0 | 2.3256 | 0 | 1.1628 | 0 | 0 | 0 | 79.0698 | 2.3256 | 0 | 0 | 0 | 2.3256 | 0 | 1.1628 | 0 | 3.4884 | 0 | 2.3256 | 0 | 0 | 0 | 100
2160 | Withington | Number | 0 | 4 | 0 | 0 | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 40 | 0 | 4 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 55
2160 | Withington | % | 0 | 7.2727 | 0 | 0 | 3.6364 | 0 | 0 | 3.6364 | 0 | 0 | 0 | 0 | 0 | 1.8182 | 0 | 0 | 0 | 72.7273 | 0 | 7.2727 | 0 | 3.6364 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100
3332 | St James’ C E | Number | 1 | 0 | 0 | 0 | 11 | 11 | 3 | 6 | 29 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 0 | 2 | 2 | 0 | 95 | 0 | 31 | 4 | 0 | 200
3332 | St James’ C E | % | 0.5 | 0 | 0 | 0 | 5.5 | 5.5 | 1.5 | 3 | 14.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5 | 0.5 | 0 | 0 | 0 | 1 | 1 | 0 | 47.5 | 0 | 15.5 | 2 | 0 | 100
3392 | St Thomas Cantilupe C E | Number | 0 | 1 | 0 | 0 | 39 | 3 | 17 | 16 | 5 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 10 | 0 | 0 | 1 | 0 | 71 | 6 | 1 | 174
3392 | St Thomas Cantilupe C E | % | 0 | 0.57471 | 0 | 0 | 22.4138 | 1.7241 | 9.7701 | 9.1954 | 2.8736 | 1.1494 | 0.57471 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.57471 | 5.7471 | 0 | 0 | 0.57471 | 0 | 40.8046 | 3.4483 | 0.57471 | 100
Where school children in the Schools Catchment area are going to (from Spring Census 2014)
DCSF No. | School |  | Ashperton | Burghill Community | Broadlands | Hampton Dene | Lord Scudamore | Marlbrook | St Martin’s | Trinity | Kingstone & Thruxton | Kington | Leominster Junior | Lugwardine | Marden | Sutton | Wellington | Weobley | Wigmore | Withington | Burley Gate C E | Canon Pyon C E | St Mary’s C E, Credenhill | Holmer C E | Little Dewchurch CE | Mordiford C E | Much Birch C E | Stretton Sugwas C E | St Michael's C E, Bodenham | St Mary’s C E, Fownhope | Our Lady's RC | St Francis Xaviers RC | St James’ C E, Hereford | St Pauls CE | Staunton-on-Wye Endowed | St Thomas Cantilupe C E | Riverside | Grand Total
2056 | Broadlands | Number | 2 | 1 | 121 | 57 | 25 | 0 | 7 | 14 | 0 | 0 | 0 | 13 | 4 | 8 | 0 | 0 | 0 | 2 | 1 | 1 | 1 | 70 | 1 | 4 | 1 | 2 | 6 | 2 | 0 | 94 | 11 | 136 | 0 | 39 | 4 | 627
| Broadlands | % | 0.31898 | 0.15949 | 19.2982 | 9.0909 | 3.9872 | 0 | 1.1164 | 2.2329 | 0 | 0 | 0 | 2.0734 | 0.63796 | 1.2759 | 0 | 0 | 0 | 0.31898 | 0.15949 | 0.15949 | 0.15949 | 11.1643 | 0.15949 | 0.63796 | 0.15949 | 0.31898 | 0.95694 | 0.31898 | 0 | 14.992 | 1.7544 | 21.6906 | 0 | 6.2201 | 0.63796 | 100
2115 | Marden | Number | 2 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 36 | 14 | 0 | 0 | 0 | 1 | 1 | 0 | 2 | 0 | 0 | 2 | 0 | 0 | 9 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 72
| Marden | % | 2.7778 | 0 | 1.3889 | 0 | 0 | 1.3889 | 0 | 0 | 0 | 0 | 0 | 2.7778 | 50 | 19.4444 | 0 | 0 | 0 | 1.3889 | 1.3889 | 0 | 2.7778 | 0 | 0 | 2.7778 | 0 | 0 | 12.5 | 0 | 0 | 1.3889 | 0 | 0 | 0 | 0 | 0 | 100
2154 | Sutton | Number | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 49 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 65
| Sutton | % | 0 | 0 | 1.5385 | 1.5385 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.0769 | 1.5385 | 75.3846 | 0 | 0 | 0 | 0 | 4.6154 | 0 | 0 | 3.0769 | 0 | 0 | 0 | 0 | 4.6154 | 0 | 0 | 0 | 0 | 4.6154 | 0 | 0 | 0 | 100
2157 | Wellington | Number | 0 | 1 | 1 | 2 | 3 | 0 | 0 | 10 | 0 | 1 | 0 | 1 | 25 | 14 | 68 | 2 | 2 | 0 | 5 | 8 | 3 | 26 | 0 | 0 | 0 | 4 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 179
| Wellington | % | 0 | 0.55866 | 0.55866 | 1.1173 | 1.676 | 0 | 0 | 5.5866 | 0 | 0.55866 | 0 | 0.55866 | 13.9665 | 7.8212 | 37.9888 | 1.1173 | 1.1173 | 0 | 2.7933 | 4.4693 | 1.676 | 14.5251 | 0 | 0 | 0 | 2.2346 | 0.55866 | 0 | 0 | 0 | 0 | 0.55866 | 0.55866 | 0 | 0 | 100
2160 | Withington | Number | 16 | 0 | 3 | 7 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 30 | 1 | 13 | 0 | 0 | 0 | 40 | 9 | 0 | 0 | 6 | 0 | 11 | 0 | 0 | 5 | 2 | 0 | 3 | 3 | 3 | 0 | 0 | 0 | 154
| Withington | % | 10.3896 | 0 | 1.9481 | 4.5455 | 0 | 0 | 0 | 0.64935 | 0 | 0 | 0.64935 | 19.4805 | 0.64935 | 8.4416 | 0 | 0 | 0 | 25.974 | 5.8442 | 0 | 0 | 3.8961 | 0 | 7.1429 | 0 | 0 | 3.2468 | 1.2987 | 0 | 1.9481 | 1.9481 | 1.9481 | 0 | 0 | 0 | 100
3332 | St James’ C E, Hereford | Number | 0 | 0 | 3 | 9 | 4 | 0 | 2 | 2 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 2 | 1 | 95 | 14 | 0 | 1 | 2 | 142
| St James’ C E, Hereford | % | 0 | 0 | 2.1127 | 6.338 | 2.8169 | 0 | 1.4085 | 1.4085 | 0 | 0 | 0 | 2.1127 | 0.70423 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4085 | 0 | 0 | 0.70423 | 0 | 0 | 0 | 1.4085 | 0.70423 | 66.9014 | 9.8592 | 0 | 0.70423 | 1.4085 | 100
2002 | St Thomas Cantilupe C E | Number | 1 | 0 | 12 | 5 | 30 | 1 | 5 | 9 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 19 | 31 | 13 | 0 | 71 | 5 | 231
| St Thomas Cantilupe C E | % | 0.4329 | 0 | 5.1948 | 2.1645 | 12.987 | 0.4329 | 2.1645 | 3.8961 | 0.4329 | 0 | 0 | 0.8658 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.8225 | 0 | 0 | 0 | 0 | 0.4329 | 0 | 0 | 8.2251 | 13.4199 | 5.6277 | 0 | 30.7359 | 2.1645 | 100

## Disability access
Physical Accessibility Rating | 2
Information from https://www.herefordshire.gov.uk/education-and-learning/schools/directory
Ratings and descriptions
Rating | Details | Description
3 | Fully accessible | Will meet the needs of all disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling); Has a full hygiene room and special educational needs or therapy room for pupils who need more assistance with personal care (including hoisting) and regular physio or other treatment
2 | Mainly accessible | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
1 | Partly accessible | Some standards met but some areas not accessible
0 | Inaccessible | No level access into building and/or no disabled toilet
Summary of physical accessibility standards
Level access into building(s): Main and pupil entrance(s) level, with ramps and hand rails as required
Level access to all curriculum and social areas (not necessarily entire building/site): including assembly hall, canteen (may be achieved by sensitive organisation and timetabling)
Access to upper floors: if required - lift(s) as alternative to steps or stairs
Toilet facilities: small disabled toilet(s) as specified by building regulations - suitable for most disabled pupils. A small number of pupils will require enhanced facilities (hygiene room) to provide greater assistance, including hoisting.
Medical, therapy or SEN room: multi-purpose or flexible use - usually required in addition to a hygiene room, for regular physio and other physical programmes
Emergency evacuation: routes should be level and unobstructed. Evacuation must be documented (using Personal Emergency Evacuation Plans - PEEPs) and practised regularly