## Cover Page
St Joseph's RC Primary School
Summary Report
Contents
|  | Section | Page | No. of pages
St Joseph's RC Primary School |  | Summary Data | 3 | 1
Summary Report |  | General Information and Asset Summary | 4 | 1
|  | Maintenance and Condition Summary | 5 | 2
|  | Education Funding Agency Condition Survey Data | 7 | 1
Schools Capital Investment Strategy |  | Suitability and Compliance Summary | 8 | 2
|  | School Occupancy Summary | 10 | 1
|  | School Statistics | 11 | 1
|  | Environmental Sustainability Condition | 12 | 1
|  | Parental Preference | 13 | 1
|  | Distribution of Children Attending School or Resident in its Catchmnet Area | 14 | 2
|  | Distribution of Children Attending School or Where it is the Nearest School | 16 | 2
|  | Key Services Within 2 Mile Radius of School | 18 | 1
|  | Key Services Adjacent to School | 19 | 1
|  | Disability Access | 20 | 1
Children's Wellbeing
Herefordshire Council
Plough Lane Offices
Plough Lane
HEREFORD
HR4 0LE

## Summary Info
St Joseph's RC Primary School
Summary Report
Summary of Headline Information
Asset Summary | [5 empty] | Occupancy Summary
Gross Site Area (M2)(whole site including building):- |  | 13093.89 |  |  |  | Current Capacity (PAN 20):- |  |  |  | 140
Insurance Asset Value (£000):- |  | 1800291 |  |  |  | Allocated Capacity Size (PAN 20):- |  |  |  | 140
Land Asset Value (£000):- |  | Not Known |  |  |  | Current Occupancy:- |  |  |  | 108
Land Ownership:- | School owned |  |  |  |  | Current Planned Admission No.:- |  |  |  | 20
[6 empty] | Current Number Over Capacity:- |  |  |  | 0
[6 empty] | Current Number Under Capacity:- |  |  |  | 32
Maintenance Expenditure Required on the School over a 5 Year Period Summary
Survey Date:- |  |  |  | 2014-06-30
Backlog Maintenance Total (£000):- | [6 empty] | Not Available
Total Forecast Expenditure (5 years) (£000):- | [6 empty] | 229.9232
Total Potential Local Authority Forecast Expenditure (£000):- | [6 empty] | 200.6538
Total Potential School Forecast Expenditure (£000):- | [6 empty] | 29.2694
Suitability and Compliance
Required Number of Classrooms:- | [6 empty] | 5 | Required Building Footprint (M2):- |  | 974.92
Actual Number of Classrooms:- | [6 empty] | 4 | Current Building Area (M2):- |  | 994.3504
Percentage of Classrooms that are the Recommended Size:- | [6 empty] | 50 | Area Shortfall (M2):- |  | 0
Compliance Percentage of Recommended Hall Size:- | [6 empty] | 160.6389 | Area Surplus (M2):- |  | 19.4304
Number of Temporary Buildings on Site:- |  |  |  |  | 0 |  |  | Total Percentage Compliance:- |  | 101.993
Number of Classrooms in Temporary Buildings:- |  |  |  |  | 0
Compliance Percentage of Recommended Reception Toilets:- | [6 empty] | 66.6667 | Required Net Site Area (M2):- |  | 6518.88
Compliance Percentage of Recommended Other Pupil Toilets:- | [6 empty] | 266.6667 | Current Net Site Area (M2):- |  | 12099.5396
Nursery on Site:- | Yes | [6 empty] | Area Shortfall (M2):- |  | 0
[8 empty] | Area Surplus (M2):- |  | 5580.6596
[8 empty] | Total Percentage Compliance:- |  | 185.6076
Disability Access
Rating:- | 2 |  | Details:- |  |  |  | Mainly accessible
Environmental Sustainability Condition
DEC Rating:- |  |  |  |  | C
Electric Consumption 2014/Child:- |  |  |  |  | 269.3776
Gas Consumption 2014/Child:- |  |  |  |  | 303.3857
School Statistics
Ofsted Results:- | [8 empty] | Good
Percentage of Children Achieving KS2 Level 4 or Above in Reading, Writing and Maths in 2014:- | [8 empty] | 100
Parental Preference (2014)
Percentage of Parental First Preference Applications:- | [6 empty] | 95
Total Number of Children within Catchment:- | [6 empty] | Not Available
Total Number of Children at School from Catchment:- | [6 empty] | Not Available
Percentage of Catchment at School:- | [6 empty] | Not Available
Percentage of Catchment Going to School:- | [6 empty] | Not Available

## Report
|  |  | St Joseph's RC Primary School | [6 empty] | St Joseph's RC Primary School | [14 empty] | St Joseph's RC Primary School | [7 empty] | St Joseph's RC Primary School |  |  |  |  | St Joseph's RC Primary School |  | St Joseph's RC Primary School |  |  |  |  | St Joseph's RC Primary School | [5 empty] | St Joseph's RC Primary School |  |  | St Joseph's RC Primary School | [8 empty] | St Joseph's RC Primary School |  | St Joseph's RC Primary School |  | St Joseph's RC Primary School |  | St Joseph's RC Primary School |  | St Joseph's RC Primary School |  | St Joseph's RC Primary School |  | St Joseph's RC Primary School |  |  | St Joseph's RC Primary School
|  |  | Summary Report | [6 empty] | Summary Report | [14 empty] | Summary Report | [7 empty] | Summary Report |  |  |  |  | Summary Report |  | Summary Report |  |  |  |  | Summary Report | [5 empty] | Summary Report |  |  | Summary Report | [8 empty] | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  |  | Summary Report
General Information |  |  |  | Maintenance and Condition Summary | [21 empty] | Education Funding Agency Condition Survey Data | [7 empty] | Suitability and Compliance Summary |  |  |  |  | Suitability and Compliance Summary (continued) |  | School Occupancy Summary |  |  |  |  | School Statistics | [5 empty] | Environmental Sustainability Condition |  |  | Parental Preference | [8 empty] | Distribution of Children Attending School or Resident in its Catchment Area |  | Distribution of Children Attending School or Resident in its Catchment Area (continued) |  | Distribution of Children Attending School or Where it is the Nearest School |  | Distribution of Children Attending School or Where it is the Nearest School (continued) |  | Key Services Within 2 Mile Radius of School |  | Key Services Adjacent to School |  | Disability Access
Maintenance and Condition Summary (continued)
School Name:- | St Joseph's RC Primary School |  |  | Survey Date:- | 2014-06-30 |  | Survey Company:- |  | Hub |  | Key Elements and Annual Forecast Maintenance Costs and Responsibilities | [14 empty] | Date of Survey:- |  | Not Available | [5 empty] | Areas | Standard Criteria (M2) (PAN 20) | Schools Compliance (M2) | Compliance Percentage |  |  |  | Current Planned Admission No. (PAN) | Current School Capacity | Maximum PAN | Maximum Capacity Based on PAN |  | Year | KS2 Year on Year Results |  |  |  |  | Electric Consumption 2014/Child:- | 269.3776 |  |  | Parental First Preference Applications | [19 empty] | Physical Accessibility Rating
Head Teacher:- | Mr C Lambert - Executive Headteacher | DFE Number:- | 3372 | Year | Forecast Maintenance Costs (£ 000) | [5 empty] | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows and Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | Number of Occurences Identified Within the Report | [7 empty] | Basic Teaching Space | 310 | 267.68 | 86.3484 |  |  |  | 20 | 140 | 16 | 112 |  |  | School - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | LA - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | All Schools in England - Percentage Achieving Level 4 or Above in Reading, Writing and Maths |  |  | Gas Consumption 2014/Child:- | 303.3857 |  |  | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | [14 empty] | Rating: | 2
Leadership:- | Federated with St Mary's R C High School | [24 empty] | Rating (see key below) | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other | Hall and Studio | 180 | 289.15 | 160.6389 | [17 empty] | PAN | 20 | 20 | 20 | 20 | 20 | 20
Address:- | St Joseph's RC Primary School, The Avenue, Ross-on-Wye, Herefordshire HR9 5AW | Email:- | admin@st-josephs.hereford.sch.uk | Backlog | Not Available | [5 empty] | £ 000 | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | [8 empty] | Storage | 76 | 94.3 | 124.0789 |  |  |  | Historical Numbers on Roll Data (Spring Census) | [13 empty] | Number | 14 | 9 | 8 | 20 | 11 | 19 | [14 empty] | Details: | Mainly accessible
|  |  |  | 2015-06-30 | 2.4221 |  |  | Not Available |  |  | Backlog | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | C1 | [7 empty] | Staff and Admin | 78 | 66.63 | 85.4231 |  |  |  | Year | Total NOR | Capacity Based on PAN | Shortfall | Surplus | 2012 | 100 | 71 | 75 | [5 empty] | Percentage | 70 | 45 | 40 | 100 | 55 | 95
|  |  |  | 2016-06-29 | 79.7516 |  |  | 2.4221 |  |  | 2015-06-30 | 1.5298 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.89236 | 0 | 0 | 0 | C2 | [7 empty] | Learning Resource | 70 | 66 | 94.2857 |  |  |  | 2008 / 2009 | 103 | 140 | 0 | 37 | 2013 | 100 | 71 | 75 | [26 empty] | Description: | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
|  |  |  | 2017-06-29 | 30.1363 |  |  | 79.7516 |  |  | 2016-06-29 | 0 | 0 | 1.6827 | 0 | 0.50992 | 5.0992 | 0 | 58.131 | 0.73938 | 10.1984 | 3.391 | 0 | 0 | 0 | D1 | [7 empty] | Supplementary Area | 0 | 0 | - |  |  |  | 2009 / 2010 | 106 | 140 | 0 | 34 | 2014 | 100 | 76 | 79 | [5 empty] | Historical Catchment Analysis (Spring Census)
Telephone No.:- | T: 01989 564655 F: 01989 565841 | School Cluster:- | Roman Catholic Cluster- St Mary's RC High School | 2018-06-29 | 5.9916 |  |  | 30.1363 |  |  | 2017-06-29 | 0 | 0 | 0 | 2.0397 | 0 | 10.1984 | 0 | 0 | 4.1559 | 12.748 | 0.99435 | 0 | 0 | 0 | D2 | [7 empty] | Non Net Area | 260.92 | 210.5904 | 80.7107 |  |  |  | 2010 / 2011 | 96 | 140 | 0 | 44 | [9 empty] | Catchment Analysis | Parental First Preference Applications 2012: 2010; Parental First Preference Applications 2013: 2011; Parental First Preference Applications 2014: 2012 | 2013 | 2014
|  |  |  | 2019-06-29 | 111.6216 |  |  | 5.9916 |  |  | 2018-06-29 | 0 | 0 | 0.91786 | 0 | 0 | 0 | 0 | 0 | 4.1813 | 0 | 0.89236 | 0 | 0 | 0 | D3 | [7 empty] | Total Gross Building Area | 974.92 | 994.3504 | 101.993 |  |  |  | 2011 / 2012 | 89 | 140 | 0 | 51 | KS2 Test Results and Progress (2014) | [11 empty] | Total in Catchment | NA | NA | NA | NA | NA
[8 empty] | 111.6216 |  |  | 2019-06-29 | 0 | 0 | 0.76488 | 17.8472 | 0.50992 | 25.496 | 1.5298 | 0 | 4.1049 | 17.3373 | 2.4731 | 41.5585 | 0 | 0 | [15 empty] | 2012 / 2013 | 96 | 140 | 0 | 44 | [12 empty] | Number at School from Catchment | NA | NA | NA | NA | NA
School Type:- | Voluntary Aided | Building Number:- | UGAL | Total | 229.9232 | [5 empty] | Totals | 1.5298 | 0 | 3.3655 | 19.8869 | 1.0198 | 40.7937 | 1.5298 | 58.131 | 13.1814 | 40.2837 | 8.6432 | 41.5585 | 0 | 0 | *Note the information noted above has been extracted from the EFA survey focusing on elements that are C & D rated. Items with an A or B rating have been excluded. The numbers reference the quantity of elements that the survey has picked up within the relevant category | [7 empty] | Total Gross Site Area | 7493.8 | 13093.89 | 174.7296 |  |  |  | 2013 / 2014 | 98 | 140 | 0 | 42 | Pupils eligible for KS2 assessment |  |  |  | 16 | [7 empty] | Percentage at School from Catchment | NA | NA | NA | NA | NA
Current Capacity:- | 140 | Site Area:- | 13093.89 | [30 empty] | Net Site Area (less the building area) | 6518.88 | 12099.5396 | 185.6076 |  |  |  | Current Occupancy | 108 | 140 | 0 | 32 | Percentage achieving level 3 or below in reading, writing and maths |  |  |  | 0 | [7 empty] | Percentage of Catchment Going to School | NA | NA | NA | NA | NA
[11 empty] | Total Potential Expenditure - Local Authority (£000) | [6 empty] | 200.6538 | [27 empty] | Percentage achieving level 4 or above in reading, writing and maths |  |  |  | 100
|  |  |  | Key Elements of Forecast Maintenance | [29 empty] | Key Information (based on Building Bulletin 103) | [6 empty] | Current Occupancy Summary (Autumn Census 2014) |  |  |  |  | Percentage achieving level 4B or above in reading and maths and level 4 or above in writing |  |  |  | 81 |  |  |  |  | Catchment and Nearest School Comparison (Autumn Census 2014)
|  |  |  | Categories |  | Totals (£ 000) | [19 empty] | Key | [7 empty] | Required Number of Classrooms |  |  |  | 5 |  |  | Year Group | NOR | Shortfall | Surplus |  | Percentage achieving level 5 or above in reading, writing and maths |  |  |  | 25 | [5 empty] | Parental First Preference Applications 2011: Catchment vs Nearest School; Parental First Preference Applications 2012: Catchment; Parental First Preference Applications 2013: Nearest
|  |  |  | External Grounds |  | 1.5298 |  |  |  |  | Total Potential Expenditure - School (£000) | [6 empty] | 29.2694 | [7 empty] | Condition grade | Definition |  |  |  | Priority rating | Definition |  | Number of Classrooms |  |  |  | 4 |  |  | Reception | 24 | 4 | 0 |  | Percentage making expected progress in reading |  |  |  | 100 | [5 empty] | Parental First Preference Applications 2011: NOR; Parental First Preference Applications 2012: 108; Parental First Preference Applications 2013: 108
|  |  |  | Roof Works |  | 23.2524 | [27 empty] | Percentage of Classrooms that are the Recommended Size |  |  |  | 50 |  |  | One | 13 | 0 | 7 |  | Percentage making expected progress in writing |  |  |  | 100 | [5 empty] | Parental First Preference Applications 2011: Total in Area; Parental First Preference Applications 2012: NA; Parental First Preference Applications 2013: 191
|  |  |  | External Walls |  | 41.8135 | [19 empty] | A Good | Performing as intended and operating efficiently |  |  |  | 1 | Immediate or year 1 remedial action required |  | Percentage of Classrooms that are Classed as Small |  |  |  | 50 |  |  | Two | 20 | 0 | 0 |  | Percentage making expected progress in maths |  |  |  | 100 | [5 empty] | Parental First Preference Applications 2011: Number at School from Area; Parental First Preference Applications 2012: NA; Parental First Preference Applications 2013: 26
|  |  |  | Windows and Doors |  | 59.6607 | [27 empty] | Number of Temporary Buildings on Site |  |  |  | 0 |  |  | Three | 10 | 0 | 10 |  | Average point score |  |  |  | 29.6 | [5 empty] | Parental First Preference Applications 2011: Percentage at School; Parental First Preference Applications 2012: NA; Parental First Preference Applications 2013: 24.0741
|  |  |  | Internal Works |  | 53.4652 | [19 empty] | B Satisfactory | Performing as intended but exhibiting minor deterioration |  |  |  | 2 | Year 1-2 remedial action required |  | Number of Classrooms in Temporary Buildings |  |  |  | 0 |  |  | Four | 13 | 0 | 7 | [11 empty] | Parental First Preference Applications 2011: Percentage of area going to School; Parental First Preference Applications 2012: NA; Parental First Preference Applications 2013: 13.6126
Asset Summary |  |  |  | Mechanical and Electrical |  | 50.2017 | [27 empty] | Percentage of Recommended Reception Toilets |  |  |  | 66.6667 |  |  | Five | 15 | 0 | 5 |  | Latest Ofsted Report Date:- |  | 2014-03-27
|  |  |  | Other (e.g. ancillary buildings) |  | 0 | [19 empty] | C Poor | Exhibiting major defects and/or not operating as intended |  |  |  | 3 | Year 3-5 remedial action required |  | Percentage of Recommended Other Pupil Toilets |  |  |  | 266.6667 |  |  | Six | 13 | 0 | 7 |  | Ofsted Result:- |  | Good
Asset Value - Insurance (£000):- |  | 1800.291 | [38 empty] | Total | 108 | 0 | 32
Asset Value - Land (£000):- |  | Not Known | [23 empty] | D Bad | Life-expired and/or at serious risk of imminent failure
Land Owner:- |  | School owned | [36 empty] | Category | Areas Included
[39 empty] | Basic Teaching Spaces | General Classrooms, ICT Rooms, Practical Areas
[39 empty] | Hall and Studio | Halls, Dining Areas
Lease Agreement / Notes:- |  | Not Known | [36 empty] | Storage | Coats and Bags, Teaching, Specialist, PE Equipment, Bulk Stock, Cleaning, Caretakers and Maintenance, Tables and Chairs, Staging, Mobility Equipment
Nursery Provision:- |  | PVI Nursery | [36 empty] | Staff and Admin | Heads and Staff Offices, Staff Room, Staff PPA,Reprographics Room, Sick Bay, Interview and Meeting Rooms, Secure Entrance
[39 empty] | Learning Resource | Library, Small Group Rooms, SENCO Office, Medical Inspection Room
[39 empty] | Supplementary Area | Any other specialist area at the school e.g. Music Classroom, Swimming Pool, SEN Classrooms
[39 empty] | Non Net Area | Pupil and Staff Toilets, Accessible Toilets, Hygiene Room, Kitchen, Corridors, Server Room, Boilers
[39 empty] | Additional Area | Nursery provision
Updated Suitability assessment to be undertaken
Updated Suitability assessment to be undertaken

## Feedback
|  | St Joseph's RC Primary School |  |  | St Joseph's RC Primary School |  |  | St Joseph's RC Primary School
|  | Feedback Form |  |  | Feedback Form |  |  | Feedback Form
General Information and Asset Summary |  |  | School Occupancy Summary |  |  | Parental Preference
Do you believe the data to be accurate? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Maintenance and Condition Summary |  |  | School Statistics |  |  | Disability Access
Do you believe the data to be a fair reflection of the maintenance and condition of the school? | [5 empty] | Do you believe the data to be a fair reflection of the environmental condition of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Suitability and Compliance Summary |  |  | Environmental Sustainability Condition |  |  | Any Other Comments
Do you believe the data to be a fair reflection of the suitability and compliance issues faced by the school? | [5 empty] | Additional comments about the information provided:
Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments:
If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920
Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015

## Asset summary
Building ref number:- | UGAL
Site Area:- | 13093.89
Asset Value (Insurance):- | 1800291
Asset Value (Land):- | Not Known
Land owner:- | School owned
Lease agreement / notes:- | Not Known
DEC rating:- | C
Electric consumption 2014/child:- | 269.3776
Gas consumption 2014/child:- | 303.3857

## Maintenance
Maintenance & Condition Summary |  |  |  | BCIS Quarter | 2Q2014 | [11 empty] | Check | Main year totals | Summary year totals | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows & Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | BCIS quarter | BCIS uplift
Year survey undertaken |  | 2014-06-30 |  | BCIS Uplift | 1.0198 | [15 empty] | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | 1Q2009 | 1.1525
Survey company:- |  | Hub | [15 empty] | 0 | 0 | Backlog | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2Q2009 | 1.1898
[18 empty] | 2422.123 | 2422.123 | 2015-06-30 | 1529.7619 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 892.3611 | 0 | 0 | 0 | 3Q2009 | 1.1898
[18 empty] | 79751.5873 | 79751.5873 | 2016-06-29 | 0 | 0 | 1682.7381 | 0 | 509.9206 | 5099.2063 | 0 | 58130.9524 | 739.3849 | 10198.4127 | 3390.9722 | 0 | 0 | 0 | 4Q2009 | 1.2123
|  |  |  | Year covered? | N | Y | Y | Y | Y | Y | School Costs | [6 empty] | 30136.3095 | 30136.3095 | 2017-06-29 | 0 | 0 | 0 | 2039.6825 | 0 | 10198.4127 | 0 | 0 | 4155.8532 | 12748.0159 | 994.3452 | 0 | 0 | 0 | 1Q2010 | 1.2297
Category | Ref | Element | Recommended Works | Estimated Work Cost | Backlog | 2015-06-30 | 2016-06-29 | 2017-06-29 | 2018-06-29 | 2019-06-29 | Backlog | 2015-06-30 | 2016-06-29 | 2017-06-29 | 2018-06-29 | 2019-06-29 |  | 5991.5675 | 5991.5675 | 2018-06-29 | 0 | 0 | 917.8571 | 0 | 0 | 0 | 0 | 0 | 4181.3492 | 0 | 892.3611 | 0 | 0 | 0 | 2Q2010 | 1.1789
[18 empty] | 111621.627 | 111621.627 | 2019-06-29 | 0 | 0 | 764.881 | 17847.2222 | 509.9206 | 25496.0317 | 1529.7619 | 0 | 4104.8611 | 17337.3016 | 2473.1151 | 41558.5317 | 0 | 0 | 3Q2010 | 1.1735
r | Roofs | Flat | Insulated flat roof which has been replaced in recent years, allow for replacement in approx 10 years. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2010 | 1.1682
r | Roofs | Chimneys | 2 no. coated aluminium flues serving the Boiler Room. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Individual Category totals | 1529.7619 | 0 | 3365.4762 | 19886.9048 | 1019.8413 | 40793.6508 | 1529.7619 | 58130.9524 | 13181.4484 | 40283.7302 | 8643.1548 | 41558.5317 | 0 | 0 | 1Q2011 | 1.1735
r | Roofs | Roof lights | 4 no. domed fibreglass roof lights approximately 2m x 1m with up stands. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2011 | 1.1525
r | Roofs | Roof lights | 4 no. fibreglass roof lights approximately 1m x 1m with up stands. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Summary category totals | Main category totals | Check | [11 empty] | 3Q2011 | 1.1682
r | Roofs | Roof lights | 3 no. square felted blanked off roof lights. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2011 | 1.1525
r | Roofs | Roof Drainage | Fibreglass hopper heads and 110mm plastic downpipes. Allow for regular clearing. | 1000 |  |  | 500 |  | 500 |  | 0 | 0 | 500 | 0 | 500 | 0 |  |  | External Grounds |  | 1529.7619 | 1529.7619 | [12 empty] | 1Q2012 | 1.1953
r | Roofs | Other | UPVC clad water storage Tank Room with maintenance free finish. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Roof Works |  | 23252.381 | 23252.381 | [12 empty] | 2Q2012 | 1.1174
e | Redecoration | External | Painted softwood windows and 1m deep fascias. Blistering and flaking paintwork (wet rot to a number of areas need to be treated prior to redecoration, particularly on South elevation, Classroom 25). These require repair and re-decoration in the short term, if funding permits consideration should be given to replacement with UPVC fascia boards to reduce maintenance costs | 30000 |  |  | 5000 |  |  | 25000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | External Walls |  | 41813.4921 | 41813.4921 | [12 empty] | 3Q2012 | 1.1525
e | External walls, windows and doors | Walls (including finishes) | Load bearing cavity masonry walling with roughcast rendered panels below windows. Allow for cyclical decoration of rendered panels, consideration should be given to replacement of these if timber windows are replaced. Cost for replacement included in window replacement below. | 2000 |  |  |  | 2000 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Windows & Doors |  | 59660.7143 | 59660.7143 | [12 empty] | 4Q2012 | 1.1473
w | External walls, windows and doors | Windows & Doors | Single glazed softwood windows, extensive rot to many areas; critical areas upgraded with safety film. Generally windows are single and, therefore, of poor thermal efficiency with extensive and frequent periodic maintenance required. It is, therefore, recommended that a phased programme of replacement be undertaken, starting on southerly elevations, which are in worse condition due to prevailing weather. | 45000 |  |  | 45000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Internal Works |  | 53465.1786 | 53465.1786 | [12 empty] | 1Q2013 | 1.0983
w | External walls, windows and doors | Windows & Doors | External doors - Timber doors with single glazed panels, are reaching the end of their life and will require replacement within the next 5 years, allow to be replaced as overall works package with timber windows as noted above. If not replaced allow for re-decoration by year 3 - Allow £3K for this work | 12000 |  |  | 12000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Mechanical & Electrical |  | 50201.6865 | 50201.6865 | [12 empty] | 2Q2013 | 1.089
i | Internal walls and doors | Walls & Partitions (including finishes) | Plastered, emulsion load bearing masonry internal walls. Tiled finish to Staff Kitchen area. Allow for cyclical decoration. Also noted was low level damage and cracking to wall in corridor (rm31), this will need to be repaired and monitored small cost allowance made in year 2. | 5200 |  |  | 200 | 5000 |  |  | 0 | 0 | 200 | 0 | 0 | 0 |  |  | Other |  | 0 | 0 | [12 empty] | 3Q2013 | 1.0983
i | Internal walls and doors | Walls & Partitions (including finishes) | Half-height tiled ceramic finish in Boys and Girls Toilets. Allow for clean and regrouting by year 5 | 300 | [5 empty] | 300 | 0 | 0 | 0 | 0 | 0 | 300 | [18 empty] | 4Q2013 | 1.0798
i | Internal walls and doors | Walls & Partitions (including finishes) | Melamine-faced WC cubicle partitions to Boys and Girls Toilets. Replaced in recent years | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Total |  | 229923.2143 | 229923.2143 | [12 empty] | 1Q2014 | 1.0447
i | Internal walls and doors | Doors & Glazed Screens | Hollow flush doors with silver anodised aluminium lever handles, inset mortise locks. Allow for cyclical decoration | 1800 |  |  |  |  | 1800 |  | 0 | 0 | 0 | 0 | 1800 | 0 | [18 empty] | 2Q2014 | 1.0198
i | Internal walls and doors | Doors & Glazed Screens | Solid flush internal doors to classrooms with Georgian-wired vision panels, silver anodised aluminium lever handles and ‘Briton’ overhead closers. Allow for cyclical decoration. | 1800 |  |  |  |  | 1800 |  | 0 | 0 | 0 | 0 | 1800 | 0 | [18 empty] | 3Q2014 | 1.028
i | Floors and stairs | Floors (including finishes) | Solid concrete floor, carpet finish to Staff Room and in part to circulation routes, with vinyl tiles generally throughout elsewhere, although carpet to Classrooms. Small sections of newer non-slip vinyl laid in classrooms around wet areas. Allow for replacement of dining hall floor covering and vinyl finishes to wet areas of classrooms that have been tapped down. Carpeted areas should be planned for replacement on a rolling programme starting year 3 | 16000 |  |  | 10000 | 3000 |  | 3000 | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2014 | 1.0078
i | Ceilings | All types | 1200mm or 600mm x 600mm cement fibre tiles in exposed aluminium T-section grid generally throughout. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 1Q2015 | 1
i | Fixed furniture and fittings | All types | Melamine-faced veneered worktops to Staff Room Area. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Fixed furniture and fittings | All types | Melamine-faced worktop benching to wet areas, generally functional although marked. Allow for replacement of worktop and units on a phased basis to all classrooms starting year 2 | 2000 |  |  | 500 | 500 | 500 | 500 | 0 | 0 | 500 | 500 | 500 | 500
i | Redecoration | Internal | Emulsion walls, part ceilings, gloss internal joinery - Allow for cyclical decoration | 2500 |  |  |  | 2500 |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Fittings | Low level vitreous china WC suites to Boys and Girls Toilets, recently replaced. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Fittings | Wall-mounted wash hand basins to Boys and Girls Toilets, recently replaced. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Fittings | Inset stainless steel sinks to wet area/withdrawal area, generally scratched although still functional. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Fittings | 1 no. disabled wheelchair accessible toilet with folding door, handrails to Part M, vinyl safety flooring. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Boilers | 2 no. gas fired Borag Remeha Quinta 65 boilers, replaced in approx 2009, allow for PPM checks and servicing. | 375 |  | 75 | 75 | 75 | 75 | 75 | 0 | 75 | 75 | 75 | 75 | 75
m | Mechanical services | Heating Distribution | Black iron pipework to fan assisted and steel panel emitters - some old and some pipework corroded, but still sound. Consideration for replacement by year 5. | 17500 | [5 empty] | 17500 | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating Controls | Basic controls panel updated with new boilers. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Hot/Cold Water Distribution | Copper pipework to ablutions. Generally satisfactory no leaks observed on exposed pipework at time of survey. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Ventilation | Local extract fans in ablutions. Allow for regular cleaning. | 100 |  |  |  | 50 |  | 50 | 0 | 0 | 0 | 50 | 0 | 50
m | Mechanical services | Gas Distribution | Gas supply to boilers. Rises externally to main boiler room. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Control Gear and Equipment | Main intake and distribution board in rm. 35, new distribution board installed in recent years, but cabling and exposed ceiling void should be tidied up. 5 yearly inspection due April 2017. | 500 |  |  | 500 |  |  |  | 0 | 0 | 500 | 0 | 0 | 0
m | Electrical services | Power and Associated Fittings | Flush and surface PVC fittings throughout. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Lighting and Associated Fittings | Compact and baton fluorescent luminaires. Allow for relamping as part of PPM | 375 |  | 75 | 75 | 75 | 75 | 75 | 0 | 75 | 75 | 75 | 75 | 75
m | Electrical services | Fire Alarms | Bardic Panel in main corridor with zone control. Break glass call points and bells throughout. However limited amount of autodection noted. Panel has been updated since last survey. Allow for PPM checks | 250 |  | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50
m | Electrical services | Security Alarms / CCTV | Passive infra red detectors throughout. Allow for PPM checks | 250 |  | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50
m | Electrical services | Other | Old water cylinder and immersion water heater in rm. 35, reaching end of life replace. | 1500 |  |  | 1500 |  |  |  | 0 | 0 | 1500 | 0 | 0 | 0
r | Roofs | Flat | Insulated high tensile felt roof laid approximately 1997 with felted up stands to verges. Allow for replacement after year 5 | 7500 | [5 empty] | 7500 | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Roof Drainage | Fibreglass hopper heads discharging into 110mm plastic downpipes. Allow for regular clearing | 500 |  |  | 250 |  | 250 |  | 0 | 0 | 250 | 0 | 250 | 0
r | Roofs | Other | Painted plywood fascias. Allow for re-decoration within 3 years or consider for inclusion within any overall fascia replacement works to the main building overall | 2000 |  |  |  | 2000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
e | Redecoration | External | Painted softwood windows and doors. Consider for replacement with windows on original main building | 5000 |  |  |  | 5000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
e | External walls, windows and doors | Walls (including finishes) | Load bearing cavity masonry walls with roughcast panels below windows. Bitumen damp proof course clearly evident. If windows are replaced consider replacement of rough cast panels with maintenance free panels. | 3000 |  |  |  | 3000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | Melamine-faced WC cubicles to toilets. Allow for refurbishment by year 5 | 3500 | [5 empty] | 3500 | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | Plastered masonry walls. Allow for cyclical decoration | 2000 |  |  |  | 2000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | High level borrowed lights to Upper Infants Classroom. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | Fully glazed internal partition incorporating door to Inner Lobby area with Georgian- wired glazing and security access lock to inner door. Allow for cyclical decoration | 250 |  |  |  | 250 |  |  | 0 | 0 | 0 | 250 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | Sliding Georgian-wired Reception hatch. Allow for cyclical decoration | 75 |  |  |  | 75 |  |  | 0 | 0 | 0 | 75 | 0 | 0
i | Internal walls and doors | Doors & Glazed Screens | Solid flush doors with silver anodised aluminium lever handles. Allow for cyclical decoration | 500 |  |  |  | 500 |  |  | 0 | 0 | 0 | 500 | 0 | 0
i | Floors and stairs | Floors (including finishes) | Solid concrete floors with non-slip vinyl to toilets. Replace vinyl by year 5 | 2000 | [5 empty] | 2000 | 0 | 0 | 0 | 0 | 0 | 0
i | Floors and stairs | Floors (including finishes) | Solid concrete floors with carpet finish to classrooms. Replace carpets by year 5 | 1500 | [5 empty] | 1500 | 0 | 0 | 0 | 0 | 0 | 1500
i | Ceilings | All types | 600mm x 600mm high density tiles in exposed aluminium T-section grid. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Redecoration | Internal | Emulsion walls, gloss internal joinery - Allow for cyclical decoration | 750 |  |  |  | 750 |  |  | 0 | 0 | 0 | 750 | 0 | 0
m | Sanitary services | Fittings | Low-level vitreous china WC suites and pedestal wash hand basins. | 2250 | [5 empty] | 2250 | 0 | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Fittings | Stainless steel sink to Upper Infants Classroom. | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0 | 500
m | Sanitary services | Waste Plumbing | Plastic waste pipes. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating Distribution | Black iron pipes supplying steel panel radiators. Consideration for replacement by year 5. | 3500 | [5 empty] | 3500 | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Power and Associated Fittings | Flush PVC fittings throughout. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Lighting and Associated Fittings | Compact and baton fluorescent luminaires. Allow for relamping as part of PPM | 375 |  | 75 | 75 | 75 | 75 | 75 | 0 | 75 | 75 | 75 | 75 | 75
m | Electrical services | Fire Alarms | Break glass call points at exits. Bells in both areas. Linked back to main panel. Allow for PPM | 125 |  | 25 | 25 | 25 | 25 | 25 | 0 | 25 | 25 | 25 | 25 | 25
m | Electrical services | Security Alarms / CCTV | System key pad at entrance (rm. 11a). System operator unknown. Passive infra red detectors throughout. Allow for PPM | 1200 |  | 50 | 50 | 50 | 50 | 1000 | 0 | 50 | 50 | 50 | 50 | 1000
m | Electrical services | Communications Systems | Telephones in offices. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Other | Water heater in rm. 28. - Allow for PPM | 125 |  | 25 | 25 | 25 | 25 | 25 | 0 | 25 | 25 | 25 | 25 | 25
r | Roofs | Flat | Insulated high tensile felt roof with felt lined up stands to verges and to abutment sections with Block AA (laid approximately 2003). Allow for replacement after year 5 | 10000 | [5 empty] | 10000 | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Roof Drainage | Felt lined gutters discharging to aluminium hopper head and 110mm plastic downpipe. Allow for regular cleaning | 300 |  |  | 150 |  | 150 |  | 0 | 0 | 150 | 0 | 150 | 0
r | Roofs | Other | 1m deep painted plywood fascias. Allow for re-decoration within 3 years or consider for inclusion within any overall fascia replacement works to the main building overall | 500 |  |  | 250 |  |  | 250 | 0 | 0 | 250 | 0 | 0 | 250
e | Redecoration | External | Painted softwood windows requiring decoration. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | External walls, windows and doors | Walls (including finishes) | Load bearing cavity masonry walls, rough cast rendered panels below windows. | 1000 |  |  | 500 |  |  | 500 | 0 | 0 | 500 | 0 | 0 | 500
w | External walls, windows and doors | Windows & Doors | Double glazed softwood casement windows fitted to BS6206. Allow for cyclical decoration. | 1500 | [5 empty] | 1500 | 0 | 0 | 0 | 0 | 0 | 1500
e | External walls, windows and doors | Glazed Screen & Curtain Walling | Coated double glazed section of curtain walling to IT Classroom, (Area 42), incorporating fully glazed powder coated external door with SAA lever handles, trickle vents fitted to windows. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | Plastered masonry walling. Allow for cyclical decoration | 1000 |  |  |  | 1000 |  |  | 0 | 0 | 0 | 1000 | 0 | 0
i | Internal walls and doors | Doors & Glazed Screens | Solid ash veneered internal doors with clear vision panels to BS6206, silver anodised aluminium push and kick plates and overhead closers, in tumescent fire and smoke seals combined within door- leafs. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Floors and stairs | Floors (including finishes) | Solid concrete floor with ‘floatex’ type carpet finish, small areas of non-slip sheet vinyl to sink areas. Allow for replacement of floor coverings by year 5 | 1200 | [5 empty] | 1200 | 0 | 0 | 0 | 0 | 0 | 1200
i | Ceilings | All types | Uninsulated suspended ceiling with mineral fibre fitted tiles in exposed aluminium T-section grid. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Fixed furniture and fittings | All types | Low level timber and melamine-faced veneered worktops to IT area. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Redecoration | Internal | Painted emulsion walls. Allow for cyclical decoration | 1000 |  |  |  | 1000 |  |  | 0 | 0 | 0 | 1000 | 0 | 0
m | Sanitary services | Fittings | 1 no. stainless steel sink to classroom. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Waste Plumbing | Plastic waste pipes. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Pitched | Pitched roof with slate effect tiles with ridge tiles. Generally in good condition with some very light build up of moss. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Roof Drainage | Plastic guttering and downpipes, high capacity. Allow for regular clearing. | 1000 |  |  | 500 |  |  | 500 | 0 | 0 | 500 | 0 | 0 | 500
r | Roofs | Fascia & Soffit | Plastic maintenance free fascias and soffits with vents. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | External walls, windows and doors | Walls (including finishes) | Load bearing cavity masonry walling as infill to structural steel frame of building. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Windows & Doors | Aluminium windows and doors with powder coated finishes. Generally maintenance free. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | Painted blockwork walls throughout. Allow for cyclical decoration in decorations below | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | Ceramic tiled backs to Kitchen area. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | Melamine-faced partitioning to Toilets. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Doors & Glazed Screens | Electric roller shutter in kitchen hatchway. Allow for PPM check | 50 |  |  | 25 |  |  | 25 | 0 | 0 | 25 | 0 | 0 | 25
i | Internal walls and doors | Doors & Glazed Screens | Solid ash veneered internal doors with clear vision panels to BS6206, silver anodised aluminium push and kick plates and overhead closers, in tumescent fire and smoke seals combined within door- leafs. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Internal Structural Frame | Steel portal frame supporting roof structure to Hall. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Floors and stairs | Floors (including finishes) | Solid concrete floor with sprung timber sports floor to main hall. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Floors and stairs | Floors (including finishes) | Solid concrete floor to Kitchen, toilets and stores on ground floor with vinyl floor covering | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Floors and stairs | Floors (including finishes) | Suspended chipboard floor to first floor storage room. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Floors and stairs | Staircases (including finishes) | Timber staircase providing access to first floor storage room. No finish treads, consider covering to prolong life of staircase | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0 | 500
i | Ceilings | All types | Plasterboard and skimmed ceilings to all areas except main hall and first floor store which have internal insulated ceilings panels with exposed steel frame of building. Allow for cyclical decoration | 3500 | [5 empty] | 3500 | 0 | 0 | 0 | 0 | 0 | 0
i | Fixed furniture and fittings | All types | Timber cupboards and worktops with melamine veneered facings to Kitchen. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Redecoration | Internal | Emulsion finish to blockwork walls. Allow for cyclical decoration | 5000 | [5 empty] | 5000 | 0 | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Fittings | Low level vitreous china WC suites to Male/Female Changing with wash hand basins. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Waste Plumbing | Plastic wastes. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Boilers | 1 no. gas fired Worcester boiler - allow for PPM checks and servicing. | 375 |  | 75 | 75 | 75 | 75 | 75 | 0 | 75 | 75 | 75 | 75 | 75
m | Mechanical services | Heating Distribution | Heating pipework distributed around building as underfloor heating system. | 17500 | [5 empty] | 17500 | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating Controls | Basic controls panel in main boiler room. | 250 |  |  | 250 |  |  |  | 0 | 0 | 250 | 0 | 0 | 0
m | Mechanical services | Hot/Cold Water Distribution | Copper pipework to WC's & Kitchen/Cleaners sink. Generally satisfactory no leaks observed on exposed pipework at time of survey. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Ventilation | Local extract fans in ablutions and extract hood in Kitchen - Allow for regular cleaning. | 100 |  |  |  | 50 |  | 50 | 0 | 0 | 0 | 50 | 0 | 50
m | Mechanical services | Gas Distribution | Gas supply to boilers. Rises externally to main boiler room. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Control Gear and Equipment | Main intake and distribution board in boiler room, 100AMP board with 3 phased supply. Ensure 5 yearly check is being undertaken. | 200 |  |  | 200 |  |  |  | 0 | 0 | 200 | 0 | 0 | 0
m | Electrical services | Power and Associated Fittings | Flush or surface PVC fittings throughout. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Lighting and Associated Fittings | Compact and baton fluorescent luminaires. Allow for relamping as part of PPM | 750 |  | 150 | 150 | 150 | 150 | 150 | 0 | 150 | 150 | 150 | 150 | 150
m | Electrical services | Fire Alarms | Firesense Panel - Concept FS211 in main corridor with zone control. Break glass call points, detectors and bells throughout. Allow for PPM checks | 250 |  | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50
m | Electrical services | Security Alarms / CCTV | System key pad at entrance. System operator unknown. Passive infra red detectors throughout. Allow for PPM | 250 |  | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50
m | Electrical services | Emergency Lighting | Exit and emergency lighting throughout. Allow for PPM | 250 |  | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50
m | Electrical services | Electrical Water Heating | Electric water heaters to provide hot water to WC's, Kitchen and Cleaners Sink. Allow for PPM | 375 |  | 75 | 75 | 75 | 75 | 75 | 0 | 75 | 75 | 75 | 75 | 75
g | External areas | Roads and Car Parks | Tarmaced staff and visitor car parking areas. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Playing fields | Grass playing fields on South elevation. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Paths & Pedestrian Paved Areas | Tactile paved stairs leading to upper playground area with steel balustrades, brick-on-edge coping side walls. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Paths & Pedestrian Paved Areas | Concrete stairs with steel balustrade handrail leading up to Hall Block. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Walls, Fences and Gates | Natural stone walling on Eastern boundary to Southern playing fields. Extensive re- pointing works have been carried out in the past. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Walls, Fences and Gates | 4-bar timber rail fencing enclosing staff parking area, incorporating galvanised steel vehicle entrance gate (assumed emergency access for emergency vehicles). | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Walls, Fences and Gates | Coniferous and wire fencing to upper play area. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Walls, Fences and Gates | 225mm thick retaining brick walls to perimeter walkways around Southern part of the building, approximately 1200mm high, weep holes evident and expansion joints also evident with tubular galvanised steel handrails, tactile paving to stairs. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Walls, Fences and Gates | Brick boundary site walling on North elevation adjoining residential properties. Extensive re-building observed - previous notes indicated that this wall was unstable and repair/remedial works have been carried out. Allow for further repointing and repairs. | 1500 |  | 1500 |  |  |  |  | 0 | 1500 | 0 | 0 | 0 | 0
g | External areas | Walls, Fences and Gates | 1500mm high galvanised weldmesh fencing on concrete retaining posts, bordering the main access lane to school, incorporating steel entrance gate. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Ancillary Buildings | 1 no. timber shed with modern cement fibre profiled pitched roof. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Ancillary Buildings | 2 no. further timber sheds with felt roof, another one with plastic profiled. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Drainage | 100mm/150mm diameter vitrified clay runs operating satisfactorily at the time of survey no reported issues. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0

## EFA Property
|  |  | EFA survey data | [6 empty] | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other
DFE | School | School Type | Date received | Condition rating C or D | Priority rating 1 or 2 | Element | Category | CCP rating
[9 empty] | C1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | C2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D3 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Suitability and Compliance
Space |  |  | BB103 suggested sizes
[6 empty] | Suitability Data | [11 empty] | Compliance Comparison |  |  | 2/THIRD | Form of entry | PAN | 20
Basic Teaching Spaces |  |  | No. of spaces | m2 | Total m2 | Plan ref | Space | [10 empty] | Total area | Shortfall | Surplus | 2015 | Date of last assessment
|  | Classroom - Year R | 1 | 62 | 62 | 19, 30 | General classroom | 45.12 | 47.85 | [8 empty] | 92.97 | 0 | 30.97
|  | Classroom - Year 1 | 1 | 62 | 62 | 25 | General classroom | 63.72 | [9 empty] | 63.72 | 0 | 1.72 | 0 | No. Temp Buildings on Site
|  | Classroom - Year 2 | 0 | 62 | 0 | [12 empty] | 0 | 0 | 0 | 0 | No. of Classrooms in Temporary Buildings
|  | Classroom - Year 3 | 1 | 62 | 62 | 28 | General classroom | 56.99 | [9 empty] | 56.99 | 5.01 | 0 | 4 | No. of Classrooms
|  | Classroom - Year 4 | 0 | 62 | 0 | [12 empty] | 0 | 0 | 0 | 5 | Required No. of Classroooms |  |  | ** two classroom knocked into one- so showing as one classroom short for a capacity of 140.
|  | Classroom - Year 5 | 1 | 62 | 62 | 46 | General classroom | 54 | [9 empty] | 54 | 8 | 0
|  | Classroom - Year 6 | 1 | 62 | 62 | [12 empty] | 0 | 62 | 0
|  | Practical area / food bay | 0 | 0 | 0 | [12 empty] | 0 | 0 | 0 | 50% | of classrooms are the recommended size
|  | ICT base | 0 | 0 | 0 | [12 empty] | 0 | 0 | 0 | 50% | of classrooms are small
[5 empty] | 310 | [12 empty] | 267.68 | 75.01 | 32.69 | 86.35% | of the recommended basic teaching space required
[20 empty] | 234.99 | 75.8% | of the recommended basic teaching space required ignoring surplus
Halls and Studios | [20 empty] | 24.2% | shortfall in basic teaching space
| 1 | Main hall | 1 | 180 | 180 | UNJ | Hall | 179.29 | [9 empty] | 179.29 | 0.71 | 0
|  |  | 0 | 0 | 0 | 18, 28d, 29, 30a | Dining hall | 53.86 | 2.89 | 51.33 | 1.78 | [6 empty] | 109.86 | 0 | 109.86
[5 empty] | 180 | [12 empty] | 289.15 | 0.71 | 109.86 | 160.6% | of the recommended hall size
Storage | [20 empty] | 0.3944% | shortfall in hall size
| 1 | Coat and bag storage - Year R | 1 | 3 | 3 | 17 | Cloakroom in coridor | 3 | [9 empty] | 3 | 0 | 0
| 2 | Coat and bag storage - Year 1 | 1 | 3 | 3 | 38 | Cloakroom | 10.25 | [9 empty] | 10.25 | 0 | 7.25
| 3 | Coat and bag storage - Year 2 | 0 | 3 | 0 | [12 empty] | 0 | 0 | 0
| 4 | Coat and bag storage - Year 3 | 1 | 3 | 3 | 28a | Cloakroom | 8.94 | [9 empty] | 8.94 | 0 | 5.94
| 5 | Coat and bag storage - Year 4 | 0 | 3 | 0 | [12 empty] | 0 | 0 | 0
| 6 | Coat and bag storage - Year 5 | 1 | 3 | 3 | 47 | Cloakroom | 7.85 | [9 empty] | 7.85 | 0 | 4.85
| 7 | Coat and bag storage - Year 6 | 1 | 3 | 3 | [12 empty] | 0 | 3 | 0
| 8 | Teaching storage - Year R | 1 | 2 | 2 | [12 empty] | 0 | 2 | 0
| 9 | Teaching storage - Year 1 | 1 | 2 | 2 | UNA | Store room | 1.39 | [9 empty] | 1.39 | 0.61 | 0
| 10 | Teaching storage - Year 2 | 0 | 2 | 0 | [12 empty] | 0 | 0 | 0
| 11 | Teaching storage - Year 3 | 1 | 2 | 2 | 28e | Store room | 2.52 | [9 empty] | 2.52 | 0 | 0.52
| 12 | Teaching storage - Year 4 | 0 | 2 | 0 | [12 empty] | 0 | 0 | 0
| 13 | Teaching storage - Year 5 | 1 | 2 | 2 | 43 | Store room | 3.43 | [9 empty] | 3.43 | 0 | 1.43
| 14 | Teaching storage - Year 6 | 1 | 2 | 2 | [12 empty] | 0 | 2 | 0
| 15 | Specialist walk in stores | 2 | 5 | 10 | 15,44 | Store rooms | 1.65 | 3.49 | [8 empty] | 5.14 | 4.86 | 0
| 18 | Indoor PE equipment storage | 1 | 18 | 18 | UNI | Store room | 15.55 | [9 empty] | 15.55 | 2.45 | 0
| 19 | Outdoor PE equipment storage | 0 | 0 | 0 | [12 empty] | 0 | 0 | 0
|  | Bulk stock store | 1 | 4 | 4 | [12 empty] | 0 | 4 | 0
| 21 | Caretakers and maintenance store | 1 | 4 | 4 | [12 empty] | 0 | 4 | 0
| 22 | Cleaning store | 1 | 3 | 3 | 32, UNH | Cleaners store room | 3.59 | 2.64 | [8 empty] | 6.23 | 0 | 3.23
| 23 | Table and chair store | 1 | 6 | 6 | [12 empty] | 0 | 6 | 0
| 25 | Staging/ appliance store | 1 | 4 | 4 | UNS | Store room (first floor) | 30 | [9 empty] | 30 | 0 | 26
|  | Mobility equipment store | 1 | 2 | 2 | [12 empty] | 0 | 2 | 0
| 24 | Store for community | 0 | 0 | 0 | [12 empty] | 0 | 0 | 0
[5 empty] | 76 | [12 empty] | 94.3 | 30.92 | 49.22 | 124.1% | of the recommended storage space required
Staff and admin | [20 empty] | 40.68% | shortfall
| 1 | Heads office | 1 | 12 | 12 | 37 | Heads office | 12.41 | [9 empty] | 12.41 | 0 | 0.41
| 3 | Staff room work and social | 1 | 25 | 25 | 14, | Staffroom | 23.95 | [9 empty] | 23.95 | 1.05 | 0
|  | Staff PPA | 1 | 10 | 10 | [12 empty] | 0 | 10 | 0
| 4 | Senior management office | 0 | 10 | 0 | [12 empty] | 0 | 0 | 0
| 7 | General office (reception) | 1 | 8 | 8 | 36 | Reception (office) | 12.97 | [9 empty] | 12.97 | 0 | 4.97
| 8 | Secure reception | 1 | 4 | 4 | 11a | Entrance | 6.98 | [9 empty] | 6.98 | 0 | 2.98
| 9 | Reprographics room | 1 | 8 | 8 | 21 | Store room | 6.96 | 2.11 | 1.25 | [7 empty] | 10.32 | 0 | 2.32
| 10 | Meeting room | in head | 0 | 0 | [12 empty] | 0 | 0 | 0
| 11 | Sick bay | 1 | 3 | 3 | [12 empty] | 0 | 3 | 0
| 13 | Interview room | 1 | 8 | 8 | [12 empty] | 0 | 8 | 0
[5 empty] | 78 | [12 empty] | 66.63 | 22.05 | 10.68 | 85.42% | of the recommended staff and admin space required
Learning resource area | [20 empty] | 28.27% | shortfall
| 1 | Library (learning resource centre) | 1 | 24 | 24 | 20, 42 | Library | 32 | 34 | [8 empty] | 66 | 0 | 42
| 3 | Small group room | 2 | 11 | 22 | [12 empty] | 0 | 22 | 0
| 5 | SENco office (SEN resource) | 1 | 12 | 12 | [12 empty] | 0 | 12 | 0
| 2 | Medical inspection room/ Therapy room | 1 | 12 | 12 | [12 empty] | 0 | 12 | 0
[5 empty] | 70 | [12 empty] | 66 | 46 | 42 | 94.29% | of the recommended learning resource areas
Supplementary area | [20 empty] | 65.71% | shortfall
| 1 |  | 0 | 0 | 0 | [12 empty] | 0 | 0 | 0
[5 empty] | 0 | [12 empty] | 0 | 0 | 0
[18 empty] | 0 | 0 | 0 | - | of the recommended supplementary areas
Non net areas | [20 empty] | - | shortfall
| 1 | Reception toilets | 3 | 2 | 6 | UNG | Pupil wc (multi-sex) 2 WC's | 4.82 | [9 empty] | 4.82 | 1.18 | 0 | 2 | Number of reception toilets
| 1 | Pupils toilets | 6 | 2 | 12 | 26,28c,33,34,uno,unp | 14 wc's, 2 urinals | 8.94 | 4.66 | 9.22 | 9.15 | 8.59 | 8.62 |  |  |  |  | 49.18 | 0 | 37.18 | 16 | Number of other pupil toilets
| 2 | Staff toilets | 2 | 2 | 4 | 24 | Female staff w.c. 1 wc | 4.46 | [9 empty] | 4.46 | 0 | 0.46 | 66.67% | % of recommended reception toilets
| 3 | Accessible toilet | 1 | 3 | 3 | UN12, Unm, UNN | Disabled w.c. x 2 | 3 | 1.15 | 6.43 | [7 empty] | 10.58 | 0 | 7.58 | 266.7% | % of recommended other pupil toilets
| 9 | Hygiene room | 1 | 12 | 12 | [12 empty] | 0 | 12 | 0
| 4 | Kitchen facilities (servery) | 1 | 24 | 24 | UNK | Kitchen | 9.85 | [9 empty] | 9.85 | 14.15 | 0
| 5 | Corridors | - | 22.5% | 160.65 | 11,16,17,17a,31,42a,45,unl, unq | Corridors | 17.55 |  | 4.72 | 8.34 | 2.23 | 9.1 | 10 | 10 | 10 | 15.39 | 87.33 | 73.32 | 0
| 6 | Boiler room | 1 | 1.5% | 10.71 | 12, 35, UNR, 39 | Boiler room and meter room | 4.65 | 1.64 | 3 | 3.73 | [6 empty] | 13.02 | 0 | 2.31
| 7 | Server | in boiler | [14 empty] | 0 | 0 | 0
|  | Walls | - | 4% | 28.56 |  |  | 31.3504 | [9 empty] | 31.3504 | 0 | 2.7904
[5 empty] | 260.92 | [12 empty] | 210.5904 | 100.65 | 50.3204 | 80.71% | of the recommended non net area
Additional area | [20 empty] | 38.58% | shortfall
|  | Nursery class | 1 | 62 | 62 | [12 empty] | 0 | 62 | 0
|  | Quiet room | 1 | 8 | 8 | [12 empty] | 0 | 8 | 0
|  | Nursery store room | 1 | 2 | 2 | [12 empty] | 0 | 2 | 0
|  | Nursery office | 1 | 8 | 8 | [12 empty] | 0 | 8 | 0
|  | Nursery cloakroom | 1 | 3 | 3 | [12 empty] | 0 | 3 | 0
|  | Nursery pupils toilets | 3 | 2 | 6 | [12 empty] | 0 | 6 | 0
|  | Nursery staff toilets | 1 | 2 | 2 | [12 empty] | 0 | 2 | 0
|  | Nursery entrance | 1 | 22.5% | 1.8675 | [12 empty] | 0 | 1.8675 | 0
[5 empty] | 92.8675 | [12 empty] | 0 | 92.8675 | 0
Total Net area |  |  |  |  | 714 | [12 empty] | 783.76
Total Non-Net area |  |  |  |  | 260.92 | [12 empty] | 210.5904
Gross (total build) area - excluding nursery |  |  |  |  | 974.92 | [12 empty] | 994.3504 |  |  | 102% | of the recommended Gross area
Gross (total build) area - including nursery |  |  |  |  | 1067.7875 | [12 empty] | 994.3504
Net Area Range |  |  |  |  | 924.0-1030.0
Mid Range |  |  |  |  | 977
Total Site Area Range |  |  |  |  | 6660.0-8327.5
Mid Range |  |  |  |  | 7493.8
2
3
4

## Occupancy
Sufficiency Data
Planned Admission Number | Current Capacity | Maximum PAN | Capacity based on max PAN
20 | 140 | 16 | 112
NOR Spring Census
| 2008 / 2009 | 2009 / 2010 | 2010 / 2011 | 2011 / 2012 | 2012 / 2013 | 2013 / 2014
NOR Jan | 103 | 106 | 96 | 89 | 96 | 98
Maximum Capacity | 140 | 140 | 140 | 140 | 140 | 140
Number of Surplus Places | 37 | 34 | 44 | 51 | 44 | 42
% of surplus places | 26.4 | 24.3 | 31.4 | 36.4 | 31.4 | 30
Current Numbers on Roll (from Autumn Census)
Year group | R | 1 | 2 | 3 | 4 | 5 | 6 | Total
Number | 24 | 13 | 20 | 10 | 13 | 15 | 13 | 108

## School stats
Current Ofsted | Year
Good | 2014-03-27
2014 KS2 Performance Tables last update : (10 Dec 2014)
Year on year comparisons
Percentage achieving Level 4 or above in reading, writing and maths | 2012 | 2013 | 2014
School | 100% | 100% | 100%
LA | 71% | 71% | 76%
England - All Schools | 75% | 75% | 79%
KS2 test results and progress
| All pupils | Low attainers | Middle attainers | High attainers
Pupils eligible for KS2 assessment | 16
Percentage of pupils achieving 3 or below in reading and maths test and writing TA | 0% | SUPP | 0% | SUPP
Percentage of pupils achieving level 4 or above in reading and maths test and writing TA | 100% | SUPP | 100% | SUPP
Percentage of pupils achieved level 4B or above in reading and maths test and level 4 in writing TA | 81% | SUPP | 83% | SUPP
Percentage of pupils achieving level 5 or above in reading and maths test and writing TA | 25% | SUPP | 25% | SUPP
Percentage of pupils making at least 2 levels of progress in reading | 100% | SUPP | 100% | SUPP
Percentage of pupils making at least 2 levels of progress in writing TA | 100% | SUPP | 100% | SUPP
Percentage of pupils making at least 2 levels of progress in maths | 100% | SUPP | 100% | SUPP
Average point score | 29.6
Closing the Gap
| Disadvantaged pupils | Other pupils
Percentage of disadvantaged pupils achieving level 3 or below in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4B or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 5 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in reading | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in maths | SUPP | SUPP
Value Added measures
| Measure | Lower CI | Upper CI | Coverage
Overall value added measure | 100.3 | 99.2 | 101.4 | 88%
Reading value added measure | 100.5 | 99.3 | 101.8 | 88%
Writing TA value added measure | 100.4 | 99.1 | 101.7 | 88%
Maths value added measure | 100 | 98.6 | 101.4 | 88%
Subject level results
| Reading test | Maths test | Grammar, punctuation and spelling test | Writing TA
Percentage achieving level 3 or below | 0% | 0% | 13% | 0%
Percentage achieving Level 4 or above | 100% | 100% | 88% | 100%
Percentage achieving Level 4b or above | 88% | 94% | 88% | NA
Percentage achieving Level 5 or above | 63% | 38% | 63% | 25%
Pupil Absence last update : (11 Dec 2013)
| School | England - national (primary state-funded)
Overall absence: percentage | 5.1% | 4.8%
Persistent absence: around 15% + | 5.2% | 3.6%
Please note - this year the Department will publish full year 2013/14 absence data in the performance tables in March 2015 rather than just the autumn and spring term data in December as in previous years, and we will continue to do so in future years. This is because the full year data provides the most robust indication of school absence rates.
School level information for the 2013/14 autumn and spring term only is available in our Statistical First Release here
2013-14 Finance last update : (10 Dec 2014)
Contextual information
Number of pupils (FTE) | 98
Percentage of pupils eligible for Free School Meals (FSM) | 10.2%
Free school meals eligibility band | LOW
Spend per pupil data as £ per pupil (in brackets percentage of total income or expenditure)
| School | LA Median | Non-London LAs Median | National Median
Grant funding | 4553 (97%) | 4525 | 4016 | 4325
Self generated income | 133 (3%) | 144 | 142 | 127
Total income | 4686 | 4723 | 4183 | 4479
Teaching staff | SUPP | 2277 | 2045 | 2106
Supply Staff | 246 (5%) | 87 | 118 | 127
Education support staff | SUPP | 689 | 650 | 733
Learning resources (not ICT equipment) | 201 (4%) | 181 | 174 | 184
ICT learning resources | 108 (2%) | 81 | 62 | 66
Bought in professional services - curriculum | 61 (1%) | 88 | 59 | 67
Back office (incl. Staff costs) | 757 (16%) | 406 | 334 | 351
Catering (incl. Staff costs) | 60 (1%) | 35 | 53 | 75
Premises (incl. Staff costs) | 270 (6%) | 259 | 275 | 301
Other staff costs | 210 (5%) | 153 | 133 | 142
Energy | 58 (1%) | 68 | 62 | 65
Other expenditure | 55 (1%) | 94 | 85 | 88
Total expenditure | 4601 | 4562 | 4143 | 4431
Spend per pupil data as £ per pupil : Comparisons over time
| 2010-11 | 2011-12 | 2012-13 | 2013-14
Teaching staff and Education support staff expenditure | 2400 | 2471 | 2373 | 2576
Supply staff | 268 | 191 | 129 | 246
Back office (incl. Staff costs) | 700 | 902 | 758 | 757
Energy | 62 | 51 | 61 | 58
Total expenditure | 4457 | 4587 | 4172 | 4601
School Workforce last update : (10 Dec 2014)
This data is based upon the November 2013 School Workforce Census
| School | England - national (primary state-funded)
Headcount of all teachers in a school | 6 | 236728
Headcount of all teaching assistants in a school | 6 | 239340
Headcount of all support (exc. auxillary) staff in a school | 4 | 77335
Full-time equivalent number of all teachers in a school | 5 | 207827.7
Full-time equivalent number of all teaching assistants in a school | 2.9 | 154245.3
Full-time equivalent number of all support (exc. auxillary) staff in a school | 1.5 | 51728.3
Ratio of pupils to teachers in a school | 19.5 | 20.5
Average gross salary of all teachers in a school | 32837 | 36559

## Parental Preference
Popularity Data | [10 empty] | Children at School From School Catchment
Parental First Preference Applications | [11 empty] | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  | Catchment vs Nearest School |  |  |  |  | Catchment | Nearest
Year | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  |  | NOR | 106 | 96 | 89 | 96 | 98 |  |  |  | NOR |  |  |  |  | 108 | 108
PAN | 20 | 20 | 20 | 20 | 20 | 20 |  |  |  |  | Number | NA | NA | NA | NA | NA |  |  |  | Total in area |  |  |  |  | NA | 191
No. | 14 | 9 | 8 | 20 | 11 | 19 |  |  |  |  | % | NA | NA | NA | NA | NA |  |  |  | Number at School from area |  |  |  |  | NA | 26
% | 70 | 45 | 40 | 100 | 55 | 95 | [13 empty] | % at School |  |  |  |  | NA | 24.0741
[11 empty] | Total number in Catchment | [8 empty] | % of area going to School |  |  |  |  | NA | 13.6126
[12 empty] | 2010 | 2011 | 2012 | 2013 | 2014
[11 empty] | Number | NA | NA | NA | NA | NA
[11 empty] | % | NA | NA | NA | NA | NA
Where children at School are coming from (from Spring Census 2014)
DCSF No. | School |  | Ashperton | St Peter's, Bromyard | Ewyas Harold | Broadlands | Hampton Dene | Lord Scudamore | Marlbrook | St Martin’s | Trinity | Holme Lacy | Kingstone & Thruxton | Ledbury | Leominster Infants’ School | Lugwardine | Marden | Ashfield Park | St Weonards | Walford | Withington | Burley Gate C E | Clehonger C E | St Mary’s C E, Credenhill | Dilwyn C E | Gorsley Goffs Endowed | Holmer C E | Little Dewchurch CE | Much Birch C E | Stretton Sugwas C E | Brampton Abbotts CE | Bridstow CE | St James’ C E | Kingsland C E | Weston-under-Penyard C E | St Thomas Cantilupe C E | Riverside Primary | Out of County | Grand Total
3330 | Our Lady’s R C | Number | 0 | 0 | 0 | 0 | 1 | 4 | 95 | 62 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 24 | 0 | 194
3330 | Our Lady’s R C | % | 0 | 0 | 0 | 0 | 0.51546 | 2.0619 | 48.9691 | 31.9588 | 1.0309 | 0 | 1.0309 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0309 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0309 | 0 | 0 | 0 | 12.3711 | 0 | 100
3331 | St Francis Xavier’s R.C. | Number | 1 | 2 | 2 | 94 | 10 | 23 | 4 | 10 | 4 | 1 | 0 | 2 | 1 | 2 | 1 | 0 | 0 | 0 | 3 | 1 | 0 | 3 | 1 | 0 | 15 | 0 | 0 | 4 | 0 | 0 | 1 | 3 | 0 | 19 | 4 | 0 | 211
3331 | St Francis Xavier’s R.C. | % | 0.47393 | 0.94787 | 0.94787 | 44.5498 | 4.7393 | 10.9005 | 1.8957 | 4.7393 | 1.8957 | 0.47393 | 0 | 0.94787 | 0.47393 | 0.94787 | 0.47393 | 0 | 0 | 0 | 1.4218 | 0.47393 | 0 | 1.4218 | 0.47393 | 0 | 7.109 | 0 | 0 | 1.8957 | 0 | 0 | 0.47393 | 1.4218 | 0 | 9.0047 | 1.8957 | 0 | 100
3372 | St Joseph’s R C | Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 2 | 0 | 60 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 0 | 3 | 2 | 0 | 0 | 6 | 0 | 0 | 16 | 98
3372 | St Joseph’s R C | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.0612 | 0 | 2.0408 | 0 | 61.2245 | 1.0204 | 1.0204 | 0 | 0 | 0 | 0 | 0 | 1.0204 | 0 | 2.0408 | 1.0204 | 0 | 3.0612 | 2.0408 | 0 | 0 | 6.1224 | 0 | 0 | 16.3265 | 100
Where school children in the Schools Catchment area are going to (from Spring Census 2014)
NO DATA

## Disability access
Physical Accessibility Rating | 2
Information from https://www.herefordshire.gov.uk/education-and-learning/schools/directory
Ratings and descriptions
Rating | Details | Description
3 | Fully accessible | Will meet the needs of all disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling); Has a full hygiene room and special educational needs or therapy room for pupils who need more assistance with personal care (including hoisting) and regular physio or other treatment
2 | Mainly accessible | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
1 | Partly accessible | Some standards met but some areas not accessible
0 | Inaccessible | No level access into building and/or no disabled toilet
Summary of physical accessibility standards
Level access into building(s): Main and pupil entrance(s) level, with ramps and hand rails as required
Level access to all curriculum and social areas (not necessarily entire building/site): including assembly hall, canteen (may be achieved by sensitive organisation and timetabling)
Access to upper floors: if required - lift(s) as alternative to steps or stairs
Toilet facilities: small disabled toilet(s) as specified by building regulations - suitable for most disabled pupils. A small number of pupils will require enhanced facilities (hygiene room) to provide greater assistance, including hoisting.
Medical, therapy or SEN room: multi-purpose or flexible use - usually required in addition to a hygiene room, for regular physio and other physical programmes
Emergency evacuation: routes should be level and unobstructed. Evacuation must be documented (using Personal Emergency Evacuation Plans - PEEPs) and practised regularly