## Cover Page
St Mary's CE Primary School
Summary Report
Contents
|  | Section | Page | No. of pages
St Mary's CE Primary School |  | Summary Data | 3 | 1
Summary Report |  | General Information and Asset Summary | 4 | 1
|  | Maintenance and Condition Summary | 5 | 2
|  | Education Funding Agency Condition Survey Data | 7 | 1
Schools Capital Investment Strategy |  | Suitability and Compliance Summary | 8 | 2
|  | School Occupancy Summary | 10 | 1
|  | School Statistics | 11 | 1
|  | Environmental Sustainability Condition | 12 | 1
|  | Parental Preference | 13 | 1
|  | Distribution of Children Attending School or Resident in its Catchmnet Area | 14 | 1
|  | Distribution of Children Attending School or Where it is the Nearest School | 15 | 1
|  | Key Services Within 2 Mile Radius of School | 16 | 1
|  | Key Services Adjacent to School | 17 | 1
|  | Disability Access | 18 | 1
Children's Wellbeing
Herefordshire Council
Plough Lane Offices
Plough Lane
HEREFORD
HR4 0LE

## Summary Info
St Mary's CE Primary School
Summary Report
Summary of Headline Information
Asset Summary | [5 empty] | Occupancy Summary
Gross Site Area (M2)(whole site including building):- |  | 16897.1 |  |  |  | Current Capacity (PAN 30):- |  |  |  | 210
Insurance Asset Value (£000):- |  | 1844658.2193 |  |  |  | Allocated Capacity Size (PAN 30):- |  |  |  | 210
Land Asset Value (£000):- |  | 1401664 |  |  |  | Current Occupancy:- |  |  |  | 192
Land Ownership:- | Owned by the Local Authority |  |  |  |  | Current Planned Admission No.:- |  |  |  | 30
[6 empty] | Current Number Over Capacity:- |  |  |  | 0
[6 empty] | Current Number Under Capacity:- |  |  |  | 18
Maintenance Expenditure Required on the School over a 5 Year Period Summary
Survey Date:- |  |  |  | 2014-09-12
Backlog Maintenance Total (£000):- | [6 empty] | Not Available
Total Forecast Expenditure (5 years) (£000):- | [6 empty] | 271.0065
Total Potential Local Authority Forecast Expenditure (£000):- | [6 empty] | 257.6168
Total Potential School Forecast Expenditure (£000):- | [6 empty] | 13.3897
Suitability and Compliance
Required Number of Classrooms:- | [6 empty] | 7 | Required Building Footprint (M2):- |  | 1225
Actual Number of Classrooms:- | [6 empty] | 7 | Current Building Area (M2):- |  | 1073.5456
Percentage of Classrooms that are the Recommended Size:- | [6 empty] | 42.8571 | Area Shortfall (M2):- |  | 151.4544
Compliance Percentage of Recommended Hall Size:- | [6 empty] | 63.4167 | Area Surplus (M2):- |  | 0
Number of Temporary Buildings on Site:- |  |  |  |  | 1 |  |  | Total Percentage Compliance:- |  | 87.6364
Number of Classrooms in Temporary Buildings:- |  |  |  |  | 0
Compliance Percentage of Recommended Reception Toilets:- | [6 empty] | 66.6667 | Required Net Site Area (M2):- |  | 8891
Compliance Percentage of Recommended Other Pupil Toilets:- | [6 empty] | 160 | Current Net Site Area (M2):- |  | 15823.5544
Nursery on Site:- | No | [6 empty] | Area Shortfall (M2):- |  | 0
[8 empty] | Area Surplus (M2):- |  | 6932.5544
[8 empty] | Total Percentage Compliance:- |  | 177.9727
Disability Access
Rating:- | 1 |  | Details:- |  |  |  | Partly accessible
Environmental Sustainability Condition
DEC Rating:- |  |  |  |  | C
Electric Consumption 2014/Child:- |  |  |  |  | 190.0202
Gas Consumption 2014/Child:- |  |  |  |  | 410.6476
School Statistics
Ofsted Results:- | [8 empty] | Requires Improvement
Percentage of Children Achieving KS2 Level 4 or Above in Reading, Writing and Maths in 2014:- | [8 empty] | 80
Parental Preference (2014)
Percentage of Parental First Preference Applications:- | [6 empty] | 103.3333
Total Number of Children within Catchment:- | [6 empty] | 230
Total Number of Children at School from Catchment:- | [6 empty] | 146
Percentage of Catchment at School:- | [6 empty] | 73.7374
Percentage of Catchment Going to School:- | [6 empty] | 63.4783

## Report
|  |  | St Mary's CE Primary School | [6 empty] | St Mary's CE Primary School | [14 empty] | St Mary's CE Primary School | [7 empty] | St Mary's CE Primary School |  |  |  |  | St Mary's CE Primary School |  | St Mary's CE Primary School |  |  |  |  | St Mary's CE Primary School | [5 empty] | St Mary's CE Primary School |  |  | St Mary's CE Primary School | [8 empty] | St Mary's CE Primary School |  | St Mary's CE Primary School |  | St Mary's CE Primary School |  | St Mary's CE Primary School |  | St Mary's CE Primary School |  |  | St Mary's CE Primary School
|  |  | Summary Report | [6 empty] | Summary Report | [14 empty] | Summary Report | [7 empty] | Summary Report |  |  |  |  | Summary Report |  | Summary Report |  |  |  |  | Summary Report | [5 empty] | Summary Report |  |  | Summary Report | [8 empty] | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  |  | Summary Report
General Information |  |  |  | Maintenance and Condition Summary | [21 empty] | Education Funding Agency Condition Survey Data | [7 empty] | Suitability and Compliance Summary |  |  |  |  | Suitability and Compliance Summary (continued) |  | School Occupancy Summary |  |  |  |  | School Statistics | [5 empty] | Environmental Sustainability Condition |  |  | Parental Preference | [8 empty] | Distribution of Children Attending School or Resident in its Catchment Area |  | Distribution of Children Attending School or Where it is the Nearest School |  | Key Services Within 2 Mile Radius of School |  | Key Services Adjacent to School |  | Disability Access
Maintenance and Condition Summary (continued)
School Name:- | St Mary's CE Primary School |  |  | Survey Date:- | 2014-09-12 |  | Survey Company:- |  | Hub |  | Key Elements and Annual Forecast Maintenance Costs and Responsibilities | [14 empty] | Date of Survey:- |  | 2014-03-11 | [5 empty] | Areas | Standard Criteria (M2) (PAN 30) | Schools Compliance (M2) | Compliance Percentage |  |  |  | Current Planned Admission No. (PAN) | Current School Capacity | Maximum PAN | Maximum Capacity Based on PAN |  | Year | KS2 Year on Year Results |  |  |  |  | Electric Consumption 2014/Child:- | 190.0202 |  |  | Parental First Preference Applications | [15 empty] | Physical Accessibility Rating
Head Teacher:- | Mr J Moynihan | DFE Number:- | 3026 | Year | Forecast Maintenance Costs (£ 000) | [5 empty] | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows and Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | Number of Occurences Identified Within the Report | [7 empty] | Basic Teaching Space | 434 | 487.05 | 112.2235 |  |  |  | 30 | 210 | 29 | 203 |  |  | School - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | LA - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | All Schools in England - Percentage Achieving Level 4 or Above in Reading, Writing and Maths |  |  | Gas Consumption 2014/Child:- | 410.6476 |  |  | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | [10 empty] | Rating: | 1
Leadership:- | Stand Alone | [24 empty] | Rating (see key below) | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other | Hall and Studio | 180 | 114.15 | 63.4167 | [17 empty] | PAN | 30 | 30 | 30 | 30 | 30 | 30
Address:- | St Mary's C E Primary School, Station Road, Credenhill, Hereford HR4 7DW | Email:- | admin@credenhill.hereford.sch.uk | Backlog | Not Available | [5 empty] | £ 000 | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | [8 empty] | Storage | 98 | 118.31 | 120.7245 |  |  |  | Historical Numbers on Roll Data (Spring Census) | [13 empty] | Number | 27 | 36 | 28.8 | 36 | 24.99 | 31 | [10 empty] | Details: | Partly accessible
|  |  |  | 2015-09-12 | 44.7437 |  |  | Not Available |  |  | Backlog | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | C1 | [7 empty] | Staff and Admin | 101 | 71.63 | 70.9208 |  |  |  | Year | Total NOR | Capacity Based on PAN | Shortfall | Surplus | 2012 | 72 | 71 | 75 | [5 empty] | Percentage | 90 | 120 | 96 | 120 | 83.3 | 103.3333
|  |  |  | 2016-09-11 | 30.0433 |  |  | 44.7437 |  |  | 2015-09-12 | 0 | 2.056 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5397 | 42.148 | 0 | 0 | C2 |  |  |  |  | 1 |  |  | Learning Resource | 87 | 39 | 44.8276 |  |  |  | 2008 / 2009 | 181 | 210 | 0 | 29 | 2013 | 84 | 71 | 75 | [22 empty] | Description: | Some standards met but some areas not accessible
|  |  |  | 2017-09-11 | 7.7357 |  |  | 30.0433 |  |  | 2016-09-11 | 1.285 | 0 | 1.4906 | 0 | 0 | 19.018 | 0 | 3.084 | 1.9532 | 0 | 0.5397 | 2.6728 | 0 | 0 | D1 | [7 empty] | Supplementary Area | 0 | 50 | - |  |  |  | 2009 / 2010 | 179 | 210 | 0 | 31 | 2014 | 80 | 76 | 79 | [5 empty] | Historical Catchment Analysis (Spring Census)
Telephone No.:- | T: 01432 760408 F: 01432 761418 | School Cluster:- | Weobley District- Weobley High School | 2018-09-11 | 22.5903 |  |  | 7.7357 |  |  | 2017-09-11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.028 | 4.626 | 2.0817 | 0 | 0 | 0 | D2 | [7 empty] | Non Net Area | 325 | 193.4056 | 59.5094 |  |  |  | 2010 / 2011 | 177 | 210 | 0 | 33 | [9 empty] | Catchment Analysis | Parental First Preference Applications 2012: 2010; Parental First Preference Applications 2013: 2011; Parental First Preference Applications 2014: 2012 | 2013 | 2014
|  |  |  | 2019-09-11 | 165.8935 |  |  | 22.5903 |  |  | 2018-09-11 | 0 | 0 | 0.4626 | 0 | 0 | 0 | 0 | 0 | 1.542 | 4.626 | 0.5397 | 15.42 | 0 | 0 | D3 | [7 empty] | Total Gross Building Area | 1225 | 1073.5456 | 87.6364 |  |  |  | 2011 / 2012 | 188 | 210 | 0 | 22 | KS2 Test Results and Progress (2014) | [11 empty] | Total in Catchment | 240 | 244 | 244 | 256 | 230
[8 empty] | 165.8935 |  |  | 2019-09-11 | 0 | 0 | 0 | 102.8 | 0 | 0 | 0 | 15.42 | 1.542 | 4.626 | 0.3855 | 41.12 | 0 | 0 | [15 empty] | 2012 / 2013 | 199 | 210 | 0 | 11 | [12 empty] | Number at School from Catchment | 148 | 151 | 147 | 152 | 146
School Type:- | Voluntary Controlled | Building Number:- | TIAM | Total | 271.0065 | [5 empty] | Totals | 1.285 | 2.056 | 1.9532 | 102.8 | 0 | 19.018 | 0 | 18.504 | 6.0652 | 13.878 | 4.0863 | 101.3608 | 0 | 0 | *Note the information noted above has been extracted from the EFA survey focusing on elements that are C & D rated. Items with an A or B rating have been excluded. The numbers reference the quantity of elements that the survey has picked up within the relevant category | [7 empty] | Total Gross Site Area | 10116 | 16897.1 | 167.0334 |  |  |  | 2013 / 2014 | 198 | 210 | 0 | 12 | Pupils eligible for KS2 assessment |  |  |  | 25 | [7 empty] | Percentage at School from Catchment | 82.6816 | 85.3107 | 78.1915 | 76.3819 | 73.7374
Current Capacity:- | 210 | Site Area:- | 16897.1 | [30 empty] | Net Site Area (less the building area) | 8891 | 15823.5544 | 177.9727 |  |  |  | Current Occupancy | 192 | 210 | 0 | 18 | Percentage achieving level 3 or below in reading, writing and maths |  |  |  | 4 | [7 empty] | Percentage of Catchment Going to School | 61.6667 | 61.8852 | 60.2459 | 59.375 | 63.4783
[11 empty] | Total Potential Expenditure - Local Authority (£000) | [6 empty] | 257.6168 | [27 empty] | Percentage achieving level 4 or above in reading, writing and maths |  |  |  | 80
|  |  |  | Key Elements of Forecast Maintenance | [29 empty] | Key Information (based on Building Bulletin 103) | [6 empty] | Current Occupancy Summary (Autumn Census 2014) |  |  |  |  | Percentage achieving level 4B or above in reading and maths and level 4 or above in writing |  |  |  | 64 |  |  |  |  | Catchment and Nearest School Comparison (Autumn Census 2014)
|  |  |  | Categories |  | Totals (£ 000) | [19 empty] | Key | [7 empty] | Required Number of Classrooms |  |  |  | 7 |  |  | Year Group | NOR | Shortfall | Surplus |  | Percentage achieving level 5 or above in reading, writing and maths |  |  |  | 8 | [5 empty] | Parental First Preference Applications 2011: Catchment vs Nearest School; Parental First Preference Applications 2012: Catchment; Parental First Preference Applications 2013: Nearest
|  |  |  | External Grounds |  | 3.341 |  |  |  |  | Total Potential Expenditure - School (£000) | [6 empty] | 13.3897 | [7 empty] | Condition grade | Definition |  |  |  | Priority rating | Definition |  | Number of Classrooms |  |  |  | 7 |  |  | Reception | 30 | 0 | 0 |  | Percentage making expected progress in reading |  |  |  | 83 | [5 empty] | Parental First Preference Applications 2011: NOR; Parental First Preference Applications 2012: 192; Parental First Preference Applications 2013: 192
|  |  |  | Roof Works |  | 104.7532 | [27 empty] | Percentage of Classrooms that are the Recommended Size |  |  |  | 42.8571 |  |  | One | 27 | 0 | 3 |  | Percentage making expected progress in writing |  |  |  | 100 | [5 empty] | Parental First Preference Applications 2011: Total in Area; Parental First Preference Applications 2012: 235; Parental First Preference Applications 2013: 254
|  |  |  | External Walls |  | 19.018 | [19 empty] | A Good | Performing as intended and operating efficiently |  |  |  | 1 | Immediate or year 1 remedial action required |  | Percentage of Classrooms that are Classed as Small |  |  |  | 57.1429 |  |  | Two | 30 | 0 | 0 |  | Percentage making expected progress in maths |  |  |  | 83 | [5 empty] | Parental First Preference Applications 2011: Number at School from Area; Parental First Preference Applications 2012: 142; Parental First Preference Applications 2013: 152
|  |  |  | Windows and Doors |  | 18.504 | [27 empty] | Number of Temporary Buildings on Site |  |  |  | 1 |  |  | Three | 23 | 0 | 7 |  | Average point score |  |  |  | 27.8 | [5 empty] | Parental First Preference Applications 2011: Percentage at School; Parental First Preference Applications 2012: 73.9583; Parental First Preference Applications 2013: 79.1667
|  |  |  | Internal Works |  | 19.9432 | [19 empty] | B Satisfactory | Performing as intended but exhibiting minor deterioration |  |  |  | 2 | Year 1-2 remedial action required |  | Number of Classrooms in Temporary Buildings |  |  |  | 0 |  |  | Four | 29 | 0 | 1 | [11 empty] | Parental First Preference Applications 2011: Percentage of area going to School; Parental First Preference Applications 2012: 60.4255; Parental First Preference Applications 2013: 59.8425
Asset Summary |  |  |  | Mechanical and Electrical |  | 105.4471 | [27 empty] | Percentage of Recommended Reception Toilets |  |  |  | 66.6667 |  |  | Five | 24 | 0 | 6 |  | Latest Ofsted Report Date:- |  | 2014-07-08
|  |  |  | Other (e.g. ancillary buildings) |  | 0 | [19 empty] | C Poor | Exhibiting major defects and/or not operating as intended |  |  |  | 3 | Year 3-5 remedial action required |  | Percentage of Recommended Other Pupil Toilets |  |  |  | 160 |  |  | Six | 29 | 0 | 1 |  | Ofsted Result:- |  | Requires Improvement
Asset Value - Insurance (£000):- |  | 1844.6582 | [38 empty] | Total | 192 | 0 | 18
Asset Value - Land (£000):- |  | 1401.664 | [23 empty] | D Bad | Life-expired and/or at serious risk of imminent failure
Land Owner:- |  | Owned by the Local Authority | [36 empty] | Category | Areas Included
[39 empty] | Basic Teaching Spaces | General Classrooms, ICT Rooms, Practical Areas
[39 empty] | Hall and Studio | Halls, Dining Areas
Lease Agreement / Notes:- |  | Not Known | [36 empty] | Storage | Coats and Bags, Teaching, Specialist, PE Equipment, Bulk Stock, Cleaning, Caretakers and Maintenance, Tables and Chairs, Staging, Mobility Equipment
Nursery Provision:- |  | None | [36 empty] | Staff and Admin | Heads and Staff Offices, Staff Room, Staff PPA,Reprographics Room, Sick Bay, Interview and Meeting Rooms, Secure Entrance
[39 empty] | Learning Resource | Library, Small Group Rooms, SENCO Office, Medical Inspection Room
[39 empty] | Supplementary Area | Any other specialist area at the school e.g. Music Classroom, Swimming Pool, SEN Classrooms
[39 empty] | Non Net Area | Pupil and Staff Toilets, Accessible Toilets, Hygiene Room, Kitchen, Corridors, Server Room, Boilers
[39 empty] | Additional Area | Nursery provision
Updated Suitability assessment to be undertaken
Updated Suitability assessment to be undertaken

## Feedback
|  | St Mary's CE Primary School (3026) |  |  | St Mary's CE Primary School (3026) |  |  | St Mary's CE Primary School (3026)
|  | Feedback Form |  |  | Feedback Form |  |  | Feedback Form
General Information and Asset Summary |  |  | School Occupancy Summary |  |  | Parental Preference
Do you believe the data to be accurate? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Maintenance and Condition Summary |  |  | School Statistics |  |  | Disability Access
Do you believe the data to be a fair reflection of the maintenance and condition of the school? | [5 empty] | Do you believe the data to be a fair reflection of the environmental condition of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Suitability and Compliance Summary |  |  | Environmental Sustainability Condition |  |  | Any Other Comments
Do you believe the data to be a fair reflection of the suitability and compliance issues faced by the school? | [5 empty] | Additional comments about the information provided:
Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments:
If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920
Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015

## Asset summary
Building ref number:- | TIAM
Site Area:- | 16897.1
Asset Value (Insurance):- | 1844658.2193
Asset Value (Land):- | 1401664
Land owner:- | Owned by the Local Authority
Lease agreement / notes:- | Not Known
DEC rating:- | C
Electric consumption 2014/child:- | 190.0202
Gas consumption 2014/child:- | 410.6476

## Maintenance
Maintenance & Condition Summary |  |  |  | BCIS Quarter | 3Q2014 | [11 empty] | Check | Main year totals | Summary year totals | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows & Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | BCIS quarter | BCIS uplift
Year survey undertaken |  | 2014-09-12 |  | BCIS Uplift | 1.028 | [15 empty] | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | 1Q2009 | 1.1525
Survey company:- |  | Hub | [15 empty] | 0 | 0 | Backlog | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2Q2009 | 1.1898
[18 empty] | 44743.7 | 44743.7 | 2015-09-12 | 0 | 2056 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 539.7 | 42148 | 0 | 0 | 3Q2009 | 1.1898
[18 empty] | 30043.3 | 30043.3 | 2016-09-11 | 1285 | 0 | 1490.6 | 0 | 0 | 19018 | 0 | 3084 | 1953.2 | 0 | 539.7 | 2672.8 | 0 | 0 | 4Q2009 | 1.2123
|  |  |  | Year covered? | N | Y | Y | Y | Y | Y | School Costs | [6 empty] | 7735.7 | 7735.7 | 2017-09-11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1028 | 4626 | 2081.7 | 0 | 0 | 0 | 1Q2010 | 1.2297
Category | Ref | Element | Recommended Works | Estimated Work Cost | Backlog | 2015-09-12 | 2016-09-11 | 2017-09-11 | 2018-09-11 | 2019-09-11 | Backlog | 2015-09-12 | 2016-09-11 | 2017-09-11 | 2018-09-11 | 2019-09-11 |  | 22590.3 | 22590.3 | 2018-09-11 | 0 | 0 | 462.6 | 0 | 0 | 0 | 0 | 0 | 1542 | 4626 | 539.7 | 15420 | 0 | 0 | 2Q2010 | 1.1789
[18 empty] | 165893.5 | 165893.5 | 2019-09-11 | 0 | 0 | 0 | 102800 | 0 | 0 | 0 | 15420 | 1542 | 4626 | 385.5 | 41120 | 0 | 0 | 3Q2010 | 1.1735
i | Ceilings | All types | The ceilings are exposed aluminium grid suspended ceilings with vinyl faced fibreboard tiles present. The ceiling is in good order with no inward signs of roof leakage. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2010 | 1.1682
m | Electrical services | Control Gear and Equipment | Merlin Gerin distribution board - Allow for PPM check. | 250 |  | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50 |  |  |  | Individual Category totals | 1285 | 2056 | 1953.2 | 102800 | 0 | 19018 | 0 | 18504 | 6065.2 | 13878 | 4086.3 | 101360.8 | 0 | 0 | 1Q2011 | 1.1735
m | Electrical services | Power and Associated Fittings | Flush fittings | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2011 | 1.1525
m | Electrical services | Lighting and Associated Fittings | Fluorescent luminaires throughout. Allow for re-lamping PPM. | 125 |  | 25 | 25 | 25 | 25 | 25 | 0 | 25 | 25 | 25 | 25 | 25 |  |  |  |  | Summary category totals | Main category totals | Check | [11 empty] | 3Q2011 | 1.1682
m | Electrical services | Fire Alarms | Fire detectors - Due for upgrade 2014, ensure link to new panel, allow for continued PPM | 250 |  | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50 | [18 empty] | 4Q2011 | 1.1525
m | Electrical services | Security Alarms / CCTV | PIR detectors | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | External Grounds |  | 3341 | 3341 | [12 empty] | 1Q2012 | 1.1953
m | Electrical services | Communications Systems | Telephones in office | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Roof Works |  | 104753.2 | 104753.2 | [12 empty] | 2Q2012 | 1.1174
m | Electrical services | Emergency Lighting | Fluorescent fittings - Allow for PPM checks. | 250 |  | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50 |  |  | External Walls |  | 19018 | 19018 | [12 empty] | 3Q2012 | 1.1525
m | Fixed furniture and fittings | All types | The kitchen units appear to be in good order. The Bushboard toilet cubicles are also in good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Windows & Doors |  | 18504 | 18504 | [12 empty] | 4Q2012 | 1.1473
i | Internal Walls and Doors | Doors & Glazed Screens | The internal doors are flush plywood painted white throughout and are in good order, showing minor wear and tear. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Internal Works |  | 19943.2 | 19943.2 | [12 empty] | 1Q2013 | 1.0983
i | Internal Walls and Doors |  | The internal walls are plastered and skimmed throughout, there are MDF trims to the bay joins. There is some minor plasterboard damage inside the bathroom access door. Make good plasterboard wall in store cupboard. | 200 |  |  | 200 |  |  |  | 0 | 0 | 200 | 0 | 0 | 0 |  |  | Mechanical & Electrical |  | 105447.1 | 105447.1 | [12 empty] | 2Q2013 | 1.089
m | Mechanical Services | Hot/Cold Water Distribution | Copper pipework generally. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Other |  | 0 | 0 | [12 empty] | 3Q2013 | 1.0983
m | Mechanical Services | Ventilation | Mainrose extract in wc | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2013 | 1.0798
m | Mechanical Services | Gas Distribution | Gas supply to Dru gas heaters. Allow for PPM checks. | 375 |  | 75 | 75 | 75 | 75 | 75 | 0 | 75 | 75 | 75 | 75 | 75 |  |  | Total |  | 271006.5 | 271006.5 | [12 empty] | 1Q2014 | 1.0447
e | Redecoration | External | The exterior of the building is plywood boarding which is treated with a dark brown preservative, it is in good order. | 3500 |  |  | 3500 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2014 | 1.0198
i | Redecoration | Internal | The internal decoration is in good order with the beginning signs of wear and tear, this is to be expected due to the building's use. | 900 |  |  | 900 |  |  |  | 0 | 0 | 900 | 0 | 0 | 0 | [18 empty] | 3Q2014 | 1.028
r | Roofs | Flat Roofs | The flat roof is clad with modern mineral felt which has been installed to a high standard. No signs of leakage were noted internally. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2014 | 1.0078
m | Sanitary Services | Fittings | The sanitary ware and kitchen sink are in good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 1Q2015 | 1
m | Sanitary Services | Waste Plumbing | All visible above ground drainage is in good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Ceilings | All Types | The majority of areas have exposed aluminium grid fibreboard suspended ceilings in place, these are generally in good order, several missing tiles were noted and various damaged tiles were also present, damage appears to have been caused by attempting to remove the tiles before releasing the retaining clips. Fibreboard is fixed directly to the underside of the roof structure in the SW wing, a hole was noted to the ceiling adjacent to the patent glazing in Rm. 22CR. Damp staining was only noted to a few areas and was mainly concentrated around roof lights, the pattern and amount of staining indicate that any roof leakage is minor and probably due to small amounts of water blowing in in adverse weather conditions. Allow for minor repairs and replacement where required. | 500 |  |  | 500 |  |  |  | 0 | 0 | 500 | 0 | 0 | 0
m | Electrical Services | Control Gear and Equipment | Main bus section and switch fuses aged, with aged distribution boards remaining - planned for replacement 2014. | 10000 |  | 10000 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical Services | Power and Associated Fittings | Some original sub distribution and final circuits in place - Allow for replacement with switch gear 2014. | 18000 |  | 18000 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical Services | Lighting and Associated | Aged fluorescent luminaires in main hall and poor lighting in cloakrooms | 2600 |  |  | 2600 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical Services | Fire Alarms | Aged Tann Synchronome fire panel and break glass with some sounders appear more recent. Planned for new L2 system summer 2014 | 13000 |  | 13000 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical Services | Security Alarms / CCTV | PIR detectors at various key points around school. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | External Walls, Windows and Doors | Walls (including finishes) | The external walls are clad with plywood which has been rerouted to give the appearance of timber boarding. It is in good order throughout, the sub floor void is enclosed with horizontal timber boarding which is also in good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | External Walls, Windows and Doors | Windows & Doors | The windows and doors are generally double glazed uPVC or powder coated aluminium which are a in good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | External Walls, Windows and Doors | External walls, windows and doors/External walls, | There are some areas of brickwork/blockwork cavity walls present, most notably to the boiler room and tank room, the tank room is now unused and consideration should be given to it removal to limit maintenance liabilities (sum allocated to year 5). The majority of the walls are clad with painted board material fixed to a framework (which is not visible). Several bowing panels were noted. The board materials is also used as a fascia material to the classroom walls at high level, there is some minor damage to the fascia to the covered area adjacent to Rm. 1 CR. which has been repaired with duct tape. There is a small area of uPVC "shiplap" profiled cladding to the extended classroom adjacent to the Tank room, there is also an area of granular faced boarding to the NW end of the building. Below the boarding the building appears to have a concrete plinth. General repairs allowance made for year 2 and for works/investigations to damaged brick work above room 22. | 18000 |  |  | 3000 |  |  | 15000 | 0 | 0 | 0 | 0 | 0 | 0
w | External Walls, Windows and Doors | External walls, windows and doors/External walls, | The majority of the external windows to the classrooms and hall are contained within a patent glazing system. Some areas have been replaced with an aluminium double glazed and insulated system. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | Internal Walls and Doors | Doors & Glazed Screens | The internal doors are veneer faced plywood throughout, doors within circulation routes and on to class rooms have vision panels present. Self closing mechanisms and mechanisms to hold doors open are used in appropriate locations (toilets, cupboards etc.) Toilet cubicles and doors are melamine faced chipboard with aluminium sections providing support. All internal ironmongery is satin anodised aluminium, self coloured grey is all in functional order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Fixed furniture and Fittings | All types | The cupboards and other fixtures and fittings, including toilet cubicles were found to be in good order throughout. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Floors and Stairs | Floors (including finishes) | The internal floors are concrete throughout, the school is split level, the SE wing has a floor level approximately 1.2m below that in the remainder of the school. The floor finishes are contract quality carpet, quarry tiles (to wet areas in some classrooms and within toilets) and non slip vinyl (to wet areas in some classrooms, some toilets, kitchen and hall). All floor finishes are in a satisfactory order with wear and tear noted generally. Some isolated sections of vinyl tiled floors were noted and these should be replaced first on any phased floor covering replacements, allowed for from year 4 onwards. Some aluminium threshold strips were found to be coming loose and could be refixed easily by renewing fixings. | 4000 |  |  |  | 1000 | 1500 | 1500 | 0 | 0 | 0 | 1000 | 1500 | 1500
i | Floors and Stairs | Staircases (including finishes) | There are several flights of concrete stairs to the split level change, they are clad with non slip vinyl and have non slip nosing profiles secured in place to the edge of treads. It was noted that the concrete/paved staircase (external) leading from the hall requires the slabs refixing and some minor repairs. | 300 |  |  | 300 |  |  |  | 0 | 0 | 300 | 0 | 0 | 0
i | Floors and Stairs | Floors (including finishes) | There is two external timber staircases and a timber access ramp to the two external doors. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical Services | Boilers | 2 No. Ideal Hamworthy Gas Boilers. Allow for PPM checks. | 40600 |  | 150 | 150 | 150 | 150 | 40000 | 0 | 150 | 150 | 150 | 150 | 0
m | Mechanical Services | Heating Distribution | Steel pipework to panel radiators and fan convectors | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical Services | Heating Controls | Pump sets, are aged and will require replacement within 5 years and at the latest with any new boilers. | 15000 |  |  |  |  | 15000 |  |  | 0 | 0 | 0 | 0 | 0
m | Mechanical Services | Heating Controls | Trend BMS system. Review system with any new boilers only. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Mechanical Services | Hot/Cold Water Distribution | Local Heatrae, ZIP-RCH, Solectra and santon water heaters. Allow for PPM checks | 375 |  | 75 | 75 | 75 | 75 | 75 |  | 75 | 75 | 75 | 75 | 75
m | Mechanical Services | Ventilation | Local extracts with ducted kitchen extract. Allow for P.m. checks. | 250 |  | 50 | 50 | 50 | 50 | 50 |  | 50 | 50 | 50 | 50 | 50
m | Mechanical Services | Gas Distribution | Gas supply to boilers | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Mechanical Services | Other | CWS tank at high level in tower, now disused, remove when tower demolished. | 1000 |  |  |  | 1000 |  |  |  | 0 | 0 | 1000 | 0 | 0
e | Redecoration | External | The external decoration is extensive and is beginning to show signs of wear and tear, areas of flaking paint were noted. Include for new fascia and soffits at next redecoration. | 15000 |  |  | 15000 |  |  |  |  | 0 | 0 | 0 | 0 | 0
i | Redecoration | Internal | The decoration is in reasonable order but the walls are beginning to look tired in some areas. | 13500 |  |  |  | 4500 | 4500 | 4500 |  | 0 | 0 | 0 | 0 | 0
r | Roofs | Flat | There is a small area of flat roof present to the top of the tank room and the adjacent link block. It is clad with modern mineral felt, the workmanship appears to be satisfactory, however possible defect with up stand joint adjacent ot boys wk.. Hugh damp reading noted, further investigation required. | 1000 |  |  | 1000 |  |  |  |  | 0 | 1000 | 0 | 0 | 0
r | Roofs | Pitched | The majority of the school has a series of shallow pitched roofs. They issue to shallow gulleys above the classrooms. Pooling is evident in the valleys, this is due to poor detailing initially and possible deflection of the roof deck below the mineral felt. The roof above the hall is higher than those to the classrooms and appears to be in good order. The roofing material is modern mineral felt throughout and the installation appears to be well executed. Allow for recovering after year 5 | 100000 | [5 empty] | 100000 |  | 0 | 0 | 0 | 0 | 0
r | Roofs | Chimneys | There are two stainless steel flues present to the boilers, situated adjacent to the elevated tank room. They both appear in good order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
r | Roofs | Roof lights | There are numerous polycarbonate dome roof lights present to the flat roofs to shed additional light into the interior of the building, several were noted to have leaked in the past causing discolouration of the suspended ceiling tiles below. Externally the installation of the roof lights appears to have been well executed. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
r | Roofs | Roof Drainage | The majority of the roofs (above the classrooms) drain into hoppers via shallow valleys formed at the roof intersections. The majority of these valleys are holding water. There are sections of plastic rainwater goods to the extended Year 2 classroom adjacent to the tank room. All of the rainwater goods appear to be in good order. Allow for regular cleaning. | 700 |  |  | 350 |  | 350 |  |  | 0 | 350 | 0 | 350 | 0
r | Roofs | Flat | The flat roof is clad with modern mineral felt which has been installed to a high standard. No signs of leakage were noted internally. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
r | Roofs | Roof Drainage | The rainwater goods are black uPVC rectilinear fittings throughout which are in excellent order. Allow for regular cleaning. | 200 |  |  | 100 |  | 100 |  |  | 0 | 100 | 0 | 100 | 0
m | Sanitary Services | Fittings | The toilets, basins, stainless steel urinals and stainless steel sink tops appear to be in good order throughout. However the older fittings in the staff wc should be renewed sooner. | 500 |  |  |  | 500 |  |  |  | 0 | 0 | 500 | 0 | 0
m | Sanitary Services | Waste Plumbing | All above ground drainage appears to be in good order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
g | External Elements | Roads and Car Parks | The access road and car parks are all covered with tarmac and are in good order, concrete kerbs are present to the edge of the tarmac which are also in good order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
g | External Elements | Playing Fields | The playing fields are in good order, the ground was very wet at the time of the survey, but not waterlogged. The playing fields are well maintained, level and laid down to football pitches. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
g | External Elements | Hard Playing Areas | The hard play area is covered with fine macadam with concrete kerbs to the perimeter. There are areas of concrete slabbed paths to the school abutment. All areas are in good order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
g | External Elements | Paths & Pedestrian Paved Areas | The paths are mostly fine macadam with concrete kerbs, however there are several concrete slabbed paths present which appear in good order. One path was noted as poor in levels with possible trip hazards from the playground, allow for re-laying. | 500 |  |  | 500 |  |  |  |  | 0 | 500 | 0 | 0 | 0
g | External Elements | Soft Landscaping | There are many mature trees on site, the majority of which are birch and beech, all appear healthy. There are some evergreen trees also present which are also in good condition. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
g | External Elements | Ancillary Buildings | There are various timber sheds and covered areas around the site, all of which appear to be in good order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
g | External Elements | Drainage | No reported defects however and were in good order. There are a large amount of internal manholes within the building, none of which were lifted. Recommend camera survey drainage installation | 500 |  |  | 500 |  |  |  |  | 0 | 500 | 0 | 0 | 0
g | External Elements | External areas/External areas/Walls, Fences and | The main access gates from the car park and the road are simple box section steel and are in reasonable order, the main road gate is dented but this does not appear to effect it's function. The perimeter fences are a mixture of post and rail (which is in poor order), weldmesh on concrete posts, close boarded timber fences 1.8m high and chain-link on concrete posts. There are several timber palisade fences present subdividing the site, they are in reasonable order. Allow for minor fence repairs. - Playing field boundary. A gate is planned for installation to the front driveway of the Scholl during the summer of 2014. | 2250 |  | 2000 | 250 |  |  |  |  | 0 | 250 | 0 | 0 | 0

## EFA Property
|  |  | EFA survey data | [6 empty] | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other
DFE | School | School Type | Date received | Condition rating C or D | Priority rating 1 or 2 | Element | Category | CCP rating
|  |  |  | c | 2 | Ceiling, Generally, Suspended ceiling fiberboard, Main school | i | ic2 | C1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | C2 | 0 | 0 | 0 | 0 | 1 | 0 | 0
[9 empty] | D1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D3 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Suitability and Compliance
Space |  |  | BB103 suggested sizes
[6 empty] | Suitability Data | [14 empty] | Compliance Comparison |  |  | 1 | Form of entry | PAN | 30
Basic Teaching Spaces |  |  | No. of spaces | m2 | Total m2 | Plan ref | Space | [13 empty] | Total area | Shortfall | Surplus | 2010 | Date of last assessment
|  | Classroom - Year R | 1 | 62 | 62 | 38, 38a, 38b, 38c, 38d | General classroom | 20.87 | 10.51 | 9.59 | 4.37 | 3.12 | [8 empty] | 48.46 | 13.54 | 0
|  | Classroom - Year 1 | 1 | 62 | 62 | 1, 2, 3 | General classroom | 39.87 | 9.29 | 6.21 | [10 empty] | 55.37 | 6.63 | 0 | 1 | No. Temp Buildings on Site
|  | Classroom - Year 2 | 1 | 62 | 62 | 4, 4a, 6 | General classroom | 39.19 | 10.53 | 19.32 | [10 empty] | 69.04 | 0 | 7.04 | 0 | No. of Classrooms in Temporary Buildings
|  | Classroom - Year 3 | 1 | 62 | 62 | 7, 8, 8a, 8b | General classroom | 39.21 | 5.85 | 5.92 | 8.18 | [9 empty] | 59.16 | 2.84 | 0 | 7 | No. of Classrooms
|  | Classroom - Year 4 | 1 | 62 | 62 | 10, 9, 9a | General classroom | 37.12 | 6.21 | 5.9 | [10 empty] | 49.23 | 12.77 | 0 | 7 | Required No. of Classroooms
|  | Classroom - Year 5 | 1 | 62 | 62 | 16, 16a | General classroom | 50.12 | 26.4 | [11 empty] | 76.52 | 0 | 14.52
|  | Classroom - Year 6 | 1 | 62 | 62 | 20, 20a, 20b, 20c | General classroom | 23.72 | 8.44 | 26.51 | 12.94 | [9 empty] | 71.61 | 0 | 9.61
|  | Practical area / food bay | 0 | 0 | 0 | [15 empty] | 0 | 0 | 0 | 42.86% | of classrooms are the recommended size
|  | ICT base | 0 | 0 | 0 | 22a, 22b | IT room | 19.52 | 38.14 | [11 empty] | 57.66 | 0 | 57.66 | 57.14% | of classrooms are small
[5 empty] | 434 | [15 empty] | 487.05 | 35.78 | 88.83 | 112.2% | of the recommended basic teaching space required
[23 empty] | 398.22 | 91.76% | of the recommended basic teaching space required ignoring surplus
Halls and Studios | [23 empty] | 8.244% | shortfall in basic teaching space
| 1 | Main hall | 1 | 180 | 180 | 36 | Hall | 114.15 | [12 empty] | 114.15 | 65.85 | 0
[5 empty] | 180 | [15 empty] | 114.15 | 65.85 | 0 | 63.42% | of the recommended hall size
Storage | [23 empty] | 36.58% | shortfall in hall size
| 1 | Coat and bag storage - Year R | 1 | 3 | 3 | 11 | Cloakroom | 10.13 | [12 empty] | 10.13 | 0 | 7.13
| 2 | Coat and bag storage - Year 1 | 1 | 3 | 3 | 5, 5a | Cloakroom (shared) | 8.8 | [12 empty] | 8.8 | 0 | 5.8
| 3 | Coat and bag storage - Year 2 | 1 | 3 | 3 | 5, 5a | Cloakroom (shared) | 8.8 | [12 empty] | 8.8 | 0 | 5.8
| 4 | Coat and bag storage - Year 3 | 1 | 3 | 3 | 5, 5a | Cloakroom (shared) | 8.8 | [12 empty] | 8.8 | 0 | 5.8
| 5 | Coat and bag storage - Year 4 | 1 | 3 | 3 | 5, 5a | Cloakroom (shared) | 8.8 | [12 empty] | 8.8 | 0 | 5.8
| 6 | Coat and bag storage - Year 5 | 1 | 3 | 3 | 19b | Cloakroom | 16.07 | [12 empty] | 16.07 | 0 | 13.07
| 7 | Coat and bag storage - Year 6 | 1 | 3 | 3 | 19 | Cloakroom additional area | 4.93 | [12 empty] | 4.93 | 0 | 1.93
| 8 | Teaching storage - Year R | 1 | 2 | 2 | 38h | Store room | 2.99 | [12 empty] | 2.99 | 0 | 0.99
| 9 | Teaching storage - Year 1 | 1 | 2 | 2 | [15 empty] | 0 | 2 | 0
| 10 | Teaching storage - Year 2 | 1 | 2 | 2 | [15 empty] | 0 | 2 | 0
| 11 | Teaching storage - Year 3 | 1 | 2 | 2 | [15 empty] | 0 | 2 | 0
| 12 | Teaching storage - Year 4 | 1 | 2 | 2 | [15 empty] | 0 | 2 | 0
| 13 | Teaching storage - Year 5 | 1 | 2 | 2 | 52 | Store room | 2.2 | [12 empty] | 2.2 | 0 | 0.2
| 14 | Teaching storage - Year 6 | 1 | 2 | 2 | 53 | Store room | 2.2 | [12 empty] | 2.2 | 0 | 0.2
| 15 | Specialist walk in stores | 3 | 5 | 15 | 38j, 42, 51, 46 | Store room | 7.08 | 1.9 | 5.34 | 1.51 | [9 empty] | 15.83 | 0 | 0.83
| 18 | Indoor PE equipment storage | 1 | 18 | 18 | 37 | Store room | 8.48 | [12 empty] | 8.48 | 9.52 | 0
| 19 | Outdoor PE equipment storage | 0 | 0 | 0 | 48 | Store room | 1.03 | [12 empty] | 1.03 | 0 | 1.03
|  | Bulk stock store | 1 | 4 | 4 | 44, 35 | Store room | 3.67 | 2.15 | [11 empty] | 5.82 | 0 | 1.82
| 21 | Caretakers and maintenance store | 1 | 5 | 5 | [15 empty] | 0 | 5 | 0
| 22 | Cleaning store | 1 | 3 | 3 | 45 | Cleaners store room | 1.03 | [12 empty] | 1.03 | 1.97 | 0
| 23 | Table and chair store | 1 | 12 | 12 | 36a | Store room | 12.4 | [12 empty] | 12.4 | 0 | 0.4
| 25 | Staging/ appliance store | 1 | 4 | 4 | [15 empty] | 0 | 4 | 0
|  | Mobility equipment store | 1 | 2 | 2 | [15 empty] | 0 | 2 | 0
| 24 | Store for community | 0 | 0 | 0 | [15 empty] | 0 | 0 | 0
[5 empty] | 98 | [15 empty] | 118.31 | 30.49 | 50.8 | 120.7% | of the recommended storage space required
Staff and admin | [23 empty] | 31.11% | shortfall
| 1 | Heads office | 1 | 12 | 12 | 32 | Heads office | 12.17 | [12 empty] | 12.17 | 0 | 0.17
| 3 | Staff room work and social | 1 | 33 | 33 | 43, 43a | Staffroom | 14.63 | [12 empty] | 14.63 | 18.37 | 0
|  | Staff PPA | 1 | 10 | 10 | [15 empty] | 0 | 10 | 0
| 4 | Senior management office | 1 | 10 | 10 | [15 empty] | 0 | 10 | 0
| 7 | General office (reception) | 1 | 12 | 12 | 30 | Secretary office | 14.58 | [12 empty] | 14.58 | 0 | 2.58
| 8 | Secure reception | 1 | 4 | 4 | 14, 14a, 14b | Entrance | 10.49 | 2.67 | 1.97 | [10 empty] | 15.13 | 0 | 11.13
| 9 | Reprographics room | 1 | 8 | 8 | UN19 | Photocopying room | 15.12 | [12 empty] | 15.12 | 0 | 7.12
| 10 | Meeting room | 0 | 0 | 0 | [15 empty] | 0 | 0 | 0
| 11 | Sick bay | 1 | 3 | 3 | [15 empty] | 0 | 3 | 0
| 13 | Interview room | 1 | 9 | 9 | [15 empty] | 0 | 9 | 0
[5 empty] | 101 | [15 empty] | 71.63 | 50.37 | 21 | 70.92% | of the recommended staff and admin space required
Learning resource area | [23 empty] | 49.87% | shortfall
| 1 | Library (learning resource centre) | 1 | 30 | 30 | 22 | Library | 22.44 | [12 empty] | 22.44 | 7.56 | 0
| 3 | Small group room | 3 | 11 | 33 | [15 empty] | 0 | 33 | 0
| 5 | SENco office (SEN resource) | 1 | 12 | 12 | UN22 | SEN classroom | 16.56 | [12 empty] | 16.56 | 0 | 4.56
| 2 | Medical inspection room/ Therapy room | 1 | 12 | 12 | [15 empty] | 0 | 12 | 0
[5 empty] | 87 | [15 empty] | 39 | 52.56 | 4.56 | 44.83% | of the recommended learning resource areas
Supplementary area | [23 empty] | 60.41% | shortfall
| 1 |  | 0 | 0 | 0 | Mobile | After school club | 50 | [12 empty] | 50 | 0 | 50
[5 empty] | 0 | [15 empty] | 0 | 0 | 0
[21 empty] | 50 | 0 | 50 | - | of the recommended supplementary areas
Non net areas | [23 empty] | - | shortfall
| 1 | Reception toilets | 3 | 2 | 6 | 12,13 | Pupil WC's 2 wcs | 1.84 | 1.84 | [11 empty] | 3.68 | 2.32 | 0 | 2 | Number of reception toilets
| 1 | Pupils toilets | 10 | 2 | 20 | 5b, 5c, 5d, 5e, 5f, 17,18,21,38e,38f,38g,50 | Pupil wc's 10wc's, 6 urinals | 1.75 | 1.86 | 2.06 | 1.79 | 7.97 | 1.89 | 2.31 | 2.56 | 3.26 | 2.26 | 6.24 | 1.34 |  | 35.29 | 0 | 15.29 | 16 | Number of other pupil toilets
| 2 | Staff toilets | 2 | 2 | 4 | 33,34,39,40 | Staff wc's 4 wc's | 3.41 | 3.58 | 3.38 | 3.35 | [9 empty] | 13.72 | 0 | 9.72 | 66.67% | % of recommended reception toilets
| 3 | Accessible toilet | 1 | 3 | 3 | [15 empty] | 0 | 3 | 0 | 160% | % of recommended other pupil toilets
| 9 | Hygiene room | 1 | 12 | 12 | [15 empty] | 0 | 12 | 0
| 4 | Kitchen facilities (servery) | 1 | 28 | 28 | 38k | Kitchen | 8.52 | [12 empty] | 8.52 | 19.48 | 0
| 5 | Corridors | - | 22.5% | 202.5 | 19a,19c,38l,41,49,54,56,57,58,59,60,un20, un21 | Corridors | 3.13 | 2.84 | 4.39 | 9.7 | 4.08 | 1.16 | 1.75 | 4.15 | 10.12 | 1.16 | 6.27 | 12.38 | 1.21 | 62.34 | 140.16 | 0
| 6 | Boiler room | 1 | 1.5% | 13.5 | 26 | Boiler room | 34.65 | [12 empty] | 34.65 | 0 | 21.15
| 7 | Server | in boiler | [17 empty] | 0 | 0 | 0
|  | Walls | - | 4% | 36 |  |  | 35.2056 | [12 empty] | 35.2056 | 0.7944 | 0
[5 empty] | 325 | [15 empty] | 193.4056 | 177.7544 | 46.16 | 59.51% | of the recommended non net area
Additional area | [23 empty] | 54.69% | shortfall
|  | Nursery class | 1 | 62 | 62 | [15 empty] | 0 | 62 | 0
|  | Quiet room | 1 | 8 | 8 | [15 empty] | 0 | 8 | 0
|  | Nursery store room | 1 | 2 | 2 | [15 empty] | 0 | 2 | 0
|  | Nursery office | 1 | 8 | 8 | [15 empty] | 0 | 8 | 0
|  | Nursery cloakroom | 1 | 3 | 3 | [15 empty] | 0 | 3 | 0
|  | Nursery pupils toilets | 3 | 2 | 6 | [15 empty] | 0 | 6 | 0
|  | Nursery staff toilets | 1 | 2 | 2 | [15 empty] | 0 | 2 | 0
|  | Nursery entrance | 1 | 22.5% | 1.8675 | [15 empty] | 0 | 1.8675 | 0
[5 empty] | 92.8675 | [15 empty] | 0 | 92.8675 | 0
Total Net area |  |  |  |  | 900 | [15 empty] | 880.14
Total Non-Net area |  |  |  |  | 325 | [15 empty] | 193.4056
Gross (total build) area - excluding nursery |  |  |  |  | 1225 | [15 empty] | 1073.5456 |  |  | 87.64% | of the recommended Gross area
Gross (total build) area - including nursery |  |  |  |  | 1317.8675 | [15 empty] | 1073.5456
Net Area Range |  |  |  |  | 1211.0-1345.0
Mid Range |  |  |  |  | 1278
Total Site Area Range |  |  |  |  | 8991.0-11241.0
Mid Range |  |  |  |  | 10116
2
3
4

## Occupancy
Sufficiency Data
Planned Admission Number | Current Capacity | Maximum PAN | Capacity based on max PAN
30 | 210 | 29 | 203
NOR Spring Census
| 2008 / 2009 | 2009 / 2010 | 2010 / 2011 | 2011 / 2012 | 2012 / 2013 | 2013 / 2014
NOR Jan | 181 | 179 | 177 | 188 | 199 | 198
Maximum Capacity | 210 | 210 | 210 | 210 | 210 | 210
Number of Surplus Places | 29 | 31 | 33 | 22 | 11 | 12
% of surplus places | 13.8 | 14.8 | 15.7 | 10.5 | 5.2 | 5.7143
Current Numbers on Roll (from Autumn Census)
Year group | R | 1 | 2 | 3 | 4 | 5 | 6 | Total
Number | 30 | 27 | 30 | 23 | 29 | 24 | 29 | 192

## School stats
Current Ofsted | Year
Requires Improvement | 2014-07-08
2014 KS2 Performance Tables last update : (10 Dec 2014)
Year on year comparisons
Percentage achieving Level 4 or above in reading, writing and maths | 2012 | 2013 | 2014
School | 72% | 84% | 80%
LA | 71% | 71% | 76%
England - All Schools | 75% | 75% | 79%
KS2 test results and progress
| All pupils | Low attainers | Middle attainers | High attainers
Pupils eligible for KS2 assessment | 25
Percentage of pupils achieving 3 or below in reading and maths test and writing TA | 4% | SUPP | 0% | SUPP
Percentage of pupils achieving level 4 or above in reading and maths test and writing TA | 80% | SUPP | 83% | SUPP
Percentage of pupils achieved level 4B or above in reading and maths test and level 4 in writing TA | 64% | SUPP | 72% | SUPP
Percentage of pupils achieving level 5 or above in reading and maths test and writing TA | 8% | SUPP | 0% | SUPP
Percentage of pupils making at least 2 levels of progress in reading | 83% | SUPP | 78% | SUPP
Percentage of pupils making at least 2 levels of progress in writing TA | 100% | SUPP | 100% | SUPP
Percentage of pupils making at least 2 levels of progress in maths | 83% | SUPP | 89% | SUPP
Average point score | 27.8
Closing the Gap
| Disadvantaged pupils | Other pupils
Percentage of disadvantaged pupils achieving level 3 or below in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4B or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 5 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in reading | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in maths | SUPP | SUPP
Value Added measures
| Measure | Lower CI | Upper CI | Coverage
Overall value added measure | 98.7 | 97.9 | 99.6 | 96%
Reading value added measure | 99 | 98 | 100 | 96%
Writing TA value added measure | 99.6 | 98.6 | 100.6 | 96%
Maths value added measure | 98.3 | 97.1 | 99.4 | 96%
Subject level results
| Reading test | Maths test | Grammar, punctuation and spelling test | Writing TA
Percentage achieving level 3 or below | 12% | 16% | 24% | 4%
Percentage achieving Level 4 or above | 88% | 84% | 76% | 96%
Percentage achieving Level 4b or above | 80% | 68% | 64% | NA
Percentage achieving Level 5 or above | 44% | 24% | 52% | 16%
Pupil Absence last update : (11 Dec 2013)
| School | England - national (primary state-funded)
Overall absence: percentage | 4.2% | 4.8%
Persistent absence: around 15% + | SUPP | 3.6%
Please note - this year the Department will publish full year 2013/14 absence data in the performance tables in March 2015 rather than just the autumn and spring term data in December as in previous years, and we will continue to do so in future years. This is because the full year data provides the most robust indication of school absence rates.
School level information for the 2013/14 autumn and spring term only is available in our Statistical First Release here
2013-14 Finance last update : (10 Dec 2014)
Contextual information
Number of pupils (FTE) | 198
Percentage of pupils eligible for Free School Meals (FSM) | 6.6%
Free school meals eligibility band | LOW
Spend per pupil data as £ per pupil (in brackets percentage of total income or expenditure)
| School | LA Median | Non-London LAs Median | National Median
Grant funding | 4385 (97%) | 4525 | 4016 | 4325
Self generated income | 136 (3%) | 144 | 142 | 127
Total income | 4521 | 4723 | 4183 | 4479
Teaching staff | SUPP | 2277 | 2045 | 2106
Supply Staff | 156 (3%) | 87 | 118 | 127
Education support staff | SUPP | 689 | 650 | 733
Learning resources (not ICT equipment) | 233 (5%) | 181 | 174 | 184
ICT learning resources | 114 (3%) | 81 | 62 | 66
Bought in professional services - curriculum | 93 (2%) | 88 | 59 | 67
Back office (incl. Staff costs) | 349 (8%) | 406 | 334 | 351
Catering (incl. Staff costs) | 27 (1%) | 35 | 53 | 75
Premises (incl. Staff costs) | 347 (8%) | 259 | 275 | 301
Other staff costs | 209 (5%) | 153 | 133 | 142
Energy | 49 (1%) | 68 | 62 | 65
Other expenditure | 83 (2%) | 94 | 85 | 88
Total expenditure | 4529 | 4562 | 4143 | 4431
Spend per pupil data as £ per pupil : Comparisons over time
| 2010-11 | 2011-12 | 2012-13 | 2013-14
Teaching staff and Education support staff expenditure | 2620 | 2603 | 2599 | SUPP
Supply staff | 133 | 91 | 114 | 156
Back office (incl. Staff costs) | 296 | 334 | 321 | 349
Energy | 31 | 43 | 46 | 49
Total expenditure | 4111 | 4146 | 4184 | 4529
School Workforce last update : (10 Dec 2014)
This data is based upon the November 2013 School Workforce Census
| School | England - national (primary state-funded)
Headcount of all teachers in a school | 10 | 236728
Headcount of all teaching assistants in a school | 19 | 239340
Headcount of all support (exc. auxillary) staff in a school | 3 | 77335
Full-time equivalent number of all teachers in a school | 9.4 | 207827.7
Full-time equivalent number of all teaching assistants in a school | 10.4 | 154245.3
Full-time equivalent number of all support (exc. auxillary) staff in a school | 1.8 | 51728.3
Ratio of pupils to teachers in a school | 21.1 | 20.5
Average gross salary of all teachers in a school | 38684 | 36559

## Parental Preference
Popularity Data | [10 empty] | Children at School From School Catchment
Parental First Preference Applications | [11 empty] | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  | Catchment vs Nearest School |  |  |  |  | Catchment | Nearest
Year | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  |  | NOR | 179 | 177 | 188 | 199 | 198 |  |  |  | NOR |  |  |  |  | 192 | 192
PAN | 30 | 30 | 30 | 30 | 30 | 30 |  |  |  |  | Number | 148 | 151 | 147 | 152 | 146 |  |  |  | Total in area |  |  |  |  | 235 | 254
No. | 27 | 36 | 28.8 | 36 | 24.99 | 31 |  |  |  |  | % | 82.6816 | 85.3107 | 78.1915 | 76.3819 | 73.7374 |  |  |  | Number at School from area |  |  |  |  | 142 | 152
% | 90 | 120 | 96 | 120 | 83.3 | 103.3333 | [13 empty] | % at School |  |  |  |  | 73.9583 | 79.1667
[11 empty] | Total number in Catchment | [8 empty] | % of area going to School |  |  |  |  | 60.4255 | 59.8425
[12 empty] | 2010 | 2011 | 2012 | 2013 | 2014
[11 empty] | Number | 240 | 244 | 244 | 256 | 230
[11 empty] | % | 100 | 100 | 100 | 100 | 100
Where children at School are coming from (from Spring Census 2014)
DCSF No. | School |  | Almeley | Burghill Community | Clifford | Broadlands | Lord Scudamore | Marlbrook | Trinity | Kington | Leominster Infants’ School | Madley | Marden | Michaelchurch Escley | Peterchurch | Wellington | Weobley | Canon Pyon C E | Clehonger C E | St Mary’s C E, Credenhill | Dilwyn C E | Eardisley C E | Holmer C E | Stretton Sugwas C E | Kingsland C E | Ivington C E | Pembridge C E | Staunton-on-Wye Endowed | Out of County | Grand Total
2158 | Weobley | Number | 1 | 1 | 0 | 0 | 0 | 2 | 2 | 5 | 19 | 0 | 0 | 0 | 0 | 2 | 87 | 6 | 0 | 2 | 0 | 2 | 0 | 0 | 1 | 2 | 6 | 3 | 1 | 142
2158 | Weobley | % | 0.70423 | 0.70423 | 0 | 0 | 0 | 1.4085 | 1.4085 | 3.5211 | 13.3803 | 0 | 0 | 0 | 0 | 1.4085 | 61.2676 | 4.2254 | 0 | 1.4085 | 0 | 1.4085 | 0 | 0 | 0.70423 | 1.4085 | 4.2254 | 2.1127 | 0.70423 | 100
3015 | Canon Pyon C E | Number | 0 | 1 | 0 | 1 | 4 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 8 | 4 | 39 | 1 | 0 | 0 | 0 | 3 | 2 | 0 | 4 | 0 | 0 | 2 | 72
3015 | Canon Pyon C E | % | 0 | 1.3889 | 0 | 1.3889 | 5.5556 | 2.7778 | 0 | 0 | 1.3889 | 0 | 0 | 0 | 0 | 11.1111 | 5.5556 | 54.1667 | 1.3889 | 0 | 0 | 0 | 4.1667 | 2.7778 | 0 | 5.5556 | 0 | 0 | 2.7778 | 100
3026 | St Mary’s C E, Credenhill | Number | 1 | 5 | 0 | 1 | 3 | 1 | 6 | 0 | 0 | 0 | 2 | 0 | 0 | 3 | 9 | 1 | 0 | 146 | 0 | 0 | 4 | 13 | 0 | 0 | 1 | 2 | 0 | 198
3026 | St Mary’s C E, Credenhill | % | 0.50505 | 2.5253 | 0 | 0.50505 | 1.5152 | 0.50505 | 3.0303 | 0 | 0 | 0 | 1.0101 | 0 | 0 | 1.5152 | 4.5455 | 0.50505 | 0 | 73.7374 | 0 | 0 | 2.0202 | 6.5657 | 0 | 0 | 0.50505 | 1.0101 | 0 | 100
3030 | Dilwyn C E | Number | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 8 | 2 | 0 | 0 | 8 | 1 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 34
3030 | Dilwyn C E | % | 8.8235 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.7059 | 0 | 0 | 0 | 0 | 0 | 23.5294 | 5.8824 | 0 | 0 | 23.5294 | 2.9412 | 0 | 0 | 0 | 0 | 20.5882 | 0 | 0 | 100
3378 | Staunton-on-Wye Endowed | Number | 0 | 2 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 3 | 2 | 1 | 18 | 0 | 2 | 3 | 0 | 5 | 0 | 1 | 0 | 0 | 0 | 24 | 0 | 81
3378 | Staunton-on-Wye Endowed | % | 0 | 2.4691 | 17.284 | 0 | 0 | 0 | 0 | 0 | 0 | 7.4074 | 0 | 3.7037 | 2.4691 | 1.2346 | 22.2222 | 0 | 2.4691 | 3.7037 | 0 | 6.1728 | 0 | 1.2346 | 0 | 0 | 0 | 29.6296 | 0 | 100
Where school children in the Schools Catchment area are going to (from Spring Census 2014)
DCSF No. | School |  | Almeley | Burghill Community | Clifford | Broadlands | Hampton Dene | Lord Scudamore | Trinity | Lugwardine | Marden | Wellington | Weobley | Withington | Canon Pyon C E | St Mary’s C E, Credenhill | Dilwyn | Eardisley C E | Holmer C E | Stretton Sugwas C E | St Mary’s C E, Fownhope | St Francis Xaviers RC | St Pauls CE | Kingsland C E | Ivington C E | Pembridge C E | Staunton-on-Wye Endowed | St Thomas Cantilupe C E | Riverside | Grand Total
2158 | Weobley | Number | 4 | 6 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 2 | 87 | 0 | 4 | 9 | 8 | 5 | 0 | 2 | 1 | 0 | 1 | 4 | 0 | 6 | 18 | 0 | 0 | 159
2158 | Weobley | % | 2.5157 | 3.7736 | 0 | 0 | 0.62893 | 0 | 0 | 0.62893 | 0 | 1.2579 | 54.717 | 0 | 2.5157 | 5.6604 | 5.0314 | 3.1447 | 0 | 1.2579 | 0.62893 | 0 | 0.62893 | 2.5157 | 0 | 3.7736 | 11.3208 | 0 | 0 | 100
3015 | Canon Pyon C E | Number | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 2 | 2 | 6 | 0 | 39 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 2 | 0 | 0 | 0 | 60
3015 | Canon Pyon C E | % | 0 | 1.6667 | 1.6667 | 0 | 0 | 1.6667 | 0 | 0 | 3.3333 | 3.3333 | 10 | 0 | 65 | 1.6667 | 3.3333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 3.3333 | 0 | 0 | 0 | 100
3026 | St Mary’s C E, Credenhill | Number | 0 | 23 | 0 | 1 | 0 | 6 | 8 | 0 | 0 | 0 | 2 | 2 | 0 | 146 | 0 | 0 | 6 | 24 | 1 | 3 | 1 | 0 | 2 | 0 | 3 | 1 | 1 | 230
3026 | St Mary’s C E, Credenhill | % | 0 | 10 | 0 | 0.43478 | 0 | 2.6087 | 3.4783 | 0 | 0 | 0 | 0.86957 | 0.86957 | 0 | 63.4783 | 0 | 0 | 2.6087 | 10.4348 | 0.43478 | 1.3043 | 0.43478 | 0 | 0.86957 | 0 | 1.3043 | 0.43478 | 0.43478 | 100
6008 | Dilwyn | Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9
6008 | Dilwyn | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 88.8889 | 0 | 0 | 0 | 0 | 11.1111 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100
3378 | Staunton-on-Wye Endowed | Number | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 32
3378 | Staunton-on-Wye Endowed | % | 0 | 0 | 0 | 0 | 0 | 3.125 | 0 | 0 | 0 | 0 | 9.375 | 0 | 0 | 6.25 | 0 | 6.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 75 | 0 | 0 | 100

## Disability access
Physical Accessibility Rating | 1
Information from https://www.herefordshire.gov.uk/education-and-learning/schools/directory
Ratings and descriptions
Rating | Details | Description
3 | Fully accessible | Will meet the needs of all disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling); Has a full hygiene room and special educational needs or therapy room for pupils who need more assistance with personal care (including hoisting) and regular physio or other treatment
2 | Mainly accessible | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
1 | Partly accessible | Some standards met but some areas not accessible
0 | Inaccessible | No level access into building and/or no disabled toilet
Summary of physical accessibility standards
Level access into building(s): Main and pupil entrance(s) level, with ramps and hand rails as required
Level access to all curriculum and social areas (not necessarily entire building/site): including assembly hall, canteen (may be achieved by sensitive organisation and timetabling)
Access to upper floors: if required - lift(s) as alternative to steps or stairs
Toilet facilities: small disabled toilet(s) as specified by building regulations - suitable for most disabled pupils. A small number of pupils will require enhanced facilities (hygiene room) to provide greater assistance, including hoisting.
Medical, therapy or SEN room: multi-purpose or flexible use - usually required in addition to a hygiene room, for regular physio and other physical programmes
Emergency evacuation: routes should be level and unobstructed. Evacuation must be documented (using Personal Emergency Evacuation Plans - PEEPs) and practised regularly