## Cover Page
St Peter's Primary School
Summary Report
Contents
|  | Section | Page | No. of pages
St Peter's Primary School |  | Summary Data | 3 | 1
Summary Report |  | General Information and Asset Summary | 4 | 1
|  | Maintenance and Condition Summary | 5 | 2
|  | Education Funding Agency Condition Survey Data | 7 | 1
Schools Capital Investment Strategy |  | Suitability and Compliance Summary | 8 | 2
|  | School Occupancy Summary | 10 | 1
|  | School Statistics | 11 | 1
|  | Environmental Sustainability Condition | 12 | 1
|  | Parental Preference | 13 | 1
|  | Distribution of Children Attending School or Resident in its Catchmnet Area | 14 | 1
|  | Distribution of Children Attending School or Where it is the Nearest School | 15 | 1
|  | Key Services Within 2 Mile Radius of School | 16 | 1
|  | Key Services Adjacent to School | 17 | 1
|  | Disability Access | 18 | 1
Children's Wellbeing
Herefordshire Council
Plough Lane Offices
Plough Lane
HEREFORD
HR4 0LE

## Summary Info
St Peter's Primary School
Summary Report
Summary of Headline Information
Asset Summary | [5 empty] | Occupancy Summary
Gross Site Area (M2)(whole site including building):- |  | 13944 |  |  |  | Current Capacity (PAN 30):- |  |  |  | 210
Insurance Asset Value (£000):- |  | Not Known |  |  |  | Allocated Capacity Size (PAN 30):- |  |  |  | 210
Land Asset Value (£000):- |  | Not Known |  |  |  | Current Occupancy:- |  |  |  | 190
Land Ownership:- | School owns, transferred under statute 2010 |  |  |  |  | Current Planned Admission No.:- |  |  |  | 30
[6 empty] | Current Number Over Capacity:- |  |  |  | 0
[6 empty] | Current Number Under Capacity:- |  |  |  | 20
Maintenance Expenditure Required on the School over a 5 Year Period Summary
Survey Date:- |  |  |  | 2011-11-24
Backlog Maintenance Total (£000):- | [6 empty] | 161.6622
Total Forecast Expenditure (5 years) (£000):- | [6 empty] | 31.1166
Total Potential Local Authority Forecast Expenditure (£000):- | [6 empty] | 169.6142
Total Potential School Forecast Expenditure (£000):- | [6 empty] | 23.1646
Suitability and Compliance
Required Number of Classrooms:- | [6 empty] | 7 | Required Building Footprint (M2):- |  | 342.36
Actual Number of Classrooms:- | [6 empty] | 7 | Current Building Area (M2):- |  | 282.14
Percentage of Classrooms that are the Recommended Size:- | [6 empty] | 0 | Area Shortfall (M2):- |  | 60.22
Compliance Percentage of Recommended Hall Size:- | [6 empty] | 93.7667 | Area Surplus (M2):- |  | 0
Number of Temporary Buildings on Site:- |  |  |  |  | 0 |  |  | Total Percentage Compliance:- |  | 0
Number of Classrooms in Temporary Buildings:- |  |  |  |  | 0
Compliance Percentage of Recommended Reception Toilets:- | [5 empty] | Plough Lane | 0 | Required Net Site Area (M2):- |  | 9773.64
Compliance Percentage of Recommended Other Pupil Toilets:- | [6 empty] | 170 | Current Net Site Area (M2):- |  | 13661.86
Nursery on Site:- | Yes | [6 empty] | Area Shortfall (M2):- |  | 0
[8 empty] | Area Surplus (M2):- |  | 3888.22
[8 empty] | Total Percentage Compliance:- |  | 139.7827
Disability Access
Rating:- | 3 |  | Details:- |  |  |  | Fully accessible
Environmental Sustainability Condition
DEC Rating:- |  |  |  |  | C
Electric Consumption 2014/Child:- |  |  |  |  | 249.2222
Gas Consumption 2014/Child:- |  |  |  |  | 332.0048
School Statistics
Ofsted Results:- | [8 empty] | Good
Percentage of Children Achieving KS2 Level 4 or Above in Reading, Writing and Maths in 2014:- | [8 empty] | 81
Parental Preference (2014)
Percentage of Parental First Preference Applications:- | [6 empty] | 116.6667
Total Number of Children within Catchment:- | [6 empty] | 287
Total Number of Children at School from Catchment:- | [6 empty] | 174
Percentage of Catchment at School:- | [6 empty] | 92.0635
Percentage of Catchment Going to School:- | [6 empty] | 60.6272

## Report
|  |  | St Peter's Primary School | [7 empty] | St Peter's Primary School | [14 empty] | St Peter's Primary School | [7 empty] | St Peter's Primary School |  |  |  |  | St Peter's Primary School |  | St Peter's Primary School |  |  |  |  | St Peter's Primary School | [5 empty] | St Peter's Primary School |  |  | St Peter's Primary School | [8 empty] | St Peter's Primary School |  | St Peter's Primary School |  | St Peter's Primary School |  | St Peter's Primary School |  | St Peter's Primary School |  |  | St Peter's Primary School
|  |  | Summary Report | [7 empty] | Summary Report | [14 empty] | Summary Report | [7 empty] | Summary Report |  |  |  |  | Summary Report |  | Summary Report |  |  |  |  | Summary Report | [5 empty] | Summary Report |  |  | Summary Report | [8 empty] | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  |  | Summary Report
General Information |  |  |  |  | Maintenance and Condition Summary | [21 empty] | Education Funding Agency Condition Survey Data | [7 empty] | Suitability and Compliance Summary |  |  |  |  | Suitability and Compliance Summary (continued) |  | School Occupancy Summary |  |  |  |  | School Statistics | [5 empty] | Environmental Sustainability Condition |  |  | Parental Preference | [8 empty] | Distribution of Children Attending School or Resident in its Catchment Area |  | Distribution of Children Attending School or Where it is the Nearest School |  | Key Services Within 2 Mile Radius of School |  | Key Services Adjacent to School |  | Disability Access
Maintenance and Condition Summary (continued)
School Name:- | St Peter's Primary School |  |  |  | Survey Date:- | 2011-11-24 |  | Survey Company:- |  | Amey |  | Key Elements and Annual Forecast Maintenance Costs and Responsibilities | [14 empty] | Date of Survey:- |  | 2013-05-08 | [5 empty] | Areas | Standard Criteria (M2) (PAN 30) | Schools Compliance (M2) | Compliance Percentage |  |  |  | Current Planned Admission No. (PAN) | Current School Capacity | Maximum PAN | Maximum Capacity Based on PAN |  | Year | KS2 Year on Year Results |  |  |  |  | Electric Consumption 2014/Child:- | 249.2222 |  |  | Parental First Preference Applications | [15 empty] | Physical Accessibility Rating
Head Teacher:- | Mr K Wright | DFE Number:- | 2024 |  | Year | Forecast Maintenance Costs (£ 000) | [5 empty] | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows and Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | Number of Occurences Identified Within the Report | [7 empty] | Basic Teaching Space | 496 | 502.36 | 101.2823 |  |  |  | 30 | 210 | 33 | 231 |  |  | School - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | LA - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | All Schools in England - Percentage Achieving Level 4 or Above in Reading, Writing and Maths |  |  | Gas Consumption 2014/Child:- | 332.0048 |  |  | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | [10 empty] | Rating: | 3
Leadership:- | Stand Alone | [25 empty] | Rating (see key below) | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other | Hall and Studio | 180 | 168.78 | 93.7667 | [17 empty] | PAN | 30 | 30 | 30 | 30 | 30 | 30
Address:- | St Peter's Primary School, Cherry Tree Close, Winslow Road, Bromyard, Herefordshire HR7 4UY | Email:- | admin@st-peters.hereford.sch.uk |  | Backlog | 161.6622 | [5 empty] | £ 000 | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | [8 empty] | Storage | 98 | 72.26 | 73.7347 |  |  |  | Historical Numbers on Roll Data (Spring Census) | [13 empty] | Number | 27 | 33 | 27 | 21.9 | 20.01 | 35 | [10 empty] | Details: | Fully accessible
[5 empty] | 2015 | 16.1345 |  |  | 161.6622 |  |  | Backlog | 4.0336 | 7.491 | 3.2845 | 20.8596 | 0.25354 | 26.7372 | 3.7455 | 0 | 0.7952 | 53.4456 | 5.2898 | 35.7265 | 0 | 0 | C1 | [7 empty] | Staff and Admin | 101 | 41.55 | 41.1386 |  |  |  | Year | Total NOR | Capacity Based on PAN | Shortfall | Surplus | 2012 | 64 | 71 | 75 | [5 empty] | Percentage | 90 | 110 | 90 | 73 | 66.7 | 116.6667
[5 empty] | 2016 | 14.9821 |  |  | 16.1345 |  |  | 2015 | 1.1525 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.6771 | 2.3049 | 0 | 0 | 0 | C2 |  |  |  | 1 |  | 2 |  | Learning Resource | 87 | 20.69 | 23.7816 |  |  |  | 2008 / 2009 | 189 | 210 | 0 | 21 | 2013 | 68 | 71 | 75 | [22 empty] | Description: | Will meet the needs of all disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling); Has a full hygiene room and special educational needs or therapy room for pupils who need more assistance with personal care (including hoisting) and regular physio or other treatment
[5 empty] | 2017 | Not Available |  |  | 14.9821 |  |  | 2016 | 1.1525 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.6771 | 1.1525 | 0 | 0 | 0 | D1 | [7 empty] | Supplementary Area | 0 | 20.62 | 0 |  |  |  | 2009 / 2010 | 197 | 210 | 0 | 13 | 2014 | 81 | 76 | 79 | [5 empty] | Historical Catchment Analysis (Spring Census)
Telephone No.:- | T: 01885 483237 F: 01885 483829 | School Cluster:- | Bromyard District - Queen Elizabeth Humanities College |  | 2018 | Not Available |  |  | Not Available |  |  | 2017 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | D2 | [7 empty] | Non Net Area | 38.48 | 34.97 | 0 |  |  |  | 2010 / 2011 | 189 | 210 | 0 | 21 | [9 empty] | Catchment Analysis |  |  |  | 2010 | 2011 | 2012 | 2013 | 2014
[5 empty] | 2019 | Not Available |  |  | Not Available |  |  | 2018 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | D3 | [7 empty] | Total Gross Building Area | 342.36 | 282.14 | 0 |  |  |  | 2011 / 2012 | 193 | 210 | 0 | 17 | KS2 Test Results and Progress (2014) | [11 empty] | Total in Catchment | 276 | 279 | 291 | 291 | 287
[9 empty] | Not Available |  |  | 2019 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | [15 empty] | 2012 / 2013 | 183 | 210 | 0 | 27 | [12 empty] | Number at School from Catchment | 176 | 169 | 181 | 169 | 174
School Type:- | Community | Building Number:- | 3XBB |  | Total | 192.7788 | [5 empty] | Totals | 6.3386 | 7.491 | 3.2845 | 20.8596 | 0.25354 | 26.7372 | 3.7455 | 0 | 0.7952 | 78.7999 | 8.7472 | 35.7265 | 0 | 0 | *Note the information noted above has been extracted from the EFA survey focusing on elements that are C & D rated. Items with an A or B rating have been excluded. The numbers reference the quantity of elements that the survey has picked up within the relevant category | [7 empty] | Total Gross Site Area | 10116 | 13944 | 137.841 |  |  |  | 2013 / 2014 | 189 | 210 | 0 | 21 | Pupils eligible for KS2 assessment |  |  |  | 21 | [7 empty] | Percentage at School from Catchment | 89.3401 | 89.418 | 93.7824 | 92.3497 | 92.0635
Current Capacity:- | 210 | Site Area:- | 13944 | [31 empty] | Net Site Area (less the building area) | 9773.64 | 13661.86 | 139.7827 |  |  |  | Current Occupancy | 190 | 210 | 0 | 20 | Percentage achieving level 3 or below in reading, writing and maths |  |  |  | 5 | [7 empty] | Percentage of Catchment Going to School | 63.7681 | 60.5735 | 62.1993 | 58.0756 | 60.6272
[12 empty] | Total Potential Expenditure - Local Authority (£000) | [6 empty] | 169.6142 | [27 empty] | Percentage achieving level 4 or above in reading, writing and maths |  |  |  | 81
[5 empty] | Key Elements of Forecast Maintenance | [29 empty] | Key Information (based on Building Bulletin 103) | [6 empty] | Current Occupancy Summary (Autumn Census 2014) |  |  |  |  | Percentage achieving level 4B or above in reading and maths and level 4 or above in writing |  |  |  | 67 |  |  |  |  | Catchment and Nearest School Comparison (Autumn Census 2014)
[5 empty] | Categories |  | Totals (£ 000) | [19 empty] | Key | [7 empty] | Required Number of Classrooms |  |  |  | 7 |  |  | Year Group | NOR | Shortfall | Surplus |  | Percentage achieving level 5 or above in reading, writing and maths |  |  |  | 19 | [7 empty] | Catchment vs Nearest School | Catchment | Nearest
[5 empty] | External Grounds |  | 13.8296 |  |  |  |  | Total Potential Expenditure - School (£000) | [6 empty] | 23.1646 | [7 empty] | Condition grade | Definition |  |  |  | Priority rating | Definition |  | Number of Classrooms |  |  |  | 7 |  |  | Reception | 34 | 4 | 0 |  | Percentage making expected progress in reading |  |  |  | 100 | [7 empty] | NOR | 190 | 190
[5 empty] | Roof Works |  | 24.1442 | [27 empty] | Percentage of Classrooms that are the Recommended Size |  |  |  | 0 |  |  | One | 25 | 0 | 5 |  | Percentage making expected progress in writing |  |  |  | 100 | [7 empty] | Total in Area | 295 | 327
[5 empty] | External Walls |  | 26.9908 | [19 empty] | A Good | Performing as intended and operating efficiently |  |  |  | 1 | Immediate or year 1 remedial action required |  | Percentage of Classrooms that are Classed as Small |  |  |  | 100 |  |  | Two | 25 | 0 | 5 |  | Percentage making expected progress in maths |  |  |  | 95 | [7 empty] | Number at School from Area | 175 | 179
[5 empty] | Windows and Doors |  | 3.7455 | [27 empty] | Number of Temporary Buildings on Site |  |  |  | 0 |  |  | Three | 25 | 0 | 5 |  | Average point score |  |  |  | 28.1 | [7 empty] | Percentage at School | 92.1053 | 94.2105
[5 empty] | Internal Works |  | 79.5951 | [19 empty] | B Satisfactory | Performing as intended but exhibiting minor deterioration |  |  |  | 2 | Year 1-2 remedial action required |  | Number of Classrooms in Temporary Buildings |  |  |  | 0 |  |  | Four | 32 | 2 | 0 | [13 empty] | Percentage of area going to School | 59.322 | 54.7401
Asset Summary |  |  |  |  | Mechanical and Electrical |  | 44.4737 | [27 empty] | Percentage of Recommended Reception Toilets |  |  |  | 0 |  |  | Five | 28 | 0 | 2 |  | Latest Ofsted Report Date:- |  | 2014-01-22
|  |  |  | Plough Lane | Other (e.g. ancillary buildings) |  | 0 | [19 empty] | C Poor | Exhibiting major defects and/or not operating as intended |  |  |  | 3 | Year 3-5 remedial action required |  | Percentage of Recommended Other Pupil Toilets |  |  |  | 170 |  |  | Six | 21 | 0 | 9 |  | Ofsted Result:- |  | Good
Asset Value - Insurance (£000):- |  | Not Known | [39 empty] | Total | 190 | 0 | 20
Asset Value - Land (£000):- |  | Not Known | [24 empty] | D Bad | Life-expired and/or at serious risk of imminent failure
Land Owner:- |  | School owns, transferred under statute 2010 | [37 empty] | Category | Areas Included
[40 empty] | Basic Teaching Spaces | General Classrooms, ICT Rooms, Practical Areas
[40 empty] | Hall and Studio | Halls, Dining Areas
Lease Agreement / Notes:- |  | Not Known | [37 empty] | Storage | Coats and Bags, Teaching, Specialist, PE Equipment, Bulk Stock, Cleaning, Caretakers and Maintenance, Tables and Chairs, Staging, Mobility Equipment
Nursery Provision:- |  | LA Maintained Nursery | [37 empty] | Staff and Admin | Heads and Staff Offices, Staff Room, Staff PPA,Reprographics Room, Sick Bay, Interview and Meeting Rooms, Secure Entrance
[40 empty] | Learning Resource | Library, Small Group Rooms, SENCO Office, Medical Inspection Room
[40 empty] | Supplementary Area | Any other specialist area at the school e.g. Music Classroom, Swimming Pool, SEN Classrooms
[40 empty] | Non Net Area | Pupil and Staff Toilets, Accessible Toilets, Hygiene Room, Kitchen, Corridors, Server Room, Boilers
[40 empty] | Additional Area | Nursery provision

## Feedback
|  | St Peter's Primary School |  |  | St Peter's Primary School |  |  | St Peter's Primary School
|  | Feedback Form |  |  | Feedback Form |  |  | Feedback Form
General Information and Asset Summary |  |  | School Occupancy Summary |  |  | Parental Preference
Do you believe the data to be accurate? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Maintenance and Condition Summary |  |  | School Statistics |  |  | Disability Access
Do you believe the data to be a fair reflection of the maintenance and condition of the school? | [5 empty] | Do you believe the data to be a fair reflection of the environmental condition of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Suitability and Compliance Summary |  |  | Environmental Sustainability Condition |  |  | Any Other Comments
Do you believe the data to be a fair reflection of the suitability and compliance issues faced by the school? | [5 empty] | Additional comments about the information provided:
Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments:
If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920
Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015

## Asset summary
Building ref number:- | 3XBB
Site Area:- | 13944
Asset Value (Insurance):- | Not Known
Asset Value (Land):- | Not Known
Land owner:- | School owns, transferred under statute 2010
Lease agreement / notes:- | Not Known
DEC rating:- | C
Electric consumption 2014/child:- | 249.2222
Gas consumption 2014/child:- | 332.0048

## Maintenance
Maintenance & Condition Summary |  |  |  | BCIS Quarter | 4Q2011 | [11 empty] | Check | Main year totals | Summary year totals | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows & Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | BCIS quarter | BCIS uplift
Year survey undertaken |  | 2011-11-24 |  | BCIS Uplift | 1.1525 | [15 empty] | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | 1Q2009 | 1.1525
Survey company:- |  | Amey | [15 empty] | 161662.2197 | 161662.2197 | Backlog | 4033.6323 | 7491.0314 | 3284.5291 | 20859.6413 | 253.5426 | 26737.2197 | 3745.5157 | 0 | 795.2018 | 53445.6278 | 5289.8206 | 35726.4574 | 0 | 0 | 2Q2009 | 1.1898
[18 empty] | 16134.5291 | 16134.5291 | 2015 | 1152.4664 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12677.13 | 2304.9327 | 0 | 0 | 0 | 3Q2009 | 1.1898
[18 empty] | 14982.0628 | 14982.0628 | 2016 | 1152.4664 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12677.13 | 1152.4664 | 0 | 0 | 0 | 4Q2009 | 1.2123
|  |  |  | Year covered? | Y | Y | Y | N | N | N | School Costs | [6 empty] | 0 | 0 | 2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1Q2010 | 1.2297
Category | Ref | Element | Recommended Works | Estimated Work Cost | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 |  | 0 | 0 | 2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2Q2010 | 1.1789
[18 empty] | 0 | 0 | 2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3Q2010 | 1.1735
g | 2.1.2.a | TIMBER FENCES & GATES | Generally the fences are in good condition with minor areas of deterioration to posts, recommend replace where necessary | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2010 | 1.1682
g | 2.1.2.c | DECORATING | Paint and wood stain all timber fences and gates and repair where necessary replacing any rotten timber. | 6500 | 6500 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Individual Category totals | 6338.565 | 7491.0314 | 3284.5291 | 20859.6413 | 253.5426 | 26737.2197 | 3745.5157 | 0 | 795.2018 | 78799.8879 | 8747.2197 | 35726.4574 | 0 | 0 | 1Q2011 | 1.1735
|  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2011 | 1.1525
g | 2.1.3.a | CLIMBING FRAMES | Carry out annual ROSPA inspection on all play equipment and carry out necessary repairs to be carried out annually - £1000 per year x 5 | 5000 | 3000 | 1000 | 1000 |  |  |  | 3000 | 1000 | 1000 | 0 | 0 | 0 |  |  |  |  | Summary category totals | Main category totals | Check | [11 empty] | 3Q2011 | 1.1682
|  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2011 | 1.1525
r | 2.2.a | MAIN ROOF - PITCHED | Roof generally is in good condition. The only works required are repointing to hip and ridge tiles where this in places has perished. Access included in costs. | 5500 | 5500 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | External Grounds |  | 13829.5964 | 13829.5964 | [12 empty] | 1Q2012 | 1.1953
r | 2.2.d | MAIN ROOF - GUTTERS | Clean out gutters, check for leaks and carry out necessary repairs as such replacing defective sections, sealing joints, replacing joints and securing loose brackets. Works to be carried out in conjunction with roof works to utilise access cost. | 2000 | 2000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Roof Works |  | 24144.1704 | 24144.1704 | [12 empty] | 2Q2012 | 1.1174
r | 2.2.e | MAIN ROOF - FASCIAS & BARGE BOARDS | Generally these are in fair condition with isolated areas of decay which sections can be replaced - need to be mindful of the item below, if the soffits are asbestos then replacement of fascias may cause disturbance. | 1500 | 1500 | [5 empty] | 1500 | 0 | 0 | 0 | 0 | 0 |  |  | External Walls |  | 26990.7623 | 26990.7623 | [12 empty] | 3Q2012 | 1.1525
r | 2.2.f | MAIN ROOF - EAVES SOFFITS | The soffits which are a pre finished fibre board may contain asbestos and was unable to locate asbestos survey to conclude. Recommend sample test and report to be carried out. The board is self appears to be sound and free of defects and thus if found to be asbestos could be monitored and managed. | 850 | 850 | [5 empty] | 850 | 0 | 0 | 0 | 0 | 0 |  |  | Windows & Doors |  | 3745.5157 | 3745.5157 | [12 empty] | 4Q2012 | 1.1473
r | 2.2.g | MAIN ROOF - DECORATIONS TO FASCIAS & BARGE BOARDS | Recommend wood stain to prevent further deterioration. | 4600 | 4600 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Internal Works |  | 79595.0897 | 79595.0897 | [12 empty] | 1Q2013 | 1.0983
r | 2.2.h | MAIN ROOF - DECORATIONS TO SOFFITS | The soffits boards are stained and discoloured and require painting to brighten up - works are of an esthetical nature. | 6000 | 6000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Mechanical & Electrical |  | 44473.6771 | 44473.6771 | [12 empty] | 2Q2013 | 1.089
|  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Other |  | 0 | 0 | [12 empty] | 3Q2013 | 1.0983
w | 2.3.c | WINDOWS - TIMBER | Overhaul and ease and adjust all windows, include for replacing defective ironmongery. Where there has been a been a lack of maintenance, the window frames have isolated areas of rotten timber and recommend window care repairs are carried out - approx 20 nr. | 1800 | 1800 | [5 empty] | 1800 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2013 | 1.0798
w | 2.3.d | DOORS - TIMBER GLAZED | Overhaul and ease and adjust all doors, include for replacing defective ironmongery. In particular there is one 2XG door (Corridor 11/32/41) that is beyond repair and requires replacing. | 950 | 950 | [5 empty] | 950 | 0 | 0 | 0 | 0 | 0 |  |  | Total |  | 192778.8117 | 192778.8117 | [12 empty] | 1Q2014 | 1.0447
w | 2.3.e | DOORS - TIMBER SOLID | Overhaul and ease and adjust all doors, include for replacing defective ironmongery. In particular there is one SOLID door (Corridor 11/32/41) that is beyond repair and requires replacing. | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2014 | 1.0198
r | 2.3.f | PIPES - RAIN WATER PIPES | Over haul and clean out to ensure leak free and free flowing | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 3Q2014 | 1.028
e | 2.3.h | COLUMNS AND POSTS - TIMBER | To all posts within play areas supply and fit protective post covers www.safty-pads.co.uk | 220 | 220 | [5 empty] | 220 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2014 | 1.0078
e | 2.3.i | DECORATIONS | Paint facia boards to prevent further deterioration. | 4400 | 4400 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 1Q2015 | 1
e | 2.3.j | DECORATIONS | Paint all windows and doors to prevent further deterioration. | 18800 | 18800 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 2.4.a | CEILINGS | Generally the ceilings are in good condition with only isolated defective ceilings. Recommend replace defective 4nr.600x600mm and 2nr 1200x600mm | 40 | 40 | [5 empty] | 40 | 0 | 0 | 0 | 0 | 0
i | 2.4.f | FLOOR FINISHES | Floor tiles are in poor condition and breaking up in may places. Recommend replacement with vinyl flooring including self levelling screed to the following areas: Corridor 32, 40 and 51, kitchen and partly in classrooms. | 17225 | 17225 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 2.4.g | FLOOR FINISHES | The carpet in classrooms are becoming very tatty and worn, recommend replacement to the following areas: Classrooms 12, 16, 17, 19, 33, 39, 49, 50, 52 and 53 | 12150 | 12150 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 2.4.i | DOORS AND IRONMONGERY | Fire doors do not comply with current standards, recommend fitting of over head door closure, fire/smoke seal and finger traps to the following rooms: Classrooms 17, 19, 23a, 33, 39, 49, 50 and 52. | 3200 | 3200 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 2.4.j | DOORS AND IRONMONGERY | Fire doors do not comply with current standards, recommend fitting of over head door closure, fire/smoke seal and finger traps to the following rooms: Classrooms 17, 19, 23a, 33, 39, 49, 50 and 52. | 2800 | 2800 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 2.4.k | DOORS AND IRONMONGERY | Ease and adjust doors generally and replace defective ironmongery where required. | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
i | 2.4.l | DECORATIONS | Implement a painting programme to be carried out during summer holidays | 33000 | 11000 | 11000 | 11000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
i | 2.4.o | SUNDRY ITEMS | Supply and fit pull cord alarm in accordance with Part M of the building regulations | 450 | 450 | [5 empty] | 450 | 0 | 0 | 0 | 0 | 0
m | 3.1.1.a | WC 35 - Extract Fan | The extract fan is old, currently serviceable. Replace individual units as necessary. Allowance made for an annual expenditure. | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
m | 3.1.1.c | Computer Room Area - Transfer Grilles | Requires cleaning & general maintenance | 80 | 80 | [5 empty] | 80 | 0 | 0 | 0 | 0 | 0
m | 3.1.1.d | Sports Hall - AHU | The AHU is old but in a serviceable condition at the moment but past its life expectancy | 5000 | 5000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.1.1.e | Boys WC 07 | Extract fan is currently in serviceable condition and should be for the next couple of years. Allowance made for an annual expenditure. Nearing the end of its life expectance. | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
m | 3.1.1.f | Girls WC 10 | Extract fan is currently in serviceable condition and should be for the next couple of years. Allowance made for an annual expenditure. | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
m | 3.1.1.g | Staff WC | Extract fan is currently in serviceable condition. Allowance made for an annual expenditure. Nearing the end of its life expectance. | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.1.2.a | Computer Room Area - Radiators | Radiators are old fittings, currently serviceable. Replace individual units as necessary. Allowance made for an annual expenditure. | 600 | 600 | [5 empty] | 600 | 0 | 0 | 0 | 0 | 0
m | 3.1.2.b | Classrooms -Radiators | Radiators are old fittings, currently serviceable. Replace individual units as necessary. Allowance made for an annual expenditure. | 600 | 600 | [5 empty] | 600 | 0 | 0 | 0 | 0 | 0
m | 3.1..2.d | Lobby/Library Area - Radiator | Radiators are old fittings, currently serviceable. Replace individual units as necessary. Allowance made for an annual expenditure. *note these radiators are not of the LST type required for schools | 300 | 300 | [5 empty] | 300 | 0 | 0 | 0 | 0 | 0
m | 3.1.3.a | Circulation Space - Sink CWS Taps | Taps are old and leaking | 60 | 60 | [5 empty] | 60 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.1.4.a | Plantroom - Boilers | 3 boilers are old and generally well maintained but are nearing the end of the life expectancy and will require renewal in the next couple of years | 4000 | 4000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.1.4.b | Plantroom - Pumps | The Pumps are in generally good condition and should be serviceable for the next couple of years, however 2 no. of the twin circulation heating pumps have been replaced in the last couple of years and the other 2 are old and will require changing in the near future. | 2000 | 2000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.1.4.c | Plantroom - Boiler Flues | The flues are generally in good condition and should be serviceable for the next couple of years. | 3000 | 3000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.1.4.e | Plantroom - Gas Solenoid Valve | Gas solenoid valve & panic button are old and will require changing. | 1000 | 1000 | [5 empty] | 1000 | 0 | 0 | 0 | 0 | 0
m | 3.1.4.g | Nursery - HWS Tap | The hot water tap is broken and need replacement | 50 | 50 | [5 empty] | 50 | 0 | 0 | 0 | 0 | 0
m | 3.1.4.h | Nursery - Radiators | The radiator and LST cower are generally in good condition, but just requires cleaning and the LST cover to be dismantled and LTHW radiator has debris on it which should be removed. | 100 | 100 | [5 empty] | 100 | 0 | 0 | 0 | 0 | 0
m | 3.3.1.A | Switchgear | Replace main incoming DB board and tidy cupboard so it is accessible | 800 | 0 | 800 |  |  |  |  | 0 | 800 | 0 | 0 | 0 | 0
m | 3.3.2.A | Lighting | Install lighting to main incoming electrical cupboard. Replace large circular bulkhead luminaire with opal diffuser in all classrooms and corridors 20+ years old but relamped within the last 2 years. Integral emergency luminaires should be included as part of emergency lighting strategy. | 8000 | 8000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.3.2.B | Emergency Lighting | Emergency lighting is provided by bulkhead luminaires. In some areas where no bulkheads are present there is no emergency lighting e.g. classrooms. Some showing red LED light indicating battery is not charging properly. | 2000 | 2000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.3.2.C | External Lighting | Replace external bulkhead luminaires, some with broken diffusers | 1000 | 1000 | [5 empty] | 1000 | 0 | 0 | 0 | 0 | 0
m | 3.3.3.A | Small Power/ Data Outlets | Install additional sockets to classrooms to stop the need for extension leads. To be carried out in conjunction with the installation of additional Dado trunking. (See Containment section below). Replace TSSO (general) | 1200 | 0 | 1200 |  |  |  |  | 0 | 1200 | 0 | 0 | 0 | 0
m | 3.3.4.A | White PVC surface mounted dado trunking | Install dado to classrooms to ease the use of extension leads to sockets located behind cupboards and facilitate the charging of laptops. | 4000 | 4000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.3.4.C | White PVC surface mounted conduit | Replace PVC conduit | 1000 | 0 |  | 1000 |  |  |  | 0 | 0 | 1000 | 0 | 0 | 0
m | 3.3.6.B | Lightning Protection System | An assessment needs to be carried out and if needed a new lightning protection system is to be installed. | 3000 | 3000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0

## EFA Property
|  |  | EFA survey data | [6 empty] | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other
DFE | School | School Type | Date received | Condition rating C or D | Priority rating 1 or 2 | Element | Category | CCP rating
|  |  |  | c | 2 | Electrical services, Lighting system, generally, Main school | m | mc2 | C1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | c | 2 | Mechanical services, Heating distribution wemitter sna controls, Generally, Main school | m | mc2 | C2 | 0 | 0 | 0 | 1 | 0 | 2 | 0
|  |  |  | c | 2 | Redecoration, External windows doors etc, Timber, Main school | w | wc2 | D1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D3 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Suitability and Compliance
Space |  |  | BB103 suggested sizes
[6 empty] | Suitability Data | [15 empty] | Compliance Comparison |  |  | 1 | Form of entry | PAN | 30
Basic Teaching Spaces |  |  | No. of spaces | m2 | Total m2 | Plan ref | Space | [14 empty] | Total area | Shortfall | Surplus | 2012 | Date of last assessment
|  | Classroom - Year R | 1 | 62 | 62 | 16, 16a | General classroom | 27.08 | 24.22 | [12 empty] | 51.3 | 10.7 | 0
|  | Classroom - Year 1 | 1 | 62 | 62 | 17, 17a | General classroom | 37.13 | 14.8 | [12 empty] | 51.93 | 10.07 | 0 | 0 | No. Temp Buildings on Site
|  | Classroom - Year 2 | 1 | 62 | 62 | 19, 19a | General classroom | 34.86 | 13.9 | [12 empty] | 48.76 | 13.24 | 0 | 0 | No. of Classrooms in Temporary Buildings
|  | Classroom - Year 3 | 1 | 62 | 62 | 49 | General classroom | 48.12 | [13 empty] | 48.12 | 13.88 | 0 | 7 | No. of Classrooms
|  | Classroom - Year 4 | 1 | 62 | 62 | 52 | General classroom | 47.57 | [13 empty] | 47.57 | 14.43 | 0 | 7 | Required No. of Classroooms
|  | Classroom - Year 5 | 1 | 62 | 62 | 33 | General classroom | 47.58 | [13 empty] | 47.58 | 14.42 | 0
|  | Classroom - Year 6 | 1 | 62 | 62 | 39 | General classroom | 51.33 | [13 empty] | 51.33 | 10.67 | 0
|  |  | 1 | 62 | 62 | 50 | General classroom | 47.37 | [13 empty] | 47.37 | 14.63 | 0
|  | Practical area / food bay | 0 | 0 | 0 | 8, 40, 51 | Practical area | 9.34 | 21.95 | 37.38 | [11 empty] | 68.67 | 0 | 68.67 | 0% | of classrooms are the recommended size
|  | ICT base | 0 | 0 | 0 | 38, 38a | IT room | 26.91 | 12.82 | [12 empty] | 39.73 | 0 | 39.73 | 100% | of classrooms are small
[5 empty] | 496 | [16 empty] | 502.36 | 102.04 | 108.4 | 101.3% | of the recommended basic teaching space required
[24 empty] | 393.96 | 79.43% | of the recommended basic teaching space required ignoring surplus
Halls and Studios | [24 empty] | 20.57% | shortfall in basic teaching space
| 1 | Main hall | 1 | 180 | 180 | 24 | Hall | 168.78 | [13 empty] | 168.78 | 11.22 | 0
[5 empty] | 180 | [16 empty] | 168.78 | 11.22 | 0 | 93.77% | of the recommended hall size
Storage | [24 empty] | 6.233% | shortfall in hall size
| 1 | Coat and bag storage - Year R | 1 | 3 | 3 | 18 | Cloakroom (shared) | 3.9 | [13 empty] | 3.9 | 0 | 0.9
| 2 | Coat and bag storage - Year 1 | 1 | 3 | 3 | 18 | Cloakroom (shared) | 3.9 | [13 empty] | 3.9 | 0 | 0.9
| 3 | Coat and bag storage - Year 2 | 1 | 3 | 3 | 18 | Cloakroom (shared) | 3.9 | [13 empty] | 3.9 | 0 | 0.9
| 4 | Coat and bag storage - Year 3 | 1 | 3 | 3 | 46 | Cloakroom (shared) | 5 | [13 empty] | 5 | 0 | 2
| 5 | Coat and bag storage - Year 4 | 1 | 3 | 3 | 46 | Cloakroom (shared) | 5 | [13 empty] | 5 | 0 | 2
| 6 | Coat and bag storage - Year 5 | 1 | 3 | 3 | 46 | Cloakroom (shared) | 5 | [13 empty] | 5 | 0 | 2
| 7 | Coat and bag storage - Year 6 | 1 | 3 | 3 | 41a | Cloakroom | 8.7 | [13 empty] | 8.7 | 0 | 5.7
| 8 | Teaching storage - Year R | 1 | 2 | 2 | [16 empty] | 0 | 2 | 0
| 9 | Teaching storage - Year 1 | 1 | 2 | 2 | [16 empty] | 0 | 2 | 0
| 10 | Teaching storage - Year 2 | 1 | 2 | 2 | [16 empty] | 0 | 2 | 0
| 11 | Teaching storage - Year 3 | 1 | 2 | 2 | [16 empty] | 0 | 2 | 0
| 12 | Teaching storage - Year 4 | 1 | 2 | 2 | [16 empty] | 0 | 2 | 0
| 13 | Teaching storage - Year 5 | 1 | 2 | 2 | [16 empty] | 0 | 2 | 0
| 14 | Teaching storage - Year 6 | 1 | 2 | 2 | [16 empty] | 0 | 2 | 0
| 15 | Specialist walk in stores | 3 | 5 | 15 | 36, 44 | Store room | 6.16 | 1.89 | [12 empty] | 8.05 | 6.95 | 0
| 18 | Indoor PE equipment storage | 1 | 18 | 18 | 25 | Store room | 19.14 | [13 empty] | 19.14 | 0 | 1.14
| 19 | Outdoor PE equipment storage | 0 | 0 | 0 | 54 | Store room | 6.67 | [13 empty] | 6.67 | 0 | 6.67
|  | Bulk stock store | 1 | 4 | 4 | [16 empty] | 0 | 4 | 0
| 21 | Caretakers and maintenance store | 1 | 5 | 5 | [16 empty] | 0 | 5 | 0
| 22 | Cleaning store | 1 | 3 | 3 | 65 | Cleaners store room | 3 | [13 empty] | 3 | 0 | 0
| 23 | Table and chair store | 1 | 12 | 12 | [16 empty] | 0 | 12 | 0
| 25 | Staging/ appliance store | 1 | 4 | 4 | [16 empty] | 0 | 4 | 0
|  | Mobility equipment store | 1 | 2 | 2 | [16 empty] | 0 | 2 | 0
| 24 | Store for community | 0 | 0 | 0 | [16 empty] | 0 | 0 | 0
[5 empty] | 98 | [16 empty] | 72.26 | 47.95 | 22.21 | 73.73% | of the recommended storage space required
Staff and admin | [24 empty] | 48.93% | shortfall
| 1 | Heads office | 1 | 12 | 12 | 28 | Heads office | 11.13 | [13 empty] | 11.13 | 0.87 | 0
| 3 | Staff room work and social | 1 | 33 | 33 | 4 | Staffroom | 18.39 | [13 empty] | 18.39 | 14.61 | 0
|  | Staff PPA | 1 | 10 | 10 | [16 empty] | 0 | 10 | 0
| 4 | Senior management office | 1 | 10 | 10 | [16 empty] | 0 | 10 | 0
| 7 | General office (reception) | 1 | 12 | 12 | 3 | Reception (office) | 8.81 | [13 empty] | 8.81 | 3.19 | 0
| 8 | Secure reception | 1 | 4 | 4 | 1 | Entrance | 3.22 | [13 empty] | 3.22 | 0.78 | 0
| 9 | Reprographics room | 1 | 8 | 8 | [16 empty] | 0 | 8 | 0
| 10 | Meeting room | 0 | 0 | 0 | [16 empty] | 0 | 0 | 0
| 11 | Sick bay | 1 | 3 | 3 | [16 empty] | 0 | 3 | 0
| 13 | Interview room | 1 | 9 | 9 | [16 empty] | 0 | 9 | 0
[5 empty] | 101 | [16 empty] | 41.55 | 59.45 | 0 | 41.14% | of the recommended staff and admin space required
Learning resource area | [24 empty] | 58.86% | shortfall
| 1 | Library (learning resource centre) | 1 | 30 | 30 | 31 | Library | 15.27 | [13 empty] | 15.27 | 14.73 | 0
| 3 | Small group room | 3 | 11 | 33 | [16 empty] | 0 | 33 | 0
| 5 | SENco office (SEN resource) | 1 | 12 | 12 | 45 | Withdrawal room | 5.42 | [13 empty] | 5.42 | 6.58 | 0
| 2 | Medical inspection room/ Therapy room | 1 | 12 | 12 | [16 empty] | 0 | 12 | 0
[5 empty] | 87 | [16 empty] | 20.69 | 66.31 | 0 | 23.78% | of the recommended learning resource areas
Supplementary area | [24 empty] | 76.22% | shortfall
| 1 |  | 0 | 0 | 0 | 53, 53a | SEN classroom | 32.24 | 15.75 | [12 empty] | 47.99 | 0 | 47.99
|  |  | 0 | 0 | 0 | 26, 27 | Pupil changing rooms | 10.24 | 10.38 | [12 empty] | 20.62 | 0 | 20.62
[5 empty] | 0 | [16 empty] | 68.61 | 0 | 68.61 | - | of the recommended supplementary areas
Non net areas | [24 empty] | - | shortfall
| 1 | Reception toilets | 3 | 2 | 6 | [16 empty] | 0 | 6 | 0 | 0 | Number of reception toilets
| 1 | Pupils toilets | 10 | 2 | 20 | 7, 10, 47,48,42,43,43a | 13 wc's 4 urinals | 4.49 | 4.49 | 6.53 | 4.4 | 5.6 | 2.33 | 3.7 | [7 empty] | 31.54 | 0 | 11.54 | 17 | Number of other pupil toilets
| 2 | Staff toilets | 2 | 2 | 4 | 5, 35 | Staff wc (multi-sex) | 5.69 | 1.85 | [12 empty] | 7.54 | 0 | 3.54 | 0% | % of recommended reception toilets
| 3 | Accessible toilet | 1 | 3 | 3 | [16 empty] | 0 | 3 | 0 | 170% | % of recommended other pupil toilets
| 9 | Hygiene room | 1 | 12 | 12 | 22 | Hygiene room | 2.84 | [13 empty] | 2.84 | 9.16 | 0
| 4 | Kitchen facilities (servery) | 1 | 28 | 28 | 20 | Kitchen | 15 | [13 empty] | 15 | 13 | 0
| 5 | Corridors | - | 22.5% | 216.45 | 1a, 2,6,11,23,23a,30,32,32a, 37,41,66,UNA, 15 | corridors | 3.42 | 11.03 | 13.72 | 37.82 | 11.25 | 7.86 | 17.82 | 22.95 | 5.67 | 7.2 | 7.55 | 2 | 5 | 3.75 | 157.04 | 59.41 | 0
| 6 | Boiler room | 1 | 1.5% | 14.43 | 55, 34 | Boiler Room and meter room | 19.05 | 6.06 | [12 empty] | 25.11 | 0 | 10.68
| 7 | Server | in boiler |  |  | 29 | IT Server room | 8.1 | [13 empty] | 8.1 | 0 | 8.1
|  | Walls | - | 4% | 38.48 |  |  | 34.97 | [13 empty] | 34.97 | 3.51 | 0
[5 empty] | 342.36 | [16 empty] | 282.14 | 94.08 | 33.86 | 82.41% | of the recommended non net area
Additional area | [24 empty] | 27.48% | shortfall
|  | Nursery class | 1 | 62 | 62 | 12, 12a, 12b | Nursery classroom | 13.88 | 31.86 | 14.27 | [11 empty] | 60.01 | 1.99 | 0
|  | Quiet room | 1 | 8 | 8 | [16 empty] | 0 | 8 | 0
|  | Nursery store room | 1 | 2 | 2 | 14, 57 | Store room | 3.98 | 2.29 | [12 empty] | 6.27 | 0 | 4.27
|  | Nursery office | 1 | 8 | 8 | [16 empty] | 0 | 8 | 0
|  | Nursery cloakroom | 1 | 3 | 3 | [16 empty] | 0 | 3 | 0
|  | Nursery pupils toilets | 3 | 2 | 6 | 13 | Pupil wc (multi-sex) | 7.22 | [13 empty] | 7.22 | 0 | 1.22
|  | Nursery staff toilets | 1 | 2 | 2 | [16 empty] | 0 | 2 | 0
|  | Nursery entrance | 1 | 22.5% | 1.8675 | [16 empty] | 0 | 1.8675 | 0
[5 empty] | 92.8675 | [16 empty] | 73.5 | 24.8575 | 5.49
Total Net area |  |  |  |  | 962 | [16 empty] | 874.25
Total Non-Net area |  |  |  |  | 342.36 | [16 empty] | 282.14
Gross (total build) area - excluding nursery |  |  |  |  | 1304.36 | [16 empty] | 1156.39 |  |  | 88.66% | of the recommended Gross area
Gross (total build) area - including nursery |  |  |  |  | 1397.2275 | [16 empty] | 1229.89
Mid Range |  |  |  |  | 1211.0-1345.0
1278
Total Site Area Range |  |  |  |  | 8991.0-11241.0
Mid Range |  |  |  |  | 10116
2
3
4

## Occupancy
Sufficiency Data
Planned Admission Number | Current Capacity | Maximum PAN | Capacity based on max PAN
30 | 210 | 33 | 231
NOR Spring Census
| 2008 / 2009 | 2009 / 2010 | 2010 / 2011 | 2011 / 2012 | 2012 / 2013 | 2013 / 2014
NOR Jan | 189 | 197 | 189 | 193 | 183 | 189
Maximum Capacity | 210 | 210 | 210 | 210 | 210 | 210
Number of Surplus Places | 21 | 13 | 21 | 17 | 27 | 0
% of surplus places | 10 | 6.2 | 10 | 8.1 | 12.9 | 0
Current Numbers on Roll (from Autumn Census)
Year group | R | 1 | 2 | 3 | 4 | 5 | 6 | Total
Number | 34 | 25 | 25 | 25 | 32 | 28 | 21 | 190

## School stats
Current Ofsted | Year
Good | 2014-01-22
2014 KS2 Performance Tables last update : (10 Dec 2014)
Year on year comparisons
Percentage achieving Level 4 or above in reading, writing and maths | 2012 | 2013 | 2014
School | 64% | 68% | 81%
LA | 71% | 71% | 76%
England - All Schools | 75% | 75% | 79%
KS2 test results and progress
| All pupils | Low attainers | Middle attainers | High attainers
Pupils eligible for KS2 assessment | 21
Percentage of pupils achieving 3 or below in reading and maths test and writing TA | 5% | 14% | 0% | NA
Percentage of pupils achieving level 4 or above in reading and maths test and writing TA | 81% | 43% | 100% | NA
Percentage of pupils achieved level 4B or above in reading and maths test and level 4 in writing TA | 67% | 43% | 75% | NA
Percentage of pupils achieving level 5 or above in reading and maths test and writing TA | 19% | 0% | 33% | NA
Percentage of pupils making at least 2 levels of progress in reading | 100% | 100% | 100% | NA
Percentage of pupils making at least 2 levels of progress in writing TA | 100% | 100% | 100% | NA
Percentage of pupils making at least 2 levels of progress in maths | 95% | 86% | 100% | NA
Average point score | 28.1
Closing the Gap
| Disadvantaged pupils | Other pupils
Percentage of disadvantaged pupils achieving level 3 or below in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4B or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 5 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in reading | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in maths | SUPP | SUPP
Value Added measures
| Measure | Lower CI | Upper CI | Coverage
Overall value added measure | 101.1 | 100.1 | 102.1 | 90%
Reading value added measure | 100.7 | 99.6 | 101.8 | 90%
Writing TA value added measure | 101.9 | 100.7 | 103 | 90%
Maths value added measure | 100.8 | 99.5 | 102 | 90%
Subject level results
| Reading test | Maths test | Grammar, punctuation and spelling test | Writing TA
Percentage achieving level 3 or below | 14% | 10% | 29% | 10%
Percentage achieving Level 4 or above | 86% | 90% | 71% | 90%
Percentage achieving Level 4b or above | 76% | 81% | 62% | NA
Percentage achieving Level 5 or above | 43% | 24% | 33% | 43%
Pupil Absence last update : (11 Dec 2013)
| School | England - national (primary state-funded)
Overall absence: percentage | 4.4% | 4.8%
Persistent absence: around 15% + | 4.2% | 3.6%
Please note - this year the Department will publish full year 2013/14 absence data in the performance tables in March 2015 rather than just the autumn and spring term data in December as in previous years, and we will continue to do so in future years. This is because the full year data provides the most robust indication of school absence rates.
School level information for the 2013/14 autumn and spring term only is available in our Statistical First Release here
2013-14 Finance last update : (10 Dec 2014)
Contextual information
Number of pupils (FTE) | 206
Percentage of pupils eligible for Free School Meals (FSM) | 17.5%
Free school meals eligibility band | LOW
Spend per pupil data as £ per pupil (in brackets percentage of total income or expenditure)
| School | LA Median | Non-London LAs Median | National Median
Grant funding | 4081 (96%) | 4525 | 4016 | 4325
Self generated income | 158 (4%) | 144 | 142 | 127
Total income | 4239 | 4723 | 4183 | 4479
Teaching staff | 2002 (46%) | 2277 | 2045 | 2106
Supply Staff | 137 (3%) | 87 | 118 | 127
Education support staff | 739 (17%) | 689 | 650 | 733
Learning resources (not ICT equipment) | 212 (5%) | 181 | 174 | 184
ICT learning resources | 112 (3%) | 81 | 62 | 66
Bought in professional services - curriculum | 32 (1%) | 88 | 59 | 67
Back office (incl. Staff costs) | 271 (6%) | 406 | 334 | 351
Catering (incl. Staff costs) | 46 (1%) | 35 | 53 | 75
Premises (incl. Staff costs) | 517 (12%) | 259 | 275 | 301
Other staff costs | 147 (3%) | 153 | 133 | 142
Energy | 44 (1%) | 68 | 62 | 65
Other expenditure | 49 (1%) | 94 | 85 | 88
Total expenditure | 4307 | 4562 | 4143 | 4431
Spend per pupil data as £ per pupil : Comparisons over time
| 2010-11 | 2011-12 | 2012-13 | 2013-14
Teaching staff and Education support staff expenditure | 2582 | 2589 | 2698 | 2740
Supply staff | 180 | 103 | 87 | 137
Back office (incl. Staff costs) | 269 | 285 | 278 | 271
Energy | 36 | 33 | 55 | 44
Total expenditure | 3961 | 3696 | 3904 | 4307
School Workforce last update : (10 Dec 2014)
This data is based upon the November 2013 School Workforce Census
| School | England - national (primary state-funded)
Headcount of all teachers in a school | 10 | 236728
Headcount of all teaching assistants in a school | 14 | 239340
Headcount of all support (exc. auxillary) staff in a school | 3 | 77335
Full-time equivalent number of all teachers in a school | 9.4 | 207827.7
Full-time equivalent number of all teaching assistants in a school | 7.5 | 154245.3
Full-time equivalent number of all support (exc. auxillary) staff in a school | 2.1 | 51728.3
Ratio of pupils to teachers in a school | 21.9 | 20.5
Average gross salary of all teachers in a school | 34552 | 36559

## Parental Preference
Popularity Data | [10 empty] | Children at School From School Catchment
Parental First Preference Applications | [11 empty] | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  | Catchment vs Nearest School |  |  |  | Catchment | Nearest
Year | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  |  | NOR | 197 | 189 | 193 | 183 | 189 |  |  |  | NOR |  |  |  | 190 | 190
PAN | 30 | 30 | 30 | 30 | 30 | 30 |  |  |  |  | Number | 176 | 169 | 181 | 169 | 174 |  |  |  | Total in area |  |  |  | 295 | 327
No. | 27 | 33 | 27 | 21.9 | 20.01 | 35 |  |  |  |  | % | 89.3401 | 89.418 | 93.7824 | 92.3497 | 92.0635 |  |  |  | Number at School from area |  |  |  | 175 | 179
% | 90 | 110 | 90 | 73 | 66.7 | 116.6667 | [13 empty] | % at School |  |  |  | 92.1053 | 94.2105
[11 empty] | Total number in Catchment | [8 empty] | % of area going to School |  |  |  | 59.322 | 54.7401
[12 empty] | 2010 | 2011 | 2012 | 2013 | 2014
[11 empty] | Number | 276 | 279 | 291 | 291 | 287
[11 empty] | % | 100 | 100 | 100 | 100 | 100
Where children at School are coming from (from Spring Census 2014)
DCSF No. | School |  | Ashperton | Bredenbury | Brockhampton | St Peter's, Bromyard | Broadlands | Marlbrook | St Martin’s | Leominster Infants’ School | Lugwardine | Marden | Stoke Prior | Sutton | Wellington | Withington | Burley Gate C E | Cradley C E | St James’ C E, Kimbolton | Pencombe C E | Riverside Primary | Out of County | Grand Total
2011 | Bredenbury | Number | 0 | 19 | 1 | 18 | 0 | 0 | 0 | 2 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 2 | 53
2011 | Bredenbury | % | 0 | 35.8491 | 1.8868 | 33.9623 | 0 | 0 | 0 | 3.7736 | 0 | 0 | 15.0943 | 0 | 0 | 0 | 0 | 1.8868 | 3.7736 | 0 | 0 | 3.7736 | 100
2014 | Brockhampton | Number | 0 | 5 | 47 | 76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 1 | 2 | 1 | 5 | 140
2014 | Brockhampton | % | 0 | 3.5714 | 33.5714 | 54.2857 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4286 | 0.71429 | 0.71429 | 1.4286 | 0.71429 | 3.5714 | 100
2024 | St Peter's, Bromyard | Number | 0 | 0 | 6 | 174 | 0 | 3 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 189
2024 | St Peter's, Bromyard | % | 0 | 0 | 3.1746 | 92.0635 | 0 | 1.5873 | 0 | 0 | 0 | 0 | 1.0582 | 0 | 0 | 0 | 2.1164 | 0 | 0 | 0 | 0 | 0 | 100
3010 | Burley Gate C E | Number | 2 | 0 | 0 | 5 | 1 | 0 | 0 | 0 | 3 | 1 | 0 | 3 | 5 | 9 | 64 | 0 | 0 | 0 | 0 | 1 | 94
3010 | Burley Gate C E | % | 2.1277 | 0 | 0 | 5.3191 | 1.0638 | 0 | 0 | 0 | 3.1915 | 1.0638 | 0 | 3.1915 | 5.3191 | 9.5745 | 68.0851 | 0 | 0 | 0 | 0 | 1.0638 | 100
3367 | Pencombe C E | Number | 0 | 2 | 1 | 8 | 0 | 0 | 2 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 14 | 0 | 0 | 21 | 0 | 0 | 53
3367 | Pencombe C E | % | 0 | 3.7736 | 1.8868 | 15.0943 | 0 | 0 | 3.7736 | 0 | 0 | 0 | 9.434 | 0 | 0 | 0 | 26.4151 | 0 | 0 | 39.6226 | 0 | 0 | 100
Where school children in the Schools Catchment area are going to (from Spring Census 2014)
DCSF No. | School |  | Ashperton | Bredenbury | Brockhampton | St Peter's, Bromyard | Hampton Dene | Marlbrook | Lugwardine | Marden | Sutton | Withington | Bosbury C E | Burley Gate C E | Colwall C E | Mordiford C E | St Michael's C E, Bodenham | Cradley C E | St Francis Xaviers RC | Pencombe C E | Grand Total
2011 | Bredenbury | Number | 0 | 19 | 5 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 29
2011 | Bredenbury | % | 0 | 65.5172 | 17.2414 | 0 | 0 | 0 | 0 | 3.4483 | 0 | 0 | 6.8966 | 0 | 0 | 0 | 0 | 0 | 0 | 6.8966 | 100
2014 | Brockhampton | Number | 0 | 1 | 47 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 2 | 0 | 1 | 60
2014 | Brockhampton | % | 0 | 1.6667 | 78.3333 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 3.3333 | 0 | 1.6667 | 100
2024 | St Peter's, Bromyard | Number | 3 | 18 | 76 | 174 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 2 | 8 | 287
2024 | St Peter's, Bromyard | % | 1.0453 | 6.2718 | 26.4808 | 60.6272 | 0 | 0.34843 | 0 | 0 | 0 | 0 | 0 | 1.7422 | 0 | 0 | 0 | 0 | 0.69686 | 2.7875 | 100
3010 | Burley Gate C E | Number | 6 | 0 | 2 | 4 | 1 | 0 | 2 | 0 | 2 | 4 | 22 | 64 | 1 | 2 | 6 | 4 | 1 | 14 | 135
3010 | Burley Gate C E | % | 4.4444 | 0 | 1.4815 | 2.963 | 0.74074 | 0 | 1.4815 | 0 | 1.4815 | 2.963 | 16.2963 | 47.4074 | 0.74074 | 1.4815 | 4.4444 | 2.963 | 0.74074 | 10.3704 | 100
3367 | Pencombe C E | Number | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21 | 23
3367 | Pencombe C E | % | 0 | 0 | 8.6957 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 91.3043 | 100

## Disability access
Physical Accessibility Rating | 3
Information from https://www.herefordshire.gov.uk/education-and-learning/schools/directory
Ratings and descriptions
Rating | Details | Description
3 | Fully accessible | Will meet the needs of all disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling); Has a full hygiene room and special educational needs or therapy room for pupils who need more assistance with personal care (including hoisting) and regular physio or other treatment
2 | Mainly accessible | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
1 | Partly accessible | Some standards met but some areas not accessible
0 | Inaccessible | No level access into building and/or no disabled toilet
Summary of physical accessibility standards
Level access into building(s): Main and pupil entrance(s) level, with ramps and hand rails as required
Level access to all curriculum and social areas (not necessarily entire building/site): including assembly hall, canteen (may be achieved by sensitive organisation and timetabling)
Access to upper floors: if required - lift(s) as alternative to steps or stairs
Toilet facilities: small disabled toilet(s) as specified by building regulations - suitable for most disabled pupils. A small number of pupils will require enhanced facilities (hygiene room) to provide greater assistance, including hoisting.
Medical, therapy or SEN room: multi-purpose or flexible use - usually required in addition to a hygiene room, for regular physio and other physical programmes
Emergency evacuation: routes should be level and unobstructed. Evacuation must be documented (using Personal Emergency Evacuation Plans - PEEPs) and practised regularly