## Cover Page
Stoke Prior Primary School
Summary Report
Contents
|  | Section | Page | No. of pages
Stoke Prior Primary School |  | Summary Data | 3 | 1
Summary Report |  | General Information and Asset Summary | 4 | 1
|  | Maintenance and Condition Summary | 5 | 2
|  | Education Funding Agency Condition Survey Data | 7 | 1
Schools Capital Investment Strategy |  | Suitability and Compliance Summary | 8 | 2
|  | School Occupancy Summary | 10 | 1
|  | School Statistics | 11 | 1
|  | Environmental Sustainability Condition | 12 | 1
|  | Parental Preference | 13 | 1
|  | Distribution of Children Attending School or Resident in its Catchmnet Area | 14 | 1
|  | Distribution of Children Attending School or Where it is the Nearest School | 15 | 1
|  | Key Services Within 2 Mile Radius of School | 16 | 1
|  | Key Services Adjacent to School | 17 | 1
|  | Disability Access | 18 | 1
Children's Wellbeing
Herefordshire Council
Plough Lane Offices
Plough Lane
HEREFORD
HR4 0LE

## Summary Info
Stoke Prior Primary School
Summary Report
Summary of Headline Information
Asset Summary | [5 empty] | Occupancy Summary
Gross Site Area (M2)(whole site including building):- |  | 5401.87 |  |  |  | Current Capacity (PAN 11):- |  |  |  | 77
Insurance Asset Value (£000):- |  | 783775.7384 |  |  |  | Allocated Capacity Size (PAN 10):- |  |  |  | 70
Land Asset Value (£000):- |  | 101397 |  |  |  | Current Occupancy:- |  |  |  | 88
Land Ownership:- | Part buildings school owned, part building and field council owned |  |  |  |  | Current Planned Admission No.:- |  |  |  | 11
[6 empty] | Current Number Over Capacity:- |  |  |  | 11
[6 empty] | Current Number Under Capacity:- |  |  |  | 0
Maintenance Expenditure Required on the School over a 5 Year Period Summary
Survey Date:- |  |  |  | 2014-09-03
Backlog Maintenance Total (£000):- | [6 empty] | Not Available
Total Forecast Expenditure (5 years) (£000):- | [6 empty] | 87.6627
Total Potential Local Authority Forecast Expenditure (£000):- | [6 empty] | 51.6056
Total Potential School Forecast Expenditure (£000):- | [6 empty] | 36.0571
Suitability and Compliance
Required Number of Classrooms:- | [6 empty] | 3 | Required Building Footprint (M2):- |  | 694.28
Actual Number of Classrooms:- | [6 empty] | 3 | Current Building Area (M2):- |  | 638.6541
Percentage of Classrooms that are the Recommended Size:- | [6 empty] | 66.6667 | Area Shortfall (M2):- |  | 55.6259
Compliance Percentage of Recommended Hall Size:- | [6 empty] | 96.6214 | Area Surplus (M2):- |  | 0
Number of Temporary Buildings on Site:- |  |  |  |  | 0 |  |  | Total Percentage Compliance:- |  | 91.988
Number of Classrooms in Temporary Buildings:- |  |  |  |  | 0
Compliance Percentage of Recommended Reception Toilets:- | [6 empty] | 0 | Required Net Site Area (M2):- |  | 4177.12
Compliance Percentage of Recommended Other Pupil Toilets:- | [6 empty] | 225 | Current Net Site Area (M2):- |  | 4763.2159
Nursery on Site:- | No | [6 empty] | Area Shortfall (M2):- |  | 0
[8 empty] | Area Surplus (M2):- |  | 586.0959
[8 empty] | Total Percentage Compliance:- |  | 114.0311
Disability Access
Rating:- | 1 |  | Details:- |  |  |  | Partly accessible
Environmental Sustainability Condition
DEC Rating:- |  |  |  |  | C
Electric Consumption 2014/Child:- |  |  |  |  | 449.3182
Gas Consumption 2014/Child:- |  |  |  |  | 847.4416
School Statistics
Ofsted Results:- | [8 empty] | Good
Percentage of Children Achieving KS2 Level 4 or Above in Reading, Writing and Maths in 2014:- | [8 empty] | 91
Parental Preference (2014)
Percentage of Parental First Preference Applications:- | [6 empty] | 109.0909
Total Number of Children within Catchment:- | [6 empty] | 59
Total Number of Children at School from Catchment:- | [6 empty] | 33
Percentage of Catchment at School:- | [6 empty] | 37.5
Percentage of Catchment Going to School:- | [6 empty] | 55.9322

## Report
|  |  | Stoke Prior Primary School | [6 empty] | Stoke Prior Primary School | [14 empty] | Stoke Prior Primary School | [7 empty] | Stoke Prior Primary School |  |  |  |  | Stoke Prior Primary School |  | Stoke Prior Primary School |  |  |  |  | Stoke Prior Primary School | [5 empty] | Stoke Prior Primary School |  |  | Stoke Prior Primary School | [8 empty] | Stoke Prior Primary School |  | Stoke Prior Primary School |  | Stoke Prior Primary School |  | Stoke Prior Primary School |  | Stoke Prior Primary School |  |  | Stoke Prior Primary School
|  |  | Summary Report | [6 empty] | Summary Report | [14 empty] | Summary Report | [7 empty] | Summary Report |  |  |  |  | Summary Report |  | Summary Report |  |  |  |  | Summary Report | [5 empty] | Summary Report |  |  | Summary Report | [8 empty] | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  |  | Summary Report
General Information |  |  |  | Maintenance and Condition Summary | [21 empty] | Education Funding Agency Condition Survey Data | [7 empty] | Suitability and Compliance Summary |  |  |  |  | Suitability and Compliance Summary (continued) |  | School Occupancy Summary |  |  |  |  | School Statistics | [5 empty] | Environmental Sustainability Condition |  |  | Parental Preference | [8 empty] | Distribution of Children Attending School or Resident in its Catchment Area |  | Distribution of Children Attending School or Where it is the Nearest School |  | Key Services Within 2 Mile Radius of School |  | Key Services Adjacent to School |  | Disability Access
Maintenance and Condition Summary (continued)
School Name:- | Stoke Prior Primary School |  |  | Survey Date:- | 2014-09-03 |  | Survey Company:- |  | Hub |  | Key Elements and Annual Forecast Maintenance Costs and Responsibilities | [14 empty] | Date of Survey:- |  | 2014-05-22 | [5 empty] | Areas | Standard Criteria (M2) (PAN 10) | Schools Compliance (M2) | Compliance Percentage |  |  |  | Current Planned Admission No. (PAN) | Current School Capacity | Maximum PAN | Maximum Capacity Based on PAN |  | Year | KS2 Year on Year Results |  |  |  |  | Electric Consumption 2014/Child:- | 449.3182 |  |  | Parental First Preference Applications | [15 empty] | Physical Accessibility Rating
Head Teacher:- | Mr M Lewis | DFE Number:- | 2148 | Year | Forecast Maintenance Costs (£ 000) | [5 empty] | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows and Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | Number of Occurences Identified Within the Report | [7 empty] | Basic Teaching Space | 186 | 257.13 | 138.2419 |  |  |  | 11 | 77 | 12 | 84 |  |  | School - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | LA - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | All Schools in England - Percentage Achieving Level 4 or Above in Reading, Writing and Maths |  |  | Gas Consumption 2014/Child:- | 847.4416 |  |  | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | [10 empty] | Rating: | 1
Leadership:- | Stand Alone | [24 empty] | Rating (see key below) | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other | Hall and Studio | 140 | 135.27 | 96.6214 | [17 empty] | PAN | 11 | 11 | 11 | 11 | 11 | 11
Address:- | Stoke Prior Primary School, Leominster, Herefordshire HR6 0ND | Email:- | admin@stokeprior.hereford.sch.uk | Backlog | Not Available | [5 empty] | £ 000 | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | [8 empty] | Storage | 56 | 42.75 | 76.3393 |  |  |  | Historical Numbers on Roll Data (Spring Census) | [13 empty] | Number | 14.96 | 12.98 | 9.9 | 12.98 | 15.004 | 12 | [10 empty] | Details: | Partly accessible
|  |  |  | 2015 | 2.3644 |  |  | Not Available |  |  | Backlog | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | C1 | [7 empty] | Staff and Admin | 66 | 62.03 | 93.9848 |  |  |  | Year | Total NOR | Capacity Based on PAN | Shortfall | Surplus | 2012 | 78 | 71 | 75 | [5 empty] | Percentage | 136 | 118 | 90 | 118 | 136.4 | 109.0909
|  |  |  | 2016 | 11.8734 |  |  | 2.3644 |  |  | 2015 | 0.514 | 0 | 0.6425 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2079 | 0 | 0 | 0 | C2 | [7 empty] | Learning Resource | 53 | 31.19 | 58.8491 |  |  |  | 2008 / 2009 | 79 | 77 | 2 | 0 | 2013 | 100 | 71 | 75 | [22 empty] | Description: | Some standards met but some areas not accessible
|  |  |  | 2017 | 43.4587 |  |  | 11.8734 |  |  | 2016 | 3.598 | 0 | 2.313 | 0 | 0 | 0 | 0 | 0 | 0.2056 | 0 | 1.1308 | 4.626 | 0 | 0 | D1 | [7 empty] | Supplementary Area | 0 | 8.757 | - |  |  |  | 2009 / 2010 | 78 | 77 | 1 | 0 | 2014 | 91 | 76 | 79 | [5 empty] | Historical Catchment Analysis (Spring Census)
Telephone No.:- | T: 01568 760207 F: 01568 760207 | School Cluster:- | Leominster District- Earl Mortimer College (and Sixth Form Centre) | 2018 | 7.2474 |  |  | 43.4587 |  |  | 2017 | 1.028 | 2.056 | 3.0069 | 2.056 | 5.9624 | 2.57 | 0.3598 | 0 | 0 | 0 | 1.2336 | 25.186 | 0 | 0 | D2 | [7 empty] | Non Net Area | 193.28 | 101.5271 | 52.5285 |  |  |  | 2010 / 2011 | 81 | 77 | 4 | 0 | [9 empty] | Catchment Analysis |  |  |  | 2010 | 2011 | 2012 | 2013 | 2014
|  |  |  | 2019 | 22.7188 |  |  | 7.2474 |  |  | 2018 | 0.514 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2382 | 2.2616 | 1.2336 | 0 | 0 | 0 | D3 | [7 empty] | Total Gross Building Area | 694.28 | 638.6541 | 91.988 |  |  |  | 2011 / 2012 | 82 | 77 | 5 | 0 | KS2 Test Results and Progress (2014) | [11 empty] | Total in Catchment | 57 | 58 | 56 | 59 | 59
[8 empty] | 22.7188 |  |  | 2019 | 0.514 | 0 | 0 | 5.14 | 0 | 0 | 0 | 0 | 8.1212 | 0 | 1.2336 | 7.71 | 0 | 0 | [15 empty] | 2012 / 2013 | 84 | 77 | 7 | 0 | [12 empty] | Number at School from Catchment | 36 | 32 | 32 | 32 | 33
School Type:- | Community | Building Number:- | 5GAI | Total | 87.6627 | [5 empty] | Totals | 6.168 | 2.056 | 5.9624 | 7.196 | 5.9624 | 2.57 | 0.3598 | 0 | 11.565 | 2.2616 | 6.0395 | 37.522 | 0 | 0 | *Note the information noted above has been extracted from the EFA survey focusing on elements that are C & D rated. Items with an A or B rating have been excluded. The numbers reference the quantity of elements that the survey has picked up within the relevant category | [7 empty] | Total Gross Site Area | 4871.4 | 5401.87 | 110.8895 |  |  |  | 2013 / 2014 | 88 | 77 | 11 | 0 | Pupils eligible for KS2 assessment |  |  |  | 11 | [7 empty] | Percentage at School from Catchment | 46.1538 | 39.5062 | 39.0244 | 38.0952 | 37.5
Current Capacity:- | 77 | Site Area:- | 5401.87 | [30 empty] | Net Site Area (less the building area) | 4177.12 | 4763.2159 | 114.0311 |  |  |  | Current Occupancy | 88 | 77 | 11 | 0 | Percentage achieving level 3 or below in reading, writing and maths |  |  |  | 0 | [7 empty] | Percentage of Catchment Going to School | 63.1579 | 55.1724 | 57.1429 | 54.2373 | 55.9322
[11 empty] | Total Potential Expenditure - Local Authority (£000) | [6 empty] | 51.6056 | [27 empty] | Percentage achieving level 4 or above in reading, writing and maths |  |  |  | 91
|  |  |  | Key Elements of Forecast Maintenance | [29 empty] | Key Information (based on Building Bulletin 103) | [6 empty] | Current Occupancy Summary (Autumn Census 2014) |  |  |  |  | Percentage achieving level 4B or above in reading and maths and level 4 or above in writing |  |  |  | 91 |  |  |  |  | Catchment and Nearest School Comparison (Autumn Census 2014)
|  |  |  | Categories |  | Totals (£ 000) | [19 empty] | Key | [7 empty] | Required Number of Classrooms |  |  |  | 3 |  |  | Year Group | NOR | Shortfall | Surplus |  | Percentage achieving level 5 or above in reading, writing and maths |  |  |  | 9 | [7 empty] | Catchment vs Nearest School | Catchment | Nearest
|  |  |  | External Grounds |  | 8.224 |  |  |  |  | Total Potential Expenditure - School (£000) | [6 empty] | 36.0571 | [7 empty] | Condition grade | Definition |  |  |  | Priority rating | Definition |  | Number of Classrooms |  |  |  | 3 |  |  | Reception | 12 | 1 | 0 |  | Percentage making expected progress in reading |  |  |  | 91 | [7 empty] | NOR | 88 | 88
|  |  |  | Roof Works |  | 13.1584 | [27 empty] | Percentage of Classrooms that are the Recommended Size |  |  |  | 66.6667 |  |  | One | 15 | 4 | 0 |  | Percentage making expected progress in writing |  |  |  | 100 | [7 empty] | Total in Area | 57 | 59
|  |  |  | External Walls |  | 8.5324 | [19 empty] | A Good | Performing as intended and operating efficiently |  |  |  | 1 | Immediate or year 1 remedial action required |  | Percentage of Classrooms that are Classed as Small |  |  |  | 33.3333 |  |  | Two | 13 | 2 | 0 |  | Percentage making expected progress in maths |  |  |  | 100 | [7 empty] | Number at School from Area | 27 | 27
|  |  |  | Windows and Doors |  | 0.3598 | [27 empty] | Number of Temporary Buildings on Site |  |  |  | 0 |  |  | Three | 8 | 0 | 3 |  | Average point score |  |  |  | 28.9 | [7 empty] | Percentage at School | 30.6818 | 30.6818
|  |  |  | Internal Works |  | 13.8266 | [19 empty] | B Satisfactory | Performing as intended but exhibiting minor deterioration |  |  |  | 2 | Year 1-2 remedial action required |  | Number of Classrooms in Temporary Buildings |  |  |  | 0 |  |  | Four | 12 | 1 | 0 | [13 empty] | Percentage of area going to School | 47.3684 | 45.7627
Asset Summary |  |  |  | Mechanical and Electrical |  | 43.5615 | [27 empty] | Percentage of Recommended Reception Toilets |  |  |  | 0 |  |  | Five | 16 | 5 | 0 |  | Latest Ofsted Report Date:- |  | 2012-05-17
|  |  |  | Other (e.g. ancillary buildings) |  | 0 | [19 empty] | C Poor | Exhibiting major defects and/or not operating as intended |  |  |  | 3 | Year 3-5 remedial action required |  | Percentage of Recommended Other Pupil Toilets |  |  |  | 225 |  |  | Six | 12 | 1 | 0 |  | Ofsted Result:- |  | Good
Asset Value - Insurance (£000):- |  | 783.7757 | [38 empty] | Total | 88 | 11 | 0
Asset Value - Land (£000):- |  | 101.397 | [23 empty] | D Bad | Life-expired and/or at serious risk of imminent failure
Land Owner:- |  | Part buildings school owned, part building and field council owned | [36 empty] | Category | Areas Included
[39 empty] | Basic Teaching Spaces | General Classrooms, ICT Rooms, Practical Areas
[39 empty] | Hall and Studio | Halls, Dining Areas
Lease Agreement / Notes:- |  | Not known | [36 empty] | Storage | Coats and Bags, Teaching, Specialist, PE Equipment, Bulk Stock, Cleaning, Caretakers and Maintenance, Tables and Chairs, Staging, Mobility Equipment
Nursery Provision:- |  | None | [36 empty] | Staff and Admin | Heads and Staff Offices, Staff Room, Staff PPA,Reprographics Room, Sick Bay, Interview and Meeting Rooms, Secure Entrance
[39 empty] | Learning Resource | Library, Small Group Rooms, SENCO Office, Medical Inspection Room
[39 empty] | Supplementary Area | Any other specialist area at the school e.g. Music Classroom, Swimming Pool, SEN Classrooms
[39 empty] | Non Net Area | Pupil and Staff Toilets, Accessible Toilets, Hygiene Room, Kitchen, Corridors, Server Room, Boilers
[39 empty] | Additional Area | Nursery provision

## Feedback
|  | Stoke Prior Primary School |  |  | Stoke Prior Primary School |  |  | Stoke Prior Primary School
|  | Feedback Form |  |  | Feedback Form |  |  | Feedback Form
General Information and Asset Summary |  |  | School Occupancy Summary |  |  | Parental Preference
Do you believe the data to be accurate? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Maintenance and Condition Summary |  |  | School Statistics |  |  | Disability Access
Do you believe the data to be a fair reflection of the maintenance and condition of the school? | [5 empty] | Do you believe the data to be a fair reflection of the environmental condition of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Suitability and Compliance Summary |  |  | Environmental Sustainability Condition |  |  | Any Other Comments
Do you believe the data to be a fair reflection of the suitability and compliance issues faced by the school? | [5 empty] | Additional comments about the information provided:
Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments:
If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920
Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015

## Asset summary
Building ref number:- | 5GAI
Site Area:- | 5401.87
Asset Value (Insurance):- | 783775.7384
Asset Value (Land):- | 101397
Land owner:- | Part buildings school owned, part building and field council owned
Lease agreement / notes:- | Not known
DEC rating:- | C
Electric consumption 2014/child:- | 449.3182
Gas consumption 2014/child:- | 847.4416

## Maintenance
Maintenance and Condition Summary |  |  |  | BCIS Quarter | 3Q2014 | [11 empty] | Check | Main year totals | Summary year totals | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows & Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | BCIS quarter | BCIS uplift
Year survey undertaken |  | 2014-09-03 |  | BCIS Uplift | 1.028 | [15 empty] | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | 1Q2009 | 1.1525
Survey company:- |  | Hub | [15 empty] | 0 | 0 | Backlog | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2Q2009 | 1.1898
[18 empty] | 2364.4 | 2364.4 | 2015 | 514 | 0 | 642.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1207.9 | 0 | 0 | 0 | 3Q2009 | 1.1898
[18 empty] | 11873.4 | 11873.4 | 2016 | 3598 | 0 | 2313 | 0 | 0 | 0 | 0 | 0 | 205.6 | 0 | 1130.8 | 4626 | 0 | 0 | 4Q2009 | 1.2123
|  |  |  | Year covered? | N | Y | Y | Y | Y | Y | School Costs | [6 empty] | 43458.7 | 43458.7 | 2017 | 1028 | 2056 | 3006.9 | 2056 | 5962.4 | 2570 | 359.8 | 0 | 0 | 0 | 1233.6 | 25186 | 0 | 0 | 1Q2010 | 1.2297
Category | Ref | Element | Recommended Works | Estimated Work Cost | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 |  | 7247.4 | 7247.4 | 2018 | 514 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3238.2 | 2261.6 | 1233.6 | 0 | 0 | 0 | 2Q2010 | 1.1789
[18 empty] | 22718.8 | 22718.8 | 2019 | 514 | 0 | 0 | 5140 | 0 | 0 | 0 | 0 | 8121.2 | 0 | 1233.6 | 7710 | 0 | 0 | 3Q2010 | 1.1735
r | Roofs | Pitched | Pitched and hipped roof with cement fibre slates and angled ridge and hipped tiles. Code 4 lead flashing valleys noted to dormer projections. Generally satisfactory but some light build up of moss noted, allow for minor repairs of slipped tiles on a reactive basis for all pitched slate tiled roofs. | 500 |  | 250 |  | 250 |  |  | 0 | 250 | 0 | 250 | 0 | 0 | [18 empty] | 4Q2010 | 1.1682
r | Roofs | Chimneys | 1 no. brick chimneystack with single flue, wire netting over and now redundant. Noted that some pointing is wearing, allow for repairs. | 750 |  |  | 750 |  |  |  | 0 | 0 | 750 | 0 | 0 | 0 |  |  |  | Individual Category totals | 6168 | 2056 | 5962.4 | 7196 | 5962.4 | 2570 | 359.8 | 0 | 11565 | 2261.6 | 6039.5 | 37522 | 0 | 0 | 1Q2011 | 1.1735
r | Roofs | Roof lights | 1 no. raised steel and glass roof light on with lead flashing; generally corroded. Allow for replacement of roof light. | 1500 |  |  | 1500 |  |  |  | 0 | 0 | 1500 | 0 | 0 | 0 | [18 empty] | 2Q2011 | 1.1525
r | Roofs | Roof Drainage | Plastic guttering and downpipes discharging above gullies provided with rodding access. Allow for regular cleaning and for clearance of moss from roofs. | 200 |  | 100 |  | 100 |  |  | 0 | 100 | 0 | 100 | 0 | 0 |  |  |  |  | Summary category totals | Main category totals | Check | [11 empty] | 3Q2011 | 1.1682
r | Roofs | Other | Overhanging eaves with exposed timber rafter feet, painted softwood fascia. Allow for redecoration to preserve life of timber. | 2000 |  |  |  | 2000 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2011 | 1.1525
e | Redecoration | External | Painted eaves, external windows and doors. | 2500 |  |  |  | 2500 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | External Grounds |  | 8224 | 8224 | [12 empty] | 1Q2012 | 1.1953
e | External walls, windows and doors | Walls (including finishes) | Solid load bearing brick walling laid in English bond with low level vents noted on South elevation to sub-floor void. Double slate damp proof course clearly evident approximately 2-3 courses above external ground levels on Southwest elevation, reducing to ground level towards Southeast elevation. Some areas of poor pointing noted and it is important with solid walls to ensure the external face is maintained well. Damp proof course bridged on East elevation to main entrance Reception where external ground levels have been raised to provide flush access. Allow for pointing repairs over the next 5 years, sum provisionally placed in year 3. | 500 |  |  |  | 500 |  |  | 0 | 0 | 0 | 500 | 0 | 0 |  |  | Roof Works |  | 13158.4 | 13158.4 | [12 empty] | 2Q2012 | 1.1174
e | External walls, windows and doors | Walls (including finishes) | Vertical tile cladding added to hipped gable projections at first floor level to blend in with roofing. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | External Walls |  | 8532.4 | 8532.4 | [12 empty] | 3Q2012 | 1.1525
w | External walls, windows and doors | Windows & Doors | Single glazed vertical timber sash windows within stone surround, stone sills, mullions and lintel. Evidence of re-pointing repair works to mullions to Area 9 Library and allow for some further repairs during this 5 year period. | 350 |  |  |  | 350 |  |  | 0 | 0 | 0 | 350 | 0 | 0 |  |  | Windows & Doors |  | 359.8 | 359.8 | [12 empty] | 4Q2012 | 1.1473
i | Internal walls and doors | Walls & Partitions (including finishes) | Plastered sections although generally external walls were dry-lined, presumably to maintain cavity between solid masonry walls and possibility of dampness. Nothing of note at the time of inspection. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Internal Works |  | 13826.6 | 13826.6 | [12 empty] | 1Q2013 | 1.0983
i | Internal walls and doors | Walls & Partitions (including finishes) | Fair faced painted brickwork to Library Area with half-height vertical shiplap internal boarding, again, possibly concealing any indication of rising dampness on South elevation wall. Nothing of note at the time of inspection. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Mechanical & Electrical |  | 43561.5 | 43561.5 | [12 empty] | 2Q2013 | 1.089
i | Internal walls and doors | Walls & Partitions (including finishes) | Full height timber and glass partitioning incorporating door between Library and main Classroom, glazing upgraded with safety film. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Other |  | 0 | 0 | [12 empty] | 3Q2013 | 1.0983
i | Floors and stairs | Floors (including finishes) | Suspended timber floor to main Classrooms, carpet finish. Small section of vinyl sheet to Library Area. Allow for new finishes after year 5. | 1000 | [5 empty] | 1000 | 0 | 0 | 0 | 0 | 0 | 1000 | [18 empty] | 4Q2013 | 1.0798
i | Floors and stairs | Floors (including finishes) | Solid concrete floor to Staff Room, carpet finish. Allow for replacement floor finish by year 5. | 400 | [5 empty] | 400 | 0 | 0 | 0 | 0 | 0 | 400 |  |  | Total |  | 87662.7 | 87662.7 | [12 empty] | 1Q2014 | 1.0447
i | Floors and stairs | Floors (including finishes) | Solid concrete floor to Office and Entrance Lobby. Carpet and vinyl finish respectively. Allow for | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0 | 500 | [18 empty] | 2Q2014 | 1.0198
i | Ceilings | All types | Plasterboard and skim with Artex finish ceiling to Staff Room. Allow for decoration on a cyclical basis. | 150 | [5 empty] | 150 | 0 | 0 | 0 | 0 | 0 | 150 | [18 empty] | 3Q2014 | 1.028
i | Ceilings | All types | Suspended ceiling to Classroom and Library comprising 600mm x 600mm mineral fibre tiles in exposed aluminium T- section grid. Not known whether any insulation laid on top. Satisfactory condition | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2014 | 1.0078
i | Ceilings | All types | Plasterboard and skim ceiling to Office and Lobby Entrance with emulsion finish. Allow for decoration on a cyclical basis. | 300 | [5 empty] | 300 | 0 | 0 | 0 | 0 | 0 | 300 | [18 empty] | 1Q2015 | 1
i | Fixed furniture and fittings | All types | Melamine-faced MDF worktop with under storage cupboard to Staff Room. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Fixed furniture and fittings | All types | Timber worktop and under storage worktop with coated doors to Classroom 12. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Fixed furniture and fittings | All types | Timber worktop to Office. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Redecoration | Internal | Emulsion walls and gloss internal doors. | 1200 |  |  |  |  | 1200 |  | 0 | 0 | 0 | 0 | 1200 | 0
m | Sanitary services | Fittings | Double stainless steel sink to Staff Room. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Waste Plumbing | Plastic waste. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating Distribution | Copper pipes to steel panel radiators and fan assisted emitters. Allow for PPM of fan connectors. | 500 |  | 100 | 100 | 100 | 100 | 100 | 0 | 100 | 100 | 100 | 100 | 100
m | Mechanical services | Heating Controls | Wall mounted thermostats for local control of fan assisted emitters. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Hot/Cold Water Distribution | Copper pipes. Water heater in staff room (room. 10) and classroom 3. Allow for PPM of water heaters | 250 |  | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50
m | Electrical services | Control Gear and Equipment | Distribution board plus main intake and meter in cupboard. Allow for PPM checks. | 200 |  | 25 | 25 | 100 | 25 | 25 | 0 | 25 | 25 | 100 | 25 | 25
m | Electrical services | Power and Associated Fittings | Flush and surface PVC and metal clad fittings with surface conduit. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Lighting and Associated Fittings | Fluorescent baton luminaires in staff room, with flush fittings throughout. Allow for re-lamping PPM | 125 |  | 25 | 25 | 25 | 25 | 25 | 0 | 25 | 25 | 25 | 25 | 25
m | Electrical services | Fire Alarms | Gent 3260 two zone control panel in entrance. Break glass call point at entrance and bell in classroom (room. 2). Consider upgrade of system to auto detection and addressable panel. Continue with PPM checks | 4875 |  | 75 | 4500 | 100 | 100 | 100 | 0 | 75 | 0 | 100 | 100 | 100
m | Electrical services | Security Alarms / CCTV | TS 2000 key pad in entrance. Magnetic switch on entrance door. Passive infra red detectors throughout. Allow for PPM checks. | 375 |  | 75 | 75 | 75 | 75 | 75 | 0 | 75 | 75 | 75 | 75 | 75
m | Electrical services | Communications Systems | Telephone in office and classroom 3. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Emergency Lighting | Emergency exit luminaires in all rooms. Allow for PPM checks. | 250 |  | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50
r | Roofs | Flat | Insulated high tensil felt roof with felted up stands. Satisfactory, allow for renewal after year 5. | 2000 | [5 empty] | 2000 | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Roof lights | 5 nr aluminium and Perspex roof lights above w.c's | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Other | uPVC over-cladding to fascia at high level. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
e | Redecoration | External | Painted external windows and rendering. | 1000 |  |  |  | 1000 |  |  |  | 0 | 0 | 1000 | 0 | 0
e | External walls, windows and doors | Walls (including finishes) | Load bearing cavity masonry walling externally rendered and stopped 1-2 courses above external ground levels. Spalled and slight damage to brickwork below bellmouth drip. 2 no. air vents noted. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Windows & Doors | Single glazed high level windows to Toilet sanitary areas, glazing is obscured and set in timber sub-frame. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Windows & Doors | Fully Georgian-wired glazed hardwood double doors to Corridor Area 8, in hardwood timber frame with fixed panel transom above. (now internal) | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
e | Internal walls and doors | Walls & Partitions (including finishes) | Melamine-faced WC cubicles to sanitary areas. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | Plastered masonry with emulsion walling throughout. Slight low level dampness and cracking on internal partition walls within Toilets. This should be monitored. | 200 |  |  | 200 |  |  |  |  | 0 | 200 | 0 | 0 | 0
i | Internal walls and doors | Doors & Glazed Screens | Hollow flush timber doors, Georgian-wired vision panels, to toilet doors, silver anodised aluminium lever handle and Perco central closer. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Doors & Glazed Screens | Double designated fire doors on Circulation with Briton 2003 overhead closers, fully Georgian-wired, brass or similar kick plates, no intumescent or cold smoke seals to doors and, furthermore, doors held open on steel latches. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Floors and stairs | Floors (including finishes) | Solid concrete floor with non-slip vinyl finish to sanitary areas, recently undertaken, with coved up stand and capping strip. Allow for replacement of floor finishes after year 5. | 750 | [5 empty] | 750 |  | 0 | 0 | 0 | 0 | 750
i | Ceilings | All types | Plasterboard and skim with emulsion finish ceilings. Allow for decoration on a cyclical basis. | 500 | [5 empty] | 500 |  | 0 | 0 | 0 | 0 | 500
m | Sanitary services | Fittings | Low level vitreous china 9 litre cisterns, WC pans, with acrylic inset wash hand basins to vanity unit, stainless steel slab urinal to Boys Toilet and stainless steel drinking fountains. Allow for refurbishment after year 5 | 7500 | [5 empty] | 7500 |  | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Fittings | Close coupled vitreous china WC suite and wash hand basin to Staff Toilets. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Waste Plumbing | 40mm uPVC branch discharge pipes. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating Distribution | Copper pipes to steel panel emitters. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating Controls | Local thermostats. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Hot/Cold Water Distribution | Copper pipes in ablutions. Electric water heater in staff toilet and cleaners store. Allow for PPM of water heaters. | 250 |  | 50 | 50 | 50 | 50 | 50 |  | 50 | 50 | 50 | 50 | 50
m | Mechanical services | Ventilation | Local extracts. Allow for clean by site team. | 125 |  | 25 | 25 | 25 | 25 | 25 |  | 25 | 25 | 25 | 25 | 25
m | Electrical services | Power and Associated Fittings | Flush and surface mounted metal clad fittings and surface PVC. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Electrical services | Lighting and Associated Fittings | Compact fluorescent luminaires. Allow for re-lamping PPM | 125 |  | 25 | 25 | 25 | 25 | 25 |  | 25 | 25 | 25 | 25 | 25
m | Electrical services | Fire Alarms | Bell and break glass unit in corridor. Allow for PPM checks | 125 |  | 25 | 25 | 25 | 25 | 25 |  | 25 | 25 | 25 | 25 | 25
r | Roofs | Pitched | Pitched and hipped roof clad with cement fibre slates, angled ridge and hip tiles. Minor isolated repair on Southeast elevation. Light build up of moss to tiles. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
r | Roofs | Pitched | Pitched and hipped roof to extension undertaken 2007, clad with cement fibre slates to match existing. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
r | Roofs | Roof lights | Aluminium and glass roof light above Area 11 Corridor. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
r | Roofs | Roof lights | 3 no. Velux pivotal roof lights on North elevation. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
r | Roofs | Roof Drainage | Plastic guttering and downpipes discharging above gullies provided with rodding access. Allow for regular cleaning and for clearance of moss from roofs. | 100 |  | 50 |  | 50 |  |  |  | 50 | 0 | 50 | 0 | 0
r | Roofs | Roof Drainage | 2008 Extension - Plastic guttering and downpipes discharging above gullies provided with rodding access. Allow for regular cleaning and for clearance of moss from roofs. | 100 |  | 50 |  | 50 |  |  |  | 50 | 0 | 50 | 0 | 0
r | Roofs | Other | Stained timber soffits and fascia's with over- eaves ventilation. Allow for redecoration to preserve life of timber. | 1000 |  |  |  | 1000 |  |  |  | 0 | 0 | 1000 | 0 | 0
e | Redecoration | External | Stained eaves. | 1500 |  |  |  | 1500 |  |  |  | 0 | 0 | 1500 | 0 | 0
e | External walls, windows and doors | Walls (including finishes) | Load bearing cavity masonry walls with external facing brickwork, expansion joint to 2008 Extension, polythene damp proof course clearly evident approximately 2 courses above external ground levels except to the South egress from the 2008 Extension where floor levels have been raised externally to provide flush access. It was noted that the construction joint of the most recent addition to the property is filled with a mastic expansion joint to one side but not on the same line on the opposing elevation, no action but should be looked at again at the next survey to check for any signs on movement. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Windows & Doors | Single glazed powder coated aluminium vertical sliding sash windows in timber sub- frames to the original section. Glazing to BS6206. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Windows & Doors | Powder coated double glazed 16mm air gap vertical/sliding windows in aluminium frame to Extension, provided with trickle vents. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Windows & Doors | Fully glazed, single glazed double doors to original section on South elevation. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Windows & Doors | Fully glazed powder coated aluminium door to Extension, 16mm air gap, glazing to BS6206. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | Plastered masonry walling throughout with stained softwood skirtings. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | North gable end of original section comprising fair faced brickwork and stone mullioned windows evident within the Corridor, now protected. Generally weathered copings, weathered mullions and sills. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | Full height timber and glass partition between Area 11 Corridor and Area 18 Store. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | Plastered masonry walling with emulsion finish. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Doors & Glazed Screens | Solid flush hardwood veneer door between DT and Classroom 12, designated fire door with overhead closer, silver anodised aluminium lever handle, although no fire seals. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Floors and stairs | Floors (including finishes) | Solid concrete floor with tiled finish to Corridor Area 11 comprising 3 no. steps down to lower level. No alternative ramped approach available other than by external route only. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Floors and stairs | Floors (including finishes) | Solid concrete floor with carpet finish to Classroom 12. Allow for replacement of carpet by year 5 | 600 | [5 empty] | 600 |  | 0 | 0 | 0 | 0 | 600
i | Floors and stairs | Floors (including finishes) | Solid concrete floor with non-slip vinyl finish to DT Classroom; coved up stand with capping strip to wall junctions. Renew after year 5. | 600 | [5 empty] | 600 |  | 0 | 0 | 0 | 0 | 600
i | Floors and stairs | Staircases (including finishes) | 3 no. steps to Lobby Area with timber handrail, contrasting aluminium nosings. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Ceilings | All types | Plasterboard and skim with emulsion finish ceiling to Lobby Area, generally quite low at approximately 2m or 2.1m in height, trimmed around North elevation windows of original section to provide borrowed light. Allow for decoration on a cyclical basis. | 450 | [5 empty] | 450 |  | 0 | 0 | 0 | 0 | 450
i | Ceilings | All types | Plasterboard and skim with emulsion finish ceiling to DT Classroom. Allow for decoration on a cyclical basis. | 100 | [5 empty] | 100 |  | 0 | 0 | 0 | 0 | 100
i | Ceilings | All types | Loft access above DT Classroom revealed insulated loft access, prefabricated truss system with approximately 200mm mineral wool insulation laid at ceiling level. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Ceilings | All types | Insulated suspended ceiling to Classroom 12 comprising 600mm x 600mm mineral fibre tiles in exposed aluminium T-section grid. Loft access with aluminium access ladder revealed, again, prefabricated timber truss system with underlay, approximately 50mm mineral wool insulation, although the flooring is decked out, which would make it impossible insulate further. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Fixed furniture and fittings | All types | Melamine-faced worktop with under storage ash veneer cupboards and units. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Redecoration | Internal | Emulsion walls and ceiling to Lobby and DT Classroom. | 1200 |  |  |  |  | 1200 |  |  | 0 | 0 | 0 | 1200 | 0
m | Sanitary services | Fittings | Inset stainless steel sink and drainer to worktops. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Waste Plumbing | Plastic 40mm uPVC pipe with 75mm bottle seal trap. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating Distribution | Copper pipes to steel panel and fan assisted heaters. Allow for PPM of fan convectors. | 375 |  | 75 | 75 | 75 | 75 | 75 |  | 75 | 75 | 75 | 75 | 75
m | Mechanical services | Heating Controls | Wall mounted thermostats for local control of fan assisted heaters. Allow for PPM of fan convectors. | 375 |  | 75 | 75 | 75 | 75 | 75 |  | 75 | 75 | 75 | 75 | 75
m | Mechanical services | Hot/Cold Water Distribution | Copper pipes with electric water heater. Allow for PPM of water heater | 125 |  | 25 | 25 | 25 | 25 | 25 |  | 25 | 25 | 25 | 25 | 25
m | Electrical services | Control Gear and Equipment | Distribution board in classroom 12. Allow for PPM checks | 200 |  | 25 | 25 | 100 | 25 | 25 |  | 25 | 25 | 100 | 25 | 25
m | Electrical services | Power and Associated Fittings | Flush and surface mounted meal clad and PVC. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Electrical services | Lighting and Associated Fittings | Fluorescent baton luminaires. Allow for re-lamping PPM | 125 |  | 25 | 25 | 25 | 25 | 25 |  | 25 | 25 | 25 | 25 | 25
m | Electrical services | Fire Alarms | Break glass call points at exits. Allow for PPM checks | 125 |  | 25 | 25 | 25 | 25 | 25 |  | 25 | 25 | 25 | 25 | 25
m | Electrical services | Security Alarms / CCTV | Passive infra red detectors in both rooms. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Electrical services | Communications Systems | Telephone in classroom 12. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
r | Roofs | Flat | Insulated high tensile felt roof above IT and Store Area with welted felt drip. Satisfactory, allow for renewal after year 5. | 3000 | [5 empty] | 3000 |  | 0 | 0 | 0 | 0 | 0
r | Roofs | Pitched | Pitched and hipped roof clad with cement fibre slates with angled ridge and hip tiles, continuous vent noted following ridges and hips. 2 no. roof vents on South elevation noted adjacent flat roof to IT Section. Light build up of moss to tiles. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
r | Roofs | Pitched | Lean-to pitched roof above Boiler Room clad with interlocking concrete tiles provided with stepped lead flashing to abutment of main Hall. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
r | Roofs | Chimneys | 1 no. stainless steel flue from Boiler Room. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
r | Roofs | Roof Drainage | Plastic guttering and downpipes discharging directly to below ground drainage. Pattern staining at low level on North elevation, presumably where leakage to gutter joints is evident. Allow for regular cleaning and for clearance of moss from roofs. | 150 |  | 75 |  | 75 |  |  |  | 75 | 0 | 75 | 0 | 0
r | Roofs | Roof Drainage | Stained closed timber fascia below welted flat roof detail to IT Room. Allow for regular cleaning and for clearance of moss from roofs. Allow for regular cleaning and for clearance of moss from roofs. | 100 |  | 50 |  | 50 |  |  |  | 50 | 0 | 50 | 0 | 0
r | Roofs | Other | Stained plywood soffits and softwood timber fascia's and bargeboards. Allow for redecoration to preserve life of timber. | 800 |  |  |  | 800 |  |  |  | 0 | 0 | 800 | 0 | 0
e | Redecoration | External | Stained eaves, external windows and doors. | 1800 |  |  |  | 1800 |  |  |  | 0 | 0 | 1800 | 0 | 0
e | External walls, windows and doors | Walls (including finishes) | Load bearing cavity masonry walls with external fair faced brickwork, polythene damp proof course approximately 1-2 courses above external ground levels. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
e | External walls, windows and doors | Walls (including finishes) | Isolated section of rendering on West elevation IT Section. Satisfactory but some minor cracking noted monitor and address with decoration by year 5. | 250 |  |  |  | 250 |  |  |  | 0 | 0 | 250 | 0 | 0
w | External walls, windows and doors | Windows & Doors | Single glazed softwood casement windows with side hung opening lights in softwood timber sub-frames. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Windows & Doors | Solid double flush timber doors to North elevation of Hall. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Windows & Doors | 2 no. double glazed, (approximately 10mm air gaps), softwood casement windows in timber sub-frame to West elevation of IT Room. Internal steel security bars noted. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Windows & Doors | Aluminium approved-type emergency fastening to fire exit doors Southwest elevation of Hall and approved-type ATEF | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | Plastered masonry walling with emulsion finish, stained softwood skirtings to perimeter of Hall. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | Fair faced internal brick walling to Store. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | Timber stud plasterboard unfinished boarding to Store. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Doors & Glazed Screens | Solid flush stained timber doors, Georgian- wired vision panel, Briton 2003 overhead closer to IT Room. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Floors and stairs | Floors (including finishes) | Solid floor with internal sprung floor, narrow strip, stained timber boarding to main Hall. Allow for sans re-seal by year 5. | 1000 | [5 empty] | 1000 |  | 0 | 0 | 0 | 0 | 1000
i | Floors and stairs | Floors (including finishes) | Solid concrete floor with carpet finish to IT Room. Renew carpet by year 5 | 500 | [5 empty] | 500 |  | 0 | 0 | 0 | 0 | 500
i | Floors and stairs | Floors (including finishes) | Solid concrete floor, floated finish only to Store. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Floors and stairs | Floors (including finishes) | Plywood panelled flooring finish to Lobby adjacent Store. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Ceilings | All types | Plasterboard and skimmed ceiling to main Hall with roof access, approximately 200mm mineral wool insulation. Allow for decoration on a cyclical basis. | 400 | [5 empty] | 400 |  | 0 | 0 | 0 | 0 | 400
i | Ceilings | All types | Plasterboard and skimmed ceiling to IT Classroom. Allow for decoration on a cyclical basis. | 150 | [5 empty] | 150 |  | 0 | 0 | 0 | 0 | 150
i | Ceilings | All types | Plasterboard and skimmed, no paint finish to ceiling to Area 18 Store. No insulation above Store. Allow for decoration on a cyclical basis. | 50 | [5 empty] | 50 |  | 0 | 0 | 0 | 0 | 50
i | Fixed furniture and fittings | All types | Ash veneer timber perimeter benching to IT Section. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Redecoration | Internal | Emulsion walls and ceilings, slight scuffing in isolated areas. | 2200 |  |  |  |  | 2200 |  |  | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Boilers | Gas fired Clyde 79kW boiler with pumps. The boiler is nearing the end of its life expectancy and replacement will be due within the next 5 years. Any new boiler will need to be re-sized to account for the recent accommodation extensions. Continue with PPM checks. | 20400 |  | 100 | 100 | 20000 | 100 | 100 |  | 100 | 100 | 0 | 100 | 100
m | Mechanical services | Heating Distribution | Copper pipes to fan assisted and steel panel emitters. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating Controls | Sangamo time switch control for boiler. Wall mounted thermostats for fan assisted heaters. Allow for new controls package as and when boiler is replaced. | 5000 |  | 125 | 125 | 4500 | 125 | 125 |  | 125 | 125 | 0 | 125 | 125
m | Mechanical services | Ventilation | Local extract in IT room. Allow for clean by site team. | 125 |  | 25 | 25 | 25 | 25 | 25 |  | 25 | 25 | 25 | 25 | 25
m | Mechanical services | Gas Distribution | Gas supply to boiler from tank. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Other | Calor gas tank to rear. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Electrical services | Control Gear and Equipment | Distribution board in store (room. 13a) and IT room. Allow for PPM checks | 200 |  | 25 | 25 | 100 | 25 | 25 |  | 25 | 25 | 100 | 25 | 25
m | Electrical services | Power and Associated Fittings | Flush PVC fittings, with Dado trunking of power at desk height in IT suite. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Electrical services | Lighting and Associated Fittings | Fluorescent baton luminaires in hall and IT room. Compact fluorescent in entrance. Allow for re-lamping PPM | 125 |  | 25 | 25 | 25 | 25 | 25 |  | 25 | 25 | 25 | 25 | 25
m | Electrical services | Fire Alarms | Break glass call points at exits and bells throughout. Allow for PPM checks | 125 |  | 25 | 25 | 25 | 25 | 25 |  | 25 | 25 | 25 | 25 | 25
m | Electrical services | Security Alarms / CCTV | Passive infra red detectors in hall. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Electrical services | Emergency Lighting | Emergency exit luminaires in all rooms. Allow for PPM checks. | 250 |  | 50 | 50 | 50 | 50 | 50 |  | 50 | 50 | 50 | 50 | 50
r | Roofs | Pitched | Pitched and hipped roof clad with cement fibre slates, angled ridge and hip tiles with valley lead gutter to junction of Reception. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
r | Roofs | Roof Drainage | Ogee section Alumasc guttering and downpipes discharging directly to Aco perimeter drain. Allow for regular cleaning and for clearance of moss from roofs. | 100 |  | 50 |  | 50 |  |  |  | 50 | 0 | 50 | 0 | 0
r | Roofs | Other | Painted softwood timber fascia supported on exposed timber rafter feet. Allow for redecoration to preserve life of timber. | 500 |  |  |  | 500 |  |  |  | 0 | 0 | 500 | 0 | 0
e | Redecoration | External | Painted eaves. | 750 |  |  |  | 750 |  |  |  | 0 | 0 | 750 | 0 | 0
e | External walls, windows and doors | Walls (including finishes) | Load bearing cavity masonry walling with external fair faced brickwork, polythene damp proof course approximately 1 course above external ground levels. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Windows & Doors | Powder coated 16mm air gap vertical sliding sash windows in powder coated frame with trickle vents. Glazing to BS6206. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | Plastered emulsion walls generally. Number of cracks noted and in more details: 1 no. hairline crack emanating from North elevation window on right-hand side of sill down to floor level. / High level cracking top right hand side of window to underside of junction with ceiling and also evident on West elevation from top of window up to underside of ceiling - hairline in nature. / Vertical crack in North-eastern corner, again, emanating from ceiling down to above skirting line. This extension was built in approximately 2002 and would suspect that the cracking is due as a consequence of normal consolidation and some differential consolidation of the foundations on the North elevation. It would be advisable to check on the 'As Built' drawings to confirm the type and depth of foundations used. There were no external signs of movement, however, as a precautionary measure, we would advise monitoring and review again at next survey. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Doors & Glazed Screens | Solid flush timber door with Georgian-wired vision panels, overhead closer and digilock to Head's Office. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Floors and stairs | Floors (including finishes) | Solid concrete floor with carpet finish. Replace carpets after year 5. | 450 | [5 empty] | 450 |  | 0 | 0 | 0 | 0 | 450
i | Redecoration | Internal | Emulsion walls and ceiling. | 750 |  |  |  |  | 750 |  |  | 0 | 0 | 0 | 750 | 0
m | Mechanical services | Heating Distribution | Copper pipes to fan assisted and steel panel emitters. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating Controls | Panel radiator. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Electrical services | Power and Associated Fittings | Flush PVC fittings. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Electrical services | Lighting and Associated Fittings | Fluorescent luminaires. Allow for re-lamping PPM | 125 |  | 25 | 25 | 25 | 25 | 25 |  | 25 | 25 | 25 | 25 | 25
m | Electrical services | Security Alarms / CCTV | PIR detector. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
g | External areas | Roads and Car Parks | No staff parking on site. Currently small lay- by, which is on the main road, which accommodates 10-12 cars. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
g | External areas | Playing fields | Grassed playing fields. Allow for continued grounds maintenance. | 2500 |  | 500 | 500 | 500 | 500 | 500 |  | 500 | 500 | 500 | 500 | 500
g | External areas | Hard Playing Areas | Tarmac front play area and concrete paved tactile ramp up to 1991 Extension to give the flush access between IT, Hall and Classrooms as described earlier. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
g | External areas | Paths & Pedestrian Paved Areas | Tarmacadam pedestrian areas. Concrete paved perimeter footpath and paved area to east of original block. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
g | External areas | Walls, Fences and Gates | A low level brick wall skirts the playground to the east, this requires rebuilding due to many loose bricks and defective mortar joints. | 1500 |  |  | 1500 |  |  |  |  | 0 | 1500 | 0 | 0 | 0
g | External areas | Walls, Fences and Gates | 225mm brick retaining wall with brick-on- edge copings adjacent to ramp. Many of the copings are spalled and damaged with very worn pointing. Allow for repairs/rebuild. | 1000 |  |  | 1000 |  |  |  |  | 0 | 1000 | 0 | 0 | 0
g | External areas | Walls, Fences and Gates | Galvanised square mesh fencing on reinforced concrete posts to site boundaries; a number of the posts are spalling as a result of carbonisation. | 2000 |  |  |  | 2000 |  |  |  | 0 | 0 | 0 | 0 | 0
g | External areas | Walls, Fences and Gates | Timber wicket fence to part North boundary on concrete retaining posts. Again, posts are spalled where carbonisation has occurred. | 500 |  |  |  | 500 |  |  |  | 0 | 0 | 500 | 0 | 0
g | External areas | Walls, Fences and Gates | 1m high timber pale fencing surrounding pond/conservation area, with gate. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
g | External areas | Ancillary Buildings | 2 no. small timber sheds with felt roofs. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
g | External areas | Ancillary Buildings | 2 no. larger functional sheds with profiled steel roof. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
g | External areas | Ancillary Buildings | A single wind turbine is now installed on the playing field providing energy to the school, the control gear and monitoring equipment are located in classroom (12). | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
g | External areas | Ancillary Buildings | LPG Compound (Galvanised fence & gates) and tank to south east corner of playing field. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
g | External areas | Drainage | 100/150mm diameter vitrified clay drains to main. School reports that issue with surface water and disposal are still present, possible install of new soak away has been discussed, recommend this is investigated further. | 500 |  |  | 500 |  |  |  |  | 0 | 500 | 0 | 0 | 0

## EFA Property
|  |  | EFA survey data | [6 empty] | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other
DFE | School | School Type | Date received | Condition rating C or D | Priority rating 1 or 2 | Element | Category | CCP rating
[9 empty] | C1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | C2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D3 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Suitability and Compliance
Space |  |  | BB103 suggested sizes
[6 empty] | Suitability Data | [6 empty] | Compliance Comparison |  |  | 1/third | Form of entry | PAN | 10
Basic Teaching Spaces |  |  | No. of spaces | m2 | Total m2 | Plan ref | Space | [5 empty] | Total area | Shortfall | Surplus | 2013 | Date of last assessment
|  | Classroom - Year R | 1 | 62 | 62 | 3, 3a, 31, 32 | General classroom | 37.64 | 7.2 | 19.3 | 8.69 |  | 72.83 | 0 | 10.83
|  | Classroom - Year 1 | 0 | 62 | 0 | [7 empty] | 0 | 0 | 0 | 0 | No. Temp Buildings on Site
|  | Classroom - Year 2 | 0 | 62 | 0 | [7 empty] | 0 | 0 | 0 | 0 | No. of Classrooms in Temporary Buildings
|  | Classroom - Year 3 | 1 | 62 | 62 | 2 | General classroom | 47.66 |  |  |  |  | 47.66 | 14.34 | 0 | 3 | No. of Classrooms
|  | Classroom - Year 4 | 0 | 62 | 0 | [7 empty] | 0 | 0 | 0 | 3 | Required No. of Classroooms
|  | Classroom - Year 5 | 1 | 62 | 62 | 12, 12a, | General classroom | 59 | 21.12 |  |  |  | 80.12 | 0 | 18.12
|  | Classroom - Year 6 | 0 | 62 | 0 | [7 empty] | 0 | 0 | 0
|  | Practical area / food bay | 0 | 0 | 0 | 29 | Practical area | 33.29 |  |  |  |  | 33.29 | 0 | 33.29 | 66.67% | of classrooms are the recommended size
|  | ICT base | 0 | 0 | 0 | 17 | IT room | 23.23 |  |  |  |  | 23.23 | 0 | 23.23 | 33.33% | of classrooms are small
[5 empty] | 186 | [7 empty] | 257.13 | 14.34 | 85.47 | 138.2% | of the recommended basic teaching space required
[15 empty] | 171.66 | 92.29% | of the recommended basic teaching space required ignoring surplus
Halls and Studios | [15 empty] | 7.71% | shortfall in basic teaching space
| 1 | Main hall | 1 | 140 | 140 | 13 | Hall | 135.27 |  |  |  |  | 135.27 | 4.73 | 0
[5 empty] | 140 | [7 empty] | 135.27 | 4.73 | 0 | 96.62% | of the recommended hall size
Storage | [15 empty] | 3.379% | shortfall in hall size
| 1 | Coat and bag storage - Year R | 1 | 3 | 3 | 11 | Cloakroom | 29.08 |  |  |  |  | 29.08 | 0 | 26.08
| 2 | Coat and bag storage - Year 1 | 0 | 3 | 0 | [7 empty] | 0 | 0 | 0
| 3 | Coat and bag storage - Year 2 | 0 | 3 | 0 | [7 empty] | 0 | 0 | 0
| 4 | Coat and bag storage - Year 3 | 1 | 3 | 3 | [7 empty] | 0 | 3 | 0
| 5 | Coat and bag storage - Year 4 | 0 | 3 | 0 | [7 empty] | 0 | 0 | 0
| 6 | Coat and bag storage - Year 5 | 1 | 3 | 3 | [7 empty] | 0 | 3 | 0
| 7 | Coat and bag storage - Year 6 | 0 | 3 | 0 | [7 empty] | 0 | 0 | 0
| 8 | Teaching storage - Year R | 1 | 2 | 2 | [7 empty] | 0 | 2 | 0
| 9 | Teaching storage - Year 1 | 0 | 2 | 0 | [7 empty] | 0 | 0 | 0
| 10 | Teaching storage - Year 2 | 0 | 2 | 0 | [7 empty] | 0 | 0 | 0
| 11 | Teaching storage - Year 3 | 1 | 2 | 2 | [7 empty] | 0 | 2 | 0
| 12 | Teaching storage - Year 4 | 0 | 2 | 0 | [7 empty] | 0 | 0 | 0
| 13 | Teaching storage - Year 5 | 1 | 2 | 2 | 24 | Store room | 2 |  |  |  |  | 2 | 0 | 0
| 14 | Teaching storage - Year 6 | 0 | 2 | 0 | [7 empty] | 0 | 0 | 0
| 15 | Specialist walk in stores | 1 | 5 | 5 | 18 | Store room | 8.67 |  |  |  |  | 8.67 | 0 | 3.67
| 18 | Indoor PE equipment storage | 1 | 14 | 14 | [7 empty] | 0 | 14 | 0
| 19 | Outdoor PE equipment storage | 0 | 0 | 0 | [7 empty] | 0 | 0 | 0
|  | Bulk stock store | 1 | 4 | 4 | [7 empty] | 0 | 4 | 0
| 21 | Caretakers and maintenance store | 1 | 4 | 4 | [7 empty] | 0 | 4 | 0
| 22 | Cleaning store | 1 | 3 | 3 | 27 | Cleaners store room | 3 |  |  |  |  | 3 | 0 | 0
| 23 | Table and chair store | 1 | 5 | 5 | [7 empty] | 0 | 5 | 0
| 25 | Staging/ appliance store | 1 | 4 | 4 | [7 empty] | 0 | 4 | 0
|  | Mobility equipment store | 1 | 2 | 2 | [7 empty] | 0 | 2 | 0
| 24 | Store for community | 0 | 0 | 0 | [7 empty] | 0 | 0 | 0
[5 empty] | 56 | [7 empty] | 42.75 | 43 | 29.75 | 76.34% | of the recommended storage space required
Staff and admin | [15 empty] | 76.79% | shortfall
| 1 | Heads office | 1 | 12 | 12 | 23 | Heads office | 15.21 |  |  |  |  | 15.21 | 0 | 3.21
| 3 | Staff room work and social | 1 | 17 | 17 | 10 | Staffroom | 27.25 |  |  |  |  | 27.25 | 0 | 10.25
|  | Staff PPA | 1 | 8 | 8 | [7 empty] | 0 | 8 | 0
| 4 | Senior management office | 0 | 10 | 0 | [7 empty] | 0 | 0 | 0
| 7 | General office (reception) | 1 | 8 | 8 | 1 | Reception (office) | 11.3 |  |  |  |  | 11.3 | 0 | 3.3
| 8 | Secure reception | 1 | 4 | 4 | 1a | Entrance | 8.27 |  |  |  |  | 8.27 | 0 | 4.27
| 9 | Reprographics room | 1 | 6 | 6 | [7 empty] | 0 | 6 | 0
| 10 | Meeting room | in head | 0 | 0 | [7 empty] | 0 | 0 | 0
| 11 | Sick bay | 1 | 3 | 3 | [7 empty] | 0 | 3 | 0
| 13 | Interview room | 1 | 8 | 8 | [7 empty] | 0 | 8 | 0
[5 empty] | 66 | [7 empty] | 62.03 | 25 | 21.03 | 93.98% | of the recommended staff and admin space required
Learning resource area | [15 empty] | 37.88% | shortfall
| 1 | Library (learning resource centre) | 1 | 18 | 18 | 9, 9a | Library | 20.07 | 11.12 |  |  |  | 31.19 | 0 | 13.19
| 3 | Small group room | 1 | 11 | 11 | [7 empty] | 0 | 11 | 0
| 5 | SENco office (SEN resource) | 1 | 12 | 12 | [7 empty] | 0 | 12 | 0
| 2 | Medical inspection room/ Therapy room | 1 | 12 | 12 | [7 empty] | 0 | 12 | 0
[5 empty] | 53 | [7 empty] | 31.19 | 35 | 13.19 | 58.85% | of the recommended learning resource areas
Supplementary area | [15 empty] | 66.04% | shortfall
| 1 |  | 0 | 0 | 0 | 33 | Physiotherapy | 8.757 |  |  |  |  | 8.757 | 0 | 8.757
[5 empty] | 0 | [7 empty] | 0 | 0 | 0
[13 empty] | 8.757 | 0 | 8.757 | - | of the recommended supplementary areas
Non net areas | [15 empty] | - | shortfall
| 1 | Reception toilets | 3 | 2 | 6 | [7 empty] | 0 | 6 | 0 | 0 | Number of reception toilets
| 1 | Pupils toilets | 4 | 2 | 8 | 5,7 | 7 wc's 2 urinals | 10.94 | 12.34 |  |  |  | 23.28 | 0 | 15.28 | 9 | Number of other pupil toilets
| 2 | Staff toilets | 2 | 2 | 4 | 6 | Staff wc (multi-sex) 1 wc | 5.49 |  |  |  |  | 5.49 | 0 | 1.49 | 0% | % of recommended reception toilets
| 3 | Accessible toilet | 1 | 3 | 3 | 34 | Disabled w.c. | 3.288 |  |  |  |  | 3.288 | 0 | 0.288 | 225% | % of recommended other pupil toilets
| 9 | Hygiene room | 1 | 12 | 12 | [7 empty] | 0 | 12 | 0
| 4 | Kitchen facilities (servery) | 1 | 20 | 20 | [7 empty] | 0 | 20 | 0
| 5 | Corridors | - | 22.5% | 112.725 | 4,8,35,13a, 26 | Corridor | 11.69 | 7.44 | 10.034 | 4.22 | 10 | 43.384 | 69.341 | 0
| 6 | Boiler room | 1 | 1.5% | 7.515 | 16 | Boiler room | 4.6 |  |  |  |  | 4.6 | 2.915 | 0
| 7 | Server | in boiler | [9 empty] | 0 | 0 | 0
|  | Walls | - | 4% | 20.04 |  |  | 21.4851 |  |  |  |  | 21.4851 | 0 | 1.4451
[5 empty] | 193.28 | [7 empty] | 101.5271 | 110.256 | 18.5031 | 52.53% | of the recommended non net area
Additional area | [15 empty] | 57.04% | shortfall
|  | Nursery class | 1 | 62 | 62 | [7 empty] | 0 | 62 | 0
|  | Quiet room | 1 | 8 | 8 | [7 empty] | 0 | 8 | 0
|  | Nursery store room | 1 | 2 | 2 | [7 empty] | 0 | 2 | 0
|  | Nursery office | 1 | 8 | 8 | [7 empty] | 0 | 8 | 0
|  | Nursery cloakroom | 1 | 3 | 3 | [7 empty] | 0 | 3 | 0
|  | Nursery pupils toilets | 3 | 2 | 6 | [7 empty] | 0 | 6 | 0
|  | Nursery staff toilets | 1 | 2 | 2 | [7 empty] | 0 | 2 | 0
|  | Nursery entrance | 1 | 22.5% | 1.8675 | [7 empty] | 0 | 1.8675 | 0
[5 empty] | 92.8675 | [7 empty] | 0 | 92.8675 | 0
Total Net area |  |  |  |  | 501 | [7 empty] | 537.127
Total Non-Net area |  |  |  |  | 193.28 | [7 empty] | 101.5271
Gross (total build) area - excluding nursery |  |  |  |  | 694.28 | [7 empty] | 638.6541 |  |  | 91.99% | of the recommended Gross area
Gross (total build) area - including nursery |  |  |  |  | 787.1475 | [7 empty] | 638.6541
Net Area Range |  |  |  |  | 637.0-715.0
Mid Range |  |  |  |  | 676
Total Site Area Range |  |  |  |  | 4329.0-5413.8
Mid Range |  |  |  |  | 4871.4
2
3
4

## Occupancy
Sufficiency Data
Planned Admission Number | Current Capacity | Maximum PAN | Capacity based on max PAN
11 | 77 | 12 | 84
NOR Spring Census
| 2008 / 2009 | 2009 / 2010 | 2010 / 2011 | 2011 / 2012 | 2012 / 2013 | 2013 / 2014
NOR Jan | 79 | 78 | 81 | 82 | 84 | 88
Maximum Capacity | 77 | 77 | 77 | 77 | 77 | 77
Number of Surplus Places | 0 | 0 | 0 | 0 | 0 | 0
% of surplus places | 0 | 0 | 0 | 0 | 0 | 0
Current Numbers on Roll (from Autumn Census)
Year group | R | 1 | 2 | 3 | 4 | 5 | 6 | Total
Number | 12 | 15 | 13 | 8 | 12 | 16 | 12 | 88

## School stats
Current Ofsted | Year
Good | 2012-05-17
2014 KS2 Performance Tables last update : (10 Dec 2014)
Year on year comparisons
Percentage achieving Level 4 or above in reading, writing and maths | 2012 | 2013 | 2014
School | 78% | 100% | 91%
LA | 71% | 71% | 76%
England - All Schools | 75% | 75% | 79%
KS2 test results and progress
| All pupils | Low attainers | Middle attainers | High attainers
Pupils eligible for KS2 assessment | 11
Percentage of pupils achieving 3 or below in reading and maths test and writing TA | 0% | SUPP | 0% | SUPP
Percentage of pupils achieving level 4 or above in reading and maths test and writing TA | 91% | SUPP | 100% | SUPP
Percentage of pupils achieved level 4B or above in reading and maths test and level 4 in writing TA | 91% | SUPP | 100% | SUPP
Percentage of pupils achieving level 5 or above in reading and maths test and writing TA | 9% | SUPP | 17% | SUPP
Percentage of pupils making at least 2 levels of progress in reading | 91% | SUPP | 100% | SUPP
Percentage of pupils making at least 2 levels of progress in writing TA | 100% | SUPP | 100% | SUPP
Percentage of pupils making at least 2 levels of progress in maths | 100% | SUPP | 100% | SUPP
Average point score | 28.9
Disadvantaged pupils
| Disadvantaged pupils | Other pupils
Percentage of disadvantaged pupils achieving level 3 or below in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4B or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 5 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in reading | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in maths | SUPP | SUPP
Value Added measures
| Measure | Lower CI | Upper CI | Coverage
Overall value added measure | 101 | 99.8 | 102.2 | 100%
Reading value added measure | 100.8 | 99.4 | 102.1 | 100%
Writing TA value added measure | 101.1 | 99.7 | 102.4 | 100%
Maths value added measure | 101 | 99.4 | 102.5 | 100%
Subject level results
| Reading test | Maths test | Grammar, punctuation and spelling test | Writing TA
Percentage achieving level 3 or below | 0% | 9% | 27% | 9%
Percentage achieving Level 4 or above | 100% | 91% | 73% | 91%
Percentage achieving Level 4b or above | 100% | 91% | 64% | NA
Percentage achieving Level 5 or above | 27% | 45% | 45% | 36%
Pupil Absence last update : (11 Dec 2013)
| School | England - national (primary state-funded)
Overall absence: percentage | 4.3% | 4.8%
Persistent absence: around 15% + | SUPP | 3.6%
Please note - this year the Department will publish full year 2013/14 absence data in the performance tables in March 2015 rather than just the autumn and spring term data in December as in previous years, and we will continue to do so in future years. This is because the full year data provides the most robust indication of school absence rates.
School level information for the 2013/14 autumn and spring term only is available in our Statistical First Release here
2013-14 Finance last update : (10 Dec 2014)
Contextual information
Number of pupils (FTE) | 88
Percentage of pupils eligible for Free School Meals (FSM) | 17%
Free school meals eligibility band | LOW
Spend per pupil data as £ per pupil (in brackets percentage of total income or expenditure)
| School | LA Median | Non-London LAs Median | National Median
Grant funding | 4938 (97%) | 4525 | 4016 | 4325
Self generated income | 143 (3%) | 144 | 142 | 127
Total income | 5081 | 4723 | 4183 | 4479
Teaching staff | SUPP | 2277 | 2045 | 2106
Supply Staff | 123 (2%) | 87 | 118 | 127
Education support staff | SUPP | 689 | 650 | 733
Learning resources (not ICT equipment) | 225 (4%) | 181 | 174 | 184
ICT learning resources | 102 (2%) | 81 | 62 | 66
Bought in professional services - curriculum | 172 (3%) | 88 | 59 | 67
Back office (incl. Staff costs) | 402 (8%) | 406 | 334 | 351
Catering (incl. Staff costs) | 71 (1%) | 35 | 53 | 75
Premises (incl. Staff costs) | 264 (5%) | 259 | 275 | 301
Other staff costs | 178 (4%) | 153 | 133 | 142
Energy | 49 (1%) | 68 | 62 | 65
Other expenditure | 119 (2%) | 94 | 85 | 88
Total expenditure | 5016 | 4562 | 4143 | 4431
Spend per pupil data as £ per pupil : Comparisons over time
| 2010-11 | 2011-12 | 2012-13 | 2013-14
Teaching staff and Education support staff expenditure | 3015 | 2998 | 3146 | SUPP
Supply staff | 247 | 208 | 113 | 123
Back office (incl. Staff costs) | 374 | 409 | 420 | 402
Energy | 47 | 50 | 67 | 49
Total expenditure | 4882 | 4639 | 4780 | 5016
School Workforce last update : (10 Dec 2014)
This data is based upon the November 2013 School Workforce Census
| School | England - national (primary state-funded)
Headcount of all teachers in a school | 7 | 236728
Headcount of all teaching assistants in a school | 11 | 239340
Headcount of all support (exc. auxillary) staff in a school | 2 | 77335
Full-time equivalent number of all teachers in a school | 4.6 | 207827.7
Full-time equivalent number of all teaching assistants in a school | 4.4 | 154245.3
Full-time equivalent number of all support (exc. auxillary) staff in a school | 0.9 | 51728.3
Ratio of pupils to teachers in a school | 19.2 | 20.5
Average gross salary of all teachers in a school | 37063 | 36559

## Parental Preference
Popularity Data | [10 empty] | Children at School From School Catchment
Parental First Preference Applications | [11 empty] | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  | Catchment vs Nearest School |  |  |  |  | Catchment | Nearest
Year | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  |  | NOR | 78 | 81 | 82 | 84 | 88 |  |  |  | NOR |  |  |  |  | 88 | 88
PAN | 11 | 11 | 11 | 11 | 11 | 11 |  |  |  |  | Number | 36 | 32 | 32 | 32 | 33 |  |  |  | Total in area |  |  |  |  | 57 | 59
No. | 14.96 | 12.98 | 9.9 | 12.98 | 15.004 | 12 |  |  |  |  | % | 46.1538 | 39.5062 | 39.0244 | 38.0952 | 37.5 |  |  |  | Number at School from area |  |  |  |  | 27 | 27
% | 136 | 118 | 90 | 118 | 136.4 | 109.0909 | [13 empty] | % at School |  |  |  |  | 30.6818 | 30.6818
[11 empty] | Total number in Catchment | [8 empty] | % of area going to School |  |  |  |  | 47.3684 | 45.7627
[12 empty] | 2010 | 2011 | 2012 | 2013 | 2014
[11 empty] | Number | 57 | 58 | 56 | 59 | 59
[11 empty] | % | 100 | 100 | 100 | 100 | 100
Where children at School are coming from (from Spring Census 2014)
DCSF No. | School |  | Broadlands | Hampton Dene | Lord Scudamore | Marlbrook | Leominster Infants’ | Luston | Marden | Stoke Prior | Sutton | Wellington | Wigmore | Withington | Burley Gate C E | Canon Pyon C E | St Mary’s C E, Credenhill | Orleton C E | St Michael's C E, Bodenham | St James’ C E, Kimbolton | Kingsland C E | Ivington C E | Pembridge C E | St Thomas Cantilupe C E | Out of County | Grand Total
2099 | Leominster Infants’ | Number | 0 | 0 | 0 | 0 | 245 | 2 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 1 | 0 | 1 | 1 | 0 | 1 | 255
2099 | Leominster Infants’ | % | 0 | 0 | 0 | 0 | 96.0784 | 0.78431 | 0 | 0.39216 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.39216 | 0.78431 | 0.39216 | 0 | 0.39216 | 0.39216 | 0 | 0.39216 | 100
2100 | Leominster Junior | Number | 0 | 0 | 0 | 1 | 301 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 5 | 1 | 0 | 4 | 4 | 0 | 0 | 319
2100 | Leominster Junior | % | 0 | 0 | 0 | 0.31348 | 94.3574 | 0.31348 | 0 | 0.31348 | 0 | 0 | 0 | 0.31348 | 0 | 0 | 0 | 0 | 1.5674 | 0.31348 | 0 | 1.2539 | 1.2539 | 0 | 0 | 100
2103 | Luston | Number | 0 | 0 | 0 | 0 | 55 | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 1 | 0 | 0 | 0 | 3 | 90
2103 | Luston | % | 0 | 0 | 0 | 0 | 61.1111 | 31.1111 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1111 | 2.2222 | 1.1111 | 0 | 0 | 0 | 3.3333 | 100
2148 | Stoke Prior | Number | 0 | 0 | 0 | 0 | 41 | 1 | 0 | 33 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 5 | 2 | 0 | 4 | 0 | 0 | 0 | 88
2148 | Stoke Prior | % | 0 | 0 | 0 | 0 | 46.5909 | 1.1364 | 0 | 37.5 | 0 | 0 | 1.1364 | 0 | 0 | 0 | 0 | 1.1364 | 5.6818 | 2.2727 | 0 | 4.5455 | 0 | 0 | 0 | 100
3304 | St Michael's C E, Bodenham | Number | 6 | 2 | 0 | 0 | 7 | 0 | 9 | 3 | 3 | 1 | 0 | 5 | 6 | 0 | 0 | 0 | 53 | 0 | 0 | 2 | 0 | 1 | 0 | 98
3304 | St Michael's C E, Bodenham | % | 6.1224 | 2.0408 | 0 | 0 | 7.1429 | 0 | 9.1837 | 3.0612 | 3.0612 | 1.0204 | 0 | 5.102 | 6.1224 | 0 | 0 | 0 | 54.0816 | 0 | 0 | 2.0408 | 0 | 1.0204 | 0 | 100
3341 | St James’ C E, Kimbolton | Number | 0 | 0 | 0 | 0 | 41 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 24 | 0 | 0 | 0 | 0 | 3 | 74
3341 | St James’ C E, Kimbolton | % | 0 | 0 | 0 | 0 | 55.4054 | 2.7027 | 0 | 2.7027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7027 | 0 | 32.4324 | 0 | 0 | 0 | 0 | 4.0541 | 100
3349 | Ivington C E | Number | 0 | 0 | 1 | 1 | 77 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3 | 2 | 0 | 0 | 0 | 2 | 14 | 0 | 0 | 0 | 101
3349 | Ivington C E | % | 0 | 0 | 0.9901 | 0.9901 | 76.2376 | 0 | 0 | 0.9901 | 0 | 0 | 0 | 0 | 0 | 2.9703 | 1.9802 | 0 | 0 | 0 | 1.9802 | 13.8614 | 0 | 0 | 0 | 100
Where school children in the Schools Catchment area are going to (from Spring Census 2014)
DCSF No. | School |  | Bredenbury | Brockhampton | St Peter's, Bromyard | Hampton Dene | St Martin’s | Trinity | Leominster Infants’ | Leominster Junior | Luston | Marden | Shobdon | Stoke Prior | Sutton | Wellington | Weobley | Wigmore | Canon Pyon C E | Dilwyn | Mordiford C E | Orleton C E | St Michael's C E, Bodenham | St Francis Xaviers RC | St Pauls CE | St James’ C E, Kimbolton | Kingsland C E | Ivington C E | Pembridge C E | Pencombe C E | Grand Total
2099 | Leominster Infants’ | Number | 2 | 0 | 0 | 1 | 0 | 0 | 245 | 301 | 55 | 2 | 3 | 41 | 0 | 1 | 19 | 9 | 1 | 5 | 0 | 3 | 7 | 1 | 0 | 41 | 56 | 77 | 2 | 0 | 872
2099 | Leominster Infants’ | % | 0.22936 | 0 | 0 | 0.11468 | 0 | 0 | 28.0963 | 34.5183 | 6.3073 | 0.22936 | 0.34404 | 4.7018 | 0 | 0.11468 | 2.1789 | 1.0321 | 0.11468 | 0.57339 | 0 | 0.34404 | 0.80275 | 0.11468 | 0 | 4.7018 | 6.422 | 8.8303 | 0.22936 | 0 | 100
2103 | Luston | Number | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 28 | 0 | 1 | 1 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 17 | 0 | 0 | 0 | 2 | 17 | 0 | 0 | 0 | 73
2103 | Luston | % | 0 | 0 | 0 | 0 | 0 | 0 | 2.7397 | 1.3699 | 38.3562 | 0 | 1.3699 | 1.3699 | 0 | 0 | 0 | 5.4795 | 0 | 0 | 0 | 23.2877 | 0 | 0 | 0 | 2.7397 | 23.2877 | 0 | 0 | 0 | 100
2148 | Stoke Prior | Number | 8 | 0 | 2 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 3 | 0 | 1 | 2 | 0 | 1 | 0 | 5 | 59
2148 | Stoke Prior | % | 13.5593 | 0 | 3.3898 | 0 | 0 | 0 | 1.6949 | 1.6949 | 0 | 0 | 0 | 55.9322 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3898 | 5.0847 | 0 | 1.6949 | 3.3898 | 0 | 1.6949 | 0 | 8.4746 | 100
3304 | St Michael's C E, Bodenham | Number | 0 | 0 | 0 | 0 | 1 | 2 | 2 | 5 | 1 | 5 | 0 | 5 | 2 | 3 | 0 | 0 | 0 | 0 | 1 | 0 | 53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80
3304 | St Michael's C E, Bodenham | % | 0 | 0 | 0 | 0 | 1.25 | 2.5 | 2.5 | 6.25 | 1.25 | 6.25 | 0 | 6.25 | 2.5 | 3.75 | 0 | 0 | 0 | 0 | 1.25 | 0 | 66.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100
3341 | St James’ C E, Kimbolton | Number | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24 | 1 | 0 | 0 | 0 | 34
3341 | St James’ C E, Kimbolton | % | 5.8824 | 2.9412 | 0 | 0 | 0 | 0 | 2.9412 | 2.9412 | 5.8824 | 0 | 0 | 5.8824 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 70.5882 | 2.9412 | 0 | 0 | 0 | 100
3349 | Ivington C E | Number | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 0 | 0 | 0 | 4 | 0 | 0 | 2 | 0 | 4 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 3 | 14 | 0 | 0 | 34
3349 | Ivington C E | % | 0 | 0 | 0 | 0 | 0 | 0 | 2.9412 | 11.7647 | 0 | 0 | 0 | 11.7647 | 0 | 0 | 5.8824 | 0 | 11.7647 | 0 | 0 | 0 | 5.8824 | 0 | 0 | 0 | 8.8235 | 41.1765 | 0 | 0 | 100

## Disability access
Physical Accessibility Rating | 1
Information from https://www.herefordshire.gov.uk/education-and-learning/schools/directory
Ratings and descriptions
Rating | Details | Description
3 | Fully accessible | Will meet the needs of all disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling); Has a full hygiene room and special educational needs or therapy room for pupils who need more assistance with personal care (including hoisting) and regular physio or other treatment
2 | Mainly accessible | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
1 | Partly accessible | Some standards met but some areas not accessible
0 | Inaccessible | No level access into building and/or no disabled toilet
Summary of physical accessibility standards
Level access into building(s): Main and pupil entrance(s) level, with ramps and hand rails as required
Level access to all curriculum and social areas (not necessarily entire building/site): including assembly hall, canteen (may be achieved by sensitive organisation and timetabling)
Access to upper floors: if required - lift(s) as alternative to steps or stairs
Toilet facilities: small disabled toilet(s) as specified by building regulations - suitable for most disabled pupils. A small number of pupils will require enhanced facilities (hygiene room) to provide greater assistance, including hoisting.
Medical, therapy or SEN room: multi-purpose or flexible use - usually required in addition to a hygiene room, for regular physio and other physical programmes
Emergency evacuation: routes should be level and unobstructed. Evacuation must be documented (using Personal Emergency Evacuation Plans - PEEPs) and practised regularly