## Cover Page
Weobley High School
Summary Report
Contents
|  | Section | Page | No. of pages
Weobley High School |  | Summary Data | 3 | 1
|  | General Information and Asset Summary | 4 | 1
Summary Report |  | Maintenance and Condition Summary | 5 | 2
|  | Education Funding Agency Condition Survey Data | 7 | 1
Schools Capital Investment Strategy |  | Suitability and Compliance Summary | 8 | 2
|  | School Occupancy Summary | 10 | 1
|  | School Statistics | 11 | 1
|  | Environmental Sustainability Condition | 12 | 1
|  | Parental Preference | 13 | 1
|  | Distribution of Children Attending School or Resident in its Catchmnet Area | 14 | 2
|  | Distribution of Children Attending School or Where it is the Nearest School | 16 | 2
|  | Key Services Within 2 Mile Radius of School | 18 | 1
|  | Key Services Adjacent to School | 19 | 1
|  | Disability Access | 20 | 1
Children's Wellbeing
Herefordshire Council
Plough Lane Offices
Plough Lane
HEREFORD
HR4 0LE

## Summary Info
Weobley High School
Summary Report
Summary of Headline Information
Asset Summary | [5 empty] | Occupancy Summary
Gross Site Area (M2)(whole site including building):- |  | 46179.24 |  |  |  | Current Capacity (incl post 16):- |  |  | 499
Insurance Asset Value (£000):- |  | 5264334.0524 |  |  |  | Current Capacity (excl post 16):- |  |  | 499
Land Asset Value (£000):- |  | 1952873 |  |  |  | Current Planned Admission No.:- |  |  | 100
Land Ownership:- | Owned, field 99 year lease to parish council |  |  |  |  | Current Occupancy (incl post 16):- |  |  | 500
[6 empty] | Current Occupancy (excl post 16):- |  |  | 500
[6 empty] | Current Total Number Over Capacity:- |  |  | 1
[6 empty] | Current Total Number Under Capacity:- |  |  | 0
Maintenance Expenditure Required on the School over a 5 Year Period Summary
Survey Date:- |  |  |  | 2011-08-09
Backlog Maintenance Total (£000):- | [6 empty] | 102.8584
Total Forecast Expenditure (5 years) (£000):- | [6 empty] | 54.0868
Total Potential Local Authority Forecast Expenditure (£000):- | [6 empty] | 132.1214
Total Potential School Forecast Expenditure (£000):- | [6 empty] | 24.8239
Suitability and Compliance
Compliance Percentage of Recommended Basic Teaching Spaces:- | [6 empty] | 108.8549 | Required Building Footprint (M2):- | 4503.9225
Compliance Percentage of Recommended Hall Size:- | [6 empty] | 141.2372 | Current Building Area (M2):- | 4479.6
Compliance Percentage of Recommended Storage Space:- | [6 empty] | 61.8803 | Area Shortfall (M2):- | 24.3225
Compliance Percentage of Recommended Staff and Admin Space:- | [6 empty] | 96.249 | Area Surplus (M2):- | 0
Compliance Percentage of Recommended Learning Resource Space:- | [6 empty] | 123.6436 | Total Percentage Compliance:- | 99.46
Number of Temporary Buildings on Site:- | [6 empty] | 4 | Required Net Site Area (M2):- | 33617.3525
Number of Classrooms in Temporary Buildings:- | [6 empty] | 4 | Current Net Site Area (M2):- | 41699.64
Compliance Percentage of Recommended Pupil Toilets:- | [6 empty] | 100 | Area Shortfall (M2):- | 0
[8 empty] | Area Surplus (M2):- | 8082.2875
[8 empty] | Total Percentage Compliance:- | 124.042
Disability Access
Rating:- | 2 |  | Details:- |  |  |  | Mainly accessible
Environmental Sustainability Condition
DEC Rating:- |  |  |  |  | No data held
Electric Consumption 2014/Child:- |  |  |  |  | 145.0104
Gas Consumption 2014/Child:- |  |  |  |  | Not Available
School Statistics
Ofsted Results:- | [8 empty] | Good
Percentage of Children Achieving KS4 5+ A*-C GCSEs (or equivalent) including English and maths GCSEs in 2014:- | [8 empty] | 49
Parental Preference (2014)
Percentage of Parental First Preference Applications:- | [6 empty] | 105
Total Number of Children within Catchment:- | [6 empty] | 399
Total Number of Children at School from Catchment:- | [6 empty] | 320
Percentage of Catchment at School:- | [6 empty] | 66.6667
Percentage of Catchment Going to School:- | [6 empty] | 80.2005

## Report
|  |  |  | Weobley High School | [6 empty] | Weobley High School | [14 empty] | Weobley High School | [7 empty] | Weobley High School |  |  |  |  | Weobley High School |  | Weobley High School | [12 empty] | Weobley High School | [5 empty] | Weobley High School |  |  | Weobley High School | [8 empty] | Weobley High School |  | Weobley High School |  | Weobley High School |  | Weobley High School |  | Weobley High School |  | Weobley High School |  | Weobley High School |  |  | Weobley High School
|  |  |  | Summary Report | [6 empty] | Summary Report | [14 empty] | Summary Report | [7 empty] | Summary Report |  |  |  |  | Summary Report |  | Summary Report | [12 empty] | Summary Report | [5 empty] | Summary Report |  |  | Summary Report | [8 empty] | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  |  | Summary Report
General Information |  |  |  |  | Maintenance and Condition Summary | [21 empty] | Education Funding Agency Condition Survey Data | [7 empty] | Suitability and Compliance Summary |  |  |  |  | Suitability and Compliance Summary (continued) |  | School Occupancy Summary | [12 empty] | School Statistics | [5 empty] | Environmental Sustainability Condition |  |  | Parental Preference | [8 empty] | Distribution of Children Attending School or Resident in its Catchment Area |  | Distribution of Children Attending School or Resident in its Catchment Area (continued) |  | Distribution of Children Attending School or Where it is the Nearest School |  | Distribution of Children Attending School or Where it is the Nearest School (continued) |  | Key Services Within 2 Mile Radius of School |  | Key Services Adjacent to School |  | Disability Access
Maintenance and Condition Summary (continued)
School Name:- | Weobley High School |  |  |  | Survey Date:- | 2011-08-09 |  | Survey Company:- |  | Amey |  | Key Elements and Annual Forecast Maintenance Costs and Responsibilities | [14 empty] | Date of Survey:- |  | 2013-05-21 | [5 empty] | Areas | Standard Criteria (M2) (PAN 100) | Schools Compliance (M2) | Compliance Percentage |  |  |  | Current Planned Admission No. (PAN) | Post 16 Planned Admission No. (PAN) |  |  | Current School Capacity |  |  | Maximum PAN |  |  | Maximum Capacity Based on PAN |  |  | Year | KS4 Year on Year Results |  |  |  |  | Electric Consumption 2014/Child:- | 145.0104 |  |  | Parental First Preference Applications | [19 empty] | Physical Accessibility Rating
Head Teacher:- | Mr A D Williams |  | DFE Number:- | 4045 | Year | Forecast Maintenance Costs (£ 000) | [5 empty] | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows and Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | Number of Occurences Identified Within the Report | [7 empty] | Basic Teaching Space | 1621.975 | 1765.6 | 108.8549 |  |  |  | 100 | - |  |  | 499 |  |  | 101 |  |  | 505 |  |  |  | School - Percentage achieving 5+ A*-C GCSEs (or equivalent) including English and maths GCSEs | LA - Percentage achieving 5+ A*-C GCSEs (or equivalent) including English and maths GCSEs | All Schools in England - Percentage achieving 5+ A*-C GCSEs (or equivalent) including English and maths GCSEs |  |  | Gas Consumption 2014/Child:- | Not Available |  |  | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | [14 empty] | Rating: | 2
Leadership:- | Stand Alone | [25 empty] | Rating (see key below) | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other | Hall and Studio | 774.35 | 1093.67 | 141.2372 | [25 empty] | PAN | 99.8 | 99.8 | 99.8 | 99.8 | 99.8 | 99.8
Address:- | Weobley High School, Weobley, Hereford HR4 8ST |  | Email:- | admin@weobleyhigh.hereford.sch.uk | Backlog | 102.8584 | [5 empty] | £ 000 | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | [8 empty] | Storage | 324.675 | 200.91 | 61.8803 |  |  |  | Historical Numbers on Roll Data (Spring Census) | [21 empty] | Number | 91.816 | 85.828 | 83.832 | 97.804 | 93.812 | 104.79 | [14 empty] | Details: | Mainly accessible
[5 empty] | 2015 | 32.4755 |  |  | 102.8584 |  |  | Backlog | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28.7373 | 8.4109 | 25.7 | 13.142 | 26.8682 | 0 | 0 | C1 | [7 empty] | Staff and Admin | 274.725 | 264.42 | 96.249 |  |  |  | Year | NOR |  |  | Capacity Based on PAN |  |  | Shortfall |  |  | Surplus |  |  | 2011 | 66 | 57.5 | 59 | [5 empty] | Percentage | 92 | 86 | 84 | 98 | 94 | 105
[5 empty] | 2016 | 21.6114 |  |  | 32.4755 |  |  | 2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2709 | 29.2045 | 0 | 0 | C2 | 1 | 1 |  | 2 |  | 11 |  | Learning Resource | 199.8 | 247.04 | 123.6436 |  |  |  |  | 11-16 | Post 16 | Total | 11-16 | Post 16 | Total | 11-16 | Post 16 | Total | 11-16 | Post 16 | Total | 2012 | 61 | 56.5 | 59.4 | [26 empty] | Description: | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
[5 empty] | 2017 | Not Available |  |  | 21.6114 |  |  | 2016 | 0 | 13.4341 | 0 | 5.8409 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3364 | 0 | 0 | D1 | [7 empty] | Supplementary Area | 0 | 0 | 0 |  |  |  | 2008 / 2009 | 458 | 0 | 458 | 499 | 0 | 499 | 0 | 0 | 0 | 41 | 0 | 41 | 2013 | 60 | 56.1 | 59.2 | [5 empty] | Historical Catchment Analysis (Spring Census)
Telephone No.:- | T: 01544 318159 F: 01544 312900 |  | School Cluster:- | Weobley District- Weobley High School | 2018 | Not Available |  |  | Not Available |  |  | 2017 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | D2 | [7 empty] | Non Net Area | 1308.3975 | 907.96 | 69.3948 |  |  |  | 2009 / 2010 | 463 | 0 | 463 | 499 | 0 | 499 | 0 | 0 | 0 | 36 | 0 | 36 | 2014 | 49 | 58.7 | 53.4 | [5 empty] | Catchment Analysis | Parental First Preference Applications 2012: 2010; Parental First Preference Applications 2013: 2011; Parental First Preference Applications 2014: 2012 | 2013 | 2014
[5 empty] | 2019 | Not Available |  |  | Not Available |  |  | 2018 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | D3 | [7 empty] | Total Gross Building Area | 4503.9225 | 4479.6 | 99.46 |  |  |  | 2010 / 2011 | 464 | 0 | 464 | 499 | 0 | 499 | 0 | 0 | 0 | 35 | 0 | 35 | [12 empty] | Total in Catchment | 424 | 419 | 403 | 402 | 399
[9 empty] | Not Available |  |  | 2019 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | [15 empty] | 2011 / 2012 | 475 | 0 | 475 | 499 | 0 | 499 | 0 | 0 | 0 | 24 | 0 | 24 | KS4 Exam Results and Progress (2014) | [11 empty] | Number at School from Catchment | 302 | 303 | 315 | 314 | 320
School Type:- | Community |  | Building Number:- | 6KAT | Total | 156.9452 | [5 empty] | Totals | 0 | 13.4341 | 0 | 5.8409 | 0 | 0 | 0 | 28.7373 | 8.4109 | 25.7 | 16.413 | 58.4091 | 0 | 0 | *Note the information noted above has been extracted from the EFA survey focusing on elements that are C & D rated. Items with an A or B rating have been excluded. The numbers reference the quantity of elements that the survey has picked up within the relevant category | [7 empty] | Total Gross Site Area | 38121.275 | 46179.24 | 121.1377 |  |  |  | 2012 / 2013 | 479 | 0 | 479 | 499 | 0 | 499 | 0 | 0 | 0 | 20 | 0 | 20 | [12 empty] | Percentage at School from Catchment | 65.2268 | 65.3017 | 66.3158 | 65.5532 | 66.6667
Current Capacity (11-16):- | 499 |  | Site Area:- | 46179.24 | [30 empty] | Net Site Area (less the building area) | 33617.3525 | 41699.64 | 124.042 |  |  |  | 2013 / 2014 | 480 | 0 | 480 | 499 | 0 | 499 | 0 | 0 | 0 | 19 | 0 | 19 | Number of pupils at end of KS4 |  |  |  | 99 | [7 empty] | Percentage of Catchment Going to School | 71.2264 | 72.315 | 78.1638 | 78.1095 | 80.2005
Current Capacity (Post 16):- | 0 | [10 empty] | Total Potential Expenditure - Local Authority (£000) | [6 empty] | 132.1214 | [22 empty] | Current Occupancy | 500 | 0 | 500 | 499 | 0 | 499 | 1 | 0 | 1 | 0 | 0 | 0 | Percentage achieving 5 A*-C GCSEs (or equivalents) including English and maths GCSEs |  |  |  | 49
Current Capacity (Total):- | 499 |  |  |  | Key Elements of Forecast Maintenance | [29 empty] | Key Information (based on Building Bulletin 103) | [19 empty] | Percentage achieving A*-C in English and maths GCSEs |  |  |  | 53 |  |  |  |  | Catchment and Nearest School Comparison (Autumn Census 2014)
[5 empty] | Categories |  | Totals (£ 000) | [19 empty] | Key | [7 empty] | Number of Temporary Buildings on Site |  |  |  | 4 |  |  | Current Occupancy Summary (Autumn Census 2014) | [12 empty] | Percentage of pupils achieving the Ebacc |  |  |  | 33 | [5 empty] | Parental First Preference Applications 2011: Catchment vs Nearest School; Parental First Preference Applications 2012: Catchment; Parental First Preference Applications 2013: Nearest
[5 empty] | External Grounds |  | 13.4341 |  |  |  |  | Total Potential Expenditure - School (£000) | [6 empty] | 24.8239 | [7 empty] | Condition grade | Definition |  |  |  | Priority rating | Definition |  | Number of Classrooms in Temporary Buildings |  |  |  | 4 |  |  | Year Group | NOR |  |  | Shortfall |  |  | Surplus | [5 empty] | Percentage of pupils achieving 5+ A*-C grade GCSEs (or equivalent) |  |  |  | 58 | [5 empty] | Parental First Preference Applications 2011: NOR; Parental First Preference Applications 2012: 500; Parental First Preference Applications 2013: 500
[5 empty] | Roof Works |  | 5.8409 | [27 empty] | Percentage of Recommended Pupil Toilets |  |  |  | 100 |  |  | Seven | 103 |  |  | 3 |  |  | 0 | [5 empty] | Percentage of pupils achieving 5+ A*-G grade GCSEs (or equivalent) |  |  |  | 100 | [5 empty] | Parental First Preference Applications 2011: Total in Area; Parental First Preference Applications 2012: 385; Parental First Preference Applications 2013: 249
[5 empty] | External Walls |  | 0 | [19 empty] | A Good | Performing as intended and operating efficiently |  |  |  | 1 | Immediate or year 1 remedial action required | [8 empty] | Eight | 99 |  |  | 0 |  |  | 1 | [5 empty] | Percentage of pupils making expected progress in English |  |  |  | 60 | [5 empty] | Parental First Preference Applications 2011: Number at School from Area; Parental First Preference Applications 2012: 314; Parental First Preference Applications 2013: 201
[5 empty] | Windows and Doors |  | 28.7373 | [34 empty] | Nine | 98 |  |  | 0 |  |  | 2 | [5 empty] | Percentage of pupils making expected progress in maths |  |  |  | 73 | [5 empty] | Parental First Preference Applications 2011: Percentage at School; Parental First Preference Applications 2012: 62.8; Parental First Preference Applications 2013: 40.2
[5 empty] | Internal Works |  | 34.1109 | [19 empty] | B Satisfactory | Performing as intended but exhibiting minor deterioration |  |  |  | 2 | Year 1-2 remedial action required | [8 empty] | Ten | 101 |  |  | 1 |  |  | 0 | [5 empty] | Average point score |  |  |  | 320.7 | [5 empty] | Parental First Preference Applications 2011: Percentage of area going to School; Parental First Preference Applications 2012: 81.5584; Parental First Preference Applications 2013: 80.7229
Asset Summary |  |  |  |  | Mechanical and Electrical |  | 74.822 | [34 empty] | Eleven | 99 |  |  | 0 |  |  | 1
[5 empty] | Other (e.g. ancillary buildings) |  | 0 | [19 empty] | C Poor | Exhibiting major defects and/or not operating as intended |  |  |  | 3 | Year 3-5 remedial action required | [8 empty] | Twelve | 0 |  |  | 0 |  |  | 0 | [5 empty] | Latest Ofsted Report Date:- |  | 2013-09-19
Asset Value - Insurance (£000):- |  | 5264.3341 | [39 empty] | Thirteen | 0 |  |  | 0 |  |  | 0 | [5 empty] | Ofsted Result:- |  | Good
Asset Value - Land (£000):- |  | 1952.873 | [24 empty] | D Bad | Life-expired and/or at serious risk of imminent failure | [13 empty] | Total | 500 |  |  | 1 |  |  | 0
Land Owner:- |  | Owned, field 99 year lease to parish council | [37 empty] | Category | Areas Included
[40 empty] | Basic Teaching Spaces | General Classrooms, ICT Rooms, Art Rooms, Science Laboratories, DT Rooms, Music Rooms
[40 empty] | Hall and Studio | Halls, Dining Areas, Stage
Lease Agreement / Notes:- |  | Not Known | [37 empty] | Storage | Coats and Bags, Teaching, Specialist, PE Equipment, Bulk Stock, Cleaning, Caretakers and Maintenance, Tables and Chairs, Staging, Mobility Equipment, Science Prep Room
[40 empty] | Staff and Admin | Heads and Staff Offices, Staff Room, Staff PPA,Reprographics Room, Sick Bay, Interview and Meeting Rooms, Secure Entrance
[40 empty] | Learning Resource | Library, Small Group Rooms, SENCO Office, Medical Inspection Room, Music Practise Room, SEN Classrooms, Kiln
[40 empty] | Supplementary Area | Any other specialist area at the school e.g. Swimming Pool
[40 empty] | Non Net Area | Pupil and Staff Toilets, Accessible Toilets, Hygiene Room, Kitchen, Corridors, Server Room, Boilers

## Feedback
|  | Weobley High School |  |  | Weobley High School |  |  | Weobley High School
|  | Feedback Form |  |  | Feedback Form |  |  | Feedback Form
General Information and Asset Summary |  |  | School Occupancy Summary |  |  | Parental Preference
Do you believe the data to be accurate? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Maintenance and Condition Summary |  |  | School Statistics |  |  | Disability Access
Do you believe the data to be a fair reflection of the maintenance and condition of the school? | [5 empty] | Do you believe the data to be a fair reflection of the environmental condition of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Suitability and Compliance Summary |  |  | Environmental Sustainability Condition |  |  | Any Other Comments
Do you believe the data to be a fair reflection of the suitability and compliance issues faced by the school? | [5 empty] | Additional comments about the information provided:
Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments:
If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920
Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015

## Asset summary
Building ref number:- | 6KAT
Site Area:- | 46179.24
Building Type:- | Not Known
Asset Value (Insurance):- | 5264334.0524
Asset Value (Land):- | 1952873
Land owner:- | Owned, field 99 year lease to parish council
Lease agreement / notes:- | Not Known
DEC rating:- | No data held
Electric consumption 2014/child:- | 145.0104
Gas consumption 2014/child:- | Not Available

## Maintenance
Maintenance & Condition Summary | [6 empty] | 3Q2011 | [11 empty] | Check | Main year totals | Summary year totals | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows & Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | BCIS quarter | BCIS uplift
Year survey undertaken |  | 2011-08-09 |  |  |  |  | 1.1682 | [15 empty] | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | 1Q2009 | 1.1525
Survey company:- |  | Amey | [17 empty] | 102858.4091 | 102858.4091 | Backlog | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28737.2727 | 8410.9091 | 25700 | 13142.0455 | 26868.1818 | 0 | 0 | 2Q2009 | 1.1898
[20 empty] | 32475.4545 | 32475.4545 | 2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3270.9091 | 29204.5455 | 0 | 0 | 3Q2009 | 1.1898
[20 empty] | 21611.3636 | 21611.3636 | 2016 | 0 | 13434.0909 | 0 | 5840.9091 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2336.3636 | 0 | 0 | 4Q2009 | 1.2123
[6 empty] | Year covered? | Y | Y | Y | N | N | N |  | School Costs | [5 empty] | 0 | 0 | 2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1Q2010 | 1.2297
Category | Ref | Element | Recommended Works |  |  | Estimated Work Cost | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 |  | 0 | 0 | 2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2Q2010 | 1.1789
[20 empty] | 0 | 0 | 2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3Q2010 | 1.1735
r | 6KAT/AA/2.1.1 | Flat roofs | Repair/renew | AA | 2 | 5000 | 0 |  | 5000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2010 | 1.1682
w | 6KAT/AA/2.2.2 | Glazing etc | Renew | DC | 2 | 13000 | 13000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Individual Category totals | 0 | 13434.0909 | 0 | 5840.9091 | 0 | 0 | 0 | 28737.2727 | 8410.9091 | 25700 | 16412.9545 | 58409.0909 | 0 | 0 | 1Q2011 | 1.1735
i | 6KAT/AA/2.3.1a | Suspended ceilings | Repair | CA | 3 | 2000 | 2000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2011 | 1.1525
i | 6KAT/AA/2.3.3b | Floor coverings | Renew | BA | 3 | 5000 | 5000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Summary category totals | Main category totals | Check | [11 empty] | 3Q2011 | 1.1682
i | 6KAT/AA/2.3.6 | Decorations | Renew | IB | 3 | 4000 | 4000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2011 | 1.1525
i | 6KAT/AA/2.3.1a | Decorations | Renew | IB | 3 | 2000 | 2000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | External Grounds |  | 13434.0909 | 13434.0909 | [12 empty] | 1Q2012 | 1.1953
w | 6KAT/AB/2.2.2 | Glazing etc | Renew | DC | 2 | 11600 | 11600 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Roof Works |  | 5840.9091 | 5840.9091 | [12 empty] | 2Q2012 | 1.1174
g | 6KAT/AB/2.2.5a | Tarmac paving | Repair | KA | 3 | 4000 | 0 |  | 4000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | External Walls |  | 0 | 0 | [12 empty] | 3Q2012 | 1.1525
g | 6KAT/AB/2.2.5b | Other pavings | Repair/renew | KD | 3 | 5000 | 0 |  | 5000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Windows & Doors |  | 28737.2727 | 28737.2727 | [12 empty] | 4Q2012 | 1.1473
g | 6KAT/AB/2.2.6 | Fences and boundaries | Repair/renew | KF | 3 | 2500 | 0 |  | 2500 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Internal Works |  | 34110.9091 | 34110.9091 | [12 empty] | 1Q2013 | 1.0983
i | 6KAT/AB/2.2.7 | Decorations | Renew | IA | 3 | 3000 | 3000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Mechanical & Electrical |  | 74822.0455 | 74822.0455 | [12 empty] | 2Q2013 | 1.089
i | 6KAT/AB/2.3.6 | Decorations | Renew | IB | 3 | 4000 | 4000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Other |  | 0 | 0 | [12 empty] | 3Q2013 | 1.0983
i | 6KAT/AB/2.3.7 | Decorations | Renew | IB | 3 | 2000 | 2000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2013 | 1.0798
i | ZZVZ/2.2.3 | Doors | Renew | DC | 2 | 400 | 400 | [5 empty] | 400 | 0 | 0 | 0 | 0 | 0 |  |  | Total |  | 156945.2273 | 156945.2273 | [12 empty] | 1Q2014 | 1.0447
i | ZZVZ/2.2.7 | Decorations | Renew | IA | 3 | 1000 | 1000 | [5 empty] | 1000 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2014 | 1.0198
i | ZZVZ/2.3.5 | Decorations | Renew | IB | 3 | 1000 | 1000 | [5 empty] | 1000 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 3Q2014 | 1.028
i | ZZYX/2.2.3 | Doors | Renew | DC | 2 | 400 | 400 | [5 empty] | 400 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2014 | 1.0078
i | ZZYX/2.2.6 | Decorations | Renew | IA | 3 | 1000 | 1000 | [5 empty] | 1000 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 1Q2015 | 1
i | ZZYX/2.3.5 | Decorations | Renew | IB | 3 | 1000 | 1000 | [5 empty] | 1000 | 0 | 0 | 0 | 0 | 0
i | ZZVZ/2.2.3 | Doors | Renew | DC | 2 | 400 | 400 | [5 empty] | 400 | 0 | 0 | 0 | 0 | 0
i | ZZVZ/2.2.6 | Decorations | Renew | IA | 3 | 1000 | 1000 | [5 empty] | 1000 | 0 | 0 | 0 | 0 | 0
i | ZZVZ/2.3.5 | Decorations | Renew | IB | 3 | 1000 | 1000 | [5 empty] | 1000 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.1.1 | Ventilation - 6KAT/AB |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.1.1.b | Woodwork classroom - Extract fan for dust extraction | Extract fan is in servicable condition but nearing the end of its life expectancy | GH | 2 | 1000 | 1000 | [5 empty] | 1000 | 0 | 0 | 0 | 0 | 0
m | 3.1.2 | Heating - 6KAT/AB |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.1.2.b | Exam hall - Radiators | Heaters are working but past there life expectancy and will require replacement. | GB | 2 | 2500 | 2500 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.1.2.c | Rest of Main Building 1965 Wing - Radiators generally thoughtout the building | Radiators are old, currently servicable, However past there life expectancy. Allowance made for an annual expenditure. | GB | 2 | 3000 | 3000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.1.3 | HVAC Plant - 6KAT/AB |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.1.3.a | Plantroom - Boiler for LTHW | The boiler is in a servicable condition and should be for several years along with the pipework and all the associated valves & ancillary equpiment for the heating system. | GA | 3 | 1500 | 1500 | [5 empty] | 1500 | 0 | 0 | 0 | 0 | 0
m | 3.1.3.b | Plantroom - Boilers for HWS Calorifiers | The boilers are old but in servicable condition however nearing the end of there life expectancy | GA | 2 | 5000 | 5000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.1.3.c | Plantroom - Calorifiers | The calorifier is old but in a servicable condition however nearing the end of its life expectancy | GI | 2 | 2000 | 2000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.1.3.d | Plantroom - Pumps | The circulation pumps are in a servicable condiition and should be for several years | GI | 3 | 800 | 0 | 800 |  |  |  |  | 0 | 800 | 0 | 0 | 0 | 0
m | 3.1.3.e | Oil Tank | The oil tank is old but currently in a servicable condition however it does contain asbestos and will need replacement as necessary | GI | 3 | 2000 | 0 |  | 2000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | 3.2.2 | Heating - 6KAT/AA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.2.2.a | Rest of Main Building 1972 Wing - Radiators generally thoughtout the building | Radiators are old, currently servicable, However past there life expectancy. Allowance made for an annual expenditure. | GB | 2 | 3000 | 3000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.3.2 | Heating - ZZYS |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.3.2.a | One & a Half AV Group - Gas Heaters | The gas heaters are in a servicable condiition and should be for several years to come. | GB | 3 | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
m | 3.4.2 | Heating - ZZYX |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.4.2.a | Double AV Group - Gas Heaters | The gas heaters are in a servicable condiition and should be for several years | GB | 3 | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
m | 3.5.2 | Heating - ZZVZ |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.5.2a | Double Elliot Group - Gas Heaters | The gas heaters are in a servicable condaition and should be for several years | GB | 3 | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
m | [5 empty] | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  | 6KAT-AA 1972 Wing |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.7.2.A | Small Power/ Data Outlets | Sockets are showing signs of ageing in areas like the science classrooms. Redundant FCU to extract fans to be removed if not used. | HB | 3 | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
m | 3.7.4.A | Data points | Few damaged RJ45 sockets within classrooms to be replaced. | HF | 2 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
m |  | 6KAT-AB 1965 Wing |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.6.1.A | Switchgear | Replace main switchgear due to age. Still serviceable but | HA | 3 | 25000 | 0 | 25000 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | 3.6.2.B | Emergency Lighting | Test and investigate emergency lighting, some showing red light, indicating a problem with charging. Replace if necessary. | HH | 2 | 1000 | 1000 | [5 empty] | 1000 | 0 | 0 | 0 | 0 | 0
m | 3.6.3.A | Small Power/ Data Outlets | Metal clad sockets in CDT room (61), and socket / dado in 61a showing signs of wear and tear. | HB | 3 | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
m | 3.6.3.B | Distribution boards and isolators | General condition is good but specific areas in kitchen, back of stage and in the CDT area there are a few old isolators that still useable but is past its useful life. DB within room 58 is past useful life. Locked behind a wooden door, once opened wires are exposed and could be a danger as key is left in lock. An enclosed unit replacement needed. | HA | 3 | 1500 | 1500 | [5 empty] | 1500 | 0 | 0 | 0 | 0 | 0
m | 3.6.5.A | Data points | Few damaged RJ45 sockets within classrooms to be replaced. | HF | 3 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
m | 3.6.6.B | Lightning Protection System | Investigation needed to assess the need for lightning protection. | HI | 3 | 7500 | 7500 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m |  | ZZYS One Half Group |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.7.1.A | Lighting | General wear and tear. | HC | 3 | 750 | 750 | [5 empty] | 750 | 0 | 0 | 0 | 0 | 0
m | 3.7.1.B | Emergency Lighting | Red indication LED light indicating battery is not charging properly | HH | 1 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
m | 3.7.1.C | External Lighting | Yellowing and dirty diffusers. | HC | 3 | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
m | 3.7.2.A | Small Power/ Data Outlets | Sockets are showing signs of ageing in areas like the science classrooms. Redundant FCU to extract fans to be removed if not used. | HB | 3 | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
m | 3.7.2.B | Distribution boards and isolators | Replace local DB | HA | 3 | 500 | 0 | 500 |  |  |  |  | 0 | 500 | 0 | 0 | 0 | 0
m | 3.7.4.A | Data points | Replace existing outlets, end of life | HF | 3 | 500 | 0 | 500 |  |  |  |  | 0 | 500 | 0 | 0 | 0 | 0
m |  | ZZYX Double AV Group |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.7.1.B | Emergency Lighting | Red indication LED light indicating battery is not charging properly, test and investigate. | HH | 1 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
m | 3.7.1.C | External Lighting | Yellowing and dirty diffusers. | HC | 3 | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
m | 3.7.2.B | Distribution boards and isolators | Replace existing distribution boards - end of life | HA | 3 | 500 | 0 | 500 |  |  |  |  | 0 | 500 | 0 | 0 | 0 | 0
m |  | ZZVZ Double Elliot Group |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.7.1.B | Emergency Lighting | Red indication LED light indicating battery is not charging properly, test and investigate. | HH | 2 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
m | 3.7.1.C | External Lighting | Yellowing and dirty diffusers. | HC | 3 | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
m | 3.7.2.B | Distribution boards and isolators | Replace exsiting Distribution board | HA | 3 | 500 | 0 | 500 |  |  |  |  | 0 | 500 | 0 | 0 | 0 | 0

## EFA Property
|  |  | EFA survey data | [6 empty] | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other
DFE | School | School Type | Date received | Condition rating C or D | 2 | Element | Category | CCP rating
|  |  |  | c | 2 | Electical services, Control Gear, Generally, Main building | m | mc2 | C1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | c | 2 | Mechanical services, Heat source and equipmetn, Generally, Main school | m | mc2 | C2 | 1 | 1 | 0 | 2 | 0 | 11 | 0
|  |  |  | c | 2 | Mechanical Services, Heating distribution emitters and controls, Generally, Main school, | m | mc2 | D1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | c | 2 | Mechanical services, Hot and cold water water system, Generally including heat source, Main school | m | mc2 | D2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | c | 2 | Mechanical Services, Gas distribution, Generally, Main school | m | mc2 | D3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | c | 2 | Mechanical services, Mechanical ventilation/air condiitoning, Mechanical ventilation, Main school | m | mc2
|  |  |  | c | 2 | Redecorations, External windows doors etc, Metal - Painted, Main school | w | wc2
|  |  |  | c | 2 | Roofs, Coverings and insulation, Flat roof- Asphalt, Main school | r | rc2
|  |  |  | c | 2 | Mechanical services, Heat sourc and equipment, generally, Mobile | m | mc2
|  |  |  | c | 2 | Mechanical services, Heat source and equipment, generally, Mobile | m | mc2
|  |  |  | c | 2 | Mechanical services, Heat source and equipment, generally, Mobile | m | mc2
|  |  |  | c | 2 | External walls windows and doors, Walls-Structure, Timber framed curtain walling, Mobile | w | wc2
|  |  |  | c | 2 | Mechanical services, Heat source and equipment, Generally, Mobile | m | mc2
|  |  |  | c | 2 | Mechanical services, Heat source and equipment, Generally, Mobile | m | mc2
|  |  |  | c | 2 | External areas, Mains services, Generally | g | gc2

## Suitability and Compliance
Space |  | BB103 suggested sizes
|  |  |  | Suitability Data |  |  |  | Compliance Comparison
Basic Teaching Spaces |  | No. of spaces | Total m2 | Actual no. of spaces | Plan ref | Space |  | Total area | Shortfall | Surplus | 2014 | Date of last assessment
| General Classroom | - |  | 16 | 45,45,51,52,un42,un47,un43,59,88,89,90,92,4,34,36,42,un48 | General Classroom | 789.34 | 789.34
| Art Classroom | - |  | 1 | 55,55a | Art Classroom | 85.26 | 85.26 |  |  | 4 | No. Temp Buildings on Site
| Drama Classroom | - |  | 1 | 32,32a | Drama Classroom | 54.53 | 54.53
| Science Laboratory | - |  | 4 | 100,101,104,107,100a,100b | Science Laboratory | 329.08 | 329.08 |  |  | 4 | No. of Classrooms in Temporary Buildings
| Music Classroom | - |  | 2 | un66, un65 | Music Classroom | 56.93 | 56.93
| IT Classroom | - |  | 2 | 44,53 | IT Classroom | 109.65 | 109.65
| DT Classroom | - |  | 5 | 121,58,38,39,61,63,61a | DT Classroom | 340.81 | 340.81
| Total | - | 1621.975 |  |  |  |  | 1765.6 | 0 | 143.625 | 108.9% | of the recommended basic teaching space required
Halls and Studios |  | - | 774.35 |  | 3,un73,11,un72,30 | Halls and Studios | 1093.67 | 1093.67 | 0 | 319.32 | 141.2% | of the recommended hall size
Storage |  | - | 324.675 |  | 37,82,un78,68b, 83,un33,102,124,13,212,31,33,35,56,60,62,75,85,91,109,120, un30, un45,un52,un53,un67,un69,un70,un71,un109,21a | Storage | 200.91 | 200.91 | 123.765 | 0 | 61.88% | of the recommended storage space required
Staff and admin |  | - | 274.725 |  | 49,105,93,94,5,66,111,UN28,UN40,UN41,UN44,UN51,UN74,UN31,86, UN29,76,6,7,8,9,10,71,72,74,UN26,UN110 | Staff and admin | 264.42 | 264.42 | 10.305 | 0 | 96.25% | of the recommended staff and admin space required
Learning resource area |  | - | 199.8 |  | 98,99,un27,un79,22,un59,un60,un61,un37,un111,110, un50, un18 | Learning resource area | 247.04 | 247.04 | 0 | 47.24 | 123.6% | of the recommended learning resource areas
Supplementary area |  | - | 0 |  |  | Supplementary area |  | 0 | 0 | 0 | 0% | of the recommended supplementary areas
Non net areas |  | - | 1308.3975 |  | 84,122,un68,123,12,12a,14,19,27b,50,57,57a,b,c,68,68a,73,77,77a,78,a,b,79,80,81,95,96b,103,106,112a,un17,un19,un20,un21,un63,un64,un75,un76,un80,un85,un107,un39,un56,un81,un84,un34,un87,un88,un86,67,87,un58,un82,69,70,119,97,un38,un46,un49,un77,48,1,2,2a,27,27a,43a,b,47a,b,50a,54,54a,96,un24,un25,un92,un93,un91,64,108,un89,un90,un36,12b,12c,26,43,47,96a,un7, un8,un9,un10,un11,un12,un13,un14, un15,un16,un22,un23, un54,un55, 2B, 1A, 1B | Non net areas | 835.53 | 907.96 | 400.4375 | 0 | 69.39% | of the recommended non net area
| Pupils toilets | 26 |  | 26 | 67,87,un58,un82,65,un57,un83,un105, | Pupils toilets | 72.43 |  |  |  | 100% | % of recommended pupil toilets
Total Net area |  |  | 3195.525 |  |  |  |  | 3571.64
Total Non-Net area |  |  | 1308.3975 |  |  |  |  | 907.96
Gross (total build) area |  |  | 4503.9225 |  |  |  |  | 4479.6 |  |  | 99.46% | of the recommended Gross area
Net Area Range |  |  | 2995.5 - 3320.1
Mid Range |  |  | 3157.8
Total Site Area Range |  |  | 33805.05 - 42437.5
Mid Range |  |  | 38121.275

## Occupancy
Sufficiency Data
Planned Admission Number | Post 16 Planned Admission Number | Current Capacity | Maximum PAN | Capacity based on max PAN
100 | - | 499 | 101 | 505
NOR Spring Census
| 2008 / 2009 | 2009 / 2010 | 2010 / 2011 | 2011 / 2012 | 2012 / 2013 | 2013 / 2014
NOR Jan (11-16) | 458 | 463 | 464 | 475 | 479 | 480
NOR Jan (Post 16) | 0 | 0 | 0 | 0 | 0 | 0
Total NOR Jan | 458 | 463 | 464 | 475 | 479 | 480
Capacity (11-16) | 499 | 499 | 499 | 499 | 499 | 499
Capacity (Post 16) | 0 | 0 | 0 | 0 | 0 | 0
Total capacity | 499 | 499 | 499 | 499 | 499 | 499
Number of surplus places (11-16) | 41 | 36 | 35 | 24 | 20 | 19
Number of surplus places (Post 16) | 0 | 0 | 0 | 0 | 0 | 0
Total number of surplus places | 41 | 36 | 35 | 24 | 20 | 19
% of surplus places (11-16) | 8.2164 | 7.2144 | 7.014 | 4.8096 | 4.008 | 3.8076
% of surplus places (Post 16) | 0 | 0 | 0 | 0 | 0 | 0
Total % of surplus places | 8.2164 | 7.2144 | 7.014 | 4.8096 | 4.008 | 3.8076
Current Numbers on Roll (from Autumn Census)
Year group | 7 | 8 | 9 | 10 | 11 | 12 | 13 | Total
Number | 103 | 99 | 98 | 101 | 99 | 0 | 0 | 500

## School stats
Current Ofsted | Year
Good | 2013-09-19
2014 KS4 Performance Tables last update : (29 Jan 2015)
Cohort information
Number of pupils at the end of KS4 | 99
Key Stage 2 APS of cohort | 27.5
| Number in cohort | Percentage of cohort
Low attainers | 10 | 10%
Middle attainers | 63 | 65%
High attainers | 24 | 25%
Pupils for whom English is not their first language | 0 | 0%
Pupils with statements or supported at school action plus | 9 | 9%
Year on year comparisons
Percentage achieving 5+ A*-C GCSEs (or equivalent) including English and maths GCSEs | 2011 | 2012 | 2013 | 2014
School | 66% | 61% | 60% | 49%
LA | 57.5% | 56.5% | 56.1% | 58.7%
England - All Schools | 59% | 59.4% | 59.2% | 53.4%
KS4 exam results
| All pupils | Low attainers | Middle attainers | High attainers
Percentage achieving 5 A*-C GCSEs (or equivalents) including English and maths GCSEs | 49% | 0% | 41% | 92%
Percentage achieving A*-C in English and maths GCSEs | 53% | 0% | 43% | 100%
Percentage of pupils achieving the EBacc | 33% | 0% | 24% | 75%
Percentage of pupils achieving 5+ A*-C grade GCSEs (or equivalent) | 58%
Percentage of pupils achieving 5+ A*-G grade GCSEs (or equivalent) | 100%
% of pupils achieving any qualifications | 100%
Number of KS4 pupils with entries in all EBacc subject areas | 54 | 1 | 33 | 20
Percentage of pupils with entries in all EBacc subject areas | 55% | 10% | 52% | 83%
KS4 pupil progress
| All pupils | Low attainers | Middle attainers | High attainers
Percentage of pupils making expected progress in English | 60% | 30% | 52% | 92%
Percentage of pupils making expected progress in maths | 73% | 30% | 73% | 92%
Best 8 value added | 1011.6 | 994.5 | 1013 | 1014.9
Lower confidence limit | 997 | 949.2 | 994.9 | 985.6
Upper confidence limit | 1026.1 | 1039.9 | 1031.1 | 1044.2
Percentage of pupils included in VA measure | 98%
KS4 Average Point Scores
| All pupils | Low attainers | Middle attainers | High attainers
Total average (capped) point score per pupil | 320.7 | 196.2 | 313.8 | 394.1
Average grade per qualification |  | E | C- | B+
KS4 Exam entries
| All pupils | Low attainers | Middle attainers | High attainers
Average entries per pupil - all qualifications | 10.1 | 6.9 | 9.9 | 12.2
Disadvantaged Pupils
| Disadvantaged pupils | Other pupils
Number of Pupils | 20 | 79
Percentage of Pupils | 20% | 80%
Percentage achieving grades A*-C in English and maths GCSEs | 45% | 54%
Percentage achieving 5+ A*-C GCSEs (or equivalent) including English and maths GCSEs | 35% | 53%
Percentage of pupils making expected progress in English | 50% | 63%
Percentage of pupils making expected progress in maths | 65% | 76%
Best 8 VA measure | 980.8 | 1019.6
Best 8 VA lower 95% confidence limit for disadvantaged pupils | 948.7 | 1003.2
Best 8 VA upper 95% confidence limit for disadvantaged pupils | 1012.9 | 1035.9
Average entries per pupil - all qualifications | 8.9 | 10.4
Average point score per pupil (best 8) - all qualifications | 278.9 | 331.3
For the purposes of the table Disadvantaged pupils are considered as those eligible for free school meals and children
looked after (ie, In the care of the Local Authority for at least 6 months)
Pupil Absence last update : (11 Dec 2013)
| School | England - national (secondary state-funded)
Overall absence: percentage | 6.1% | 5.8%
Persistent absence: around 15% + | 8.8% | 6.5%
Please note - this year the Department will publish full year 2013/14 absence data in the performance tables in March 2015 rather than just the autumn and spring term data in December as in previous years, and we will continue to do so in future years. This is because the full year data provides the most robust indication of school absence rates.
School level information for the 2013/14 autumn and spring term only is available in our Statistical First Release here
2013-14 Finance last update : (29 Jan 2015)
Contextual information
Number of pupils (FTE) | 480
Percentage of pupils eligible for Free School Meals (FSM) | 11.3%
Free school meals eligibility band | LOW
Spend per pupil data as £ per pupil (in brackets percentage of total income or expenditure)
| School | LA Median | Non-London LAs Median | National Median
Grant funding | 5307 (98%) | 5205 | 5267 | 5720
Self generated income | 105 (2%) | 143 | 146 | 141
Total income | 5412 | 5312 | 5467 | 5904
Teaching staff | 3205 (63%) | 3079 | 3010 | 3159
Supply Staff | 24 (0%) | 77 | 96 | 114
Education support staff | 400 (8%) | 475 | 556 | 606
Learning resources (not ICT equipment) | 227 (4%) | 232 | 220 | 242
ICT learning resources | 83 (2%) | 67 | 77 | 82
Bought in professional services - curriculum | 27 (1%) | 33 | 58 | 66
Back office (incl. Staff costs) | 427 (8%) | 431 | 480 | 531
Catering (incl. Staff costs) | 38 (1%) | 25 | 42 | 62
Premises (incl. Staff costs) | 227 (4%) | 363 | 349 | 381
Other staff costs | 95 (2%) | 87 | 85 | 95
Energy | 104 (2%) | 84 | 98 | 103
Other expenditure | 217 (4%) | 257 | 209 | 219
Total expenditure | 5074 | 5223 | 5385 | 5856
Spend per pupil data as £ per pupil : Comparisons over time
| 2010-11 | 2011-12 | 2012-13 | 2013-14
Teaching staff and Education support staff expenditure | 3426 | 3422 | 3488 | 3604
Supply staff | 39 | 48 | 33 | 24
Back office (incl. Staff costs) | 488 | 465 | 425 | 427
Energy | 110 | 83 | 112 | 104
Total expenditure | 5154 | 5019 | 5060 | 5074
School Workforce last update : (29 Jan 2015)
This data is based upon the November 2013 School Workforce Census
| School | England - national (secondary state-funded)
Headcount of all teachers in a school | 37 | 227957
Headcount of all teaching assistants in a school | 11 | 68901
Headcount of all support (exc. auxiliary) staff in a school | 13 | 89346
Full-time equivalent number of all teachers in a school | 32.1 | 211533
Full-time equivalent number of all teaching assistants in a school | 7.1 | 53876.9
Full-time equivalent number of all support (exc. auxiliary) staff in a school | 8.7 | 74423.5
Ratio of pupils to teachers in a school | 14.9 | 15
Average gross salary of all teachers in a school | 38445 | 38521
Ofsted Inspection last update : (31 Jan 2015)
Inspection date | 2013-09-19
Inspection outcome | 2
Web link | Link to Ofsted inspection report
Education Destination Measure for 2011/12 cohort last update : (29 Jan 2015)
| School | England - national (secondary state-funded)
Number of pupils | 100 | 561800
Total in a sustained education destination | 87% | 88%
Further Education College | 35% | 34%
Independent School | SUPP | SP
Other Further Education Provider | 9% | 3%
School Sixth Form | SUPP | 37%
Sixth Form College | 40% | 12%
Specialist post-16 institution | 0% | SP
Pupil Referral Unit or Other Alternative Provision | 0% | SP
Special School | 0% | 1%
Apprenticeships | 5% | 4%
UK Higher Education Institution | 0% | SP
Education combination | 0% | SP
Education destination not sustained | 7% | 7%
Activity not captured in data | 6% | 4%

## Parental Preference
Popularity Data | [10 empty] | Children at School From School Catchment
Parental First Preference Applications | [11 empty] | 2010 | 2011 | 2012 | 2013 | 2014 | Catchment vs Nearest School | Catchment | Nearest
Year | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  |  | NOR | 463 | 464 | 475 | 479 | 480 | NOR | 500 | 500
PAN | 99.8 | 99.8 | 99.8 | 99.8 | 99.8 | 99.8 |  |  |  |  | Number | 302 | 303 | 315 | 314 | 320 | Total in area | 385 | 249
No. | 91.816 | 85.828 | 83.832 | 97.804 | 93.812 | 104.79 |  |  |  |  | % | 65.2268 | 65.3017 | 66.3158 | 65.5532 | 66.6667 | Number at School from area | 314 | 201
% | 92 | 86 | 84 | 98 | 94 | 105 | [10 empty] | % at School | 62.8 | 40.2
[11 empty] | Total number in Catchment | [5 empty] | % of area going to School | 81.5584 | 80.7229
[12 empty] | 2010 | 2011 | 2012 | 2013 | 2014
[11 empty] | Number | 424 | 419 | 403 | 402 | 399
[11 empty] | % | 100 | 100 | 100 | 100 | 100
Where children at School are coming from (from Spring Census 2014)
DCSF No | School |  | Whitecross | Aylestone | Lady Hawkins | The Minster | Fairfield | Weobley | Wigmore | Hereford Academy | Out of County | Grand Total
4045 | Weobley | Number | 25 | 12 | 29 | 81 | 2 | 320 | 5 | 5 | 1 | 480
4045 | Weobley | % | 5.2083 | 2.5 | 6.0417 | 16.875 | 0.41667 | 66.6667 | 1.0417 | 1.0417 | 0.20833 | 100
Where school children in the Schools Catchment area are going to (from Spring Census 2014)
DCSF | School |  | Whitecross | Aylestone | Lady Hawkins | The Minster | Fairfield | Weobley | Wigmore | Bishops | St Marys RC | Hereford Academy | Grand Total
4045 | Weobley | Number | 23 | 4 | 8 | 5 | 5 | 320 | 7 | 15 | 11 | 1 | 399
4045 | Weobley | % | 5.7644 | 1.0025 | 2.005 | 1.2531 | 1.2531 | 80.2005 | 1.7544 | 3.7594 | 2.7569 | 0.25063 | 100

## Disability access
Physical Accessibility Rating | 2
Information from https://www.herefordshire.gov.uk/education-and-learning/schools/directory
Ratings and descriptions
Rating | Details | Description
3 | Fully accessible | Will meet the needs of all disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling); Has a full hygiene room and special educational needs or therapy room for pupils who need more assistance with personal care (including hoisting) and regular physio or other treatment
2 | Mainly accessible | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
1 | Partly accessible | Some standards met but some areas not accessible
0 | Inaccessible | No level access into building and/or no disabled toilet
Summary of physical accessibility standards
Level access into building(s): Main and pupil entrance(s) level, with ramps and hand rails as required
Level access to all curriculum and social areas (not necessarily entire building/site): including assembly hall, canteen (may be achieved by sensitive organisation and timetabling)
Access to upper floors: if required - lift(s) as alternative to steps or stairs
Toilet facilities: small disabled toilet(s) as specified by building regulations - suitable for most disabled pupils. A small number of pupils will require enhanced facilities (hygiene room) to provide greater assistance, including hoisting.
Medical, therapy or SEN room: multi-purpose or flexible use - usually required in addition to a hygiene room, for regular physio and other physical programmes
Emergency evacuation: routes should be level and unobstructed. Evacuation must be documented (using Personal Emergency Evacuation Plans - PEEPs) and practised regularly